## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-168_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-168_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-168_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-168_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-168_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-168_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5002-168_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5002-168_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5002-168_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5002-168_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5002-168_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_5002-168_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5002-168_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5002-168_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5002-168_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5002-168_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5002-168_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5002-168_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5002-168_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5002-168_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5002-168_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5002-168_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5002-168_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5002-168_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5002-168_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5002-168_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5002-168_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5002-168_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5002-168_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5002-168_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5002-168_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5002-168_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5002-168_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5002-168_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5002-168_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_5002-168_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_5002-168_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_5002-168_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5002-168_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5002-168_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5002-168_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5002-168_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5002-168_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5002-168_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5002-168_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5002-168_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5002-168_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5002-168_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5002-168_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5002-168_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5002-168_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5002-168_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5002-168_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_5002-168_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5002-168_0_3_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_5002-168_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5002-168_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_5002-168_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_5002-168_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5002-168_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5002-168_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5002-168_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5002-168_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_5002-168_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5002-168_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5002-168_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5002-168_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5002-168_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5002-168_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5002-168_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5002-168_0_3_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_5002-168_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_5002-168_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5002-168_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5002-168_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5002-168_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_5002-168_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_5002-168_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5002-168_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5002-168_0_3_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_5002-168_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5002-168_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5002-168_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5002-168_0_3_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_5002-168_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5002-168_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5002-168_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_MV_59_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-168_0_3_load_0 | 0 | 0.0026563 | 0.00066574 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-168_0_3_load_1 | 1 | 0.0029027 | 0.00072748 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-168_0_3_load_3 | 3 | 0.0020681 | 0.0005183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-168_0_3_load_5 | 5 | 0.0037659 | 0.00094382 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-168_0_3_load_6 | 6 | 0.0041837 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-168_0_3_load_7 | 7 | 0.0017497 | 0.0004385 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-168_0_3_load_8 | 9 | 0.0075322 | 0.0018877 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-168_0_3_load_29 | 10 | 0.0057673 | 0.0014454 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-168_0_3_load_24 | 11 | 0.0053685 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-168_0_3_load_9 | 12 | 0.0020145 | 0.00050488 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-168_0_3_load_10 | 13 | 0.003878 | 0.00097193 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-168_0_3_load_11 | 14 | 0.0091476 | 0.0022926 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-168_0_3_load_12 | 15 | 0.0023634 | 0.00059231 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-168_0_3_load_13 | 16 | 0.0029589 | 0.00074158 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-168_0_3_load_14 | 17 | 0.0036488 | 0.00091447 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-168_0_3_load_16 | 19 | 0.0057338 | 0.001437 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-168_0_3_load_28 | 20 | 0.0026808 | 0.00067186 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-168_0_3_load_17 | 21 | 0.0036212 | 0.00090755 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-168_0_3_load_18 | 22 | 0.0071581 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-168_0_3_load_19 | 23 | 0.0051143 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-168_0_3_load_20 | 24 | 0.007967 | 0.0019967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-168_0_3_load_33 | 25 | 0.0025105 | 0.0006292 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-168_0_3_load_21 | 27 | 0.0026141 | 0.00065515 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-168_0_3_load_22 | 28 | 0.0036331 | 0.00091054 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-168_0_3_load_23 | 29 | 0.0057346 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-168_0_3_load_25 | 30 | 0.0033245 | 0.00083321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-168_0_3_load_27 | 31 | 0.0048164 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-168_0_3_load_31 | 32 | 0.0037078 | 0.00092926 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-168_0_3_load_30 | 33 | 0.0045549 | 0.0011416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-168_0_3_load_37 | 35 | 0.0030251 | 0.00075816 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-168_0_3_load_38 | 36 | 0.0057548 | 0.0014423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-168_0_3_load_36 | 38 | 0.0027928 | 0.00069995 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-168_0_3_load_39 | 39 | 0.0042948 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-168_0_3_load_40 | 40 | 0.0032635 | 0.00081791 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-168_0_3_load_41 | 41 | 0.0036872 | 0.00092409 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-168_0_3_load_42 | 42 | 0.0025858 | 0.00064805 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-168_0_3_load_44 | 44 | 0.003716 | 0.00093132 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-168_0_3_load_45 | 45 | 0.0062267 | 0.0015606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-168_0_3_load_46 | 46 | 0.0037006 | 0.00092745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-168_0_3_load_47 | 47 | 0.0019268 | 0.0004829 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-168_0_3_load_48 | 48 | 0.0051234 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-168_0_3_load_49 | 49 | 0.0085238 | 0.0021363 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-168_0_3_load_50 | 50 | 0.0090844 | 0.0022768 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-168_0_3_load_51 | 51 | 0.0061 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-168_0_3_load_69 | 52 | 0.0067546 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-168_0_3_load_52 | 53 | 0.0043858 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-168_0_3_load_53 | 55 | 0.0021411 | 0.0005366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-168_0_3_load_67 | 57 | 0.003037 | 0.00076115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-168_0_3_load_65 | 58 | 0.0021213 | 0.00053164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-168_0_3_load_56 | 60 | 0.0056465 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-168_0_3_load_57 | 61 | 0.0045142 | 0.0011314 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-168_0_3_load_61 | 62 | 0.0075567 | 0.0018939 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-168_0_3_load_58 | 63 | 0.0036739 | 0.00092078 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-168_0_3_load_59 | 64 | 0.0037151 | 0.00093108 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-168_0_3_load_60 | 65 | 0.0028386 | 0.00071141 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-168_0_3_load_62 | 66 | 0.0031499 | 0.00078943 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-168_0_3_load_63 | 67 | 0.0021279 | 0.0005333 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-168_0_3_load_64 | 68 | 0.0041555 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-168_0_3_load_68 | 69 | 0.0048398 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-168_0_3_load_87 | 70 | 0.0039707 | 0.00099515 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-168_0_3_load_86 | 71 | 0.0057083 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-168_0_3_load_71 | 72 | 0.0033774 | 0.00084646 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-168_0_3_load_72 | 73 | 0.0039105 | 0.00098006 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-168_0_3_load_74 | 75 | 0.0020554 | 0.00051514 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-168_0_3_load_77 | 76 | 0.0034668 | 0.00086887 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-168_0_3_load_75 | 77 | 0.003942 | 0.00098797 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5002-168_0_3_load_81 | 78 | 0.0038883 | 0.00097449 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5002-168_0_3_load_82 | 79 | 0.0019884 | 0.00049835 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5002-168_0_3_load_78 | 80 | 0.0034405 | 0.00086228 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5002-168_0_3_load_79 | 81 | 0.0038587 | 0.00096707 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5002-168_0_3_load_80 | 82 | 0.0043724 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5002-168_0_3_load_88 | 83 | 0.0041981 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5002-168_0_3_load_83 | 84 | 0.0041625 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5002-168_0_3_load_84 | 85 | 0.0040306 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5002-168_0_3_load_85 | 86 | 0.0033973 | 0.00085144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-168_0_3_line_0 |  | 0 | 1 | 0.0040662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-168_0_3_line_1 |  | 0 | 2 | 0.024998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-168_0_3_line_2 |  | 1 | 3 | 0.0010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-168_0_3_line_3 |  | 2 | 4 | 0.00917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-168_0_3_line_4 |  | 3 | 5 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-168_0_3_line_5 |  | 4 | 6 | 0.017654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-168_0_3_line_6 |  | 5 | 7 | 0.0015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-168_0_3_line_7 |  | 6 | 8 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-168_0_3_line_8 |  | 7 | 9 | 0.0075276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-168_0_3_line_9 |  | 8 | 10 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-168_0_3_line_10 |  | 8 | 11 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-168_0_3_line_11 |  | 9 | 12 | 0.0076537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-168_0_3_line_12 |  | 10 | 33 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-168_0_3_line_13 |  | 11 | 28 | 0.00094108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-168_0_3_line_14 |  | 13 | 14 | 0.0023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-168_0_3_line_15 |  | 14 | 15 | 0.022752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-168_0_3_line_16 |  | 15 | 16 | 0.028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-168_0_3_line_17 |  | 16 | 17 | 0.00013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-168_0_3_line_18 |  | 17 | 18 | 0.061233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-168_0_3_line_19 |  | 18 | 19 | 0.032819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-168_0_3_line_20 |  | 18 | 20 | 0.057042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-168_0_3_line_21 |  | 19 | 21 | 0.041714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-168_0_3_line_22 |  | 21 | 22 | 0.0016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-168_0_3_line_23 |  | 22 | 23 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-168_0_3_line_24 |  | 23 | 24 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-168_0_3_line_25 |  | 24 | 25 | 0.027364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-168_0_3_line_26 |  | 25 | 26 | 0.015264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-168_0_3_line_27 |  | 26 | 34 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-168_0_3_line_28 |  | 27 | 28 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-168_0_3_line_29 |  | 27 | 29 | 0.0020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-168_0_3_line_30 |  | 29 | 30 | 0.011702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-168_0_3_line_31 |  | 30 | 31 | 0.023909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-168_0_3_line_32 |  | 31 | 32 | 0.022207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-168_0_3_line_33 |  | 32 | 34 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-168_0_3_line_34 |  | 33 | 35 | 0.017055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-168_0_3_line_35 |  | 34 | 37 | 0.006404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-168_0_3_line_36 |  | 35 | 36 | 0.0028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-168_0_3_line_37 |  | 36 | 39 | 0.002138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-168_0_3_line_38 |  | 37 | 38 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-168_0_3_line_39 |  | 39 | 40 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5002-168_0_3_line_40 |  | 40 | 41 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5002-168_0_3_line_41 |  | 41 | 42 | 0.001032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5002-168_0_3_line_42 |  | 42 | 43 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5002-168_0_3_line_43 |  | 43 | 44 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-168_0_3_line_44 |  | 43 | 45 | 0.02468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-168_0_3_line_45 |  | 43 | 46 | 0.033827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-168_0_3_line_46 |  | 44 | 47 | 0.0038477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-168_0_3_line_47 |  | 45 | 48 | 0.025897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-168_0_3_line_48 |  | 46 | 49 | 0.016677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-168_0_3_line_49 |  | 47 | 50 | 0.050122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-168_0_3_line_50 |  | 48 | 51 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-168_0_3_line_51 |  | 49 | 52 | 0.037176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-168_0_3_line_52 |  | 51 | 53 | 0.0084702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-168_0_3_line_53 |  | 52 | 54 | 0.0013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-168_0_3_line_54 |  | 53 | 55 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-168_0_3_line_55 |  | 54 | 72 | 0.036211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-168_0_3_line_56 |  | 54 | 73 | 0.022565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-168_0_3_line_57 |  | 55 | 56 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-168_0_3_line_58 |  | 56 | 57 | 0.029813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-168_0_3_line_59 |  | 56 | 58 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-168_0_3_line_60 |  | 57 | 69 | 0.0056881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-168_0_3_line_61 |  | 58 | 68 | 0.0023527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-168_0_3_line_62 |  | 59 | 60 | 0.023606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-168_0_3_line_63 |  | 59 | 61 | 0.0084592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-168_0_3_line_64 |  | 60 | 62 | 0.0029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-168_0_3_line_65 |  | 61 | 63 | 0.0088669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-168_0_3_line_66 |  | 63 | 64 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-168_0_3_line_67 |  | 64 | 65 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-168_0_3_line_68 |  | 65 | 66 | 0.0044825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-168_0_3_line_69 |  | 66 | 67 | 0.0083651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-168_0_3_line_70 |  | 67 | 68 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-168_0_3_line_71 |  | 69 | 70 | 0.013774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-168_0_3_line_72 |  | 70 | 71 | 0.00050893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5002-168_0_3_line_73 |  | 71 | 83 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5002-168_0_3_line_74 |  | 72 | 74 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5002-168_0_3_line_75 |  | 73 | 75 | 0.0015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5002-168_0_3_line_76 |  | 74 | 76 | 0.050207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5002-168_0_3_line_77 |  | 74 | 77 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5002-168_0_3_line_78 |  | 75 | 78 | 0.0014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5002-168_0_3_line_79 |  | 78 | 79 | 0.024814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5002-168_0_3_line_80 |  | 79 | 84 | 0.0022433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5002-168_0_3_line_81 |  | 80 | 81 | 0.02717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5002-168_0_3_line_82 |  | 81 | 82 | 0.02931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5002-168_0_3_line_83 |  | 82 | 83 | 0.005452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5002-168_0_3_line_84 |  | 84 | 85 | 0.02417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5002-168_0_3_line_85 |  | 85 | 86 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-168_0_3_trafo_39 | 0.63 MVA 20/0.4 kV | 87 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723011.2284 | 1119129.6228 | 2723014.7338 | 1119127.5621
1 | 2722990.2233 | 1119143.1698 | 2723008.2708 | 1119131.3614 | 2723011.2284 | 1119129.6228
2 | 2723015.6757 | 1119127.0084 | 2723014.7338 | 1119127.5621
3 | 2722990.2233 | 1119143.1698 | 2722982.2868 | 1119147.8008
4 | 2723015.6757 | 1119127.0084 | 2723026.9186 | 1119120.3992 | 2723026.9186 | 1119120.3992
5 | 2722982.2868 | 1119147.8008 | 2722991.4308 | 1119162.9024
6 | 2723026.9186 | 1119120.3992 | 2723027.9956 | 1119119.3002
7 | 2722999.6206 | 1119176.4281 | 2722991.4308 | 1119162.9024
8 | 2723027.9956 | 1119119.3002 | 2723033.264 | 1119113.9236
9 | 2722999.6206 | 1119176.4281 | 2722985.4392 | 1119185.9723
10 | 2722999.6206 | 1119176.4281 | 2723006.4687 | 1119187.7528 | 2723007.4386 | 1119189.4144
11 | 2723033.3286 | 1119106.2702 | 2723033.264 | 1119113.9236 | 2723033.264 | 1119113.9236
12 | 2722985.4392 | 1119185.9723 | 2722984.3054 | 1119186.7354 | 2722972.9732 | 1119192.4239
13 | 2723007.4386 | 1119189.4144 | 2723007.913 | 1119190.2271
14 | 2723114.0176 | 1119080.3432 | 2723112.3723 | 1119078.6544
15 | 2723114.0176 | 1119080.3432 | 2723129.894 | 1119096.6398
16 | 2723129.894 | 1119096.6398 | 2723136.3057 | 1119103.2213 | 2723147.8101 | 1119118.9026
17 | 2723147.8101 | 1119118.9026 | 2723147.8899 | 1119119.0114
18 | 2723184.1107 | 1119168.383 | 2723147.8899 | 1119119.0114
19 | 2723184.1107 | 1119168.383 | 2723157.9316 | 1119188.1763
20 | 2723184.1107 | 1119168.383 | 2723204.6274 | 1119221.6078
21 | 2723157.9316 | 1119188.1763 | 2723124.6577 | 1119213.3339
22 | 2723123.3446 | 1119214.3267 | 2723124.6577 | 1119213.3339
23 | 2723115.0598 | 1119220.5905 | 2723123.3446 | 1119214.3267
24 | 2723101.3356 | 1119230.9671 | 2723115.0598 | 1119220.5905
25 | 2723101.3356 | 1119230.9671 | 2723086.1573 | 1119242.443 | 2723080.2815 | 1119248.3561
26 | 2723069.5226 | 1119259.1833 | 2723080.2815 | 1119248.3561
27 | 2723069.5226 | 1119259.1833 | 2723058.1792 | 1119273.0735
28 | 2723017.3316 | 1119206.3619 | 2723007.913 | 1119190.2271
29 | 2723017.3316 | 1119206.3619 | 2723018.3804 | 1119208.1586
30 | 2723024.2797 | 1119218.2646 | 2723018.3804 | 1119208.1586
31 | 2723024.2797 | 1119218.2646 | 2723028.473 | 1119225.4481 | 2723036.7037 | 1119238.6897
32 | 2723036.7037 | 1119238.6897 | 2723048.427 | 1119257.5505
33 | 2723058.1792 | 1119273.0735 | 2723053.1607 | 1119265.1661 | 2723048.427 | 1119257.5505
34 | 2722957.7306 | 1119200.0754 | 2722972.9732 | 1119192.4239
35 | 2723058.1792 | 1119273.0735 | 2723061.6199 | 1119278.4805
36 | 2722957.7306 | 1119200.0754 | 2722955.1419 | 1119201.3749
37 | 2722955.1419 | 1119201.3749 | 2722953.2311 | 1119202.3341
38 | 2723061.6199 | 1119278.4805 | 2723052.7043 | 1119284.5454
39 | 2722935.7652 | 1119209.4513 | 2722947.5829 | 1119205.1693 | 2722953.2311 | 1119202.3341
40 | 2722935.7652 | 1119209.4513 | 2722918.3217 | 1119215.7717
41 | 2722917.3201 | 1119216.0202 | 2722918.3217 | 1119215.7717 | 2722918.3217 | 1119215.7717
42 | 2722891.813 | 1119222.3494 | 2722917.3201 | 1119216.0202
43 | 2722891.813 | 1119222.3494 | 2722890.1905 | 1119202.5056
44 | 2722891.813 | 1119222.3494 | 2722896.5178 | 1119245.3386 | 2722897.323 | 1119246.2477
45 | 2722891.813 | 1119222.3494 | 2722858.291 | 1119226.8832
46 | 2722889.8041 | 1119198.6794 | 2722889.958 | 1119199.6627 | 2722890.1905 | 1119202.5056
47 | 2722913.6059 | 1119266.2774 | 2722910.7566 | 1119261.4164 | 2722897.323 | 1119246.2477
48 | 2722858.291 | 1119226.8832 | 2722842.9192 | 1119228.9622 | 2722841.7712 | 1119229.1621
49 | 2722889.8041 | 1119198.6794 | 2722856.7339 | 1119161.0156
50 | 2722913.6059 | 1119266.2774 | 2722917.8141 | 1119273.4569 | 2722922.0631 | 1119286.5436
51 | 2722805.147 | 1119235.5407 | 2722841.7712 | 1119229.1621
52 | 2722924.6788 | 1119294.5998 | 2722924.6788 | 1119294.5998 | 2722922.0631 | 1119286.5436
53 | 2722803.8089 | 1119235.7738 | 2722805.147 | 1119235.5407
54 | 2722924.6788 | 1119294.5998 | 2722927.2962 | 1119313.613
55 | 2722803.8089 | 1119235.7738 | 2722791.0004 | 1119237.8266 | 2722781.2171 | 1119237.6282 | 2722768.8566 | 1119233.5748 | 2722768.5525 | 1119233.2487
56 | 2722803.8089 | 1119235.7738 | 2722806.5559 | 1119258.1706
57 | 2722929.4478 | 1119329.2428 | 2722927.2962 | 1119313.613
58 | 2722929.4478 | 1119329.2428 | 2722899.6792 | 1119330.8688
59 | 2722929.4478 | 1119329.2428 | 2722945.1916 | 1119327.9771
60 | 2722899.6792 | 1119330.8688 | 2722893.9995 | 1119331.1791
61 | 2722945.1916 | 1119327.9771 | 2722947.5368 | 1119327.7885
62 | 2723010.237 | 1119311.871 | 2723023.817 | 1119325.7787 | 2723026.8591 | 1119328.6283
63 | 2723010.237 | 1119311.871 | 2723002.0806 | 1119314.1142
64 | 2723026.8591 | 1119328.6283 | 2723029.0016 | 1119330.6353
65 | 2723002.0806 | 1119314.1142 | 2722993.5312 | 1119316.4655
66 | 2722993.5312 | 1119316.4655 | 2722982.9534 | 1119319.3746
67 | 2722972.1439 | 1119322.3475 | 2722982.9534 | 1119319.3746
68 | 2722967.7794 | 1119323.3638 | 2722971.0464 | 1119322.6493 | 2722972.1439 | 1119322.3475
69 | 2722967.7794 | 1119323.3638 | 2722959.6074 | 1119325.1511
70 | 2722959.6074 | 1119325.1511 | 2722947.5545 | 1119327.7871 | 2722947.5368 | 1119327.7885
71 | 2722880.2401 | 1119331.7818 | 2722886.4149 | 1119331.5934 | 2722893.9995 | 1119331.1791
72 | 2722880.2401 | 1119331.7818 | 2722879.7314 | 1119331.7973
73 | 2722879.7314 | 1119331.7973 | 2722863.3172 | 1119332.2981
74 | 2722743.353 | 1119226.7643 | 2722760.1564 | 1119221.8348 | 2722763.6667 | 1119228.0102 | 2722768.5525 | 1119233.2487
75 | 2722806.744 | 1119259.704 | 2722806.5559 | 1119258.1706
76 | 2722743.353 | 1119226.7643 | 2722744.8626 | 1119240.2487 | 2722758.1529 | 1119274.3916
77 | 2722743.353 | 1119226.7643 | 2722742.9112 | 1119205.9187 | 2722742.732 | 1119204.7033
78 | 2722806.9221 | 1119261.1566 | 2722806.744 | 1119259.704
79 | 2722806.9221 | 1119261.1566 | 2722809.943 | 1119285.7861
80 | 2722809.943 | 1119285.7861 | 2722810.2161 | 1119288.0127
81 | 2722828.6865 | 1119334.3725 | 2722802.0337 | 1119339.6467
82 | 2722828.6865 | 1119334.3725 | 2722834.7683 | 1119333.1691 | 2722857.8678 | 1119332.4643
83 | 2722857.8678 | 1119332.4643 | 2722863.3172 | 1119332.2981
84 | 2722793.4609 | 1119299.4778 | 2722810.9221 | 1119293.7693 | 2722810.2161 | 1119288.0127
85 | 2722783.1374 | 1119302.8528 | 2722793.4609 | 1119299.4778

## bus_geodata
| x | y | coords
0 | 2723011.2284 | 1119129.6228
1 | 2723014.7338 | 1119127.5621
2 | 2722990.2233 | 1119143.1698
3 | 2723015.6757 | 1119127.0084
4 | 2722982.2868 | 1119147.8008
5 | 2723026.9186 | 1119120.3992
6 | 2722991.4308 | 1119162.9024
7 | 2723027.9956 | 1119119.3002
8 | 2722999.6206 | 1119176.4281
9 | 2723033.264 | 1119113.9236
10 | 2722985.4392 | 1119185.9723
11 | 2723007.4386 | 1119189.4144
12 | 2723033.3286 | 1119106.2702
13 | 2723112.3723 | 1119078.6544
14 | 2723114.0176 | 1119080.3432
15 | 2723129.894 | 1119096.6398
16 | 2723147.8101 | 1119118.9026
17 | 2723147.8899 | 1119119.0114
18 | 2723184.1107 | 1119168.383
19 | 2723157.9316 | 1119188.1763
20 | 2723204.6274 | 1119221.6078
21 | 2723124.6577 | 1119213.3339
22 | 2723123.3446 | 1119214.3267
23 | 2723115.0598 | 1119220.5905
24 | 2723101.3356 | 1119230.9671
25 | 2723080.2815 | 1119248.3561
26 | 2723069.5226 | 1119259.1833
27 | 2723017.3316 | 1119206.3619
28 | 2723007.913 | 1119190.2271
29 | 2723018.3804 | 1119208.1586
30 | 2723024.2797 | 1119218.2646
31 | 2723036.7037 | 1119238.6898
32 | 2723048.427 | 1119257.5505
33 | 2722972.9732 | 1119192.4239
34 | 2723058.1792 | 1119273.0735
35 | 2722957.7306 | 1119200.0754
36 | 2722955.1419 | 1119201.3749
37 | 2723061.6199 | 1119278.4805
38 | 2723052.7043 | 1119284.5454
39 | 2722953.2311 | 1119202.3341
40 | 2722935.7652 | 1119209.4513
41 | 2722918.3217 | 1119215.7717
42 | 2722917.3201 | 1119216.0202
43 | 2722891.813 | 1119222.3494
44 | 2722890.1905 | 1119202.5056
45 | 2722897.323 | 1119246.2477
46 | 2722858.291 | 1119226.8832
47 | 2722889.8041 | 1119198.6794
48 | 2722913.6059 | 1119266.2774
49 | 2722841.7712 | 1119229.1621
50 | 2722856.7339 | 1119161.0156
51 | 2722922.0631 | 1119286.5436
52 | 2722805.147 | 1119235.5407
53 | 2722924.6788 | 1119294.5998
54 | 2722803.8089 | 1119235.7738
55 | 2722927.2962 | 1119313.613
56 | 2722929.4478 | 1119329.2428
57 | 2722899.6792 | 1119330.8688
58 | 2722945.1916 | 1119327.9771
59 | 2723010.237 | 1119311.871
60 | 2723026.8591 | 1119328.6283
61 | 2723002.0807 | 1119314.1142
62 | 2723029.0016 | 1119330.6353
63 | 2722993.5312 | 1119316.4655
64 | 2722982.9534 | 1119319.3746
65 | 2722972.1439 | 1119322.3475
66 | 2722967.7794 | 1119323.3638
67 | 2722959.6074 | 1119325.1511
68 | 2722947.5368 | 1119327.7885
69 | 2722893.9995 | 1119331.1791
70 | 2722880.2401 | 1119331.7818
71 | 2722879.7314 | 1119331.7973
72 | 2722768.5525 | 1119233.2487
73 | 2722806.5559 | 1119258.1706
74 | 2722743.353 | 1119226.7643
75 | 2722806.744 | 1119259.704
76 | 2722758.1529 | 1119274.3916
77 | 2722742.732 | 1119204.7033
78 | 2722806.9221 | 1119261.1566
79 | 2722809.943 | 1119285.7861
80 | 2722802.0337 | 1119339.6467
81 | 2722828.6865 | 1119334.3725
82 | 2722857.8678 | 1119332.4643
83 | 2722863.3172 | 1119332.2981
84 | 2722810.2161 | 1119288.0127
85 | 2722793.4609 | 1119299.4778
86 | 2722783.1374 | 1119302.8528
87 | 2722999.6206 | 1119176.4281

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1