## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-35_0_12_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-35_0_12_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-35_0_12_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-35_0_12_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-35_0_12_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-35_0_12_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5002-35_0_12_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5002-35_0_12_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_5002-35_0_12_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_5002-35_0_12_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5002-35_0_12_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5002-35_0_12_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_5002-35_0_12_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_5002-35_0_12_node_103 | 0.4 | n |  | TRUE
14 | bus_LV_5002-35_0_12_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5002-35_0_12_node_115 | 0.4 | n |  | TRUE
16 | bus_LV_5002-35_0_12_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5002-35_0_12_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5002-35_0_12_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5002-35_0_12_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_5002-35_0_12_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_5002-35_0_12_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_5002-35_0_12_node_114 | 0.4 | n |  | TRUE
23 | bus_LV_5002-35_0_12_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_5002-35_0_12_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5002-35_0_12_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5002-35_0_12_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5002-35_0_12_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5002-35_0_12_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5002-35_0_12_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5002-35_0_12_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5002-35_0_12_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5002-35_0_12_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_5002-35_0_12_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5002-35_0_12_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5002-35_0_12_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_5002-35_0_12_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5002-35_0_12_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5002-35_0_12_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5002-35_0_12_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5002-35_0_12_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_5002-35_0_12_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5002-35_0_12_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5002-35_0_12_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5002-35_0_12_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5002-35_0_12_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5002-35_0_12_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5002-35_0_12_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5002-35_0_12_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5002-35_0_12_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5002-35_0_12_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5002-35_0_12_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5002-35_0_12_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5002-35_0_12_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_5002-35_0_12_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_5002-35_0_12_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5002-35_0_12_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5002-35_0_12_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_5002-35_0_12_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_5002-35_0_12_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5002-35_0_12_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_5002-35_0_12_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5002-35_0_12_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5002-35_0_12_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5002-35_0_12_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5002-35_0_12_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5002-35_0_12_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5002-35_0_12_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5002-35_0_12_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5002-35_0_12_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5002-35_0_12_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5002-35_0_12_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_5002-35_0_12_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5002-35_0_12_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_5002-35_0_12_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5002-35_0_12_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5002-35_0_12_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5002-35_0_12_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5002-35_0_12_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5002-35_0_12_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_5002-35_0_12_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5002-35_0_12_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_5002-35_0_12_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_5002-35_0_12_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_5002-35_0_12_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5002-35_0_12_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5002-35_0_12_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_5002-35_0_12_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_5002-35_0_12_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_5002-35_0_12_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5002-35_0_12_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5002-35_0_12_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5002-35_0_12_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_5002-35_0_12_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5002-35_0_12_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_5002-35_0_12_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_5002-35_0_12_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5002-35_0_12_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_5002-35_0_12_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_5002-35_0_12_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_5002-35_0_12_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_5002-35_0_12_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_5002-35_0_12_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_5002-35_0_12_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_5002-35_0_12_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_5002-35_0_12_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_5002-35_0_12_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_5002-35_0_12_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_5002-35_0_12_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_5002-35_0_12_node_110 | 0.4 | n |  | TRUE
110 | bus_LV_5002-35_0_12_node_111 | 0.4 | n |  | TRUE
111 | bus_LV_5002-35_0_12_node_112 | 0.4 | n |  | TRUE
112 | bus_MV_62_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-35_0_12_load_0 | 0 | 0.0043786 | 0.0010974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-35_0_12_load_1 | 1 | 0.0014029 | 0.00035161 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-35_0_12_load_2 | 2 | 0.0031996 | 0.00080189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-35_0_12_load_3 | 3 | 0.0075062 | 0.0018812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-35_0_12_load_5 | 5 | 0.0045357 | 0.0011367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-35_0_12_load_6 | 6 | 0.0035134 | 0.00088055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-35_0_12_load_95 | 7 | 0.0038774 | 0.00097177 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-35_0_12_load_104 | 8 | 0.0071101 | 0.001782 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-35_0_12_load_113 | 11 | 0.0044343 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-35_0_12_load_94 | 12 | 0.0028329 | 0.00070999 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-35_0_12_load_103 | 13 | 0.0056028 | 0.0014042 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-35_0_12_load_115 | 15 | 0.04498 | 0.011273 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-35_0_12_load_11 | 18 | 0.0073506 | 0.0018422 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-35_0_12_load_8 | 19 | 0.0053778 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-35_0_12_load_114 | 22 | 0.014934 | 0.0037428 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-35_0_12_load_14 | 24 | 0.0044309 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-35_0_12_load_15 | 25 | 0.0049108 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-35_0_12_load_20 | 28 | 0.0117 | 0.0029323 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-35_0_12_load_21 | 29 | 0.0079723 | 0.0019981 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-35_0_12_load_22 | 30 | 0.028764 | 0.0072089 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-35_0_12_load_23 | 31 | 0.0039267 | 0.00098412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-35_0_12_load_39 | 32 | 0.0084174 | 0.0021096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-35_0_12_load_37 | 33 | 0.0082325 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-35_0_12_load_24 | 34 | 0.0050241 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-35_0_12_load_48 | 35 | 0.0051555 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-35_0_12_load_25 | 36 | 0.0063022 | 0.0015795 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-35_0_12_load_26 | 37 | 0.0047573 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-35_0_12_load_44 | 39 | 0.0050632 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-35_0_12_load_51 | 40 | 0.0052912 | 0.0013261 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-35_0_12_load_29 | 43 | 0.0032294 | 0.00080936 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-35_0_12_load_30 | 44 | 0.0013298 | 0.00033327 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-35_0_12_load_31 | 45 | 0.0012889 | 0.00032304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-35_0_12_load_32 | 46 | 0.013758 | 0.0034481 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-35_0_12_load_33 | 47 | 0.0027709 | 0.00069446 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-35_0_12_load_35 | 50 | 0.018235 | 0.0045702 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-35_0_12_load_71 | 51 | 0.0021936 | 0.00054977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-35_0_12_load_70 | 52 | 0.0063307 | 0.0015866 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-35_0_12_load_43 | 53 | 0.005439 | 0.0013631 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-35_0_12_load_36 | 54 | 0.004169 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-35_0_12_load_47 | 55 | 0.0079417 | 0.0019904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-35_0_12_load_41 | 56 | 0.0034789 | 0.0008719 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-35_0_12_load_64 | 57 | 0.0060197 | 0.0015087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-35_0_12_load_72 | 58 | 0.0019572 | 0.00049053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-35_0_12_load_67 | 59 | 0.0056685 | 0.0014207 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-35_0_12_load_40 | 60 | 0.0076348 | 0.0019135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-35_0_12_load_45 | 61 | 0.0081905 | 0.0020527 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-35_0_12_load_53 | 63 | 0.0044654 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-35_0_12_load_52 | 64 | 0.0028873 | 0.00072362 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-35_0_12_load_54 | 65 | 0.0048792 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-35_0_12_load_50 | 67 | 0.012264 | 0.0030738 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-35_0_12_load_63 | 68 | 0.0049671 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-35_0_12_load_55 | 70 | 0.0029482 | 0.00073889 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-35_0_12_load_56 | 71 | 0.0094906 | 0.0023786 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-35_0_12_load_58 | 72 | 0.0052761 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-35_0_12_load_60 | 73 | 0.0058223 | 0.0014592 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-35_0_12_load_59 | 74 | 0.0036048 | 0.00090345 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-35_0_12_load_61 | 75 | 0.0075997 | 0.0019047 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-35_0_12_load_68 | 76 | 0.0095832 | 0.0024018 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-35_0_12_load_82 | 79 | 0.026938 | 0.0067513 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-35_0_12_load_80 | 80 | 0.0046003 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-35_0_12_load_81 | 81 | 0.005168 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-35_0_12_load_74 | 83 | 0.0042317 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-35_0_12_load_75 | 84 | 0.0066488 | 0.0016664 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-35_0_12_load_76 | 85 | 0.012954 | 0.0032465 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-35_0_12_load_83 | 86 | 0.0054716 | 0.0013713 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-35_0_12_load_84 | 87 | 0.0086873 | 0.0021772 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5002-35_0_12_load_85 | 88 | 0.0085691 | 0.0021476 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5002-35_0_12_load_86 | 89 | 0.014442 | 0.0036194 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5002-35_0_12_load_87 | 90 | 0.003184 | 0.00079798 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5002-35_0_12_load_90 | 93 | 0.0038827 | 0.00097309 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5002-35_0_12_load_91 | 94 | 0.0062253 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5002-35_0_12_load_92 | 95 | 0.0080862 | 0.0020266 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5002-35_0_12_load_93 | 96 | 0.0082329 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5002-35_0_12_load_96 | 97 | 0.004515 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5002-35_0_12_load_105 | 98 | 0.003342 | 0.00083758 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5002-35_0_12_load_97 | 99 | 0.0048254 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5002-35_0_12_load_106 | 100 | 0.004563 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5002-35_0_12_load_98 | 101 | 0.0039133 | 0.00098077 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5002-35_0_12_load_99 | 102 | 0.0040514 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5002-35_0_12_load_100 | 103 | 0.0032833 | 0.00082288 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5002-35_0_12_load_101 | 104 | 0.0046524 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5002-35_0_12_load_102 | 105 | 0.002797 | 0.00070099 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5002-35_0_12_load_107 | 106 | 0.0044432 | 0.0011136 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5002-35_0_12_load_108 | 107 | 0.0058227 | 0.0014593 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5002-35_0_12_load_109 | 108 | 0.0041043 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5002-35_0_12_load_110 | 109 | 0.011146 | 0.0027935 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5002-35_0_12_load_111 | 110 | 0.0030491 | 0.00076419 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5002-35_0_12_load_112 | 111 | 0.0025881 | 0.00064864 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-35_0_12_line_0 |  | 0 | 1 | 0.079657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-35_0_12_line_1 |  | 0 | 2 | 0.016756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-35_0_12_line_2 |  | 1 | 3 | 0.0069428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-35_0_12_line_3 |  | 2 | 4 | 0.0089081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-35_0_12_line_4 |  | 3 | 5 | 0.0071753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-35_0_12_line_5 |  | 4 | 6 | 0.0098323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-35_0_12_line_6 |  | 5 | 7 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-35_0_12_line_7 |  | 6 | 8 | 0.007345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-35_0_12_line_8 |  | 7 | 12 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-35_0_12_line_9 |  | 8 | 13 | 0.00954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-35_0_12_line_10 |  | 9 | 10 | 0.13583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-35_0_12_line_11 |  | 9 | 11 | 0.13789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-35_0_12_line_12 |  | 10 | 18 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-35_0_12_line_13 |  | 11 | 20 | 0.10373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5002-35_0_12_line_14 |  | 13 | 105 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-35_0_12_line_15 |  | 14 | 15 | 0.00602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-35_0_12_line_16 |  | 14 | 16 | 0.078026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-35_0_12_line_17 |  | 16 | 19 | 0.0087558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-35_0_12_line_18 |  | 17 | 18 | 0.0060603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-35_0_12_line_19 |  | 17 | 19 | 0.0028066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-35_0_12_line_20 |  | 20 | 23 | 0.04876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-35_0_12_line_21 |  | 20 | 79 | 0.17344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5002-35_0_12_line_22 |  | 21 | 22 | 0.007167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-35_0_12_line_23 |  | 21 | 23 | 0.091826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-35_0_12_line_24 |  | 24 | 25 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-35_0_12_line_25 |  | 25 | 26 | 0.049419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-35_0_12_line_26 |  | 26 | 27 | 0.04089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-35_0_12_line_27 |  | 26 | 28 | 0.02409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-35_0_12_line_28 |  | 27 | 29 | 0.028655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-35_0_12_line_29 |  | 27 | 30 | 0.031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-35_0_12_line_30 |  | 28 | 31 | 0.0084993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-35_0_12_line_31 |  | 29 | 32 | 0.023613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-35_0_12_line_32 |  | 30 | 33 | 0.025889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-35_0_12_line_33 |  | 31 | 34 | 0.0085464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-35_0_12_line_34 |  | 32 | 35 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-35_0_12_line_35 |  | 34 | 36 | 0.00098301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-35_0_12_line_36 |  | 35 | 42 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5002-35_0_12_line_37 |  | 36 | 37 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-35_0_12_line_38 |  | 38 | 39 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5002-35_0_12_line_39 |  | 38 | 40 | 0.0094812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5002-35_0_12_line_40 |  | 39 | 41 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5002-35_0_12_line_41 |  | 40 | 42 | 0.0099467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5002-35_0_12_line_42 |  | 41 | 61 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-35_0_12_line_43 |  | 41 | 60 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5002-35_0_12_line_44 |  | 42 | 67 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-35_0_12_line_45 |  | 43 | 44 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5002-35_0_12_line_46 |  | 43 | 45 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5002-35_0_12_line_47 |  | 44 | 46 | 0.0058709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5002-35_0_12_line_48 |  | 45 | 47 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5002-35_0_12_line_49 |  | 46 | 48 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5002-35_0_12_line_50 |  | 47 | 49 | 0.025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5002-35_0_12_line_51 |  | 48 | 50 | 0.023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5002-35_0_12_line_52 |  | 49 | 51 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-35_0_12_line_53 |  | 49 | 52 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5002-35_0_12_line_54 |  | 50 | 53 | 0.0066884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5002-35_0_12_line_55 |  | 51 | 58 | 0.001882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-35_0_12_line_56 |  | 52 | 59 | 0.011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5002-35_0_12_line_57 |  | 53 | 56 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5002-35_0_12_line_58 |  | 54 | 55 | 0.0022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-35_0_12_line_59 |  | 55 | 57 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-35_0_12_line_60 |  | 56 | 60 | 0.0036494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5002-35_0_12_line_61 |  | 57 | 66 | 0.0068059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-35_0_12_line_62 |  | 58 | 82 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-35_0_12_line_63 |  | 59 | 66 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5002-35_0_12_line_64 |  | 61 | 62 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-35_0_12_line_65 |  | 62 | 63 | 0.0061432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-35_0_12_line_66 |  | 62 | 64 | 0.019736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-35_0_12_line_67 |  | 63 | 65 | 0.0072841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-35_0_12_line_68 |  | 65 | 68 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-35_0_12_line_69 |  | 66 | 77 | 0.027167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5002-35_0_12_line_70 |  | 68 | 69 | 0.0058848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-35_0_12_line_71 |  | 69 | 75 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-35_0_12_line_72 |  | 70 | 71 | 0.019226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5002-35_0_12_line_73 |  | 71 | 72 | 0.030676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5002-35_0_12_line_74 |  | 72 | 73 | 0.029371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5002-35_0_12_line_75 |  | 73 | 76 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5002-35_0_12_line_76 |  | 74 | 75 | 0.0043586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5002-35_0_12_line_77 |  | 76 | 77 | 0.019102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5002-35_0_12_line_78 |  | 77 | 78 | 0.097389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5002-35_0_12_line_79 |  | 78 | 79 | 0.082487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5002-35_0_12_line_80 |  | 78 | 80 | 0.05558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5002-35_0_12_line_81 |  | 80 | 81 | 0.019085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5002-35_0_12_line_82 |  | 81 | 86 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5002-35_0_12_line_83 |  | 81 | 87 | 0.034837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5002-35_0_12_line_84 |  | 82 | 83 | 0.045897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5002-35_0_12_line_85 |  | 82 | 84 | 0.060631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5002-35_0_12_line_86 |  | 83 | 85 | 0.0075462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5002-35_0_12_line_87 |  | 86 | 88 | 0.0066796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_5002-35_0_12_line_88 |  | 87 | 89 | 0.027469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5002-35_0_12_line_89 |  | 88 | 90 | 0.0066009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_5002-35_0_12_line_90 |  | 90 | 91 | 0.0089552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5002-35_0_12_line_91 |  | 91 | 92 | 0.037116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5002-35_0_12_line_92 |  | 91 | 93 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5002-35_0_12_line_93 |  | 92 | 94 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5002-35_0_12_line_94 |  | 92 | 95 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5002-35_0_12_line_95 |  | 93 | 96 | 0.0083313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5002-35_0_12_line_96 |  | 94 | 97 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5002-35_0_12_line_97 |  | 96 | 98 | 0.0068012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5002-35_0_12_line_98 |  | 97 | 99 | 0.0012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5002-35_0_12_line_99 |  | 98 | 100 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5002-35_0_12_line_100 |  | 99 | 101 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5002-35_0_12_line_101 |  | 100 | 106 | 0.0086401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5002-35_0_12_line_102 |  | 101 | 102 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5002-35_0_12_line_103 |  | 102 | 103 | 0.0058958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5002-35_0_12_line_104 |  | 103 | 104 | 0.00032786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5002-35_0_12_line_105 |  | 104 | 105 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5002-35_0_12_line_106 |  | 106 | 107 | 0.009362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5002-35_0_12_line_107 |  | 107 | 108 | 0.00739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5002-35_0_12_line_108 |  | 108 | 109 | 0.0044887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5002-35_0_12_line_109 |  | 109 | 110 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5002-35_0_12_line_110 |  | 110 | 111 | 0.012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-35_0_12_trafo_69 | 0.63 MVA 20/0.4 kV | 112 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2720524.2141 | 1115614.7617 | 2720525.4568 | 1115608.0306 | 2720522.5063 | 1115598.3431 | 2720467.9326 | 1115567.5029
1 | 2720524.2141 | 1115614.7617 | 2720521.172 | 1115631.2391
2 | 2720461.8881 | 1115564.0871 | 2720467.9326 | 1115567.5029
3 | 2720523.7595 | 1115639.7631 | 2720521.172 | 1115631.2391 | 2720521.172 | 1115631.2391
4 | 2720461.8881 | 1115564.0871 | 2720455.6413 | 1115560.5569
5 | 2720523.7595 | 1115639.7631 | 2720519.6498 | 1115648.6954
6 | 2720445.2 | 1115554.6565 | 2720455.6413 | 1115560.5569
7 | 2720519.6498 | 1115648.6954 | 2720516.5798 | 1115655.368
8 | 2720430.6313 | 1115546.4235 | 2720445.2 | 1115554.6565
9 | 2720512.5923 | 1115664.0346 | 2720516.5798 | 1115655.368
10 | 2720634.2999 | 1115606.1505 | 2720628.838 | 1115604.6741 | 2720608.7671 | 1115593.3335 | 2720600.0829 | 1115592.3266 | 2720595.6335 | 1115597.4083 | 2720597.3175 | 1115606.3145 | 2720608.4171 | 1115620.99 | 2720619.7031 | 1115630.9547 | 2720623.2362 | 1115636.2065 | 2720622.8189 | 1115642.0355 | 2720622.4482 | 1115653.2803 | 2720626.7766 | 1115658.5367 | 2720631.8752 | 1115664.6757 | 2720637.9087 | 1115671.9564 | 2720638.6412 | 1115673.1829
11 | 2720634.2999 | 1115606.1505 | 2720698.527 | 1115658.0649 | 2720740.699 | 1115693.841
12 | 2720638.6412 | 1115673.1829 | 2720647.3345 | 1115671.0101 | 2720656.728 | 1115668.5477
13 | 2720764.9526 | 1115783.6412 | 2720769.8819 | 1115770.3748 | 2720771.1088 | 1115765.3958 | 2720772.4786 | 1115736.9814 | 2720771.9357 | 1115730.8997 | 2720770.0609 | 1115723.8352 | 2720767.5447 | 1115717.9477 | 2720764.7911 | 1115714.2792 | 2720740.699 | 1115693.841
14 | 2720512.5923 | 1115664.0346 | 2720508.2451 | 1115673.4829
15 | 2720718.8009 | 1115725.0704 | 2720713.4846 | 1115727.922
16 | 2720668.431 | 1115676.9897 | 2720669.327 | 1115678.5309 | 2720673.4043 | 1115685.5391 | 2720676.1361 | 1115690.2967 | 2720676.7645 | 1115691.3211 | 2720679.6843 | 1115696.3382 | 2720683.9024 | 1115705.573 | 2720687.8107 | 1115703.6162 | 2720690.8619 | 1115702.0425 | 2720693.4508 | 1115701.1824 | 2720695.5158 | 1115701.0345 | 2720697.2656 | 1115701.592 | 2720698.6721 | 1115702.7096 | 2720701.6806 | 1115707.1504 | 2720713.4846 | 1115727.922
17 | 2720668.431 | 1115676.9897 | 2720664.008 | 1115669.4332
18 | 2720662.5902 | 1115667.011 | 2720656.728 | 1115668.5477
19 | 2720662.5902 | 1115667.011 | 2720664.008 | 1115669.4332
20 | 2720764.9526 | 1115783.6412 | 2720782.0082 | 1115784.6485 | 2720788.9987 | 1115790.0137 | 2720791.0285 | 1115806.7323 | 2720792.0997 | 1115812.6578
21 | 2720764.9526 | 1115783.6412 | 2720749.3657 | 1115807.7472 | 2720738.449 | 1115819.5712 | 2720727.0047 | 1115826.8704 | 2720713.4486 | 1115835.5063 | 2720667.4468 | 1115854.292 | 2720628.7829 | 1115856.7573 | 2720618.2786 | 1115857.8537
22 | 2720798.0132 | 1115893.3089 | 2720791.0003 | 1115894.8813
23 | 2720791.0003 | 1115894.8813 | 2720787.9641 | 1115882.1564 | 2720783.9512 | 1115865.3538 | 2720779.7745 | 1115847.8585 | 2720777.394 | 1115837.882 | 2720778.5758 | 1115833.6137 | 2720782.5136 | 1115831.3351 | 2720787.0323 | 1115830.1354 | 2720788.4714 | 1115826.9064 | 2720793.7979 | 1115818.5067 | 2720792.0997 | 1115812.6578
24 | 2720652.6324 | 1116237.4818 | 2720649.4157 | 1116228.6457 | 2720647.5845 | 1116223.7297
25 | 2720630.3345 | 1116177.4195 | 2720647.5845 | 1116223.7297
26 | 2720630.3345 | 1116177.4195 | 2720616.5754 | 1116138.9081
27 | 2720630.3345 | 1116177.4195 | 2720608.2278 | 1116186.9905
28 | 2720616.5754 | 1116138.9081 | 2720591.8096 | 1116151.2904 | 2720590.9383 | 1116151.7071
29 | 2720616.5754 | 1116138.9081 | 2720605.9327 | 1116109.1108
30 | 2720600.428 | 1116190.3673 | 2720608.2278 | 1116186.9905
31 | 2720570.6147 | 1116151.8177 | 2720575.7852 | 1116156.7197 | 2720579.1553 | 1116157.3427 | 2720590.9383 | 1116151.7071
32 | 2720605.9327 | 1116109.1108 | 2720603.6722 | 1116102.782 | 2720596.8736 | 1116084.859
33 | 2720600.428 | 1116190.3673 | 2720592.5852 | 1116193.7629
34 | 2720570.6147 | 1116151.8177 | 2720565.2194 | 1116146.7026 | 2720561.939 | 1116148.2626
35 | 2720591.6831 | 1116194.1534 | 2720592.5852 | 1116193.7629
36 | 2720546.7731 | 1116155.475 | 2720561.939 | 1116148.2626
37 | 2720582.0353 | 1116198.3304 | 2720591.6831 | 1116194.1534
38 | 2720529.6493 | 1116146.3058 | 2720531.9585 | 1116136.2115 | 2720529.2261 | 1116125.0831
39 | 2720529.6493 | 1116146.3058 | 2720537.6376 | 1116150.8012 | 2720537.918 | 1116150.9446
40 | 2720527.8625 | 1116112.6917 | 2720527.9009 | 1116119.6861 | 2720529.2261 | 1116125.0831
41 | 2720546.7731 | 1116155.475 | 2720537.918 | 1116150.9446
42 | 2720527.8625 | 1116112.6917 | 2720522.1841 | 1116106.9859 | 2720518.067 | 1116105.2623
43 | 2720527.8625 | 1116112.6917 | 2720548.4529 | 1116086.9932
44 | 2720546.7731 | 1116155.475 | 2720562.3189 | 1116166.325
45 | 2720604.6427 | 1116043.0798 | 2720625.2344 | 1116034.5199 | 2720625.2344 | 1116034.5199
46 | 2720625.2344 | 1116034.5199 | 2720624.1456 | 1116029.8617 | 2720622.3552 | 1116022.9198
47 | 2720604.6427 | 1116043.0798 | 2720599.2216 | 1116045.3334
48 | 2720618.9463 | 1116009.7024 | 2720622.3552 | 1116022.9198
49 | 2720584.2426 | 1116051.5602 | 2720599.2216 | 1116045.3334
50 | 2720612.6965 | 1115985.4699 | 2720618.9463 | 1116009.7024
51 | 2720584.2426 | 1116051.5602 | 2720566.0668 | 1116067.0311
52 | 2720612.6965 | 1115985.4699 | 2720625.0307 | 1115982.546
53 | 2720612.6965 | 1115985.4699 | 2720594.4757 | 1115989.7472
54 | 2720560.9736 | 1116071.3664 | 2720566.0668 | 1116067.0311
55 | 2720626.862 | 1115982.1119 | 2720625.0307 | 1115982.546
56 | 2720594.4757 | 1115989.7472 | 2720583.2837 | 1115992.3745
57 | 2720550.7348 | 1116084.1453 | 2720560.9736 | 1116071.3664 | 2720560.9736 | 1116071.3664
58 | 2720576.1393 | 1116022.0754 | 2720576.7368 | 1116024.2497
59 | 2720576.1393 | 1116022.0754 | 2720570.7079 | 1116002.3126
60 | 2720548.4529 | 1116086.9932 | 2720550.7348 | 1116084.1453
61 | 2720568.9043 | 1115995.75 | 2720570.7079 | 1116002.3126
62 | 2720642.3067 | 1115978.4434 | 2720635.1523 | 1115980.1466 | 2720626.862 | 1115982.1119
63 | 2720568.9043 | 1115995.75 | 2720583.2837 | 1115992.3745
64 | 2720505.8205 | 1116100.356 | 2720512.0898 | 1116102.7601 | 2720518.067 | 1116105.2623
65 | 2720505.8205 | 1116100.356 | 2720499.8339 | 1116098.9775
66 | 2720505.8205 | 1116100.356 | 2720512.729 | 1116118.8429
67 | 2720499.8339 | 1116098.9775 | 2720492.7355 | 1116097.3431
68 | 2720474.6788 | 1116083.7718 | 2720489.2233 | 1116096.5344 | 2720492.7355 | 1116097.3431
69 | 2720561.703 | 1115969.5554 | 2720568.9043 | 1115995.75
70 | 2720470.2555 | 1116079.8903 | 2720474.6788 | 1116083.7718
71 | 2720470.2555 | 1116079.8903 | 2720459.4099 | 1116054.9507
72 | 2720446.1158 | 1116002.9999 | 2720464.5843 | 1115997.6561
73 | 2720494.0518 | 1115989.1299 | 2720464.5843 | 1115997.6561
74 | 2720522.2656 | 1115980.9664 | 2720494.0518 | 1115989.1299
75 | 2720543.3534 | 1115974.8648 | 2720522.2656 | 1115980.9664
76 | 2720459.4099 | 1116054.9507 | 2720457.6717 | 1116050.9537
77 | 2720561.703 | 1115969.5554 | 2720543.3534 | 1115974.8648
78 | 2720561.703 | 1115969.5554 | 2720555.1025 | 1115942.6612 | 2720552.1455 | 1115930.5941 | 2720550.2383 | 1115922.8175 | 2720544.042 | 1115898.8889 | 2720537.9586 | 1115875.1071
79 | 2720537.9586 | 1115875.1071 | 2720584.4149 | 1115861.3886 | 2720618.2786 | 1115857.8537
80 | 2720537.9586 | 1115875.1071 | 2720525.7615 | 1115829.8335 | 2720523.4731 | 1115821.4483
81 | 2720518.4482 | 1115803.0363 | 2720523.4731 | 1115821.4483
82 | 2720518.4482 | 1115803.0363 | 2720515.139 | 1115790.4174 | 2720513.6413 | 1115787.5994
83 | 2720518.4482 | 1115803.0363 | 2720548.5285 | 1115785.4634
84 | 2720642.3067 | 1115978.4434 | 2720652.3086 | 1115976.0742 | 2720660.195 | 1115979.1 | 2720676.5167 | 1116000.8235
85 | 2720642.3067 | 1115978.4434 | 2720638.5423 | 1115960.3894 | 2720639.5323 | 1115953.3376 | 2720643.8892 | 1115946.6864 | 2720660.3078 | 1115928.4786 | 2720661.7413 | 1115926.3097
86 | 2720681.0495 | 1116006.8566 | 2720676.5167 | 1116000.8235
87 | 2720510.5065 | 1115781.7012 | 2720513.6413 | 1115787.5994
88 | 2720572.247 | 1115771.607 | 2720548.5285 | 1115785.4634
89 | 2720507.4086 | 1115775.8724 | 2720510.5065 | 1115781.7012
90 | 2720503.2058 | 1115767.9646 | 2720507.4086 | 1115775.8724
91 | 2720475.723 | 1115742.9344 | 2720481.7325 | 1115748.3242 | 2720503.2058 | 1115767.9646
92 | 2720503.2058 | 1115767.9646 | 2720512.026 | 1115754.3715
93 | 2720475.723 | 1115742.9344 | 2720481.1622 | 1115732.3464 | 2720483.0672 | 1115728.2058
94 | 2720475.723 | 1115742.9344 | 2720470.2141 | 1115740.7234 | 2720454.3992 | 1115736.7237
95 | 2720512.026 | 1115754.3715 | 2720516.5609 | 1115747.3826
96 | 2720488.7837 | 1115715.7814 | 2720483.0672 | 1115728.2058
97 | 2720520.263 | 1115741.6772 | 2720516.5609 | 1115747.3826
98 | 2720488.7837 | 1115715.7814 | 2720489.3232 | 1115714.6088
99 | 2720520.263 | 1115741.6772 | 2720525.8935 | 1115732.9999
100 | 2720489.3232 | 1115714.6088 | 2720495.1513 | 1115701.9416
101 | 2720530.5965 | 1115725.7519 | 2720525.8935 | 1115732.9999
102 | 2720499.4987 | 1115692.4929 | 2720495.1513 | 1115701.9416
103 | 2720499.4987 | 1115692.4929 | 2720501.963 | 1115687.1368
104 | 2720501.963 | 1115687.1368 | 2720502.1 | 1115686.839
105 | 2720502.1 | 1115686.839 | 2720508.2451 | 1115673.4829
106 | 2720530.5965 | 1115725.7519 | 2720535.6925 | 1115717.8984
107 | 2720539.715 | 1115711.6991 | 2720535.6925 | 1115717.8984
108 | 2720539.715 | 1115711.6991 | 2720542.1584 | 1115707.9336
109 | 2720548.5704 | 1115698.0518 | 2720542.1584 | 1115707.9336
110 | 2720555.4008 | 1115687.5253 | 2720548.5704 | 1115698.0518

## bus_geodata
| x | y | coords
0 | 2720524.2141 | 1115614.7617
1 | 2720467.9326 | 1115567.5029
2 | 2720521.172 | 1115631.2391
3 | 2720461.8881 | 1115564.0871
4 | 2720523.7595 | 1115639.7631
5 | 2720455.6413 | 1115560.5569
6 | 2720519.6498 | 1115648.6954
7 | 2720445.2 | 1115554.6565
8 | 2720516.5798 | 1115655.368
9 | 2720634.2999 | 1115606.1505
10 | 2720638.6412 | 1115673.1829
11 | 2720740.699 | 1115693.841
12 | 2720430.6313 | 1115546.4235
13 | 2720512.5923 | 1115664.0346
14 | 2720713.4846 | 1115727.922
15 | 2720718.8009 | 1115725.0704
16 | 2720668.431 | 1115676.9897
17 | 2720662.5902 | 1115667.011
18 | 2720656.728 | 1115668.5477
19 | 2720664.008 | 1115669.4332
20 | 2720764.9526 | 1115783.6412
21 | 2720791.0003 | 1115894.8813
22 | 2720798.0132 | 1115893.3089
23 | 2720792.0997 | 1115812.6578
24 | 2720652.6324 | 1116237.4818
25 | 2720647.5846 | 1116223.7297
26 | 2720630.3345 | 1116177.4195
27 | 2720616.5754 | 1116138.9081
28 | 2720608.2278 | 1116186.9905
29 | 2720590.9383 | 1116151.7071
30 | 2720605.9327 | 1116109.1108
31 | 2720600.428 | 1116190.3673
32 | 2720570.6147 | 1116151.8177
33 | 2720596.8736 | 1116084.859
34 | 2720592.5852 | 1116193.7629
35 | 2720561.939 | 1116148.2626
36 | 2720591.6831 | 1116194.1534
37 | 2720582.0353 | 1116198.3304
38 | 2720529.6493 | 1116146.3058
39 | 2720529.2261 | 1116125.0831
40 | 2720537.918 | 1116150.9446
41 | 2720527.8625 | 1116112.6917
42 | 2720546.7731 | 1116155.475
43 | 2720625.2344 | 1116034.5199
44 | 2720604.6427 | 1116043.0798
45 | 2720622.3552 | 1116022.9198
46 | 2720599.2216 | 1116045.3334
47 | 2720618.9463 | 1116009.7024
48 | 2720584.2426 | 1116051.5602
49 | 2720612.6965 | 1115985.4699
50 | 2720566.0668 | 1116067.0311
51 | 2720625.0307 | 1115982.546
52 | 2720594.4757 | 1115989.7472
53 | 2720560.9736 | 1116071.3664
54 | 2720576.7368 | 1116024.2497
55 | 2720576.1393 | 1116022.0754
56 | 2720550.7348 | 1116084.1453
57 | 2720570.7079 | 1116002.3126
58 | 2720626.862 | 1115982.1119
59 | 2720583.2837 | 1115992.3745
60 | 2720548.4529 | 1116086.9932
61 | 2720518.067 | 1116105.2623
62 | 2720505.8205 | 1116100.356
63 | 2720499.8339 | 1116098.9775
64 | 2720512.729 | 1116118.8429
65 | 2720492.7355 | 1116097.3431
66 | 2720568.9043 | 1115995.75
67 | 2720562.3189 | 1116166.325
68 | 2720474.6788 | 1116083.7718
69 | 2720470.2555 | 1116079.8903
70 | 2720446.1158 | 1116002.9999
71 | 2720464.5843 | 1115997.6561
72 | 2720494.0518 | 1115989.1299
73 | 2720522.2656 | 1115980.9664
74 | 2720457.6717 | 1116050.9537
75 | 2720459.4099 | 1116054.9507
76 | 2720543.3534 | 1115974.8648
77 | 2720561.703 | 1115969.5554
78 | 2720537.9586 | 1115875.1071
79 | 2720618.2786 | 1115857.8537
80 | 2720523.4731 | 1115821.4483
81 | 2720518.4482 | 1115803.0363
82 | 2720642.3067 | 1115978.4434
83 | 2720676.5167 | 1116000.8235
84 | 2720661.7413 | 1115926.3097
85 | 2720681.0495 | 1116006.8566
86 | 2720513.6413 | 1115787.5994
87 | 2720548.5285 | 1115785.4634
88 | 2720510.5065 | 1115781.7012
89 | 2720572.247 | 1115771.607
90 | 2720507.4086 | 1115775.8724
91 | 2720503.2057 | 1115767.9646
92 | 2720475.723 | 1115742.9344
93 | 2720512.026 | 1115754.3715
94 | 2720483.0672 | 1115728.2058
95 | 2720454.3992 | 1115736.7237
96 | 2720516.5609 | 1115747.3826
97 | 2720488.7837 | 1115715.7814
98 | 2720520.263 | 1115741.6772
99 | 2720489.3232 | 1115714.6088
100 | 2720525.8935 | 1115732.9999
101 | 2720495.1513 | 1115701.9416
102 | 2720499.4987 | 1115692.4929
103 | 2720501.963 | 1115687.1368
104 | 2720502.1 | 1115686.839
105 | 2720508.2451 | 1115673.4829
106 | 2720530.5965 | 1115725.7519
107 | 2720535.6925 | 1115717.8984
108 | 2720539.715 | 1115711.6991
109 | 2720542.1584 | 1115707.9336
110 | 2720548.5704 | 1115698.0518
111 | 2720555.4008 | 1115687.5253
112 | 2720550.2383 | 1115922.8175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1