## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-37_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-37_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-37_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-37_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-37_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-37_0_6_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_5002-37_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5002-37_0_6_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5002-37_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_5002-37_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5002-37_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5002-37_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5002-37_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5002-37_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5002-37_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_5002-37_0_6_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_5002-37_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_5002-37_0_6_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5002-37_0_6_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_5002-37_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5002-37_0_6_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_5002-37_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5002-37_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5002-37_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5002-37_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5002-37_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5002-37_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5002-37_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5002-37_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5002-37_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5002-37_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5002-37_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5002-37_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5002-37_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5002-37_0_6_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5002-37_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5002-37_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5002-37_0_6_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_5002-37_0_6_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_5002-37_0_6_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_5002-37_0_6_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5002-37_0_6_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_5002-37_0_6_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_5002-37_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5002-37_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5002-37_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5002-37_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5002-37_0_6_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_5002-37_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5002-37_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5002-37_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5002-37_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5002-37_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5002-37_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5002-37_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5002-37_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5002-37_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5002-37_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5002-37_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5002-37_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5002-37_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5002-37_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5002-37_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5002-37_0_6_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5002-37_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5002-37_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5002-37_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5002-37_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5002-37_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_MV_62_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-37_0_6_load_0 | 0 | 0.0044997 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-37_0_6_load_1 | 1 | 0.0035548 | 0.00089091 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-37_0_6_load_2 | 2 | 0.0057238 | 0.0014345 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-37_0_6_load_3 | 3 | 0.0041975 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-37_0_6_load_28 | 5 | 0.0017163 | 0.00043014 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-37_0_6_load_14 | 6 | 0.0070001 | 0.0017544 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-37_0_6_load_26 | 7 | 0.0059316 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-37_0_6_load_24 | 8 | 0.0058126 | 0.0014568 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-37_0_6_load_5 | 9 | 0.00097992 | 0.00024559 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-37_0_6_load_6 | 10 | 0.006425 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-37_0_6_load_41 | 14 | 0.0024548 | 0.00061523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-37_0_6_load_52 | 15 | 0.0014995 | 0.00037582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-37_0_6_load_33 | 16 | 0.0018468 | 0.00046286 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-37_0_6_load_40 | 18 | 0.0019765 | 0.00049535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-37_0_6_load_50 | 20 | 0.0074013 | 0.0018549 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-37_0_6_load_10 | 21 | 0.0053368 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-37_0_6_load_11 | 22 | 0.0066435 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-37_0_6_load_12 | 23 | 0.0042966 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-37_0_6_load_13 | 24 | 0.0081073 | 0.0020319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-37_0_6_load_15 | 25 | 0.0052386 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-37_0_6_load_16 | 26 | 0.0081056 | 0.0020314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-37_0_6_load_25 | 27 | 0.0036904 | 0.00092491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-37_0_6_load_17 | 28 | 0.0049134 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-37_0_6_load_18 | 29 | 0.026203 | 0.0065672 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-37_0_6_load_20 | 31 | 0.0057069 | 0.0014303 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-37_0_6_load_21 | 32 | 0.013038 | 0.0032677 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-37_0_6_load_22 | 33 | 0.0084044 | 0.0021063 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-37_0_6_load_69 | 37 | 0.00084187 | 0.00021099 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-37_0_6_load_67 | 38 | 0.0017212 | 0.00043139 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-37_0_6_load_68 | 39 | 0.0013095 | 0.00032818 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-37_0_6_load_70 | 41 | 0.0064797 | 0.001624 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-37_0_6_load_27 | 43 | 0.0053262 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-37_0_6_load_29 | 44 | 0.004773 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-37_0_6_load_30 | 45 | 0.0064956 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-37_0_6_load_58 | 47 | 0.0016294 | 0.00040837 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-37_0_6_load_34 | 48 | 0.0040366 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-37_0_6_load_35 | 49 | 0.0045887 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-37_0_6_load_37 | 51 | 0.0027697 | 0.00069414 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-37_0_6_load_39 | 53 | 0.0030634 | 0.00076777 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-37_0_6_load_57 | 54 | 0.0050716 | 0.0012711 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-37_0_6_load_46 | 55 | 0.0024451 | 0.0006128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-37_0_6_load_55 | 56 | 0.0031465 | 0.00078858 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-37_0_6_load_44 | 57 | 0.0066658 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-37_0_6_load_42 | 58 | 0.0055017 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-37_0_6_load_43 | 59 | 0.0067756 | 0.0016981 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-37_0_6_load_45 | 60 | 0.0059239 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-37_0_6_load_47 | 61 | 0.0047165 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-37_0_6_load_48 | 62 | 0.020407 | 0.0051146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-37_0_6_load_56 | 64 | 0.0060659 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-37_0_6_load_54 | 65 | 0.0086381 | 0.0021649 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-37_0_6_load_62 | 66 | 0.0033487 | 0.00083926 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-37_0_6_load_61 | 67 | 0.00082811 | 0.00020754 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-37_0_6_line_0 |  | 0 | 1 | 0.03065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5002-37_0_6_line_1 |  | 0 | 2 | 2.439e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5002-37_0_6_line_2 |  | 1 | 3 | 0.0060916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5002-37_0_6_line_3 |  | 2 | 4 | 0.053706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5002-37_0_6_line_4 |  | 3 | 5 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5002-37_0_6_line_5 |  | 4 | 6 | 0.033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5002-37_0_6_line_6 |  | 5 | 7 | 0.0084113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5002-37_0_6_line_7 |  | 6 | 8 | 0.080272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5002-37_0_6_line_8 |  | 7 | 43 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5002-37_0_6_line_9 |  | 8 | 27 | 0.022519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5002-37_0_6_line_10 |  | 9 | 10 | 0.085392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5002-37_0_6_line_11 |  | 9 | 11 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5002-37_0_6_line_12 |  | 10 | 12 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5002-37_0_6_line_13 |  | 11 | 13 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5002-37_0_6_line_14 |  | 12 | 14 | 0.023251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5002-37_0_6_line_15 |  | 13 | 15 | 0.046545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5002-37_0_6_line_16 |  | 14 | 18 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5002-37_0_6_line_17 |  | 15 | 19 | 0.012222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5002-37_0_6_line_18 |  | 16 | 17 | 0.008002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-37_0_6_line_19 |  | 17 | 46 | 0.01423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5002-37_0_6_line_20 |  | 17 | 45 | 0.067202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5002-37_0_6_line_21 |  | 18 | 27 | 0.00077394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5002-37_0_6_line_22 |  | 19 | 20 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-37_0_6_line_23 |  | 20 | 63 | 0.0077972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-37_0_6_line_24 |  | 21 | 22 | 0.019524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-37_0_6_line_25 |  | 21 | 23 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-37_0_6_line_26 |  | 23 | 24 | 0.080875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-37_0_6_line_27 |  | 24 | 25 | 0.00040878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-37_0_6_line_28 |  | 25 | 26 | 0.024018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-37_0_6_line_29 |  | 26 | 28 | 0.0040328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-37_0_6_line_30 |  | 28 | 29 | 0.048633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-37_0_6_line_31 |  | 29 | 30 | 0.03454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-37_0_6_line_32 |  | 30 | 31 | 0.12287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-37_0_6_line_33 |  | 30 | 32 | 0.049214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5002-37_0_6_line_34 |  | 31 | 33 | 0.046956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-37_0_6_line_35 |  | 32 | 34 | 0.0073435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5002-37_0_6_line_36 |  | 33 | 35 | 0.20348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-37_0_6_line_37 |  | 34 | 36 | 0.067564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5002-37_0_6_line_38 |  | 35 | 37 | 0.5039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-37_0_6_line_39 |  | 36 | 47 | 0.068997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5002-37_0_6_line_40 |  | 37 | 41 | 0.003609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-37_0_6_line_41 |  | 37 | 42 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-37_0_6_line_42 |  | 38 | 39 | 0.0026833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-37_0_6_line_43 |  | 38 | 40 | 0.090551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-37_0_6_line_44 |  | 40 | 68 | 0.048365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-37_0_6_line_45 |  | 42 | 68 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-37_0_6_line_46 |  | 43 | 44 | 0.022173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5002-37_0_6_line_47 |  | 44 | 45 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5002-37_0_6_line_48 |  | 46 | 47 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5002-37_0_6_line_49 |  | 48 | 49 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-37_0_6_line_50 |  | 48 | 50 | 0.0091863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-37_0_6_line_51 |  | 49 | 51 | 0.0013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-37_0_6_line_52 |  | 50 | 52 | 0.035715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-37_0_6_line_53 |  | 51 | 53 | 0.002895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-37_0_6_line_54 |  | 52 | 54 | 0.055458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-37_0_6_line_55 |  | 53 | 55 | 0.0049447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-37_0_6_line_56 |  | 54 | 56 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-37_0_6_line_57 |  | 55 | 57 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-37_0_6_line_58 |  | 56 | 65 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-37_0_6_line_59 |  | 57 | 58 | 0.0067168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-37_0_6_line_60 |  | 58 | 59 | 0.043988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-37_0_6_line_61 |  | 59 | 60 | 0.00074059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-37_0_6_line_62 |  | 60 | 61 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-37_0_6_line_63 |  | 61 | 62 | 0.024114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-37_0_6_line_64 |  | 62 | 63 | 0.0068907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-37_0_6_line_65 |  | 64 | 65 | 0.008618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-37_0_6_line_66 |  | 66 | 67 | 0.11896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-37_0_6_line_67 |  | 67 | 68 | 0.0099425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-37_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 69 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2720538.0525 | 1116670.5545 | 2720523.1494 | 1116666.0889 | 2720508.0614 | 1116666.4446 | 2720508.0614 | 1116666.4446
1 | 2720538.0759 | 1116670.5615 | 2720538.0525 | 1116670.5545
2 | 2720508.0614 | 1116666.4446 | 2720502.8171 | 1116663.3454
3 | 2720590.6849 | 1116678.9081 | 2720579.7852 | 1116679.8918 | 2720559.0239 | 1116675.0865 | 2720543.0229 | 1116672.0439 | 2720538.0759 | 1116670.5615
4 | 2720502.8171 | 1116663.3454 | 2720491.5347 | 1116656.6779
5 | 2720590.6849 | 1116678.9081 | 2720584.3405 | 1116671.3877 | 2720562.6644 | 1116663.1133
6 | 2720484.2934 | 1116652.3985 | 2720491.5347 | 1116656.6779
7 | 2720562.6644 | 1116663.1133 | 2720553.0574 | 1116659.446 | 2720521.8339 | 1116644.5035 | 2720498.8181 | 1116636.1845 | 2720488.9513 | 1116631.5504
8 | 2720484.2934 | 1116652.3985 | 2720481.1732 | 1116650.5546 | 2720466.37 | 1116647.4321
9 | 2720488.9513 | 1116631.5504 | 2720472.6382 | 1116623.8888 | 2720468.93 | 1116621.3455
10 | 2720356.4466 | 1116551.5747 | 2720363.7922 | 1116561.1938 | 2720379.1268 | 1116570.9718 | 2720390.3301 | 1116578.8109 | 2720402.5513 | 1116582.056 | 2720419.2091 | 1116583.5435 | 2720430.7403 | 1116587.0762
11 | 2720357.3682 | 1116526.5758 | 2720354.0774 | 1116536.7397 | 2720356.4466 | 1116551.5747 | 2720356.4466 | 1116551.5747
12 | 2720445.1482 | 1116596.3123 | 2720436.9466 | 1116588.9776 | 2720430.7403 | 1116587.0762
13 | 2720367.4064 | 1116511.0646 | 2720357.3682 | 1116526.5758
14 | 2720445.1482 | 1116596.3123 | 2720453.2046 | 1116610.56 | 2720458.8812 | 1116614.4534
15 | 2720367.4064 | 1116511.0646 | 2720406.7902 | 1116535.8713
16 | 2720458.8812 | 1116614.4534 | 2720468.2918 | 1116620.9078
17 | 2720417.1318 | 1116542.3851 | 2720406.7902 | 1116535.8713
18 | 2720356.3169 | 1116612.4917 | 2720363.9763 | 1116610.1752
19 | 2720356.3169 | 1116612.4917 | 2720342.5206 | 1116608.8485
20 | 2720356.3169 | 1116612.4917 | 2720413.2557 | 1116637.1175 | 2720418.3376 | 1116638.0484
21 | 2720468.93 | 1116621.3455 | 2720468.2918 | 1116620.9078
22 | 2720417.1318 | 1116542.3851 | 2720425.6216 | 1116548.2911
23 | 2720432.0224 | 1116552.7437 | 2720425.6216 | 1116548.2911
24 | 2720536.2933 | 1116721.4995 | 2720536.2933 | 1116721.4995 | 2720555.7125 | 1116723.5233
25 | 2720536.2933 | 1116721.4995 | 2720517.8295 | 1116717.6629 | 2720517.8295 | 1116717.6629
26 | 2720517.8295 | 1116717.6629 | 2720495.3369 | 1116706.3523 | 2720441.879 | 1116690.7129
27 | 2720441.4867 | 1116690.5981 | 2720441.879 | 1116690.7129
28 | 2720441.4867 | 1116690.5981 | 2720432.6602 | 1116688.0159 | 2720418.1397 | 1116685.045
29 | 2720414.1888 | 1116684.2367 | 2720418.1397 | 1116685.045
30 | 2720414.1888 | 1116684.2367 | 2720366.5424 | 1116674.4884
31 | 2720335.1543 | 1116660.8934 | 2720340.9161 | 1116662.3867 | 2720348.0105 | 1116667.153 | 2720361.3297 | 1116673.4219 | 2720366.5424 | 1116674.4884
32 | 2720335.1543 | 1116660.8934 | 2720333.0152 | 1116663.6195 | 2720337.7129 | 1116672.0297 | 2720369.6228 | 1116699.4601 | 2720395.8793 | 1116719.1619 | 2720414.2565 | 1116739.3965 | 2720420.5379 | 1116743.5598
33 | 2720335.1543 | 1116660.8934 | 2720316.2045 | 1116645.362 | 2720296.7721 | 1116632.3451 | 2720295.5745 | 1116631.7813
34 | 2720420.5379 | 1116743.5598 | 2720429.3544 | 1116749.4034 | 2720462.2312 | 1116764.9765
35 | 2720288.9304 | 1116628.6535 | 2720295.5745 | 1116631.7813
36 | 2720432.4119 | 1116782.031 | 2720471.0139 | 1116787.4243 | 2720517.1148 | 1116800.1275 | 2720536.6995 | 1116805.8321 | 2720542.0807 | 1116803.1596 | 2720539.8752 | 1116797.5785 | 2720533.206 | 1116795.1331 | 2720495.0195 | 1116780.508 | 2720473.2867 | 1116770.2132 | 2720462.2312 | 1116764.9765
37 | 2720288.9304 | 1116628.6535 | 2720287.7789 | 1116624.0386 | 2720281.4629 | 1116620.5108 | 2720256.9097 | 1116613.3742 | 2720250.5159 | 1116611.0457 | 2720248.0822 | 1116606.8278 | 2720247.7771 | 1116598.4716 | 2720249.38 | 1116588.5299
38 | 2720432.4119 | 1116782.031 | 2720004.0478 | 1117047.3984
39 | 2720249.38 | 1116588.5299 | 2720255.256 | 1116592.4381 | 2720260.1337 | 1116595.2924 | 2720267.13 | 1116594.5085 | 2720270.2558 | 1116600.419 | 2720273.7211 | 1116602.845 | 2720281.2242 | 1116603.3721 | 2720287.71 | 1116605.7358 | 2720295.0488 | 1116603.6467 | 2720311.1919 | 1116605.7293
40 | 2720003.5506 | 1117050.973 | 2720004.0478 | 1117047.3984
41 | 2719991.5537 | 1117038.7826 | 2719996.9167 | 1117038.1773 | 2720003.5 | 1117038.7192 | 2720005.0543 | 1117040.1621 | 2720004.0478 | 1117047.3984
42 | 2719982.8451 | 1117129.1276 | 2719984.7635 | 1117131.0036
43 | 2719935.1776 | 1117073.19 | 2719933.9489 | 1117094.6804 | 2719960.383 | 1117132.6741 | 2719982.8451 | 1117129.1276
44 | 2719967.5771 | 1117045.1011 | 2719963.4029 | 1117058.9724 | 2719956.978 | 1117068.7518 | 2719935.1776 | 1117073.19
45 | 2719967.5771 | 1117045.1011 | 2719979.8784 | 1117046.2121 | 2719984.5059 | 1117044.5359 | 2719989.4026 | 1117040.9638 | 2719991.5537 | 1117038.7826
46 | 2720466.37 | 1116647.4321 | 2720445.2624 | 1116642.9799 | 2720444.671 | 1116642.8716
47 | 2720444.671 | 1116642.8716 | 2720418.3376 | 1116638.0484
48 | 2720342.5206 | 1116608.8485 | 2720337.4994 | 1116615.5534 | 2720324.7939 | 1116611.0313 | 2720317.4624 | 1116606.5382 | 2720311.1919 | 1116605.7293
49 | 2720547.2665 | 1116598.9998 | 2720536.0452 | 1116595.1102
50 | 2720555.9461 | 1116602.0085 | 2720547.2665 | 1116598.9998
51 | 2720536.0452 | 1116595.1102 | 2720534.8014 | 1116594.6791
52 | 2720576.2059 | 1116573.8367 | 2720562.6475 | 1116598.5839 | 2720555.9461 | 1116602.0085
53 | 2720532.066 | 1116593.7309 | 2720534.8014 | 1116594.6791
54 | 2720576.2059 | 1116573.8367 | 2720558.1388 | 1116564.0149 | 2720527.4831 | 1116547.3473
55 | 2720527.394 | 1116592.1115 | 2720527.394 | 1116592.1115 | 2720532.066 | 1116593.7309
56 | 2720527.4831 | 1116547.3473 | 2720516.6574 | 1116541.4614
57 | 2720527.394 | 1116592.1115 | 2720519.3657 | 1116584.0886
58 | 2720504.8311 | 1116535.0314 | 2720516.6574 | 1116541.4614
59 | 2720513.5138 | 1116580.9429 | 2720518.3916 | 1116583.1151 | 2720519.3657 | 1116584.0886
60 | 2720513.5138 | 1116580.9429 | 2720488.8846 | 1116569.9748 | 2720472.0474 | 1116567.4404
61 | 2720472.0474 | 1116567.4404 | 2720471.315 | 1116567.3301
62 | 2720471.315 | 1116567.3301 | 2720464.2864 | 1116566.2721 | 2720460.6153 | 1116564.7328
63 | 2720460.6153 | 1116564.7328 | 2720438.3771 | 1116555.4083
64 | 2720432.0224 | 1116552.7437 | 2720438.3771 | 1116555.4083
65 | 2720504.8311 | 1116535.0314 | 2720501.2711 | 1116533.0958 | 2720497.1867 | 1116531.0551
66 | 2719957.8587 | 1117043.0016 | 2719951.6542 | 1117041.6612 | 2719934.6644 | 1117039.8459 | 2719928.8634 | 1117038.3967 | 2719906.892 | 1117021.05 | 2719875.8 | 1116998.7084 | 2719854.4269 | 1116993.6377 | 2719853.1232 | 1116993.638
67 | 2719967.5771 | 1117045.1011 | 2719957.8587 | 1117043.0016

## bus_geodata
| x | y | coords
0 | 2720538.0525 | 1116670.5545
1 | 2720508.0614 | 1116666.4446
2 | 2720538.0759 | 1116670.5615
3 | 2720502.8171 | 1116663.3454
4 | 2720590.6849 | 1116678.9081
5 | 2720491.5347 | 1116656.6779
6 | 2720562.6644 | 1116663.1133
7 | 2720484.2934 | 1116652.3985
8 | 2720488.9513 | 1116631.5504
9 | 2720356.4466 | 1116551.5747
10 | 2720430.7403 | 1116587.0762
11 | 2720357.3682 | 1116526.5758
12 | 2720445.1482 | 1116596.3123
13 | 2720367.4064 | 1116511.0646
14 | 2720458.8812 | 1116614.4534
15 | 2720406.7902 | 1116535.8713
16 | 2720363.9763 | 1116610.1752
17 | 2720356.3169 | 1116612.4917
18 | 2720468.2918 | 1116620.9078
19 | 2720417.1318 | 1116542.3851
20 | 2720425.6216 | 1116548.2911
21 | 2720536.2933 | 1116721.4995
22 | 2720555.7125 | 1116723.5233
23 | 2720517.8295 | 1116717.6629
24 | 2720441.879 | 1116690.7129
25 | 2720441.4867 | 1116690.5981
26 | 2720418.1397 | 1116685.045
27 | 2720468.93 | 1116621.3455
28 | 2720414.1888 | 1116684.2367
29 | 2720366.5424 | 1116674.4884
30 | 2720335.1543 | 1116660.8934
31 | 2720420.5379 | 1116743.5598
32 | 2720295.5745 | 1116631.7813
33 | 2720462.2312 | 1116764.9765
34 | 2720288.9304 | 1116628.6535
35 | 2720432.4119 | 1116782.031
36 | 2720249.38 | 1116588.5299
37 | 2720004.0478 | 1117047.3984
38 | 2719982.8451 | 1117129.1276
39 | 2719984.7635 | 1117131.0036
40 | 2719935.1776 | 1117073.19
41 | 2720003.5506 | 1117050.973
42 | 2719991.5537 | 1117038.7826
43 | 2720466.37 | 1116647.4321
44 | 2720444.671 | 1116642.8716
45 | 2720418.3376 | 1116638.0484
46 | 2720342.5206 | 1116608.8485
47 | 2720311.1919 | 1116605.7293
48 | 2720547.2665 | 1116598.9998
49 | 2720536.0452 | 1116595.1102
50 | 2720555.9461 | 1116602.0085
51 | 2720534.8014 | 1116594.6791
52 | 2720576.2059 | 1116573.8367
53 | 2720532.066 | 1116593.7309
54 | 2720527.4831 | 1116547.3473
55 | 2720527.394 | 1116592.1115
56 | 2720516.6574 | 1116541.4614
57 | 2720519.3657 | 1116584.0886
58 | 2720513.5138 | 1116580.9429
59 | 2720472.0474 | 1116567.4404
60 | 2720471.315 | 1116567.3301
61 | 2720460.6153 | 1116564.7328
62 | 2720438.3771 | 1116555.4083
63 | 2720432.0224 | 1116552.7437
64 | 2720497.1867 | 1116531.0551
65 | 2720504.8311 | 1116535.0314
66 | 2719853.1232 | 1116993.638
67 | 2719957.8587 | 1117043.0016
68 | 2719967.5771 | 1117045.1011
69 | 2720356.3169 | 1116612.4917

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1