## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-50_1_3_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_5002-50_1_3_node_26 | 0.4 | n |  | TRUE
2 | bus_LV_5002-50_1_3_node_122 | 0.4 | n |  | TRUE
3 | bus_LV_5002-50_1_3_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_5002-50_1_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_5002-50_1_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_5002-50_1_3_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_5002-50_1_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_5002-50_1_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_5002-50_1_3_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_5002-50_1_3_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_5002-50_1_3_node_104 | 0.4 | n |  | TRUE
12 | bus_LV_5002-50_1_3_node_121 | 0.4 | n |  | TRUE
13 | bus_LV_5002-50_1_3_node_123 | 0.4 | n |  | TRUE
14 | bus_LV_5002-50_1_3_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_5002-50_1_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5002-50_1_3_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_5002-50_1_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_5002-50_1_3_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_5002-50_1_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5002-50_1_3_node_105 | 0.4 | n |  | TRUE
21 | bus_LV_5002-50_1_3_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5002-50_1_3_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_5002-50_1_3_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_5002-50_1_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_5002-50_1_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_5002-50_1_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5002-50_1_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_5002-50_1_3_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_5002-50_1_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_5002-50_1_3_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_5002-50_1_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_5002-50_1_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_5002-50_1_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_5002-50_1_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_5002-50_1_3_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_5002-50_1_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_5002-50_1_3_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_5002-50_1_3_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_5002-50_1_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_5002-50_1_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5002-50_1_3_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_5002-50_1_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_5002-50_1_3_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_5002-50_1_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_5002-50_1_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_5002-50_1_3_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_5002-50_1_3_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_5002-50_1_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_5002-50_1_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_5002-50_1_3_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_5002-50_1_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_5002-50_1_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_5002-50_1_3_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5002-50_1_3_node_120 | 0.4 | n |  | TRUE
55 | bus_LV_5002-50_1_3_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_5002-50_1_3_node_110 | 0.4 | n |  | TRUE
57 | bus_LV_5002-50_1_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_5002-50_1_3_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_5002-50_1_3_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_5002-50_1_3_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_5002-50_1_3_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_5002-50_1_3_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_5002-50_1_3_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_5002-50_1_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_5002-50_1_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_5002-50_1_3_node_117 | 0.4 | n |  | TRUE
67 | bus_MV_59_0_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-50_1_3_load_25 | 0 | 0.0020708 | 0.00051898 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-50_1_3_load_26 | 1 | 0.0020112 | 0.00050407 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-50_1_3_load_122 | 2 | 0.0027586 | 0.00069136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-50_1_3_load_39 | 4 | 0.0015672 | 0.00039278 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-50_1_3_load_40 | 5 | 0.002223 | 0.00055713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-50_1_3_load_41 | 6 | 0.0037216 | 0.00093272 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-50_1_3_load_42 | 7 | 0.0078804 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-50_1_3_load_88 | 9 | 0.0031904 | 0.00079958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-50_1_3_load_121 | 12 | 0.0013227 | 0.0003315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-50_1_3_load_123 | 13 | 0.009792 | 0.0024541 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-50_1_3_load_78 | 14 | 0.0033185 | 0.00083169 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-50_1_3_load_59 | 15 | 0.0026248 | 0.00065784 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-50_1_3_load_82 | 16 | 0.0024783 | 0.00062111 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-50_1_3_load_75 | 18 | 0.0023059 | 0.00057791 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-50_1_3_load_49 | 19 | 0.0030681 | 0.00076893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-50_1_3_load_105 | 20 | 0.0059038 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-50_1_3_load_76 | 21 | 0.0028943 | 0.00072539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-50_1_3_load_91 | 22 | 0.0022037 | 0.00055231 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-50_1_3_load_50 | 23 | 0.0037785 | 0.00094698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-50_1_3_load_51 | 24 | 0.004317 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-50_1_3_load_52 | 25 | 0.0035918 | 0.0009002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-50_1_3_load_53 | 26 | 0.0030918 | 0.00077487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-50_1_3_load_54 | 27 | 0.0040655 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-50_1_3_load_80 | 29 | 0.0034905 | 0.0008748 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-50_1_3_load_74 | 30 | 0.007058 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-50_1_3_load_79 | 31 | 0.0018263 | 0.00045772 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-50_1_3_load_55 | 32 | 0.0030779 | 0.0007714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-50_1_3_load_56 | 33 | 0.0021915 | 0.00054924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-50_1_3_load_57 | 34 | 0.0086686 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-50_1_3_load_64 | 37 | 0.0016417 | 0.00041146 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-50_1_3_load_62 | 38 | 0.0028329 | 0.00071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-50_1_3_load_63 | 39 | 0.0037373 | 0.00093665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-50_1_3_load_65 | 40 | 0.0043274 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-50_1_3_load_77 | 41 | 0.013052 | 0.0032712 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-50_1_3_load_81 | 42 | 0.0043721 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-50_1_3_load_83 | 43 | 0.0034624 | 0.00086776 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-50_1_3_load_84 | 44 | 0.0034693 | 0.0008695 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-50_1_3_load_85 | 45 | 0.0031917 | 0.00079992 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-50_1_3_load_86 | 46 | 0.0017073 | 0.0004279 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-50_1_3_load_87 | 47 | 0.0027868 | 0.00069845 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-50_1_3_load_95 | 48 | 0.0032642 | 0.00081808 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-50_1_3_load_106 | 49 | 0.0048544 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-50_1_3_load_111 | 51 | 0.0018792 | 0.00047096 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-50_1_3_load_97 | 52 | 0.00436 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-50_1_3_load_98 | 53 | 0.001774 | 0.0004446 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-50_1_3_load_116 | 55 | 0.0032585 | 0.00081666 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-50_1_3_load_110 | 56 | 0.0037145 | 0.00093094 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-50_1_3_load_118 | 57 | 0.0026049 | 0.00065284 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-50_1_3_load_115 | 58 | 0.0024054 | 0.00060286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-50_1_3_load_99 | 59 | 0.00324 | 0.00081201 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-50_1_3_load_100 | 60 | 0.0054019 | 0.0013538 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-50_1_3_load_102 | 61 | 0.0023773 | 0.00059582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-50_1_3_load_114 | 62 | 0.0038755 | 0.00097128 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-50_1_3_load_107 | 63 | 0.0029167 | 0.00073099 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-50_1_3_load_108 | 64 | 0.0022826 | 0.00057207 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-50_1_3_load_117 | 66 | 0.00308 | 0.00077193 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-50_1_3_line_0 |  | 0 | 1 | 0.0050435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-50_1_3_line_1 |  | 1 | 2 | 0.075752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-50_1_3_line_2 |  | 2 | 3 | 0.024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-50_1_3_line_3 |  | 3 | 36 | 0.049394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-50_1_3_line_4 |  | 4 | 5 | 0.00021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-50_1_3_line_5 |  | 4 | 6 | 0.037983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-50_1_3_line_6 |  | 5 | 7 | 0.032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-50_1_3_line_7 |  | 6 | 8 | 0.0040443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-50_1_3_line_8 |  | 7 | 9 | 0.0054828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-50_1_3_line_9 |  | 8 | 10 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-50_1_3_line_10 |  | 8 | 11 | 0.029617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-50_1_3_line_11 |  | 9 | 12 | 0.00096577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-50_1_3_line_12 |  | 10 | 13 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-50_1_3_line_13 |  | 11 | 14 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-50_1_3_line_14 |  | 11 | 15 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-50_1_3_line_15 |  | 11 | 16 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5002-50_1_3_line_16 |  | 12 | 51 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-50_1_3_line_17 |  | 14 | 17 | 0.0065614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-50_1_3_line_18 |  | 15 | 34 | 0.02225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-50_1_3_line_19 |  | 16 | 42 | 0.033054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5002-50_1_3_line_20 |  | 17 | 18 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-50_1_3_line_21 |  | 18 | 21 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-50_1_3_line_22 |  | 19 | 20 | 0.017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-50_1_3_line_23 |  | 20 | 22 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-50_1_3_line_24 |  | 21 | 41 | 0.019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-50_1_3_line_25 |  | 22 | 40 | 0.00079429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-50_1_3_line_26 |  | 23 | 24 | 0.031987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-50_1_3_line_27 |  | 23 | 25 | 0.0021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-50_1_3_line_28 |  | 24 | 26 | 0.0027641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-50_1_3_line_29 |  | 25 | 27 | 0.030415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-50_1_3_line_30 |  | 26 | 28 | 0.0021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-50_1_3_line_31 |  | 27 | 29 | 0.0077536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-50_1_3_line_32 |  | 28 | 30 | 0.029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-50_1_3_line_33 |  | 29 | 31 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-50_1_3_line_34 |  | 31 | 42 | 0.0073044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-50_1_3_line_35 |  | 32 | 33 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-50_1_3_line_36 |  | 32 | 34 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-50_1_3_line_37 |  | 33 | 35 | 0.031399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-50_1_3_line_38 |  | 35 | 36 | 0.046711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-50_1_3_line_39 |  | 36 | 37 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-50_1_3_line_40 |  | 37 | 38 | 0.013249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-50_1_3_line_41 |  | 38 | 39 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-50_1_3_line_42 |  | 39 | 40 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-50_1_3_line_43 |  | 43 | 44 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-50_1_3_line_44 |  | 43 | 45 | 0.0088311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-50_1_3_line_45 |  | 44 | 46 | 0.0093721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-50_1_3_line_46 |  | 45 | 47 | 0.0073316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-50_1_3_line_47 |  | 46 | 48 | 0.0025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-50_1_3_line_48 |  | 47 | 49 | 0.006173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-50_1_3_line_49 |  | 48 | 50 | 0.037834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-50_1_3_line_50 |  | 50 | 52 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-50_1_3_line_51 |  | 50 | 53 | 0.0054577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-50_1_3_line_52 |  | 51 | 65 | 0.041717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-50_1_3_line_53 |  | 52 | 54 | 0.0083897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-50_1_3_line_54 |  | 53 | 55 | 0.028741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-50_1_3_line_55 |  | 54 | 56 | 0.049944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-50_1_3_line_56 |  | 54 | 57 | 0.055215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-50_1_3_line_57 |  | 55 | 58 | 0.041165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-50_1_3_line_58 |  | 56 | 64 | 0.027833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-50_1_3_line_59 |  | 57 | 66 | 0.019161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-50_1_3_line_60 |  | 58 | 62 | 0.0040006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-50_1_3_line_61 |  | 59 | 60 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-50_1_3_line_62 |  | 60 | 61 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-50_1_3_line_63 |  | 61 | 62 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-50_1_3_line_64 |  | 63 | 64 | 0.053302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-50_1_3_line_65 |  | 63 | 65 | 0.052003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-50_1_3_trafo_81 | 0.63 MVA 20/0.4 kV | 67 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2722181.5622 | 1124020.3523 | 2722181.2667 | 1124015.3175
1 | 2722256.2173 | 1124033.1965 | 2722181.5622 | 1124020.3523
2 | 2722256.2173 | 1124033.1965 | 2722261.3714 | 1124057.1283
3 | 2722306.823 | 1124072.7018 | 2722299.0542 | 1124072.8116 | 2722292.6 | 1124072.3697 | 2722287.7823 | 1124071.0937 | 2722279.0053 | 1124065.7571 | 2722268.0283 | 1124058.6082 | 2722264.4933 | 1124057.2136 | 2722261.3714 | 1124057.1283
4 | 2722388.101 | 1124014.337 | 2722388.2477 | 1124014.4894
5 | 2722388.101 | 1124014.337 | 2722386.3769 | 1124012.5463 | 2722373.7935 | 1124005.5092 | 2722370.1469 | 1124001.6217 | 2722361.8197 | 1123988.2535
6 | 2722388.2477 | 1124014.4894 | 2722406.3342 | 1124033.2754 | 2722410.6212 | 1124037.8303
7 | 2722359.6814 | 1123984.8207 | 2722361.8197 | 1123988.2535
8 | 2722410.6212 | 1124037.8303 | 2722414.379 | 1124041.8228
9 | 2722359.6814 | 1123984.8207 | 2722377.259 | 1123967.264
10 | 2722336.9343 | 1123965.87 | 2722351.6197 | 1123976.9079 | 2722359.6814 | 1123984.8207
11 | 2722414.379 | 1124041.8228 | 2722415.0409 | 1124042.5261
12 | 2722377.259 | 1123967.264 | 2722381.1041 | 1123951.0528
13 | 2722336.9343 | 1123965.87 | 2722321.2787 | 1123951.3213 | 2722315.4789 | 1123948.1708
14 | 2722336.9343 | 1123965.87 | 2722335.002 | 1123977.2765
15 | 2722336.9343 | 1123965.87 | 2722341.1353 | 1123943.9134
16 | 2722415.0409 | 1124042.5261 | 2722419.1999 | 1124046.945 | 2722422.4278 | 1124052.2536
17 | 2722309.7132 | 1123945.0388 | 2722315.4789 | 1123948.1708
18 | 2722331.6805 | 1123999.2749 | 2722333.6587 | 1123985.2061 | 2722335.002 | 1123977.2765
19 | 2722344.8228 | 1123911.2955 | 2722345.1042 | 1123912.3872 | 2722345.4793 | 1123916.72 | 2722345.3526 | 1123920.6979 | 2722344.3514 | 1123927.1043 | 2722341.1353 | 1123943.9134
20 | 2722309.7132 | 1123945.0388 | 2722308.6738 | 1123929.626
21 | 2722308.6738 | 1123929.626 | 2722308.5028 | 1123927.0909 | 2722308.0509 | 1123914.0737
22 | 2722261.058 | 1123948.9134 | 2722262.3098 | 1123950.8072 | 2722264.9824 | 1123956.3317 | 2722267.4838 | 1123965.3662 | 2722267.4874 | 1123965.3895
23 | 2722269.5749 | 1123979.7541 | 2722268.4189 | 1123971.3782 | 2722267.4874 | 1123965.3895
24 | 2722308.0509 | 1123914.0737 | 2722307.358 | 1123894.1117
25 | 2722269.5749 | 1123979.7541 | 2722269.6835 | 1123980.5409
26 | 2722331.1738 | 1123850.9539 | 2722330.8074 | 1123847.8092 | 2722331.4654 | 1123835.8698 | 2722333.3783 | 1123825.19 | 2722335.3671 | 1123819.5147
27 | 2722331.1738 | 1123850.9539 | 2722331.4177 | 1123853.0472
28 | 2722336.2812 | 1123816.9062 | 2722335.3671 | 1123819.5147
29 | 2722337.4733 | 1123882.786 | 2722332.7462 | 1123864.4487 | 2722331.4177 | 1123853.0472
30 | 2722336.988 | 1123814.8892 | 2722336.2812 | 1123816.9062
31 | 2722339.4088 | 1123890.2941 | 2722337.4733 | 1123882.786
32 | 2722336.988 | 1123814.8892 | 2722346.2437 | 1123818.312 | 2722364.5985 | 1123826.4109
33 | 2722342.9994 | 1123904.2223 | 2722339.4088 | 1123890.2941
34 | 2722342.9994 | 1123904.2223 | 2722344.8228 | 1123911.2955
35 | 2722331.1873 | 1124020.7766 | 2722331.4836 | 1124031.3495 | 2722331.7974 | 1124033.8756
36 | 2722331.1873 | 1124020.7766 | 2722330.7669 | 1124005.7729 | 2722331.6805 | 1123999.2749
37 | 2722335.6688 | 1124065.0351 | 2722331.7974 | 1124033.8756
38 | 2722306.823 | 1124072.7018 | 2722313.2352 | 1124074.4548 | 2722319.7657 | 1124076.844 | 2722326.1977 | 1124079.9095 | 2722335.0573 | 1124081.9233 | 2722335.6688 | 1124065.0351
39 | 2722306.823 | 1124072.7018 | 2722303.0754 | 1124065.4211 | 2722290.6463 | 1124045.7897 | 2722289.5473 | 1124043.8705
40 | 2722282.9633 | 1124032.3728 | 2722289.5473 | 1124043.8705
41 | 2722282.9633 | 1124032.3728 | 2722278.4588 | 1124024.5065 | 2722275.1088 | 1124010.588
42 | 2722275.1088 | 1124010.588 | 2722272.1122 | 1123998.1379 | 2722269.6835 | 1123980.5409
43 | 2722408.2933 | 1123872.3046 | 2722405.7283 | 1123886.7767
44 | 2722408.2933 | 1123872.3046 | 2722409.8345 | 1123863.609
45 | 2722405.7283 | 1123886.7767 | 2722404.7531 | 1123892.2794 | 2722405.2161 | 1123896.0346
46 | 2722411.0998 | 1123856.3875 | 2722410.848 | 1123857.89 | 2722409.8345 | 1123863.609
47 | 2722405.5282 | 1123898.5661 | 2722405.5282 | 1123898.5661 | 2722405.2161 | 1123896.0346
48 | 2722412.12 | 1123850.2994 | 2722411.0998 | 1123856.3875
49 | 2722442.2308 | 1123903.2673 | 2722410.4019 | 1123902.0337 | 2722405.5282 | 1123898.5661
50 | 2722442.2308 | 1123903.2673 | 2722442.1687 | 1123913.5732 | 2722442.5766 | 1123914.608
51 | 2722442.2308 | 1123903.2673 | 2722443.017 | 1123897.8665
52 | 2722444.2406 | 1124087.8131 | 2722434.3072 | 1124071.79 | 2722422.4278 | 1124052.2536
53 | 2722448.0935 | 1123920.3644 | 2722443.812 | 1123917.7426 | 2722442.5766 | 1123914.608
54 | 2722447.5137 | 1123869.4826 | 2722445.2858 | 1123882.2813 | 2722443.017 | 1123897.8665
55 | 2722448.0935 | 1123920.3644 | 2722447.6041 | 1123925.8694 | 2722449.3472 | 1123933.4877 | 2722449.9785 | 1123943.8298 | 2722449.5683 | 1123952.2829 | 2722446.2571 | 1123961.5445 | 2722441.8821 | 1123968.1161 | 2722441.8709 | 1123968.1615
56 | 2722448.0935 | 1123920.3644 | 2722453.2598 | 1123917.378 | 2722456.809 | 1123911.9794 | 2722461.4363 | 1123901.3323 | 2722467.9015 | 1123886.3862 | 2722474.1184 | 1123872.8521
57 | 2722451.7256 | 1123828.6253 | 2722451.3424 | 1123837.6063 | 2722450.7763 | 1123851.0931 | 2722448.5587 | 1123863.479 | 2722447.5137 | 1123869.4826
58 | 2722441.8709 | 1123968.1615 | 2722439.6042 | 1123977.3875 | 2722439.9942 | 1123992.795 | 2722440.0096 | 1123995.715
59 | 2722482.4195 | 1123855.591 | 2722479.8187 | 1123860.4427 | 2722474.1184 | 1123872.8521
60 | 2722451.7256 | 1123828.6253 | 2722451.8961 | 1123824.6284
61 | 2722456.865 | 1123760.0722 | 2722457.1139 | 1123776.5476 | 2722456.0651 | 1123785.4559
62 | 2722456.0651 | 1123785.4559 | 2722455.5024 | 1123790.2356 | 2722452.0165 | 1123807.7438 | 2722452.0165 | 1123807.7438
63 | 2722452.0165 | 1123807.7438 | 2722451.9737 | 1123822.8089 | 2722451.8961 | 1123824.6284
64 | 2722456.4974 | 1124045.0761 | 2722454.7322 | 1124041.2155 | 2722446.3092 | 1124026.4015 | 2722443.4806 | 1124021.3519 | 2722441.6213 | 1124017.5672 | 2722440.7388 | 1124014.3026 | 2722440.0804 | 1124009.108 | 2722440.0096 | 1123995.715
65 | 2722444.2406 | 1124087.8131 | 2722451.3459 | 1124085.0439 | 2722457.8609 | 1124079.8165 | 2722459.7808 | 1124077.1758 | 2722461.061 | 1124074.1329 | 2722460.4926 | 1124067.161 | 2722459.327 | 1124058.4537 | 2722457.787 | 1124050.328 | 2722456.4974 | 1124045.0761

## bus_geodata
| x | y | coords
0 | 2722181.2667 | 1124015.3175
1 | 2722181.5622 | 1124020.3523
2 | 2722256.2173 | 1124033.1965
3 | 2722261.3714 | 1124057.1283
4 | 2722388.101 | 1124014.337
5 | 2722388.2477 | 1124014.4894
6 | 2722361.8197 | 1123988.2535
7 | 2722410.6212 | 1124037.8303
8 | 2722359.6814 | 1123984.8207
9 | 2722414.379 | 1124041.8228
10 | 2722377.259 | 1123967.264
11 | 2722336.9343 | 1123965.87
12 | 2722415.0409 | 1124042.5261
13 | 2722381.1041 | 1123951.0528
14 | 2722315.4789 | 1123948.1708
15 | 2722335.002 | 1123977.2765
16 | 2722341.1353 | 1123943.9134
17 | 2722309.7132 | 1123945.0388
18 | 2722308.6738 | 1123929.626
19 | 2722261.058 | 1123948.9134
20 | 2722267.4874 | 1123965.3895
21 | 2722308.0509 | 1123914.0737
22 | 2722269.5749 | 1123979.7541
23 | 2722331.1738 | 1123850.9539
24 | 2722335.3671 | 1123819.5147
25 | 2722331.4177 | 1123853.0472
26 | 2722336.2812 | 1123816.9062
27 | 2722337.4733 | 1123882.786
28 | 2722336.988 | 1123814.8892
29 | 2722339.4088 | 1123890.2941
30 | 2722364.5985 | 1123826.4109
31 | 2722342.9994 | 1123904.2223
32 | 2722331.1873 | 1124020.7766
33 | 2722331.7974 | 1124033.8756
34 | 2722331.6805 | 1123999.2749
35 | 2722335.6688 | 1124065.0351
36 | 2722306.823 | 1124072.7018
37 | 2722289.5473 | 1124043.8705
38 | 2722282.9633 | 1124032.3728
39 | 2722275.1088 | 1124010.588
40 | 2722269.6835 | 1123980.5409
41 | 2722307.358 | 1123894.1117
42 | 2722344.8228 | 1123911.2955
43 | 2722408.2933 | 1123872.3046
44 | 2722405.7283 | 1123886.7767
45 | 2722409.8345 | 1123863.609
46 | 2722405.2161 | 1123896.0346
47 | 2722411.0998 | 1123856.3875
48 | 2722405.5282 | 1123898.5661
49 | 2722412.12 | 1123850.2994
50 | 2722442.2308 | 1123903.2673
51 | 2722422.4278 | 1124052.2536
52 | 2722442.5766 | 1123914.608
53 | 2722443.017 | 1123897.8665
54 | 2722448.0935 | 1123920.3644
55 | 2722447.5137 | 1123869.4826
56 | 2722441.8709 | 1123968.1615
57 | 2722474.1184 | 1123872.8522
58 | 2722451.7256 | 1123828.6253
59 | 2722456.865 | 1123760.0722
60 | 2722456.0651 | 1123785.4559
61 | 2722452.0165 | 1123807.7438
62 | 2722451.8961 | 1123824.6284
63 | 2722456.4974 | 1124045.0761
64 | 2722440.0096 | 1123995.715
65 | 2722444.2406 | 1124087.8131
66 | 2722482.4195 | 1123855.591
67 | 2722336.9343 | 1123965.87

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1