## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-64_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-64_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-64_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-64_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-64_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-64_0_5_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_5002-64_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5002-64_0_5_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5002-64_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5002-64_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5002-64_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5002-64_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5002-64_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5002-64_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5002-64_0_5_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_5002-64_0_5_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5002-64_0_5_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_5002-64_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_5002-64_0_5_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_5002-64_0_5_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_5002-64_0_5_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_5002-64_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_5002-64_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5002-64_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5002-64_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5002-64_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5002-64_0_5_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_5002-64_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5002-64_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_5002-64_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5002-64_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_5002-64_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5002-64_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5002-64_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5002-64_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5002-64_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5002-64_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_5002-64_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5002-64_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5002-64_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5002-64_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5002-64_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5002-64_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5002-64_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5002-64_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5002-64_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5002-64_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5002-64_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5002-64_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5002-64_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5002-64_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5002-64_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5002-64_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5002-64_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5002-64_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5002-64_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5002-64_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_5002-64_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5002-64_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5002-64_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5002-64_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5002-64_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5002-64_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5002-64_0_5_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_5002-64_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5002-64_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5002-64_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5002-64_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5002-64_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5002-64_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5002-64_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5002-64_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_5002-64_0_5_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_5002-64_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_MV_63_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-64_0_5_load_0 | 0 | 0.022918 | 0.0057437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-64_0_5_load_1 | 1 | 0.00093408 | 0.0002341 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-64_0_5_load_2 | 2 | 0.001964 | 0.00049224 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-64_0_5_load_38 | 5 | 0.018733 | 0.004695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-64_0_5_load_53 | 7 | 0.0034224 | 0.00085772 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-64_0_5_load_5 | 9 | 0.022976 | 0.0057584 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-64_0_5_load_11 | 13 | 0.0077044 | 0.0019309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-64_0_5_load_74 | 14 | 0.0096194 | 0.0024109 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-64_0_5_load_40 | 16 | 0.0050516 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-64_0_5_load_34 | 17 | 0.0036628 | 0.00091798 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-64_0_5_load_51 | 18 | 0.0013171 | 0.0003301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-64_0_5_load_52 | 19 | 0.0085337 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-64_0_5_load_39 | 20 | 0.0048633 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-64_0_5_load_33 | 21 | 0.0034756 | 0.00087106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-64_0_5_load_12 | 22 | 0.0062885 | 0.001576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-64_0_5_load_13 | 23 | 0.0034946 | 0.00087582 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-64_0_5_load_14 | 24 | 0.0031893 | 0.00079932 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-64_0_5_load_15 | 25 | 0.0026689 | 0.0006689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-64_0_5_load_44 | 26 | 0.012745 | 0.0031941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-64_0_5_load_32 | 27 | 0.0040891 | 0.0010248 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-64_0_5_load_42 | 28 | 0.0030769 | 0.00077113 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-64_0_5_load_20 | 29 | 0.0031864 | 0.00079859 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-64_0_5_load_43 | 30 | 0.004945 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-64_0_5_load_16 | 31 | 0.009362 | 0.0023463 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-64_0_5_load_17 | 32 | 0.0033693 | 0.00084442 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-64_0_5_load_18 | 33 | 0.0029967 | 0.00075104 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-64_0_5_load_19 | 34 | 0.0051006 | 0.0012783 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-64_0_5_load_21 | 35 | 0.0026775 | 0.00067103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-64_0_5_load_45 | 36 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-64_0_5_load_31 | 37 | 0.0024787 | 0.00062122 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-64_0_5_load_29 | 38 | 0.0058029 | 0.0014543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-64_0_5_load_22 | 39 | 0.0040582 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-64_0_5_load_23 | 40 | 0.0035498 | 0.00088967 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-64_0_5_load_24 | 41 | 0.0049587 | 0.0012428 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-64_0_5_load_25 | 42 | 0.014061 | 0.0035239 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-64_0_5_load_26 | 43 | 0.0032316 | 0.00080991 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-64_0_5_load_41 | 44 | 0.0033961 | 0.00085114 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-64_0_5_load_54 | 45 | 0.026569 | 0.0066589 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-64_0_5_load_27 | 46 | 0.0087961 | 0.0022045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-64_0_5_load_28 | 47 | 0.004738 | 0.0011875 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-64_0_5_load_30 | 48 | 0.0053109 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-64_0_5_load_37 | 49 | 0.0074469 | 0.0018664 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-64_0_5_load_36 | 51 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-64_0_5_load_55 | 52 | 0.0075412 | 0.00189 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-64_0_5_load_56 | 53 | 0.0074401 | 0.0018647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-64_0_5_load_46 | 54 | 0.0079268 | 0.0019866 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-64_0_5_load_47 | 55 | 0.025402 | 0.0063662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-64_0_5_load_50 | 58 | 0.0060666 | 0.0015204 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-64_0_5_load_59 | 59 | 0.013312 | 0.0033363 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-64_0_5_load_76 | 63 | 0.015756 | 0.0039488 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-64_0_5_load_58 | 64 | 0.0018086 | 0.00045328 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-64_0_5_load_63 | 65 | 0.0046027 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-64_0_5_load_64 | 66 | 0.0078911 | 0.0019777 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-64_0_5_load_65 | 67 | 0.011817 | 0.0029615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-64_0_5_load_67 | 69 | 0.0074568 | 0.0018689 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-64_0_5_load_75 | 72 | 0.0059507 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-64_0_5_load_71 | 73 | 0.0032627 | 0.0008177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-64_0_5_line_0 |  | 0 | 1 | 0.0085732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-64_0_5_line_1 |  | 0 | 2 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-64_0_5_line_2 |  | 1 | 3 | 0.040159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-64_0_5_line_3 |  | 2 | 4 | 0.072214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-64_0_5_line_4 |  | 3 | 5 | 0.12527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-64_0_5_line_5 |  | 4 | 6 | 0.11556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5002-64_0_5_line_6 |  | 6 | 7 | 0.059768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-64_0_5_line_7 |  | 6 | 8 | 0.091027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5002-64_0_5_line_8 |  | 7 | 19 | 0.0025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-64_0_5_line_9 |  | 8 | 11 | 0.035804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5002-64_0_5_line_10 |  | 8 | 9 | 0.058501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5002-64_0_5_line_11 |  | 9 | 10 | 0.03693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5002-64_0_5_line_12 |  | 10 | 12 | 0.042388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-64_0_5_line_13 |  | 10 | 13 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5002-64_0_5_line_14 |  | 11 | 14 | 0.040863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-64_0_5_line_15 |  | 11 | 15 | 0.091935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5002-64_0_5_line_16 |  | 12 | 16 | 0.0088024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-64_0_5_line_17 |  | 13 | 17 | 0.062597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5002-64_0_5_line_18 |  | 15 | 18 | 0.075953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5002-64_0_5_line_19 |  | 16 | 20 | 0.0080306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-64_0_5_line_20 |  | 17 | 21 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5002-64_0_5_line_21 |  | 18 | 56 | 0.026235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5002-64_0_5_line_22 |  | 20 | 44 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-64_0_5_line_23 |  | 21 | 50 | 0.0026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5002-64_0_5_line_24 |  | 22 | 23 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5002-64_0_5_line_25 |  | 22 | 24 | 0.0037566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5002-64_0_5_line_26 |  | 23 | 25 | 0.0014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5002-64_0_5_line_27 |  | 23 | 26 | 0.043559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-64_0_5_line_28 |  | 25 | 27 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5002-64_0_5_line_29 |  | 26 | 28 | 0.009979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-64_0_5_line_30 |  | 27 | 29 | 0.0026409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5002-64_0_5_line_31 |  | 28 | 30 | 0.053784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-64_0_5_line_32 |  | 29 | 33 | 0.00044086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5002-64_0_5_line_33 |  | 30 | 36 | 0.0023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-64_0_5_line_34 |  | 31 | 32 | 0.0049793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5002-64_0_5_line_35 |  | 31 | 33 | 0.015041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5002-64_0_5_line_36 |  | 32 | 34 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5002-64_0_5_line_37 |  | 34 | 35 | 0.0059547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5002-64_0_5_line_38 |  | 35 | 37 | 0.0024247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5002-64_0_5_line_39 |  | 37 | 38 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_5002-64_0_5_line_40 |  | 38 | 46 | 0.0017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5002-64_0_5_line_41 |  | 39 | 40 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-64_0_5_line_42 |  | 39 | 41 | 0.0076449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-64_0_5_line_43 |  | 40 | 42 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-64_0_5_line_44 |  | 41 | 43 | 0.013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-64_0_5_line_45 |  | 42 | 44 | 0.0037675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-64_0_5_line_46 |  | 43 | 45 | 0.015645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-64_0_5_line_47 |  | 46 | 47 | 0.0021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5002-64_0_5_line_48 |  | 47 | 48 | 0.0064607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5002-64_0_5_line_49 |  | 48 | 49 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5002-64_0_5_line_50 |  | 49 | 50 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5002-64_0_5_line_51 |  | 50 | 51 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-64_0_5_line_52 |  | 51 | 52 | 0.00030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-64_0_5_line_53 |  | 52 | 53 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-64_0_5_line_54 |  | 54 | 55 | 0.037712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5002-64_0_5_line_55 |  | 54 | 56 | 0.042288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5002-64_0_5_line_56 |  | 55 | 57 | 0.0099962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5002-64_0_5_line_57 |  | 56 | 58 | 0.045804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-64_0_5_line_58 |  | 57 | 59 | 0.024796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5002-64_0_5_line_59 |  | 57 | 60 | 0.097508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-64_0_5_line_60 |  | 58 | 61 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-64_0_5_line_61 |  | 59 | 62 | 0.045472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5002-64_0_5_line_62 |  | 60 | 63 | 0.067951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-64_0_5_line_63 |  | 61 | 64 | 0.043225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-64_0_5_line_64 |  | 62 | 65 | 0.023963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-64_0_5_line_65 |  | 62 | 66 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5002-64_0_5_line_66 |  | 65 | 67 | 0.059108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-64_0_5_line_67 |  | 66 | 68 | 0.03698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-64_0_5_line_68 |  | 68 | 69 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-64_0_5_line_69 |  | 68 | 70 | 0.11213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-64_0_5_line_70 |  | 69 | 71 | 0.037381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-64_0_5_line_71 |  | 70 | 72 | 0.059148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-64_0_5_line_72 |  | 71 | 73 | 0.014751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-64_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 74 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2720688.1246 | 1114061.0031 | 2720680.7204 | 1114056.6815
1 | 2720688.1246 | 1114061.0031 | 2720700.9915 | 1114068.5131
2 | 2720646.0373 | 1114036.4383 | 2720680.7204 | 1114056.6815
3 | 2720763.3557 | 1114104.9214 | 2720752.5427 | 1114098.6017 | 2720700.9915 | 1114068.5131
4 | 2720646.0373 | 1114036.4383 | 2720635.876 | 1114031.1324 | 2720537.875 | 1113973.2625
5 | 2720763.3557 | 1114104.9214 | 2720765.3758 | 1114102.4044 | 2720768.136 | 1114100.736 | 2720771.3006 | 1114100.0986 | 2720774.4892 | 1114100.5847 | 2720777.3325 | 1114102.109 | 2720779.4707 | 1114104.52 | 2720787.4475 | 1114096.5512 | 2720810.9984 | 1114074.6388 | 2720831.4638 | 1114055.6002 | 2720848.707 | 1114037.765
6 | 2720848.707 | 1114037.765 | 2720802.15 | 1114000.2858
7 | 2720848.707 | 1114037.765 | 2720912.0642 | 1113972.2499
8 | 2720800.1258 | 1113998.6562 | 2720802.15 | 1114000.2858
9 | 2720937.7786 | 1113947.2679 | 2720918.9665 | 1113965.4941 | 2720912.0642 | 1113972.2499
10 | 2720912.0642 | 1113972.2499 | 2720867.9546 | 1113933.8212
11 | 2720840.425 | 1113909.2114 | 2720845.5421 | 1113913.7165 | 2720847.9109 | 1113915.7985 | 2720857.3632 | 1113924.1149 | 2720863.8538 | 1113930.2485 | 2720867.9546 | 1113933.8212
12 | 2720840.425 | 1113909.2114 | 2720821.8008 | 1113925.7738 | 2720806.7199 | 1113934.7238
13 | 2720840.425 | 1113909.2114 | 2720830.0912 | 1113900.1168
14 | 2720907.4881 | 1113919.7447 | 2720937.7786 | 1113947.2679
15 | 2721003.8823 | 1113883.1984 | 2720937.7786 | 1113947.2679
16 | 2720806.7199 | 1113934.7238 | 2720800.1132 | 1113928.9072
17 | 2720783.1009 | 1113858.7618 | 2720830.0912 | 1113900.1168
18 | 2721003.8823 | 1113883.1984 | 2721057.7844 | 1113829.6873
19 | 2720794.0858 | 1113923.6006 | 2720800.1132 | 1113928.9072
20 | 2720769.057 | 1113846.4021 | 2720783.1009 | 1113858.7618
21 | 2721074.5582 | 1113809.6033 | 2721067.5327 | 1113819.4142 | 2721062.4446 | 1113825.0609 | 2721057.7844 | 1113829.6873
22 | 2720794.0858 | 1113923.6006 | 2720780.4534 | 1113911.5985
23 | 2720767.0914 | 1113844.6723 | 2720769.057 | 1113846.4021
24 | 2720881.7334 | 1113854.9591 | 2720868.6084 | 1113842.92
25 | 2720884.5018 | 1113857.4985 | 2720881.7334 | 1113854.9591
26 | 2720867.5608 | 1113841.959 | 2720868.6084 | 1113842.92
27 | 2720868.6084 | 1113842.92 | 2720901.3138 | 1113814.1488
28 | 2720867.5608 | 1113841.959 | 2720855.3856 | 1113830.7911
29 | 2720901.3138 | 1113814.1488 | 2720898.7182 | 1113804.5133
30 | 2720853.4395 | 1113829.0059 | 2720855.3856 | 1113830.7911
31 | 2720898.7182 | 1113804.5133 | 2720891.208 | 1113776.6326 | 2720879.7959 | 1113754.4906
32 | 2720853.4395 | 1113829.0059 | 2720853.1146 | 1113828.7079
33 | 2720878.7127 | 1113752.3889 | 2720878.7127 | 1113752.3889 | 2720879.7959 | 1113754.4906
34 | 2720842.0308 | 1113818.541 | 2720838.3613 | 1113815.1752
35 | 2720853.1146 | 1113828.7079 | 2720842.0308 | 1113818.541
36 | 2720838.3613 | 1113815.1752 | 2720834.0211 | 1113811.194 | 2720826.9438 | 1113807.7395
37 | 2720821.1174 | 1113808.9686 | 2720821.1174 | 1113808.9686 | 2720826.9438 | 1113807.7395 | 2720826.9438 | 1113807.7395
38 | 2720819.0946 | 1113810.3055 | 2720821.1174 | 1113808.9686
39 | 2720806.8834 | 1113818.3753 | 2720819.0946 | 1113810.3055
40 | 2720806.8834 | 1113818.3753 | 2720805.4145 | 1113819.346
41 | 2720768.067 | 1113900.6934 | 2720758.0681 | 1113891.8901
42 | 2720752.3301 | 1113886.8383 | 2720758.0681 | 1113891.8901
43 | 2720768.067 | 1113900.6934 | 2720777.6257 | 1113909.1089
44 | 2720741.9403 | 1113877.691 | 2720752.3301 | 1113886.8383
45 | 2720780.4534 | 1113911.5985 | 2720777.6257 | 1113909.1089
46 | 2720730.198 | 1113867.353 | 2720741.9403 | 1113877.691
47 | 2720803.6429 | 1113820.5168 | 2720805.4145 | 1113819.346
48 | 2720803.6429 | 1113820.5168 | 2720798.2529 | 1113824.0789
49 | 2720779.3639 | 1113836.5619 | 2720798.2529 | 1113824.0789
50 | 2720767.0914 | 1113844.6723 | 2720779.3639 | 1113836.5619
51 | 2720767.0914 | 1113844.6723 | 2720750.7913 | 1113830.3295
52 | 2720750.7913 | 1113830.3295 | 2720750.5599 | 1113830.1259
53 | 2720750.5599 | 1113830.1259 | 2720740.1992 | 1113821.0092 | 2720735.9852 | 1113816.6055
54 | 2721104.3976 | 1113839.5392 | 2721118.2783 | 1113852.4506 | 2721131.9663 | 1113865.272
55 | 2721074.5582 | 1113809.6033 | 2721091.8917 | 1113827.9065 | 2721104.3976 | 1113839.5392
56 | 2721139.2618 | 1113872.1056 | 2721131.9663 | 1113865.272
57 | 2721074.5582 | 1113809.6033 | 2721066.6484 | 1113796.0137 | 2721050.5133 | 1113770.6275
58 | 2721139.2618 | 1113872.1056 | 2721153.7209 | 1113851.9613
59 | 2721139.2618 | 1113872.1056 | 2721146.1621 | 1113878.2144 | 2721159.2215 | 1113890.028 | 2721166.3139 | 1113894.6396 | 2721172.6202 | 1113898.3904 | 2721191.5582 | 1113906.7414 | 2721207.6784 | 1113909.9771 | 2721225.4245 | 1113909.943
60 | 2721042.7698 | 1113758.4443 | 2721050.5133 | 1113770.6275
61 | 2721180.0459 | 1113814.8924 | 2721177.9477 | 1113818.2083 | 2721153.7209 | 1113851.9613
62 | 2721225.4245 | 1113909.943 | 2721241.3552 | 1113843.8938
63 | 2721009.3097 | 1113785.9175 | 2721027.3119 | 1113771.1445 | 2721042.7698 | 1113758.4443
64 | 2721180.0459 | 1113814.8924 | 2721163.5073 | 1113797.5519
65 | 2721180.0459 | 1113814.8924 | 2721192.0441 | 1113793.0013
66 | 2721125.5185 | 1113752.304 | 2721155.9377 | 1113789.6153 | 2721163.5073 | 1113797.5519
67 | 2721209.8179 | 1113760.5724 | 2721192.0441 | 1113793.0013
68 | 2721209.8179 | 1113760.5724 | 2721200.2587 | 1113750.2088
69 | 2721209.8179 | 1113760.5724 | 2721233.3468 | 1113716.3457 | 2721244.6168 | 1113695.9792 | 2721247.6291 | 1113692.159 | 2721250.8937 | 1113689.6226 | 2721253.5644 | 1113688.9756 | 2721256.8962 | 1113688.8755 | 2721260.0246 | 1113689.6719 | 2721275.2611 | 1113694.6246 | 2721279.4673 | 1113695.9986
70 | 2721179.7699 | 1113719.3877 | 2721189.046 | 1113738.0527 | 2721200.2587 | 1113750.2088
71 | 2721279.4673 | 1113695.9986 | 2721276.8266 | 1113704.029 | 2721276.8151 | 1113708.0761 | 2721280.4382 | 1113713.1076 | 2721313.9676 | 1113735.883
72 | 2721179.7699 | 1113719.3877 | 2721169.0815 | 1113725.3671 | 2721167.884 | 1113723.1683

## bus_geodata
| x | y | coords
0 | 2720688.1246 | 1114061.0031
1 | 2720680.7204 | 1114056.6815
2 | 2720700.9915 | 1114068.5131
3 | 2720646.0373 | 1114036.4383
4 | 2720763.3557 | 1114104.9214
5 | 2720537.875 | 1113973.2625
6 | 2720848.707 | 1114037.765
7 | 2720802.15 | 1114000.2858
8 | 2720912.0642 | 1113972.2499
9 | 2720867.9546 | 1113933.8212
10 | 2720840.425 | 1113909.2114
11 | 2720937.7786 | 1113947.2679
12 | 2720806.7199 | 1113934.7238
13 | 2720830.0912 | 1113900.1168
14 | 2720907.4881 | 1113919.7447
15 | 2721003.8823 | 1113883.1984
16 | 2720800.1132 | 1113928.9072
17 | 2720783.1009 | 1113858.7618
18 | 2721057.7844 | 1113829.6873
19 | 2720800.1258 | 1113998.6562
20 | 2720794.0858 | 1113923.6006
21 | 2720769.057 | 1113846.4021
22 | 2720881.7334 | 1113854.9591
23 | 2720868.6084 | 1113842.92
24 | 2720884.5018 | 1113857.4985
25 | 2720867.5608 | 1113841.959
26 | 2720901.3138 | 1113814.1488
27 | 2720855.3856 | 1113830.7911
28 | 2720898.7182 | 1113804.5133
29 | 2720853.4395 | 1113829.0059
30 | 2720879.7959 | 1113754.4906
31 | 2720842.0308 | 1113818.541
32 | 2720838.3613 | 1113815.1752
33 | 2720853.1146 | 1113828.7079
34 | 2720826.9438 | 1113807.7395
35 | 2720821.1174 | 1113808.9686
36 | 2720878.7127 | 1113752.3889
37 | 2720819.0946 | 1113810.3055
38 | 2720806.8834 | 1113818.3753
39 | 2720758.0681 | 1113891.8901
40 | 2720768.067 | 1113900.6934
41 | 2720752.3301 | 1113886.8383
42 | 2720777.6257 | 1113909.1089
43 | 2720741.9403 | 1113877.691
44 | 2720780.4534 | 1113911.5985
45 | 2720730.198 | 1113867.353
46 | 2720805.4145 | 1113819.346
47 | 2720803.6429 | 1113820.5168
48 | 2720798.2529 | 1113824.0789
49 | 2720779.3639 | 1113836.5619
50 | 2720767.0914 | 1113844.6723
51 | 2720750.7913 | 1113830.3295
52 | 2720750.5599 | 1113830.1259
53 | 2720735.9852 | 1113816.6055
54 | 2721104.3976 | 1113839.5392
55 | 2721131.9663 | 1113865.272
56 | 2721074.5582 | 1113809.6033
57 | 2721139.2618 | 1113872.1056
58 | 2721050.5133 | 1113770.6275
59 | 2721153.7209 | 1113851.9613
60 | 2721225.4245 | 1113909.943
61 | 2721042.7698 | 1113758.4443
62 | 2721180.0459 | 1113814.8924
63 | 2721241.3552 | 1113843.8938
64 | 2721009.3097 | 1113785.9175
65 | 2721163.5073 | 1113797.5519
66 | 2721192.0441 | 1113793.0013
67 | 2721125.5185 | 1113752.304
68 | 2721209.8179 | 1113760.5724
69 | 2721200.2587 | 1113750.2088
70 | 2721279.4673 | 1113695.9986
71 | 2721179.7699 | 1113719.3877
72 | 2721313.9676 | 1113735.883
73 | 2721167.884 | 1113723.1683
74 | 2720891.3918 | 1113863.8185

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1