## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-79_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-79_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-79_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-79_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-79_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5002-79_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_5002-79_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5002-79_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5002-79_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5002-79_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_5002-79_0_3_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5002-79_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5002-79_0_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_5002-79_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5002-79_0_3_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5002-79_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_5002-79_0_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_5002-79_0_3_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_5002-79_0_3_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_5002-79_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5002-79_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5002-79_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5002-79_0_3_node_103 | 0.4 | n |  | TRUE
23 | bus_LV_5002-79_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5002-79_0_3_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_5002-79_0_3_node_110 | 0.4 | n |  | TRUE
26 | bus_LV_5002-79_0_3_node_102 | 0.4 | n |  | TRUE
27 | bus_LV_5002-79_0_3_node_101 | 0.4 | n |  | TRUE
28 | bus_LV_5002-79_0_3_node_104 | 0.4 | n |  | TRUE
29 | bus_LV_5002-79_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5002-79_0_3_node_109 | 0.4 | n |  | TRUE
31 | bus_LV_5002-79_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5002-79_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5002-79_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5002-79_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5002-79_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5002-79_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5002-79_0_3_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_5002-79_0_3_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_5002-79_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5002-79_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5002-79_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_5002-79_0_3_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_5002-79_0_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_5002-79_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5002-79_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5002-79_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5002-79_0_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_5002-79_0_3_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_5002-79_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_5002-79_0_3_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_5002-79_0_3_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_5002-79_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_5002-79_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_5002-79_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5002-79_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5002-79_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_5002-79_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_5002-79_0_3_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_5002-79_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5002-79_0_3_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5002-79_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5002-79_0_3_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_5002-79_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5002-79_0_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_5002-79_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5002-79_0_3_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_5002-79_0_3_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_5002-79_0_3_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_5002-79_0_3_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_5002-79_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5002-79_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5002-79_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5002-79_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5002-79_0_3_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_5002-79_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_5002-79_0_3_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5002-79_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_5002-79_0_3_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5002-79_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_5002-79_0_3_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5002-79_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_5002-79_0_3_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5002-79_0_3_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_5002-79_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5002-79_0_3_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_5002-79_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_5002-79_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_5002-79_0_3_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_5002-79_0_3_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_5002-79_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_5002-79_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_5002-79_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_5002-79_0_3_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_5002-79_0_3_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_5002-79_0_3_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_5002-79_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_5002-79_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_5002-79_0_3_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_5002-79_0_3_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_5002-79_0_3_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_5002-79_0_3_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_5002-79_0_3_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_5002-79_0_3_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_5002-79_0_3_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_5002-79_0_3_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_5002-79_0_3_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_5002-79_0_3_node_106 | 0.4 | n |  | TRUE
108 | bus_MV_62_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-79_0_3_load_0 | 0 | 0.0020693 | 0.00051861 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-79_0_3_load_3 | 3 | 0.0066038 | 0.0016551 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-79_0_3_load_27 | 5 | 0.0061005 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-79_0_3_load_7 | 7 | 0.0042217 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-79_0_3_load_6 | 8 | 0.007638 | 0.0019143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-79_0_3_load_48 | 9 | 0.0068471 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-79_0_3_load_67 | 10 | 0.0036206 | 0.00090741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-79_0_3_load_28 | 11 | 0.0069279 | 0.0017363 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-79_0_3_load_78 | 12 | 0.013813 | 0.003462 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-79_0_3_load_47 | 15 | 0.005649 | 0.0014158 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-79_0_3_load_66 | 16 | 0.0065866 | 0.0016508 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-79_0_3_load_77 | 18 | 0.0051234 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-79_0_3_load_9 | 19 | 0.0037822 | 0.00094792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-79_0_3_load_13 | 21 | 0.007943 | 0.0019907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-79_0_3_load_103 | 22 | 0.0020027 | 0.00050192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-79_0_3_load_111 | 24 | 0.0015299 | 0.00038342 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-79_0_3_load_110 | 25 | 0.0072215 | 0.0018099 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-79_0_3_load_102 | 26 | 0.0010645 | 0.00026679 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-79_0_3_load_101 | 27 | 0.00089364 | 0.00022397 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-79_0_3_load_104 | 28 | 0.0050068 | 0.0012548 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-79_0_3_load_109 | 30 | 0.0037111 | 0.00093008 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-79_0_3_load_15 | 31 | 0.0010317 | 0.00025857 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-79_0_3_load_16 | 32 | 0.00063835 | 0.00015999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-79_0_3_load_17 | 33 | 0.0011308 | 0.00028341 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-79_0_3_load_20 | 35 | 0.00077169 | 0.0001934 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-79_0_3_load_100 | 37 | 0.0042894 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-79_0_3_load_99 | 38 | 0.0035526 | 0.00089038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-79_0_3_load_22 | 39 | 0.00069088 | 0.00017315 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-79_0_3_load_89 | 41 | 0.0042235 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-79_0_3_load_98 | 43 | 0.004563 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-79_0_3_load_26 | 46 | 0.0028381 | 0.0007113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-79_0_3_load_97 | 47 | 0.0037778 | 0.00094681 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-79_0_3_load_114 | 48 | 0.0024631 | 0.00061732 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-79_0_3_load_95 | 49 | 0.0043524 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-79_0_3_load_112 | 50 | 0.0026525 | 0.00066477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-79_0_3_load_94 | 51 | 0.0072163 | 0.0018086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-79_0_3_load_57 | 52 | 0.0071293 | 0.0017868 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-79_0_3_load_29 | 53 | 0.002465 | 0.00061779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-79_0_3_load_35 | 54 | 0.0025759 | 0.00064559 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-79_0_3_load_30 | 58 | 0.004612 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-79_0_3_load_31 | 59 | 0.00080616 | 0.00020204 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-79_0_3_load_33 | 60 | 0.0021811 | 0.00054663 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-79_0_3_load_44 | 61 | 0.0011228 | 0.0002814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-79_0_3_load_107 | 62 | 0.0017645 | 0.00044222 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-79_0_3_load_43 | 63 | 0.0012911 | 0.00032358 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-79_0_3_load_108 | 64 | 0.0057279 | 0.0014356 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-79_0_3_load_46 | 65 | 0.0043758 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-79_0_3_load_36 | 66 | 0.0029196 | 0.00073171 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-79_0_3_load_37 | 67 | 0.0016951 | 0.00042484 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-79_0_3_load_39 | 68 | 0.0032504 | 0.00081463 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-79_0_3_load_42 | 69 | 0.0024406 | 0.00061168 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-79_0_3_load_59 | 70 | 0.0022166 | 0.00055554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-79_0_3_load_58 | 71 | 0.0023775 | 0.00059585 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-79_0_3_load_49 | 72 | 0.0057555 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-79_0_3_load_50 | 73 | 0.0048857 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-79_0_3_load_51 | 74 | 0.01035 | 0.0025939 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-79_0_3_load_53 | 76 | 0.0080843 | 0.0020261 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-79_0_3_load_54 | 77 | 0.0030712 | 0.00076973 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-79_0_3_load_55 | 78 | 0.0047499 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-79_0_3_load_56 | 80 | 0.0077652 | 0.0019461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-79_0_3_load_70 | 81 | 0.0062564 | 0.001568 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-79_0_3_load_64 | 82 | 0.0062631 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-79_0_3_load_60 | 83 | 0.0019666 | 0.00049288 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-79_0_3_load_61 | 84 | 0.0050185 | 0.0012577 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-79_0_3_load_62 | 85 | 0.0061915 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-79_0_3_load_63 | 86 | 0.0048652 | 0.0012193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5002-79_0_3_load_68 | 88 | 0.0039113 | 0.00098027 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5002-79_0_3_load_69 | 89 | 0.0060175 | 0.0015081 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5002-79_0_3_load_71 | 90 | 0.0032728 | 0.00082024 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5002-79_0_3_load_96 | 92 | 0.0051866 | 0.0012999 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5002-79_0_3_load_73 | 93 | 0.0031839 | 0.00079796 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5002-79_0_3_load_74 | 94 | 0.0042304 | 0.0010602 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5002-79_0_3_load_76 | 95 | 0.003986 | 0.00099898 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5002-79_0_3_load_92 | 96 | 0.0058826 | 0.0014743 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5002-79_0_3_load_91 | 97 | 0.0045084 | 0.0011299 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5002-79_0_3_load_83 | 98 | 0.004059 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5002-79_0_3_load_81 | 99 | 0.0057585 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5002-79_0_3_load_84 | 100 | 0.0036387 | 0.00091193 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5002-79_0_3_load_82 | 101 | 0.0082996 | 0.0020801 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5002-79_0_3_load_85 | 102 | 0.003356 | 0.0008411 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5002-79_0_3_load_86 | 103 | 0.0039765 | 0.0009966 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5002-79_0_3_load_87 | 104 | 0.011246 | 0.0028185 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5002-79_0_3_load_93 | 105 | 0.009436 | 0.0023649 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5002-79_0_3_load_105 | 106 | 0.0068496 | 0.0017167 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5002-79_0_3_load_106 | 107 | 0.0055905 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-79_0_3_line_0 |  | 0 | 1 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5002-79_0_3_line_1 |  | 0 | 2 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5002-79_0_3_line_2 |  | 1 | 3 | 0.0038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5002-79_0_3_line_3 |  | 2 | 4 | 0.063125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5002-79_0_3_line_4 |  | 3 | 5 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5002-79_0_3_line_5 |  | 4 | 9 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-79_0_3_line_6 |  | 4 | 10 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5002-79_0_3_line_7 |  | 5 | 11 | 0.017721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5002-79_0_3_line_8 |  | 6 | 7 | 0.048427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-79_0_3_line_9 |  | 6 | 8 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-79_0_3_line_10 |  | 7 | 12 | 0.0054926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-79_0_3_line_11 |  | 9 | 15 | 0.023065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-79_0_3_line_12 |  | 10 | 16 | 0.0024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5002-79_0_3_line_13 |  | 11 | 53 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5002-79_0_3_line_14 |  | 12 | 13 | 0.058209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-79_0_3_line_15 |  | 13 | 14 | 0.006929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-79_0_3_line_16 |  | 14 | 17 | 0.031433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-79_0_3_line_17 |  | 14 | 18 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-79_0_3_line_18 |  | 15 | 72 | 0.0055961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-79_0_3_line_19 |  | 16 | 88 | 0.0007738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5002-79_0_3_line_20 |  | 17 | 98 | 0.03986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-79_0_3_line_21 |  | 17 | 99 | 0.025088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-79_0_3_line_22 |  | 18 | 95 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-79_0_3_line_23 |  | 19 | 20 | 0.21517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-79_0_3_line_24 |  | 20 | 21 | 0.083519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-79_0_3_line_25 |  | 21 | 22 | 0.0010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-79_0_3_line_26 |  | 22 | 28 | 0.067211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-79_0_3_line_27 |  | 23 | 24 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-79_0_3_line_28 |  | 23 | 25 | 0.22619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-79_0_3_line_29 |  | 24 | 29 | 0.22068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-79_0_3_line_30 |  | 25 | 30 | 0.0001578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-79_0_3_line_31 |  | 26 | 27 | 0.021238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-79_0_3_line_32 |  | 27 | 37 | 0.11722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-79_0_3_line_33 |  | 28 | 106 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-79_0_3_line_34 |  | 29 | 57 | 0.21322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-79_0_3_line_35 |  | 31 | 32 | 0.0029342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-79_0_3_line_36 |  | 31 | 33 | 0.12759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-79_0_3_line_37 |  | 32 | 34 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-79_0_3_line_38 |  | 34 | 35 | 0.0034728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-79_0_3_line_39 |  | 35 | 36 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-79_0_3_line_40 |  | 36 | 39 | 0.020915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-79_0_3_line_41 |  | 36 | 40 | 0.18067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-79_0_3_line_42 |  | 37 | 38 | 0.0019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-79_0_3_line_43 |  | 38 | 43 | 0.044725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-79_0_3_line_44 |  | 40 | 41 | 0.10067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-79_0_3_line_45 |  | 40 | 42 | 0.032661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-79_0_3_line_46 |  | 41 | 47 | 0.14152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-79_0_3_line_47 |  | 42 | 46 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-79_0_3_line_48 |  | 43 | 47 | 0.034162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-79_0_3_line_49 |  | 44 | 45 | 0.10781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-79_0_3_line_50 |  | 44 | 46 | 0.18908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-79_0_3_line_51 |  | 45 | 48 | 0.11099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-79_0_3_line_52 |  | 47 | 52 | 0.04372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-79_0_3_line_53 |  | 49 | 50 | 0.14404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-79_0_3_line_54 |  | 49 | 51 | 0.0047442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-79_0_3_line_55 |  | 51 | 92 | 0.023171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-79_0_3_line_56 |  | 52 | 80 | 0.0062673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-79_0_3_line_57 |  | 53 | 54 | 0.054057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-79_0_3_line_58 |  | 53 | 55 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5002-79_0_3_line_59 |  | 54 | 56 | 0.14074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-79_0_3_line_60 |  | 55 | 57 | 0.10897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5002-79_0_3_line_61 |  | 55 | 58 | 0.02866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-79_0_3_line_62 |  | 56 | 65 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-79_0_3_line_63 |  | 57 | 62 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-79_0_3_line_64 |  | 58 | 59 | 0.01747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-79_0_3_line_65 |  | 59 | 60 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-79_0_3_line_66 |  | 60 | 61 | 0.008209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-79_0_3_line_67 |  | 61 | 63 | 0.0075497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-79_0_3_line_68 |  | 62 | 64 | 0.036755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-79_0_3_line_69 |  | 63 | 69 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-79_0_3_line_70 |  | 64 | 107 | 0.0070468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-79_0_3_line_71 |  | 65 | 70 | 0.00093139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-79_0_3_line_72 |  | 66 | 67 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5002-79_0_3_line_73 |  | 67 | 68 | 0.0078301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5002-79_0_3_line_74 |  | 68 | 69 | 0.0018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5002-79_0_3_line_75 |  | 70 | 71 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5002-79_0_3_line_76 |  | 71 | 83 | 0.00046806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5002-79_0_3_line_77 |  | 73 | 74 | 0.030762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5002-79_0_3_line_78 |  | 74 | 75 | 0.024018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5002-79_0_3_line_79 |  | 75 | 76 | 0.070646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5002-79_0_3_line_80 |  | 75 | 77 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5002-79_0_3_line_81 |  | 76 | 78 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5002-79_0_3_line_82 |  | 77 | 79 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5002-79_0_3_line_83 |  | 78 | 80 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5002-79_0_3_line_84 |  | 79 | 81 | 0.030889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5002-79_0_3_line_85 |  | 79 | 82 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5002-79_0_3_line_86 |  | 81 | 87 | 0.037213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5002-79_0_3_line_87 |  | 82 | 85 | 0.0042861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5002-79_0_3_line_88 |  | 83 | 84 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5002-79_0_3_line_89 |  | 85 | 86 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5002-79_0_3_line_90 |  | 87 | 92 | 0.050152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5002-79_0_3_line_91 |  | 87 | 91 | 0.001026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5002-79_0_3_line_92 |  | 88 | 89 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5002-79_0_3_line_93 |  | 89 | 90 | 0.0067933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5002-79_0_3_line_94 |  | 90 | 91 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5002-79_0_3_line_95 |  | 91 | 93 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5002-79_0_3_line_96 |  | 91 | 94 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5002-79_0_3_line_97 |  | 93 | 95 | 0.021345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5002-79_0_3_line_98 |  | 94 | 96 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5002-79_0_3_line_99 |  | 96 | 97 | 0.0020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5002-79_0_3_line_100 |  | 97 | 105 | 0.01336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5002-79_0_3_line_101 |  | 98 | 100 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5002-79_0_3_line_102 |  | 99 | 101 | 0.0061311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5002-79_0_3_line_103 |  | 100 | 102 | 0.0043148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5002-79_0_3_line_104 |  | 102 | 103 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5002-79_0_3_line_105 |  | 103 | 104 | 0.049921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5002-79_0_3_line_106 |  | 106 | 107 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-79_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 108 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2719480.2109 | 1115741.7473 | 2719470.0988 | 1115754.8431
1 | 2719459.8978 | 1115768.0538 | 2719470.0988 | 1115754.8431
2 | 2719480.2109 | 1115741.7473 | 2719477.112 | 1115739.4547
3 | 2719459.8978 | 1115768.0538 | 2719421.8711 | 1115818.5054
4 | 2719477.112 | 1115739.4547 | 2719464.0363 | 1115729.7811
5 | 2719421.8711 | 1115818.5054 | 2719410.0348 | 1115807.3688
6 | 2719421.8711 | 1115818.5054 | 2719410.6202 | 1115838.3955
7 | 2719449.7899 | 1115719.2414 | 2719464.0363 | 1115729.7811
8 | 2719534.5094 | 1115819.3378 | 2719531.9769 | 1115822.4344 | 2719511.9793 | 1115862.1057
9 | 2719534.5094 | 1115819.3378 | 2719522.3618 | 1115812.1418
10 | 2719511.9793 | 1115862.1057 | 2719509.5069 | 1115867.0104
11 | 2719393.2367 | 1115791.5636 | 2719410.0348 | 1115807.3688
12 | 2719409.5009 | 1115840.6224 | 2719410.0843 | 1115839.343 | 2719410.6202 | 1115838.3955
13 | 2719436.2821 | 1115709.2481 | 2719449.7899 | 1115719.2414
14 | 2719474.6865 | 1115913.3334 | 2719503.7409 | 1115878.4491 | 2719509.5069 | 1115867.0104
15 | 2719474.6865 | 1115913.3334 | 2719468.4448 | 1115910.2861
16 | 2719468.4448 | 1115910.2861 | 2719459.5626 | 1115927.167 | 2719448.6354 | 1115933.0111
17 | 2719468.4448 | 1115910.2861 | 2719454.8346 | 1115903.881
18 | 2719389.161 | 1115787.7288 | 2719393.2367 | 1115791.5636
19 | 2719409.1798 | 1115841.3265 | 2719409.5009 | 1115840.6224
20 | 2719448.6354 | 1115933.0111 | 2719441.3919 | 1115935.3366 | 2719410.2574 | 1115926.9173
21 | 2719448.6354 | 1115933.0111 | 2719448.6818 | 1115938.8827 | 2719441.277 | 1115956.6152
22 | 2719438.0011 | 1115895.9589 | 2719454.8346 | 1115903.881
23 | 2719132.847 | 1115511.5074 | 2718952.7968 | 1115393.6929
24 | 2719132.847 | 1115511.5074 | 2719203.5052 | 1115556.0364
25 | 2719203.5052 | 1115556.0364 | 2719204.3828 | 1115556.5895
26 | 2719204.3828 | 1115556.5895 | 2719261.2446 | 1115592.424
27 | 2719292.6612 | 1115329.4156 | 2719304.7562 | 1115339.2953
28 | 2719292.6612 | 1115329.4156 | 2719304.8057 | 1115326.9085 | 2719515.3806 | 1115289.9711
29 | 2719475.6651 | 1115478.9003 | 2719304.7562 | 1115339.2953
30 | 2719515.5361 | 1115289.9439 | 2719515.3806 | 1115289.9711
31 | 2719002.2512 | 1115624.8178 | 2719009.4105 | 1115628.7511 | 2719020.7217 | 1115635.2981
32 | 2719108.2252 | 1115712.383 | 2719100.4833 | 1115703.3133 | 2719086.752 | 1115687.9774 | 2719080.312 | 1115681.2463 | 2719073.8454 | 1115675.0817 | 2719066.6244 | 1115668.7911 | 2719056.485 | 1115660.4862 | 2719046.1548 | 1115652.4556 | 2719038.4782 | 1115646.9455 | 2719030.5474 | 1115641.3971 | 2719022.4151 | 1115636.2783 | 2719020.7217 | 1115635.2981
33 | 2719261.2446 | 1115592.424 | 2719270.026 | 1115597.958
34 | 2719475.6651 | 1115478.9003 | 2719472.4117 | 1115482.5164 | 2719332.8691 | 1115637.562
35 | 2718861.5233 | 1115865.1668 | 2718864.2491 | 1115866.253 | 2718864.2491 | 1115866.253
36 | 2718861.5233 | 1115865.1668 | 2718830.9995 | 1115853.003 | 2718816.7543 | 1115848.4984 | 2718811.5038 | 1115844.5039 | 2718783.3224 | 1115834.3 | 2718775.2431 | 1115832.3848 | 2718755.2546 | 1115827.7455 | 2718741.5016 | 1115832.0011
37 | 2718884.729 | 1115887.1579 | 2718880.5485 | 1115886.4976 | 2718877.5664 | 1115887.3397 | 2718874.8569 | 1115885.3074 | 2718864.2491 | 1115866.253
38 | 2718884.729 | 1115887.1579 | 2718888.0541 | 1115886.1557
39 | 2718909.321 | 1115894.1117 | 2718898.0884 | 1115890.7557 | 2718892.6007 | 1115887.835 | 2718888.0541 | 1115886.1557
40 | 2718909.321 | 1115894.1117 | 2718917.1884 | 1115895.0112 | 2718920.6946 | 1115895.4025 | 2718924.627 | 1115896.1135 | 2718929.2101 | 1115899.1043
41 | 2719031.2946 | 1115863.5076 | 2719029.7441 | 1115867.3465 | 2719023.5193 | 1115876.7862 | 2719020.1247 | 1115897.4336 | 2719015.6592 | 1115901.0595 | 2719009.4583 | 1115899.4588 | 2718997.0342 | 1115889.9306 | 2718985.5023 | 1115884.5116 | 2718970.6359 | 1115882.1514 | 2718962.7321 | 1115881.14 | 2718947.0893 | 1115880.1657 | 2718939.9503 | 1115880.7148 | 2718935.0128 | 1115884.3871 | 2718929.8757 | 1115886.0318 | 2718916.9522 | 1115883.8323 | 2718909.4828 | 1115883.1185 | 2718903.2364 | 1115882.2621 | 2718900.5409 | 1115882.2759 | 2718900.1142 | 1115883.9464 | 2718902.9879 | 1115886.6602 | 2718907.28 | 1115889.5019 | 2718910.2186 | 1115891.661 | 2718909.321 | 1115894.1117
42 | 2719108.2252 | 1115712.383 | 2719109.5036 | 1115713.8806
43 | 2719139.9456 | 1115746.5991 | 2719138.5031 | 1115745.3671 | 2719132.8562 | 1115739.9412 | 2719126.6227 | 1115733.3142 | 2719120.2023 | 1115725.983 | 2719109.9046 | 1115714.3504 | 2719109.5036 | 1115713.8806
44 | 2719031.2946 | 1115863.5076 | 2719036.5035 | 1115859.7852 | 2719044.9717 | 1115864.299 | 2719082.7217 | 1115891.3703 | 2719119.9564 | 1115900.006
45 | 2719057.5909 | 1115882.7595 | 2719046.838 | 1115873.075 | 2719031.2946 | 1115863.5076
46 | 2719167.5019 | 1115766.7098 | 2719119.9564 | 1115900.006
47 | 2719057.5909 | 1115882.7595 | 2719054.3453 | 1115892.2912 | 2719054.7645 | 1115895.3237
48 | 2719167.5019 | 1115766.7098 | 2719163.4547 | 1115764.2816 | 2719157.7764 | 1115760.4563 | 2719151.805 | 1115756.2137 | 2719144.5263 | 1115750.5112 | 2719139.9456 | 1115746.5991
49 | 2719162.198 | 1116041.2681 | 2719170.2522 | 1116048.7538 | 2719179.9974 | 1116053.5043 | 2719186.7526 | 1116059.4968 | 2719195.2492 | 1116070.0044 | 2719204.595 | 1116079.7393 | 2719213.7495 | 1116086.246 | 2719233.7483 | 1116100.5048 | 2719240.8372 | 1116104.447 | 2719246.0846 | 1116107.7858
50 | 2719162.198 | 1116041.2681 | 2719164.1427 | 1116039.772 | 2719165.1006 | 1116037.4003 | 2719164.1023 | 1116033.9784 | 2719160.5259 | 1116028.9157 | 2719152.9043 | 1116020.638 | 2719149.301 | 1116014.1961 | 2719142.2552 | 1116004.1284 | 2719133.4466 | 1115991.4133 | 2719129.0362 | 1115985.1667 | 2719125.1785 | 1115981.0548 | 2719121.4378 | 1115976.1001 | 2719116.0671 | 1115969.9904 | 2719111.601 | 1115964.2209 | 2719106.1408 | 1115959.9106 | 2719098.5553 | 1115955.6809 | 2719093.8492 | 1115951.1186 | 2719090.9071 | 1115946.3909 | 2719089.1029 | 1115940.3513 | 2719088.058 | 1115933.793 | 2719085.6787 | 1115927.542 | 2719082.0339 | 1115920.4544 | 2719072.9882 | 1115909.1801 | 2719068.0149 | 1115904.4569 | 2719062.2235 | 1115900.8851 | 2719056.8959 | 1115898.0785 | 2719054.7645 | 1115895.3237
51 | 2719246.0846 | 1116107.7858 | 2719248.8552 | 1116107.4846 | 2719253.5299 | 1116109.7114 | 2719258.4138 | 1116113.4657 | 2719266.934 | 1116122.3728 | 2719271.2236 | 1116125.3259 | 2719281.4494 | 1116134.678 | 2719287.044 | 1116146.2627 | 2719289.8286 | 1116147.6073 | 2719293.2819 | 1116146.7525 | 2719294.1666 | 1116142.6115 | 2719286.1069 | 1116128.3653 | 2719276.7734 | 1116110.9586 | 2719274.9581 | 1116105.6584
52 | 2719206.3438 | 1115786.7438 | 2719192.5763 | 1115780.0762 | 2719177.3296 | 1115772.3044 | 2719170.9273 | 1115768.765 | 2719167.5019 | 1115766.7098
53 | 2719331.9706 | 1115918.4058 | 2719213.6182 | 1116000.5055
54 | 2719334.6056 | 1115914.4606 | 2719331.9706 | 1115918.4058
55 | 2719334.6056 | 1115914.4606 | 2719340.2847 | 1115905.958 | 2719349.9685 | 1115897.3653
56 | 2719206.3438 | 1115786.7438 | 2719211.9845 | 1115789.4755 | 2719211.9845 | 1115789.4755
57 | 2719436.2821 | 1115709.2481 | 2719384.3455 | 1115724.2403
58 | 2719436.2821 | 1115709.2481 | 2719423.2026 | 1115698.8944
59 | 2719247.6587 | 1115712.9029 | 2719320.2705 | 1115731.3558 | 2719339.4743 | 1115735.0586 | 2719353.6072 | 1115733.1134 | 2719384.3455 | 1115724.2403
60 | 2719423.2026 | 1115698.8944 | 2719412.3121 | 1115691.497 | 2719332.8691 | 1115637.562
61 | 2719423.2026 | 1115698.8944 | 2719450.1881 | 1115689.2409
62 | 2719247.6587 | 1115712.9029 | 2719242.5995 | 1115724.4942
63 | 2719332.8691 | 1115637.562 | 2719318.0559 | 1115628.2267
64 | 2719466.6372 | 1115683.3567 | 2719450.1881 | 1115689.2409
65 | 2719481.8113 | 1115677.9285 | 2719466.6372 | 1115683.3567
66 | 2719481.8113 | 1115677.9285 | 2719489.5407 | 1115675.1635
67 | 2719496.5475 | 1115672.3626 | 2719492.5746 | 1115674.0782 | 2719489.5407 | 1115675.1635
68 | 2719318.0559 | 1115628.2267 | 2719286.9608 | 1115608.6304
69 | 2719496.5475 | 1115672.3626 | 2719506.869 | 1115667.9056
70 | 2719280.9991 | 1115604.8734 | 2719286.9608 | 1115608.6304
71 | 2719242.5995 | 1115724.4942 | 2719242.2269 | 1115725.3478
72 | 2719532.1217 | 1115657.0011 | 2719515.751 | 1115664.0703
73 | 2719515.751 | 1115664.0703 | 2719508.5624 | 1115667.1744
74 | 2719508.5624 | 1115667.1744 | 2719506.869 | 1115667.9056
75 | 2719236.2792 | 1115738.9749 | 2719242.2269 | 1115725.3478
76 | 2719236.2792 | 1115738.9749 | 2719236.0919 | 1115739.4039
77 | 2719322.4606 | 1115781.469 | 2719309.4111 | 1115809.326
78 | 2719299.2224 | 1115831.0761 | 2719309.4111 | 1115809.326
79 | 2719299.2224 | 1115831.0761 | 2719235.4558 | 1115800.6681
80 | 2719299.2224 | 1115831.0761 | 2719314.1952 | 1115837.8589
81 | 2719224.2956 | 1115795.3462 | 2719235.4558 | 1115800.6681
82 | 2719333.094 | 1115846.4202 | 2719314.1952 | 1115837.8589
83 | 2719224.2956 | 1115795.3462 | 2719211.9845 | 1115789.4755
84 | 2719333.094 | 1115846.4202 | 2719360.9996 | 1115859.6636
85 | 2719333.094 | 1115846.4202 | 2719342.8626 | 1115827.0653
86 | 2719394.6184 | 1115875.6186 | 2719360.9996 | 1115859.6636
87 | 2719344.7938 | 1115823.2389 | 2719342.8626 | 1115827.0653
88 | 2719230.2697 | 1115752.7435 | 2719236.0919 | 1115739.4039
89 | 2719344.7938 | 1115823.2389 | 2719351.097 | 1115810.7502
90 | 2719394.6184 | 1115875.6186 | 2719378.4566 | 1115882.9496 | 2719357.483 | 1115890.6974 | 2719349.9685 | 1115897.3653
91 | 2719394.6184 | 1115875.6186 | 2719395.5763 | 1115875.9933
92 | 2719404.7318 | 1115855.845 | 2719405.6237 | 1115852.8865 | 2719407.751 | 1115844.8785 | 2719408.5668 | 1115842.6709 | 2719409.1798 | 1115841.3265
93 | 2719404.7318 | 1115855.845 | 2719404.4008 | 1115856.943 | 2719402.4469 | 1115862.2406
94 | 2719395.5763 | 1115875.9933 | 2719400.3734 | 1115866.926 | 2719402.4344 | 1115862.2746 | 2719402.4469 | 1115862.2406
95 | 2719395.5763 | 1115875.9933 | 2719418.6883 | 1115886.87
96 | 2719395.5763 | 1115875.9933 | 2719388.248 | 1115889.2908
97 | 2719418.6883 | 1115886.87 | 2719438.0011 | 1115895.9589
98 | 2719388.248 | 1115889.2908 | 2719375.075 | 1115913.1935
99 | 2719374.0801 | 1115914.9989 | 2719375.075 | 1115913.1935
100 | 2719367.6318 | 1115926.6996 | 2719374.0801 | 1115914.9989
101 | 2719404.7423 | 1115942.2149 | 2719410.2574 | 1115926.9173
102 | 2719438.9145 | 1115962.2728 | 2719441.277 | 1115956.6152
103 | 2719404.7423 | 1115942.2149 | 2719403.279 | 1115946.2739
104 | 2719398.9098 | 1115958.393 | 2719403.279 | 1115946.2739
105 | 2719398.9098 | 1115958.393 | 2719398.8291 | 1116008.3144
106 | 2719280.9991 | 1115604.8734 | 2719270.026 | 1115597.958

## bus_geodata
| x | y | coords
0 | 2719470.0988 | 1115754.843
1 | 2719480.2109 | 1115741.7473
2 | 2719459.8978 | 1115768.0538
3 | 2719477.112 | 1115739.4547
4 | 2719421.8711 | 1115818.5054
5 | 2719464.0363 | 1115729.7811
6 | 2719534.5094 | 1115819.3378
7 | 2719511.9793 | 1115862.1057
8 | 2719522.3618 | 1115812.1418
9 | 2719410.0348 | 1115807.3688
10 | 2719410.6202 | 1115838.3955
11 | 2719449.7899 | 1115719.2414
12 | 2719509.5069 | 1115867.0104
13 | 2719474.6865 | 1115913.3334
14 | 2719468.4448 | 1115910.2861
15 | 2719393.2367 | 1115791.5636
16 | 2719409.5009 | 1115840.6224
17 | 2719448.6354 | 1115933.0111
18 | 2719454.8346 | 1115903.881
19 | 2718952.7968 | 1115393.6929
20 | 2719132.847 | 1115511.5074
21 | 2719203.5052 | 1115556.0364
22 | 2719204.3828 | 1115556.5895
23 | 2719292.6612 | 1115329.4156
24 | 2719304.7562 | 1115339.2953
25 | 2719515.3806 | 1115289.9711
26 | 2719002.2512 | 1115624.8178
27 | 2719020.7217 | 1115635.2981
28 | 2719261.2446 | 1115592.424
29 | 2719475.6651 | 1115478.9003
30 | 2719515.5361 | 1115289.9439
31 | 2718861.5233 | 1115865.1668
32 | 2718864.2491 | 1115866.253
33 | 2718741.5016 | 1115832.0011
34 | 2718884.729 | 1115887.1579
35 | 2718888.0541 | 1115886.1557
36 | 2718909.321 | 1115894.1117
37 | 2719108.2252 | 1115712.383
38 | 2719109.5036 | 1115713.8806
39 | 2718929.2101 | 1115899.1043
40 | 2719031.2946 | 1115863.5076
41 | 2719119.9564 | 1115900.006
42 | 2719057.5909 | 1115882.7595
43 | 2719139.9456 | 1115746.5991
44 | 2719162.198 | 1116041.2681
45 | 2719246.0846 | 1116107.7858
46 | 2719054.7645 | 1115895.3237
47 | 2719167.5019 | 1115766.7098
48 | 2719274.9581 | 1116105.6584
49 | 2719331.9706 | 1115918.4058
50 | 2719213.6182 | 1116000.5055
51 | 2719334.6056 | 1115914.4606
52 | 2719206.3438 | 1115786.7438
53 | 2719436.2821 | 1115709.2481
54 | 2719384.3455 | 1115724.2403
55 | 2719423.2026 | 1115698.8944
56 | 2719247.6587 | 1115712.9029
57 | 2719332.8691 | 1115637.562
58 | 2719450.1881 | 1115689.2409
59 | 2719466.6372 | 1115683.3567
60 | 2719481.8113 | 1115677.9285
61 | 2719489.5407 | 1115675.1635
62 | 2719318.0559 | 1115628.2267
63 | 2719496.5475 | 1115672.3626
64 | 2719286.9608 | 1115608.6304
65 | 2719242.5995 | 1115724.4942
66 | 2719532.1217 | 1115657.0011
67 | 2719515.751 | 1115664.0703
68 | 2719508.5624 | 1115667.1744
69 | 2719506.869 | 1115667.9056
70 | 2719242.2269 | 1115725.3478
71 | 2719236.2792 | 1115738.9749
72 | 2719389.161 | 1115787.7288
73 | 2719322.4606 | 1115781.469
74 | 2719309.4111 | 1115809.326
75 | 2719299.2224 | 1115831.0761
76 | 2719235.4558 | 1115800.6681
77 | 2719314.1952 | 1115837.8589
78 | 2719224.2956 | 1115795.3462
79 | 2719333.094 | 1115846.4202
80 | 2719211.9845 | 1115789.4755
81 | 2719360.9996 | 1115859.6636
82 | 2719342.8626 | 1115827.0653
83 | 2719236.0919 | 1115739.4039
84 | 2719230.2697 | 1115752.7435
85 | 2719344.7938 | 1115823.2389
86 | 2719351.097 | 1115810.7502
87 | 2719394.6184 | 1115875.6186
88 | 2719409.1798 | 1115841.3265
89 | 2719404.7318 | 1115855.845
90 | 2719402.4469 | 1115862.2406
91 | 2719395.5763 | 1115875.9933
92 | 2719349.9685 | 1115897.3653
93 | 2719418.6883 | 1115886.87
94 | 2719388.248 | 1115889.2908
95 | 2719438.0011 | 1115895.9589
96 | 2719375.075 | 1115913.1935
97 | 2719374.0801 | 1115914.9989
98 | 2719410.2574 | 1115926.9173
99 | 2719441.277 | 1115956.6152
100 | 2719404.7423 | 1115942.2149
101 | 2719438.9145 | 1115962.2728
102 | 2719403.279 | 1115946.2739
103 | 2719398.9098 | 1115958.393
104 | 2719398.8291 | 1116008.3144
105 | 2719367.6318 | 1115926.6996
106 | 2719270.026 | 1115597.958
107 | 2719280.9991 | 1115604.8734
108 | 2719355.7255 | 1115801.5797

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1