## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-7_0_6_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5002-7_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5002-7_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5002-7_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5002-7_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5002-7_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5002-7_0_6_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_5002-7_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5002-7_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5002-7_0_6_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_5002-7_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_5002-7_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5002-7_0_6_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_5002-7_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5002-7_0_6_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_5002-7_0_6_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_5002-7_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5002-7_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_5002-7_0_6_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_5002-7_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5002-7_0_6_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_5002-7_0_6_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_5002-7_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5002-7_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5002-7_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5002-7_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5002-7_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5002-7_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5002-7_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5002-7_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5002-7_0_6_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5002-7_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5002-7_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5002-7_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5002-7_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5002-7_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5002-7_0_6_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_5002-7_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_5002-7_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_5002-7_0_6_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5002-7_0_6_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_5002-7_0_6_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_5002-7_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5002-7_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5002-7_0_6_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_5002-7_0_6_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_5002-7_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5002-7_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5002-7_0_6_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5002-7_0_6_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5002-7_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5002-7_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5002-7_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5002-7_0_6_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_5002-7_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5002-7_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5002-7_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5002-7_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5002-7_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5002-7_0_6_node_66 | 0.4 | n |  | TRUE
64 | bus_MV_63_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-7_0_6_load_0 | 0 | 0.018019 | 0.004516 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-7_0_6_load_1 | 1 | 0.015435 | 0.0038685 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-7_0_6_load_2 | 2 | 0.014561 | 0.0036494 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-7_0_6_load_12 | 4 | 0.015572 | 0.0039028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-7_0_6_load_4 | 6 | 0.025209 | 0.006318 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-7_0_6_load_7 | 9 | 0.015283 | 0.0038302 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-7_0_6_load_55 | 10 | 0.0095612 | 0.0023963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-7_0_6_load_13 | 11 | 0.017509 | 0.0043881 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-7_0_6_load_37 | 14 | 0.0025478 | 0.00063854 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-7_0_6_load_56 | 16 | 0.0066457 | 0.0016656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-7_0_6_load_53 | 18 | 0.070689 | 0.017716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-7_0_6_load_60 | 19 | 0.022877 | 0.0057336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-7_0_6_load_25 | 21 | 0.010424 | 0.0026125 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-7_0_6_load_36 | 22 | 0.010466 | 0.002623 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-7_0_6_load_57 | 25 | 0.0035308 | 0.00088491 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-7_0_6_load_61 | 26 | 0.0083826 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-7_0_6_load_32 | 27 | 0.066455 | 0.016655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-7_0_6_load_14 | 28 | 0.021445 | 0.0053746 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-7_0_6_load_15 | 29 | 0.0079714 | 0.0019978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-7_0_6_load_16 | 30 | 0.033492 | 0.0083939 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-7_0_6_load_18 | 32 | 0.00089864 | 0.00022522 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-7_0_6_load_52 | 34 | 0.001045 | 0.00026189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-7_0_6_load_28 | 35 | 0.0096721 | 0.0024241 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-7_0_6_load_24 | 36 | 0.0039586 | 0.00099212 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-7_0_6_load_30 | 38 | 0.010898 | 0.0027314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-7_0_6_load_51 | 39 | 0.0017011 | 0.00042634 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-7_0_6_load_19 | 40 | 0.0066415 | 0.0016645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-7_0_6_load_62 | 43 | 0.0050096 | 0.0012555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-7_0_6_load_64 | 44 | 0.015964 | 0.0040011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-7_0_6_load_43 | 46 | 0.0048782 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-7_0_6_load_59 | 48 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-7_0_6_load_65 | 49 | 0.013119 | 0.0032879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-7_0_6_load_31 | 50 | 0.011836 | 0.0029664 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-7_0_6_load_33 | 51 | 0.0048954 | 0.0012269 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-7_0_6_load_35 | 52 | 0.022264 | 0.0055798 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-7_0_6_load_63 | 53 | 0.0075224 | 0.0018853 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-7_0_6_load_38 | 55 | 0.0058848 | 0.0014749 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-7_0_6_load_39 | 56 | 0.0091213 | 0.002286 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-7_0_6_load_44 | 58 | 0.018941 | 0.0047471 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-7_0_6_load_58 | 59 | 0.007696 | 0.0019288 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-7_0_6_load_50 | 60 | 0.001044 | 0.00026165 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-7_0_6_load_48 | 61 | 0.00057796 | 0.00014485 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-7_0_6_load_49 | 62 | 0.0011352 | 0.0002845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-7_0_6_load_66 | 63 | 0.013218 | 0.0033128 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-7_0_6_line_0 |  | 0 | 1 | 0.015319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-7_0_6_line_1 |  | 0 | 2 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-7_0_6_line_2 |  | 1 | 3 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-7_0_6_line_3 |  | 3 | 4 | 0.0022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-7_0_6_line_4 |  | 4 | 5 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-7_0_6_line_5 |  | 5 | 11 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5002-7_0_6_line_6 |  | 5 | 8 | 0.099126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5002-7_0_6_line_7 |  | 6 | 7 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5002-7_0_6_line_8 |  | 6 | 8 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5002-7_0_6_line_9 |  | 7 | 9 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5002-7_0_6_line_10 |  | 9 | 10 | 0.025986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5002-7_0_6_line_11 |  | 10 | 15 | 0.031195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5002-7_0_6_line_12 |  | 11 | 20 | 0.030244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5002-7_0_6_line_13 |  | 12 | 13 | 0.016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-7_0_6_line_14 |  | 12 | 14 | 0.031008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-7_0_6_line_15 |  | 13 | 20 | 0.009481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5002-7_0_6_line_16 |  | 13 | 21 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5002-7_0_6_line_17 |  | 14 | 22 | 0.0075333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-7_0_6_line_18 |  | 15 | 16 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5002-7_0_6_line_19 |  | 15 | 17 | 0.13849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-7_0_6_line_20 |  | 15 | 18 | 0.041696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-7_0_6_line_21 |  | 16 | 23 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5002-7_0_6_line_22 |  | 17 | 19 | 0.078944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-7_0_6_line_23 |  | 18 | 24 | 0.039856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-7_0_6_line_24 |  | 19 | 26 | 0.0057938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-7_0_6_line_25 |  | 20 | 27 | 0.0034379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5002-7_0_6_line_26 |  | 21 | 36 | 0.0081531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5002-7_0_6_line_27 |  | 22 | 55 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-7_0_6_line_28 |  | 23 | 44 | 0.030236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5002-7_0_6_line_29 |  | 23 | 41 | 0.13438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-7_0_6_line_30 |  | 24 | 25 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-7_0_6_line_31 |  | 27 | 50 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5002-7_0_6_line_32 |  | 28 | 29 | 0.0092878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-7_0_6_line_33 |  | 28 | 30 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-7_0_6_line_34 |  | 29 | 31 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-7_0_6_line_35 |  | 30 | 32 | 0.025337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-7_0_6_line_36 |  | 31 | 33 | 0.007023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-7_0_6_line_37 |  | 32 | 34 | 0.005607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-7_0_6_line_38 |  | 33 | 35 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-7_0_6_line_39 |  | 33 | 36 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5002-7_0_6_line_40 |  | 34 | 39 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-7_0_6_line_41 |  | 35 | 37 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-7_0_6_line_42 |  | 37 | 38 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-7_0_6_line_43 |  | 39 | 62 | 9.1506e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-7_0_6_line_44 |  | 40 | 41 | 0.013815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-7_0_6_line_45 |  | 41 | 42 | 0.002903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-7_0_6_line_46 |  | 42 | 43 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-7_0_6_line_47 |  | 44 | 49 | 0.011139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5002-7_0_6_line_48 |  | 45 | 46 | 0.022226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-7_0_6_line_49 |  | 45 | 47 | 0.045066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-7_0_6_line_50 |  | 46 | 57 | 0.0048988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-7_0_6_line_51 |  | 47 | 59 | 0.028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-7_0_6_line_52 |  | 47 | 48 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-7_0_6_line_53 |  | 49 | 63 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-7_0_6_line_54 |  | 50 | 51 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5002-7_0_6_line_55 |  | 51 | 52 | 0.019472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5002-7_0_6_line_56 |  | 52 | 53 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5002-7_0_6_line_57 |  | 53 | 54 | 0.0041202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5002-7_0_6_line_58 |  | 54 | 58 | 0.038711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5002-7_0_6_line_59 |  | 56 | 57 | 0.039277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-7_0_6_line_60 |  | 57 | 58 | 0.0073321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-7_0_6_line_61 |  | 60 | 61 | 0.0035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-7_0_6_line_62 |  | 61 | 62 | 0.023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-7_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 64 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2721371.5236 | 1114674.582 | 2721356.6891 | 1114670.7591
1 | 2721371.5236 | 1114674.582 | 2721374.1474 | 1114675.2581 | 2721386.483 | 1114678.5275
2 | 2721343.7385 | 1114667.4217 | 2721356.6891 | 1114670.7591
3 | 2721343.7385 | 1114667.4217 | 2721341.6019 | 1114666.8538
4 | 2721329.1673 | 1114657.1451 | 2721332.4982 | 1114661.6927 | 2721336.0472 | 1114665.3774 | 2721341.6019 | 1114666.8538
5 | 2721329.1673 | 1114657.1451 | 2721318.3009 | 1114662.9482
6 | 2721329.1673 | 1114657.1451 | 2721353.4249 | 1114643.5213 | 2721355.9109 | 1114646.6733 | 2721359.0064 | 1114645.2343 | 2721363.4041 | 1114643.9548 | 2721366.7937 | 1114643.6446 | 2721371.034 | 1114644.052 | 2721375.444 | 1114645.6303 | 2721380.945 | 1114649.0428 | 2721386.2267 | 1114653.763 | 2721391.9691 | 1114660.5493 | 2721397.0229 | 1114667.3886 | 2721399.9153 | 1114672.9948 | 2721402.3048 | 1114678.6466 | 2721405.7873 | 1114677.9381
7 | 2721411.9596 | 1114708.7496 | 2721410.0093 | 1114704.3075 | 2721409.573 | 1114695.053
8 | 2721405.7873 | 1114677.9381 | 2721409.4511 | 1114692.4659 | 2721409.573 | 1114695.053
9 | 2721411.9596 | 1114708.7496 | 2721410.5454 | 1114719.1841 | 2721410.5131 | 1114719.43
10 | 2721410.5131 | 1114719.43 | 2721409.1963 | 1114729.453 | 2721406.4885 | 1114745.097
11 | 2721401.1679 | 1114775.8353 | 2721406.4885 | 1114745.097
12 | 2721293.8392 | 1114680.0983 | 2721298.886 | 1114678.0312 | 2721306.3533 | 1114670.431 | 2721311.7085 | 1114666.4688 | 2721318.3009 | 1114662.9482
13 | 2721298.4185 | 1114672.0622 | 2721303.9884 | 1114666.6366 | 2721310.6758 | 1114661.7226
14 | 2721310.6758 | 1114661.7226 | 2721288.4457 | 1114646.6229 | 2721285.5018 | 1114643.7199
15 | 2721298.4185 | 1114672.0622 | 2721294.9076 | 1114676.117 | 2721293.8392 | 1114680.0983
16 | 2721298.4185 | 1114672.0622 | 2721291.3158 | 1114667.6281 | 2721280.2075 | 1114666.1668
17 | 2721280.1377 | 1114638.4306 | 2721285.5018 | 1114643.7199
18 | 2721401.1679 | 1114775.8353 | 2721394.9669 | 1114776.9119 | 2721390.7598 | 1114778.3175 | 2721384.251 | 1114781.2465
19 | 2721401.1679 | 1114775.8353 | 2721408.2418 | 1114772.4525 | 2721442.2762 | 1114758.1577 | 2721462.4824 | 1114733.9348 | 2721474.2655 | 1114745.3232 | 2721480.8509 | 1114750.8924 | 2721486.7834 | 1114756.6597 | 2721494.0258 | 1114767.2122 | 2721504.9816 | 1114779.0177
20 | 2721401.1679 | 1114775.8353 | 2721399.7774 | 1114788.5607 | 2721399.5345 | 1114795.6719 | 2721399.8276 | 1114804.1725 | 2721401.0611 | 1114810.4571 | 2721403.0091 | 1114816.9339 | 2721403.0418 | 1114817.0351
21 | 2721365.5207 | 1114789.6754 | 2721384.251 | 1114781.2465
22 | 2721504.9816 | 1114779.0177 | 2721493.152 | 1114789.2098 | 2721449.2404 | 1114807.2423 | 2721449.1148 | 1114813.5107 | 2721453.0563 | 1114822.2528
23 | 2721420.263 | 1114852.8821 | 2721407.6229 | 1114829.1459 | 2721405.0384 | 1114823.2122 | 2721403.0418 | 1114817.0351
24 | 2721453.0563 | 1114822.2528 | 2721455.4376 | 1114827.5346
25 | 2721293.8392 | 1114680.0983 | 2721291.4639 | 1114682.5837
26 | 2721280.2075 | 1114666.1668 | 2721272.124 | 1114665.1034
27 | 2721271.8489 | 1114630.2573 | 2721280.1377 | 1114638.4306
28 | 2721365.5207 | 1114789.6754 | 2721362.5166 | 1114784.2449 | 2721361.0201 | 1114782.2135 | 2721345.5727 | 1114767.2489
29 | 2721354.3584 | 1114886.4743 | 2721320.156 | 1114817.0306 | 2721318.3312 | 1114813.2692 | 2721334.3145 | 1114804.3163 | 2721362.7145 | 1114790.9424 | 2721365.5207 | 1114789.6754
30 | 2721420.263 | 1114852.8821 | 2721404.3365 | 1114859.8201
31 | 2721291.4639 | 1114682.5837 | 2721284.7264 | 1114689.6337 | 2721283.6872 | 1114690.6849
32 | 2721234.4126 | 1114657.4193 | 2721243.2926 | 1114660.141
33 | 2721221.0448 | 1114653.201 | 2721222.7584 | 1114653.8472 | 2721234.4126 | 1114657.4193
34 | 2721254.4662 | 1114663.5658 | 2721243.2926 | 1114660.141
35 | 2721197.3847 | 1114644.1457 | 2721199.6204 | 1114645.1229 | 2721221.0448 | 1114653.201
36 | 2721254.4662 | 1114663.5658 | 2721261.5081 | 1114663.7068
37 | 2721192.2471 | 1114641.9001 | 2721197.3847 | 1114644.1457
38 | 2721261.5081 | 1114663.7068 | 2721247.9488 | 1114681.9279
39 | 2721261.5081 | 1114663.7068 | 2721272.124 | 1114665.1034
40 | 2721192.2471 | 1114641.9001 | 2721180.4544 | 1114636.7458
41 | 2721234.3831 | 1114693.2513 | 2721238.2894 | 1114694.9083 | 2721247.9488 | 1114681.9279
42 | 2721234.3831 | 1114693.2513 | 2721220.4935 | 1114703.5651
43 | 2721180.3705 | 1114636.7091 | 2721180.4544 | 1114636.7458
44 | 2721354.3584 | 1114886.4743 | 2721366.723 | 1114880.312
45 | 2721355.6425 | 1114889.0796 | 2721354.3584 | 1114886.4743
46 | 2721355.6425 | 1114889.0796 | 2721361.6278 | 1114900.3072 | 2721362.7385 | 1114902.2227
47 | 2721345.5727 | 1114767.2489 | 2721344.9638 | 1114766.6591 | 2721343.1448 | 1114764.5323 | 2721342.07 | 1114762.2759 | 2721341.5283 | 1114759.2408 | 2721341.7517 | 1114757.3439
48 | 2721195.9805 | 1114768.3573 | 2721194.5116 | 1114763.0131 | 2721198.35 | 1114757.6417 | 2721198.8719 | 1114750.8586 | 2721197.5882 | 1114747.842
49 | 2721195.9805 | 1114768.3573 | 2721206.0239 | 1114765.5673 | 2721207.9758 | 1114767.6189 | 2721210.4027 | 1114769.0906 | 2721213.137 | 1114769.8681 | 2721215.9793 | 1114769.8805 | 2721218.7205 | 1114769.157 | 2721221.1746 | 1114767.7273 | 2721226.4672 | 1114775.7609 | 2721230.4299 | 1114782.7005
50 | 2721200.6844 | 1114744.0457 | 2721197.5882 | 1114747.842
51 | 2721230.4299 | 1114782.7005 | 2721208.5835 | 1114800.4919
52 | 2721230.4299 | 1114782.7005 | 2721236.4887 | 1114792.9816
53 | 2721356.0535 | 1114742.3532 | 2721342.3299 | 1114756.2436 | 2721341.7517 | 1114757.3439 | 2721341.7517 | 1114757.3439
54 | 2721263.5532 | 1114711.0508 | 2721283.6872 | 1114690.6849
55 | 2721263.5532 | 1114711.0508 | 2721249.8632 | 1114724.8985
56 | 2721242.5891 | 1114732.2563 | 2721249.8632 | 1114724.8985
57 | 2721239.6924 | 1114735.1864 | 2721242.5891 | 1114732.2563
58 | 2721239.6924 | 1114735.1864 | 2721235.8448 | 1114732.1406 | 2721229.5275 | 1114738.2518 | 2721224.7523 | 1114741.4141 | 2721219.2742 | 1114743.417 | 2721214.3248 | 1114743.7071 | 2721208.9029 | 1114742.5201 | 2721206.3947 | 1114740.9751
59 | 2721200.6844 | 1114744.0457 | 2721173.1974 | 1114715.9891
60 | 2721200.6844 | 1114744.0457 | 2721205.1716 | 1114740.2217 | 2721206.3947 | 1114740.9751
61 | 2721158.966 | 1114627.4015 | 2721155.7015 | 1114625.9628
62 | 2721158.966 | 1114627.4015 | 2721161.1246 | 1114628.3528 | 2721178.853 | 1114636.0459 | 2721180.3705 | 1114636.7091

## bus_geodata
| x | y | coords
0 | 2721371.5236 | 1114674.582
1 | 2721356.6891 | 1114670.7591
2 | 2721386.483 | 1114678.5275
3 | 2721343.7385 | 1114667.4217
4 | 2721341.6019 | 1114666.8538
5 | 2721329.1673 | 1114657.1451
6 | 2721409.573 | 1114695.053
7 | 2721411.9596 | 1114708.7496
8 | 2721405.7873 | 1114677.9381
9 | 2721410.5131 | 1114719.43
10 | 2721406.4885 | 1114745.097
11 | 2721318.3009 | 1114662.9482
12 | 2721310.6758 | 1114661.7226
13 | 2721298.4185 | 1114672.0622
14 | 2721285.5018 | 1114643.7199
15 | 2721401.1679 | 1114775.8353
16 | 2721384.251 | 1114781.2465
17 | 2721504.9816 | 1114779.0177
18 | 2721403.0418 | 1114817.0351
19 | 2721453.0563 | 1114822.2528
20 | 2721293.8392 | 1114680.0983
21 | 2721280.2075 | 1114666.1668
22 | 2721280.1377 | 1114638.4306
23 | 2721365.5207 | 1114789.6754
24 | 2721420.263 | 1114852.8821
25 | 2721404.3365 | 1114859.8201
26 | 2721455.4376 | 1114827.5346
27 | 2721291.4639 | 1114682.5837
28 | 2721234.4126 | 1114657.4193
29 | 2721243.2926 | 1114660.141
30 | 2721221.0448 | 1114653.201
31 | 2721254.4662 | 1114663.5658
32 | 2721197.3847 | 1114644.1457
33 | 2721261.5081 | 1114663.7068
34 | 2721192.2471 | 1114641.9001
35 | 2721247.9488 | 1114681.9279
36 | 2721272.124 | 1114665.1034
37 | 2721234.3831 | 1114693.2513
38 | 2721220.4935 | 1114703.5651
39 | 2721180.4544 | 1114636.7458
40 | 2721366.723 | 1114880.312
41 | 2721354.3584 | 1114886.4743
42 | 2721355.6425 | 1114889.0796
43 | 2721362.7385 | 1114902.2227
44 | 2721345.5727 | 1114767.2489
45 | 2721195.9805 | 1114768.3573
46 | 2721197.5882 | 1114747.842
47 | 2721230.4299 | 1114782.7005
48 | 2721236.4887 | 1114792.9816
49 | 2721341.7517 | 1114757.3439
50 | 2721283.6872 | 1114690.6849
51 | 2721263.5532 | 1114711.0508
52 | 2721249.8632 | 1114724.8985
53 | 2721242.5891 | 1114732.2563
54 | 2721239.6924 | 1114735.1864
55 | 2721271.8489 | 1114630.2573
56 | 2721173.1974 | 1114715.9891
57 | 2721200.6844 | 1114744.0457
58 | 2721206.3947 | 1114740.9751
59 | 2721208.5835 | 1114800.4919
60 | 2721155.7015 | 1114625.9628
61 | 2721158.966 | 1114627.4015
62 | 2721180.3705 | 1114636.7091
63 | 2721356.0535 | 1114742.3531
64 | 2721365.5207 | 1114789.6754

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1