## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-90_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-90_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-90_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-90_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-90_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-90_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5002-90_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5002-90_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5002-90_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5002-90_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5002-90_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5002-90_0_2_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5002-90_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5002-90_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5002-90_0_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_5002-90_0_2_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_5002-90_0_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5002-90_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5002-90_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5002-90_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5002-90_0_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5002-90_0_2_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_5002-90_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5002-90_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5002-90_0_2_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5002-90_0_2_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5002-90_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_5002-90_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_5002-90_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5002-90_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5002-90_0_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_5002-90_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5002-90_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5002-90_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5002-90_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5002-90_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5002-90_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5002-90_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5002-90_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5002-90_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5002-90_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5002-90_0_2_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_5002-90_0_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5002-90_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_5002-90_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5002-90_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5002-90_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5002-90_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5002-90_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5002-90_0_2_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_5002-90_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5002-90_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5002-90_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5002-90_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5002-90_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5002-90_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_5002-90_0_2_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_5002-90_0_2_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5002-90_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5002-90_0_2_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5002-90_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5002-90_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5002-90_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_MV_62_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-90_0_2_load_0 | 0 | 0.0092664 | 0.0023224 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-90_0_2_load_1 | 1 | 0.00656 | 0.0016441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-90_0_2_load_2 | 2 | 0.0044949 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-90_0_2_load_5 | 5 | 0.0041355 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-90_0_2_load_6 | 6 | 0.011239 | 0.0028168 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-90_0_2_load_7 | 7 | 0.0034641 | 0.00086818 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-90_0_2_load_9 | 9 | 0.0030968 | 0.00077614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-90_0_2_load_10 | 10 | 0.0074438 | 0.0018656 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-90_0_2_load_14 | 12 | 0.0030646 | 0.00076807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-90_0_2_load_11 | 13 | 0.0035735 | 0.00089561 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-90_0_2_load_29 | 14 | 0.0048717 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-90_0_2_load_55 | 15 | 0.011134 | 0.0027904 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-90_0_2_load_16 | 18 | 0.0030708 | 0.00076962 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-90_0_2_load_12 | 19 | 0.0028797 | 0.00072172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-90_0_2_load_30 | 20 | 0.0048184 | 0.0012076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-90_0_2_load_46 | 21 | 0.0028969 | 0.00072603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-90_0_2_load_13 | 22 | 0.0029158 | 0.00073076 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-90_0_2_load_15 | 23 | 0.005359 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-90_0_2_load_32 | 24 | 0.0041612 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-90_0_2_load_47 | 25 | 0.0049005 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-90_0_2_load_33 | 26 | 0.0045491 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-90_0_2_load_48 | 27 | 0.0036849 | 0.00092351 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-90_0_2_load_17 | 28 | 0.0042248 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-90_0_2_load_18 | 29 | 0.00095934 | 0.00024043 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-90_0_2_load_62 | 30 | 0.0053236 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-90_0_2_load_39 | 31 | 0.0060373 | 0.0015131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-90_0_2_load_21 | 32 | 0.0041668 | 0.0010443 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-90_0_2_load_22 | 33 | 0.0046972 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-90_0_2_load_24 | 35 | 0.026947 | 0.0067537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-90_0_2_load_25 | 36 | 0.026947 | 0.0067536 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-90_0_2_load_26 | 37 | 0.0054665 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-90_0_2_load_27 | 38 | 0.0055506 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-90_0_2_load_28 | 39 | 0.018148 | 0.0045483 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-90_0_2_load_31 | 40 | 0.002359 | 0.00059123 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-90_0_2_load_45 | 41 | 0.0058936 | 0.0014771 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-90_0_2_load_43 | 42 | 0.0012419 | 0.00031125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-90_0_2_load_40 | 43 | 0.00346 | 0.00086717 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-90_0_2_load_41 | 44 | 0.0039351 | 0.00098622 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-90_0_2_load_38 | 45 | 0.00097327 | 0.00024393 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-90_0_2_load_36 | 47 | 0.002641 | 0.0006619 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-90_0_2_load_37 | 48 | 0.0029473 | 0.00073866 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-90_0_2_load_56 | 49 | 0.0024725 | 0.00061967 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-90_0_2_load_50 | 50 | 0.002764 | 0.00069272 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-90_0_2_load_42 | 52 | 0.0017714 | 0.00044396 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-90_0_2_load_44 | 53 | 0.0030385 | 0.00076151 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-90_0_2_load_52 | 55 | 0.0020017 | 0.00050166 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-90_0_2_load_53 | 56 | 0.0040259 | 0.001009 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-90_0_2_load_60 | 57 | 0.002519 | 0.00063132 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-90_0_2_load_54 | 58 | 0.0027629 | 0.00069245 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-90_0_2_load_61 | 59 | 0.0035346 | 0.00088586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-90_0_2_load_57 | 60 | 0.0085264 | 0.0021369 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-90_0_2_line_0 |  | 0 | 1 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5002-90_0_2_line_1 |  | 0 | 2 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5002-90_0_2_line_2 |  | 1 | 3 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5002-90_0_2_line_3 |  | 2 | 4 | 0.008888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-90_0_2_line_4 |  | 2 | 5 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-90_0_2_line_5 |  | 3 | 6 | 0.036888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5002-90_0_2_line_6 |  | 3 | 7 | 0.0329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-90_0_2_line_7 |  | 4 | 8 | 0.042932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-90_0_2_line_8 |  | 4 | 9 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-90_0_2_line_9 |  | 5 | 10 | 0.00021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-90_0_2_line_10 |  | 7 | 11 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-90_0_2_line_11 |  | 8 | 12 | 0.049174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-90_0_2_line_12 |  | 8 | 13 | 0.046269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-90_0_2_line_13 |  | 9 | 14 | 0.0050758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-90_0_2_line_14 |  | 10 | 15 | 0.020868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-90_0_2_line_15 |  | 11 | 16 | 0.033755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-90_0_2_line_16 |  | 11 | 17 | 0.086801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-90_0_2_line_17 |  | 12 | 18 | 0.0074078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-90_0_2_line_18 |  | 13 | 19 | 0.0014236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-90_0_2_line_19 |  | 14 | 20 | 0.041832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-90_0_2_line_20 |  | 15 | 21 | 0.074936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-90_0_2_line_21 |  | 16 | 31 | 0.050259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-90_0_2_line_22 |  | 17 | 29 | 0.092272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-90_0_2_line_23 |  | 18 | 25 | 0.028544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-90_0_2_line_24 |  | 19 | 22 | 0.009673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-90_0_2_line_25 |  | 20 | 40 | 0.01828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-90_0_2_line_26 |  | 21 | 39 | 0.0083224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-90_0_2_line_27 |  | 22 | 23 | 0.0051457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-90_0_2_line_28 |  | 23 | 24 | 0.00019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-90_0_2_line_29 |  | 24 | 26 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-90_0_2_line_30 |  | 25 | 27 | 0.039231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-90_0_2_line_31 |  | 26 | 43 | 0.00071142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-90_0_2_line_32 |  | 27 | 54 | 0.045608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-90_0_2_line_33 |  | 28 | 29 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-90_0_2_line_34 |  | 29 | 30 | 0.088368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-90_0_2_line_35 |  | 31 | 45 | 0.057692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-90_0_2_line_36 |  | 32 | 33 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-90_0_2_line_37 |  | 32 | 34 | 0.044583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-90_0_2_line_38 |  | 34 | 35 | 0.0040402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-90_0_2_line_39 |  | 34 | 36 | 0.042328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-90_0_2_line_40 |  | 36 | 37 | 0.0017869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-90_0_2_line_41 |  | 37 | 38 | 0.026907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-90_0_2_line_42 |  | 38 | 39 | 0.0091277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-90_0_2_line_43 |  | 40 | 41 | 0.0082123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-90_0_2_line_44 |  | 41 | 42 | 0.006591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-90_0_2_line_45 |  | 42 | 52 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-90_0_2_line_46 |  | 43 | 44 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-90_0_2_line_47 |  | 44 | 50 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-90_0_2_line_48 |  | 45 | 46 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-90_0_2_line_49 |  | 46 | 47 | 0.032684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-90_0_2_line_50 |  | 46 | 48 | 0.084674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-90_0_2_line_51 |  | 47 | 49 | 0.030453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-90_0_2_line_52 |  | 50 | 51 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-90_0_2_line_53 |  | 51 | 59 | 0.022217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-90_0_2_line_54 |  | 52 | 53 | 0.0054132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-90_0_2_line_55 |  | 54 | 55 | 0.03249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-90_0_2_line_56 |  | 54 | 56 | 0.03869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-90_0_2_line_57 |  | 55 | 57 | 0.090253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-90_0_2_line_58 |  | 56 | 58 | 0.0070187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-90_0_2_line_59 |  | 57 | 62 | 0.062368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-90_0_2_line_60 |  | 60 | 61 | 0.026213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-90_0_2_line_61 |  | 61 | 62 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-90_0_2_trafo_6 | 0.63 MVA 20/0.4 kV | 63 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2715903.5407 | 1114725.6974 | 2715884.7515 | 1114725.5437
1 | 2715921.1012 | 1114725.8412 | 2715903.5407 | 1114725.6974
2 | 2715865.2487 | 1114725.3841 | 2715884.7515 | 1114725.5437
3 | 2715930.0076 | 1114726.2229 | 2715921.1012 | 1114725.8412
4 | 2715921.1012 | 1114725.8412 | 2715917.4818 | 1114711.6263
5 | 2715865.2487 | 1114725.3841 | 2715865.648 | 1114695.6272 | 2715872.7751 | 1114695.4813
6 | 2715865.2487 | 1114725.3841 | 2715849.3085 | 1114725.6573 | 2715832.3539 | 1114725.9522
7 | 2715930.0076 | 1114726.2229 | 2715930.4689 | 1114761.4443 | 2715930.2565 | 1114764.8758 | 2715929.8437 | 1114767.0694 | 2715929.1661 | 1114768.98
8 | 2715930.0076 | 1114726.2229 | 2715944.7687 | 1114727.4608
9 | 2715917.4298 | 1114711.4222 | 2715917.4818 | 1114711.6263
10 | 2715816.7249 | 1114726.2239 | 2715832.3539 | 1114725.9522
11 | 2715929.1661 | 1114768.98 | 2715928.2875 | 1114770.0861 | 2715927.1759 | 1114771.2657 | 2715923.7056 | 1114774.2013 | 2715919.1732 | 1114778.1506 | 2715914.2012 | 1114782.4695 | 2715912.1675 | 1114783.7982 | 2715910.7476 | 1114784.5382 | 2715909.5667 | 1114784.8936 | 2715908.4594 | 1114785.0392 | 2715907.124 | 1114784.9914 | 2715905.8708 | 1114784.6895 | 2715896.2525 | 1114780.7473 | 2715894.0994 | 1114780.2392 | 2715892.0584 | 1114779.9333 | 2715889.4456 | 1114780.0389 | 2715886.7866 | 1114780.544
12 | 2715929.1661 | 1114768.98 | 2715930.9906 | 1114770.1045 | 2715932.7323 | 1114770.716 | 2715934.7448 | 1114770.8991 | 2715936.5312 | 1114770.7887 | 2715938.6654 | 1114770.2625 | 2715945.8734 | 1114767.3651 | 2715947.3714 | 1114766.9824 | 2715948.9343 | 1114766.8455 | 2715950.3838 | 1114766.9845 | 2715952.4069 | 1114767.8237 | 2715953.7053 | 1114768.9938 | 2715954.8234 | 1114770.305 | 2715963.8623 | 1114786.1831
13 | 2715949.8267 | 1114727.885 | 2715944.7687 | 1114727.4608
14 | 2715917.4298 | 1114711.4222 | 2715912.2806 | 1114691.1991
15 | 2715816.0054 | 1114692.7544 | 2715818.084 | 1114701.6 | 2715816.7249 | 1114726.2239
16 | 2715816.7249 | 1114726.2239 | 2715729.6778 | 1114727.6178
17 | 2715880.1249 | 1114783.7145 | 2715881.3658 | 1114782.8864 | 2715883.9164 | 1114781.5898 | 2715886.7866 | 1114780.544
18 | 2715963.8623 | 1114786.1831 | 2715964.5667 | 1114787.4203
19 | 2715949.8267 | 1114727.885 | 2715991.5121 | 1114731.381
20 | 2715912.2806 | 1114691.1991 | 2715905.9208 | 1114666.2219 | 2715886.0241 | 1114644.7715 | 2715880.2128 | 1114625.7345
21 | 2715816.0054 | 1114692.7544 | 2715802.7862 | 1114658.1674 | 2715798.0219 | 1114645.8229
22 | 2715729.6778 | 1114727.6178 | 2715637.4329 | 1114729.8462
23 | 2715880.1249 | 1114783.7145 | 2715878.5961 | 1114784.7347 | 2715875.5404 | 1114787 | 2715857.9237 | 1114801.6349
24 | 2715969.4835 | 1114795.7486 | 2715967.2955 | 1114792.2139 | 2715964.5667 | 1114787.4203
25 | 2716009.7279 | 1114732.9087 | 2715991.5121 | 1114731.381
26 | 2715877.783 | 1114617.7747 | 2715880.2128 | 1114625.7345
27 | 2715972.1919 | 1114800.1239 | 2715969.4835 | 1114795.7486
28 | 2715972.1919 | 1114800.1239 | 2715972.2927 | 1114800.2869
29 | 2715972.2927 | 1114800.2869 | 2715974.9152 | 1114804.5235 | 2715979.2442 | 1114812.9939
30 | 2715828.3127 | 1114827.3316 | 2715832.6451 | 1114823.1266 | 2715836.4302 | 1114819.4743 | 2715839.8465 | 1114816.5265 | 2715850.6832 | 1114807.6498 | 2715857.9237 | 1114801.6349
31 | 2715979.2442 | 1114812.9939 | 2715979.568 | 1114813.6273
32 | 2715791.0486 | 1114847.5038 | 2715794.2264 | 1114848.543 | 2715797.4617 | 1114849.0051 | 2715800.9456 | 1114848.9827 | 2715804.0709 | 1114848.3309 | 2715807.1686 | 1114847.1004 | 2715809.8061 | 1114845.294 | 2715828.3127 | 1114827.3316
33 | 2715637.4329 | 1114729.8462 | 2715616.8084 | 1114730.3445
34 | 2715637.4329 | 1114729.8462 | 2715632.9148 | 1114818.0984
35 | 2715749.4322 | 1114629.2435 | 2715789.0849 | 1114630.6094 | 2715794.0796 | 1114635.6082 | 2715798.0219 | 1114645.8229
36 | 2715934.5321 | 1114545.209 | 2715915.6604 | 1114542.149
37 | 2715871.2137 | 1114538.7281 | 2715914.3241 | 1114541.9323 | 2715915.6604 | 1114542.149
38 | 2715871.2137 | 1114538.7281 | 2715871.2717 | 1114534.6884
39 | 2715871.2137 | 1114538.7281 | 2715870.6064 | 1114581.052
40 | 2715870.5808 | 1114582.8387 | 2715870.6064 | 1114581.052
41 | 2715870.5808 | 1114582.8387 | 2715870.4253 | 1114593.6722 | 2715875.118 | 1114609.0447
42 | 2715877.783 | 1114617.7747 | 2715875.118 | 1114609.0447
43 | 2716017.9115 | 1114733.595 | 2716009.7279 | 1114732.9087
44 | 2716017.9115 | 1114733.595 | 2716024.4795 | 1114734.1458
45 | 2716038.5937 | 1114735.3295 | 2716024.4795 | 1114734.1458
46 | 2715979.568 | 1114813.6273 | 2715982.3008 | 1114818.9745 | 2715983.2134 | 1114820.1261 | 2715984.2335 | 1114820.9017 | 2715986.0663 | 1114821.5928 | 2715991.9297 | 1114822.7613 | 2715994.5102 | 1114823.5335 | 2715996.7958 | 1114824.3778 | 2715996.7958 | 1114824.3778
47 | 2716019.679 | 1114836.3799 | 2716011.3314 | 1114832.0945 | 2715998.9079 | 1114825.4078 | 2715996.7958 | 1114824.3778
48 | 2715731.0828 | 1114628.6114 | 2715749.4322 | 1114629.2435
49 | 2715731.0828 | 1114628.6114 | 2715731.7696 | 1114611.2573 | 2715731.3115 | 1114595.9475
50 | 2715646.3365 | 1114623.1125 | 2715731.0828 | 1114628.6114
51 | 2715726.8696 | 1114565.8459 | 2715731.2133 | 1114592.6676 | 2715731.3115 | 1114595.9475
52 | 2716033.3331 | 1114841.989 | 2716031.3581 | 1114841.4619 | 2716029.1553 | 1114840.7304 | 2716026.418 | 1114839.6772 | 2716023.5925 | 1114838.389 | 2716019.679 | 1114836.3799
53 | 2716033.3331 | 1114841.989 | 2716033.7465 | 1114847.4227 | 2716034.155 | 1114849.8878 | 2716034.796 | 1114852.7131 | 2716038.0943 | 1114863.5959
54 | 2716038.5937 | 1114735.3295 | 2716043.9879 | 1114735.7819
55 | 2715791.0486 | 1114847.5038 | 2715776.8798 | 1114876.7528
56 | 2715791.0486 | 1114847.5038 | 2715788.5986 | 1114846.3673 | 2715786.0747 | 1114844.6513 | 2715784.0184 | 1114842.3215 | 2715782.3445 | 1114839.7767 | 2715779.3827 | 1114833.4937 | 2715777.8384 | 1114831.4517 | 2715775.4842 | 1114829.7501 | 2715772.8373 | 1114828.4097 | 2715769.6601 | 1114827.7375 | 2715766.2146 | 1114827.3603 | 2715761.5626 | 1114827.0713 | 2715761.5314 | 1114827.0679
57 | 2715776.8798 | 1114876.7528 | 2715690.316 | 1114902.2948
58 | 2715761.5314 | 1114827.0679 | 2715754.5538 | 1114826.3098
59 | 2715684.911 | 1114957.6066 | 2715686.2024 | 1114955.9079 | 2715680.6232 | 1114950.7868 | 2715677.9454 | 1114944.9985 | 2715679.2009 | 1114936.2833 | 2715677.366 | 1114929.2324 | 2715680.4738 | 1114917.7618 | 2715690.316 | 1114902.2948
60 | 2715693.6622 | 1114966.9021 | 2715682.2844 | 1114961.27 | 2715673.6345 | 1114958.8033 | 2715669.1605 | 1114958.1376
61 | 2715693.6622 | 1114966.9021 | 2715684.911 | 1114957.6066

## bus_geodata
| x | y | coords
0 | 2715903.5407 | 1114725.6974
1 | 2715884.7515 | 1114725.5437
2 | 2715921.1012 | 1114725.8412
3 | 2715865.2487 | 1114725.3841
4 | 2715930.0076 | 1114726.2229
5 | 2715917.4818 | 1114711.6263
6 | 2715872.7751 | 1114695.4813
7 | 2715832.3539 | 1114725.9522
8 | 2715929.1661 | 1114768.98
9 | 2715944.7687 | 1114727.4608
10 | 2715917.4298 | 1114711.4222
11 | 2715816.7249 | 1114726.2239
12 | 2715886.7866 | 1114780.544
13 | 2715963.8623 | 1114786.1831
14 | 2715949.8267 | 1114727.885
15 | 2715912.2806 | 1114691.1991
16 | 2715816.0054 | 1114692.7544
17 | 2715729.6778 | 1114727.6178
18 | 2715880.1249 | 1114783.7145
19 | 2715964.5667 | 1114787.4203
20 | 2715991.5121 | 1114731.381
21 | 2715880.2128 | 1114625.7345
22 | 2715969.4835 | 1114795.7486
23 | 2715972.1919 | 1114800.1239
24 | 2715972.2927 | 1114800.2869
25 | 2715857.9237 | 1114801.6349
26 | 2715979.2442 | 1114812.9939
27 | 2715828.3127 | 1114827.3316
28 | 2715616.8084 | 1114730.3445
29 | 2715637.4329 | 1114729.8462
30 | 2715632.9148 | 1114818.0984
31 | 2715798.0219 | 1114645.8229
32 | 2715915.6604 | 1114542.149
33 | 2715934.5321 | 1114545.209
34 | 2715871.2137 | 1114538.7281
35 | 2715871.2717 | 1114534.6884
36 | 2715870.6064 | 1114581.052
37 | 2715870.5808 | 1114582.8387
38 | 2715875.118 | 1114609.0447
39 | 2715877.783 | 1114617.7747
40 | 2716009.7279 | 1114732.9087
41 | 2716017.9115 | 1114733.595
42 | 2716024.4795 | 1114734.1458
43 | 2715979.568 | 1114813.6273
44 | 2715996.7958 | 1114824.3778
45 | 2715749.4322 | 1114629.2435
46 | 2715731.0828 | 1114628.6114
47 | 2715731.3115 | 1114595.9475
48 | 2715646.3365 | 1114623.1125
49 | 2715726.8696 | 1114565.8459
50 | 2716019.679 | 1114836.3799
51 | 2716033.3331 | 1114841.989
52 | 2716038.5937 | 1114735.3295
53 | 2716043.9879 | 1114735.7819
54 | 2715791.0486 | 1114847.5038
55 | 2715776.8798 | 1114876.7528
56 | 2715761.5314 | 1114827.0679
57 | 2715690.316 | 1114902.2948
58 | 2715754.5538 | 1114826.3098
59 | 2716038.0943 | 1114863.5959
60 | 2715669.1605 | 1114958.1376
61 | 2715693.6622 | 1114966.9021
62 | 2715684.911 | 1114957.6066
63 | 2715886.9829 | 1114695.1904

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1