## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5091-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5091-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5091-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5091-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5091-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5091-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5091-18_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5091-18_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5091-18_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5091-18_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_5091-18_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_5091-18_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_5091-18_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_5091-18_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_5091-18_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5091-18_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5091-18_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5091-18_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5091-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5091-18_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5091-18_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5091-18_0_4_node_87 | 0.4 | n |  | TRUE
22 | bus_LV_5091-18_0_4_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_5091-18_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5091-18_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_5091-18_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5091-18_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5091-18_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5091-18_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5091-18_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5091-18_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_5091-18_0_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_5091-18_0_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_5091-18_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_5091-18_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_5091-18_0_4_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_5091-18_0_4_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_5091-18_0_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_5091-18_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_5091-18_0_4_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_5091-18_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_5091-18_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_5091-18_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5091-18_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5091-18_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5091-18_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5091-18_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5091-18_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5091-18_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5091-18_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5091-18_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5091-18_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5091-18_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_5091-18_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5091-18_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_5091-18_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5091-18_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5091-18_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5091-18_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5091-18_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5091-18_0_4_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_5091-18_0_4_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_5091-18_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5091-18_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5091-18_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5091-18_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5091-18_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_5091-18_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5091-18_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_5091-18_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_5091-18_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_5091-18_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_5091-18_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5091-18_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5091-18_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5091-18_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5091-18_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5091-18_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5091-18_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5091-18_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5091-18_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5091-18_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_MV_66_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5091-18_0_4_load_0 | 0 | 0.0069718 | 0.0017473 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5091-18_0_4_load_3 | 3 | 0.011455 | 0.0028709 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5091-18_0_4_load_5 | 5 | 0.010857 | 0.002721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5091-18_0_4_load_7 | 7 | 0.0011798 | 0.00029568 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5091-18_0_4_load_62 | 9 | 0.0092729 | 0.002324 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5091-18_0_4_load_49 | 10 | 0.0076978 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5091-18_0_4_load_63 | 12 | 0.0041296 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5091-18_0_4_load_15 | 14 | 0.0028752 | 0.00072059 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5091-18_0_4_load_9 | 15 | 0.00065549 | 0.00016428 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5091-18_0_4_load_10 | 16 | 0.0041404 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5091-18_0_4_load_12 | 19 | 0.00098535 | 0.00024695 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5091-18_0_4_load_14 | 20 | 0.00065548 | 0.00016428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5091-18_0_4_load_87 | 21 | 0.00055452 | 0.00013898 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5091-18_0_4_load_20 | 26 | 0.0041654 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5091-18_0_4_load_22 | 28 | 0.0040846 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5091-18_0_4_load_48 | 30 | 0.0051847 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5091-18_0_4_load_86 | 31 | 0.029594 | 0.0074169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5091-18_0_4_load_85 | 32 | 0.0085707 | 0.002148 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5091-18_0_4_load_56 | 33 | 0.0017025 | 0.00042667 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5091-18_0_4_load_89 | 35 | 0.003967 | 0.00099421 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5091-18_0_4_load_64 | 36 | 0.0010221 | 0.00025617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5091-18_0_4_load_54 | 37 | 0.011929 | 0.0029898 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5091-18_0_4_load_50 | 38 | 0.00065544 | 0.00016427 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5091-18_0_4_load_88 | 39 | 0.0051947 | 0.0013019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5091-18_0_4_load_52 | 40 | 0.0074337 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5091-18_0_4_load_26 | 42 | 0.05275 | 0.01322 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5091-18_0_4_load_30 | 44 | 0.018071 | 0.0045291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5091-18_0_4_load_31 | 45 | 0.0018014 | 0.00045147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5091-18_0_4_load_29 | 46 | 0.0067696 | 0.0016966 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5091-18_0_4_load_33 | 48 | 0.0043747 | 0.0010964 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5091-18_0_4_load_43 | 49 | 0.0066597 | 0.0016691 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5091-18_0_4_load_60 | 52 | 0.0044746 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5091-18_0_4_load_39 | 53 | 0.0029562 | 0.00074088 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5091-18_0_4_load_34 | 54 | 0.00479 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5091-18_0_4_load_35 | 55 | 0.0012819 | 0.00032127 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5091-18_0_4_load_36 | 56 | 0.0040418 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5091-18_0_4_load_40 | 58 | 0.0083233 | 0.002086 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5091-18_0_4_load_42 | 59 | 0.0050987 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5091-18_0_4_load_58 | 62 | 0.0013917 | 0.00034878 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5091-18_0_4_load_57 | 63 | 0.0049328 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5091-18_0_4_load_59 | 64 | 0.0016724 | 0.00041913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5091-18_0_4_load_67 | 65 | 0.0025579 | 0.00064107 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5091-18_0_4_load_66 | 66 | 0.011936 | 0.0029915 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5091-18_0_4_load_65 | 67 | 0.0020533 | 0.00051461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5091-18_0_4_load_80 | 69 | 0.042945 | 0.010763 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5091-18_0_4_load_78 | 70 | 0.0065272 | 0.0016359 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5091-18_0_4_load_69 | 71 | 0.012717 | 0.0031872 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5091-18_0_4_load_70 | 72 | 0.0082904 | 0.0020778 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5091-18_0_4_load_71 | 73 | 0.0080588 | 0.0020197 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5091-18_0_4_load_72 | 74 | 0.0076364 | 0.0019139 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5091-18_0_4_load_73 | 75 | 0.0056578 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5091-18_0_4_load_74 | 76 | 0.0085101 | 0.0021328 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5091-18_0_4_load_75 | 77 | 0.0045508 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5091-18_0_4_load_77 | 78 | 0.0066382 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5091-18_0_4_load_83 | 79 | 0.0077663 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5091-18_0_4_load_76 | 80 | 0.02377 | 0.0059572 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5091-18_0_4_load_84 | 81 | 0.0058304 | 0.0014612 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5091-18_0_4_line_0 |  | 0 | 1 | 0.062854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5091-18_0_4_line_1 |  | 0 | 2 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5091-18_0_4_line_2 |  | 1 | 3 | 0.035348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5091-18_0_4_line_3 |  | 2 | 4 | 0.0367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5091-18_0_4_line_4 |  | 2 | 5 | 0.02114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5091-18_0_4_line_5 |  | 3 | 6 | 0.018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5091-18_0_4_line_6 |  | 4 | 7 | 0.08839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5091-18_0_4_line_7 |  | 5 | 8 | 0.0055007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5091-18_0_4_line_8 |  | 6 | 9 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5091-18_0_4_line_9 |  | 7 | 10 | 0.037669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5091-18_0_4_line_10 |  | 8 | 11 | 0.044437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5091-18_0_4_line_11 |  | 9 | 12 | 0.054901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5091-18_0_4_line_12 |  | 11 | 13 | 0.03724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5091-18_0_4_line_13 |  | 11 | 14 | 0.040588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5091-18_0_4_line_14 |  | 12 | 68 | 0.062979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5091-18_0_4_line_15 |  | 13 | 28 | 0.043237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5091-18_0_4_line_16 |  | 13 | 29 | 0.034025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5091-18_0_4_line_17 |  | 15 | 16 | 0.049859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5091-18_0_4_line_18 |  | 15 | 17 | 0.0059563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5091-18_0_4_line_19 |  | 16 | 18 | 0.12715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5091-18_0_4_line_20 |  | 17 | 19 | 0.047641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5091-18_0_4_line_21 |  | 18 | 20 | 0.0076581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5091-18_0_4_line_22 |  | 20 | 23 | 0.089123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5091-18_0_4_line_23 |  | 21 | 22 | 0.076749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5091-18_0_4_line_24 |  | 22 | 39 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5091-18_0_4_line_25 |  | 22 | 41 | 0.027328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5091-18_0_4_line_26 |  | 23 | 24 | 0.053195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5091-18_0_4_line_27 |  | 24 | 39 | 0.050854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5091-18_0_4_line_28 |  | 25 | 26 | 0.035067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5091-18_0_4_line_29 |  | 25 | 27 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5091-18_0_4_line_30 |  | 26 | 30 | 0.072459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5091-18_0_4_line_31 |  | 27 | 31 | 0.046671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5091-18_0_4_line_32 |  | 27 | 32 | 0.04109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5091-18_0_4_line_33 |  | 28 | 32 | 0.025772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5091-18_0_4_line_34 |  | 29 | 33 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5091-18_0_4_line_35 |  | 29 | 34 | 0.024803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5091-18_0_4_line_36 |  | 31 | 35 | 0.036757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5091-18_0_4_line_37 |  | 33 | 36 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5091-18_0_4_line_38 |  | 34 | 37 | 0.005742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5091-18_0_4_line_39 |  | 34 | 38 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5091-18_0_4_line_40 |  | 36 | 67 | 0.0046653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5091-18_0_4_line_41 |  | 40 | 41 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5091-18_0_4_line_42 |  | 41 | 65 | 0.077304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5091-18_0_4_line_43 |  | 42 | 43 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5091-18_0_4_line_44 |  | 43 | 44 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5091-18_0_4_line_45 |  | 43 | 45 | 0.040783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5091-18_0_4_line_46 |  | 44 | 47 | 0.0071591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5091-18_0_4_line_47 |  | 45 | 48 | 0.031565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5091-18_0_4_line_48 |  | 46 | 47 | 0.033052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5091-18_0_4_line_49 |  | 47 | 49 | 0.067521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5091-18_0_4_line_50 |  | 48 | 50 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5091-18_0_4_line_51 |  | 49 | 51 | 0.039874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5091-18_0_4_line_52 |  | 50 | 52 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5091-18_0_4_line_53 |  | 50 | 53 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5091-18_0_4_line_54 |  | 51 | 62 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5091-18_0_4_line_55 |  | 51 | 63 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5091-18_0_4_line_56 |  | 53 | 57 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5091-18_0_4_line_57 |  | 54 | 55 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5091-18_0_4_line_58 |  | 54 | 56 | 0.0032438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5091-18_0_4_line_59 |  | 55 | 57 | 0.093594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5091-18_0_4_line_60 |  | 57 | 58 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5091-18_0_4_line_61 |  | 58 | 59 | 0.0029509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5091-18_0_4_line_62 |  | 59 | 60 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5091-18_0_4_line_63 |  | 60 | 61 | 0.032084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5091-18_0_4_line_64 |  | 61 | 79 | 0.024696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5091-18_0_4_line_65 |  | 61 | 76 | 0.018548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5091-18_0_4_line_66 |  | 62 | 64 | 0.034138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5091-18_0_4_line_67 |  | 64 | 66 | 0.028045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5091-18_0_4_line_68 |  | 65 | 66 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5091-18_0_4_line_69 |  | 68 | 69 | 0.075154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5091-18_0_4_line_70 |  | 68 | 70 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5091-18_0_4_line_71 |  | 70 | 80 | 0.032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5091-18_0_4_line_72 |  | 71 | 72 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5091-18_0_4_line_73 |  | 71 | 73 | 0.031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5091-18_0_4_line_74 |  | 72 | 74 | 0.027183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5091-18_0_4_line_75 |  | 73 | 75 | 0.0012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5091-18_0_4_line_76 |  | 74 | 76 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5091-18_0_4_line_77 |  | 74 | 77 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5091-18_0_4_line_78 |  | 77 | 78 | 0.050416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5091-18_0_4_line_79 |  | 78 | 80 | 0.0056546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5091-18_0_4_line_80 |  | 79 | 81 | 0.035761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5091-18_0_4_trafo_80 | 0.63 MVA 20/0.4 kV | 82 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2702388.8494 | 1112627.6108 | 2702385.9897 | 1112630.4087 | 2702382.6483 | 1112631.9978 | 2702379.5188 | 1112631.5669 | 2702368.1448 | 1112622.936 | 2702362.6423 | 1112619.8189 | 2702356.4758 | 1112618.9588 | 2702351.1268 | 1112621.3922 | 2702347.5217 | 1112624.8669 | 2702340.237 | 1112637.1517
1 | 2702329.1178 | 1112644.5465 | 2702335.1702 | 1112642.0916 | 2702340.237 | 1112637.1517
2 | 2702388.8494 | 1112627.6108 | 2702395.6828 | 1112633.3521 | 2702404.039 | 1112639.964 | 2702413.1692 | 1112644.6656 | 2702418.4519 | 1112646.1863
3 | 2702329.1178 | 1112644.5465 | 2702323.5045 | 1112645.2411 | 2702313.4481 | 1112643.2257 | 2702304.5016 | 1112641.8294 | 2702292.7424 | 1112643.1986
4 | 2702329.1178 | 1112644.5465 | 2702328.753 | 1112652.879 | 2702330.8152 | 1112660.6965 | 2702332.8507 | 1112664.9486
5 | 2702436.4052 | 1112643.5574 | 2702429.3418 | 1112646.3955 | 2702421.0886 | 1112646.9453 | 2702418.4519 | 1112646.1863
6 | 2702292.7424 | 1112643.1986 | 2702283.8045 | 1112634.42 | 2702253.7054 | 1112629.2536 | 2702235.8154 | 1112628.5626 | 2702224.6673 | 1112625.7617 | 2702214.1395 | 1112619.169 | 2702212.9045 | 1112615.8905
7 | 2702335.2258 | 1112669.9101 | 2702332.8507 | 1112664.9486
8 | 2702436.4052 | 1112643.5574 | 2702441.5821 | 1112651.3054 | 2702445.1993 | 1112652.395
9 | 2702249.0345 | 1112610.2274 | 2702230.0388 | 1112614.6675 | 2702217.6205 | 1112613.424 | 2702214.6229 | 1112613.8738 | 2702212.9045 | 1112615.8905 | 2702212.9045 | 1112615.8905
10 | 2702352.6051 | 1112709.0616 | 2702349.6283 | 1112687.6978 | 2702335.2258 | 1112669.9101
11 | 2702445.1993 | 1112652.395 | 2702446.9784 | 1112652.9309 | 2702462.2105 | 1112651.7987 | 2702469.8224 | 1112653.5284 | 2702495.2448 | 1112669.3859
12 | 2702352.6051 | 1112709.0616 | 2702357.5845 | 1112723.477 | 2702356.9229 | 1112730.6259 | 2702357.206 | 1112745.429
13 | 2702352.6051 | 1112709.0616 | 2702333.8879 | 1112697.8942 | 2702315.9236 | 1112692.3765
14 | 2702553.5415 | 1112688.7995 | 2702543.7202 | 1112685.2311 | 2702532.625 | 1112683.4312 | 2702522.1937 | 1112683.9441 | 2702515.6803 | 1112682.1328 | 2702495.2448 | 1112669.3859
15 | 2702357.206 | 1112745.429 | 2702345.4623 | 1112742.2287 | 2702334.5721 | 1112743.8459 | 2702321.3371 | 1112745.2346 | 2702314.6709 | 1112744.1903
16 | 2702357.206 | 1112745.429 | 2702365.7453 | 1112754.4566 | 2702380.9847 | 1112759.2725 | 2702386.5874 | 1112759.6563
17 | 2702426.361 | 1113058.7167 | 2702431.963 | 1113043.4469 | 2702398.9224 | 1113037.3739
18 | 2702424.3096 | 1113064.3086 | 2702426.361 | 1113058.7167
19 | 2702337.5918 | 1112925.9901 | 2702398.9224 | 1113037.3739
20 | 2702466.8263 | 1113053.2089 | 2702439.694 | 1113052.7279 | 2702428.2606 | 1113056.8039 | 2702424.3096 | 1113064.3086
21 | 2702337.5918 | 1112925.9901 | 2702331.3142 | 1112921.6038
22 | 2702365.0722 | 1112839.1211 | 2702331.3142 | 1112921.6038
23 | 2702476.7649 | 1112882.1573 | 2702479.2617 | 1112887.1026 | 2702480.3057 | 1112897.0933 | 2702486.0565 | 1112904.2395 | 2702508.4783 | 1112916.4929 | 2702533.7575 | 1112924.7033
24 | 2702476.7649 | 1112882.1573 | 2702468.7375 | 1112876.6848 | 2702461.7043 | 1112873.9512
25 | 2702476.7649 | 1112882.1573 | 2702476.6876 | 1112876.2189 | 2702483.4048 | 1112862.3125 | 2702483.4436 | 1112856.365
26 | 2702415.1246 | 1112855.3655 | 2702389.0458 | 1112851.4671 | 2702365.0722 | 1112839.1211
27 | 2702415.1246 | 1112855.3655 | 2702422.7302 | 1112856.5392 | 2702443.5722 | 1112869.0325 | 2702454.5916 | 1112871.1868 | 2702461.7043 | 1112873.9512
28 | 2702233.8095 | 1112712.1928 | 2702236.714 | 1112715.8886 | 2702231.0797 | 1112725.1661 | 2702230.9466 | 1112729.3888 | 2702242.542 | 1112735.8884 | 2702244.4135 | 1112736.6982
29 | 2702244.4135 | 1112736.6982 | 2702239.7182 | 1112740.6883 | 2702237.9794 | 1112743.0049 | 2702237.5564 | 1112747.0114 | 2702240.2561 | 1112751.393 | 2702245.968 | 1112750.3442 | 2702249.4687 | 1112749.8362
30 | 2702233.8095 | 1112712.1928 | 2702161.4223 | 1112708.9766
31 | 2702249.4687 | 1112749.8362 | 2702250.5069 | 1112755.1571 | 2702255.4155 | 1112775.6084 | 2702257.086 | 1112776.426 | 2702260.9002 | 1112775.6565 | 2702267.056 | 1112774.3928 | 2702269.1803 | 1112772.1272 | 2702271.0857 | 1112768.6349 | 2702272.0805 | 1112768.1686
32 | 2702249.4687 | 1112749.8362 | 2702287.9512 | 1112741.2021 | 2702289.5956 | 1112741.0529
33 | 2702314.6709 | 1112744.1903 | 2702313.223 | 1112743.9635 | 2702303.4104 | 1112740.329 | 2702295.9058 | 1112740.4802 | 2702289.5956 | 1112741.0529
34 | 2702386.5874 | 1112759.6563 | 2702387.0133 | 1112755.483 | 2702382.1983 | 1112751.4659 | 2702385.8225 | 1112743.8151
35 | 2702386.5874 | 1112759.6563 | 2702400.3442 | 1112762.1346 | 2702405.2828 | 1112766.1539 | 2702407.7844 | 1112769.9096
36 | 2702272.0805 | 1112768.1686 | 2702276.0075 | 1112766.3276 | 2702281.72 | 1112767.0689 | 2702285.8015 | 1112767.8605 | 2702289.2454 | 1112771.1762 | 2702292.5389 | 1112775.6235 | 2702303.2268 | 1112781.4805
37 | 2702385.8225 | 1112743.8151 | 2702397.6897 | 1112718.7633
38 | 2702410.6728 | 1112764.9442 | 2702407.7844 | 1112769.9096
39 | 2702407.7844 | 1112769.9096 | 2702409.9869 | 1112779.4751 | 2702414.9402 | 1112781.7522
40 | 2702399.6869 | 1112714.5471 | 2702397.6897 | 1112718.7633
41 | 2702483.4436 | 1112856.365 | 2702467.5029 | 1112842.5981
42 | 2702483.4436 | 1112856.365 | 2702503.968 | 1112844.2375 | 2702516.0086 | 1112838.0928 | 2702540.7665 | 1112833.7531 | 2702554.9629 | 1112837.9771
43 | 2702753.5083 | 1112826.0497 | 2702769.5675 | 1112843.0882 | 2702772.8401 | 1112846.3799
44 | 2702753.5083 | 1112826.0497 | 2702744.8572 | 1112841.424 | 2702742.7149 | 1112845.7999
45 | 2702753.5083 | 1112826.0497 | 2702751.0142 | 1112815.9455 | 2702749.3188 | 1112809.7684 | 2702747.1995 | 1112803.9844 | 2702744.9031 | 1112799.0757 | 2702738.0315 | 1112788.7648
46 | 2702740.3651 | 1112852.5549 | 2702742.3362 | 1112846.5734 | 2702742.7149 | 1112845.7999
47 | 2702733.9408 | 1112759.4124 | 2702731.2264 | 1112770.0033 | 2702730.8994 | 1112773.8001 | 2702731.2528 | 1112776.6524 | 2702732.0559 | 1112778.9563 | 2702733.6091 | 1112782.1291 | 2702738.0315 | 1112788.7648
48 | 2702740.3651 | 1112852.5549 | 2702749.6522 | 1112856.1701 | 2702759.7071 | 1112862.8003 | 2702764.8995 | 1112867.3245 | 2702767.4518 | 1112870.6036
49 | 2702740.3651 | 1112852.5549 | 2702715.2528 | 1112863.214 | 2702706.5824 | 1112865.602 | 2702698.9041 | 1112867.3508 | 2702675.6714 | 1112869.8974
50 | 2702737.1909 | 1112740.8414 | 2702737.4784 | 1112743.4812 | 2702737.1419 | 1112746.9222 | 2702733.9408 | 1112759.4124
51 | 2702648.1808 | 1112893.9532 | 2702650.569 | 1112886.6001 | 2702651.5825 | 1112883.7821 | 2702653.7847 | 1112880.1171 | 2702656.3762 | 1112877.1813 | 2702660.301 | 1112874.446 | 2702664.3845 | 1112872.3694 | 2702668.4791 | 1112871.0157 | 2702675.2729 | 1112869.9411 | 2702675.6714 | 1112869.8974
52 | 2702753.8111 | 1112758.0784 | 2702740.3464 | 1112743.8412 | 2702737.1909 | 1112740.8414
53 | 2702737.1909 | 1112740.8414 | 2702737.0302 | 1112739.3822 | 2702736.4338 | 1112736.2812 | 2702735.0752 | 1112732.5669 | 2702730.4482 | 1112725.2172 | 2702727.7345 | 1112719.4009 | 2702726.4953 | 1112715.4774
54 | 2702648.1808 | 1112893.9532 | 2702623.3105 | 1112896.267 | 2702621.3753 | 1112893.3758
55 | 2702648.1808 | 1112893.9532 | 2702643.2228 | 1112909.3686
56 | 2702727.4107 | 1112702.4958 | 2702726.3007 | 1112708.7254 | 2702726.1136 | 1112712.469 | 2702726.4953 | 1112715.4774
57 | 2702810.2972 | 1112767.4463 | 2702809.9715 | 1112766.7581 | 2702805.236 | 1112758.0723 | 2702802.4085 | 1112754.4109 | 2702801.6024 | 1112753.6426
58 | 2702810.2972 | 1112767.4463 | 2702811.6851 | 1112770.3782
59 | 2702727.4107 | 1112702.4958 | 2702733.4171 | 1112712.793 | 2702739.1595 | 1112720.4284 | 2702743.9411 | 1112725.4904 | 2702753.3079 | 1112733.0762 | 2702759.2268 | 1112736.2229 | 2702763.1876 | 1112737.7466 | 2702767.0091 | 1112738.8343 | 2702775.4771 | 1112741.1015 | 2702786.9946 | 1112744.4099 | 2702795.0504 | 1112748.2044 | 2702799.1544 | 1112751.3093 | 2702801.6024 | 1112753.6426
60 | 2702727.4107 | 1112702.4958 | 2702723.0275 | 1112692.6152 | 2702719.0728 | 1112686.5466
61 | 2702717.4617 | 1112684.0744 | 2702719.0728 | 1112686.5466
62 | 2702710.8586 | 1112673.9417 | 2702717.4617 | 1112684.0744
63 | 2702710.8586 | 1112673.9417 | 2702703.64 | 1112667.2374 | 2702696.66 | 1112661.9603 | 2702684.5156 | 1112655.9619
64 | 2702684.5156 | 1112655.9619 | 2702675.7581 | 1112651.1661 | 2702662.3908 | 1112645.0222
65 | 2702684.5156 | 1112655.9619 | 2702671.3858 | 1112669.0627
66 | 2702621.3753 | 1112893.3758 | 2702616.3253 | 1112885.8311 | 2702603.7772 | 1112874.5004 | 2702599.1058 | 1112867.8187
67 | 2702580.3521 | 1112847.12 | 2702580.3521 | 1112847.12 | 2702593.6692 | 1112860.0424 | 2702599.1058 | 1112867.8187
68 | 2702580.3521 | 1112847.12 | 2702560.5765 | 1112839.6474 | 2702554.9629 | 1112837.9771
69 | 2702553.5415 | 1112688.7995 | 2702522.2684 | 1112757.1584
70 | 2702553.5415 | 1112688.7995 | 2702566.5358 | 1112694.3448
71 | 2702596.5767 | 1112707.1646 | 2702566.5358 | 1112694.3448
72 | 2702650.9275 | 1112734.543 | 2702644.669 | 1112724.5307 | 2702645.9659 | 1112717.803
73 | 2702650.9275 | 1112734.543 | 2702650.9275 | 1112734.543 | 2702668.144 | 1112745.7861 | 2702678.9283 | 1112747.8311
74 | 2702651.2764 | 1112691.1436 | 2702648.0826 | 1112706.8217 | 2702645.9659 | 1112717.803
75 | 2702680.1196 | 1112748.057 | 2702678.9283 | 1112747.8311
76 | 2702651.2764 | 1112691.1436 | 2702666.5026 | 1112673.9349 | 2702671.3858 | 1112669.0627
77 | 2702651.2764 | 1112691.1436 | 2702644.6656 | 1112700.5599 | 2702642.7392 | 1112705.1828
78 | 2702642.7392 | 1112705.1828 | 2702638.0778 | 1112716.3695 | 2702635.4524 | 1112718.104 | 2702632.1617 | 1112718.5263 | 2702611.8698 | 1112713.6909 | 2702601.7775 | 1112709.3841
79 | 2702596.5767 | 1112707.1646 | 2702601.7775 | 1112709.3841
80 | 2702629.8204 | 1112630.2716 | 2702632.5342 | 1112631.2995 | 2702662.3908 | 1112645.0222

## bus_geodata
| x | y | coords
0 | 2702340.237 | 1112637.1517
1 | 2702388.8494 | 1112627.6108
2 | 2702329.1178 | 1112644.5465
3 | 2702418.4519 | 1112646.1863
4 | 2702292.7424 | 1112643.1986
5 | 2702332.8507 | 1112664.9486
6 | 2702436.4052 | 1112643.5574
7 | 2702212.9045 | 1112615.8905
8 | 2702335.2258 | 1112669.9101
9 | 2702445.1993 | 1112652.395
10 | 2702249.0345 | 1112610.2274
11 | 2702352.6051 | 1112709.0616
12 | 2702495.2448 | 1112669.3859
13 | 2702357.206 | 1112745.429
14 | 2702315.9236 | 1112692.3765
15 | 2702426.361 | 1113058.7167
16 | 2702398.9224 | 1113037.3739
17 | 2702424.3096 | 1113064.3086
18 | 2702337.5918 | 1112925.9901
19 | 2702466.8263 | 1113053.2089
20 | 2702331.3142 | 1112921.6038
21 | 2702533.7575 | 1112924.7033
22 | 2702476.7649 | 1112882.1573
23 | 2702365.0722 | 1112839.1211
24 | 2702415.1246 | 1112855.3655
25 | 2702244.4135 | 1112736.6982
26 | 2702233.8095 | 1112712.1928
27 | 2702249.4687 | 1112749.8363
28 | 2702314.6709 | 1112744.1903
29 | 2702386.5874 | 1112759.6563
30 | 2702161.4223 | 1112708.9766
31 | 2702272.0805 | 1112768.1686
32 | 2702289.5956 | 1112741.0529
33 | 2702385.8225 | 1112743.8151
34 | 2702407.7844 | 1112769.9096
35 | 2702303.2268 | 1112781.4805
36 | 2702397.6897 | 1112718.7633
37 | 2702410.6728 | 1112764.9442
38 | 2702414.9402 | 1112781.7522
39 | 2702461.7043 | 1112873.9512
40 | 2702467.5029 | 1112842.5981
41 | 2702483.4436 | 1112856.365
42 | 2702772.8401 | 1112846.3799
43 | 2702753.5083 | 1112826.0497
44 | 2702742.7149 | 1112845.7999
45 | 2702738.0315 | 1112788.7648
46 | 2702767.4518 | 1112870.6036
47 | 2702740.3651 | 1112852.5549
48 | 2702733.9408 | 1112759.4124
49 | 2702675.6714 | 1112869.8974
50 | 2702737.1909 | 1112740.8414
51 | 2702648.1808 | 1112893.9532
52 | 2702753.8111 | 1112758.0784
53 | 2702726.4953 | 1112715.4774
54 | 2702810.2972 | 1112767.4463
55 | 2702801.6024 | 1112753.6426
56 | 2702811.6851 | 1112770.3782
57 | 2702727.4107 | 1112702.4958
58 | 2702719.0728 | 1112686.5466
59 | 2702717.4617 | 1112684.0744
60 | 2702710.8586 | 1112673.9417
61 | 2702684.5156 | 1112655.9619
62 | 2702621.3753 | 1112893.3758
63 | 2702643.2228 | 1112909.3686
64 | 2702599.1058 | 1112867.8187
65 | 2702554.9629 | 1112837.9771
66 | 2702580.3521 | 1112847.12
67 | 2702399.6869 | 1112714.5471
68 | 2702553.5415 | 1112688.7995
69 | 2702522.2684 | 1112757.1584
70 | 2702566.5358 | 1112694.3448
71 | 2702650.9275 | 1112734.543
72 | 2702645.9659 | 1112717.803
73 | 2702678.9283 | 1112747.8311
74 | 2702651.2764 | 1112691.1436
75 | 2702680.1196 | 1112748.057
76 | 2702671.3858 | 1112669.0627
77 | 2702642.7392 | 1112705.1828
78 | 2702601.7775 | 1112709.3841
79 | 2702662.3908 | 1112645.0222
80 | 2702596.5767 | 1112707.1646
81 | 2702629.8204 | 1112630.2716
82 | 2702553.5415 | 1112688.7995

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1