## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5091-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5091-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5091-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5091-1_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5091-1_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5091-1_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5091-1_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5091-1_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5091-1_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5091-1_0_5_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5091-1_0_5_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_5091-1_0_5_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_5091-1_0_5_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5091-1_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_5091-1_0_5_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_5091-1_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5091-1_0_5_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_5091-1_0_5_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_5091-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5091-1_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5091-1_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5091-1_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5091-1_0_5_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_5091-1_0_5_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_5091-1_0_5_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_5091-1_0_5_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_5091-1_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_5091-1_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_5091-1_0_5_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5091-1_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_5091-1_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_5091-1_0_5_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_5091-1_0_5_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5091-1_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5091-1_0_5_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5091-1_0_5_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5091-1_0_5_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_5091-1_0_5_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_5091-1_0_5_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_5091-1_0_5_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_5091-1_0_5_node_13 | 0.4 | n |  | TRUE
41 | bus_LV_5091-1_0_5_node_14 | 0.4 | n |  | TRUE
42 | bus_LV_5091-1_0_5_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_5091-1_0_5_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_5091-1_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_5091-1_0_5_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_5091-1_0_5_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_5091-1_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_5091-1_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_5091-1_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_5091-1_0_5_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_5091-1_0_5_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_5091-1_0_5_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_5091-1_0_5_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_5091-1_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_5091-1_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_5091-1_0_5_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_5091-1_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5091-1_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5091-1_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5091-1_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5091-1_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5091-1_0_5_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5091-1_0_5_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_5091-1_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5091-1_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5091-1_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5091-1_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5091-1_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5091-1_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5091-1_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5091-1_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5091-1_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5091-1_0_5_node_75 | 0.4 | n |  | TRUE
74 | bus_MV_66_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5091-1_0_5_load_0 | 0 | 0.021022 | 0.0052686 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5091-1_0_5_load_1 | 1 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5091-1_0_5_load_2 | 2 | 0.0035611 | 0.00089249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5091-1_0_5_load_6 | 6 | 0.010338 | 0.002591 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5091-1_0_5_load_7 | 7 | 0.0027904 | 0.00069934 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5091-1_0_5_load_73 | 9 | 0.011176 | 0.0028011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5091-1_0_5_load_72 | 10 | 0.0073521 | 0.0018426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5091-1_0_5_load_70 | 11 | 0.0024717 | 0.00061947 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5091-1_0_5_load_71 | 12 | 0.0069319 | 0.0017373 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5091-1_0_5_load_76 | 14 | 0.0020097 | 0.00050368 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5091-1_0_5_load_28 | 15 | 0.0033176 | 0.00083148 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5091-1_0_5_load_74 | 16 | 0.0045961 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5091-1_0_5_load_9 | 18 | 0.0049575 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5091-1_0_5_load_10 | 19 | 0.032361 | 0.0081104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5091-1_0_5_load_11 | 20 | 0.0069733 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5091-1_0_5_load_56 | 22 | 0.033824 | 0.0084772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5091-1_0_5_load_48 | 23 | 0.017513 | 0.0043892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5091-1_0_5_load_62 | 24 | 0.014432 | 0.003617 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5091-1_0_5_load_40 | 26 | 0.0065489 | 0.0016413 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5091-1_0_5_load_39 | 28 | 0.0037354 | 0.00093617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5091-1_0_5_load_42 | 29 | 0.0022667 | 0.0005681 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5091-1_0_5_load_43 | 30 | 0.0016948 | 0.00042476 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5091-1_0_5_load_45 | 31 | 0.003903 | 0.00097819 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5091-1_0_5_load_41 | 32 | 0.0019336 | 0.00048462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5091-1_0_5_load_57 | 33 | 0.011707 | 0.0029341 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5091-1_0_5_load_44 | 34 | 0.0019167 | 0.00048036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5091-1_0_5_load_55 | 35 | 0.019547 | 0.0048989 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5091-1_0_5_load_58 | 36 | 0.0085684 | 0.0021474 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5091-1_0_5_load_59 | 37 | 0.020912 | 0.005241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5091-1_0_5_load_60 | 38 | 0.0023196 | 0.00058134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5091-1_0_5_load_61 | 39 | 0.0011278 | 0.00028264 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5091-1_0_5_load_13 | 40 | 0.001511 | 0.00037868 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5091-1_0_5_load_16 | 42 | 0.0012859 | 0.00032228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5091-1_0_5_load_17 | 43 | 0.0016076 | 0.00040291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5091-1_0_5_load_19 | 44 | 0.001185 | 0.00029699 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5091-1_0_5_load_18 | 45 | 0.0012946 | 0.00032447 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5091-1_0_5_load_20 | 46 | 0.00090507 | 0.00022683 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5091-1_0_5_load_21 | 47 | 0.0027531 | 0.00068999 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5091-1_0_5_load_22 | 48 | 0.0055737 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5091-1_0_5_load_23 | 49 | 0.0035987 | 0.00090192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5091-1_0_5_load_54 | 50 | 0.024015 | 0.0060186 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5091-1_0_5_load_53 | 51 | 0.011176 | 0.0028009 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5091-1_0_5_load_24 | 52 | 0.00038397 | 9.6231e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5091-1_0_5_load_25 | 53 | 0.0021044 | 0.00052741 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5091-1_0_5_load_29 | 54 | 0.00051705 | 0.00012958 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5091-1_0_5_load_30 | 55 | 0.0029988 | 0.00075156 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5091-1_0_5_load_32 | 56 | 0.0011769 | 0.00029495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5091-1_0_5_load_37 | 57 | 0.0018077 | 0.00045305 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5091-1_0_5_load_38 | 58 | 0.0030524 | 0.00076501 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5091-1_0_5_load_31 | 59 | 0.0029104 | 0.00072941 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5091-1_0_5_load_33 | 60 | 0.0022121 | 0.0005544 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5091-1_0_5_load_34 | 61 | 0.00099878 | 0.00025032 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5091-1_0_5_load_35 | 62 | 0.0023424 | 0.00058706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5091-1_0_5_load_36 | 63 | 0.0049867 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5091-1_0_5_load_50 | 64 | 0.0023245 | 0.00058257 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5091-1_0_5_load_49 | 65 | 0.0029718 | 0.00074482 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5091-1_0_5_load_51 | 66 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5091-1_0_5_load_52 | 67 | 0.0019334 | 0.00048455 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5091-1_0_5_load_66 | 68 | 0.036195 | 0.0090713 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5091-1_0_5_load_64 | 70 | 0.0075346 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5091-1_0_5_load_65 | 71 | 0.041428 | 0.010383 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5091-1_0_5_load_67 | 72 | 0.024958 | 0.006255 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5091-1_0_5_load_75 | 73 | 0.0018842 | 0.00047222 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5091-1_0_5_line_0 |  | 0 | 1 | 0.0085291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5091-1_0_5_line_1 |  | 0 | 2 | 0.0059199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5091-1_0_5_line_2 |  | 2 | 3 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5091-1_0_5_line_3 |  | 3 | 7 | 0.0060896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5091-1_0_5_line_4 |  | 3 | 8 | 0.041743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5091-1_0_5_line_5 |  | 4 | 5 | 0.042472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5091-1_0_5_line_6 |  | 4 | 6 | 0.039995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5091-1_0_5_line_7 |  | 5 | 9 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5091-1_0_5_line_8 |  | 6 | 10 | 0.059277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5091-1_0_5_line_9 |  | 7 | 13 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5091-1_0_5_line_10 |  | 8 | 14 | 0.013532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5091-1_0_5_line_11 |  | 9 | 16 | 0.018663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5091-1_0_5_line_12 |  | 10 | 12 | 0.0047989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5091-1_0_5_line_13 |  | 11 | 12 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5091-1_0_5_line_14 |  | 13 | 15 | 0.0082778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5091-1_0_5_line_15 |  | 14 | 17 | 0.041777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5091-1_0_5_line_16 |  | 15 | 43 | 0.052823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5091-1_0_5_line_17 |  | 16 | 73 | 0.032505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5091-1_0_5_line_18 |  | 17 | 73 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5091-1_0_5_line_19 |  | 17 | 25 | 0.056806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5091-1_0_5_line_20 |  | 18 | 19 | 0.063095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5091-1_0_5_line_21 |  | 18 | 20 | 0.0098162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5091-1_0_5_line_22 |  | 19 | 21 | 0.031953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5091-1_0_5_line_23 |  | 21 | 22 | 0.054051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5091-1_0_5_line_24 |  | 21 | 23 | 0.024704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5091-1_0_5_line_25 |  | 21 | 24 | 0.029965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5091-1_0_5_line_26 |  | 22 | 25 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5091-1_0_5_line_27 |  | 25 | 68 | 0.0079378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5091-1_0_5_line_28 |  | 26 | 27 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5091-1_0_5_line_29 |  | 26 | 28 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5091-1_0_5_line_30 |  | 27 | 35 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5091-1_0_5_line_31 |  | 28 | 34 | 0.038833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5091-1_0_5_line_32 |  | 29 | 30 | 0.035212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5091-1_0_5_line_33 |  | 29 | 31 | 0.029185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5091-1_0_5_line_34 |  | 29 | 32 | 0.07546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5091-1_0_5_line_35 |  | 30 | 33 | 0.028796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5091-1_0_5_line_36 |  | 31 | 34 | 0.064206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5091-1_0_5_line_37 |  | 32 | 63 | 0.038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5091-1_0_5_line_38 |  | 33 | 36 | 0.050637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5091-1_0_5_line_39 |  | 36 | 37 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5091-1_0_5_line_40 |  | 37 | 38 | 0.029796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5091-1_0_5_line_41 |  | 38 | 39 | 0.026031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5091-1_0_5_line_42 |  | 39 | 69 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5091-1_0_5_line_43 |  | 40 | 41 | 0.032761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5091-1_0_5_line_44 |  | 41 | 42 | 0.022623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5091-1_0_5_line_45 |  | 41 | 43 | 0.015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5091-1_0_5_line_46 |  | 42 | 44 | 0.001825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5091-1_0_5_line_47 |  | 44 | 45 | 0.022063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5091-1_0_5_line_48 |  | 45 | 46 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5091-1_0_5_line_49 |  | 46 | 47 | 0.031659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5091-1_0_5_line_50 |  | 47 | 48 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5091-1_0_5_line_51 |  | 48 | 49 | 0.0097797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5091-1_0_5_line_52 |  | 49 | 50 | 0.037142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5091-1_0_5_line_53 |  | 50 | 51 | 0.0081785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5091-1_0_5_line_54 |  | 51 | 67 | 0.065586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5091-1_0_5_line_55 |  | 52 | 53 | 0.051124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5091-1_0_5_line_56 |  | 52 | 54 | 0.088245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5091-1_0_5_line_57 |  | 54 | 55 | 0.063692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5091-1_0_5_line_58 |  | 54 | 56 | 0.059522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5091-1_0_5_line_59 |  | 55 | 59 | 0.038649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5091-1_0_5_line_60 |  | 56 | 60 | 0.042855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5091-1_0_5_line_61 |  | 57 | 58 | 0.036742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5091-1_0_5_line_62 |  | 58 | 64 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5091-1_0_5_line_63 |  | 60 | 61 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5091-1_0_5_line_64 |  | 61 | 62 | 0.028668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5091-1_0_5_line_65 |  | 62 | 63 | 0.038114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5091-1_0_5_line_66 |  | 64 | 65 | 0.0037596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5091-1_0_5_line_67 |  | 65 | 66 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5091-1_0_5_line_68 |  | 66 | 67 | 0.0018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5091-1_0_5_line_69 |  | 68 | 72 | 0.051619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5091-1_0_5_line_70 |  | 69 | 70 | 0.086808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5091-1_0_5_line_71 |  | 70 | 71 | 0.085237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5091-1_0_5_line_72 |  | 71 | 72 | 0.047191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5091-1_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 74 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2701204.9645 | 1111927.3685 | 2701198.2338 | 1111932.6072
1 | 2701204.9645 | 1111927.3685 | 2701209.6362 | 1111923.7325
2 | 2701227.2927 | 1111917.9607 | 2701214.9875 | 1111919.5674 | 2701209.6362 | 1111923.7325
3 | 2701227.2927 | 1111917.9607 | 2701233.3724 | 1111918.3068
4 | 2701249.5593 | 1111938.9457 | 2701245.7556 | 1111935.8246 | 2701245.8006 | 1111933.1348 | 2701244.1818 | 1111931.0509 | 2701238.1047 | 1111922.4774 | 2701227.3417 | 1111927.0562 | 2701227.2689 | 1111925.3983 | 2701228.13 | 1111923.3448 | 2701227.9456 | 1111921.8963 | 2701227.2927 | 1111917.9607
5 | 2701144.4297 | 1111943.7499 | 2701165.0091 | 1111952.8767 | 2701175.4999 | 1111956.265 | 2701184.5454 | 1111956.4383
6 | 2701144.4297 | 1111943.7499 | 2701133.7296 | 1111939.0129 | 2701110.8904 | 1111928.7034 | 2701107.9559 | 1111927.3427
7 | 2701184.5454 | 1111956.4383 | 2701185.1808 | 1111959.5731 | 2701185.9093 | 1111963.143 | 2701190.3435 | 1111968.765 | 2701192.119 | 1111970.0053
8 | 2701107.9559 | 1111927.3427 | 2701089.9912 | 1111983.8323
9 | 2701259.4648 | 1111917.2418 | 2701256.7344 | 1111914.1721 | 2701240.285 | 1111918.7003 | 2701233.3724 | 1111918.3068
10 | 2701249.5593 | 1111938.9457 | 2701249.9192 | 1111947.4682 | 2701249.3204 | 1111952.4338
11 | 2701192.119 | 1111970.0053 | 2701207.4187 | 1111980.6932
12 | 2701094.1599 | 1111986.2094 | 2701089.9912 | 1111983.8323
13 | 2701094.1599 | 1111986.2094 | 2701096.0202 | 1111987.2702 | 2701110.1029 | 1111994.449
14 | 2701259.4648 | 1111917.2418 | 2701265.0553 | 1111915.1672 | 2701267.3335 | 1111914.7572
15 | 2701251.5639 | 1111991.9348 | 2701256.1967 | 1111981.0386 | 2701255.1359 | 1111970.0695 | 2701248.9504 | 1111955.5015 | 2701249.3204 | 1111952.4338
16 | 2701267.3335 | 1111914.7572 | 2701282.3542 | 1111912.0541 | 2701296.6835 | 1111910.4702 | 2701313.5512 | 1111910.9634 | 2701319.7374 | 1111911.9809
17 | 2701207.4187 | 1111980.6932 | 2701211.1492 | 1111983.2991 | 2701232.803 | 1111988.6862 | 2701238.3608 | 1111989.6486
18 | 2701251.5639 | 1111991.9348 | 2701238.3608 | 1111989.6486
19 | 2701251.5639 | 1111991.9348 | 2701263.1795 | 1111994.5971 | 2701283.1188 | 1112007.7828 | 2701299.2258 | 1112021.416
20 | 2701345.8635 | 1111998.845 | 2701323.7543 | 1111999.045 | 2701320.1571 | 1112015.9289 | 2701333.3789 | 1112035.6248
21 | 2701355.6793 | 1111998.7561 | 2701345.8635 | 1111998.845
22 | 2701351.1882 | 1112062.1544 | 2701333.3789 | 1112035.6248
23 | 2701351.1882 | 1112062.1544 | 2701327.1998 | 1112048.5338 | 2701308.1977 | 1112030.1134
24 | 2701351.1882 | 1112062.1544 | 2701355.7537 | 1112086.4327
25 | 2701351.1882 | 1112062.1544 | 2701322.9535 | 1112072.1884
26 | 2701299.2258 | 1112021.416 | 2701308.1977 | 1112030.1134
27 | 2701299.2258 | 1112021.416 | 2701291.9481 | 1112024.5854
28 | 2701456.6243 | 1112113.7056 | 2701473.0419 | 1112121.1274
29 | 2701492.8751 | 1112130.2761 | 2701474.0938 | 1112121.6029 | 2701473.0419 | 1112121.1274
30 | 2701456.6243 | 1112113.7056 | 2701444.2803 | 1112108.1275
31 | 2701492.8751 | 1112130.2761 | 2701498.452 | 1112168.7063
32 | 2701446.7241 | 1112184.9198 | 2701445.9143 | 1112184.8269 | 2701429.673 | 1112187.5792 | 2701419.0457 | 1112190.5255 | 2701412.2496 | 1112191.6921
33 | 2701446.7241 | 1112184.9198 | 2701435.9433 | 1112157.7986
34 | 2701519.1104 | 1112204.484 | 2701491.5316 | 1112196.9089 | 2701477.1985 | 1112189.9869 | 2701463.8446 | 1112186.8837 | 2701446.7241 | 1112184.9198
35 | 2701412.2496 | 1112191.6921 | 2701407.8329 | 1112192.4503 | 2701390.0846 | 1112195.2219 | 2701389.2087 | 1112191.694 | 2701386.6347 | 1112190.8282
36 | 2701435.9433 | 1112157.7986 | 2701450.7774 | 1112156.9573 | 2701465.5969 | 1112162.9868 | 2701498.452 | 1112168.7063
37 | 2701555.0251 | 1112216.1199 | 2701546.9783 | 1112215.3822 | 2701533.7015 | 1112211.8243 | 2701519.5512 | 1112204.605 | 2701519.1104 | 1112204.484
38 | 2701386.6347 | 1112190.8282 | 2701386.6347 | 1112190.8282 | 2701373.6478 | 1112194.8803 | 2701360.9044 | 1112186.6843 | 2701342.1884 | 1112175.3483
39 | 2701342.1884 | 1112175.3483 | 2701326.5285 | 1112165.8633 | 2701319.522 | 1112161.9277
40 | 2701319.522 | 1112161.9277 | 2701310.2083 | 1112156.696 | 2701292.4626 | 1112149.5951
41 | 2701292.4626 | 1112149.5951 | 2701292.4626 | 1112149.5951 | 2701272.2101 | 1112149.1676 | 2701266.5939 | 1112150.5061
42 | 2701246.6765 | 1112158.2136 | 2701256.7336 | 1112152.856 | 2701266.5939 | 1112150.5061
43 | 2701334.9968 | 1111914.4906 | 2701319.0532 | 1111915.5694 | 2701302.291 | 1111916.3703
44 | 2701334.9968 | 1111914.4906 | 2701354.3631 | 1111920.3624 | 2701356.6232 | 1111921.1275
45 | 2701334.9968 | 1111914.4906 | 2701319.7374 | 1111911.9809
46 | 2701356.6232 | 1111921.1275 | 2701358.3519 | 1111921.7127
47 | 2701379.2502 | 1111928.787 | 2701358.3519 | 1111921.7127
48 | 2701379.2502 | 1111928.787 | 2701408.1654 | 1111938.5752
49 | 2701408.1654 | 1111938.5752 | 2701419.32 | 1111942.3512 | 2701438.1498 | 1111948.7354
50 | 2701465.6341 | 1111958.4667 | 2701453.7803 | 1111954.035 | 2701438.1498 | 1111948.7354
51 | 2701465.6341 | 1111958.4667 | 2701474.7946 | 1111961.8915
52 | 2701508.4398 | 1111977.5349 | 2701502.4937 | 1111975.1301 | 2701480.1806 | 1111963.9052 | 2701474.7946 | 1111961.8915
53 | 2701508.4398 | 1111977.5349 | 2701516.0218 | 1111980.6014
54 | 2701574.5684 | 1112007.8731 | 2701572.5869 | 1112005.4785 | 2701561.3718 | 1111996.4516 | 2701550.5204 | 1111992.0004 | 2701522.7405 | 1111983.3187 | 2701516.0218 | 1111980.6014
55 | 2701759.3192 | 1112134.1773 | 2701737.892 | 1112121.3783 | 2701721.2127 | 1112110.6139 | 2701715.7319 | 1112107.4784
56 | 2701703.7825 | 1112202.7549 | 2701759.3192 | 1112134.1773
57 | 2701703.7825 | 1112202.7549 | 2701672.2782 | 1112181.5603 | 2701649.0671 | 1112170.4756
58 | 2701669.1141 | 1112251.1389 | 2701703.7825 | 1112202.7549
59 | 2701649.0671 | 1112170.4756 | 2701631.1151 | 1112161.9023 | 2701612.467 | 1112159.9011
60 | 2701669.1141 | 1112251.1389 | 2701660.1049 | 1112248.5653 | 2701648.5673 | 1112241.7564 | 2701629.2892 | 1112236.1094
61 | 2701629.1572 | 1112065.1028 | 2701623.1945 | 1112061.9509 | 2701602.8548 | 1112039.9025
62 | 2701593.0397 | 1112029.2627 | 2701602.8548 | 1112039.9025
63 | 2701629.2892 | 1112236.1094 | 2701626.0618 | 1112235.1639 | 2701619.5048 | 1112233.2996
64 | 2701619.5048 | 1112233.2996 | 2701591.9297 | 1112225.4593
65 | 2701591.9297 | 1112225.4593 | 2701586.4196 | 1112223.8926 | 2701558.404 | 1112216.4297 | 2701555.0251 | 1112216.1199
66 | 2701590.4905 | 1112026.4994 | 2701593.0397 | 1112029.2627
67 | 2701590.4905 | 1112026.4994 | 2701585.5453 | 1112021.1387 | 2701575.7485 | 1112009.2993
68 | 2701574.5684 | 1112007.8731 | 2701575.7485 | 1112009.2993
69 | 2701291.9481 | 1112024.5854 | 2701276.3833 | 1112025.6705 | 2701258.754 | 1112019.9058 | 2701242.2052 | 1112014.3114
70 | 2701167.3354 | 1112122.7227 | 2701243.4638 | 1112155.8029 | 2701246.6765 | 1112158.2136
71 | 2701220.9002 | 1112056.4191 | 2701167.3354 | 1112122.7227
72 | 2701242.2052 | 1112014.3114 | 2701220.9002 | 1112056.4191

## bus_geodata
| x | y | coords
0 | 2701204.9645 | 1111927.3685
1 | 2701198.2338 | 1111932.6072
2 | 2701209.6362 | 1111923.7325
3 | 2701227.2927 | 1111917.9607
4 | 2701144.4297 | 1111943.7499
5 | 2701184.5454 | 1111956.4383
6 | 2701107.9559 | 1111927.3427
7 | 2701233.3724 | 1111918.3068
8 | 2701249.5593 | 1111938.9457
9 | 2701192.119 | 1111970.0053
10 | 2701089.9912 | 1111983.8323
11 | 2701110.1029 | 1111994.449
12 | 2701094.1599 | 1111986.2094
13 | 2701259.4648 | 1111917.2418
14 | 2701249.3204 | 1111952.4338
15 | 2701267.3335 | 1111914.7572
16 | 2701207.4187 | 1111980.6932
17 | 2701251.5639 | 1111991.9348
18 | 2701345.8635 | 1111998.845
19 | 2701333.3789 | 1112035.6248
20 | 2701355.6793 | 1111998.7561
21 | 2701351.1882 | 1112062.1544
22 | 2701308.1977 | 1112030.1134
23 | 2701355.7537 | 1112086.4327
24 | 2701322.9535 | 1112072.1884
25 | 2701299.2258 | 1112021.416
26 | 2701473.0419 | 1112121.1274
27 | 2701456.6243 | 1112113.7056
28 | 2701492.8751 | 1112130.2761
29 | 2701446.7241 | 1112184.9198
30 | 2701412.2496 | 1112191.6921
31 | 2701435.9433 | 1112157.7986
32 | 2701519.1104 | 1112204.484
33 | 2701386.6347 | 1112190.8282
34 | 2701498.452 | 1112168.7063
35 | 2701444.2803 | 1112108.1275
36 | 2701342.1884 | 1112175.3483
37 | 2701319.522 | 1112161.9277
38 | 2701292.4626 | 1112149.5951
39 | 2701266.5939 | 1112150.5061
40 | 2701302.291 | 1111916.3703
41 | 2701334.9968 | 1111914.4906
42 | 2701356.6232 | 1111921.1275
43 | 2701319.7374 | 1111911.9809
44 | 2701358.3519 | 1111921.7127
45 | 2701379.2502 | 1111928.787
46 | 2701408.1654 | 1111938.5752
47 | 2701438.1498 | 1111948.7354
48 | 2701465.6341 | 1111958.4667
49 | 2701474.7946 | 1111961.8915
50 | 2701508.4398 | 1111977.5349
51 | 2701516.0218 | 1111980.6014
52 | 2701759.3192 | 1112134.1773
53 | 2701715.7319 | 1112107.4784
54 | 2701703.7825 | 1112202.7549
55 | 2701649.0671 | 1112170.4756
56 | 2701669.1141 | 1112251.1389
57 | 2701629.1572 | 1112065.1028
58 | 2701602.8548 | 1112039.9025
59 | 2701612.467 | 1112159.9011
60 | 2701629.2892 | 1112236.1094
61 | 2701619.5048 | 1112233.2996
62 | 2701591.9297 | 1112225.4593
63 | 2701555.0251 | 1112216.1199
64 | 2701593.0397 | 1112029.2627
65 | 2701590.4905 | 1112026.4994
66 | 2701575.7485 | 1112009.2993
67 | 2701574.5684 | 1112007.8731
68 | 2701291.9481 | 1112024.5854
69 | 2701246.6765 | 1112158.2136
70 | 2701167.3354 | 1112122.7227
71 | 2701220.9002 | 1112056.4191
72 | 2701242.2052 | 1112014.3114
73 | 2701238.3608 | 1111989.6486
74 | 2701351.1882 | 1112062.1544

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1