## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5091-27_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5091-27_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5091-27_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5091-27_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5091-27_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5091-27_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5091-27_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5091-27_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5091-27_0_6_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5091-27_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5091-27_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5091-27_0_6_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_5091-27_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5091-27_0_6_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5091-27_0_6_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5091-27_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_5091-27_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5091-27_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5091-27_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5091-27_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5091-27_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5091-27_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5091-27_0_6_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5091-27_0_6_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_5091-27_0_6_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_5091-27_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5091-27_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5091-27_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5091-27_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5091-27_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5091-27_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5091-27_0_6_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5091-27_0_6_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5091-27_0_6_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5091-27_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5091-27_0_6_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_5091-27_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5091-27_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5091-27_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5091-27_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5091-27_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_5091-27_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5091-27_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5091-27_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5091-27_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5091-27_0_6_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5091-27_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5091-27_0_6_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_5091-27_0_6_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_5091-27_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5091-27_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5091-27_0_6_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5091-27_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5091-27_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5091-27_0_6_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5091-27_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5091-27_0_6_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_5091-27_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5091-27_0_6_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_5091-27_0_6_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_5091-27_0_6_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_5091-27_0_6_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_5091-27_0_6_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_5091-27_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5091-27_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5091-27_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5091-27_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5091-27_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5091-27_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5091-27_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5091-27_0_6_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_5091-27_0_6_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_5091-27_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5091-27_0_6_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_5091-27_0_6_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_5091-27_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5091-27_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5091-27_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5091-27_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5091-27_0_6_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5091-27_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5091-27_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5091-27_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5091-27_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5091-27_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5091-27_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5091-27_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_5091-27_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5091-27_0_6_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_5091-27_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5091-27_0_6_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_5091-27_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_5091-27_0_6_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_5091-27_0_6_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_5091-27_0_6_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_5091-27_0_6_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_5091-27_0_6_node_97 | 0.4 | n |  | TRUE
97 | bus_MV_66_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5091-27_0_6_load_0 | 0 | 0.0080049 | 0.0020062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5091-27_0_6_load_1 | 1 | 0.0025424 | 0.00063718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5091-27_0_6_load_2 | 2 | 0.0076111 | 0.0019075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5091-27_0_6_load_3 | 3 | 0.0025407 | 0.00063677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5091-27_0_6_load_5 | 5 | 0.0073675 | 0.0018465 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5091-27_0_6_load_7 | 7 | 0.048289 | 0.012102 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5091-27_0_6_load_26 | 8 | 0.0025424 | 0.00063718 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5091-27_0_6_load_13 | 9 | 0.0012037 | 0.00030169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5091-27_0_6_load_22 | 10 | 0.0016967 | 0.00042523 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5091-27_0_6_load_27 | 11 | 0.0025407 | 0.00063677 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5091-27_0_6_load_20 | 13 | 0.0074386 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5091-27_0_6_load_36 | 15 | 0.011115 | 0.0027856 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5091-27_0_6_load_8 | 16 | 0.0028275 | 0.00070865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5091-27_0_6_load_9 | 17 | 0.0016158 | 0.00040495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5091-27_0_6_load_10 | 18 | 0.00085631 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5091-27_0_6_load_12 | 19 | 0.0029356 | 0.00073574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5091-27_0_6_load_14 | 20 | 0.0017448 | 0.00043729 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5091-27_0_6_load_15 | 21 | 0.0030701 | 0.00076945 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5091-27_0_6_load_29 | 22 | 0.0006703 | 0.00016799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5091-27_0_6_load_87 | 23 | 0.0073425 | 0.0018402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5091-27_0_6_load_85 | 24 | 0.0016221 | 0.00040653 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5091-27_0_6_load_16 | 25 | 0.027548 | 0.0069042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5091-27_0_6_load_23 | 26 | 0.0082196 | 0.00206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5091-27_0_6_load_24 | 27 | 0.0041044 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5091-27_0_6_load_21 | 28 | 0.0083111 | 0.002083 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5091-27_0_6_load_19 | 30 | 0.011771 | 0.0029501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5091-27_0_6_load_30 | 32 | 0.019895 | 0.0049861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5091-27_0_6_load_31 | 33 | 0.0046617 | 0.0011683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5091-27_0_6_load_33 | 34 | 0.00052722 | 0.00013213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5091-27_0_6_load_25 | 36 | 0.0041072 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5091-27_0_6_load_35 | 37 | 0.0041044 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5091-27_0_6_load_28 | 38 | 0.002539 | 0.00063633 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5091-27_0_6_load_38 | 39 | 0.0043116 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5091-27_0_6_load_39 | 40 | 0.003902 | 0.00097794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5091-27_0_6_load_40 | 41 | 0.011339 | 0.0028418 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5091-27_0_6_load_41 | 42 | 0.0069532 | 0.0017426 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5091-27_0_6_load_42 | 43 | 0.0069576 | 0.0017437 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5091-27_0_6_load_43 | 44 | 0.0044165 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5091-27_0_6_load_44 | 45 | 0.003728 | 0.00093434 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5091-27_0_6_load_45 | 46 | 0.015807 | 0.0039616 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5091-27_0_6_load_56 | 47 | 0.002326 | 0.00058294 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5091-27_0_6_load_55 | 48 | 0.0034842 | 0.00087321 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5091-27_0_6_load_46 | 50 | 0.003892 | 0.00097543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5091-27_0_6_load_49 | 53 | 0.0037644 | 0.00094345 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5091-27_0_6_load_50 | 54 | 0.006083 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5091-27_0_6_load_51 | 55 | 0.011287 | 0.0028287 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5091-27_0_6_load_53 | 56 | 0.0065593 | 0.0016439 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5091-27_0_6_load_92 | 58 | 0.041236 | 0.010335 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5091-27_0_6_load_91 | 59 | 0.007644 | 0.0019158 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5091-27_0_6_load_93 | 60 | 0.012808 | 0.00321 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5091-27_0_6_load_89 | 61 | 0.0058038 | 0.0014546 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5091-27_0_6_load_94 | 62 | 0.0051972 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5091-27_0_6_load_57 | 63 | 0.009897 | 0.0024804 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5091-27_0_6_load_58 | 64 | 0.01644 | 0.0041201 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5091-27_0_6_load_59 | 65 | 0.016348 | 0.0040971 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5091-27_0_6_load_60 | 66 | 0.0023325 | 0.00058457 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5091-27_0_6_load_61 | 67 | 0.0013828 | 0.00034656 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5091-27_0_6_load_62 | 68 | 0.0032172 | 0.00080632 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5091-27_0_6_load_63 | 69 | 0.0067028 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5091-27_0_6_load_78 | 70 | 0.003415 | 0.00085588 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5091-27_0_6_load_79 | 71 | 0.0034484 | 0.00086424 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5091-27_0_6_load_71 | 72 | 0.0084832 | 0.0021261 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5091-27_0_6_load_80 | 73 | 0.00098729 | 0.00024744 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5091-27_0_6_load_81 | 74 | 0.0012536 | 0.00031417 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5091-27_0_6_load_72 | 75 | 0.0042825 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5091-27_0_6_load_64 | 76 | 0.0058308 | 0.0014613 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5091-27_0_6_load_65 | 77 | 0.0077782 | 0.0019494 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5091-27_0_6_load_66 | 78 | 0.026803 | 0.0067176 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5091-27_0_6_load_67 | 79 | 0.014369 | 0.0036012 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5091-27_0_6_load_68 | 80 | 0.0054282 | 0.0013604 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5091-27_0_6_load_69 | 81 | 0.0031672 | 0.00079379 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5091-27_0_6_load_70 | 82 | 0.0060185 | 0.0015084 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5091-27_0_6_load_75 | 83 | 0.0072276 | 0.0018114 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5091-27_0_6_load_76 | 84 | 0.0038134 | 0.00095574 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5091-27_0_6_load_73 | 85 | 0.0042848 | 0.0010739 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5091-27_0_6_load_74 | 86 | 0.0036443 | 0.00091334 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5091-27_0_6_load_77 | 87 | 0.0022008 | 0.00055158 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5091-27_0_6_load_90 | 88 | 0.0021758 | 0.0005453 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5091-27_0_6_load_88 | 89 | 0.0022758 | 0.00057037 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5091-27_0_6_load_82 | 90 | 0.0039446 | 0.0009886 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5091-27_0_6_load_83 | 91 | 0.005813 | 0.0014569 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5091-27_0_6_load_86 | 93 | 0.0078476 | 0.0019668 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5091-27_0_6_load_95 | 94 | 0.0054005 | 0.0013535 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5091-27_0_6_load_96 | 95 | 0.0028753 | 0.00072061 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5091-27_0_6_load_97 | 96 | 0.010835 | 0.0027155 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5091-27_0_6_line_0 |  | 0 | 1 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5091-27_0_6_line_1 |  | 0 | 2 | 0.0038313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5091-27_0_6_line_2 |  | 1 | 3 | 0.0076737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5091-27_0_6_line_3 |  | 2 | 4 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5091-27_0_6_line_4 |  | 3 | 5 | 0.0035514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5091-27_0_6_line_5 |  | 4 | 6 | 0.030336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5091-27_0_6_line_6 |  | 4 | 7 | 0.022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5091-27_0_6_line_7 |  | 5 | 8 | 0.0072684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5091-27_0_6_line_8 |  | 6 | 9 | 0.0058521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5091-27_0_6_line_9 |  | 7 | 10 | 0.043203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5091-27_0_6_line_10 |  | 8 | 11 | 0.0076737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5091-27_0_6_line_11 |  | 9 | 12 | 0.033157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5091-27_0_6_line_12 |  | 10 | 15 | 0.0020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5091-27_0_6_line_13 |  | 11 | 38 | 0.011287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5091-27_0_6_line_14 |  | 12 | 20 | 0.036906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5091-27_0_6_line_15 |  | 12 | 17 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5091-27_0_6_line_16 |  | 13 | 14 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5091-27_0_6_line_17 |  | 14 | 31 | 0.02696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5091-27_0_6_line_18 |  | 14 | 29 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5091-27_0_6_line_19 |  | 15 | 35 | 0.047975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5091-27_0_6_line_20 |  | 16 | 17 | 0.0051951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5091-27_0_6_line_21 |  | 16 | 18 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5091-27_0_6_line_22 |  | 18 | 19 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5091-27_0_6_line_23 |  | 19 | 21 | 0.0038695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5091-27_0_6_line_24 |  | 20 | 22 | 0.018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5091-27_0_6_line_25 |  | 21 | 23 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5091-27_0_6_line_26 |  | 23 | 24 | 0.0072639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5091-27_0_6_line_27 |  | 24 | 91 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5091-27_0_6_line_28 |  | 25 | 26 | 0.043805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5091-27_0_6_line_29 |  | 26 | 27 | 0.0061741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5091-27_0_6_line_30 |  | 26 | 28 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5091-27_0_6_line_31 |  | 27 | 36 | 0.0076754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5091-27_0_6_line_32 |  | 28 | 30 | 0.0044476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5091-27_0_6_line_33 |  | 29 | 30 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5091-27_0_6_line_34 |  | 31 | 32 | 0.017402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5091-27_0_6_line_35 |  | 32 | 33 | 0.048705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5091-27_0_6_line_36 |  | 33 | 34 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5091-27_0_6_line_37 |  | 35 | 39 | 0.03341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5091-27_0_6_line_38 |  | 36 | 37 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5091-27_0_6_line_39 |  | 37 | 38 | 0.0076745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5091-27_0_6_line_40 |  | 40 | 41 | 0.0064794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5091-27_0_6_line_41 |  | 40 | 42 | 0.00023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5091-27_0_6_line_42 |  | 41 | 43 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5091-27_0_6_line_43 |  | 42 | 44 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5091-27_0_6_line_44 |  | 43 | 45 | 0.004737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5091-27_0_6_line_45 |  | 44 | 46 | 0.011627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5091-27_0_6_line_46 |  | 45 | 47 | 0.019461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5091-27_0_6_line_47 |  | 46 | 48 | 0.01304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5091-27_0_6_line_48 |  | 48 | 49 | 0.030083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5091-27_0_6_line_49 |  | 49 | 53 | 0.00031868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5091-27_0_6_line_50 |  | 50 | 51 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5091-27_0_6_line_51 |  | 50 | 52 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5091-27_0_6_line_52 |  | 51 | 53 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5091-27_0_6_line_53 |  | 52 | 54 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5091-27_0_6_line_54 |  | 52 | 55 | 0.032673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5091-27_0_6_line_55 |  | 54 | 56 | 0.0032541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5091-27_0_6_line_56 |  | 55 | 57 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5091-27_0_6_line_57 |  | 56 | 58 | 0.0066131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5091-27_0_6_line_58 |  | 57 | 59 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5091-27_0_6_line_59 |  | 57 | 60 | 0.041621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5091-27_0_6_line_60 |  | 59 | 61 | 0.0055026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5091-27_0_6_line_61 |  | 60 | 62 | 0.021605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5091-27_0_6_line_62 |  | 61 | 81 | 0.019284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5091-27_0_6_line_63 |  | 62 | 94 | 0.0016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5091-27_0_6_line_64 |  | 63 | 64 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5091-27_0_6_line_65 |  | 63 | 65 | 0.014812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5091-27_0_6_line_66 |  | 64 | 66 | 0.0025235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5091-27_0_6_line_67 |  | 65 | 67 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5091-27_0_6_line_68 |  | 66 | 68 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5091-27_0_6_line_69 |  | 67 | 69 | 0.009917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5091-27_0_6_line_70 |  | 68 | 70 | 0.034073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5091-27_0_6_line_71 |  | 68 | 71 | 0.0035705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5091-27_0_6_line_72 |  | 69 | 72 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5091-27_0_6_line_73 |  | 70 | 73 | 0.013118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5091-27_0_6_line_74 |  | 71 | 74 | 0.00072841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5091-27_0_6_line_75 |  | 72 | 75 | 0.005076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5091-27_0_6_line_76 |  | 73 | 88 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5091-27_0_6_line_77 |  | 74 | 87 | 0.019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5091-27_0_6_line_78 |  | 75 | 85 | 0.001624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5091-27_0_6_line_79 |  | 76 | 77 | 0.001362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5091-27_0_6_line_80 |  | 76 | 78 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5091-27_0_6_line_81 |  | 77 | 79 | 0.023822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5091-27_0_6_line_82 |  | 78 | 80 | 0.0065094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5091-27_0_6_line_83 |  | 79 | 81 | 0.0033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5091-27_0_6_line_84 |  | 80 | 82 | 0.0027021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5091-27_0_6_line_85 |  | 82 | 83 | 0.026443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5091-27_0_6_line_86 |  | 83 | 84 | 0.0023904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5091-27_0_6_line_87 |  | 84 | 87 | 0.0026112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5091-27_0_6_line_88 |  | 85 | 86 | 0.007222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5091-27_0_6_line_89 |  | 88 | 89 | 0.015284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5091-27_0_6_line_90 |  | 89 | 93 | 0.024389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5091-27_0_6_line_91 |  | 90 | 91 | 0.0024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5091-27_0_6_line_92 |  | 90 | 92 | 0.035813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5091-27_0_6_line_93 |  | 92 | 93 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5091-27_0_6_line_94 |  | 94 | 95 | 0.0018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5091-27_0_6_line_95 |  | 95 | 96 | 0.023377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5091-27_0_6_trafo_81 | 0.63 MVA 20/0.4 kV | 97 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2703448.437 | 1112467.3547 | 2703438.0027 | 1112467.4808
1 | 2703448.437 | 1112467.3547 | 2703452.268 | 1112467.3084
2 | 2703438.0027 | 1112467.4808 | 2703430.3295 | 1112467.5735
3 | 2703466.5585 | 1112467.1357 | 2703452.268 | 1112467.3084
4 | 2703430.3295 | 1112467.5735 | 2703426.7784 | 1112467.6164
5 | 2703466.5585 | 1112467.1357 | 2703466.3729 | 1112497.463
6 | 2703466.5585 | 1112467.1357 | 2703466.7332 | 1112444.8655
7 | 2703419.5105 | 1112467.7042 | 2703426.7784 | 1112467.6164
8 | 2703466.3729 | 1112497.463 | 2703466.3217 | 1112503.3148
9 | 2703467.0721 | 1112401.6634 | 2703466.7332 | 1112444.8655
10 | 2703419.5105 | 1112467.7042 | 2703411.8374 | 1112467.7969
11 | 2703466.0314 | 1112536.4709 | 2703466.3217 | 1112503.3148
12 | 2703467.0885 | 1112399.5732 | 2703467.0721 | 1112401.6634
13 | 2703400.5513 | 1112467.9333 | 2703411.8374 | 1112467.7969
14 | 2703466.0314 | 1112536.4709 | 2703465.9269 | 1112573.3764
15 | 2703466.0314 | 1112536.4709 | 2703481.3295 | 1112535.8151
16 | 2703388.1603 | 1112498.2405 | 2703403.0284 | 1112498.0927
17 | 2703388.1603 | 1112498.2405 | 2703388.0635 | 1112525.2005
18 | 2703368.2228 | 1112498.4341 | 2703388.1603 | 1112498.2405
19 | 2703467.4649 | 1112351.5999 | 2703467.0885 | 1112399.5732
20 | 2703486.5198 | 1112535.5926 | 2703481.3295 | 1112535.8151
21 | 2703486.5198 | 1112535.5926 | 2703497.5114 | 1112535.1213
22 | 2703497.5114 | 1112535.1213 | 2703516.3218 | 1112534.315
23 | 2703520.1877 | 1112534.1492 | 2703516.3218 | 1112534.315
24 | 2703465.9269 | 1112573.3764 | 2703465.8745 | 1112591.875
25 | 2703520.1877 | 1112534.1492 | 2703537.6509 | 1112533.4006
26 | 2703537.6509 | 1112533.4006 | 2703544.9081 | 1112533.0895
27 | 2703562.7834 | 1112532.3232 | 2703544.9081 | 1112533.0895
28 | 2703368.1492 | 1112468.3248 | 2703324.8757 | 1112461.5197
29 | 2703374.3228 | 1112468.2502 | 2703368.1492 | 1112468.3248
30 | 2703368.1492 | 1112468.3248 | 2703368.1492 | 1112468.3248 | 2703368.1802 | 1112480.9838
31 | 2703381.9977 | 1112468.1575 | 2703374.3228 | 1112468.2502
32 | 2703368.1802 | 1112480.9838 | 2703368.191 | 1112485.4314
33 | 2703368.2228 | 1112498.4341 | 2703368.191 | 1112485.4314
34 | 2703388.0635 | 1112525.2005 | 2703380.0805 | 1112528.4665 | 2703371.3047 | 1112528.614
35 | 2703345.4417 | 1112551.7339 | 2703345.2863 | 1112529.0515 | 2703371.3047 | 1112528.614
36 | 2703345.4417 | 1112551.7339 | 2703345.5587 | 1112568.8037 | 2703345.5587 | 1112568.8037
37 | 2703500.9744 | 1112351.6495 | 2703467.4649 | 1112351.5999
38 | 2703392.8774 | 1112468.026 | 2703381.9977 | 1112468.1575
39 | 2703400.5513 | 1112467.9333 | 2703392.8774 | 1112468.026
40 | 2703755.1424 | 1112348.6392 | 2703754.3715 | 1112355.0726
41 | 2703755.1701 | 1112348.4085 | 2703755.1424 | 1112348.6392
42 | 2703752.336 | 1112372.0588 | 2703754.3715 | 1112355.0726
43 | 2703755.1701 | 1112348.4085 | 2703755.3104 | 1112347.2376 | 2703755.875 | 1112326.7842
44 | 2703752.336 | 1112372.0588 | 2703751.7724 | 1112376.7621
45 | 2703755.6506 | 1112315.1739 | 2703756.0429 | 1112320.6999 | 2703755.875 | 1112326.7842
46 | 2703751.7724 | 1112376.7621 | 2703749.4569 | 1112396.0851
47 | 2703754.7273 | 1112302.1663 | 2703755.6506 | 1112315.1739
48 | 2703752.4154 | 1112272.1736 | 2703753.3349 | 1112282.5515 | 2703754.7273 | 1112302.1663
49 | 2703752.4154 | 1112272.1736 | 2703752.3875 | 1112271.8561
50 | 2703749.8005 | 1112248.447 | 2703719.3624 | 1112251.3689
51 | 2703686.7933 | 1112254.4954 | 2703719.3624 | 1112251.3689
52 | 2703749.8005 | 1112248.447 | 2703751.5553 | 1112262.3859 | 2703752.3875 | 1112271.8561
53 | 2703686.7933 | 1112254.4954 | 2703686.4854 | 1112278.2319
54 | 2703686.7933 | 1112254.4954 | 2703654.2428 | 1112257.3238
55 | 2703686.4854 | 1112278.2319 | 2703686.4432 | 1112281.4857
56 | 2703619.5479 | 1112260.3386 | 2703654.2428 | 1112257.3238
57 | 2703686.3575 | 1112288.0983 | 2703686.4432 | 1112281.4857
58 | 2703619.5479 | 1112260.3386 | 2703618.4969 | 1112275.9384
59 | 2703619.5479 | 1112260.3386 | 2703578.187 | 1112264.9873
60 | 2703618.4969 | 1112275.9384 | 2703618.127 | 1112281.4286
61 | 2703556.7172 | 1112267.4003 | 2703578.187 | 1112264.9873
62 | 2703616.8307 | 1112300.6691 | 2703618.127 | 1112281.4286
63 | 2703555.0341 | 1112267.5895 | 2703556.7172 | 1112267.4003
64 | 2703655.0203 | 1112406.1548 | 2703633.553 | 1112407.3336
65 | 2703655.0203 | 1112406.1548 | 2703669.8103 | 1112405.3427
66 | 2703631.0333 | 1112407.4719 | 2703633.553 | 1112407.3336
67 | 2703669.8103 | 1112405.3427 | 2703679.9919 | 1112404.7836
68 | 2703609.5558 | 1112408.6513 | 2703631.0333 | 1112407.4719
69 | 2703689.894 | 1112404.2399 | 2703679.9919 | 1112404.7836
70 | 2703609.5558 | 1112408.6513 | 2703607.1819 | 1112442.6419
71 | 2703609.5558 | 1112408.6513 | 2703609.7958 | 1112405.0888
72 | 2703702.1804 | 1112403.5653 | 2703689.894 | 1112404.2399
73 | 2703606.268 | 1112455.728 | 2703607.1819 | 1112442.6419
74 | 2703609.7958 | 1112405.0888 | 2703609.8447 | 1112404.362
75 | 2703702.1804 | 1112403.5653 | 2703707.2488 | 1112403.287
76 | 2703606.268 | 1112455.728 | 2703604.8757 | 1112475.6637
77 | 2703611.1225 | 1112385.3959 | 2703609.8447 | 1112404.362
78 | 2703707.2488 | 1112403.287 | 2703708.8704 | 1112403.1979
79 | 2703614.9124 | 1112329.1424 | 2703615.004 | 1112327.7835
80 | 2703614.9124 | 1112329.1424 | 2703613.8554 | 1112344.8315
81 | 2703615.004 | 1112327.7835 | 2703616.6053 | 1112304.0153
82 | 2703613.4179 | 1112351.3262 | 2703613.8554 | 1112344.8315
83 | 2703616.6053 | 1112304.0153 | 2703616.8307 | 1112300.6691
84 | 2703613.2362 | 1112354.0222 | 2703613.4179 | 1112351.3262
85 | 2703613.2362 | 1112354.0222 | 2703611.4587 | 1112380.4056
86 | 2703611.4587 | 1112380.4056 | 2703611.298 | 1112382.7906
87 | 2703611.298 | 1112382.7906 | 2703611.1225 | 1112385.3959
88 | 2703716.0816 | 1112402.802 | 2703708.8704 | 1112403.1979
89 | 2703603.8109 | 1112490.9108 | 2703604.8757 | 1112475.6637
90 | 2703602.1117 | 1112515.2405 | 2703603.8109 | 1112490.9108
91 | 2703565.2529 | 1112532.2173 | 2703562.7834 | 1112532.3232
92 | 2703601.0332 | 1112530.6834 | 2703565.2529 | 1112532.2173
93 | 2703601.0332 | 1112530.6834 | 2703602.1117 | 1112515.2405
94 | 2703555.0341 | 1112267.5895 | 2703553.21 | 1112267.7945
95 | 2703553.21 | 1112267.7945 | 2703529.9792 | 1112270.4055

## bus_geodata
| x | y | coords
0 | 2703448.437 | 1112467.3547
1 | 2703438.0027 | 1112467.4808
2 | 2703452.268 | 1112467.3084
3 | 2703430.3295 | 1112467.5735
4 | 2703466.5585 | 1112467.1357
5 | 2703426.7784 | 1112467.6164
6 | 2703466.3729 | 1112497.463
7 | 2703466.7332 | 1112444.8655
8 | 2703419.5105 | 1112467.7042
9 | 2703466.3217 | 1112503.3148
10 | 2703467.0721 | 1112401.6634
11 | 2703411.8374 | 1112467.7969
12 | 2703466.0314 | 1112536.4709
13 | 2703403.0284 | 1112498.0927
14 | 2703388.1603 | 1112498.2405
15 | 2703467.0885 | 1112399.5732
16 | 2703486.5198 | 1112535.5926
17 | 2703481.3295 | 1112535.8151
18 | 2703497.5114 | 1112535.1214
19 | 2703516.3218 | 1112534.3149
20 | 2703465.9269 | 1112573.3764
21 | 2703520.1877 | 1112534.1492
22 | 2703465.8745 | 1112591.875
23 | 2703537.6509 | 1112533.4006
24 | 2703544.9081 | 1112533.0895
25 | 2703324.8757 | 1112461.5197
26 | 2703368.1492 | 1112468.3248
27 | 2703374.3228 | 1112468.2502
28 | 2703368.1802 | 1112480.9838
29 | 2703368.2228 | 1112498.4341
30 | 2703368.191 | 1112485.4314
31 | 2703388.0635 | 1112525.2005
32 | 2703371.3047 | 1112528.614
33 | 2703345.4417 | 1112551.7339
34 | 2703345.5587 | 1112568.8037
35 | 2703467.4649 | 1112351.5999
36 | 2703381.9977 | 1112468.1575
37 | 2703392.8774 | 1112468.026
38 | 2703400.5514 | 1112467.9333
39 | 2703500.9744 | 1112351.6495
40 | 2703755.1424 | 1112348.6392
41 | 2703754.3715 | 1112355.0726
42 | 2703755.1701 | 1112348.4085
43 | 2703752.336 | 1112372.0588
44 | 2703755.875 | 1112326.7842
45 | 2703751.7724 | 1112376.7621
46 | 2703755.6506 | 1112315.1739
47 | 2703749.4569 | 1112396.0851
48 | 2703754.7273 | 1112302.1663
49 | 2703752.4154 | 1112272.1736
50 | 2703719.3624 | 1112251.3689
51 | 2703749.8005 | 1112248.447
52 | 2703686.7933 | 1112254.4954
53 | 2703752.3875 | 1112271.8561
54 | 2703686.4854 | 1112278.2319
55 | 2703654.2428 | 1112257.3238
56 | 2703686.4432 | 1112281.4857
57 | 2703619.5479 | 1112260.3386
58 | 2703686.3575 | 1112288.0983
59 | 2703618.4969 | 1112275.9384
60 | 2703578.187 | 1112264.9873
61 | 2703618.127 | 1112281.4286
62 | 2703556.7172 | 1112267.4003
63 | 2703655.0203 | 1112406.1548
64 | 2703633.553 | 1112407.3336
65 | 2703669.8103 | 1112405.3427
66 | 2703631.0333 | 1112407.4719
67 | 2703679.9919 | 1112404.7836
68 | 2703609.5558 | 1112408.6513
69 | 2703689.894 | 1112404.2399
70 | 2703607.1819 | 1112442.6419
71 | 2703609.7958 | 1112405.0888
72 | 2703702.1804 | 1112403.5653
73 | 2703606.268 | 1112455.728
74 | 2703609.8447 | 1112404.362
75 | 2703707.2488 | 1112403.287
76 | 2703614.9124 | 1112329.1424
77 | 2703615.004 | 1112327.7835
78 | 2703613.8554 | 1112344.8315
79 | 2703616.6053 | 1112304.0153
80 | 2703613.4179 | 1112351.3262
81 | 2703616.8307 | 1112300.6691
82 | 2703613.2362 | 1112354.0222
83 | 2703611.4587 | 1112380.4056
84 | 2703611.298 | 1112382.7906
85 | 2703708.8704 | 1112403.1979
86 | 2703716.0816 | 1112402.802
87 | 2703611.1225 | 1112385.3959
88 | 2703604.8757 | 1112475.6637
89 | 2703603.8109 | 1112490.9108
90 | 2703565.2529 | 1112532.2173
91 | 2703562.7834 | 1112532.3232
92 | 2703601.0332 | 1112530.6834
93 | 2703602.1117 | 1112515.2405
94 | 2703555.0341 | 1112267.5895
95 | 2703553.21 | 1112267.7945
96 | 2703529.9792 | 1112270.4055
97 | 2703609.5558 | 1112408.6513

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1