## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5113-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5113-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5113-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5113-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5113-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5113-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5113-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5113-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5113-7_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5113-7_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5113-7_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_5113-7_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5113-7_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_5113-7_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_5113-7_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5113-7_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5113-7_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5113-7_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5113-7_0_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_5113-7_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5113-7_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5113-7_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5113-7_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5113-7_0_4_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_5113-7_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5113-7_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5113-7_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5113-7_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5113-7_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5113-7_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5113-7_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5113-7_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5113-7_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5113-7_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5113-7_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5113-7_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_5113-7_0_4_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_5113-7_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5113-7_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5113-7_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5113-7_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5113-7_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5113-7_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5113-7_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5113-7_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5113-7_0_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_5113-7_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_5113-7_0_4_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_5113-7_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5113-7_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5113-7_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5113-7_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5113-7_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5113-7_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5113-7_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_5113-7_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5113-7_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_5113-7_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5113-7_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5113-7_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5113-7_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5113-7_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5113-7_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_5113-7_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5113-7_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5113-7_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5113-7_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5113-7_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5113-7_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5113-7_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5113-7_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5113-7_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5113-7_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5113-7_0_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_5113-7_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5113-7_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5113-7_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_5113-7_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5113-7_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_MV_77_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5113-7_0_4_load_0 | 0 | 0.005781 | 0.0014488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5113-7_0_4_load_1 | 1 | 0.0078117 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5113-7_0_4_load_4 | 4 | 0.0047555 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5113-7_0_4_load_5 | 5 | 0.010503 | 0.0026324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5113-7_0_4_load_6 | 6 | 0.0050932 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5113-7_0_4_load_7 | 7 | 0.0086221 | 0.0021609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5113-7_0_4_load_8 | 8 | 0.0034495 | 0.00086452 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5113-7_0_4_load_9 | 9 | 0.0040387 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5113-7_0_4_load_18 | 10 | 0.0069365 | 0.0017384 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5113-7_0_4_load_63 | 12 | 0.0051217 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5113-7_0_4_load_33 | 13 | 0.0049836 | 0.001249 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5113-7_0_4_load_15 | 14 | 0.0070255 | 0.0017608 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5113-7_0_4_load_16 | 15 | 0.0035705 | 0.00089486 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5113-7_0_4_load_11 | 16 | 0.013991 | 0.0035064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5113-7_0_4_load_12 | 17 | 0.016103 | 0.0040359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5113-7_0_4_load_47 | 18 | 0.0055415 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5113-7_0_4_load_13 | 19 | 0.0036774 | 0.00092164 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5113-7_0_4_load_14 | 20 | 0.0029213 | 0.00073215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5113-7_0_4_load_34 | 21 | 0.0043882 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5113-7_0_4_load_59 | 23 | 0.0019472 | 0.00048803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5113-7_0_4_load_22 | 24 | 0.0048315 | 0.0012109 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5113-7_0_4_load_17 | 25 | 0.0046343 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5113-7_0_4_load_30 | 26 | 0.0049081 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5113-7_0_4_load_28 | 27 | 0.0043223 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5113-7_0_4_load_19 | 29 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5113-7_0_4_load_20 | 30 | 0.0043087 | 0.0010799 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5113-7_0_4_load_21 | 31 | 0.0018364 | 0.00046026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5113-7_0_4_load_24 | 33 | 0.014134 | 0.0035424 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5113-7_0_4_load_71 | 35 | 0.0034081 | 0.00085414 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5113-7_0_4_load_72 | 36 | 0.0012685 | 0.00031791 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5113-7_0_4_load_27 | 37 | 0.019118 | 0.0047914 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5113-7_0_4_load_29 | 38 | 0.0027317 | 0.00068464 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5113-7_0_4_load_32 | 39 | 0.0091831 | 0.0023015 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5113-7_0_4_load_36 | 41 | 0.0017119 | 0.00042903 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5113-7_0_4_load_37 | 42 | 0.019108 | 0.0047889 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5113-7_0_4_load_38 | 43 | 0.0013335 | 0.0003342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5113-7_0_4_load_39 | 44 | 0.011274 | 0.0028255 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5113-7_0_4_load_64 | 45 | 0.0036037 | 0.00090318 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5113-7_0_4_load_70 | 46 | 0.023739 | 0.0059495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5113-7_0_4_load_65 | 47 | 0.0037693 | 0.00094468 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5113-7_0_4_load_40 | 48 | 0.011981 | 0.0030027 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5113-7_0_4_load_43 | 51 | 0.0085737 | 0.0021488 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5113-7_0_4_load_48 | 52 | 0.018603 | 0.0046624 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5113-7_0_4_load_67 | 54 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5113-7_0_4_load_56 | 55 | 0.0098628 | 0.0024719 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5113-7_0_4_load_53 | 56 | 0.0077412 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5113-7_0_4_load_46 | 59 | 0.0022072 | 0.00055317 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5113-7_0_4_load_50 | 60 | 0.0023815 | 0.00059685 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5113-7_0_4_load_66 | 62 | 0.008078 | 0.0020245 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5113-7_0_4_load_69 | 63 | 0.0021528 | 0.00053953 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5113-7_0_4_load_58 | 64 | 0.0070291 | 0.0017617 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5113-7_0_4_load_54 | 65 | 0.0036212 | 0.00090755 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5113-7_0_4_load_57 | 66 | 0.0072915 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5113-7_0_4_load_62 | 67 | 0.0036561 | 0.00091631 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5113-7_0_4_load_55 | 68 | 0.011974 | 0.003001 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5113-7_0_4_load_60 | 69 | 0.0030561 | 0.00076594 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5113-7_0_4_load_61 | 70 | 0.0027794 | 0.00069658 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5113-7_0_4_load_73 | 71 | 0.0065502 | 0.0016416 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5113-7_0_4_load_74 | 72 | 0.00074073 | 0.00018564 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5113-7_0_4_load_81 | 73 | 0.0013607 | 0.00034103 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5113-7_0_4_load_75 | 74 | 0.0020213 | 0.0005066 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5113-7_0_4_load_76 | 75 | 0.0020016 | 0.00050165 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5113-7_0_4_load_77 | 76 | 0.00069386 | 0.0001739 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5113-7_0_4_load_78 | 77 | 0.0058459 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5113-7_0_4_load_79 | 78 | 0.0030511 | 0.00076467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5113-7_0_4_line_0 |  | 0 | 1 | 0.0060099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5113-7_0_4_line_1 |  | 0 | 2 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5113-7_0_4_line_2 |  | 1 | 3 | 0.018655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5113-7_0_4_line_3 |  | 2 | 4 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5113-7_0_4_line_4 |  | 2 | 5 | 0.0031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5113-7_0_4_line_5 |  | 3 | 6 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5113-7_0_4_line_6 |  | 3 | 7 | 0.032484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5113-7_0_4_line_7 |  | 4 | 8 | 0.0089284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5113-7_0_4_line_8 |  | 5 | 9 | 0.020187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5113-7_0_4_line_9 |  | 6 | 10 | 0.0067965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5113-7_0_4_line_10 |  | 8 | 11 | 0.0093202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5113-7_0_4_line_11 |  | 9 | 12 | 0.0015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5113-7_0_4_line_12 |  | 10 | 13 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5113-7_0_4_line_13 |  | 11 | 16 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5113-7_0_4_line_14 |  | 11 | 17 | 0.018299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5113-7_0_4_line_15 |  | 12 | 18 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5113-7_0_4_line_16 |  | 13 | 28 | 0.021727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5113-7_0_4_line_17 |  | 14 | 15 | 0.014469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5113-7_0_4_line_18 |  | 15 | 25 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5113-7_0_4_line_19 |  | 16 | 19 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5113-7_0_4_line_20 |  | 17 | 20 | 0.0086758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5113-7_0_4_line_21 |  | 18 | 50 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5113-7_0_4_line_22 |  | 19 | 21 | 0.0067445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5113-7_0_4_line_23 |  | 20 | 22 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5113-7_0_4_line_24 |  | 22 | 23 | 0.0066021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5113-7_0_4_line_25 |  | 22 | 24 | 0.043217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5113-7_0_4_line_26 |  | 24 | 30 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5113-7_0_4_line_27 |  | 25 | 26 | 0.036747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5113-7_0_4_line_28 |  | 26 | 27 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5113-7_0_4_line_29 |  | 27 | 37 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5113-7_0_4_line_30 |  | 28 | 39 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5113-7_0_4_line_31 |  | 28 | 38 | 0.024785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5113-7_0_4_line_32 |  | 29 | 30 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5113-7_0_4_line_33 |  | 29 | 31 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5113-7_0_4_line_34 |  | 31 | 32 | 0.030027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5113-7_0_4_line_35 |  | 31 | 33 | 0.060222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5113-7_0_4_line_36 |  | 32 | 34 | 0.004959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5113-7_0_4_line_37 |  | 34 | 35 | 0.0045991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5113-7_0_4_line_38 |  | 35 | 36 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5113-7_0_4_line_39 |  | 36 | 73 | 0.071035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5113-7_0_4_line_40 |  | 37 | 38 | 0.0012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5113-7_0_4_line_41 |  | 39 | 40 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5113-7_0_4_line_42 |  | 40 | 41 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5113-7_0_4_line_43 |  | 40 | 42 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5113-7_0_4_line_44 |  | 41 | 43 | 0.04591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5113-7_0_4_line_45 |  | 42 | 44 | 0.0098943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5113-7_0_4_line_46 |  | 43 | 45 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5113-7_0_4_line_47 |  | 44 | 46 | 0.0086728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5113-7_0_4_line_48 |  | 45 | 47 | 0.033227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5113-7_0_4_line_49 |  | 47 | 71 | 0.0084357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5113-7_0_4_line_50 |  | 48 | 49 | 0.025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5113-7_0_4_line_51 |  | 49 | 50 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5113-7_0_4_line_52 |  | 49 | 51 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5113-7_0_4_line_53 |  | 50 | 52 | 0.0045963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5113-7_0_4_line_54 |  | 51 | 53 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5113-7_0_4_line_55 |  | 52 | 54 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5113-7_0_4_line_56 |  | 53 | 55 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5113-7_0_4_line_57 |  | 53 | 56 | 0.035987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5113-7_0_4_line_58 |  | 55 | 64 | 0.005963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5113-7_0_4_line_59 |  | 56 | 65 | 8.677e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5113-7_0_4_line_60 |  | 57 | 58 | 0.022613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5113-7_0_4_line_61 |  | 57 | 59 | 0.024548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5113-7_0_4_line_62 |  | 58 | 60 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5113-7_0_4_line_63 |  | 58 | 61 | 0.006525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5113-7_0_4_line_64 |  | 60 | 62 | 0.014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5113-7_0_4_line_65 |  | 61 | 63 | 0.028804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5113-7_0_4_line_66 |  | 62 | 66 | 0.006031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5113-7_0_4_line_67 |  | 63 | 67 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5113-7_0_4_line_68 |  | 65 | 68 | 0.023925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5113-7_0_4_line_69 |  | 66 | 68 | 0.0037123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5113-7_0_4_line_70 |  | 67 | 70 | 0.024424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5113-7_0_4_line_71 |  | 69 | 70 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5113-7_0_4_line_72 |  | 71 | 72 | 0.04241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5113-7_0_4_line_73 |  | 72 | 74 | 0.034668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5113-7_0_4_line_74 |  | 74 | 75 | 0.0042036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5113-7_0_4_line_75 |  | 75 | 76 | 0.0088141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5113-7_0_4_line_76 |  | 76 | 77 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5113-7_0_4_line_77 |  | 77 | 78 | 0.022444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5113-7_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 79 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2704350.9063 | 1114516.9691 | 2704347.1714 | 1114521.6775
1 | 2704358.0956 | 1114507.9061 | 2704350.9063 | 1114516.9691
2 | 2704335.5781 | 1114536.2922 | 2704347.1714 | 1114521.6775
3 | 2704358.0956 | 1114507.9061 | 2704364.4046 | 1114512.4732 | 2704375.4569 | 1114518.1746
4 | 2704358.0956 | 1114507.9061 | 2704355.6497 | 1114505.9529
5 | 2704335.5781 | 1114536.2922 | 2704329.7721 | 1114536.6036 | 2704319.4233 | 1114552.5351
6 | 2704335.5781 | 1114536.2922 | 2704334.7381 | 1114560.8489 | 2704338.2279 | 1114567.9505
7 | 2704383.3918 | 1114522.2678 | 2704375.4569 | 1114518.1746
8 | 2704355.6497 | 1114505.9529 | 2704339.8757 | 1114493.3559
9 | 2704319.4233 | 1114552.5351 | 2704318.1802 | 1114554.4488 | 2704315.7173 | 1114558.2323
10 | 2704391.6748 | 1114526.5407 | 2704383.3918 | 1114522.2678
11 | 2704338.6617 | 1114492.3864 | 2704339.8757 | 1114493.3559
12 | 2704315.7173 | 1114558.2323 | 2704307.7954 | 1114570.4015
13 | 2704391.6748 | 1114526.5407 | 2704404.3068 | 1114534.4719
14 | 2704391.6748 | 1114526.5407 | 2704400.4478 | 1114510.4815
15 | 2704338.6617 | 1114492.3864 | 2704329.5717 | 1114485.1272
16 | 2704295.9421 | 1114588.6101 | 2704307.7954 | 1114570.4015
17 | 2704378.7711 | 1114605.8411 | 2704390.0517 | 1114614.9024 | 2704390.0517 | 1114614.9024
18 | 2704390.0517 | 1114614.9024 | 2704387.8317 | 1114627.639 | 2704382.8439 | 1114633.37
19 | 2704404.3068 | 1114534.4719 | 2704409.4635 | 1114537.7097 | 2704426.3998 | 1114545.8305
20 | 2704400.4478 | 1114510.4815 | 2704400.4478 | 1114510.4815 | 2704407.6134 | 1114512.4061 | 2704408.7201 | 1114511.8118
21 | 2704320.0292 | 1114477.576 | 2704323.1771 | 1114480.0206 | 2704329.5717 | 1114485.1272
22 | 2704432.4814 | 1114548.7465 | 2704426.3998 | 1114545.8305
23 | 2704433.0147 | 1114500.0136 | 2704415.9786 | 1114507.914 | 2704408.7201 | 1114511.8118
24 | 2704433.0147 | 1114500.0136 | 2704438.8961 | 1114497.5689 | 2704439.056 | 1114497.3996
25 | 2704433.0147 | 1114500.0136 | 2704434.1092 | 1114505.5248 | 2704437.1419 | 1114507.4783 | 2704450.6058 | 1114518.1616 | 2704455.1062 | 1114522.7977 | 2704463.0706 | 1114529.3957
26 | 2704474.5515 | 1114538.7599 | 2704471.7452 | 1114536.5821 | 2704463.0706 | 1114529.3957
27 | 2704350.9658 | 1114624.9076 | 2704366.171 | 1114636.3494 | 2704380.8818 | 1114635.6244 | 2704382.8439 | 1114633.37
28 | 2704350.9658 | 1114624.9076 | 2704340.1624 | 1114616.778 | 2704334.7499 | 1114613.3303
29 | 2704317.8758 | 1114602.5817 | 2704334.7499 | 1114613.3303
30 | 2704295.9421 | 1114588.6101 | 2704281.9919 | 1114582.8331 | 2704278.1268 | 1114581.677
31 | 2704295.9421 | 1114588.6101 | 2704316.8466 | 1114601.9261
32 | 2704474.5515 | 1114538.7599 | 2704486.8517 | 1114548.3055 | 2704491.5416 | 1114552.7003 | 2704498.6408 | 1114559.3602 | 2704499.1606 | 1114559.9616
33 | 2704508.6643 | 1114576.0437 | 2704504.0553 | 1114565.6242 | 2704499.1606 | 1114559.9616
34 | 2704508.6643 | 1114576.0437 | 2704502.0034 | 1114579.7979 | 2704492.003 | 1114581.471 | 2704479.9342 | 1114583.9535
35 | 2704508.6643 | 1114576.0437 | 2704508.7522 | 1114568.2625 | 2704505.8743 | 1114562.2646 | 2704490.9852 | 1114547.3428 | 2704489.509 | 1114544.2598 | 2704490.237 | 1114541.4595 | 2704492.5647 | 1114538.6089 | 2704495.9961 | 1114538.0455 | 2704500.2918 | 1114541.1104 | 2704504.059 | 1114545.7314
36 | 2704475.0109 | 1114583.2459 | 2704479.9342 | 1114583.9535
37 | 2704475.0109 | 1114583.2459 | 2704473.8865 | 1114587.7055
38 | 2704469.2029 | 1114603.448 | 2704470.8157 | 1114599.8843 | 2704473.8865 | 1114587.7055
39 | 2704469.2029 | 1114603.448 | 2704479.1858 | 1114673.7779
40 | 2704316.8466 | 1114601.9261 | 2704317.8758 | 1114602.5817
41 | 2704269.3367 | 1114587.0848 | 2704271.2459 | 1114584.3047 | 2704274.5995 | 1114582.4279 | 2704278.1268 | 1114581.677
42 | 2704269.3367 | 1114587.0848 | 2704268.6192 | 1114589.7297 | 2704269.0745 | 1114593.3398 | 2704276.7854 | 1114603.7513
43 | 2704269.3367 | 1114587.0848 | 2704262.6312 | 1114572.6855
44 | 2704276.7854 | 1114603.7513 | 2704277.657 | 1114604.9282 | 2704311.0348 | 1114634.276
45 | 2704262.6312 | 1114572.6855 | 2704258.4544 | 1114563.716
46 | 2704311.0348 | 1114634.276 | 2704311.5 | 1114634.685 | 2704328.1846 | 1114650.7664
47 | 2704262.1553 | 1114555.8725 | 2704258.4544 | 1114563.716 | 2704258.4544 | 1114563.716
48 | 2704341.0529 | 1114676.7316 | 2704341.0529 | 1114676.7316 | 2704344.7762 | 1114670.425 | 2704338.7603 | 1114660.9598 | 2704328.1846 | 1114650.7664
49 | 2704341.0529 | 1114676.7316 | 2704332.6741 | 1114675.7534 | 2704332.6741 | 1114675.7534
50 | 2704306.1556 | 1114476.3142 | 2704303.6443 | 1114471.4346 | 2704295.7308 | 1114464.9498 | 2704287.4183 | 1114460.4985
51 | 2704320.0292 | 1114477.576 | 2704316.6431 | 1114479.0965 | 2704312.3074 | 1114480.1447 | 2704309.0332 | 1114478.7542 | 2704306.1556 | 1114476.3142
52 | 2704306.1556 | 1114476.3142 | 2704297.5481 | 1114482.7702 | 2704295.228 | 1114487.6903
53 | 2704320.0292 | 1114477.576 | 2704318.9779 | 1114474.4893 | 2704318.2026 | 1114473.4019
54 | 2704286.1484 | 1114506.9451 | 2704295.228 | 1114487.6903
55 | 2704318.2026 | 1114473.4019 | 2704316.8511 | 1114471.5063 | 2704304.2244 | 1114463.2274
56 | 2704286.1484 | 1114506.9451 | 2704276.5561 | 1114526.0463
57 | 2704286.1484 | 1114506.9451 | 2704268.6113 | 1114503.1298 | 2704251.1521 | 1114498.5919
58 | 2704273.8801 | 1114531.3751 | 2704276.5561 | 1114526.0463
59 | 2704251.0682 | 1114498.5701 | 2704251.1521 | 1114498.5919
60 | 2704193.8917 | 1114468.4563 | 2704215.8045 | 1114462.6292
61 | 2704215.8045 | 1114462.6292 | 2704210.7547 | 1114448.6113 | 2704213.269 | 1114439.8489 | 2704213.4211 | 1114439.3393
62 | 2704193.8917 | 1114468.4563 | 2704200.4137 | 1114481.3099 | 2704205.418 | 1114483.3284
63 | 2704193.8917 | 1114468.4563 | 2704187.4181 | 1114469.4123
64 | 2704218.8912 | 1114488.7628 | 2704205.418 | 1114483.3284
65 | 2704187.4181 | 1114469.4123 | 2704177.8802 | 1114496.5916
66 | 2704218.8912 | 1114488.7628 | 2704224.4844 | 1114491.0188
67 | 2704171.9485 | 1114513.4946 | 2704177.8802 | 1114496.5916
68 | 2704251.0682 | 1114498.5701 | 2704246.0733 | 1114497.2718 | 2704228.0501 | 1114492.0516
69 | 2704224.4844 | 1114491.0188 | 2704224.4844 | 1114491.0188 | 2704228.0501 | 1114492.0516
70 | 2704158.9725 | 1114533.9833 | 2704161.6736 | 1114529.1857 | 2704170.5244 | 1114517.5526 | 2704171.9485 | 1114513.4946
71 | 2704158.9725 | 1114533.9833 | 2704152.7583 | 1114545.0204
72 | 2704332.6741 | 1114675.7534 | 2704312.9293 | 1114658.4359 | 2704298.5058 | 1114651.1765
73 | 2704298.5058 | 1114651.1765 | 2704282.943 | 1114643.3436 | 2704265.8802 | 1114640.8404
74 | 2704261.7878 | 1114641.5526 | 2704265.0845 | 1114640.7236 | 2704265.8802 | 1114640.8404
75 | 2704253.2398 | 1114643.7021 | 2704261.7878 | 1114641.5526
76 | 2704253.2398 | 1114643.7021 | 2704243.5657 | 1114646.1348 | 2704237.3882 | 1114648.3177
77 | 2704237.3882 | 1114648.3177 | 2704220.2838 | 1114654.3619 | 2704216.1289 | 1114655.4805

## bus_geodata
| x | y | coords
0 | 2704350.9063 | 1114516.9691
1 | 2704347.1714 | 1114521.6775
2 | 2704358.0956 | 1114507.9061
3 | 2704335.5781 | 1114536.2922
4 | 2704375.4569 | 1114518.1746
5 | 2704355.6497 | 1114505.9529
6 | 2704319.4233 | 1114552.5351
7 | 2704338.2279 | 1114567.9505
8 | 2704383.3918 | 1114522.2678
9 | 2704339.8757 | 1114493.3559
10 | 2704315.7173 | 1114558.2323
11 | 2704391.6748 | 1114526.5407
12 | 2704338.6617 | 1114492.3864
13 | 2704307.7954 | 1114570.4015
14 | 2704378.7711 | 1114605.8411
15 | 2704390.0517 | 1114614.9024
16 | 2704404.3068 | 1114534.4719
17 | 2704400.4478 | 1114510.4815
18 | 2704329.5717 | 1114485.1272
19 | 2704426.3998 | 1114545.8305
20 | 2704408.7201 | 1114511.8118
21 | 2704432.4814 | 1114548.7465
22 | 2704433.0147 | 1114500.0136
23 | 2704439.056 | 1114497.3996
24 | 2704463.0706 | 1114529.3957
25 | 2704382.8439 | 1114633.37
26 | 2704350.9658 | 1114624.9076
27 | 2704334.7499 | 1114613.3303
28 | 2704295.9421 | 1114588.6101
29 | 2704499.1606 | 1114559.9616
30 | 2704474.5515 | 1114538.7599
31 | 2704508.6643 | 1114576.0437
32 | 2704479.9342 | 1114583.9535
33 | 2704504.059 | 1114545.7314
34 | 2704475.0109 | 1114583.2459
35 | 2704473.8865 | 1114587.7055
36 | 2704469.2029 | 1114603.448
37 | 2704317.8758 | 1114602.5817
38 | 2704316.8466 | 1114601.9261
39 | 2704278.1268 | 1114581.677
40 | 2704269.3367 | 1114587.0848
41 | 2704276.7854 | 1114603.7513
42 | 2704262.6312 | 1114572.6855
43 | 2704311.0348 | 1114634.276
44 | 2704258.4544 | 1114563.716
45 | 2704328.1846 | 1114650.7664
46 | 2704262.1553 | 1114555.8725
47 | 2704341.0529 | 1114676.7316
48 | 2704287.4183 | 1114460.4985
49 | 2704306.1556 | 1114476.3142
50 | 2704320.0292 | 1114477.576
51 | 2704295.228 | 1114487.6903
52 | 2704318.2026 | 1114473.4019
53 | 2704286.1484 | 1114506.9451
54 | 2704304.2244 | 1114463.2274
55 | 2704276.5561 | 1114526.0463
56 | 2704251.1521 | 1114498.5919
57 | 2704215.8045 | 1114462.6292
58 | 2704193.8917 | 1114468.4563
59 | 2704213.4211 | 1114439.3393
60 | 2704205.418 | 1114483.3284
61 | 2704187.4181 | 1114469.4123
62 | 2704218.8912 | 1114488.7628
63 | 2704177.8802 | 1114496.5916
64 | 2704273.8801 | 1114531.3751
65 | 2704251.0682 | 1114498.5701
66 | 2704224.4844 | 1114491.0188
67 | 2704171.9485 | 1114513.4946
68 | 2704228.0501 | 1114492.0516
69 | 2704152.7583 | 1114545.0204
70 | 2704158.9725 | 1114533.9833
71 | 2704332.6741 | 1114675.7534
72 | 2704298.5058 | 1114651.1765
73 | 2704479.1858 | 1114673.7779
74 | 2704265.8802 | 1114640.8404
75 | 2704261.7878 | 1114641.5526
76 | 2704253.2398 | 1114643.7021
77 | 2704237.3882 | 1114648.3177
78 | 2704216.1289 | 1114655.4805
79 | 2704335.5781 | 1114536.2922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1