## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5113-9_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_5113-9_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_5113-9_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5113-9_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_5113-9_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_5113-9_1_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5113-9_1_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5113-9_1_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_5113-9_1_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_5113-9_1_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5113-9_1_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5113-9_1_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5113-9_1_3_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_5113-9_1_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_5113-9_1_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5113-9_1_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_5113-9_1_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5113-9_1_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5113-9_1_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5113-9_1_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5113-9_1_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_5113-9_1_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_5113-9_1_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_5113-9_1_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_5113-9_1_3_node_119 | 0.4 | n |  | TRUE
25 | bus_LV_5113-9_1_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_5113-9_1_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_5113-9_1_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5113-9_1_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5113-9_1_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_5113-9_1_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5113-9_1_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_5113-9_1_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5113-9_1_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_5113-9_1_3_node_144 | 0.4 | n |  | TRUE
35 | bus_LV_5113-9_1_3_node_138 | 0.4 | n |  | TRUE
36 | bus_LV_5113-9_1_3_node_145 | 0.4 | n |  | TRUE
37 | bus_LV_5113-9_1_3_node_136 | 0.4 | n |  | TRUE
38 | bus_LV_5113-9_1_3_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_5113-9_1_3_node_124 | 0.4 | n |  | TRUE
40 | bus_LV_5113-9_1_3_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_5113-9_1_3_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_5113-9_1_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_5113-9_1_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_5113-9_1_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_5113-9_1_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_5113-9_1_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5113-9_1_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5113-9_1_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_5113-9_1_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5113-9_1_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_5113-9_1_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5113-9_1_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_5113-9_1_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_5113-9_1_3_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_5113-9_1_3_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_5113-9_1_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_5113-9_1_3_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_5113-9_1_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_5113-9_1_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_5113-9_1_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_5113-9_1_3_node_122 | 0.4 | n |  | TRUE
62 | bus_LV_5113-9_1_3_node_146 | 0.4 | n |  | TRUE
63 | bus_LV_5113-9_1_3_node_151 | 0.4 | n |  | TRUE
64 | bus_LV_5113-9_1_3_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_5113-9_1_3_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_5113-9_1_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_5113-9_1_3_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_5113-9_1_3_node_132 | 0.4 | n |  | TRUE
69 | bus_LV_5113-9_1_3_node_131 | 0.4 | n |  | TRUE
70 | bus_LV_5113-9_1_3_node_125 | 0.4 | n |  | TRUE
71 | bus_LV_5113-9_1_3_node_126 | 0.4 | n |  | TRUE
72 | bus_LV_5113-9_1_3_node_127 | 0.4 | n |  | TRUE
73 | bus_LV_5113-9_1_3_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_5113-9_1_3_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_5113-9_1_3_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_5113-9_1_3_node_133 | 0.4 | n |  | TRUE
77 | bus_LV_5113-9_1_3_node_134 | 0.4 | n |  | TRUE
78 | bus_LV_5113-9_1_3_node_141 | 0.4 | n |  | TRUE
79 | bus_LV_5113-9_1_3_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_5113-9_1_3_node_135 | 0.4 | n |  | TRUE
81 | bus_LV_5113-9_1_3_node_137 | 0.4 | n |  | TRUE
82 | bus_LV_5113-9_1_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_5113-9_1_3_node_143 | 0.4 | n |  | TRUE
84 | bus_LV_5113-9_1_3_node_149 | 0.4 | n |  | TRUE
85 | bus_LV_5113-9_1_3_node_142 | 0.4 | n |  | TRUE
86 | bus_LV_5113-9_1_3_node_150 | 0.4 | n |  | TRUE
87 | bus_LV_5113-9_1_3_node_147 | 0.4 | n |  | TRUE
88 | bus_MV_77_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5113-9_1_3_load_5 | 0 | 0.0032109 | 0.00080472 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5113-9_1_3_load_6 | 1 | 0.0047953 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5113-9_1_3_load_7 | 2 | 0.0026533 | 0.00066499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5113-9_1_3_load_8 | 3 | 0.004703 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5113-9_1_3_load_9 | 4 | 0.0071508 | 0.0017922 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5113-9_1_3_load_10 | 5 | 0.0079587 | 0.0019946 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5113-9_1_3_load_11 | 6 | 0.010548 | 0.0026436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5113-9_1_3_load_29 | 7 | 0.0054783 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5113-9_1_3_load_30 | 9 | 0.0049019 | 0.0012285 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5113-9_1_3_load_33 | 10 | 0.0039528 | 0.00099068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5113-9_1_3_load_54 | 12 | 0.0063905 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5113-9_1_3_load_51 | 13 | 0.005035 | 0.0012619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5113-9_1_3_load_20 | 14 | 0.0027304 | 0.0006843 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5113-9_1_3_load_21 | 15 | 0.00106 | 0.00026566 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5113-9_1_3_load_22 | 16 | 0.0014177 | 0.0003553 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5113-9_1_3_load_25 | 18 | 0.0030239 | 0.00075786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5113-9_1_3_load_26 | 19 | 0.0018758 | 0.00047012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5113-9_1_3_load_27 | 20 | 0.0022109 | 0.00055411 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5113-9_1_3_load_119 | 24 | 0.0066955 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5113-9_1_3_load_49 | 25 | 0.0013226 | 0.00033148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5113-9_1_3_load_63 | 26 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5113-9_1_3_load_37 | 27 | 0.0013868 | 0.00034757 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5113-9_1_3_load_31 | 28 | 0.0057146 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5113-9_1_3_load_32 | 29 | 0.012916 | 0.003237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5113-9_1_3_load_35 | 31 | 0.0062422 | 0.0015645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5113-9_1_3_load_36 | 32 | 0.0020325 | 0.00050939 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5113-9_1_3_load_144 | 34 | 0.0029003 | 0.00072689 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5113-9_1_3_load_138 | 35 | 0.0040627 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5113-9_1_3_load_145 | 36 | 0.0032069 | 0.00080374 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5113-9_1_3_load_136 | 37 | 0.0030879 | 0.00077389 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5113-9_1_3_load_124 | 39 | 0.0023575 | 0.00059085 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5113-9_1_3_load_65 | 41 | 0.0043576 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5113-9_1_3_load_64 | 42 | 0.0023128 | 0.00057963 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5113-9_1_3_load_57 | 44 | 0.0089193 | 0.0022354 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5113-9_1_3_load_58 | 45 | 0.0043675 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5113-9_1_3_load_61 | 47 | 0.0031036 | 0.00077783 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5113-9_1_3_load_62 | 48 | 0.0028922 | 0.00072486 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5113-9_1_3_load_60 | 49 | 0.0037644 | 0.00094344 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5113-9_1_3_load_68 | 50 | 0.0062258 | 0.0015603 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5113-9_1_3_load_71 | 51 | 0.0069958 | 0.0017533 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5113-9_1_3_load_67 | 52 | 0.0025873 | 0.00064844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5113-9_1_3_load_72 | 53 | 0.0015672 | 0.00039279 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5113-9_1_3_load_76 | 54 | 0.0042556 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5113-9_1_3_load_70 | 55 | 0.0023857 | 0.0005979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5113-9_1_3_load_77 | 56 | 0.0014729 | 0.00036914 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5113-9_1_3_load_69 | 57 | 0.0035861 | 0.00089877 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5113-9_1_3_load_73 | 58 | 0.0042509 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5113-9_1_3_load_74 | 59 | 0.0050566 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5113-9_1_3_load_75 | 60 | 0.0042996 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5113-9_1_3_load_122 | 61 | 0.0067015 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5113-9_1_3_load_146 | 62 | 0.0016061 | 0.00040252 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5113-9_1_3_load_151 | 63 | 0.0016737 | 0.00041947 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5113-9_1_3_load_116 | 64 | 0.0040452 | 0.0010138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5113-9_1_3_load_120 | 66 | 0.001841 | 0.00046139 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5113-9_1_3_load_121 | 67 | 0.0084684 | 0.0021224 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5113-9_1_3_load_132 | 68 | 0.0022011 | 0.00055165 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5113-9_1_3_load_131 | 69 | 0.0023907 | 0.00059917 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5113-9_1_3_load_125 | 70 | 0.0049412 | 0.0012384 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5113-9_1_3_load_126 | 71 | 0.0030087 | 0.00075406 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5113-9_1_3_load_127 | 72 | 0.0023893 | 0.00059881 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5113-9_1_3_load_128 | 73 | 0.0089654 | 0.0022469 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5113-9_1_3_load_129 | 74 | 0.0035446 | 0.00088836 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5113-9_1_3_load_130 | 75 | 0.0013585 | 0.00034048 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5113-9_1_3_load_133 | 76 | 0.001284 | 0.00032181 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5113-9_1_3_load_134 | 77 | 0.0023789 | 0.00059621 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5113-9_1_3_load_141 | 78 | 0.001002 | 0.00025112 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5113-9_1_3_load_135 | 80 | 0.005895 | 0.0014774 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5113-9_1_3_load_139 | 82 | 0.0044844 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5113-9_1_3_load_143 | 83 | 0.0030765 | 0.00077106 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5113-9_1_3_load_149 | 84 | 0.0029033 | 0.00072763 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5113-9_1_3_load_150 | 86 | 0.0015769 | 0.00039521 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5113-9_1_3_load_147 | 87 | 0.0050929 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5113-9_1_3_line_0 |  | 0 | 1 | 0.017004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5113-9_1_3_line_1 |  | 0 | 2 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5113-9_1_3_line_2 |  | 1 | 3 | 0.00331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5113-9_1_3_line_3 |  | 2 | 4 | 0.0055578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5113-9_1_3_line_4 |  | 3 | 5 | 0.0043471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5113-9_1_3_line_5 |  | 4 | 6 | 0.0037538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5113-9_1_3_line_6 |  | 5 | 7 | 0.00015189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5113-9_1_3_line_7 |  | 6 | 8 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5113-9_1_3_line_8 |  | 7 | 9 | 0.0015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5113-9_1_3_line_9 |  | 8 | 10 | 0.0058852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5113-9_1_3_line_10 |  | 8 | 11 | 0.032772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5113-9_1_3_line_11 |  | 9 | 28 | 0.0079871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5113-9_1_3_line_12 |  | 11 | 20 | 0.027525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5113-9_1_3_line_13 |  | 11 | 16 | 0.0032411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5113-9_1_3_line_14 |  | 12 | 13 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5113-9_1_3_line_15 |  | 13 | 25 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5113-9_1_3_line_16 |  | 14 | 15 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5113-9_1_3_line_17 |  | 14 | 16 | 0.035801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5113-9_1_3_line_18 |  | 15 | 17 | 0.039171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5113-9_1_3_line_19 |  | 17 | 18 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5113-9_1_3_line_20 |  | 17 | 19 | 0.049602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5113-9_1_3_line_21 |  | 18 | 21 | 0.0099149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5113-9_1_3_line_22 |  | 19 | 22 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5113-9_1_3_line_23 |  | 20 | 23 | 0.033539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5113-9_1_3_line_24 |  | 21 | 24 | 0.019186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5113-9_1_3_line_25 |  | 22 | 25 | 0.038056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5113-9_1_3_line_26 |  | 23 | 26 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5113-9_1_3_line_27 |  | 23 | 27 | 0.017084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5113-9_1_3_line_28 |  | 24 | 38 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5113-9_1_3_line_29 |  | 26 | 41 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5113-9_1_3_line_30 |  | 27 | 31 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5113-9_1_3_line_31 |  | 28 | 29 | 0.024911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5113-9_1_3_line_32 |  | 30 | 31 | 0.0073504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5113-9_1_3_line_33 |  | 30 | 32 | 0.039955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5113-9_1_3_line_34 |  | 32 | 33 | 0.034166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5113-9_1_3_line_35 |  | 33 | 34 | 0.0055462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5113-9_1_3_line_36 |  | 33 | 35 | 0.0093968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5113-9_1_3_line_37 |  | 34 | 36 | 0.0068034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5113-9_1_3_line_38 |  | 35 | 37 | 0.0051974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5113-9_1_3_line_39 |  | 36 | 87 | 0.026246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5113-9_1_3_line_40 |  | 37 | 80 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5113-9_1_3_line_41 |  | 38 | 65 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5113-9_1_3_line_42 |  | 38 | 64 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5113-9_1_3_line_43 |  | 39 | 40 | 0.017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5113-9_1_3_line_44 |  | 40 | 61 | 0.038841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5113-9_1_3_line_45 |  | 40 | 60 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5113-9_1_3_line_46 |  | 41 | 52 | 0.0058569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5113-9_1_3_line_47 |  | 42 | 43 | 0.0074024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5113-9_1_3_line_48 |  | 43 | 54 | 0.043131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5113-9_1_3_line_49 |  | 43 | 55 | 0.050129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5113-9_1_3_line_50 |  | 44 | 45 | 0.033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5113-9_1_3_line_51 |  | 45 | 46 | 0.023872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5113-9_1_3_line_52 |  | 46 | 47 | 0.057277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5113-9_1_3_line_53 |  | 46 | 48 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5113-9_1_3_line_54 |  | 47 | 51 | 0.0029068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5113-9_1_3_line_55 |  | 48 | 52 | 0.023354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5113-9_1_3_line_56 |  | 49 | 50 | 0.00085777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5113-9_1_3_line_57 |  | 50 | 53 | 0.0026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5113-9_1_3_line_58 |  | 53 | 58 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5113-9_1_3_line_59 |  | 54 | 56 | 0.0044787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5113-9_1_3_line_60 |  | 55 | 57 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5113-9_1_3_line_61 |  | 56 | 62 | 0.00316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5113-9_1_3_line_62 |  | 58 | 59 | 0.0092143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5113-9_1_3_line_63 |  | 59 | 60 | 0.0072513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5113-9_1_3_line_64 |  | 61 | 66 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5113-9_1_3_line_65 |  | 62 | 63 | 0.0078916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5113-9_1_3_line_66 |  | 63 | 86 | 0.03223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5113-9_1_3_line_67 |  | 65 | 66 | 0.027507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5113-9_1_3_line_68 |  | 65 | 67 | 0.059778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5113-9_1_3_line_69 |  | 67 | 68 | 0.04276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5113-9_1_3_line_70 |  | 68 | 69 | 0.0056231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5113-9_1_3_line_71 |  | 69 | 75 | 0.031102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5113-9_1_3_line_72 |  | 70 | 71 | 0.021492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5113-9_1_3_line_73 |  | 70 | 72 | 0.00044172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5113-9_1_3_line_74 |  | 71 | 73 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5113-9_1_3_line_75 |  | 72 | 74 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5113-9_1_3_line_76 |  | 74 | 75 | 0.0057493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5113-9_1_3_line_77 |  | 76 | 77 | 0.039493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5113-9_1_3_line_78 |  | 77 | 78 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5113-9_1_3_line_79 |  | 78 | 79 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5113-9_1_3_line_80 |  | 79 | 85 | 0.026365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5113-9_1_3_line_81 |  | 80 | 81 | 0.00795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5113-9_1_3_line_82 |  | 81 | 82 | 0.019747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5113-9_1_3_line_83 |  | 82 | 83 | 0.035831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5113-9_1_3_line_84 |  | 83 | 84 | 0.033845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5113-9_1_3_line_85 |  | 84 | 85 | 0.029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5113-9_1_3_line_86 |  | 85 | 86 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5113-9_1_3_trafo_27 | 0.63 MVA 20/0.4 kV | 88 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2703876.5704 | 1114460.9884 | 2703893.4446 | 1114463.0871
1 | 2703876.5704 | 1114460.9884 | 2703866.5686 | 1114459.7444 | 2703866.4673 | 1114459.7515
2 | 2703896.7293 | 1114463.4956 | 2703893.4446 | 1114463.0871
3 | 2703866.4673 | 1114459.7515 | 2703860.923 | 1114460.1398
4 | 2703896.7293 | 1114463.4956 | 2703901.0432 | 1114464.0321
5 | 2703857.2018 | 1114460.6138 | 2703859.8098 | 1114460.2178 | 2703860.923 | 1114460.1398
6 | 2703901.0432 | 1114464.0321 | 2703901.1939 | 1114464.0509
7 | 2703844.3186 | 1114463.6434 | 2703851.7172 | 1114461.4466 | 2703857.2018 | 1114460.6138
8 | 2703902.7399 | 1114464.2432 | 2703901.1939 | 1114464.0509
9 | 2703844.3186 | 1114463.6434 | 2703841.6907 | 1114460.1406 | 2703840.4513 | 1114460.9967
10 | 2703844.3186 | 1114463.6434 | 2703838.0828 | 1114468.2951 | 2703831.7244 | 1114473.345 | 2703827.0918 | 1114480.9038 | 2703823.9066 | 1114488.2873
11 | 2703902.7399 | 1114464.2432 | 2703910.666 | 1114465.229
12 | 2703823.9066 | 1114488.2873 | 2703822.8715 | 1114494.1511 | 2703822.1653 | 1114496.1513 | 2703821.4128 | 1114497.695 | 2703819.7633 | 1114499.7458 | 2703817.8589 | 1114500.9028 | 2703814.6522 | 1114502.3266 | 2703811.524 | 1114503.2292 | 2703808.3551 | 1114503.3527 | 2703805.4192 | 1114503.4025
13 | 2703823.9066 | 1114488.2873 | 2703824.4858 | 1114491.4762
14 | 2703933.7608 | 1114528.4943 | 2703932.8618 | 1114528.7135 | 2703917.7166 | 1114538.9937 | 2703916.6482 | 1114539.638
15 | 2703897.8974 | 1114546.9536 | 2703903.4811 | 1114547.5774 | 2703916.6482 | 1114539.638
16 | 2703831.3576 | 1114546.8899 | 2703831.148 | 1114528.1589 | 2703830.8833 | 1114526.7014
17 | 2703824.4858 | 1114491.4762 | 2703830.8833 | 1114526.7014
18 | 2703833.4933 | 1114583.7456 | 2703833.4007 | 1114579.6859 | 2703830.7046 | 1114579.2616 | 2703831.4073 | 1114551.3337 | 2703831.3576 | 1114546.8899
19 | 2703833.4933 | 1114583.7456 | 2703833.2475 | 1114599.2514
20 | 2703833.4933 | 1114583.7456 | 2703860.1309 | 1114582.0453 | 2703883.0079 | 1114580.8166
21 | 2703832.1783 | 1114609.0948 | 2703833.2091 | 1114601.6744 | 2703833.2475 | 1114599.2514
22 | 2703894.4949 | 1114580.1997 | 2703883.0079 | 1114580.8166
23 | 2703790.9094 | 1114475.7031 | 2703792.5068 | 1114479.8442 | 2703793.4257 | 1114485.7192 | 2703794.8731 | 1114493.2043 | 2703797.1124 | 1114498.2014 | 2703800.781 | 1114501.8221 | 2703805.4192 | 1114503.4025
24 | 2703832.1783 | 1114609.0948 | 2703833.1182 | 1114628.2573
25 | 2703894.4949 | 1114580.1997 | 2703894.1665 | 1114571.4218 | 2703893.6058 | 1114546.4741 | 2703897.8974 | 1114546.9536
26 | 2703790.9094 | 1114475.7031 | 2703787.1016 | 1114477.9504 | 2703784.602 | 1114481.8323 | 2703779.8445 | 1114488.0716
27 | 2703790.9094 | 1114475.7031 | 2703798.3551 | 1114465.3462 | 2703799.7852 | 1114461.2612
28 | 2703833.8953 | 1114644.102 | 2703833.1182 | 1114628.2573
29 | 2703779.8445 | 1114488.0716 | 2703777.5224 | 1114491.117 | 2703770.6296 | 1114500.9321
30 | 2703799.7852 | 1114461.2612 | 2703804.0157 | 1114449.1773 | 2703806.0946 | 1114445.9553 | 2703809.2732 | 1114444.8201 | 2703809.2732 | 1114444.8201
31 | 2703910.666 | 1114465.229 | 2703928.7837 | 1114467.4823 | 2703935.4126 | 1114468.0565
32 | 2703811.3943 | 1114450.8491 | 2703811.282 | 1114445.6884 | 2703809.2732 | 1114444.8201
33 | 2703811.3943 | 1114450.8491 | 2703825.2722 | 1114438.8014 | 2703836.1052 | 1114435.4181 | 2703843.8111 | 1114432.8707 | 2703843.8009 | 1114430.7581
34 | 2703853.2104 | 1114401.3783 | 2703842.8751 | 1114421.2362 | 2703840.564 | 1114428.9904 | 2703843.8009 | 1114430.7581
35 | 2703853.2104 | 1114401.3783 | 2703858.7363 | 1114400.9053
36 | 2703853.2104 | 1114401.3783 | 2703849.8523 | 1114397.6629 | 2703845.9722 | 1114395.6122
37 | 2703865.5149 | 1114400.3249 | 2703858.7363 | 1114400.9053
38 | 2703841.3771 | 1114393.1836 | 2703845.9722 | 1114395.6122
39 | 2703889.1808 | 1114390.5168 | 2703887.4654 | 1114391.081 | 2703877.1549 | 1114394.6176 | 2703870.7387 | 1114399.8777 | 2703865.5149 | 1114400.3249
40 | 2703826.5005 | 1114392.5409 | 2703831.9338 | 1114391.7299 | 2703837.3292 | 1114391.0442 | 2703841.3771 | 1114393.1836
41 | 2703833.8953 | 1114644.102 | 2703830.9956 | 1114646.9986 | 2703822.1789 | 1114649.4825
42 | 2703833.8953 | 1114644.102 | 2703854.3703 | 1114642.0191
43 | 2703772.1332 | 1114595.1465 | 2703790.1048 | 1114594.6904
44 | 2703772.1332 | 1114595.1465 | 2703780.7376 | 1114605.5116 | 2703787.7918 | 1114629.8812
45 | 2703772.1332 | 1114595.1465 | 2703762.1898 | 1114589.1521
46 | 2703767.2636 | 1114505.7251 | 2703770.6296 | 1114500.9321
47 | 2703717.4898 | 1114489.444 | 2703724.8035 | 1114488.3013
48 | 2703717.4898 | 1114489.444 | 2703712.294 | 1114486.5978 | 2703703.0688 | 1114482.7041 | 2703686.5421 | 1114476.6954 | 2703683.5781 | 1114474.3209 | 2703683.2175 | 1114471.4685 | 2703683.2137 | 1114468.5333
49 | 2703717.4898 | 1114489.444 | 2703697.7018 | 1114493.0189 | 2703667.7322 | 1114491.2607
50 | 2703758.8258 | 1114545.8623 | 2703769.3892 | 1114551.9832 | 2703787.8458 | 1114560.2934 | 2703788.2666 | 1114560.6648
51 | 2703740.3631 | 1114531.2287 | 2703747.3631 | 1114539.2203 | 2703758.8258 | 1114545.8623
52 | 2703740.3631 | 1114531.2287 | 2703733.2044 | 1114525.2913 | 2703728.754 | 1114525.3708 | 2703726.5402 | 1114527.4564 | 2703726.3772 | 1114531.1115 | 2703727.4592 | 1114534.232 | 2703728.4924 | 1114537.4962 | 2703728.1811 | 1114540.3372 | 2703726.4792 | 1114543.1987 | 2703715.6925 | 1114552.9204 | 2703711.2628 | 1114554.5011 | 2703708.5173 | 1114554.7098 | 2703706.7141 | 1114554.0119
53 | 2703740.3631 | 1114531.2287 | 2703751.3835 | 1114522.5144
54 | 2703706.4547 | 1114551.1167 | 2703706.7141 | 1114554.0119
55 | 2703751.3835 | 1114522.5144 | 2703760.5799 | 1114515.2423 | 2703767.2636 | 1114505.7251
56 | 2703730.6081 | 1114575.1211 | 2703731.3119 | 1114575.6114
57 | 2703731.3119 | 1114575.6114 | 2703733.4907 | 1114577.1292 | 2703733.4907 | 1114577.1292
58 | 2703747.3327 | 1114582.225 | 2703733.4907 | 1114577.1292
59 | 2703686.9857 | 1114466.1185 | 2703683.2137 | 1114468.5333
60 | 2703667.7322 | 1114491.2607 | 2703662.2967 | 1114497.0047 | 2703664.0666 | 1114504.1618
61 | 2703686.9857 | 1114466.1185 | 2703686.9857 | 1114466.1185 | 2703690.0931 | 1114465.5438
62 | 2703747.3327 | 1114582.225 | 2703755.9797 | 1114585.4083 | 2703755.9797 | 1114585.4083
63 | 2703762.1898 | 1114589.1521 | 2703755.9797 | 1114585.4083
64 | 2703795.321 | 1114643.7745 | 2703790.4942 | 1114637.4323 | 2703787.9277 | 1114630.3505 | 2703787.7918 | 1114629.8812
65 | 2703697.8416 | 1114464.0584 | 2703697.2214 | 1114464.2257 | 2703690.0931 | 1114465.5438
66 | 2703726.5746 | 1114450.3968 | 2703719.2615 | 1114456.3422 | 2703705.1286 | 1114462.0929 | 2703697.8416 | 1114464.0584
67 | 2703822.1789 | 1114649.4825 | 2703804.8421 | 1114646.606 | 2703795.321 | 1114643.7745 | 2703795.321 | 1114643.7745
68 | 2703822.1789 | 1114649.4825 | 2703821.7009 | 1114654.3886 | 2703818.7394 | 1114657.74 | 2703815.7211 | 1114659.4449 | 2703811.5481 | 1114660.4741 | 2703802.2664 | 1114661.249 | 2703784.575 | 1114660.5901 | 2703769.4627 | 1114658.6079 | 2703769.1226 | 1114658.517
69 | 2703769.1226 | 1114658.517 | 2703754.301 | 1114654.5569 | 2703745.1251 | 1114652.3095 | 2703739.1049 | 1114651.606 | 2703733.6224 | 1114651.9791 | 2703728.3745 | 1114653.09 | 2703727.4528 | 1114653.594
70 | 2703722.5191 | 1114656.2918 | 2703727.4528 | 1114653.594
71 | 2703703.7631 | 1114678.1181 | 2703703.7631 | 1114678.1181 | 2703709.5264 | 1114677.1272 | 2703712.9326 | 1114674.873 | 2703716.5367 | 1114670.076 | 2703718.2793 | 1114664.8358 | 2703719.9719 | 1114659.806 | 2703722.5191 | 1114656.2918 | 2703722.5191 | 1114656.2918
72 | 2703683.9848 | 1114669.7936 | 2703676.7081 | 1114667.2262 | 2703662.9513 | 1114666.5069
73 | 2703683.9848 | 1114669.7936 | 2703684.4014 | 1114669.9405
74 | 2703662.9513 | 1114666.5069 | 2703659.0058 | 1114666.3006 | 2703641.2443 | 1114665.9033
75 | 2703684.4014 | 1114669.9405 | 2703689.1607 | 1114671.6198 | 2703698.1374 | 1114676.9323 | 2703698.1374 | 1114676.9323
76 | 2703703.7631 | 1114678.1181 | 2703698.1374 | 1114676.9323
77 | 2703660.3338 | 1114417.8772 | 2703661.8701 | 1114417.2133 | 2703673.168 | 1114413.7377 | 2703680.5979 | 1114412.4195 | 2703699.0151 | 1114411.2673
78 | 2703699.0151 | 1114411.2673 | 2703701.39 | 1114411.1187 | 2703712.769 | 1114410.5
79 | 2703737.8665 | 1114410.4536 | 2703724.4059 | 1114409.8673 | 2703712.769 | 1114410.5
80 | 2703737.8665 | 1114410.4536 | 2703731.7171 | 1114423.1453 | 2703734.9595 | 1114434.975
81 | 2703818.6376 | 1114393.7146 | 2703826.5005 | 1114392.5409
82 | 2703818.6376 | 1114393.7146 | 2703820.2045 | 1114405.0486 | 2703819.301 | 1114413.3047
83 | 2703819.301 | 1114413.3047 | 2703818.5468 | 1114420.1966 | 2703809.1122 | 1114424.0152 | 2703791.8981 | 1114431.3702
84 | 2703791.8981 | 1114431.3702 | 2703786.5707 | 1114433.6465 | 2703767.0974 | 1114442.73 | 2703765.4314 | 1114439.8885 | 2703762.9341 | 1114437.7778
85 | 2703734.9595 | 1114434.975 | 2703744.6301 | 1114435.8633 | 2703752.4911 | 1114433.7298 | 2703756.6725 | 1114434.4685 | 2703758.9017 | 1114437.3529 | 2703762.9341 | 1114437.7778
86 | 2703734.9595 | 1114434.975 | 2703733.3368 | 1114442.2296 | 2703728.0345 | 1114449.21 | 2703726.5746 | 1114450.3968

## bus_geodata
| x | y | coords
0 | 2703876.5704 | 1114460.9884
1 | 2703893.4446 | 1114463.0871
2 | 2703866.4673 | 1114459.7515
3 | 2703896.7293 | 1114463.4956
4 | 2703860.9231 | 1114460.1398
5 | 2703901.0432 | 1114464.0321
6 | 2703857.2018 | 1114460.6138
7 | 2703901.1939 | 1114464.0509
8 | 2703844.3186 | 1114463.6434
9 | 2703902.7399 | 1114464.2432
10 | 2703840.4513 | 1114460.9967
11 | 2703823.9066 | 1114488.2873
12 | 2703933.7608 | 1114528.4943
13 | 2703916.6482 | 1114539.638
14 | 2703830.8833 | 1114526.7014
15 | 2703831.3576 | 1114546.8899
16 | 2703824.4858 | 1114491.4762
17 | 2703833.4933 | 1114583.7456
18 | 2703833.2475 | 1114599.2514
19 | 2703883.0079 | 1114580.8166
20 | 2703805.4192 | 1114503.4025
21 | 2703832.1783 | 1114609.0948
22 | 2703894.4949 | 1114580.1997
23 | 2703790.9094 | 1114475.7031
24 | 2703833.1182 | 1114628.2573
25 | 2703897.8974 | 1114546.9536
26 | 2703779.8445 | 1114488.0716
27 | 2703799.7852 | 1114461.2612
28 | 2703910.666 | 1114465.229
29 | 2703935.4126 | 1114468.0565
30 | 2703811.3943 | 1114450.8491
31 | 2703809.2732 | 1114444.8201
32 | 2703843.8009 | 1114430.7581
33 | 2703853.2104 | 1114401.3783
34 | 2703858.7363 | 1114400.9053
35 | 2703845.9722 | 1114395.6122
36 | 2703865.5149 | 1114400.3249
37 | 2703841.3771 | 1114393.1836
38 | 2703833.8953 | 1114644.102
39 | 2703790.1048 | 1114594.6904
40 | 2703772.1332 | 1114595.1465
41 | 2703770.6296 | 1114500.9321
42 | 2703724.8035 | 1114488.3013
43 | 2703717.4898 | 1114489.444
44 | 2703788.2666 | 1114560.6648
45 | 2703758.8258 | 1114545.8623
46 | 2703740.3631 | 1114531.2287
47 | 2703706.7141 | 1114554.0119
48 | 2703751.3835 | 1114522.5144
49 | 2703730.6081 | 1114575.1211
50 | 2703731.3119 | 1114575.6114
51 | 2703706.4547 | 1114551.1167
52 | 2703767.2636 | 1114505.7251
53 | 2703733.4907 | 1114577.1292
54 | 2703683.2137 | 1114468.5332
55 | 2703667.7322 | 1114491.2607
56 | 2703686.9857 | 1114466.1185
57 | 2703664.0666 | 1114504.1618
58 | 2703747.3327 | 1114582.225
59 | 2703755.9797 | 1114585.4083
60 | 2703762.1898 | 1114589.1521
61 | 2703787.7918 | 1114629.8812
62 | 2703690.0931 | 1114465.5438
63 | 2703697.8416 | 1114464.0584
64 | 2703854.3703 | 1114642.0191
65 | 2703822.1789 | 1114649.4825
66 | 2703795.321 | 1114643.7745
67 | 2703769.1226 | 1114658.517
68 | 2703727.4527 | 1114653.594
69 | 2703722.5191 | 1114656.2918
70 | 2703683.9848 | 1114669.7936
71 | 2703662.9513 | 1114666.5069
72 | 2703684.4014 | 1114669.9405
73 | 2703641.2443 | 1114665.9033
74 | 2703698.1374 | 1114676.9323
75 | 2703703.7631 | 1114678.1181
76 | 2703660.3338 | 1114417.8772
77 | 2703699.0151 | 1114411.2673
78 | 2703712.769 | 1114410.5
79 | 2703737.8665 | 1114410.4536
80 | 2703826.5005 | 1114392.5409
81 | 2703818.6376 | 1114393.7146
82 | 2703819.301 | 1114413.3047
83 | 2703791.8981 | 1114431.3702
84 | 2703762.9341 | 1114437.7778
85 | 2703734.9595 | 1114434.975
86 | 2703726.5746 | 1114450.3968
87 | 2703889.1808 | 1114390.5168
88 | 2703823.9066 | 1114488.2873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1