## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5115-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5115-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5115-21_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5115-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5115-21_0_6_node_82 | 0.4 | n |  | TRUE
5 | bus_LV_5115-21_0_6_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_5115-21_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5115-21_0_6_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_5115-21_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5115-21_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5115-21_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5115-21_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5115-21_0_6_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_5115-21_0_6_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_5115-21_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5115-21_0_6_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5115-21_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5115-21_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5115-21_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5115-21_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5115-21_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5115-21_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5115-21_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5115-21_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5115-21_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5115-21_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5115-21_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_5115-21_0_6_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_5115-21_0_6_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5115-21_0_6_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_5115-21_0_6_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_5115-21_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5115-21_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5115-21_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5115-21_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5115-21_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5115-21_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5115-21_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5115-21_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5115-21_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_5115-21_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_5115-21_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5115-21_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5115-21_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_5115-21_0_6_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_5115-21_0_6_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_5115-21_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5115-21_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5115-21_0_6_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_5115-21_0_6_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_5115-21_0_6_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_5115-21_0_6_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_5115-21_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5115-21_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5115-21_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5115-21_0_6_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_5115-21_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5115-21_0_6_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_5115-21_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_5115-21_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5115-21_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5115-21_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5115-21_0_6_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_5115-21_0_6_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_5115-21_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_5115-21_0_6_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5115-21_0_6_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_5115-21_0_6_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_5115-21_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_5115-21_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_5115-21_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_5115-21_0_6_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_5115-21_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5115-21_0_6_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_5115-21_0_6_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5115-21_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_5115-21_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5115-21_0_6_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_5115-21_0_6_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_5115-21_0_6_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_5115-21_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5115-21_0_6_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_5115-21_0_6_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_5115-21_0_6_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_5115-21_0_6_node_88 | 0.4 | n |  | TRUE
85 | bus_MV_66_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5115-21_0_6_load_0 | 0 | 0.0023672 | 0.00059326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5115-21_0_6_load_1 | 1 | 0.0047375 | 0.0011873 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5115-21_0_6_load_2 | 2 | 0.0021447 | 0.00053751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5115-21_0_6_load_3 | 3 | 0.0026397 | 0.00066157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5115-21_0_6_load_82 | 4 | 0.038474 | 0.0096425 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5115-21_0_6_load_44 | 5 | 0.0058071 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5115-21_0_6_load_4 | 6 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5115-21_0_6_load_83 | 7 | 0.0046547 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5115-21_0_6_load_5 | 8 | 0.0063243 | 0.001585 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5115-21_0_6_load_6 | 9 | 0.0030998 | 0.00077688 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5115-21_0_6_load_7 | 10 | 0.011061 | 0.0027722 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5115-21_0_6_load_8 | 11 | 0.0041074 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5115-21_0_6_load_38 | 12 | 0.058504 | 0.014662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5115-21_0_6_load_32 | 13 | 0.0076576 | 0.0019192 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5115-21_0_6_load_9 | 14 | 0.0030534 | 0.00076526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5115-21_0_6_load_18 | 15 | 0.0026941 | 0.00067519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5115-21_0_6_load_10 | 17 | 0.011623 | 0.0029129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5115-21_0_6_load_14 | 20 | 0.0086363 | 0.0021645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5115-21_0_6_load_15 | 21 | 0.014049 | 0.003521 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5115-21_0_6_load_16 | 22 | 0.0043673 | 0.0010945 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5115-21_0_6_load_17 | 23 | 0.0048897 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5115-21_0_6_load_19 | 24 | 0.0024441 | 0.00061254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5115-21_0_6_load_20 | 25 | 0.0080288 | 0.0020122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5115-21_0_6_load_51 | 28 | 0.0025035 | 0.00062743 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5115-21_0_6_load_68 | 29 | 0.01471 | 0.0036866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5115-21_0_6_load_69 | 30 | 0.007296 | 0.0018285 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5115-21_0_6_load_21 | 31 | 0.0035758 | 0.00089618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5115-21_0_6_load_22 | 32 | 0.0039456 | 0.00098887 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5115-21_0_6_load_23 | 33 | 0.009661 | 0.0024213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5115-21_0_6_load_25 | 35 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5115-21_0_6_load_26 | 36 | 0.017794 | 0.0044596 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5115-21_0_6_load_60 | 39 | 0.0045608 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5115-21_0_6_load_61 | 40 | 0.00603 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5115-21_0_6_load_31 | 41 | 0.019564 | 0.0049033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5115-21_0_6_load_28 | 42 | 0.023473 | 0.0058828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5115-21_0_6_load_62 | 44 | 0.002582 | 0.00064712 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5115-21_0_6_load_52 | 45 | 0.0025035 | 0.00062743 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5115-21_0_6_load_34 | 46 | 0.0049381 | 0.0012376 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5115-21_0_6_load_35 | 47 | 0.0046554 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5115-21_0_6_load_84 | 48 | 0.0074492 | 0.0018669 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5115-21_0_6_load_78 | 49 | 0.004811 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5115-21_0_6_load_81 | 50 | 0.0050294 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5115-21_0_6_load_79 | 51 | 0.005724 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5115-21_0_6_load_49 | 52 | 0.027728 | 0.0069493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5115-21_0_6_load_48 | 54 | 0.0071189 | 0.0017842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5115-21_0_6_load_80 | 55 | 0.0059385 | 0.0014883 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5115-21_0_6_load_50 | 56 | 0.0070056 | 0.0017558 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5115-21_0_6_load_75 | 57 | 0.012397 | 0.0031069 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5115-21_0_6_load_63 | 58 | 0.001692 | 0.00042406 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5115-21_0_6_load_64 | 59 | 0.0015711 | 0.00039376 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5115-21_0_6_load_66 | 61 | 0.0036349 | 0.00091099 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5115-21_0_6_load_76 | 62 | 0.0030546 | 0.00076554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5115-21_0_6_load_73 | 63 | 0.0035741 | 0.00089574 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5115-21_0_6_load_74 | 64 | 0.015374 | 0.0038532 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5115-21_0_6_load_72 | 65 | 0.012902 | 0.0032334 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5115-21_0_6_load_39 | 66 | 0.025611 | 0.0064188 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5115-21_0_6_load_40 | 67 | 0.0066774 | 0.0016735 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5115-21_0_6_load_41 | 68 | 0.0034292 | 0.00085944 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5115-21_0_6_load_43 | 70 | 0.016591 | 0.004158 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5115-21_0_6_load_45 | 71 | 0.0045661 | 0.0011444 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5115-21_0_6_load_47 | 72 | 0.0035343 | 0.00088577 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5115-21_0_6_load_77 | 73 | 0.0029256 | 0.00073323 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5115-21_0_6_load_58 | 74 | 0.0027857 | 0.00069817 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5115-21_0_6_load_71 | 76 | 0.0071819 | 0.0017999 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5115-21_0_6_load_53 | 77 | 0.0026567 | 0.00066583 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5115-21_0_6_load_54 | 78 | 0.0026244 | 0.00065775 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5115-21_0_6_load_55 | 79 | 0.0093263 | 0.0023374 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5115-21_0_6_load_56 | 80 | 0.0034692 | 0.00086947 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5115-21_0_6_load_85 | 81 | 0.0036784 | 0.0009219 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5115-21_0_6_load_86 | 82 | 0.002893 | 0.00072505 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5115-21_0_6_load_87 | 83 | 0.010082 | 0.0025268 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5115-21_0_6_load_88 | 84 | 0.006908 | 0.0017313 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5115-21_0_6_line_0 |  | 0 | 1 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5115-21_0_6_line_1 |  | 0 | 2 | 0.0072787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5115-21_0_6_line_2 |  | 1 | 3 | 0.014772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5115-21_0_6_line_3 |  | 2 | 4 | 0.057881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5115-21_0_6_line_4 |  | 3 | 6 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5115-21_0_6_line_5 |  | 4 | 5 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5115-21_0_6_line_6 |  | 5 | 69 | 0.038582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5115-21_0_6_line_7 |  | 6 | 7 | 0.019434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5115-21_0_6_line_8 |  | 8 | 9 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5115-21_0_6_line_9 |  | 8 | 10 | 0.0041209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5115-21_0_6_line_10 |  | 9 | 11 | 0.0027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5115-21_0_6_line_11 |  | 11 | 14 | 0.0025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5115-21_0_6_line_12 |  | 12 | 13 | 0.057227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5115-21_0_6_line_13 |  | 13 | 41 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5115-21_0_6_line_14 |  | 14 | 15 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5115-21_0_6_line_15 |  | 15 | 16 | 0.031044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5115-21_0_6_line_16 |  | 16 | 23 | 0.012671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5115-21_0_6_line_17 |  | 16 | 18 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5115-21_0_6_line_18 |  | 17 | 18 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5115-21_0_6_line_19 |  | 17 | 19 | 0.028035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5115-21_0_6_line_20 |  | 18 | 20 | 0.039962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5115-21_0_6_line_21 |  | 19 | 21 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5115-21_0_6_line_22 |  | 19 | 22 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5115-21_0_6_line_23 |  | 20 | 24 | 0.0064948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5115-21_0_6_line_24 |  | 21 | 25 | 0.0056222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5115-21_0_6_line_25 |  | 23 | 26 | 0.029155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5115-21_0_6_line_26 |  | 25 | 27 | 0.01419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5115-21_0_6_line_27 |  | 26 | 28 | 0.030849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5115-21_0_6_line_28 |  | 27 | 29 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5115-21_0_6_line_29 |  | 27 | 30 | 0.04134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5115-21_0_6_line_30 |  | 28 | 45 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5115-21_0_6_line_31 |  | 29 | 75 | 0.056235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5115-21_0_6_line_32 |  | 30 | 76 | 0.0097788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5115-21_0_6_line_33 |  | 31 | 32 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5115-21_0_6_line_34 |  | 31 | 33 | 0.009495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5115-21_0_6_line_35 |  | 32 | 34 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5115-21_0_6_line_36 |  | 33 | 35 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5115-21_0_6_line_37 |  | 34 | 36 | 0.03022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5115-21_0_6_line_38 |  | 35 | 37 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5115-21_0_6_line_39 |  | 36 | 38 | 0.023836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5115-21_0_6_line_40 |  | 37 | 39 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5115-21_0_6_line_41 |  | 37 | 40 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5115-21_0_6_line_42 |  | 38 | 41 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5115-21_0_6_line_43 |  | 38 | 42 | 0.05069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5115-21_0_6_line_44 |  | 39 | 43 | 0.02686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5115-21_0_6_line_45 |  | 40 | 44 | 0.0014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5115-21_0_6_line_46 |  | 43 | 73 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5115-21_0_6_line_47 |  | 43 | 69 | 0.037921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5115-21_0_6_line_48 |  | 44 | 81 | 0.0012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5115-21_0_6_line_49 |  | 46 | 47 | 0.032704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5115-21_0_6_line_50 |  | 46 | 48 | 0.077636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5115-21_0_6_line_51 |  | 47 | 49 | 0.037808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5115-21_0_6_line_52 |  | 49 | 51 | 7.6563e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5115-21_0_6_line_53 |  | 49 | 55 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5115-21_0_6_line_54 |  | 50 | 51 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5115-21_0_6_line_55 |  | 52 | 53 | 0.082643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5115-21_0_6_line_56 |  | 52 | 54 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5115-21_0_6_line_57 |  | 53 | 56 | 0.016865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5115-21_0_6_line_58 |  | 54 | 71 | 0.023549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5115-21_0_6_line_59 |  | 55 | 76 | 0.029723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5115-21_0_6_line_60 |  | 56 | 57 | 0.0049024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5115-21_0_6_line_61 |  | 57 | 75 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5115-21_0_6_line_62 |  | 58 | 59 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5115-21_0_6_line_63 |  | 59 | 60 | 0.0095559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5115-21_0_6_line_64 |  | 60 | 61 | 0.0040339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5115-21_0_6_line_65 |  | 61 | 62 | 0.022914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5115-21_0_6_line_66 |  | 62 | 64 | 0.020091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5115-21_0_6_line_67 |  | 63 | 64 | 0.0045777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5115-21_0_6_line_68 |  | 63 | 65 | 0.041039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5115-21_0_6_line_69 |  | 65 | 75 | 0.0026448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5115-21_0_6_line_70 |  | 66 | 67 | 0.027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5115-21_0_6_line_71 |  | 66 | 68 | 0.0011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5115-21_0_6_line_72 |  | 67 | 69 | 0.026137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5115-21_0_6_line_73 |  | 68 | 70 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5115-21_0_6_line_74 |  | 69 | 71 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5115-21_0_6_line_75 |  | 70 | 72 | 0.0014425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5115-21_0_6_line_76 |  | 73 | 74 | 0.0093872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5115-21_0_6_line_77 |  | 74 | 80 | 0.0056288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5115-21_0_6_line_78 |  | 77 | 78 | 0.0075628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5115-21_0_6_line_79 |  | 77 | 79 | 0.0082494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5115-21_0_6_line_80 |  | 78 | 80 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5115-21_0_6_line_81 |  | 81 | 82 | 0.0059891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5115-21_0_6_line_82 |  | 82 | 83 | 0.0072962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5115-21_0_6_line_83 |  | 83 | 84 | 0.0060579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5115-21_0_6_trafo_73 | 0.63 MVA 20/0.4 kV | 85 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2701770.6018 | 1113314.5442 | 2701767.3255 | 1113324.7437 | 2701767.3255 | 1113324.7437
1 | 2701772.8278 | 1113307.6142 | 2701770.6018 | 1113314.5442
2 | 2701752.8851 | 1113321.6327 | 2701767.3255 | 1113324.7437
3 | 2701830.1283 | 1113315.7926 | 2701772.8278 | 1113307.6142
4 | 2701752.8851 | 1113321.6327 | 2701752.6296 | 1113329.9448 | 2701751.5606 | 1113334.7188 | 2701752.3644 | 1113341.547
5 | 2701830.1283 | 1113315.7926 | 2701843.9901 | 1113313.1952
6 | 2701881.9121 | 1113306.0897 | 2701843.9901 | 1113313.1952
7 | 2701749.5894 | 1113360.7042 | 2701752.6018 | 1113343.5641 | 2701752.3644 | 1113341.547
8 | 2702144.9449 | 1113148.0979 | 2702137.7274 | 1113163.5374
9 | 2702146.69 | 1113144.3647 | 2702144.9449 | 1113148.0979
10 | 2702137.7274 | 1113163.5374 | 2702136.5674 | 1113166.0188
11 | 2702135.4759 | 1113168.3538 | 2702136.5674 | 1113166.0188
12 | 2702021.7106 | 1113350.5575 | 2702034.8457 | 1113357.3162 | 2702050.552 | 1113365.0632 | 2702052.0136 | 1113367.267 | 2702052.0862 | 1113371.2151 | 2702044.4463 | 1113387.8978
13 | 2702044.4463 | 1113387.8978 | 2702035.6124 | 1113407.1877
14 | 2702135.4759 | 1113168.3538 | 2702128.9169 | 1113182.3847
15 | 2702115.7701 | 1113210.508 | 2702128.9169 | 1113182.3847
16 | 2702115.7701 | 1113210.508 | 2702127.1245 | 1113216.1322
17 | 2702106.1713 | 1113205.6877 | 2702115.7701 | 1113210.508
18 | 2702106.1713 | 1113205.6877 | 2702095.9644 | 1113200.8655
19 | 2702070.6158 | 1113188.8895 | 2702095.9644 | 1113200.8655
20 | 2702106.1713 | 1113205.6877 | 2702093.7688 | 1113243.6765
21 | 2702070.6158 | 1113188.8895 | 2702059.3713 | 1113183.9144
22 | 2702070.6158 | 1113188.8895 | 2702062.3806 | 1113211.8864
23 | 2702091.7531 | 1113249.8506 | 2702093.7688 | 1113243.6765
24 | 2702054.2299 | 1113181.6395 | 2702059.3713 | 1113183.9144
25 | 2702153.2501 | 1113229.0733 | 2702127.1245 | 1113216.1322
26 | 2702041.2536 | 1113175.8982 | 2702054.2299 | 1113181.6395
27 | 2702153.2501 | 1113229.0733 | 2702166.3735 | 1113201.1551
28 | 2702041.2536 | 1113175.8982 | 2702024.1803 | 1113188.7909
29 | 2702041.2536 | 1113175.8982 | 2702062.0412 | 1113140.1645
30 | 2702166.3735 | 1113201.1551 | 2702173.5244 | 1113185.9424
31 | 2701975.7654 | 1113217.1558 | 2702013.2558 | 1113197.0404 | 2702024.1803 | 1113188.7909
32 | 2702062.0412 | 1113140.1645 | 2702066.9583 | 1113131.7119
33 | 2701953.8799 | 1113397.8982 | 2701962.562 | 1113402.1951 | 2701965.6385 | 1113403.3365
34 | 2701953.8799 | 1113397.8982 | 2701948.7715 | 1113395.37 | 2701945.4798 | 1113393.481
35 | 2701976.3121 | 1113407.2963 | 2701965.6385 | 1113403.3365
36 | 2701927.9285 | 1113382.448 | 2701937.5546 | 1113388.9329 | 2701945.4798 | 1113393.481
37 | 2701976.3121 | 1113407.2963 | 2702004.7337 | 1113417.5643
38 | 2701917.7591 | 1113375.3582 | 2701922.1856 | 1113378.5791 | 2701927.9285 | 1113382.448
39 | 2702027.1515 | 1113425.6632 | 2702004.7337 | 1113417.5643
40 | 2701917.7591 | 1113375.3582 | 2701904.1164 | 1113363.039
41 | 2701917.7591 | 1113375.3582 | 2701912.0476 | 1113388.9723
42 | 2702027.1515 | 1113425.6632 | 2702035.6124 | 1113407.1877
43 | 2702027.1515 | 1113425.6632 | 2702071.3736 | 1113441.5287 | 2702074.9677 | 1113442.441
44 | 2701885.6705 | 1113343.5321 | 2701901.4363 | 1113360.619 | 2701904.1164 | 1113363.039
45 | 2701911.4684 | 1113390.353 | 2701912.0476 | 1113388.9723
46 | 2701885.6705 | 1113343.5321 | 2701875.4411 | 1113361.516 | 2701875.4411 | 1113361.516
47 | 2701885.6705 | 1113343.5321 | 2701883.9766 | 1113338.6005 | 2701881.9089 | 1113327.4143 | 2701881.9121 | 1113306.0897
48 | 2701911.4684 | 1113390.353 | 2701910.998 | 1113391.4743
49 | 2702030.6562 | 1113082.364 | 2702027.8378 | 1113067.4149 | 2702029.034 | 1113055.5609 | 2702030.9117 | 1113050.3095
50 | 2702030.9117 | 1113050.3095 | 2701954.7847 | 1113065.5404
51 | 2702068.4297 | 1113083.968 | 2702030.6562 | 1113082.364
52 | 2702068.4465 | 1113083.8933 | 2702068.4297 | 1113083.968
53 | 2702068.4297 | 1113083.968 | 2702066.2728 | 1113093.5672 | 2702066.5526 | 1113101.2657 | 2702066.9906 | 1113103.8033
54 | 2702072.9695 | 1113063.7642 | 2702068.4465 | 1113083.8933
55 | 2701889.1266 | 1113242.4007 | 2701949.6425 | 1113186.1191
56 | 2701882.3002 | 1113263.7139 | 2701882.3002 | 1113263.7139 | 2701885.0226 | 1113251.5853 | 2701889.1266 | 1113242.4007
57 | 2701949.6425 | 1113186.1191 | 2701960.5023 | 1113199.0217
58 | 2701882.3002 | 1113263.7139 | 2701882.0068 | 1113279.7858 | 2701882.1165 | 1113287.2597
59 | 2702066.9583 | 1113131.7119 | 2702070.5632 | 1113125.5152 | 2702071.533 | 1113117.015 | 2702067.3128 | 1113105.6702 | 2702066.9906 | 1113103.8033
60 | 2701960.5023 | 1113199.0217 | 2701963.6592 | 1113202.7724
61 | 2701975.7654 | 1113217.1558 | 2701963.6592 | 1113202.7724
62 | 2702065.0615 | 1113242.8201 | 2702059.637 | 1113259.0361
63 | 2702055.9062 | 1113267.7918 | 2702057.9463 | 1113264.0905 | 2702059.637 | 1113259.0361
64 | 2702055.9062 | 1113267.7918 | 2702052.428 | 1113265.7489
65 | 2702032.6695 | 1113254.144 | 2702052.428 | 1113265.7489
66 | 2702032.6695 | 1113254.144 | 2702015.3457 | 1113243.969
67 | 2702011.3984 | 1113241.6506 | 2702015.3457 | 1113243.969
68 | 2701977.4365 | 1113219.2057 | 2701981.3439 | 1113223.9984 | 2702011.3984 | 1113241.6506
69 | 2701975.7654 | 1113217.1558 | 2701977.4365 | 1113219.2057
70 | 2701905.9408 | 1113295.8052 | 2701915.5043 | 1113291.7119 | 2701913.1252 | 1113309.0448
71 | 2701912.9693 | 1113310.181 | 2701913.1252 | 1113309.0448
72 | 2701881.9121 | 1113306.0897 | 2701905.9408 | 1113295.8052
73 | 2701910.5939 | 1113327.4871 | 2701912.9693 | 1113310.181
74 | 2701881.9121 | 1113306.0897 | 2701882.2084 | 1113293.5201 | 2701882.1165 | 1113287.2597
75 | 2701910.3978 | 1113328.9162 | 2701910.5939 | 1113327.4871
76 | 2701875.4411 | 1113361.516 | 2701873.2774 | 1113370.6505
77 | 2701871.98 | 1113376.1277 | 2701873.2774 | 1113370.6505
78 | 2701867.7606 | 1113393.9407 | 2701869.5038 | 1113386.5816
79 | 2701867.7606 | 1113393.9407 | 2701865.8592 | 1113401.968
80 | 2701869.5038 | 1113386.5816 | 2701871.98 | 1113376.1277
81 | 2701908.681 | 1113396.9971 | 2701910.998 | 1113391.4743
82 | 2701908.681 | 1113396.9971 | 2701908.681 | 1113396.9971 | 2701911.3203 | 1113400.3769 | 2701910.0269 | 1113403.0925
83 | 2701907.5175 | 1113408.6045 | 2701908.3573 | 1113406.5977 | 2701910.0269 | 1113403.0925

## bus_geodata
| x | y | coords
0 | 2701770.6018 | 1113314.5442
1 | 2701767.3255 | 1113324.7437
2 | 2701772.8278 | 1113307.6142
3 | 2701752.8851 | 1113321.6327
4 | 2701830.1283 | 1113315.7926
5 | 2701843.9901 | 1113313.1952
6 | 2701752.3644 | 1113341.547
7 | 2701749.5894 | 1113360.7043
8 | 2702144.9449 | 1113148.0979
9 | 2702137.7274 | 1113163.5374
10 | 2702146.69 | 1113144.3647
11 | 2702136.5674 | 1113166.0188
12 | 2702021.7106 | 1113350.5575
13 | 2702044.4463 | 1113387.8978
14 | 2702135.4759 | 1113168.3538
15 | 2702128.9169 | 1113182.3847
16 | 2702115.7701 | 1113210.508
17 | 2702095.9644 | 1113200.8655
18 | 2702106.1713 | 1113205.6877
19 | 2702070.6158 | 1113188.8895
20 | 2702093.7688 | 1113243.6765
21 | 2702059.3713 | 1113183.9144
22 | 2702062.3806 | 1113211.8864
23 | 2702127.1245 | 1113216.1322
24 | 2702091.7531 | 1113249.8506
25 | 2702054.2299 | 1113181.6395
26 | 2702153.2501 | 1113229.0733
27 | 2702041.2536 | 1113175.8982
28 | 2702166.3735 | 1113201.1551
29 | 2702024.1803 | 1113188.7909
30 | 2702062.0412 | 1113140.1645
31 | 2701953.8799 | 1113397.8982
32 | 2701965.6385 | 1113403.3365
33 | 2701945.4798 | 1113393.481
34 | 2701976.3121 | 1113407.2963
35 | 2701927.9285 | 1113382.448
36 | 2702004.7337 | 1113417.5643
37 | 2701917.7591 | 1113375.3582
38 | 2702027.1515 | 1113425.6632
39 | 2701904.1164 | 1113363.039
40 | 2701912.0476 | 1113388.9723
41 | 2702035.6124 | 1113407.1877
42 | 2702074.9677 | 1113442.441
43 | 2701885.6705 | 1113343.5321
44 | 2701911.4684 | 1113390.353
45 | 2702173.5244 | 1113185.9424
46 | 2702030.9117 | 1113050.3095
47 | 2702030.6562 | 1113082.364
48 | 2701954.7847 | 1113065.5404
49 | 2702068.4297 | 1113083.968
50 | 2702072.9695 | 1113063.7642
51 | 2702068.4465 | 1113083.8933
52 | 2701889.1266 | 1113242.4007
53 | 2701949.6425 | 1113186.1191
54 | 2701882.3002 | 1113263.7139
55 | 2702066.9906 | 1113103.8033
56 | 2701960.5023 | 1113199.0217
57 | 2701963.6592 | 1113202.7724
58 | 2702065.0615 | 1113242.8201
59 | 2702059.637 | 1113259.0361
60 | 2702055.9062 | 1113267.7918
61 | 2702052.428 | 1113265.7489
62 | 2702032.6695 | 1113254.144
63 | 2702011.3984 | 1113241.6506
64 | 2702015.3457 | 1113243.969
65 | 2701977.4365 | 1113219.2057
66 | 2701913.1252 | 1113309.0448
67 | 2701905.9408 | 1113295.8052
68 | 2701912.9693 | 1113310.181
69 | 2701881.9121 | 1113306.0897
70 | 2701910.5939 | 1113327.4871
71 | 2701882.1165 | 1113287.2597
72 | 2701910.3978 | 1113328.9162
73 | 2701875.4411 | 1113361.516
74 | 2701873.2774 | 1113370.6505
75 | 2701975.7654 | 1113217.1558
76 | 2702066.9583 | 1113131.7119
77 | 2701867.7606 | 1113393.9407
78 | 2701869.5038 | 1113386.5816
79 | 2701865.8592 | 1113401.968
80 | 2701871.98 | 1113376.1277
81 | 2701910.998 | 1113391.4743
82 | 2701908.681 | 1113396.9971
83 | 2701910.0269 | 1113403.0925
84 | 2701907.5175 | 1113408.6045
85 | 2701975.7654 | 1113217.1558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1