## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5115-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5115-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5115-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5115-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5115-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5115-22_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5115-22_0_4_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_5115-22_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5115-22_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5115-22_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5115-22_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_5115-22_0_4_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_5115-22_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_5115-22_0_4_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_5115-22_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_5115-22_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5115-22_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5115-22_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5115-22_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_5115-22_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_5115-22_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5115-22_0_4_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_5115-22_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_5115-22_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5115-22_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5115-22_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5115-22_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5115-22_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5115-22_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5115-22_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_5115-22_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5115-22_0_4_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_5115-22_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5115-22_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5115-22_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5115-22_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5115-22_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5115-22_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5115-22_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5115-22_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5115-22_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5115-22_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5115-22_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5115-22_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5115-22_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5115-22_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_5115-22_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5115-22_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5115-22_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5115-22_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_5115-22_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_5115-22_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5115-22_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5115-22_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5115-22_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5115-22_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5115-22_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_5115-22_0_4_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_5115-22_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5115-22_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5115-22_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5115-22_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_5115-22_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5115-22_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_5115-22_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5115-22_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5115-22_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5115-22_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5115-22_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5115-22_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_5115-22_0_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_5115-22_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5115-22_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5115-22_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5115-22_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5115-22_0_4_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_5115-22_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_5115-22_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_5115-22_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5115-22_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_5115-22_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_5115-22_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_5115-22_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5115-22_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5115-22_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5115-22_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5115-22_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5115-22_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_MV_66_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5115-22_0_4_load_0 | 0 | 0.0059836 | 0.0014996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5115-22_0_4_load_1 | 1 | 0.0070192 | 0.0017592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5115-22_0_4_load_3 | 3 | 0.005806 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5115-22_0_4_load_4 | 4 | 0.0087795 | 0.0022004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5115-22_0_4_load_5 | 5 | 0.0049193 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5115-22_0_4_load_76 | 6 | 0.0072654 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5115-22_0_4_load_7 | 7 | 0.013024 | 0.0032642 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5115-22_0_4_load_22 | 8 | 0.0045595 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5115-22_0_4_load_6 | 9 | 0.0057507 | 0.0014413 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5115-22_0_4_load_75 | 11 | 0.0022469 | 0.00056312 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5115-22_0_4_load_23 | 12 | 0.00449 | 0.0011253 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5115-22_0_4_load_87 | 13 | 0.0022947 | 0.00057511 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5115-22_0_4_load_10 | 17 | 0.0041643 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5115-22_0_4_load_54 | 19 | 0.0054547 | 0.0013671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5115-22_0_4_load_31 | 20 | 0.0075909 | 0.0019025 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5115-22_0_4_load_73 | 21 | 0.014957 | 0.0037485 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5115-22_0_4_load_53 | 23 | 0.0028512 | 0.00071457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5115-22_0_4_load_29 | 24 | 0.0031188 | 0.00078164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5115-22_0_4_load_11 | 25 | 0.0020342 | 0.00050983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5115-22_0_4_load_12 | 26 | 0.0042755 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5115-22_0_4_load_13 | 27 | 0.0065095 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5115-22_0_4_load_14 | 28 | 0.0068088 | 0.0017065 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5115-22_0_4_load_36 | 29 | 0.0032629 | 0.00081775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5115-22_0_4_load_93 | 31 | 0.033868 | 0.0084881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5115-22_0_4_load_16 | 33 | 0.0032319 | 0.00080999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5115-22_0_4_load_17 | 34 | 0.0019181 | 0.00048073 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5115-22_0_4_load_19 | 36 | 0.0062763 | 0.001573 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5115-22_0_4_load_20 | 37 | 0.0040165 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5115-22_0_4_load_21 | 38 | 0.0073224 | 0.0018352 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5115-22_0_4_load_25 | 40 | 0.0028877 | 0.00072372 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5115-22_0_4_load_34 | 41 | 0.0084313 | 0.0021131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5115-22_0_4_load_35 | 42 | 0.0056157 | 0.0014074 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5115-22_0_4_load_24 | 43 | 0.0097746 | 0.0024497 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5115-22_0_4_load_52 | 44 | 0.0049169 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5115-22_0_4_load_50 | 45 | 0.0089248 | 0.0022368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5115-22_0_4_load_28 | 46 | 0.0023688 | 0.00059368 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5115-22_0_4_load_30 | 47 | 0.0062127 | 0.0015571 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5115-22_0_4_load_68 | 49 | 0.0025816 | 0.00064702 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5115-22_0_4_load_67 | 50 | 0.0071617 | 0.0017949 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5115-22_0_4_load_63 | 53 | 0.0086685 | 0.0021725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5115-22_0_4_load_49 | 54 | 0.0035074 | 0.00087905 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5115-22_0_4_load_39 | 55 | 0.0068086 | 0.0017064 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5115-22_0_4_load_62 | 56 | 0.0054904 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5115-22_0_4_load_74 | 57 | 0.0050643 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5115-22_0_4_load_60 | 58 | 0.0022354 | 0.00056024 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5115-22_0_4_load_40 | 59 | 0.015124 | 0.0037904 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5115-22_0_4_load_41 | 60 | 0.0063927 | 0.0016022 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5115-22_0_4_load_42 | 61 | 0.012966 | 0.0032497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5115-22_0_4_load_43 | 62 | 0.013664 | 0.0034245 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5115-22_0_4_load_44 | 63 | 0.008164 | 0.0020461 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5115-22_0_4_load_47 | 64 | 0.0044039 | 0.0011037 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5115-22_0_4_load_45 | 65 | 0.0064393 | 0.0016138 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5115-22_0_4_load_46 | 66 | 0.0065088 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5115-22_0_4_load_48 | 69 | 0.0037355 | 0.00093621 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5115-22_0_4_load_92 | 70 | 0.0031854 | 0.00079835 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5115-22_0_4_load_64 | 71 | 0.015063 | 0.0037752 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5115-22_0_4_load_58 | 72 | 0.0028167 | 0.00070593 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5115-22_0_4_load_59 | 73 | 0.0051565 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5115-22_0_4_load_61 | 74 | 0.0028515 | 0.00071466 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5115-22_0_4_load_89 | 75 | 0.0081291 | 0.0020374 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5115-22_0_4_load_88 | 76 | 0.0069038 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5115-22_0_4_load_72 | 77 | 0.0031792 | 0.00079679 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5115-22_0_4_load_81 | 78 | 0.0024589 | 0.00061625 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5115-22_0_4_load_82 | 79 | 0.0025561 | 0.00064061 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5115-22_0_4_load_83 | 80 | 0.0023148 | 0.00058014 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5115-22_0_4_load_80 | 81 | 0.0059474 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5115-22_0_4_load_77 | 82 | 0.0029193 | 0.00073166 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5115-22_0_4_load_78 | 83 | 0.0024714 | 0.00061938 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5115-22_0_4_load_79 | 84 | 0.002566 | 0.00064309 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5115-22_0_4_load_84 | 85 | 0.002205 | 0.00055262 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5115-22_0_4_load_90 | 86 | 0.0022005 | 0.0005515 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5115-22_0_4_load_91 | 87 | 0.0029646 | 0.000743 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5115-22_0_4_line_0 |  | 0 | 1 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5115-22_0_4_line_1 |  | 0 | 2 | 0.011553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5115-22_0_4_line_2 |  | 1 | 3 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5115-22_0_4_line_3 |  | 2 | 4 | 0.0082723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5115-22_0_4_line_4 |  | 2 | 5 | 0.030001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5115-22_0_4_line_5 |  | 3 | 6 | 0.0010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5115-22_0_4_line_6 |  | 4 | 7 | 0.0016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5115-22_0_4_line_7 |  | 5 | 8 | 0.003741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5115-22_0_4_line_8 |  | 6 | 11 | 0.005189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5115-22_0_4_line_9 |  | 8 | 12 | 0.012897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5115-22_0_4_line_10 |  | 9 | 10 | 0.0016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5115-22_0_4_line_11 |  | 10 | 13 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5115-22_0_4_line_12 |  | 10 | 14 | 0.04448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5115-22_0_4_line_13 |  | 11 | 82 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5115-22_0_4_line_14 |  | 12 | 44 | 0.0059704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5115-22_0_4_line_15 |  | 13 | 87 | 0.0010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5115-22_0_4_line_16 |  | 14 | 70 | 0.0048404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5115-22_0_4_line_17 |  | 15 | 16 | 0.035796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5115-22_0_4_line_18 |  | 15 | 17 | 0.010195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5115-22_0_4_line_19 |  | 16 | 18 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5115-22_0_4_line_20 |  | 16 | 19 | 0.023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5115-22_0_4_line_21 |  | 17 | 20 | 0.0087521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5115-22_0_4_line_22 |  | 18 | 21 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5115-22_0_4_line_23 |  | 18 | 22 | 0.061262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5115-22_0_4_line_24 |  | 19 | 23 | 0.023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5115-22_0_4_line_25 |  | 20 | 24 | 0.0092057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5115-22_0_4_line_26 |  | 21 | 57 | 0.022154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5115-22_0_4_line_27 |  | 22 | 55 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5115-22_0_4_line_28 |  | 22 | 29 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5115-22_0_4_line_29 |  | 23 | 36 | 0.00083556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5115-22_0_4_line_30 |  | 24 | 46 | 0.010908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5115-22_0_4_line_31 |  | 25 | 26 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5115-22_0_4_line_32 |  | 25 | 27 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5115-22_0_4_line_33 |  | 26 | 28 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5115-22_0_4_line_34 |  | 28 | 29 | 0.028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5115-22_0_4_line_35 |  | 30 | 31 | 0.042605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5115-22_0_4_line_36 |  | 30 | 32 | 0.035716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5115-22_0_4_line_37 |  | 32 | 43 | 0.0024203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5115-22_0_4_line_38 |  | 33 | 34 | 0.012365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5115-22_0_4_line_39 |  | 33 | 35 | 0.033882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5115-22_0_4_line_40 |  | 34 | 36 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5115-22_0_4_line_41 |  | 35 | 37 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5115-22_0_4_line_42 |  | 35 | 38 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5115-22_0_4_line_43 |  | 37 | 39 | 0.024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5115-22_0_4_line_44 |  | 38 | 40 | 0.04605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5115-22_0_4_line_45 |  | 39 | 41 | 0.0009696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5115-22_0_4_line_46 |  | 39 | 42 | 0.020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5115-22_0_4_line_47 |  | 40 | 43 | 0.033812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5115-22_0_4_line_48 |  | 41 | 50 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5115-22_0_4_line_49 |  | 42 | 51 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5115-22_0_4_line_50 |  | 44 | 45 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5115-22_0_4_line_51 |  | 45 | 69 | 0.025128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5115-22_0_4_line_52 |  | 46 | 47 | 0.00072086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5115-22_0_4_line_53 |  | 47 | 48 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5115-22_0_4_line_54 |  | 48 | 49 | 0.0095684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5115-22_0_4_line_55 |  | 50 | 52 | 0.024068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5115-22_0_4_line_56 |  | 51 | 53 | 0.0052798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5115-22_0_4_line_57 |  | 51 | 54 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5115-22_0_4_line_58 |  | 52 | 64 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5115-22_0_4_line_59 |  | 53 | 70 | 0.0197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5115-22_0_4_line_60 |  | 54 | 69 | 0.0082306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5115-22_0_4_line_61 |  | 55 | 56 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5115-22_0_4_line_62 |  | 56 | 58 | 0.0072694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5115-22_0_4_line_63 |  | 58 | 72 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5115-22_0_4_line_64 |  | 59 | 60 | 0.0092309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5115-22_0_4_line_65 |  | 59 | 61 | 0.0089051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5115-22_0_4_line_66 |  | 60 | 62 | 0.029754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5115-22_0_4_line_67 |  | 61 | 63 | 0.0019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5115-22_0_4_line_68 |  | 62 | 64 | 0.0093942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5115-22_0_4_line_69 |  | 63 | 65 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5115-22_0_4_line_70 |  | 65 | 66 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5115-22_0_4_line_71 |  | 66 | 67 | 0.072324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5115-22_0_4_line_72 |  | 67 | 68 | 0.008967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5115-22_0_4_line_73 |  | 68 | 71 | 0.040083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5115-22_0_4_line_74 |  | 72 | 73 | 0.009484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5115-22_0_4_line_75 |  | 73 | 74 | 0.0028782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5115-22_0_4_line_76 |  | 74 | 75 | 0.0061464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5115-22_0_4_line_77 |  | 75 | 76 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5115-22_0_4_line_78 |  | 77 | 78 | 0.0042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5115-22_0_4_line_79 |  | 78 | 81 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5115-22_0_4_line_80 |  | 79 | 80 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5115-22_0_4_line_81 |  | 80 | 85 | 0.006541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5115-22_0_4_line_82 |  | 81 | 84 | 0.0031477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5115-22_0_4_line_83 |  | 82 | 83 | 0.0042716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5115-22_0_4_line_84 |  | 83 | 84 | 0.0022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5115-22_0_4_line_85 |  | 85 | 86 | 0.0020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5115-22_0_4_line_86 |  | 86 | 87 | 0.0049061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5115-22_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 88 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2701913.0898 | 1113752.3062 | 2701918.5231 | 1113759.3248 | 2701926.8309 | 1113761.8661
1 | 2701906.0181 | 1113743.171 | 2701913.0898 | 1113752.3062
2 | 2701926.8309 | 1113761.8661 | 2701926.8309 | 1113761.8661 | 2701927.9418 | 1113772.9695 | 2701927.9145 | 1113774.0516
3 | 2701906.0181 | 1113743.171 | 2701903.1875 | 1113745.2025 | 2701898.7855 | 1113747.0864
4 | 2701906.0181 | 1113743.171 | 2701919.2152 | 1113729.2063 | 2701925.4261 | 1113720.3869
5 | 2701927.8884 | 1113775.0881 | 2701927.9145 | 1113774.0516
6 | 2701897.2398 | 1113747.7479 | 2701898.7855 | 1113747.0864
7 | 2701927.5801 | 1113717.3283 | 2701925.4261 | 1113720.3869
8 | 2701927.7576 | 1113780.2755 | 2701927.8884 | 1113775.0881
9 | 2701927.5801 | 1113717.3283 | 2701927.5801 | 1113717.3283 | 2701934.1959 | 1113706.2578
10 | 2701958.8918 | 1113740.1025 | 2701957.2151 | 1113740.0866
11 | 2701958.8918 | 1113740.1025 | 2701960.0359 | 1113756.3877
12 | 2701993.472 | 1113724.7189 | 2701993.1219 | 1113734.5081 | 2701958.8918 | 1113740.1025
13 | 2701927.7576 | 1113780.2755 | 2701927.4773 | 1113791.3956 | 2701927.8256 | 1113797.3274
14 | 2701937.0414 | 1113701.0274 | 2701936.5462 | 1113702.3251 | 2701934.1959 | 1113706.2578
15 | 2701960.107 | 1113757.4006 | 2701960.0359 | 1113756.3877
16 | 2701993.472 | 1113724.7189 | 2701992.8997 | 1113719.9125
17 | 2701862.9791 | 1113757.2011 | 2701863.1559 | 1113721.4147
18 | 2701862.9791 | 1113757.2011 | 2701864.7775 | 1113767.2357
19 | 2701845.7871 | 1113731.7295 | 2701863.1559 | 1113721.4147
20 | 2701863.1559 | 1113721.4147 | 2701881.0028 | 1113706.789
21 | 2701866.3215 | 1113775.8506 | 2701864.7775 | 1113767.2357
22 | 2701845.7871 | 1113731.7295 | 2701830.2508 | 1113742.8308
23 | 2701845.7871 | 1113731.7295 | 2701838.737 | 1113693.8871 | 2701838.0765 | 1113671.1394
24 | 2701896.3437 | 1113688.8323 | 2701886.2078 | 1113702.5235 | 2701881.0028 | 1113706.789
25 | 2701867.9454 | 1113784.912 | 2701866.3215 | 1113775.8506
26 | 2701830.2508 | 1113742.8308 | 2701820.3842 | 1113749.8809 | 2701813.6818 | 1113757.3385
27 | 2701838.0765 | 1113671.1394 | 2701835.5766 | 1113670.964 | 2701832.7454 | 1113669.3599 | 2701825.3206 | 1113660.3511
28 | 2701838.0765 | 1113671.1394 | 2701840.3687 | 1113670.3441 | 2701842.7525 | 1113668.6942 | 2701844.2793 | 1113667.0188 | 2701846.5693 | 1113663.9024
29 | 2701896.3437 | 1113688.8323 | 2701896.8408 | 1113688.1608
30 | 2701867.9454 | 1113784.912 | 2701869.8696 | 1113795.6487
31 | 2701886.9016 | 1113609.0128 | 2701878.2797 | 1113620.7465
32 | 2701886.9016 | 1113609.0128 | 2701895.7512 | 1113596.9691
33 | 2701878.2797 | 1113620.7465 | 2701863.4326 | 1113640.9525
34 | 2701863.4326 | 1113640.9525 | 2701846.5693 | 1113663.9024
35 | 2701935.9056 | 1113572.8103 | 2701945.3168 | 1113561.2056 | 2701961.9583 | 1113539.0604
36 | 2701992.4608 | 1113557.6408 | 2701970.4085 | 1113544.1724 | 2701961.9583 | 1113539.0604
37 | 2701992.4608 | 1113557.6408 | 2701991.0366 | 1113559.5977
38 | 2701906.3226 | 1113675.3532 | 2701913.6797 | 1113665.4154
39 | 2701933.8401 | 1113638.1835 | 2701913.6797 | 1113665.4154
40 | 2701896.8408 | 1113688.1608 | 2701906.3226 | 1113675.3532
41 | 2701933.8401 | 1113638.1835 | 2701962.3144 | 1113653.3164 | 2701963.433 | 1113653.7878
42 | 2701933.8401 | 1113638.1835 | 2701941.7557 | 1113627.3098 | 2701944.0421 | 1113624.1683
43 | 2701986.162 | 1113663.3683 | 2701963.433 | 1113653.7878
44 | 2701944.0421 | 1113624.1683 | 2701971.1402 | 1113586.9354
45 | 2701987.0746 | 1113663.6956 | 2701986.162 | 1113663.3683
46 | 2701986.162 | 1113663.3683 | 2701988.5377 | 1113683.2957
47 | 2701971.1402 | 1113586.9354 | 2701991.0366 | 1113559.5977
48 | 2701999.3506 | 1113668.0985 | 2701987.0746 | 1113663.6956
49 | 2701989.9459 | 1113695.1076 | 2701988.5377 | 1113683.2957
50 | 2701937.0414 | 1113701.0274 | 2701942.3645 | 1113687.08
51 | 2701964.1246 | 1113689.9141 | 2701948.1912 | 1113682.3639 | 2701942.3645 | 1113687.08 | 2701942.3645 | 1113687.08
52 | 2701869.8696 | 1113795.6487 | 2701869.9968 | 1113796.3583
53 | 2701874.1232 | 1113819.3831 | 2701869.9968 | 1113796.3583
54 | 2701874.1232 | 1113819.3831 | 2701883.0783 | 1113822.7538
55 | 2702022.0053 | 1113676.2239 | 2701999.3506 | 1113668.0985
56 | 2701989.9459 | 1113695.1076 | 2701990.5702 | 1113700.3503
57 | 2701989.9459 | 1113695.1076 | 2701971.8596 | 1113692.4572
58 | 2702022.0053 | 1113676.2239 | 2702028.126 | 1113666.9081
59 | 2701990.5702 | 1113700.3503 | 2701992.8997 | 1113719.9125
60 | 2701964.1246 | 1113689.9141 | 2701968.4312 | 1113691.9548 | 2701971.8596 | 1113692.4572
61 | 2701816.1961 | 1113643.0548 | 2701816.7362 | 1113646.1096 | 2701818.5275 | 1113650.7538 | 2701821.1398 | 1113655.2783 | 2701825.3206 | 1113660.3511
62 | 2701816.1954 | 1113635.8274 | 2701816.1064 | 1113636.2373 | 2701815.8826 | 1113641.2811 | 2701816.1961 | 1113643.0548
63 | 2701818.8198 | 1113623.739 | 2701816.1954 | 1113635.8274
64 | 2702043.253 | 1113622.7568 | 2702040.7098 | 1113631.6305
65 | 2702043.253 | 1113622.7568 | 2702045.7064 | 1113614.1963
66 | 2702040.7098 | 1113631.6305 | 2702039.9702 | 1113634.2108 | 2702040.6601 | 1113647.831 | 2702033.2844 | 1113659.0569
67 | 2702046.2411 | 1113612.3306 | 2702045.7064 | 1113614.1963
68 | 2702033.2844 | 1113659.0569 | 2702028.126 | 1113666.9081
69 | 2702046.2411 | 1113612.3306 | 2702047.4224 | 1113608.2087 | 2702053.5887 | 1113599.9655
70 | 2702061.0155 | 1113590.0371 | 2702053.5887 | 1113599.9655
71 | 2702121.8009 | 1113575.0624 | 2702114.1727 | 1113567.9405 | 2702104.9998 | 1113564.4727 | 2702095.9517 | 1113565.054 | 2702084.574 | 1113571.8556 | 2702061.0155 | 1113590.0371 | 2702061.0155 | 1113590.0371
72 | 2702116.4954 | 1113582.2998 | 2702121.8009 | 1113575.0624
73 | 2702116.4954 | 1113582.2998 | 2702096.2734 | 1113616.9074
74 | 2701818.8198 | 1113623.739 | 2701820.832 | 1113614.4709
75 | 2701820.832 | 1113614.4709 | 2701821.4426 | 1113611.6582
76 | 2701822.7467 | 1113605.6517 | 2701821.4426 | 1113611.6582
77 | 2701825.1714 | 1113594.4835 | 2701822.7467 | 1113605.6517
78 | 2701921.7267 | 1113821.9275 | 2701922.7407 | 1113817.8375
79 | 2701925.509 | 1113806.6715 | 2701922.7407 | 1113817.8375
80 | 2701958.1742 | 1113782.1511 | 2701959.0559 | 1113770.8606
81 | 2701959.0559 | 1113770.8606 | 2701959.5652 | 1113764.3394
82 | 2701926.2664 | 1113803.6164 | 2701925.509 | 1113806.6715
83 | 2701926.7977 | 1113801.4735 | 2701927.8256 | 1113797.3274 | 2701927.8256 | 1113797.3274
84 | 2701926.2664 | 1113803.6164 | 2701926.7977 | 1113801.4735
85 | 2701959.7251 | 1113762.2918 | 2701959.5652 | 1113764.3394
86 | 2701959.7251 | 1113762.2918 | 2701960.107 | 1113757.4006 | 2701960.107 | 1113757.4006

## bus_geodata
| x | y | coords
0 | 2701913.0898 | 1113752.3062
1 | 2701926.8309 | 1113761.8661
2 | 2701906.0181 | 1113743.171
3 | 2701927.9145 | 1113774.0516
4 | 2701898.7855 | 1113747.0864
5 | 2701925.4261 | 1113720.3869
6 | 2701927.8884 | 1113775.0881
7 | 2701897.2398 | 1113747.7479
8 | 2701927.5801 | 1113717.3283
9 | 2701957.2151 | 1113740.0866
10 | 2701958.8918 | 1113740.1025
11 | 2701927.7576 | 1113780.2755
12 | 2701934.1959 | 1113706.2578
13 | 2701960.0359 | 1113756.3877
14 | 2701993.4721 | 1113724.7189
15 | 2701862.9791 | 1113757.2011
16 | 2701863.1559 | 1113721.4148
17 | 2701864.7775 | 1113767.2357
18 | 2701845.7871 | 1113731.7295
19 | 2701881.0028 | 1113706.789
20 | 2701866.3215 | 1113775.8506
21 | 2701830.2508 | 1113742.8308
22 | 2701838.0765 | 1113671.1394
23 | 2701896.3437 | 1113688.8323
24 | 2701867.9454 | 1113784.912
25 | 2701886.9016 | 1113609.0128
26 | 2701878.2797 | 1113620.7465
27 | 2701895.7512 | 1113596.9691
28 | 2701863.4326 | 1113640.9525
29 | 2701846.5693 | 1113663.9024
30 | 2701961.9583 | 1113539.0604
31 | 2701935.9056 | 1113572.8103
32 | 2701992.4608 | 1113557.6408
33 | 2701913.6797 | 1113665.4154
34 | 2701906.3226 | 1113675.3532
35 | 2701933.8401 | 1113638.1835
36 | 2701896.8408 | 1113688.1608
37 | 2701963.433 | 1113653.7878
38 | 2701944.0421 | 1113624.1683
39 | 2701986.162 | 1113663.3683
40 | 2701971.1402 | 1113586.9354
41 | 2701987.0746 | 1113663.6956
42 | 2701988.5377 | 1113683.2957
43 | 2701991.0366 | 1113559.5977
44 | 2701937.0414 | 1113701.0275
45 | 2701942.3645 | 1113687.08
46 | 2701869.8696 | 1113795.6487
47 | 2701869.9968 | 1113796.3583
48 | 2701874.1232 | 1113819.3831
49 | 2701883.0783 | 1113822.7538
50 | 2701999.3505 | 1113668.0985
51 | 2701989.9459 | 1113695.1076
52 | 2702022.0053 | 1113676.2239
53 | 2701990.5702 | 1113700.3503
54 | 2701971.8596 | 1113692.4572
55 | 2701825.3206 | 1113660.3511
56 | 2701816.1961 | 1113643.0548
57 | 2701813.6818 | 1113757.3385
58 | 2701816.1954 | 1113635.8274
59 | 2702043.253 | 1113622.7568
60 | 2702040.7098 | 1113631.6305
61 | 2702045.7064 | 1113614.1963
62 | 2702033.2844 | 1113659.0569
63 | 2702046.2411 | 1113612.3306
64 | 2702028.126 | 1113666.9081
65 | 2702053.5887 | 1113599.9655
66 | 2702061.0155 | 1113590.0371
67 | 2702121.8009 | 1113575.0624
68 | 2702116.4954 | 1113582.2998
69 | 2701964.1246 | 1113689.9141
70 | 2701992.8997 | 1113719.9125
71 | 2702096.2734 | 1113616.9074
72 | 2701818.8198 | 1113623.739
73 | 2701820.832 | 1113614.4709
74 | 2701821.4426 | 1113611.6582
75 | 2701822.7467 | 1113605.6517
76 | 2701825.1714 | 1113594.4835
77 | 2701921.7267 | 1113821.9275
78 | 2701922.7407 | 1113817.8375
79 | 2701958.1742 | 1113782.1511
80 | 2701959.0559 | 1113770.8606
81 | 2701925.509 | 1113806.6715
82 | 2701927.8256 | 1113797.3274
83 | 2701926.7977 | 1113801.4735
84 | 2701926.2664 | 1113803.6164
85 | 2701959.5652 | 1113764.3394
86 | 2701959.7251 | 1113762.2918
87 | 2701960.107 | 1113757.4006
88 | 2701989.9459 | 1113695.1076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1