## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5115-3_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5115-3_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5115-3_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5115-3_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5115-3_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5115-3_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5115-3_0_7_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_5115-3_0_7_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_5115-3_0_7_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_5115-3_0_7_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_5115-3_0_7_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_5115-3_0_7_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5115-3_0_7_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5115-3_0_7_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5115-3_0_7_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_5115-3_0_7_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_5115-3_0_7_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5115-3_0_7_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_5115-3_0_7_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_5115-3_0_7_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5115-3_0_7_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_5115-3_0_7_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_5115-3_0_7_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5115-3_0_7_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5115-3_0_7_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5115-3_0_7_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5115-3_0_7_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5115-3_0_7_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_5115-3_0_7_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_5115-3_0_7_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5115-3_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5115-3_0_7_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5115-3_0_7_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5115-3_0_7_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5115-3_0_7_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5115-3_0_7_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5115-3_0_7_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5115-3_0_7_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_5115-3_0_7_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_5115-3_0_7_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5115-3_0_7_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5115-3_0_7_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5115-3_0_7_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5115-3_0_7_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5115-3_0_7_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5115-3_0_7_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5115-3_0_7_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5115-3_0_7_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5115-3_0_7_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_5115-3_0_7_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5115-3_0_7_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5115-3_0_7_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5115-3_0_7_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5115-3_0_7_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_5115-3_0_7_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5115-3_0_7_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5115-3_0_7_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5115-3_0_7_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5115-3_0_7_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_5115-3_0_7_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5115-3_0_7_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5115-3_0_7_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5115-3_0_7_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5115-3_0_7_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5115-3_0_7_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5115-3_0_7_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5115-3_0_7_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5115-3_0_7_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5115-3_0_7_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5115-3_0_7_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5115-3_0_7_node_67 | 0.4 | n |  | TRUE
71 | bus_MV_66_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5115-3_0_7_load_0 | 0 | 0.020293 | 0.005086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5115-3_0_7_load_3 | 3 | 0.023135 | 0.0057981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5115-3_0_7_load_4 | 4 | 0.014419 | 0.0036136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5115-3_0_7_load_71 | 7 | 0.007648 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5115-3_0_7_load_68 | 8 | 0.0063185 | 0.0015836 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5115-3_0_7_load_20 | 9 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5115-3_0_7_load_18 | 10 | 0.0039653 | 0.0009938 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5115-3_0_7_load_28 | 11 | 0.037163 | 0.0093139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5115-3_0_7_load_21 | 12 | 0.012428 | 0.0031148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5115-3_0_7_load_16 | 13 | 0.0055255 | 0.0013848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5115-3_0_7_load_31 | 14 | 0.024642 | 0.0061759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5115-3_0_7_load_29 | 16 | 0.035989 | 0.0090196 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5115-3_0_7_load_72 | 18 | 0.013992 | 0.0035068 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5115-3_0_7_load_7 | 20 | 0.011685 | 0.0029285 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5115-3_0_7_load_12 | 25 | 0.012024 | 0.0030134 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5115-3_0_7_load_25 | 26 | 0.015367 | 0.0038513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5115-3_0_7_load_66 | 27 | 0.014153 | 0.003547 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5115-3_0_7_load_63 | 28 | 0.0069638 | 0.0017453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5115-3_0_7_load_23 | 30 | 0.011044 | 0.0027679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5115-3_0_7_load_19 | 32 | 0.015552 | 0.0038977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5115-3_0_7_load_15 | 33 | 0.025504 | 0.0063919 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5115-3_0_7_load_22 | 34 | 0.012126 | 0.0030391 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5115-3_0_7_load_24 | 36 | 0.031192 | 0.0078174 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5115-3_0_7_load_61 | 37 | 0.0044504 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5115-3_0_7_load_56 | 38 | 0.00075765 | 0.00018988 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5115-3_0_7_load_30 | 39 | 0.03656 | 0.0091628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5115-3_0_7_load_32 | 40 | 0.0048615 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5115-3_0_7_load_33 | 41 | 0.0015209 | 0.00038117 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5115-3_0_7_load_36 | 44 | 0.023194 | 0.005813 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5115-3_0_7_load_40 | 46 | 0.0069374 | 0.0017387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5115-3_0_7_load_37 | 47 | 0.010976 | 0.0027508 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5115-3_0_7_load_41 | 50 | 0.0062641 | 0.0015699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5115-3_0_7_load_38 | 51 | 0.023198 | 0.005814 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5115-3_0_7_load_52 | 52 | 0.0017424 | 0.00043669 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5115-3_0_7_load_69 | 53 | 0.0060547 | 0.0015175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5115-3_0_7_load_46 | 54 | 0.0052682 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5115-3_0_7_load_43 | 55 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5115-3_0_7_load_44 | 56 | 0.0041977 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5115-3_0_7_load_47 | 58 | 0.0031456 | 0.00078836 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5115-3_0_7_load_48 | 59 | 0.0031782 | 0.00079654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5115-3_0_7_load_50 | 60 | 0.0040283 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5115-3_0_7_load_51 | 62 | 0.007531 | 0.0018874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5115-3_0_7_load_65 | 63 | 0.002889 | 0.00072405 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5115-3_0_7_load_59 | 64 | 0.0046935 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5115-3_0_7_load_58 | 65 | 0.0031758 | 0.00079593 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5115-3_0_7_load_53 | 66 | 0.0016791 | 0.00042082 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5115-3_0_7_load_55 | 67 | 0.0077781 | 0.0019494 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5115-3_0_7_load_62 | 68 | 0.0098291 | 0.0024634 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5115-3_0_7_load_57 | 69 | 0.004621 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5115-3_0_7_load_67 | 70 | 0.0059794 | 0.0014986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5115-3_0_7_line_0 |  | 0 | 1 | 0.0079057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5115-3_0_7_line_1 |  | 0 | 2 | 0.0031921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5115-3_0_7_line_2 |  | 1 | 3 | 0.034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5115-3_0_7_line_3 |  | 1 | 4 | 0.026083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5115-3_0_7_line_4 |  | 2 | 5 | 0.056172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5115-3_0_7_line_5 |  | 3 | 9 | 0.0061603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5115-3_0_7_line_6 |  | 4 | 10 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5115-3_0_7_line_7 |  | 5 | 11 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5115-3_0_7_line_8 |  | 6 | 7 | 0.0091121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5115-3_0_7_line_9 |  | 6 | 8 | 0.0094843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5115-3_0_7_line_10 |  | 8 | 53 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5115-3_0_7_line_11 |  | 9 | 12 | 0.044167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5115-3_0_7_line_12 |  | 10 | 13 | 0.028916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5115-3_0_7_line_13 |  | 11 | 16 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5115-3_0_7_line_14 |  | 12 | 34 | 0.031133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5115-3_0_7_line_15 |  | 13 | 33 | 0.0096657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5115-3_0_7_line_16 |  | 14 | 15 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5115-3_0_7_line_17 |  | 15 | 35 | 0.008408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5115-3_0_7_line_18 |  | 16 | 39 | 0.025044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5115-3_0_7_line_19 |  | 17 | 18 | 0.0056914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5115-3_0_7_line_20 |  | 17 | 19 | 0.065509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5115-3_0_7_line_21 |  | 19 | 39 | 0.059228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5115-3_0_7_line_22 |  | 20 | 21 | 0.0098787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5115-3_0_7_line_23 |  | 20 | 22 | 0.013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5115-3_0_7_line_24 |  | 21 | 23 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5115-3_0_7_line_25 |  | 22 | 24 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5115-3_0_7_line_26 |  | 23 | 25 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5115-3_0_7_line_27 |  | 24 | 26 | 0.029245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5115-3_0_7_line_28 |  | 24 | 27 | 0.22462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5115-3_0_7_line_29 |  | 25 | 29 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5115-3_0_7_line_30 |  | 26 | 30 | 0.011514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5115-3_0_7_line_31 |  | 27 | 28 | 0.0010848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5115-3_0_7_line_32 |  | 28 | 68 | 0.007359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5115-3_0_7_line_33 |  | 29 | 31 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5115-3_0_7_line_34 |  | 30 | 36 | 0.020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5115-3_0_7_line_35 |  | 31 | 32 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5115-3_0_7_line_36 |  | 34 | 35 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5115-3_0_7_line_37 |  | 35 | 36 | 0.026578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5115-3_0_7_line_38 |  | 37 | 38 | 0.02911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5115-3_0_7_line_39 |  | 38 | 48 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5115-3_0_7_line_40 |  | 40 | 41 | 0.031455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5115-3_0_7_line_41 |  | 40 | 42 | 0.033354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5115-3_0_7_line_42 |  | 41 | 43 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5115-3_0_7_line_43 |  | 42 | 44 | 0.024519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5115-3_0_7_line_44 |  | 43 | 45 | 0.016779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5115-3_0_7_line_45 |  | 43 | 46 | 0.053199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5115-3_0_7_line_46 |  | 44 | 47 | 0.016581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5115-3_0_7_line_47 |  | 45 | 48 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5115-3_0_7_line_48 |  | 45 | 49 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5115-3_0_7_line_49 |  | 46 | 50 | 0.0093287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5115-3_0_7_line_50 |  | 47 | 51 | 0.026051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5115-3_0_7_line_51 |  | 48 | 52 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5115-3_0_7_line_52 |  | 49 | 53 | 0.053724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5115-3_0_7_line_53 |  | 49 | 54 | 0.0044621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5115-3_0_7_line_54 |  | 52 | 66 | 0.0092001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5115-3_0_7_line_55 |  | 54 | 56 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5115-3_0_7_line_56 |  | 55 | 56 | 0.0048881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5115-3_0_7_line_57 |  | 55 | 57 | 0.035306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5115-3_0_7_line_58 |  | 57 | 58 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5115-3_0_7_line_59 |  | 57 | 59 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5115-3_0_7_line_60 |  | 58 | 60 | 0.013855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5115-3_0_7_line_61 |  | 59 | 61 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5115-3_0_7_line_62 |  | 60 | 62 | 0.029859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5115-3_0_7_line_63 |  | 61 | 63 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5115-3_0_7_line_64 |  | 62 | 64 | 0.0074476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5115-3_0_7_line_65 |  | 63 | 70 | 0.029038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5115-3_0_7_line_66 |  | 64 | 65 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5115-3_0_7_line_67 |  | 65 | 69 | 0.000404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5115-3_0_7_line_68 |  | 66 | 67 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5115-3_0_7_line_69 |  | 67 | 68 | 0.0021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5115-3_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 71 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2702987.792 | 1113555.0764 | 2702995.6461 | 1113555.9782
1 | 2702998.8174 | 1113556.3423 | 2702995.6461 | 1113555.9782
2 | 2702987.792 | 1113555.0764 | 2702992.0891 | 1113521.1557
3 | 2702987.792 | 1113555.0764 | 2702961.8783 | 1113552.1082
4 | 2703007.2392 | 1113500.8168 | 2702998.8174 | 1113556.3423
5 | 2702992.8633 | 1113515.0443 | 2702992.0891 | 1113521.1557
6 | 2702961.8783 | 1113552.1082 | 2702946.0367 | 1113550.2936
7 | 2703007.2392 | 1113500.8168 | 2703029.9525 | 1113503.2349
8 | 2702699.7953 | 1113361.2903 | 2702697.9279 | 1113352.3716
9 | 2702699.7953 | 1113361.2903 | 2702690.5364 | 1113363.3459
10 | 2702690.5364 | 1113363.3459 | 2702682.4895 | 1113327.7748
11 | 2703002.5167 | 1113472.2257 | 2702998.3219 | 1113497.7856 | 2702993.6808 | 1113508.5914 | 2702992.8633 | 1113515.0443
12 | 2702917.3082 | 1113547.003 | 2702946.0367 | 1113550.2936
13 | 2703029.9525 | 1113503.2349 | 2703034.9532 | 1113503.7673 | 2703044.3597 | 1113502.0182
14 | 2703002.5167 | 1113472.2257 | 2703007.5588 | 1113441.5035
15 | 2702907.7053 | 1113545.903 | 2702917.3082 | 1113547.003
16 | 2703019.0519 | 1113423.5239 | 2703018.4291 | 1113427.8939 | 2703016.6791 | 1113440.9897
17 | 2703010.6971 | 1113422.3813 | 2703019.0519 | 1113423.5239
18 | 2703044.3597 | 1113502.0182 | 2703053.2501 | 1113500.3651 | 2703060.4199 | 1113493.0489 | 2703062.6884 | 1113487.7575
19 | 2703085.8389 | 1113516.0179 | 2703083.3611 | 1113521.1417
20 | 2703085.8389 | 1113516.0179 | 2703089.436 | 1113505.2834 | 2703095.6344 | 1113487.8666 | 2703107.1867 | 1113454.086
21 | 2703107.1867 | 1113454.086 | 2703069.9123 | 1113470.9074 | 2703062.6884 | 1113487.7575
22 | 2702919.9867 | 1113451.07 | 2702921.4175 | 1113441.2955
23 | 2702922.9482 | 1113428.1724 | 2702921.4462 | 1113441.0996 | 2702921.4175 | 1113441.2955
24 | 2702919.9867 | 1113451.07 | 2702921.7739 | 1113451.3672 | 2702920.7748 | 1113457.4319 | 2702916.8768 | 1113456.7875
25 | 2702924.0525 | 1113411.3694 | 2702923.305 | 1113417.1715 | 2702922.6037 | 1113422.9855 | 2702925.3242 | 1113423.3653 | 2702924.605 | 1113428.4118 | 2702922.9482 | 1113428.1724
26 | 2702916.8768 | 1113456.7875 | 2702915.0652 | 1113467.7062
27 | 2702924.0525 | 1113411.3694 | 2702953.064 | 1113415.0566
28 | 2702720.0304 | 1113317.3942 | 2702924.0525 | 1113411.3694
29 | 2702913.5582 | 1113478.8786 | 2702914.9748 | 1113468.2514 | 2702915.0652 | 1113467.7062
30 | 2702953.064 | 1113415.0566 | 2702964.486 | 1113416.5082
31 | 2702720.0304 | 1113317.3942 | 2702719.8387 | 1113316.3264
32 | 2702719.8387 | 1113316.3264 | 2702718.5381 | 1113309.0833
33 | 2702913.5582 | 1113478.8786 | 2702911.7778 | 1113478.6371 | 2702911.0726 | 1113483.7728 | 2702914.9647 | 1113484.3059
34 | 2702984.3313 | 1113419.0304 | 2702964.486 | 1113416.5082
35 | 2702914.9647 | 1113484.3059 | 2702913.59 | 1113495.1063
36 | 2703010.6971 | 1113422.3813 | 2703007.5588 | 1113441.5035
37 | 2703010.6971 | 1113422.3813 | 2702984.3313 | 1113419.0304
38 | 2702737.5727 | 1113258.063 | 2702765.8075 | 1113250.9767
39 | 2702710.5925 | 1113264.8343 | 2702737.5727 | 1113258.063
40 | 2702667.1086 | 1113211.4214 | 2702674.4528 | 1113242.0065
41 | 2702659.3209 | 1113178.9893 | 2702667.1086 | 1113211.4214
42 | 2702677.8307 | 1113256.0738 | 2702674.4528 | 1113242.0065
43 | 2702659.3209 | 1113178.9893 | 2702683.0832 | 1113172.9444
44 | 2702681.2063 | 1113272.5081 | 2702677.8307 | 1113256.0738
45 | 2702677.8307 | 1113256.0738 | 2702729.3995 | 1113243.0048
46 | 2702699.1524 | 1113168.8566 | 2702683.0832 | 1113172.9444
47 | 2702681.2063 | 1113272.5081 | 2702710.5925 | 1113264.8343
48 | 2702670.6357 | 1113275.3753 | 2702681.2063 | 1113272.5081
49 | 2702738.4423 | 1113240.713 | 2702729.3995 | 1113243.0048
50 | 2702699.1524 | 1113168.8566 | 2702724.3994 | 1113162.4341
51 | 2702710.5925 | 1113264.8343 | 2702713.7772 | 1113282.5699
52 | 2702670.6357 | 1113275.3753 | 2702682.4895 | 1113327.7748
53 | 2702670.6357 | 1113275.3753 | 2702666.3297 | 1113276.5456
54 | 2702713.7772 | 1113282.5699 | 2702715.4032 | 1113291.6252
55 | 2702652.3549 | 1113280.3438 | 2702666.3297 | 1113276.5456
56 | 2702647.6379 | 1113281.6258 | 2702652.3549 | 1113280.3438
57 | 2702613.568 | 1113290.8857 | 2702647.6379 | 1113281.6258
58 | 2702613.568 | 1113290.8857 | 2702616.3601 | 1113305.4413
59 | 2702613.568 | 1113290.8857 | 2702591.0125 | 1113297.1301
60 | 2702616.3601 | 1113305.4413 | 2702618.9701 | 1113319.0483
61 | 2702572.5802 | 1113301.6545 | 2702579.129 | 1113300.4201 | 2702591.0125 | 1113297.1301
62 | 2702618.9701 | 1113319.0483 | 2702624.595 | 1113348.3724
63 | 2702572.5802 | 1113301.6545 | 2702576.8559 | 1113322.1174
64 | 2702625.9981 | 1113355.6867 | 2702624.595 | 1113348.3724
65 | 2702576.8559 | 1113322.1174 | 2702582.7952 | 1113350.5418
66 | 2702625.9981 | 1113355.6867 | 2702627.176 | 1113361.8277 | 2702629.2381 | 1113370.7604
67 | 2702629.3289 | 1113371.1541 | 2702629.2381 | 1113370.7604
68 | 2702718.1666 | 1113307.0143 | 2702715.4032 | 1113291.6252
69 | 2702718.1666 | 1113307.0143 | 2702718.5381 | 1113309.0833

## bus_geodata
| x | y | coords
0 | 2702995.6461 | 1113555.9782
1 | 2702987.792 | 1113555.0764
2 | 2702998.8174 | 1113556.3423
3 | 2702992.0891 | 1113521.1557
4 | 2702961.8783 | 1113552.1082
5 | 2703007.2392 | 1113500.8168
6 | 2702699.7953 | 1113361.2903
7 | 2702697.9279 | 1113352.3716
8 | 2702690.5364 | 1113363.3459
9 | 2702992.8633 | 1113515.0443
10 | 2702946.0367 | 1113550.2936
11 | 2703029.9525 | 1113503.2349
12 | 2703002.5167 | 1113472.2257
13 | 2702917.3082 | 1113547.003
14 | 2703016.6791 | 1113440.9897
15 | 2703019.0519 | 1113423.5239
16 | 2703044.3597 | 1113502.0182
17 | 2703085.8389 | 1113516.0179
18 | 2703083.3611 | 1113521.1417
19 | 2703107.1867 | 1113454.086
20 | 2702921.4175 | 1113441.2955
21 | 2702919.9867 | 1113451.07
22 | 2702922.9482 | 1113428.1724
23 | 2702916.8768 | 1113456.7875
24 | 2702924.0525 | 1113411.3694
25 | 2702915.0652 | 1113467.7062
26 | 2702953.064 | 1113415.0566
27 | 2702720.0304 | 1113317.3942
28 | 2702719.8387 | 1113316.3264
29 | 2702913.5582 | 1113478.8786
30 | 2702964.486 | 1113416.5082
31 | 2702914.9647 | 1113484.3059
32 | 2702913.59 | 1113495.1063
33 | 2702907.7053 | 1113545.903
34 | 2703007.5588 | 1113441.5035
35 | 2703010.6971 | 1113422.3813
36 | 2702984.3313 | 1113419.0304
37 | 2702765.8075 | 1113250.9767
38 | 2702737.5727 | 1113258.063
39 | 2703062.6884 | 1113487.7575
40 | 2702667.1086 | 1113211.4214
41 | 2702674.4528 | 1113242.0065
42 | 2702659.3209 | 1113178.9893
43 | 2702677.8307 | 1113256.0738
44 | 2702683.0832 | 1113172.9444
45 | 2702681.2063 | 1113272.5081
46 | 2702729.3995 | 1113243.0048
47 | 2702699.1524 | 1113168.8566
48 | 2702710.5925 | 1113264.8343
49 | 2702670.6357 | 1113275.3753
50 | 2702738.4423 | 1113240.713
51 | 2702724.3994 | 1113162.4341
52 | 2702713.7772 | 1113282.5699
53 | 2702682.4895 | 1113327.7748
54 | 2702666.3297 | 1113276.5456
55 | 2702647.6379 | 1113281.6258
56 | 2702652.3549 | 1113280.3438
57 | 2702613.568 | 1113290.8857
58 | 2702616.3601 | 1113305.4413
59 | 2702591.0125 | 1113297.1301
60 | 2702618.9701 | 1113319.0483
61 | 2702572.5802 | 1113301.6545
62 | 2702624.595 | 1113348.3724
63 | 2702576.8559 | 1113322.1174
64 | 2702625.9981 | 1113355.6867
65 | 2702629.2381 | 1113370.7604
66 | 2702715.4032 | 1113291.6252
67 | 2702718.1666 | 1113307.0143
68 | 2702718.5381 | 1113309.0833
69 | 2702629.3289 | 1113371.1541
70 | 2702582.7952 | 1113350.5418
71 | 2702922.6037 | 1113422.9855

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1