## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5115-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5115-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5115-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5115-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5115-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5115-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5115-6_0_5_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_5115-6_0_5_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_5115-6_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_5115-6_0_5_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5115-6_0_5_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5115-6_0_5_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_5115-6_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5115-6_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5115-6_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5115-6_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5115-6_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5115-6_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5115-6_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5115-6_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5115-6_0_5_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5115-6_0_5_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_5115-6_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_5115-6_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_5115-6_0_5_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_5115-6_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5115-6_0_5_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5115-6_0_5_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_5115-6_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5115-6_0_5_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_5115-6_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_5115-6_0_5_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_5115-6_0_5_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_5115-6_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5115-6_0_5_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_5115-6_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5115-6_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5115-6_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5115-6_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5115-6_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5115-6_0_5_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_5115-6_0_5_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_5115-6_0_5_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_5115-6_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_5115-6_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5115-6_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_5115-6_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5115-6_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5115-6_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5115-6_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5115-6_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5115-6_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5115-6_0_5_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_5115-6_0_5_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_5115-6_0_5_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5115-6_0_5_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_5115-6_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_5115-6_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5115-6_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5115-6_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5115-6_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5115-6_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5115-6_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5115-6_0_5_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_5115-6_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5115-6_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5115-6_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_5115-6_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_5115-6_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_5115-6_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5115-6_0_5_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_5115-6_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5115-6_0_5_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_5115-6_0_5_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_5115-6_0_5_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_5115-6_0_5_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_5115-6_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5115-6_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5115-6_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_5115-6_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_5115-6_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5115-6_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_5115-6_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_5115-6_0_5_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_5115-6_0_5_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_5115-6_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_5115-6_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_5115-6_0_5_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_5115-6_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_5115-6_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_5115-6_0_5_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_5115-6_0_5_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_5115-6_0_5_node_96 | 0.4 | n |  | TRUE
93 | bus_MV_66_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5115-6_0_5_load_0 | 0 | 0.0024375 | 0.0006109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5115-6_0_5_load_1 | 1 | 0.0041839 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5115-6_0_5_load_2 | 2 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5115-6_0_5_load_4 | 4 | 0.0016519 | 0.000414 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5115-6_0_5_load_5 | 5 | 0.0055351 | 0.0013872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5115-6_0_5_load_69 | 6 | 0.0037648 | 0.00094356 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5115-6_0_5_load_79 | 7 | 0.0032097 | 0.00080442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5115-6_0_5_load_33 | 8 | 0.009613 | 0.0024092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5115-6_0_5_load_34 | 9 | 0.0053625 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5115-6_0_5_load_35 | 10 | 0.035154 | 0.0088104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5115-6_0_5_load_77 | 11 | 0.004538 | 0.0011373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5115-6_0_5_load_6 | 12 | 0.018201 | 0.0045615 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5115-6_0_5_load_7 | 13 | 0.0058092 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5115-6_0_5_load_10 | 16 | 0.0064917 | 0.001627 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5115-6_0_5_load_13 | 18 | 0.0063036 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5115-6_0_5_load_42 | 20 | 0.0026008 | 0.00065182 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5115-6_0_5_load_53 | 22 | 0.015938 | 0.0039944 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5115-6_0_5_load_54 | 23 | 0.008201 | 0.0020554 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5115-6_0_5_load_55 | 24 | 0.010445 | 0.0026178 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5115-6_0_5_load_74 | 26 | 0.007535 | 0.0018885 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5115-6_0_5_load_91 | 27 | 0.0043275 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5115-6_0_5_load_16 | 28 | 0.028836 | 0.0072269 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5115-6_0_5_load_90 | 29 | 0.0078128 | 0.0019581 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5115-6_0_5_load_57 | 32 | 0.0029702 | 0.0007444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5115-6_0_5_load_92 | 34 | 0.0085416 | 0.0021407 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5115-6_0_5_load_17 | 35 | 0.0036167 | 0.00090644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5115-6_0_5_load_18 | 36 | 0.0020895 | 0.00052367 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5115-6_0_5_load_19 | 37 | 0.0044723 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5115-6_0_5_load_22 | 39 | 0.0086044 | 0.0021565 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5115-6_0_5_load_71 | 40 | 0.0042886 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5115-6_0_5_load_72 | 41 | 0.0033724 | 0.0008452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5115-6_0_5_load_67 | 42 | 0.004581 | 0.0011481 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5115-6_0_5_load_66 | 43 | 0.0066054 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5115-6_0_5_load_25 | 44 | 0.0068455 | 0.0017157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5115-6_0_5_load_26 | 45 | 0.0053749 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5115-6_0_5_load_30 | 49 | 0.0043925 | 0.0011009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5115-6_0_5_load_31 | 50 | 0.0062362 | 0.0015629 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5115-6_0_5_load_32 | 51 | 0.0036991 | 0.00092707 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5115-6_0_5_load_87 | 52 | 0.0037686 | 0.00094451 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5115-6_0_5_load_83 | 54 | 0.0036134 | 0.00090559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5115-6_0_5_load_84 | 55 | 0.0047354 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5115-6_0_5_load_37 | 56 | 0.01067 | 0.002674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5115-6_0_5_load_38 | 57 | 0.0092847 | 0.002327 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5115-6_0_5_load_39 | 58 | 0.017794 | 0.0044596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5115-6_0_5_load_40 | 59 | 0.010306 | 0.0025829 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5115-6_0_5_load_47 | 60 | 0.010143 | 0.0025421 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5115-6_0_5_load_44 | 61 | 0.0065243 | 0.0016351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5115-6_0_5_load_43 | 62 | 0.0079341 | 0.0019885 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5115-6_0_5_load_89 | 63 | 0.0046897 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5115-6_0_5_load_45 | 64 | 0.0065138 | 0.0016325 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5115-6_0_5_load_46 | 65 | 0.0049772 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5115-6_0_5_load_48 | 66 | 0.007383 | 0.0018504 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5115-6_0_5_load_49 | 67 | 0.012606 | 0.0031593 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5115-6_0_5_load_50 | 68 | 0.010757 | 0.002696 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5115-6_0_5_load_52 | 69 | 0.0056336 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5115-6_0_5_load_94 | 70 | 0.003759 | 0.00094209 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5115-6_0_5_load_64 | 71 | 0.0017855 | 0.00044749 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5115-6_0_5_load_86 | 72 | 0.012108 | 0.0030346 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5115-6_0_5_load_93 | 73 | 0.0091115 | 0.0022836 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5115-6_0_5_load_98 | 74 | 0.010988 | 0.0027538 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5115-6_0_5_load_97 | 75 | 0.011629 | 0.0029145 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5115-6_0_5_load_58 | 76 | 0.0023963 | 0.00060056 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5115-6_0_5_load_59 | 77 | 0.0024213 | 0.00060683 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5115-6_0_5_load_60 | 78 | 0.0020779 | 0.00052077 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5115-6_0_5_load_61 | 79 | 0.0089589 | 0.0022453 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5115-6_0_5_load_63 | 81 | 0.0022404 | 0.0005615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5115-6_0_5_load_65 | 82 | 0.0049342 | 0.0012366 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5115-6_0_5_load_88 | 83 | 0.0047248 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5115-6_0_5_load_85 | 84 | 0.0017017 | 0.00042648 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5115-6_0_5_load_68 | 85 | 0.0047962 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5115-6_0_5_load_73 | 86 | 0.0074261 | 0.0018611 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5115-6_0_5_load_76 | 87 | 0.0022518 | 0.00056435 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5115-6_0_5_load_78 | 88 | 0.0041541 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5115-6_0_5_load_80 | 89 | 0.0053367 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5115-6_0_5_load_81 | 90 | 0.017042 | 0.004271 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5115-6_0_5_load_95 | 91 | 0.020026 | 0.0050189 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5115-6_0_5_load_96 | 92 | 0.0052972 | 0.0013276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5115-6_0_5_line_0 |  | 0 | 1 | 0.0035976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5115-6_0_5_line_1 |  | 0 | 2 | 0.0086209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5115-6_0_5_line_2 |  | 1 | 3 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5115-6_0_5_line_3 |  | 3 | 4 | 0.0057216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5115-6_0_5_line_4 |  | 3 | 5 | 0.0037136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5115-6_0_5_line_5 |  | 4 | 6 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5115-6_0_5_line_6 |  | 5 | 7 | 0.0064672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5115-6_0_5_line_7 |  | 7 | 11 | 0.0078335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5115-6_0_5_line_8 |  | 8 | 9 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5115-6_0_5_line_9 |  | 8 | 10 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5115-6_0_5_line_10 |  | 10 | 30 | 0.052458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5115-6_0_5_line_11 |  | 11 | 87 | 0.003257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5115-6_0_5_line_12 |  | 12 | 13 | 0.00092507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5115-6_0_5_line_13 |  | 12 | 14 | 0.033904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5115-6_0_5_line_14 |  | 13 | 15 | 0.032549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5115-6_0_5_line_15 |  | 14 | 16 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5115-6_0_5_line_16 |  | 15 | 17 | 0.053355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5115-6_0_5_line_17 |  | 15 | 18 | 0.045842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5115-6_0_5_line_18 |  | 16 | 19 | 0.030495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5115-6_0_5_line_19 |  | 17 | 20 | 0.0040125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5115-6_0_5_line_20 |  | 18 | 21 | 0.03903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5115-6_0_5_line_21 |  | 19 | 22 | 0.043211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5115-6_0_5_line_22 |  | 19 | 23 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5115-6_0_5_line_23 |  | 19 | 24 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5115-6_0_5_line_24 |  | 20 | 29 | 0.0023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5115-6_0_5_line_25 |  | 21 | 30 | 0.061665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5115-6_0_5_line_26 |  | 22 | 31 | 0.0085787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5115-6_0_5_line_27 |  | 23 | 28 | 0.005483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5115-6_0_5_line_28 |  | 24 | 32 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5115-6_0_5_line_29 |  | 25 | 26 | 0.026859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5115-6_0_5_line_30 |  | 25 | 27 | 0.019441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5115-6_0_5_line_31 |  | 26 | 33 | 0.003111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5115-6_0_5_line_32 |  | 27 | 34 | 0.027441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5115-6_0_5_line_33 |  | 29 | 63 | 0.023117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5115-6_0_5_line_34 |  | 31 | 72 | 0.0082928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5115-6_0_5_line_35 |  | 31 | 73 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5115-6_0_5_line_36 |  | 32 | 74 | 0.00021605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5115-6_0_5_line_37 |  | 33 | 38 | 0.015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5115-6_0_5_line_38 |  | 34 | 73 | 0.023461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5115-6_0_5_line_39 |  | 35 | 36 | 0.015079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5115-6_0_5_line_40 |  | 35 | 37 | 0.007936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5115-6_0_5_line_41 |  | 36 | 38 | 0.0097172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5115-6_0_5_line_42 |  | 38 | 39 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5115-6_0_5_line_43 |  | 39 | 40 | 0.026501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5115-6_0_5_line_44 |  | 40 | 41 | 0.0093316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5115-6_0_5_line_45 |  | 41 | 86 | 0.0071583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5115-6_0_5_line_46 |  | 42 | 43 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5115-6_0_5_line_47 |  | 43 | 85 | 0.01964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5115-6_0_5_line_48 |  | 44 | 45 | 0.011917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5115-6_0_5_line_49 |  | 44 | 46 | 0.029376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5115-6_0_5_line_50 |  | 45 | 47 | 0.00053274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5115-6_0_5_line_51 |  | 46 | 48 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5115-6_0_5_line_52 |  | 47 | 49 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5115-6_0_5_line_53 |  | 47 | 50 | 0.027117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5115-6_0_5_line_54 |  | 48 | 51 | 0.028863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5115-6_0_5_line_55 |  | 49 | 52 | 0.027051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5115-6_0_5_line_56 |  | 50 | 53 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5115-6_0_5_line_57 |  | 53 | 54 | 0.017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5115-6_0_5_line_58 |  | 53 | 55 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5115-6_0_5_line_59 |  | 54 | 84 | 0.0083404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5115-6_0_5_line_60 |  | 55 | 72 | 0.015089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5115-6_0_5_line_61 |  | 56 | 57 | 0.0051589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5115-6_0_5_line_62 |  | 57 | 58 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5115-6_0_5_line_63 |  | 58 | 59 | 0.024839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5115-6_0_5_line_64 |  | 59 | 60 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5115-6_0_5_line_65 |  | 59 | 61 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5115-6_0_5_line_66 |  | 61 | 62 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5115-6_0_5_line_67 |  | 62 | 64 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5115-6_0_5_line_68 |  | 63 | 66 | 0.0092007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5115-6_0_5_line_69 |  | 64 | 65 | 0.0071815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5115-6_0_5_line_70 |  | 65 | 66 | 0.026243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5115-6_0_5_line_71 |  | 67 | 68 | 0.027023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5115-6_0_5_line_72 |  | 68 | 69 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5115-6_0_5_line_73 |  | 69 | 70 | 0.060068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5115-6_0_5_line_74 |  | 70 | 71 | 0.0032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5115-6_0_5_line_75 |  | 71 | 80 | 0.012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5115-6_0_5_line_76 |  | 74 | 75 | 0.001825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5115-6_0_5_line_77 |  | 75 | 92 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5115-6_0_5_line_78 |  | 76 | 77 | 0.004109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5115-6_0_5_line_79 |  | 76 | 78 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5115-6_0_5_line_80 |  | 77 | 79 | 0.0079928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5115-6_0_5_line_81 |  | 78 | 80 | 0.0074615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5115-6_0_5_line_82 |  | 79 | 81 | 0.0069958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5115-6_0_5_line_83 |  | 81 | 82 | 0.0054934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5115-6_0_5_line_84 |  | 82 | 83 | 0.0067629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5115-6_0_5_line_85 |  | 83 | 84 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5115-6_0_5_line_86 |  | 85 | 86 | 0.042562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5115-6_0_5_line_87 |  | 87 | 88 | 0.0013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5115-6_0_5_line_88 |  | 88 | 89 | 0.0060614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5115-6_0_5_line_89 |  | 89 | 90 | 0.017518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5115-6_0_5_line_90 |  | 90 | 91 | 0.0068401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5115-6_0_5_line_91 |  | 91 | 92 | 0.0021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5115-6_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 93 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2702099.1901 | 1113273.1694 | 2702098.0287 | 1113276.5743
1 | 2702101.9733 | 1113265.0101 | 2702099.1901 | 1113273.1694
2 | 2702093.5946 | 1113289.5734 | 2702098.0287 | 1113276.5743
3 | 2702093.5946 | 1113289.5734 | 2702088.5513 | 1113286.8711
4 | 2702093.5946 | 1113289.5734 | 2702097.1071 | 1113290.7787
5 | 2702074.8277 | 1113278.9024 | 2702086.8035 | 1113285.9346 | 2702088.5513 | 1113286.8711
6 | 2702097.1071 | 1113290.7787 | 2702103.2242 | 1113292.8778
7 | 2702110.6337 | 1113295.4202 | 2702103.2242 | 1113292.8778
8 | 2702050.552 | 1113365.0632 | 2702041.5472 | 1113360.6217
9 | 2702048.9933 | 1113377.9689 | 2702052.0862 | 1113371.2151 | 2702052.0136 | 1113367.267 | 2702050.552 | 1113365.0632 | 2702050.552 | 1113365.0632
10 | 2702027.1515 | 1113425.6632 | 2702048.9933 | 1113377.9689
11 | 2702113.7143 | 1113296.4773 | 2702110.6337 | 1113295.4202
12 | 2702169.2588 | 1113401.7078 | 2702169.6648 | 1113400.8767
13 | 2702191.3637 | 1113375.4193 | 2702174.1236 | 1113391.7502 | 2702169.6648 | 1113400.8767
14 | 2702170.0289 | 1113433.919 | 2702168.3181 | 1113424.9623 | 2702167.357 | 1113416.9076 | 2702169.2588 | 1113401.7078
15 | 2702191.3637 | 1113375.4193 | 2702189.3074 | 1113363.9613
16 | 2702170.0289 | 1113433.919 | 2702177.2755 | 1113433.8966 | 2702181.1794 | 1113434.6518 | 2702186.0651 | 1113437.2024 | 2702216.2178 | 1113458.1907
17 | 2702170.0289 | 1113433.919 | 2702148.7601 | 1113437.663 | 2702124.6802 | 1113440.4938
18 | 2702183.9207 | 1113333.9454 | 2702189.3074 | 1113363.9613
19 | 2702216.2178 | 1113458.1907 | 2702219.8772 | 1113459.8365
20 | 2702085.8701 | 1113444.4969 | 2702094.4991 | 1113444.0419 | 2702124.6802 | 1113440.4938
21 | 2702183.9207 | 1113333.9454 | 2702191.1879 | 1113291.3498
22 | 2702183.9207 | 1113333.9454 | 2702201.5839 | 1113334.1335
23 | 2702183.9207 | 1113333.9454 | 2702178.487 | 1113334.1095 | 2702170.4338 | 1113330.5561
24 | 2702222.042 | 1113460.8102 | 2702219.8772 | 1113459.8365
25 | 2702085.8701 | 1113444.4969 | 2702027.1515 | 1113425.6632
26 | 2702192.6307 | 1113282.8932 | 2702191.1879 | 1113291.3498
27 | 2702207.0666 | 1113334.1919 | 2702201.5839 | 1113334.1335
28 | 2702170.4338 | 1113330.5561 | 2702161.6935 | 1113326.6996 | 2702157.1719 | 1113322.1898
29 | 2702268.5012 | 1113311.7575 | 2702293.3884 | 1113301.6555
30 | 2702268.5012 | 1113311.7575 | 2702250.3308 | 1113304.8447
31 | 2702296.2711 | 1113300.4855 | 2702293.3884 | 1113301.6555
32 | 2702250.3308 | 1113304.8447 | 2702224.6835 | 1113295.0874
33 | 2702222.042 | 1113460.8102 | 2702223.9998 | 1113461.6907 | 2702229.7961 | 1113464.2901 | 2702244.1654 | 1113466.9717
34 | 2702192.6307 | 1113282.8932 | 2702194.0523 | 1113274.7232
35 | 2702192.6307 | 1113282.8932 | 2702202.7557 | 1113286.7452
36 | 2702157.019 | 1113322.0372 | 2702157.1719 | 1113322.1898
37 | 2702309.3145 | 1113309.4557 | 2702296.2711 | 1113300.4855
38 | 2702224.6835 | 1113295.0874 | 2702202.7557 | 1113286.7452
39 | 2702318.2218 | 1113313.3394 | 2702332.0445 | 1113319.3664
40 | 2702339.319 | 1113322.5382 | 2702332.0445 | 1113319.3664
41 | 2702309.3145 | 1113309.4557 | 2702318.2218 | 1113313.3394
42 | 2702309.3145 | 1113309.4557 | 2702298.3914 | 1113328.7648
43 | 2702298.3914 | 1113328.7648 | 2702285.3429 | 1113351.831
44 | 2702285.3429 | 1113351.831 | 2702280.7483 | 1113359.953
45 | 2702277.2238 | 1113366.1835 | 2702280.7483 | 1113359.953
46 | 2702313.5357 | 1113406.712 | 2702334.315 | 1113408.1846 | 2702338.5978 | 1113407.7763
47 | 2702293.9448 | 1113405.3237 | 2702313.5357 | 1113406.712
48 | 2702152.7728 | 1113228.8368 | 2702142.0939 | 1113223.5472
49 | 2702115.7701 | 1113210.508 | 2702142.0939 | 1113223.5472
50 | 2702153.2501 | 1113229.0733 | 2702152.7728 | 1113228.8368
51 | 2702106.1713 | 1113205.6877 | 2702115.7701 | 1113210.508
52 | 2702153.2501 | 1113229.0733 | 2702159.0288 | 1113216.7801
53 | 2702153.2501 | 1113229.0733 | 2702178.0188 | 1113240.1111
54 | 2702106.1713 | 1113205.6877 | 2702097.2135 | 1113233.1256
55 | 2702170.5367 | 1113192.2985 | 2702159.0288 | 1113216.7801
56 | 2702193.1263 | 1113245.7225 | 2702191.6413 | 1113245.8198 | 2702189.1892 | 1113245.0891 | 2702178.0188 | 1113240.1111
57 | 2702193.1263 | 1113245.7225 | 2702194.9683 | 1113245.0642 | 2702197.8097 | 1113242.4105 | 2702200.4945 | 1113239.4205 | 2702205.3771 | 1113233.362
58 | 2702193.1263 | 1113245.7225 | 2702194.2346 | 1113259.7454
59 | 2702210.1979 | 1113226.5849 | 2702208.5744 | 1113229.3948 | 2702205.3771 | 1113233.362
60 | 2702194.2346 | 1113259.7454 | 2702194.9917 | 1113269.3244 | 2702194.0523 | 1113274.7232
61 | 2702320.0026 | 1113509.4318 | 2702316.9454 | 1113513.5872
62 | 2702320.0026 | 1113509.4318 | 2702327.2587 | 1113499.5692
63 | 2702339.0533 | 1113478.4535 | 2702338.5306 | 1113484.2483 | 2702327.2587 | 1113499.5692
64 | 2702339.0533 | 1113478.4535 | 2702356.509 | 1113480.4724
65 | 2702339.0533 | 1113478.4535 | 2702324.2431 | 1113476.7045
66 | 2702308.0517 | 1113474.7925 | 2702324.2431 | 1113476.7045
67 | 2702308.0517 | 1113474.7925 | 2702286.4549 | 1113472.2422
68 | 2702253.2612 | 1113468.3224 | 2702248.2013 | 1113467.7249 | 2702244.1654 | 1113466.9717
69 | 2702279.3229 | 1113471.4 | 2702286.4549 | 1113472.2422
70 | 2702253.2612 | 1113468.3224 | 2702279.3229 | 1113471.4
71 | 2702344.0674 | 1113203.9907 | 2702319.3561 | 1113193.0546
72 | 2702319.3561 | 1113193.0546 | 2702301.4617 | 1113185.1354
73 | 2702252.983 | 1113149.6671 | 2702301.4617 | 1113185.1354
74 | 2702252.983 | 1113149.6671 | 2702249.7993 | 1113149.1724
75 | 2702243.4989 | 1113159.4838 | 2702249.7993 | 1113149.1724 | 2702249.7993 | 1113149.1724
76 | 2702157.019 | 1113322.0372 | 2702155.7268 | 1113320.7485
77 | 2702144.0132 | 1113311.1824 | 2702150.4393 | 1113315.1471 | 2702155.6838 | 1113320.7056 | 2702155.7268 | 1113320.7485
78 | 2702232.915 | 1113178.8984 | 2702231.2304 | 1113182.6461
79 | 2702232.915 | 1113178.8984 | 2702239.0527 | 1113165.2439
80 | 2702231.2304 | 1113182.6461 | 2702227.9534 | 1113189.9363
81 | 2702243.4989 | 1113159.4838 | 2702240.5051 | 1113162.0127 | 2702239.0527 | 1113165.2439
82 | 2702225.0853 | 1113196.3171 | 2702227.9534 | 1113189.9363
83 | 2702225.0853 | 1113196.3171 | 2702222.8331 | 1113201.3276
84 | 2702220.0604 | 1113207.496 | 2702222.8331 | 1113201.3276
85 | 2702210.1979 | 1113226.5849 | 2702213.0149 | 1113221.7092 | 2702218.1505 | 1113211.7451 | 2702220.0604 | 1113207.496
86 | 2702277.2238 | 1113366.1835 | 2702293.9448 | 1113405.3237
87 | 2702113.7143 | 1113296.4773 | 2702115.0313 | 1113296.9293
88 | 2702120.7646 | 1113298.8966 | 2702115.0313 | 1113296.9293
89 | 2702120.7646 | 1113298.8966 | 2702131.0085 | 1113302.4117 | 2702136.3404 | 1113306.4485 | 2702136.3404 | 1113306.4485
90 | 2702142.1617 | 1113310.04 | 2702136.3404 | 1113306.4485
91 | 2702142.1617 | 1113310.04 | 2702144.0132 | 1113311.1824

## bus_geodata
| x | y | coords
0 | 2702099.1901 | 1113273.1694
1 | 2702098.0287 | 1113276.5743
2 | 2702101.9733 | 1113265.0101
3 | 2702093.5946 | 1113289.5734
4 | 2702088.5513 | 1113286.8711
5 | 2702097.1071 | 1113290.7787
6 | 2702074.8277 | 1113278.9024
7 | 2702103.2242 | 1113292.8778
8 | 2702050.552 | 1113365.0632
9 | 2702041.5472 | 1113360.6217
10 | 2702048.9933 | 1113377.9689
11 | 2702110.6337 | 1113295.4202
12 | 2702169.6648 | 1113400.8767
13 | 2702169.2588 | 1113401.7078
14 | 2702191.3637 | 1113375.4193
15 | 2702170.0289 | 1113433.919
16 | 2702189.3074 | 1113363.9613
17 | 2702216.2178 | 1113458.1907
18 | 2702124.6802 | 1113440.4938
19 | 2702183.9207 | 1113333.9454
20 | 2702219.8772 | 1113459.8365
21 | 2702085.8701 | 1113444.4969
22 | 2702191.1879 | 1113291.3498
23 | 2702201.5839 | 1113334.1335
24 | 2702170.4338 | 1113330.5561
25 | 2702268.5012 | 1113311.7575
26 | 2702293.3884 | 1113301.6555
27 | 2702250.3308 | 1113304.8447
28 | 2702207.0666 | 1113334.1919
29 | 2702222.042 | 1113460.8102
30 | 2702027.1515 | 1113425.6632
31 | 2702192.6307 | 1113282.8932
32 | 2702157.1719 | 1113322.1898
33 | 2702296.271 | 1113300.4855
34 | 2702224.6835 | 1113295.0874
35 | 2702332.0445 | 1113319.3664
36 | 2702318.2218 | 1113313.3394
37 | 2702339.319 | 1113322.5382
38 | 2702309.3145 | 1113309.4557
39 | 2702298.3914 | 1113328.7648
40 | 2702285.3429 | 1113351.831
41 | 2702280.7483 | 1113359.953
42 | 2702338.5978 | 1113407.7763
43 | 2702313.5357 | 1113406.712
44 | 2702142.0939 | 1113223.5472
45 | 2702152.7728 | 1113228.8368
46 | 2702115.7701 | 1113210.508
47 | 2702153.2501 | 1113229.0733
48 | 2702106.1713 | 1113205.6877
49 | 2702159.0288 | 1113216.7801
50 | 2702178.0188 | 1113240.1111
51 | 2702097.2135 | 1113233.1256
52 | 2702170.5367 | 1113192.2985
53 | 2702193.1263 | 1113245.7225
54 | 2702205.3771 | 1113233.362
55 | 2702194.2346 | 1113259.7454
56 | 2702316.9454 | 1113513.5872
57 | 2702320.0026 | 1113509.4318
58 | 2702327.2587 | 1113499.5692
59 | 2702339.0533 | 1113478.4535
60 | 2702356.5091 | 1113480.4724
61 | 2702324.2431 | 1113476.7045
62 | 2702308.0517 | 1113474.7925
63 | 2702244.1654 | 1113466.9717
64 | 2702286.4549 | 1113472.2422
65 | 2702279.3229 | 1113471.4
66 | 2702253.2612 | 1113468.3224
67 | 2702344.0674 | 1113203.9907
68 | 2702319.3561 | 1113193.0546
69 | 2702301.4617 | 1113185.1354
70 | 2702252.983 | 1113149.6671
71 | 2702249.7993 | 1113149.1724
72 | 2702194.0523 | 1113274.7232
73 | 2702202.7557 | 1113286.7452
74 | 2702157.019 | 1113322.0372
75 | 2702155.7268 | 1113320.7485
76 | 2702232.915 | 1113178.8984
77 | 2702231.2304 | 1113182.6461
78 | 2702239.0527 | 1113165.2439
79 | 2702227.9534 | 1113189.9363
80 | 2702243.4989 | 1113159.4838
81 | 2702225.0853 | 1113196.3171
82 | 2702222.8331 | 1113201.3276
83 | 2702220.0604 | 1113207.496
84 | 2702210.1979 | 1113226.5849
85 | 2702293.9448 | 1113405.3237
86 | 2702277.2238 | 1113366.1835
87 | 2702113.7143 | 1113296.4773
88 | 2702115.0313 | 1113296.9293
89 | 2702120.7646 | 1113298.8966
90 | 2702136.3404 | 1113306.4485
91 | 2702142.1617 | 1113310.04
92 | 2702144.0132 | 1113311.1824
93 | 2702183.9207 | 1113333.9454

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1