## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5118-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5118-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5118-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5118-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5118-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5118-21_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5118-21_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5118-21_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5118-21_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5118-21_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_5118-21_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5118-21_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5118-21_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_5118-21_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5118-21_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5118-21_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5118-21_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5118-21_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_5118-21_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5118-21_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5118-21_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5118-21_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5118-21_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5118-21_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5118-21_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_5118-21_0_4_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5118-21_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_5118-21_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5118-21_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5118-21_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5118-21_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5118-21_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5118-21_0_4_node_159 | 0.4 | n |  | TRUE
33 | bus_LV_5118-21_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5118-21_0_4_node_154 | 0.4 | n |  | TRUE
35 | bus_LV_5118-21_0_4_node_155 | 0.4 | n |  | TRUE
36 | bus_LV_5118-21_0_4_node_156 | 0.4 | n |  | TRUE
37 | bus_LV_5118-21_0_4_node_157 | 0.4 | n |  | TRUE
38 | bus_LV_5118-21_0_4_node_158 | 0.4 | n |  | TRUE
39 | bus_LV_5118-21_0_4_node_160 | 0.4 | n |  | TRUE
40 | bus_LV_5118-21_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5118-21_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5118-21_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5118-21_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5118-21_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5118-21_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5118-21_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5118-21_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5118-21_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5118-21_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5118-21_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5118-21_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5118-21_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5118-21_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5118-21_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5118-21_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5118-21_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5118-21_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5118-21_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_5118-21_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5118-21_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_5118-21_0_4_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_5118-21_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5118-21_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5118-21_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5118-21_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_5118-21_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_5118-21_0_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_5118-21_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5118-21_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5118-21_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5118-21_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5118-21_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5118-21_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5118-21_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_5118-21_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5118-21_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5118-21_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5118-21_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5118-21_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5118-21_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5118-21_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5118-21_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5118-21_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_5118-21_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5118-21_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_5118-21_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5118-21_0_4_node_147 | 0.4 | n |  | TRUE
88 | bus_LV_5118-21_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_5118-21_0_4_node_146 | 0.4 | n |  | TRUE
90 | bus_LV_5118-21_0_4_node_148 | 0.4 | n |  | TRUE
91 | bus_LV_5118-21_0_4_node_149 | 0.4 | n |  | TRUE
92 | bus_LV_5118-21_0_4_node_83 | 0.4 | n |  | TRUE
93 | bus_MV_245_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5118-21_0_4_load_0 | 0 | 0.0025188 | 0.00063127 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5118-21_0_4_load_1 | 1 | 0.0046693 | 0.0011702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5118-21_0_4_load_2 | 2 | 0.0061448 | 0.00154 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5118-21_0_4_load_3 | 3 | 0.0047837 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5118-21_0_4_load_4 | 4 | 0.0028497 | 0.00071421 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5118-21_0_4_load_6 | 6 | 0.0050429 | 0.0012639 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5118-21_0_4_load_15 | 7 | 0.0057362 | 0.0014376 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5118-21_0_4_load_16 | 8 | 0.0050448 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5118-21_0_4_load_40 | 9 | 0.0043934 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5118-21_0_4_load_17 | 10 | 0.0059902 | 0.0015013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5118-21_0_4_load_18 | 11 | 0.013834 | 0.0034672 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5118-21_0_4_load_41 | 12 | 0.0058562 | 0.0014677 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5118-21_0_4_load_7 | 13 | 0.0048509 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5118-21_0_4_load_8 | 14 | 0.0050695 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5118-21_0_4_load_12 | 16 | 0.013061 | 0.0032734 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5118-21_0_4_load_20 | 17 | 0.0088668 | 0.0022222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5118-21_0_4_load_28 | 19 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5118-21_0_4_load_19 | 21 | 0.0033445 | 0.00083821 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5118-21_0_4_load_11 | 22 | 0.0043802 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5118-21_0_4_load_84 | 25 | 0.0015779 | 0.00039547 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5118-21_0_4_load_50 | 26 | 0.0028396 | 0.00071167 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5118-21_0_4_load_23 | 27 | 0.0022503 | 0.00056397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5118-21_0_4_load_27 | 30 | 0.0018949 | 0.00047491 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5118-21_0_4_load_29 | 31 | 0.0045371 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5118-21_0_4_load_159 | 32 | 0.0012132 | 0.00030406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5118-21_0_4_load_35 | 33 | 0.0034122 | 0.00085518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5118-21_0_4_load_154 | 34 | 0.0010013 | 0.00025094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5118-21_0_4_load_160 | 39 | 0.0030094 | 0.00075422 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5118-21_0_4_load_33 | 40 | 0.002255 | 0.00056516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5118-21_0_4_load_30 | 41 | 0.0029847 | 0.00074805 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5118-21_0_4_load_31 | 42 | 0.0027211 | 0.00068197 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5118-21_0_4_load_32 | 43 | 0.0015378 | 0.0003854 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5118-21_0_4_load_34 | 44 | 0.0038926 | 0.00097557 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5118-21_0_4_load_36 | 45 | 0.0013255 | 0.00033219 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5118-21_0_4_load_37 | 46 | 0.0026151 | 0.0006554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5118-21_0_4_load_38 | 47 | 0.0051706 | 0.0012959 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5118-21_0_4_load_39 | 48 | 0.0026575 | 0.00066604 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5118-21_0_4_load_42 | 49 | 0.0064298 | 0.0016115 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5118-21_0_4_load_43 | 50 | 0.0061152 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5118-21_0_4_load_44 | 51 | 0.0057284 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5118-21_0_4_load_52 | 52 | 0.0063263 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5118-21_0_4_load_46 | 53 | 0.0090217 | 0.0022611 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5118-21_0_4_load_45 | 55 | 0.0090762 | 0.0022747 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5118-21_0_4_load_51 | 56 | 0.0033923 | 0.00085018 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5118-21_0_4_load_55 | 57 | 0.0047208 | 0.0011831 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5118-21_0_4_load_49 | 59 | 0.0030593 | 0.00076672 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5118-21_0_4_load_72 | 60 | 0.003263 | 0.00081778 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5118-21_0_4_load_73 | 61 | 0.0039076 | 0.00097934 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5118-21_0_4_load_70 | 62 | 0.0039701 | 0.00099501 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5118-21_0_4_load_53 | 63 | 0.0029523 | 0.00073992 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5118-21_0_4_load_58 | 64 | 0.0053032 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5118-21_0_4_load_75 | 66 | 0.001645 | 0.00041226 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5118-21_0_4_load_76 | 67 | 0.0025358 | 0.00063553 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5118-21_0_4_load_59 | 68 | 0.0051767 | 0.0012974 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5118-21_0_4_load_68 | 69 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5118-21_0_4_load_71 | 70 | 0.013929 | 0.0034909 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5118-21_0_4_load_65 | 71 | 0.0046465 | 0.0011645 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5118-21_0_4_load_56 | 72 | 0.004471 | 0.0011205 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5118-21_0_4_load_57 | 73 | 0.0017574 | 0.00044045 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5118-21_0_4_load_60 | 74 | 0.0015451 | 0.00038724 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5118-21_0_4_load_67 | 75 | 0.0051525 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5118-21_0_4_load_64 | 76 | 0.0066373 | 0.0016635 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5118-21_0_4_load_61 | 77 | 0.0049922 | 0.0012512 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5118-21_0_4_load_62 | 78 | 0.005641 | 0.0014138 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5118-21_0_4_load_66 | 80 | 0.0035805 | 0.00089736 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5118-21_0_4_load_69 | 81 | 0.0047702 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5118-21_0_4_load_78 | 82 | 0.0027581 | 0.00069124 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5118-21_0_4_load_77 | 83 | 0.0024849 | 0.00062277 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5118-21_0_4_load_81 | 84 | 0.0020123 | 0.00050432 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5118-21_0_4_load_79 | 86 | 0.003757 | 0.00094159 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5118-21_0_4_load_147 | 87 | 0.0021031 | 0.0005271 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5118-21_0_4_load_80 | 88 | 0.003836 | 0.00096139 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5118-21_0_4_load_146 | 89 | 0.0051549 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5118-21_0_4_load_148 | 90 | 0.0032752 | 0.00082083 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5118-21_0_4_load_149 | 91 | 0.0018742 | 0.00046971 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5118-21_0_4_load_83 | 92 | 0.0029475 | 0.00073871 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5118-21_0_4_line_0 |  | 0 | 1 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5118-21_0_4_line_1 |  | 0 | 2 | 0.0099758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5118-21_0_4_line_2 |  | 1 | 3 | 0.022344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5118-21_0_4_line_3 |  | 2 | 4 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5118-21_0_4_line_4 |  | 3 | 5 | 0.02777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5118-21_0_4_line_5 |  | 4 | 6 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5118-21_0_4_line_6 |  | 5 | 7 | 0.0090169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5118-21_0_4_line_7 |  | 5 | 8 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5118-21_0_4_line_8 |  | 6 | 9 | 0.0067898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5118-21_0_4_line_9 |  | 7 | 10 | 0.038022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5118-21_0_4_line_10 |  | 8 | 11 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5118-21_0_4_line_11 |  | 9 | 12 | 0.029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5118-21_0_4_line_12 |  | 10 | 16 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5118-21_0_4_line_13 |  | 11 | 22 | 0.057113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5118-21_0_4_line_14 |  | 12 | 49 | 0.0058284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5118-21_0_4_line_15 |  | 13 | 14 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5118-21_0_4_line_16 |  | 14 | 15 | 0.061049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5118-21_0_4_line_17 |  | 15 | 16 | 0.0061794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5118-21_0_4_line_18 |  | 15 | 17 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5118-21_0_4_line_19 |  | 17 | 21 | 0.041325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5118-21_0_4_line_20 |  | 18 | 19 | 0.03148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5118-21_0_4_line_21 |  | 18 | 20 | 0.019215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5118-21_0_4_line_22 |  | 19 | 23 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5118-21_0_4_line_23 |  | 20 | 21 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5118-21_0_4_line_24 |  | 23 | 28 | 0.004988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5118-21_0_4_line_25 |  | 24 | 25 | 0.049125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5118-21_0_4_line_26 |  | 24 | 26 | 0.062674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5118-21_0_4_line_27 |  | 26 | 58 | 0.024521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5118-21_0_4_line_28 |  | 27 | 28 | 0.009916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5118-21_0_4_line_29 |  | 27 | 29 | 0.03495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5118-21_0_4_line_30 |  | 29 | 30 | 0.057476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5118-21_0_4_line_31 |  | 30 | 31 | 0.042458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5118-21_0_4_line_32 |  | 30 | 32 | 0.098849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5118-21_0_4_line_33 |  | 31 | 33 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5118-21_0_4_line_34 |  | 32 | 37 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5118-21_0_4_line_35 |  | 33 | 40 | 0.0048022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5118-21_0_4_line_36 |  | 34 | 35 | 0.054461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5118-21_0_4_line_37 |  | 34 | 36 | 0.068627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5118-21_0_4_line_38 |  | 35 | 37 | 0.05078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5118-21_0_4_line_39 |  | 36 | 38 | 0.011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5118-21_0_4_line_40 |  | 38 | 39 | 0.079947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5118-21_0_4_line_41 |  | 40 | 42 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5118-21_0_4_line_42 |  | 41 | 42 | 0.023017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5118-21_0_4_line_43 |  | 41 | 43 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5118-21_0_4_line_44 |  | 43 | 44 | 0.042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5118-21_0_4_line_45 |  | 44 | 45 | 0.0069226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5118-21_0_4_line_46 |  | 45 | 46 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5118-21_0_4_line_47 |  | 46 | 47 | 0.0057105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5118-21_0_4_line_48 |  | 47 | 48 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5118-21_0_4_line_49 |  | 49 | 50 | 0.02295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5118-21_0_4_line_50 |  | 50 | 51 | 0.025982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5118-21_0_4_line_51 |  | 51 | 52 | 0.046724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5118-21_0_4_line_52 |  | 52 | 57 | 0.00026543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5118-21_0_4_line_53 |  | 52 | 54 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5118-21_0_4_line_54 |  | 53 | 54 | 0.01944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5118-21_0_4_line_55 |  | 53 | 55 | 0.037466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5118-21_0_4_line_56 |  | 54 | 56 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5118-21_0_4_line_57 |  | 55 | 58 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5118-21_0_4_line_58 |  | 56 | 64 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5118-21_0_4_line_59 |  | 58 | 59 | 0.021518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5118-21_0_4_line_60 |  | 59 | 63 | 0.029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5118-21_0_4_line_61 |  | 60 | 61 | 0.026405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5118-21_0_4_line_62 |  | 60 | 62 | 0.015621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5118-21_0_4_line_63 |  | 61 | 65 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5118-21_0_4_line_64 |  | 62 | 70 | 0.01791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5118-21_0_4_line_65 |  | 64 | 68 | 0.006991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5118-21_0_4_line_66 |  | 65 | 66 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5118-21_0_4_line_67 |  | 65 | 67 | 0.0084151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5118-21_0_4_line_68 |  | 67 | 84 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5118-21_0_4_line_69 |  | 68 | 70 | 0.043731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5118-21_0_4_line_70 |  | 69 | 70 | 0.030356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5118-21_0_4_line_71 |  | 69 | 71 | 0.0098952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5118-21_0_4_line_72 |  | 71 | 79 | 0.0036182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5118-21_0_4_line_73 |  | 72 | 73 | 0.0049586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5118-21_0_4_line_74 |  | 73 | 74 | 0.0020554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5118-21_0_4_line_75 |  | 74 | 75 | 0.048583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5118-21_0_4_line_76 |  | 75 | 76 | 0.02247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5118-21_0_4_line_77 |  | 76 | 78 | 0.0022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5118-21_0_4_line_78 |  | 77 | 78 | 0.038215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5118-21_0_4_line_79 |  | 77 | 79 | 0.016924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5118-21_0_4_line_80 |  | 79 | 80 | 0.045342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5118-21_0_4_line_81 |  | 80 | 81 | 0.025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5118-21_0_4_line_82 |  | 81 | 82 | 0.026322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5118-21_0_4_line_83 |  | 82 | 83 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5118-21_0_4_line_84 |  | 83 | 86 | 0.0422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5118-21_0_4_line_85 |  | 83 | 87 | 0.12054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5118-21_0_4_line_86 |  | 84 | 85 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5118-21_0_4_line_87 |  | 85 | 92 | 0.033534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5118-21_0_4_line_88 |  | 86 | 88 | 0.10692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5118-21_0_4_line_89 |  | 87 | 90 | 0.047493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5118-21_0_4_line_90 |  | 87 | 89 | 0.0049693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5118-21_0_4_line_91 |  | 90 | 91 | 0.015753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5118-21_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 93 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2707660.4282 | 1115356.4091 | 2707641.4991 | 1115347.6758
1 | 2707660.4282 | 1115356.4091 | 2707669.4864 | 1115360.5883
2 | 2707641.4991 | 1115347.6758 | 2707633.5575 | 1115344.0117 | 2707620.6585 | 1115339.707
3 | 2707686.2696 | 1115374.2529 | 2707685.5029 | 1115372.653 | 2707676.3166 | 1115363.7396 | 2707669.4864 | 1115360.5883
4 | 2707598.2822 | 1115325.9959 | 2707599.6185 | 1115329.4664 | 2707601.7556 | 1115332.6286 | 2707605.5117 | 1115334.6521 | 2707620.6585 | 1115339.707
5 | 2707686.2696 | 1115374.2529 | 2707692.5698 | 1115387.3992 | 2707692.2286 | 1115390.5174
6 | 2707598.2822 | 1115325.9959 | 2707598.0352 | 1115322.5115 | 2707598.2405 | 1115316.9917
7 | 2707598.2822 | 1115325.9959 | 2707589.9832 | 1115330.1624 | 2707583.1156 | 1115332.0084 | 2707577.8201 | 1115333.154
8 | 2707692.2286 | 1115390.5174 | 2707692.2286 | 1115390.5174 | 2707690.1073 | 1115392.9813 | 2707686.8618 | 1115394.3912
9 | 2707619.1436 | 1115294.6138 | 2707608.7727 | 1115294.5507 | 2707602.9966 | 1115296.6829 | 2707600.3484 | 1115300.1159 | 2707598.6857 | 1115305.0229 | 2707598.2405 | 1115316.9917
10 | 2707565.0205 | 1115335.9231 | 2707577.8201 | 1115333.154
11 | 2707665.9636 | 1115378.4029 | 2707671.2591 | 1115378.8817 | 2707675.6967 | 1115380.7951 | 2707679.3875 | 1115387.3538 | 2707683.0629 | 1115393.9123 | 2707686.8618 | 1115394.3912 | 2707686.8618 | 1115394.3912
12 | 2707642.4686 | 1115293.6707 | 2707638.2639 | 1115294.7301 | 2707619.1436 | 1115294.6138
13 | 2707565.0205 | 1115335.9231 | 2707509.6269 | 1115322.0131
14 | 2707665.9636 | 1115378.4029 | 2707660.1589 | 1115377.878
15 | 2707564.0184 | 1115287.1154 | 2707567.6551 | 1115287.1605 | 2707583.7947 | 1115287.3287
16 | 2707644.8406 | 1115287.9647 | 2707583.7947 | 1115287.3287
17 | 2707644.8406 | 1115287.9647 | 2707642.4686 | 1115293.6707 | 2707642.4686 | 1115293.6707
18 | 2707644.8406 | 1115287.9647 | 2707651.5257 | 1115270.4732
19 | 2707692.8363 | 1115271.3902 | 2707664.6191 | 1115271.0384 | 2707651.5257 | 1115270.4732
20 | 2707706.5672 | 1115288.6173 | 2707726.9088 | 1115286.4997 | 2707737.6382 | 1115283.9507
21 | 2707706.5672 | 1115288.6173 | 2707713.4662 | 1115270.6839
22 | 2707756.3122 | 1115278.595 | 2707748.3305 | 1115281.4105 | 2707737.6382 | 1115283.9507
23 | 2707713.4662 | 1115270.6839 | 2707693.9371 | 1115271.404 | 2707692.8363 | 1115271.3902
24 | 2707759.4403 | 1115282.4865 | 2707756.3122 | 1115278.595
25 | 2707449.329 | 1115362.5326 | 2707452.7711 | 1115361.3595 | 2707465.0088 | 1115360.2313 | 2707475.9673 | 1115361.5598 | 2707488.83 | 1115366.1242 | 2707496.0009 | 1115370.7092
26 | 2707449.329 | 1115362.5326 | 2707448.468 | 1115364.4853 | 2707449.3657 | 1115366.5581 | 2707454.1965 | 1115368.5116 | 2707463.7911 | 1115370.5386 | 2707471.5195 | 1115372.8438 | 2707482.4602 | 1115380.8319 | 2707499.4243 | 1115394.2878
27 | 2707521.3509 | 1115404.437 | 2707506.0461 | 1115399.5401 | 2707499.4243 | 1115394.2878
28 | 2707759.4403 | 1115282.4865 | 2707760.5215 | 1115284.6627 | 2707767.8875 | 1115283.3279
29 | 2707799.3498 | 1115272.701 | 2707796.7985 | 1115270.6765 | 2707780.9171 | 1115278.6437 | 2707771.9189 | 1115282.5973 | 2707767.8875 | 1115283.3279
30 | 2707799.3498 | 1115272.701 | 2707784.4168 | 1115281.619 | 2707782.7695 | 1115283.9134 | 2707783.2853 | 1115287.0468 | 2707785.3889 | 1115289.4858 | 2707788.7794 | 1115289.4794 | 2707806.6866 | 1115277.0454 | 2707809.5025 | 1115276.7842 | 2707812.0661 | 1115278.0115
31 | 2707812.0661 | 1115278.0115 | 2707812.3971 | 1115278.1699 | 2707813.5339 | 1115281.1254 | 2707812.781 | 1115283.5024 | 2707810.8271 | 1115285.6691 | 2707805.7828 | 1115287.903 | 2707791.0783 | 1115297.4366 | 2707783.0916 | 1115304.2095
32 | 2707812.0661 | 1115278.0115 | 2707887.2925 | 1115213.8855
33 | 2707768.7728 | 1115316.3523 | 2707783.0916 | 1115304.2095
34 | 2707903.7308 | 1115200.9786 | 2707901.2673 | 1115207.9059 | 2707887.2925 | 1115213.8855
35 | 2707765.1102 | 1115319.4583 | 2707768.7728 | 1115316.3523
36 | 2707952.1668 | 1115185.5978 | 2707954.6381 | 1115194.7033 | 2707960.029 | 1115194.6993 | 2707972.8943 | 1115193.4832 | 2707987.1427 | 1115195.7052 | 2707984.9613 | 1115201.9593 | 2707990.5345 | 1115202.9926
37 | 2708021.6671 | 1115228.9531 | 2708019.7119 | 1115222.0915 | 2707982.5997 | 1115218.3278 | 2707985.3475 | 1115215.386 | 2707980.3974 | 1115214.0636 | 2707986.5127 | 1115208.0798 | 2707990.5345 | 1115202.9926
38 | 2707903.7308 | 1115200.9786 | 2707925.1732 | 1115192.5883 | 2707947.8717 | 1115186.5219 | 2707952.1668 | 1115185.5978
39 | 2708010.5002 | 1115227.6087 | 2708021.6671 | 1115228.9531
40 | 2708010.5002 | 1115227.6087 | 2708011.5017 | 1115229.4834 | 2708011.6697 | 1115231.7545 | 2708010.7994 | 1115234.2183 | 2708009.3222 | 1115235.6374 | 2708005.9989 | 1115236.2008 | 2707973.7434 | 1115232.935 | 2707966.4788 | 1115233.6394 | 2707960.8451 | 1115236.0073 | 2707941.599 | 1115246.4045
41 | 2707765.1102 | 1115319.4583 | 2707762.622 | 1115321.5684 | 2707749.606 | 1115328.6638 | 2707749.606 | 1115328.6638
42 | 2707727.7471 | 1115335.1124 | 2707733.9199 | 1115334.7778 | 2707749.606 | 1115328.6638
43 | 2707727.7471 | 1115335.1124 | 2707721.1028 | 1115335.4726 | 2707718.3924 | 1115337.1923 | 2707717.8482 | 1115339.9955 | 2707719.2091 | 1115342.9438 | 2707723.0506 | 1115344.9356
44 | 2707763.4474 | 1115357.2173 | 2707763.4474 | 1115357.2173 | 2707723.0506 | 1115344.9356 | 2707723.0506 | 1115344.9356
45 | 2707770.364 | 1115357.5044 | 2707763.4474 | 1115357.2173
46 | 2707770.364 | 1115357.5044 | 2707776.5745 | 1115357.7621 | 2707791.2305 | 1115351.0582
47 | 2707791.2305 | 1115351.0582 | 2707796.4235 | 1115348.6829
48 | 2707814.0553 | 1115340.6178 | 2707796.4235 | 1115348.6829
49 | 2707637.3017 | 1115375.8111 | 2707660.1589 | 1115377.878
50 | 2707611.4251 | 1115373.4711 | 2707637.3017 | 1115375.8111
51 | 2707611.4251 | 1115373.4711 | 2707609.2295 | 1115420.1435
52 | 2707609.2295 | 1115420.1435 | 2707609.4869 | 1115420.2082
53 | 2707589.0158 | 1115415.0557 | 2707609.2295 | 1115420.1435
54 | 2707589.0158 | 1115415.0557 | 2707572.755 | 1115411.8094 | 2707569.926 | 1115411.4037
55 | 2707569.926 | 1115411.4037 | 2707532.8392 | 1115406.0846
56 | 2707589.0158 | 1115415.0557 | 2707584.467 | 1115420.712 | 2707580.1463 | 1115423.9596 | 2707576.7779 | 1115424.3813
57 | 2707521.3509 | 1115404.437 | 2707532.8392 | 1115406.0846
58 | 2707576.7779 | 1115424.3813 | 2707559.8515 | 1115426.5006
59 | 2707521.3509 | 1115404.437 | 2707509.11 | 1115407.4885 | 2707500.2967 | 1115406.2302
60 | 2707500.2967 | 1115406.2302 | 2707500.1278 | 1115406.2061 | 2707491.8818 | 1115403.9139 | 2707478.0605 | 1115398.5431 | 2707472.283 | 1115396.7751
61 | 2707515.5541 | 1115464.888 | 2707513.9041 | 1115464.5882 | 2707501.3664 | 1115462.1754 | 2707495.7092 | 1115461.0965 | 2707489.6667 | 1115459.7031
62 | 2707530.9232 | 1115467.68 | 2707515.5541 | 1115464.888
63 | 2707474.1251 | 1115454.4984 | 2707480.4572 | 1115457.5793 | 2707489.6667 | 1115459.7031
64 | 2707530.9232 | 1115467.68 | 2707548.5449 | 1115470.8813
65 | 2707552.9146 | 1115427.3692 | 2707559.8515 | 1115426.5006
66 | 2707474.1251 | 1115454.4984 | 2707468.7511 | 1115451.39 | 2707451.6458 | 1115445.4622
67 | 2707474.1251 | 1115454.4984 | 2707469.8288 | 1115454.6334 | 2707465.9114 | 1115453.3681
68 | 2707465.9114 | 1115453.3681 | 2707455.623 | 1115450.0452 | 2707451.0436 | 1115448.5145
69 | 2707548.5449 | 1115470.8813 | 2707552.9146 | 1115427.3692
70 | 2707578.4119 | 1115476.3071 | 2707548.5449 | 1115470.8813
71 | 2707578.4119 | 1115476.3071 | 2707588.1478 | 1115478.0758
72 | 2707591.7077 | 1115478.7225 | 2707588.1478 | 1115478.0758
73 | 2707697.9322 | 1115452.2276 | 2707701.761 | 1115452.4936 | 2707702.7518 | 1115453.0172
74 | 2707704.5689 | 1115453.9778 | 2707704.5689 | 1115453.9778 | 2707702.7518 | 1115453.0172
75 | 2707704.5689 | 1115453.9778 | 2707705.7364 | 1115456.0776 | 2707706.8743 | 1115459.8336 | 2707705.7248 | 1115462.3704 | 2707703.1997 | 1115464.5269 | 2707684.3019 | 1115467.5709 | 2707676.1655 | 1115466.5034 | 2707667.5111 | 1115464.8959
76 | 2707645.2672 | 1115464.191 | 2707657.4993 | 1115463.0362 | 2707667.5111 | 1115464.8959
77 | 2707645.2672 | 1115464.191 | 2707644.3174 | 1115464.2807 | 2707642.9912 | 1115464.4599
78 | 2707605.1208 | 1115469.5786 | 2707642.9912 | 1115464.4599
79 | 2707591.7077 | 1115478.7225 | 2707598.567 | 1115471.2505 | 2707603.2414 | 1115469.8326 | 2707605.1208 | 1115469.5786
80 | 2707591.7077 | 1115478.7225 | 2707637.0218 | 1115480.3212
81 | 2707637.0218 | 1115480.3212 | 2707662.1004 | 1115481.2059
82 | 2707662.1004 | 1115481.2059 | 2707666.001 | 1115481.3435 | 2707688.0763 | 1115485.255
83 | 2707709.4521 | 1115486.9761 | 2707701.0834 | 1115487.5598 | 2707688.0763 | 1115485.255
84 | 2707751.084 | 1115485.3814 | 2707737.3429 | 1115483.1681 | 2707729.681 | 1115483.2208 | 2707720.2158 | 1115485.6541 | 2707710.8649 | 1115486.8776 | 2707709.4521 | 1115486.9761
85 | 2707709.4521 | 1115486.9761 | 2707703.8176 | 1115607.3865
86 | 2707441.3969 | 1115445.2899 | 2707451.0436 | 1115448.5145
87 | 2707441.3969 | 1115445.2899 | 2707434.3455 | 1115466.6454 | 2707432.3972 | 1115466.7665 | 2707429.4488 | 1115475.3754
88 | 2707751.084 | 1115485.3814 | 2707855.9315 | 1115464.445
89 | 2707703.8176 | 1115607.3865 | 2707738.3788 | 1115606.8443 | 2707744.0144 | 1115609.1238 | 2707750.7843 | 1115610.1559 | 2707750.7843 | 1115610.1559
90 | 2707698.8489 | 1115607.4645 | 2707703.8176 | 1115607.3865
91 | 2707766.4917 | 1115608.9646 | 2707750.7843 | 1115610.1559

## bus_geodata
| x | y | coords
0 | 2707660.4282 | 1115356.4091
1 | 2707641.4991 | 1115347.6758
2 | 2707669.4864 | 1115360.5883
3 | 2707620.6585 | 1115339.707
4 | 2707686.2696 | 1115374.2529
5 | 2707598.2822 | 1115325.9959
6 | 2707692.2286 | 1115390.5174
7 | 2707598.2405 | 1115316.9917
8 | 2707577.8201 | 1115333.154
9 | 2707686.8618 | 1115394.3912
10 | 2707619.1436 | 1115294.6138
11 | 2707565.0205 | 1115335.9231
12 | 2707665.9636 | 1115378.4029
13 | 2707564.0184 | 1115287.1154
14 | 2707583.7947 | 1115287.3287
15 | 2707644.8406 | 1115287.9647
16 | 2707642.4686 | 1115293.6707
17 | 2707651.5257 | 1115270.4732
18 | 2707706.5672 | 1115288.6173
19 | 2707737.6382 | 1115283.9507
20 | 2707713.4662 | 1115270.6839
21 | 2707692.8363 | 1115271.3902
22 | 2707509.6269 | 1115322.0131
23 | 2707756.3122 | 1115278.595
24 | 2707449.329 | 1115362.5326
25 | 2707496.0009 | 1115370.7092
26 | 2707499.4243 | 1115394.2878
27 | 2707767.8875 | 1115283.3279
28 | 2707759.4403 | 1115282.4865
29 | 2707799.3498 | 1115272.701
30 | 2707812.0661 | 1115278.0115
31 | 2707783.0916 | 1115304.2095
32 | 2707887.2925 | 1115213.8855
33 | 2707768.7728 | 1115316.3523
34 | 2707990.5345 | 1115202.9926
35 | 2707952.1668 | 1115185.5978
36 | 2708021.6671 | 1115228.9531
37 | 2707903.7308 | 1115200.9786
38 | 2708010.5002 | 1115227.6087
39 | 2707941.599 | 1115246.4045
40 | 2707765.1102 | 1115319.4583
41 | 2707727.7471 | 1115335.1124
42 | 2707749.606 | 1115328.6638
43 | 2707723.0506 | 1115344.9356
44 | 2707763.4474 | 1115357.2173
45 | 2707770.364 | 1115357.5044
46 | 2707791.2305 | 1115351.0582
47 | 2707796.4235 | 1115348.6829
48 | 2707814.0553 | 1115340.6178
49 | 2707660.1589 | 1115377.878
50 | 2707637.3017 | 1115375.8111
51 | 2707611.4251 | 1115373.4711
52 | 2707609.2295 | 1115420.1435
53 | 2707569.926 | 1115411.4037
54 | 2707589.0158 | 1115415.0557
55 | 2707532.8392 | 1115406.0846
56 | 2707576.7779 | 1115424.3813
57 | 2707609.4869 | 1115420.2082
58 | 2707521.3509 | 1115404.437
59 | 2707500.2967 | 1115406.2302
60 | 2707515.5541 | 1115464.888
61 | 2707489.6667 | 1115459.7031
62 | 2707530.9232 | 1115467.68
63 | 2707472.283 | 1115396.7751
64 | 2707559.8515 | 1115426.5006
65 | 2707474.1251 | 1115454.4984
66 | 2707451.6458 | 1115445.4622
67 | 2707465.9114 | 1115453.3681
68 | 2707552.9146 | 1115427.3692
69 | 2707578.4119 | 1115476.3071
70 | 2707548.5449 | 1115470.8813
71 | 2707588.1478 | 1115478.0758
72 | 2707697.9322 | 1115452.2276
73 | 2707702.7518 | 1115453.0172
74 | 2707704.5689 | 1115453.9778
75 | 2707667.5111 | 1115464.8959
76 | 2707645.2672 | 1115464.191
77 | 2707605.1208 | 1115469.5786
78 | 2707642.9912 | 1115464.4599
79 | 2707591.7077 | 1115478.7225
80 | 2707637.0218 | 1115480.3212
81 | 2707662.1004 | 1115481.2059
82 | 2707688.0763 | 1115485.255
83 | 2707709.4521 | 1115486.9761
84 | 2707451.0436 | 1115448.5145
85 | 2707441.3969 | 1115445.2899
86 | 2707751.084 | 1115485.3814
87 | 2707703.8176 | 1115607.3865
88 | 2707855.9315 | 1115464.445
89 | 2707698.8489 | 1115607.4645
90 | 2707750.7843 | 1115610.1559
91 | 2707766.4917 | 1115608.9646
92 | 2707429.4488 | 1115475.3754
93 | 2707611.4251 | 1115373.4711

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1