## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5118-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5118-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5118-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5118-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5118-27_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5118-27_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5118-27_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5118-27_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_5118-27_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_5118-27_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_5118-27_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5118-27_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5118-27_0_4_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_5118-27_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_5118-27_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_5118-27_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_5118-27_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_5118-27_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5118-27_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_5118-27_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_5118-27_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_5118-27_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_5118-27_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5118-27_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5118-27_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_5118-27_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5118-27_0_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_5118-27_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_5118-27_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5118-27_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5118-27_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5118-27_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5118-27_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5118-27_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5118-27_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5118-27_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5118-27_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5118-27_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5118-27_0_4_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_5118-27_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5118-27_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5118-27_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5118-27_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5118-27_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5118-27_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5118-27_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5118-27_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5118-27_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_5118-27_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5118-27_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5118-27_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_5118-27_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5118-27_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5118-27_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5118-27_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5118-27_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5118-27_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5118-27_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5118-27_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5118-27_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5118-27_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_5118-27_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_5118-27_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_5118-27_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5118-27_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_5118-27_0_4_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5118-27_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_5118-27_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5118-27_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_MV_245_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5118-27_0_4_load_0 | 0 | 0.016803 | 0.0042112 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5118-27_0_4_load_3 | 3 | 0.0048242 | 0.0012091 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5118-27_0_4_load_7 | 6 | 0.016805 | 0.0042116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5118-27_0_4_load_27 | 7 | 0.0033615 | 0.00084247 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5118-27_0_4_load_26 | 9 | 0.0077651 | 0.0019461 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5118-27_0_4_load_35 | 10 | 0.010713 | 0.002685 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5118-27_0_4_load_20 | 11 | 0.004375 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5118-27_0_4_load_31 | 12 | 0.0046101 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5118-27_0_4_load_42 | 13 | 0.0078421 | 0.0019654 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5118-27_0_4_load_23 | 14 | 0.0047017 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5118-27_0_4_load_34 | 15 | 0.014667 | 0.0036759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5118-27_0_4_load_28 | 16 | 0.011546 | 0.0028937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5118-27_0_4_load_19 | 17 | 0.0030503 | 0.00076448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5118-27_0_4_load_21 | 19 | 0.003113 | 0.00078018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5118-27_0_4_load_8 | 21 | 0.0022801 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5118-27_0_4_load_9 | 22 | 0.0060604 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5118-27_0_4_load_11 | 23 | 0.0032083 | 0.00080408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5118-27_0_4_load_54 | 24 | 0.029097 | 0.0072924 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5118-27_0_4_load_53 | 25 | 0.0036656 | 0.00091869 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5118-27_0_4_load_63 | 26 | 0.0025753 | 0.00064544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5118-27_0_4_load_64 | 27 | 0.0025474 | 0.00063844 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5118-27_0_4_load_12 | 28 | 0.003052 | 0.00076491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5118-27_0_4_load_13 | 29 | 0.0030493 | 0.00076422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5118-27_0_4_load_14 | 30 | 0.0046907 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5118-27_0_4_load_15 | 31 | 0.0059354 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5118-27_0_4_load_16 | 32 | 0.0030487 | 0.00076408 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5118-27_0_4_load_18 | 33 | 0.003046 | 0.00076339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5118-27_0_4_load_25 | 34 | 0.0033614 | 0.00084244 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5118-27_0_4_load_17 | 35 | 0.015741 | 0.003945 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5118-27_0_4_load_22 | 36 | 0.0052587 | 0.001318 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5118-27_0_4_load_24 | 37 | 0.01111 | 0.0027844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5118-27_0_4_load_74 | 38 | 0.059939 | 0.015022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5118-27_0_4_load_45 | 39 | 0.0041981 | 0.0010521 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5118-27_0_4_load_36 | 40 | 0.0013307 | 0.0003335 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5118-27_0_4_load_37 | 41 | 0.0010167 | 0.00025481 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5118-27_0_4_load_39 | 43 | 0.0016037 | 0.00040192 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5118-27_0_4_load_40 | 44 | 0.0039468 | 0.00098915 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5118-27_0_4_load_41 | 45 | 0.010047 | 0.0025181 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5118-27_0_4_load_43 | 46 | 0.0015074 | 0.00037779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5118-27_0_4_load_56 | 47 | 0.091961 | 0.023048 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5118-27_0_4_load_55 | 49 | 0.0076707 | 0.0019225 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5118-27_0_4_load_52 | 50 | 0.0046985 | 0.0011776 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5118-27_0_4_load_51 | 52 | 0.0034502 | 0.00086471 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5118-27_0_4_load_47 | 53 | 0.0030428 | 0.0007626 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5118-27_0_4_load_48 | 54 | 0.0042033 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5118-27_0_4_load_50 | 55 | 0.010815 | 0.0027104 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5118-27_0_4_load_60 | 56 | 0.0014384 | 0.00036049 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5118-27_0_4_load_59 | 57 | 0.0094415 | 0.0023663 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5118-27_0_4_load_58 | 59 | 0.0049617 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5118-27_0_4_load_67 | 60 | 0.012992 | 0.0032561 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5118-27_0_4_load_65 | 61 | 0.0039503 | 0.00099004 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5118-27_0_4_load_68 | 63 | 0.0026118 | 0.00065457 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5118-27_0_4_load_69 | 64 | 0.0036194 | 0.00090711 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5118-27_0_4_load_70 | 65 | 0.0024133 | 0.00060482 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5118-27_0_4_load_71 | 66 | 0.0029634 | 0.0007427 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5118-27_0_4_load_72 | 67 | 0.0098792 | 0.002476 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5118-27_0_4_load_61 | 68 | 0.0035874 | 0.00089909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5118-27_0_4_line_0 |  | 0 | 1 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5118-27_0_4_line_1 |  | 0 | 2 | 0.030498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5118-27_0_4_line_2 |  | 1 | 3 | 0.006149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5118-27_0_4_line_3 |  | 1 | 4 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5118-27_0_4_line_4 |  | 1 | 5 | 0.037895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5118-27_0_4_line_5 |  | 2 | 6 | 0.0037298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5118-27_0_4_line_6 |  | 3 | 10 | 0.020742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5118-27_0_4_line_7 |  | 4 | 11 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5118-27_0_4_line_8 |  | 4 | 12 | 0.030576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5118-27_0_4_line_9 |  | 5 | 13 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5118-27_0_4_line_10 |  | 5 | 14 | 0.019903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5118-27_0_4_line_11 |  | 6 | 8 | 0.060935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5118-27_0_4_line_12 |  | 7 | 8 | 0.022856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5118-27_0_4_line_13 |  | 7 | 9 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5118-27_0_4_line_14 |  | 9 | 16 | 0.047154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5118-27_0_4_line_15 |  | 10 | 15 | 0.00075568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5118-27_0_4_line_16 |  | 11 | 17 | 0.020582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5118-27_0_4_line_17 |  | 13 | 18 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5118-27_0_4_line_18 |  | 14 | 19 | 0.0084694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5118-27_0_4_line_19 |  | 17 | 35 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5118-27_0_4_line_20 |  | 18 | 20 | 0.075962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5118-27_0_4_line_21 |  | 19 | 36 | 0.010745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5118-27_0_4_line_22 |  | 20 | 38 | 0.09436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5118-27_0_4_line_23 |  | 20 | 39 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5118-27_0_4_line_24 |  | 21 | 22 | 0.0098713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5118-27_0_4_line_25 |  | 22 | 23 | 0.024229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5118-27_0_4_line_26 |  | 23 | 26 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5118-27_0_4_line_27 |  | 24 | 25 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5118-27_0_4_line_28 |  | 25 | 50 | 0.0021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5118-27_0_4_line_29 |  | 26 | 27 | 0.010083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5118-27_0_4_line_30 |  | 27 | 61 | 0.0091308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5118-27_0_4_line_31 |  | 28 | 29 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5118-27_0_4_line_32 |  | 28 | 30 | 0.0029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5118-27_0_4_line_33 |  | 29 | 31 | 0.0016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5118-27_0_4_line_34 |  | 30 | 32 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5118-27_0_4_line_35 |  | 31 | 33 | 0.012867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5118-27_0_4_line_36 |  | 32 | 34 | 0.006098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5118-27_0_4_line_37 |  | 33 | 35 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5118-27_0_4_line_38 |  | 36 | 37 | 0.0021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5118-27_0_4_line_39 |  | 39 | 44 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5118-27_0_4_line_40 |  | 40 | 41 | 0.0029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5118-27_0_4_line_41 |  | 40 | 42 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5118-27_0_4_line_42 |  | 41 | 43 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5118-27_0_4_line_43 |  | 42 | 44 | 0.0051275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5118-27_0_4_line_44 |  | 42 | 45 | 0.055428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5118-27_0_4_line_45 |  | 43 | 46 | 0.065887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5118-27_0_4_line_46 |  | 45 | 47 | 0.0049277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5118-27_0_4_line_47 |  | 46 | 48 | 0.016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5118-27_0_4_line_48 |  | 47 | 49 | 0.048356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5118-27_0_4_line_49 |  | 48 | 50 | 0.016287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5118-27_0_4_line_50 |  | 48 | 51 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5118-27_0_4_line_51 |  | 49 | 58 | 0.056036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5118-27_0_4_line_52 |  | 51 | 52 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5118-27_0_4_line_53 |  | 51 | 53 | 0.01006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5118-27_0_4_line_54 |  | 52 | 56 | 0.0066674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5118-27_0_4_line_55 |  | 53 | 54 | 0.033347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5118-27_0_4_line_56 |  | 54 | 55 | 0.02416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5118-27_0_4_line_57 |  | 56 | 57 | 0.0085555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5118-27_0_4_line_58 |  | 57 | 68 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5118-27_0_4_line_59 |  | 58 | 59 | 0.014094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5118-27_0_4_line_60 |  | 59 | 60 | 0.0089629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5118-27_0_4_line_61 |  | 60 | 62 | 0.0090901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5118-27_0_4_line_62 |  | 61 | 62 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5118-27_0_4_line_63 |  | 62 | 63 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5118-27_0_4_line_64 |  | 63 | 64 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5118-27_0_4_line_65 |  | 64 | 65 | 0.0073921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5118-27_0_4_line_66 |  | 65 | 66 | 0.0054229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5118-27_0_4_line_67 |  | 66 | 67 | 0.022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5118-27_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 69 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2706786.0125 | 1115125.979 | 2706806.5946 | 1115127.8793
1 | 2706837.0386 | 1115129.5583 | 2706814.889 | 1115128.6451 | 2706806.5946 | 1115127.8793
2 | 2706786.0125 | 1115125.979 | 2706786.1674 | 1115124.6364 | 2706783.6444 | 1115120.556 | 2706783.6444 | 1115120.556
3 | 2706765.9644 | 1115126.3371 | 2706785.3353 | 1115131.9709 | 2706786.0125 | 1115125.979
4 | 2706786.0125 | 1115125.979 | 2706785.3353 | 1115131.9709 | 2706800.8181 | 1115136.4799 | 2706815.9323 | 1115140.8713
5 | 2706837.0386 | 1115129.5583 | 2706840.1788 | 1115127.5456
6 | 2706783.6444 | 1115120.556 | 2706763.1282 | 1115117.5006
7 | 2706765.9644 | 1115126.3371 | 2706765.493 | 1115137.7303
8 | 2706765.9644 | 1115126.3371 | 2706758.3025 | 1115124.1674 | 2706735.9944 | 1115120.4691
9 | 2706815.9323 | 1115140.8713 | 2706829.1382 | 1115146.3736
10 | 2706815.9323 | 1115140.8713 | 2706814.3828 | 1115160.7143
11 | 2706840.1788 | 1115127.5456 | 2706839.0755 | 1115066.6202
12 | 2706839.0755 | 1115066.6202 | 2706816.4432 | 1115063.4303
13 | 2706816.4432 | 1115063.4303 | 2706796.0483 | 1115060.5558
14 | 2706749.3555 | 1115053.9747 | 2706796.0483 | 1115060.5558
15 | 2706762.3808 | 1115117.3893 | 2706763.1282 | 1115117.5006
16 | 2706772.8095 | 1115156.6678 | 2706767.7657 | 1115147.7048 | 2706765.4261 | 1115139.3471 | 2706765.493 | 1115137.7303
17 | 2706852.5186 | 1115156.1149 | 2706829.1382 | 1115146.3736
18 | 2706814.3828 | 1115160.7143 | 2706813.7234 | 1115169.158
19 | 2706772.8095 | 1115156.6678 | 2706774.161 | 1115159.0693 | 2706775.5225 | 1115165.0749 | 2706774.2896 | 1115168.422 | 2706771.0443 | 1115169.8213 | 2706767.4649 | 1115169.874
20 | 2706840.0446 | 1115231.0434 | 2706841.6483 | 1115221.5655 | 2706851.4455 | 1115163.5341 | 2706852.5186 | 1115156.1149
21 | 2706812.8869 | 1115179.8707 | 2706813.7234 | 1115169.158
22 | 2706840.0446 | 1115231.0434 | 2706886.962 | 1115312.9123
23 | 2706840.0446 | 1115231.0434 | 2706827.8922 | 1115230.829
24 | 2706658.0124 | 1115363.8072 | 2706658.9891 | 1115363.6511 | 2706667.4468 | 1115366.3642
25 | 2706667.4468 | 1115366.3642 | 2706690.5173 | 1115373.7651
26 | 2706702.584 | 1115377.1069 | 2706698.485 | 1115376.3211 | 2706690.5173 | 1115373.7651
27 | 2706698.4338 | 1115290.2314 | 2706699.3067 | 1115281.8858 | 2706698.7365 | 1115279.1851 | 2706688.8277 | 1115260.2829
28 | 2706688.8277 | 1115260.2829 | 2706687.8124 | 1115258.3461 | 2706687.8124 | 1115258.3461
29 | 2706702.584 | 1115377.1069 | 2706712.4871 | 1115379.0053
30 | 2706721.4546 | 1115380.7244 | 2706712.4871 | 1115379.0053
31 | 2706734.6837 | 1115170.3566 | 2706719.6006 | 1115170.5787
32 | 2706716.6207 | 1115170.6226 | 2706719.6006 | 1115170.5787
33 | 2706734.6837 | 1115170.3566 | 2706736.3419 | 1115170.3322
34 | 2706716.6207 | 1115170.6226 | 2706704.5025 | 1115170.801
35 | 2706736.3419 | 1115170.3322 | 2706749.207 | 1115170.1428
36 | 2706704.5025 | 1115170.801 | 2706698.4052 | 1115170.8908
37 | 2706767.4649 | 1115169.874 | 2706749.207 | 1115170.1428
38 | 2706812.72 | 1115182.0079 | 2706812.8869 | 1115179.8707
39 | 2706808.5865 | 1115230.2357 | 2706810.2967 | 1115230.5187 | 2706827.8922 | 1115230.829
40 | 2706789.3 | 1115228.3609 | 2706786.346 | 1115228.549
41 | 2706803.5279 | 1115229.3987 | 2706795.0727 | 1115227.9933 | 2706789.3 | 1115228.3609
42 | 2706786.346 | 1115228.549 | 2706782.9028 | 1115228.7682 | 2706769.2623 | 1115233.5422
43 | 2706803.5279 | 1115229.3987 | 2706808.5865 | 1115230.2357
44 | 2706803.5279 | 1115229.3987 | 2706801.7696 | 1115245.4559 | 2706799.1052 | 1115256.4049 | 2706793.8518 | 1115273.1453 | 2706793.0137 | 1115283.5722
45 | 2706769.2623 | 1115233.5422 | 2706765.2703 | 1115234.9394 | 2706715.2303 | 1115242.5074 | 2706704.1817 | 1115242.4343
46 | 2706792.6189 | 1115288.484 | 2706793.0137 | 1115283.5722
47 | 2706687.9884 | 1115242.2165 | 2706688.944 | 1115242.3334 | 2706704.1817 | 1115242.4343
48 | 2706788.6526 | 1115336.6745 | 2706790.3428 | 1115318.8574 | 2706791.5467 | 1115301.8232 | 2706792.6189 | 1115288.484
49 | 2706687.9884 | 1115242.2165 | 2706687.0754 | 1115253.2743 | 2706687.03 | 1115255.8529 | 2706687.8124 | 1115258.3461
50 | 2706673.4243 | 1115240.3701 | 2706687.9884 | 1115242.2165
51 | 2706788.6526 | 1115336.6745 | 2706774.4458 | 1115390.8793
52 | 2706673.4243 | 1115240.3701 | 2706650.4105 | 1115238.5802
53 | 2706673.4243 | 1115240.3701 | 2706672.1934 | 1115234.8338 | 2706669.8004 | 1115231.1552
54 | 2706643.7631 | 1115238.0632 | 2706650.4105 | 1115238.5802
55 | 2706669.8004 | 1115231.1552 | 2706666.7719 | 1115226.4996 | 2706660.2576 | 1115220.5701 | 2706648.2883 | 1115212.5876 | 2706644.1796 | 1115210.525
56 | 2706644.1796 | 1115210.525 | 2706622.5873 | 1115199.6851
57 | 2706635.2898 | 1115238.686 | 2706640.5304 | 1115237.8118 | 2706643.7631 | 1115238.0632
58 | 2706635.2898 | 1115238.686 | 2706625.2169 | 1115240.3663 | 2706618.8464 | 1115240.2542
59 | 2706774.4458 | 1115390.8793 | 2706760.6036 | 1115388.2273
60 | 2706751.8008 | 1115386.5408 | 2706760.6036 | 1115388.2273
61 | 2706742.8731 | 1115384.8304 | 2706751.8008 | 1115386.5408
62 | 2706742.8731 | 1115384.8304 | 2706721.4546 | 1115380.7244
63 | 2706742.8731 | 1115384.8304 | 2706746.8206 | 1115389.1471 | 2706741.6081 | 1115398.3279 | 2706747.2891 | 1115407.7007
64 | 2706747.2891 | 1115407.7007 | 2706741.412 | 1115409.4539 | 2706737.4338 | 1115413.5157
65 | 2706737.4338 | 1115413.5157 | 2706737.1731 | 1115413.782 | 2706734.3108 | 1115420.1913
66 | 2706734.3108 | 1115420.1913 | 2706734.3108 | 1115420.1913 | 2706730.1354 | 1115421.3518 | 2706729.9906 | 1115422.4314
67 | 2706729.9906 | 1115422.4314 | 2706728.4907 | 1115433.6085 | 2706717.9018 | 1115431.0315

## bus_geodata
| x | y | coords
0 | 2706806.5946 | 1115127.8793
1 | 2706786.0125 | 1115125.979
2 | 2706837.0386 | 1115129.5583
3 | 2706783.6444 | 1115120.556
4 | 2706765.9644 | 1115126.3371
5 | 2706815.9323 | 1115140.8713
6 | 2706840.1788 | 1115127.5456
7 | 2706816.4432 | 1115063.4303
8 | 2706839.0755 | 1115066.6202
9 | 2706796.0483 | 1115060.5558
10 | 2706763.1282 | 1115117.5006
11 | 2706765.493 | 1115137.7303
12 | 2706735.9944 | 1115120.4691
13 | 2706829.1382 | 1115146.3736
14 | 2706814.3828 | 1115160.7143
15 | 2706762.3808 | 1115117.3893
16 | 2706749.3555 | 1115053.9747
17 | 2706772.8095 | 1115156.6678
18 | 2706852.5186 | 1115156.1149
19 | 2706813.7234 | 1115169.158
20 | 2706840.0446 | 1115231.0434
21 | 2706658.0124 | 1115363.8072
22 | 2706667.4468 | 1115366.3642
23 | 2706690.5173 | 1115373.7651
24 | 2706698.4338 | 1115290.2314
25 | 2706688.8277 | 1115260.2829
26 | 2706702.584 | 1115377.1069
27 | 2706712.4871 | 1115379.0053
28 | 2706719.6006 | 1115170.5787
29 | 2706734.6837 | 1115170.3566
30 | 2706716.6207 | 1115170.6226
31 | 2706736.3419 | 1115170.3322
32 | 2706704.5025 | 1115170.801
33 | 2706749.207 | 1115170.1428
34 | 2706698.4052 | 1115170.8907
35 | 2706767.4649 | 1115169.874
36 | 2706812.8869 | 1115179.8707
37 | 2706812.72 | 1115182.0079
38 | 2706886.962 | 1115312.9123
39 | 2706827.8922 | 1115230.829
40 | 2706789.3 | 1115228.3609
41 | 2706786.346 | 1115228.549
42 | 2706803.5279 | 1115229.3987
43 | 2706769.2623 | 1115233.5422
44 | 2706808.5865 | 1115230.2357
45 | 2706793.0137 | 1115283.5722
46 | 2706704.1817 | 1115242.4343
47 | 2706792.6189 | 1115288.484
48 | 2706687.9884 | 1115242.2165
49 | 2706788.6526 | 1115336.6745
50 | 2706687.8124 | 1115258.3461
51 | 2706673.4243 | 1115240.3701
52 | 2706650.4105 | 1115238.5802
53 | 2706669.8004 | 1115231.1552
54 | 2706644.1796 | 1115210.525
55 | 2706622.5873 | 1115199.6851
56 | 2706643.7631 | 1115238.0632
57 | 2706635.2898 | 1115238.686
58 | 2706774.4458 | 1115390.8793
59 | 2706760.6036 | 1115388.2273
60 | 2706751.8008 | 1115386.5408
61 | 2706721.4546 | 1115380.7244
62 | 2706742.8731 | 1115384.8304
63 | 2706747.2891 | 1115407.7007
64 | 2706737.4338 | 1115413.5157
65 | 2706734.3108 | 1115420.1913
66 | 2706729.9906 | 1115422.4314
67 | 2706717.9018 | 1115431.0315
68 | 2706618.8464 | 1115240.2542
69 | 2706803.5279 | 1115229.3987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1