## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5118-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5118-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5118-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5118-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5118-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5118-7_0_4_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_5118-7_0_4_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_5118-7_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5118-7_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5118-7_0_4_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_5118-7_0_4_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_5118-7_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_5118-7_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_5118-7_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_5118-7_0_4_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_5118-7_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5118-7_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5118-7_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5118-7_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5118-7_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5118-7_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5118-7_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5118-7_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5118-7_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5118-7_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_5118-7_0_4_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_5118-7_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5118-7_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5118-7_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5118-7_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5118-7_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5118-7_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5118-7_0_4_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_5118-7_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5118-7_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5118-7_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5118-7_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5118-7_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5118-7_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5118-7_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5118-7_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5118-7_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5118-7_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5118-7_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5118-7_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5118-7_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5118-7_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5118-7_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5118-7_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5118-7_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5118-7_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5118-7_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5118-7_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5118-7_0_4_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_5118-7_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5118-7_0_4_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_5118-7_0_4_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_5118-7_0_4_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_5118-7_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5118-7_0_4_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_5118-7_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5118-7_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_5118-7_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5118-7_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5118-7_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5118-7_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5118-7_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5118-7_0_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_5118-7_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_5118-7_0_4_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_5118-7_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_5118-7_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_5118-7_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5118-7_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_5118-7_0_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_5118-7_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_5118-7_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5118-7_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5118-7_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_5118-7_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_5118-7_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_5118-7_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_5118-7_0_4_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_5118-7_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_5118-7_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5118-7_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_5118-7_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_5118-7_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5118-7_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_5118-7_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_5118-7_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_5118-7_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_5118-7_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_5118-7_0_4_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_5118-7_0_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_5118-7_0_4_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_5118-7_0_4_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_5118-7_0_4_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_5118-7_0_4_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_5118-7_0_4_node_106 | 0.4 | n |  | TRUE
100 | bus_LV_5118-7_0_4_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_5118-7_0_4_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_5118-7_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5118-7_0_4_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_5118-7_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_MV_245_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5118-7_0_4_load_0 | 0 | 0.0062461 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5118-7_0_4_load_3 | 3 | 0.0023453 | 0.0005878 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5118-7_0_4_load_107 | 6 | 0.0066247 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5118-7_0_4_load_57 | 9 | 0.0058893 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5118-7_0_4_load_103 | 10 | 0.0039668 | 0.00099418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5118-7_0_4_load_23 | 12 | 0.0016361 | 0.00041004 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5118-7_0_4_load_56 | 13 | 0.0075221 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5118-7_0_4_load_7 | 16 | 0.029236 | 0.0073272 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5118-7_0_4_load_8 | 17 | 0.029455 | 0.0073822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5118-7_0_4_load_9 | 18 | 0.029245 | 0.0073295 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5118-7_0_4_load_10 | 19 | 0.0033715 | 0.00084499 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5118-7_0_4_load_12 | 22 | 0.03928 | 0.0098445 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5118-7_0_4_load_73 | 25 | 0.0084731 | 0.0021236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5118-7_0_4_load_13 | 27 | 0.019419 | 0.0048669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5118-7_0_4_load_16 | 30 | 0.0046579 | 0.0011674 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5118-7_0_4_load_17 | 31 | 0.0060834 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5118-7_0_4_load_60 | 34 | 0.028558 | 0.0071574 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5118-7_0_4_load_18 | 36 | 0.0024924 | 0.00062465 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5118-7_0_4_load_19 | 37 | 0.0055868 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5118-7_0_4_load_20 | 38 | 0.0068137 | 0.0017077 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5118-7_0_4_load_21 | 39 | 0.008337 | 0.0020894 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5118-7_0_4_load_22 | 40 | 0.0029952 | 0.00075066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5118-7_0_4_load_38 | 41 | 0.0045159 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5118-7_0_4_load_24 | 42 | 0.0035236 | 0.0008831 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5118-7_0_4_load_26 | 43 | 0.0030079 | 0.00075386 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5118-7_0_4_load_39 | 44 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5118-7_0_4_load_40 | 45 | 0.011193 | 0.0028052 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5118-7_0_4_load_27 | 46 | 0.0037061 | 0.00092883 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5118-7_0_4_load_28 | 47 | 0.0035259 | 0.00088368 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5118-7_0_4_load_32 | 51 | 0.002166 | 0.00054285 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5118-7_0_4_load_101 | 53 | 0.003963 | 0.00099322 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5118-7_0_4_load_45 | 54 | 0.0027437 | 0.00068765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5118-7_0_4_load_102 | 55 | 0.0061073 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5118-7_0_4_load_108 | 56 | 0.014117 | 0.0035381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5118-7_0_4_load_104 | 57 | 0.0038274 | 0.00095924 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5118-7_0_4_load_109 | 59 | 0.0072297 | 0.0018119 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5118-7_0_4_load_70 | 60 | 0.0050899 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5118-7_0_4_load_69 | 61 | 0.0053536 | 0.0013417 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5118-7_0_4_load_41 | 62 | 0.003652 | 0.00091527 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5118-7_0_4_load_43 | 63 | 0.0018088 | 0.00045334 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5118-7_0_4_load_44 | 64 | 0.0021506 | 0.000539 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5118-7_0_4_load_46 | 65 | 0.0070954 | 0.0017783 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5118-7_0_4_load_47 | 66 | 0.0017861 | 0.00044764 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5118-7_0_4_load_100 | 67 | 0.003366 | 0.00084359 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5118-7_0_4_load_76 | 68 | 0.0058483 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5118-7_0_4_load_99 | 69 | 0.0028122 | 0.0007048 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5118-7_0_4_load_48 | 70 | 0.0030448 | 0.00076309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5118-7_0_4_load_50 | 71 | 0.0040698 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5118-7_0_4_load_94 | 74 | 0.0021854 | 0.0005477 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5118-7_0_4_load_64 | 76 | 0.0062033 | 0.0015547 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5118-7_0_4_load_75 | 78 | 0.0024112 | 0.0006043 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5118-7_0_4_load_63 | 80 | 0.011624 | 0.0029133 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5118-7_0_4_load_66 | 81 | 0.010959 | 0.0027466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5118-7_0_4_load_89 | 82 | 0.004708 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5118-7_0_4_load_88 | 83 | 0.003736 | 0.00093634 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5118-7_0_4_load_81 | 84 | 0.0023095 | 0.00057881 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5118-7_0_4_load_71 | 85 | 0.0043516 | 0.0010906 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5118-7_0_4_load_72 | 86 | 0.0052421 | 0.0013138 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5118-7_0_4_load_77 | 87 | 0.0030049 | 0.0007531 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5118-7_0_4_load_78 | 88 | 0.0038428 | 0.00096309 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5118-7_0_4_load_90 | 90 | 0.0018434 | 0.00046201 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5118-7_0_4_load_91 | 91 | 0.0024092 | 0.00060381 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5118-7_0_4_load_84 | 93 | 0.007962 | 0.0019955 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5118-7_0_4_load_95 | 94 | 0.002114 | 0.00052981 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5118-7_0_4_load_83 | 95 | 0.0051064 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5118-7_0_4_load_85 | 96 | 0.0031934 | 0.00080034 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5118-7_0_4_load_87 | 97 | 0.0027932 | 0.00070003 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5118-7_0_4_load_106 | 99 | 0.0031446 | 0.00078811 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5118-7_0_4_load_92 | 100 | 0.0024425 | 0.00061216 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5118-7_0_4_load_93 | 101 | 0.0035715 | 0.00089509 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5118-7_0_4_load_97 | 102 | 0.0022024 | 0.00055196 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5118-7_0_4_load_98 | 103 | 0.0026671 | 0.00066844 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5118-7_0_4_load_96 | 104 | 0.0049871 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5118-7_0_4_line_0 |  | 0 | 1 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5118-7_0_4_line_1 |  | 0 | 2 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5118-7_0_4_line_2 |  | 1 | 3 | 0.0024123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5118-7_0_4_line_3 |  | 2 | 4 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5118-7_0_4_line_4 |  | 3 | 5 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5118-7_0_4_line_5 |  | 4 | 6 | 0.008676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5118-7_0_4_line_6 |  | 5 | 10 | 0.0098053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5118-7_0_4_line_7 |  | 5 | 11 | 0.032939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5118-7_0_4_line_8 |  | 7 | 8 | 0.037095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5118-7_0_4_line_9 |  | 7 | 9 | 0.030136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5118-7_0_4_line_10 |  | 8 | 12 | 0.054882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5118-7_0_4_line_11 |  | 9 | 13 | 0.0031985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5118-7_0_4_line_12 |  | 11 | 70 | 0.0047745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5118-7_0_4_line_13 |  | 12 | 42 | 0.037762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5118-7_0_4_line_14 |  | 13 | 14 | 0.05419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5118-7_0_4_line_15 |  | 14 | 15 | 0.011949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5118-7_0_4_line_16 |  | 15 | 68 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5118-7_0_4_line_17 |  | 15 | 64 | 0.006817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5118-7_0_4_line_18 |  | 16 | 17 | 0.0050719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5118-7_0_4_line_19 |  | 16 | 18 | 0.039147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5118-7_0_4_line_20 |  | 17 | 19 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5118-7_0_4_line_21 |  | 18 | 20 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5118-7_0_4_line_22 |  | 19 | 21 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5118-7_0_4_line_23 |  | 20 | 22 | 0.022195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5118-7_0_4_line_24 |  | 21 | 23 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5118-7_0_4_line_25 |  | 21 | 24 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5118-7_0_4_line_26 |  | 23 | 59 | 0.005907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5118-7_0_4_line_27 |  | 24 | 39 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5118-7_0_4_line_28 |  | 25 | 26 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5118-7_0_4_line_29 |  | 26 | 80 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5118-7_0_4_line_30 |  | 27 | 28 | 0.033554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5118-7_0_4_line_31 |  | 27 | 29 | 0.027687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5118-7_0_4_line_32 |  | 28 | 30 | 0.038891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5118-7_0_4_line_33 |  | 29 | 31 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5118-7_0_4_line_34 |  | 30 | 32 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5118-7_0_4_line_35 |  | 31 | 33 | 0.034311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5118-7_0_4_line_36 |  | 32 | 34 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5118-7_0_4_line_37 |  | 33 | 35 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5118-7_0_4_line_38 |  | 34 | 79 | 0.0045053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5118-7_0_4_line_39 |  | 35 | 41 | 0.0038637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5118-7_0_4_line_40 |  | 35 | 40 | 0.013353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5118-7_0_4_line_41 |  | 36 | 37 | 0.005308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5118-7_0_4_line_42 |  | 36 | 38 | 0.01701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5118-7_0_4_line_43 |  | 37 | 39 | 0.0026282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5118-7_0_4_line_44 |  | 38 | 40 | 0.0027442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5118-7_0_4_line_45 |  | 41 | 60 | 0.0047116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5118-7_0_4_line_46 |  | 42 | 43 | 0.061819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5118-7_0_4_line_47 |  | 43 | 44 | 0.0090515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5118-7_0_4_line_48 |  | 44 | 45 | 0.042963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5118-7_0_4_line_49 |  | 46 | 47 | 0.0098372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5118-7_0_4_line_50 |  | 46 | 48 | 0.021673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5118-7_0_4_line_51 |  | 47 | 49 | 0.049817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5118-7_0_4_line_52 |  | 48 | 50 | 0.019634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5118-7_0_4_line_53 |  | 48 | 51 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5118-7_0_4_line_54 |  | 49 | 52 | 0.10286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5118-7_0_4_line_55 |  | 50 | 53 | 0.0093295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5118-7_0_4_line_56 |  | 50 | 54 | 0.0020247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5118-7_0_4_line_57 |  | 51 | 55 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5118-7_0_4_line_58 |  | 52 | 56 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5118-7_0_4_line_59 |  | 53 | 57 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5118-7_0_4_line_60 |  | 54 | 58 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5118-7_0_4_line_61 |  | 57 | 98 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5118-7_0_4_line_62 |  | 58 | 64 | 0.0083085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5118-7_0_4_line_63 |  | 58 | 62 | 0.0057292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5118-7_0_4_line_64 |  | 60 | 61 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5118-7_0_4_line_65 |  | 61 | 85 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5118-7_0_4_line_66 |  | 62 | 63 | 0.0070849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5118-7_0_4_line_67 |  | 63 | 65 | 0.011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5118-7_0_4_line_68 |  | 63 | 66 | 0.0097649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5118-7_0_4_line_69 |  | 66 | 67 | 0.00085185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5118-7_0_4_line_70 |  | 67 | 69 | 0.0054219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5118-7_0_4_line_71 |  | 68 | 78 | 0.0074396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5118-7_0_4_line_72 |  | 69 | 103 | 0.0061427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5118-7_0_4_line_73 |  | 70 | 71 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5118-7_0_4_line_74 |  | 71 | 72 | 0.006544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5118-7_0_4_line_75 |  | 72 | 73 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5118-7_0_4_line_76 |  | 73 | 74 | 0.024713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5118-7_0_4_line_77 |  | 73 | 75 | 0.033083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5118-7_0_4_line_78 |  | 74 | 94 | 0.0085327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5118-7_0_4_line_79 |  | 75 | 84 | 0.0015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5118-7_0_4_line_80 |  | 75 | 87 | 0.0052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5118-7_0_4_line_81 |  | 76 | 77 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5118-7_0_4_line_82 |  | 77 | 81 | 0.010131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5118-7_0_4_line_83 |  | 78 | 86 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5118-7_0_4_line_84 |  | 79 | 80 | 0.041161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5118-7_0_4_line_85 |  | 81 | 82 | 0.052707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5118-7_0_4_line_86 |  | 82 | 83 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5118-7_0_4_line_87 |  | 83 | 92 | 0.00176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5118-7_0_4_line_88 |  | 85 | 86 | 0.017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5118-7_0_4_line_89 |  | 87 | 88 | 0.0032085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5118-7_0_4_line_90 |  | 88 | 89 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5118-7_0_4_line_91 |  | 89 | 90 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5118-7_0_4_line_92 |  | 90 | 91 | 0.00051559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5118-7_0_4_line_93 |  | 91 | 100 | 0.0086205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5118-7_0_4_line_94 |  | 92 | 93 | 0.011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5118-7_0_4_line_95 |  | 93 | 95 | 0.010236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5118-7_0_4_line_96 |  | 94 | 104 | 0.0029591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5118-7_0_4_line_97 |  | 95 | 96 | 0.0069295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5118-7_0_4_line_98 |  | 96 | 97 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5118-7_0_4_line_99 |  | 97 | 98 | 0.006287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5118-7_0_4_line_100 |  | 98 | 99 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5118-7_0_4_line_101 |  | 100 | 101 | 0.0070343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5118-7_0_4_line_102 |  | 101 | 102 | 0.0053686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5118-7_0_4_line_103 |  | 102 | 103 | 0.0015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5118-7_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 105 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2706380.6314 | 1114417.7054 | 2706369.4601 | 1114414.2791
1 | 2706356.9838 | 1114410.4525 | 2706369.4601 | 1114414.2791
2 | 2706380.6314 | 1114417.7054 | 2706380.9217 | 1114420.1002
3 | 2706341.4744 | 1114417.0179 | 2706351.1163 | 1114415.5751 | 2706356.9838 | 1114410.4525
4 | 2706383.3098 | 1114439.8 | 2706380.9217 | 1114420.1002
5 | 2706341.4744 | 1114417.0179 | 2706342.0863 | 1114419.5636 | 2706343.5666 | 1114425.4378
6 | 2706383.3098 | 1114439.8 | 2706373.8034 | 1114442.2025
7 | 2706416.0325 | 1114439.6076 | 2706400.8521 | 1114437.5509 | 2706399.0848 | 1114437.4643 | 2706383.3098 | 1114439.8
8 | 2706278.2859 | 1114370.2018 | 2706275.7506 | 1114377.3509 | 2706275.3326 | 1114389.7293 | 2706292.4009 | 1114391.6075
9 | 2706292.4009 | 1114391.6075 | 2706293.093 | 1114421.7356
10 | 2706278.2859 | 1114370.2018 | 2706240.0422 | 1114362.7933 | 2706225.1327 | 1114357.1902
11 | 2706293.1665 | 1114424.9332 | 2706293.093 | 1114421.7356
12 | 2706416.0325 | 1114439.6076 | 2706420.5984 | 1114441.0035
13 | 2706189.5114 | 1114344.9101 | 2706196.9964 | 1114346.4285 | 2706212.5476 | 1114352.4604 | 2706225.1327 | 1114357.1902
14 | 2706320.597 | 1114464.9381 | 2706314.6692 | 1114456.7733 | 2706306.5175 | 1114451.6493 | 2706296.027 | 1114447.3181 | 2706293.5964 | 1114443.6509 | 2706293.1665 | 1114424.9332
15 | 2706320.597 | 1114464.9381 | 2706317.844 | 1114476.564
16 | 2706317.844 | 1114476.564 | 2706305.3211 | 1114474.4875 | 2706296.5919 | 1114472.8859
17 | 2706317.844 | 1114476.564 | 2706324.4824 | 1114478.1142
18 | 2706092.5824 | 1114420.2742 | 2706097.5438 | 1114421.3275
19 | 2706092.5824 | 1114420.2742 | 2706056.7162 | 1114412.6597 | 2706054.2718 | 1114412.2314
20 | 2706097.5438 | 1114421.3275 | 2706111.739 | 1114424.3412 | 2706122.4242 | 1114427.0477
21 | 2706040.4451 | 1114409.8065 | 2706050.4403 | 1114411.5603 | 2706054.2718 | 1114412.2314
22 | 2706145.2673 | 1114432.8337 | 2706122.4242 | 1114427.0477
23 | 2706040.4451 | 1114409.8065 | 2706033.5724 | 1114430.9103
24 | 2706145.2673 | 1114432.8337 | 2706144.4646 | 1114435.8883 | 2706142.2133 | 1114444.4655
25 | 2706145.2673 | 1114432.8337 | 2706160.4629 | 1114436.6689
26 | 2706136.4575 | 1114445.8656 | 2706142.2133 | 1114444.4655
27 | 2706160.4629 | 1114436.6689 | 2706179.3212 | 1114441.4445
28 | 2706014.912 | 1114488.2103 | 2706020.4351 | 1114471.2504
29 | 2706014.912 | 1114488.2103 | 2706023.4471 | 1114490.8502 | 2706031.2388 | 1114493.2591
30 | 2706139.6205 | 1114526.7619 | 2706144.5779 | 1114495.9845 | 2706145.3 | 1114493.7164
31 | 2706159.0691 | 1114470.3662 | 2706149.1226 | 1114481.7104 | 2706145.3 | 1114493.7164
32 | 2706139.6205 | 1114526.7619 | 2706132.399 | 1114524.534 | 2706102.4635 | 1114515.2795
33 | 2706159.0691 | 1114470.3662 | 2706169.3635 | 1114465.1765
34 | 2706086.5736 | 1114510.3672 | 2706102.4635 | 1114515.2795
35 | 2706202.7824 | 1114458.3019 | 2706192.5239 | 1114458.8003 | 2706182.5511 | 1114461.0604 | 2706169.3635 | 1114465.1765
36 | 2706086.5736 | 1114510.3672 | 2706074.8677 | 1114506.7479
37 | 2706217.2149 | 1114455.8754 | 2706207.0342 | 1114458.0985 | 2706202.7824 | 1114458.3019
38 | 2706070.5635 | 1114505.4171 | 2706074.8677 | 1114506.7479
39 | 2706217.2149 | 1114455.8754 | 2706220.8084 | 1114457.2948
40 | 2706217.2149 | 1114455.8754 | 2706205.9896 | 1114448.6438
41 | 2706187.0145 | 1114443.3928 | 2706181.869 | 1114442.0897
42 | 2706203.504 | 1114447.5685 | 2706187.0145 | 1114443.3928
43 | 2706179.3212 | 1114441.4445 | 2706181.869 | 1114442.0897
44 | 2706205.9896 | 1114448.6438 | 2706204.8493 | 1114447.9092 | 2706203.504 | 1114447.5685
45 | 2706220.8084 | 1114457.2948 | 2706225.1906 | 1114459.0257
46 | 2706128.0497 | 1114350.0943 | 2706155.0916 | 1114347.3618 | 2706178.9244 | 1114344.5107 | 2706187.0982 | 1114344.4205 | 2706189.5114 | 1114344.9101
47 | 2706128.0497 | 1114350.0943 | 2706121.8961 | 1114350.7161 | 2706119.0361 | 1114350.5224
48 | 2706119.0361 | 1114350.5224 | 2706106.3965 | 1114349.6663 | 2706092.0562 | 1114347.7029 | 2706076.7956 | 1114343.5328
49 | 2706311.868 | 1114546.7436 | 2706316.9781 | 1114538.3379
50 | 2706327.2363 | 1114519.2562 | 2706324.4301 | 1114524.6772 | 2706319.5291 | 1114534.1417 | 2706316.9781 | 1114538.3379
51 | 2706285.9892 | 1114589.3113 | 2706288.4706 | 1114585.2299 | 2706311.868 | 1114546.7436
52 | 2706332.3403 | 1114500.4225 | 2706331.6184 | 1114506.347 | 2706329.4663 | 1114514.1031 | 2706327.2363 | 1114519.2562
53 | 2706327.2363 | 1114519.2562 | 2706313.124 | 1114514.1239
54 | 2706266.5083 | 1114518.4908 | 2706252.1199 | 1114551.4376 | 2706243.9941 | 1114570.8298 | 2706285.9892 | 1114589.3113
55 | 2706332.3403 | 1114500.4225 | 2706335.2657 | 1114504.4987 | 2706338.697 | 1114507.1105
56 | 2706332.3403 | 1114500.4225 | 2706332.3581 | 1114498.3979
57 | 2706303.6587 | 1114510.6816 | 2706313.124 | 1114514.1239
58 | 2706266.5083 | 1114518.4908 | 2706265.5837 | 1114517.0403 | 2706257.5181 | 1114513.1742
59 | 2706338.697 | 1114507.1105 | 2706343.4443 | 1114510.7239 | 2706351.6016 | 1114513.5893
60 | 2706332.5174 | 1114480.2126 | 2706332.3581 | 1114498.3979
61 | 2706372.3339 | 1114519.8589 | 2706367.833 | 1114519.2907 | 2706351.6016 | 1114513.5893
62 | 2706332.5174 | 1114480.2126 | 2706329.2212 | 1114479.2208 | 2706324.4824 | 1114478.1142
63 | 2706332.5174 | 1114480.2126 | 2706335.3588 | 1114478.5169 | 2706337.6875 | 1114477.8573
64 | 2706240.1012 | 1114462.6461 | 2706229.7339 | 1114460.8202 | 2706225.1906 | 1114459.0257
65 | 2706257.0775 | 1114465.6359 | 2706240.1012 | 1114462.6461
66 | 2706344.6982 | 1114477.1354 | 2706341.4082 | 1114477.111 | 2706337.6875 | 1114477.8573
67 | 2706344.6982 | 1114477.1354 | 2706347.2206 | 1114466.3283
68 | 2706344.6982 | 1114477.1354 | 2706346.9688 | 1114477.1531 | 2706353.5746 | 1114480.6925
69 | 2706353.5746 | 1114480.6925 | 2706354.3254 | 1114481.0948
70 | 2706359.1045 | 1114483.6554 | 2706354.3254 | 1114481.0948
71 | 2706289.2745 | 1114471.5433 | 2706296.5919 | 1114472.8859
72 | 2706359.1045 | 1114483.6554 | 2706362.2652 | 1114485.3489 | 2706364.3907 | 1114486.7701
73 | 2706435.324 | 1114445.5056 | 2706420.5984 | 1114441.0035
74 | 2706435.324 | 1114445.5056 | 2706433.3759 | 1114451.7532
75 | 2706433.3759 | 1114451.7532 | 2706431.3627 | 1114463.4699 | 2706430.6788 | 1114465.9039
76 | 2706430.6788 | 1114465.9039 | 2706406.7349 | 1114472.0208 | 2706406.7349 | 1114472.0208
77 | 2706419.2281 | 1114496.8895 | 2706427.664 | 1114476.5912 | 2706430.6788 | 1114465.9039
78 | 2706406.7349 | 1114472.0208 | 2706402.7029 | 1114471.5831 | 2706398.3549 | 1114470.516
79 | 2706419.2281 | 1114496.8895 | 2706420.7846 | 1114497.1713
80 | 2706419.2281 | 1114496.8895 | 2706414.0274 | 1114497.1232
81 | 2706436.0334 | 1114571.7439 | 2706421.3958 | 1114592.011
82 | 2706436.0334 | 1114571.7439 | 2706439.5832 | 1114562.2556
83 | 2706273.8897 | 1114468.7206 | 2706289.2745 | 1114471.5433
84 | 2706070.5635 | 1114505.4171 | 2706031.2388 | 1114493.2591
85 | 2706439.5832 | 1114562.2556 | 2706450.6755 | 1114548.1524 | 2706451.1948 | 1114544.9706 | 2706449.8438 | 1114542.7343 | 2706443.0716 | 1114537.8011 | 2706426.615 | 1114527.9503 | 2706425.4737 | 1114527.1931
86 | 2706425.4737 | 1114527.1931 | 2706414.5523 | 1114519.9467
87 | 2706413.0857 | 1114518.9736 | 2706414.5523 | 1114519.9467
88 | 2706257.0775 | 1114465.6359 | 2706273.8897 | 1114468.7206
89 | 2706414.0274 | 1114497.1232 | 2706410.8222 | 1114497.2673
90 | 2706395.814 | 1114500.1139 | 2706401.0855 | 1114497.7048 | 2706410.8222 | 1114497.2673
91 | 2706395.814 | 1114500.1139 | 2706394.2577 | 1114498.1297 | 2706385.6896 | 1114495.1444
92 | 2706385.2027 | 1114494.9748 | 2706385.6896 | 1114495.1444
93 | 2706385.2027 | 1114494.9748 | 2706377.6906 | 1114492.3575 | 2706377.0486 | 1114492.1822
94 | 2706413.0857 | 1114518.9736 | 2706408.4506 | 1114530.0105
95 | 2706398.8203 | 1114526.5422 | 2706408.4506 | 1114530.0105 | 2706408.4506 | 1114530.0105
96 | 2706395.4811 | 1114469.8107 | 2706398.3549 | 1114470.516
97 | 2706398.8203 | 1114526.5422 | 2706392.3007 | 1114524.1942
98 | 2706378.517 | 1114520.9973 | 2706388.5559 | 1114522.8456 | 2706392.3007 | 1114524.1942
99 | 2706372.3339 | 1114519.8589 | 2706378.517 | 1114520.9973
100 | 2706372.3339 | 1114519.8589 | 2706367.8775 | 1114531.277
101 | 2706370.2627 | 1114490.3294 | 2706377.0486 | 1114492.1822
102 | 2706365.6715 | 1114487.6266 | 2706369.3347 | 1114490.076 | 2706370.2627 | 1114490.3294
103 | 2706365.6715 | 1114487.6266 | 2706364.3907 | 1114486.7701

## bus_geodata
| x | y | coords
0 | 2706369.4601 | 1114414.2791
1 | 2706380.6314 | 1114417.7054
2 | 2706356.9838 | 1114410.4525
3 | 2706380.9217 | 1114420.1002
4 | 2706341.4744 | 1114417.0179
5 | 2706383.3098 | 1114439.8
6 | 2706343.5666 | 1114425.4378
7 | 2706292.4009 | 1114391.6075
8 | 2706278.2859 | 1114370.2018
9 | 2706293.093 | 1114421.7356
10 | 2706373.8034 | 1114442.2025
11 | 2706416.0325 | 1114439.6076
12 | 2706225.1327 | 1114357.1902
13 | 2706293.1665 | 1114424.9332
14 | 2706320.597 | 1114464.9381
15 | 2706317.844 | 1114476.564
16 | 2706092.5824 | 1114420.2742
17 | 2706097.5438 | 1114421.3275
18 | 2706054.2718 | 1114412.2314
19 | 2706122.4242 | 1114427.0477
20 | 2706040.4451 | 1114409.8065
21 | 2706145.2673 | 1114432.8337
22 | 2706033.5724 | 1114430.9103
23 | 2706142.2133 | 1114444.4655
24 | 2706160.4629 | 1114436.6689
25 | 2706020.4351 | 1114471.2504
26 | 2706014.912 | 1114488.2103
27 | 2706145.3 | 1114493.7164
28 | 2706139.6205 | 1114526.7619
29 | 2706159.0691 | 1114470.3662
30 | 2706102.4635 | 1114515.2795
31 | 2706169.3635 | 1114465.1765
32 | 2706086.5736 | 1114510.3672
33 | 2706202.7824 | 1114458.3019
34 | 2706074.8677 | 1114506.7479
35 | 2706217.2149 | 1114455.8754
36 | 2706187.0145 | 1114443.3928
37 | 2706181.869 | 1114442.0897
38 | 2706203.504 | 1114447.5685
39 | 2706179.3212 | 1114441.4445
40 | 2706205.9896 | 1114448.6438
41 | 2706220.8084 | 1114457.2948
42 | 2706189.5114 | 1114344.9101
43 | 2706128.0497 | 1114350.0943
44 | 2706119.0361 | 1114350.5224
45 | 2706076.7956 | 1114343.5328
46 | 2706316.9781 | 1114538.3379
47 | 2706311.868 | 1114546.7436
48 | 2706327.2363 | 1114519.2562
49 | 2706285.9892 | 1114589.3113
50 | 2706332.3403 | 1114500.4225
51 | 2706313.124 | 1114514.1239
52 | 2706266.5083 | 1114518.4908
53 | 2706338.697 | 1114507.1105
54 | 2706332.3581 | 1114498.3979
55 | 2706303.6587 | 1114510.6816
56 | 2706257.5181 | 1114513.1742
57 | 2706351.6016 | 1114513.5893
58 | 2706332.5174 | 1114480.2126
59 | 2706136.4575 | 1114445.8656
60 | 2706225.1906 | 1114459.0257
61 | 2706240.1012 | 1114462.6461
62 | 2706337.6875 | 1114477.8573
63 | 2706344.6982 | 1114477.1354
64 | 2706324.4824 | 1114478.1142
65 | 2706347.2206 | 1114466.3283
66 | 2706353.5746 | 1114480.6925
67 | 2706354.3254 | 1114481.0948
68 | 2706296.5919 | 1114472.8859
69 | 2706359.1045 | 1114483.6554
70 | 2706420.5984 | 1114441.0035
71 | 2706435.324 | 1114445.5056
72 | 2706433.3759 | 1114451.7532
73 | 2706430.6788 | 1114465.9039
74 | 2706406.7349 | 1114472.0208
75 | 2706419.2281 | 1114496.8895
76 | 2706421.3958 | 1114592.011
77 | 2706436.0334 | 1114571.7439
78 | 2706289.2745 | 1114471.5433
79 | 2706070.5635 | 1114505.4171
80 | 2706031.2388 | 1114493.2591
81 | 2706439.5832 | 1114562.2556
82 | 2706425.4737 | 1114527.1931
83 | 2706414.5523 | 1114519.9467
84 | 2706420.7846 | 1114497.1713
85 | 2706257.0775 | 1114465.6359
86 | 2706273.8897 | 1114468.7206
87 | 2706414.0274 | 1114497.1232
88 | 2706410.8222 | 1114497.2673
89 | 2706395.814 | 1114500.1139
90 | 2706385.6896 | 1114495.1444
91 | 2706385.2027 | 1114494.9748
92 | 2706413.0857 | 1114518.9736
93 | 2706408.4506 | 1114530.0105
94 | 2706398.3549 | 1114470.516
95 | 2706398.8203 | 1114526.5422
96 | 2706392.3007 | 1114524.1942
97 | 2706378.517 | 1114520.9973
98 | 2706372.3339 | 1114519.8589
99 | 2706367.8774 | 1114531.277
100 | 2706377.0486 | 1114492.1822
101 | 2706370.2627 | 1114490.3294
102 | 2706365.6715 | 1114487.6266
103 | 2706364.3907 | 1114486.7701
104 | 2706395.4811 | 1114469.8107
105 | 2706200.8108 | 1114468.107

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1