## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5118-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5118-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5118-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5118-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5118-9_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5118-9_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5118-9_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5118-9_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5118-9_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5118-9_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_5118-9_0_5_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_5118-9_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_5118-9_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_5118-9_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5118-9_0_5_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_5118-9_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5118-9_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_5118-9_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5118-9_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5118-9_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5118-9_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5118-9_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5118-9_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5118-9_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5118-9_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5118-9_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5118-9_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5118-9_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5118-9_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5118-9_0_5_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_5118-9_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5118-9_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5118-9_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5118-9_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5118-9_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_5118-9_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5118-9_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5118-9_0_5_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_5118-9_0_5_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_5118-9_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_5118-9_0_5_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_5118-9_0_5_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_5118-9_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5118-9_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5118-9_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5118-9_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5118-9_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5118-9_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5118-9_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5118-9_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5118-9_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5118-9_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5118-9_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5118-9_0_5_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_5118-9_0_5_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_5118-9_0_5_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_5118-9_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5118-9_0_5_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_5118-9_0_5_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_5118-9_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5118-9_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5118-9_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5118-9_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_5118-9_0_5_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5118-9_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5118-9_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5118-9_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5118-9_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5118-9_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5118-9_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5118-9_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5118-9_0_5_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5118-9_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5118-9_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_5118-9_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5118-9_0_5_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5118-9_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5118-9_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5118-9_0_5_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_5118-9_0_5_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_5118-9_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5118-9_0_5_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_5118-9_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5118-9_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5118-9_0_5_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_5118-9_0_5_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5118-9_0_5_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_5118-9_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_5118-9_0_5_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5118-9_0_5_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_5118-9_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5118-9_0_5_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_5118-9_0_5_node_92 | 0.4 | n |  | TRUE
93 | bus_MV_245_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5118-9_0_5_load_0 | 0 | 0.019741 | 0.0049476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5118-9_0_5_load_1 | 1 | 0.0085051 | 0.0021316 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5118-9_0_5_load_3 | 3 | 0.020571 | 0.0051556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5118-9_0_5_load_4 | 4 | 0.0044221 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5118-9_0_5_load_5 | 5 | 0.0044733 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5118-9_0_5_load_6 | 6 | 0.0023679 | 0.00059346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5118-9_0_5_load_7 | 7 | 0.0076169 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5118-9_0_5_load_17 | 9 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5118-9_0_5_load_27 | 11 | 0.013127 | 0.0032899 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5118-9_0_5_load_58 | 12 | 0.0048373 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5118-9_0_5_load_15 | 13 | 0.010625 | 0.0026629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5118-9_0_5_load_67 | 14 | 0.031359 | 0.0078592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5118-9_0_5_load_57 | 16 | 0.0034973 | 0.0008765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5118-9_0_5_load_9 | 17 | 0.0077805 | 0.00195 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5118-9_0_5_load_10 | 18 | 0.014476 | 0.0036281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5118-9_0_5_load_11 | 19 | 0.015067 | 0.0037762 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5118-9_0_5_load_12 | 20 | 0.016143 | 0.0040457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5118-9_0_5_load_13 | 21 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5118-9_0_5_load_16 | 24 | 0.00455 | 0.0011403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5118-9_0_5_load_19 | 25 | 0.008833 | 0.0022137 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5118-9_0_5_load_22 | 26 | 0.0062729 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5118-9_0_5_load_20 | 27 | 0.0066462 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5118-9_0_5_load_21 | 28 | 0.0053744 | 0.0013469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5118-9_0_5_load_97 | 29 | 0.0050092 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5118-9_0_5_load_23 | 30 | 0.023147 | 0.0058011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5118-9_0_5_load_24 | 31 | 0.010437 | 0.0026158 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5118-9_0_5_load_29 | 33 | 0.0059574 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5118-9_0_5_load_30 | 34 | 0.0013622 | 0.0003414 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5118-9_0_5_load_28 | 35 | 0.0096008 | 0.0024062 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5118-9_0_5_load_78 | 37 | 0.0067513 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5118-9_0_5_load_76 | 38 | 0.0018039 | 0.00045211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5118-9_0_5_load_46 | 39 | 0.0051156 | 0.0012821 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5118-9_0_5_load_83 | 40 | 0.002294 | 0.00057493 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5118-9_0_5_load_74 | 41 | 0.0016976 | 0.00042545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5118-9_0_5_load_32 | 43 | 0.0068694 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5118-9_0_5_load_33 | 44 | 0.0055945 | 0.0014021 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5118-9_0_5_load_36 | 47 | 0.0089517 | 0.0022435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5118-9_0_5_load_37 | 48 | 0.0041482 | 0.0010396 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5118-9_0_5_load_38 | 49 | 0.0042234 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5118-9_0_5_load_40 | 51 | 0.011036 | 0.0027658 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5118-9_0_5_load_89 | 53 | 0.0066477 | 0.0016661 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5118-9_0_5_load_94 | 54 | 0.0067706 | 0.0016969 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5118-9_0_5_load_79 | 55 | 0.0050981 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5118-9_0_5_load_59 | 56 | 0.0048032 | 0.0012038 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5118-9_0_5_load_90 | 57 | 0.0071171 | 0.0017837 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5118-9_0_5_load_80 | 58 | 0.0046937 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5118-9_0_5_load_42 | 60 | 0.0071057 | 0.0017808 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5118-9_0_5_load_43 | 61 | 0.0036399 | 0.00091225 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5118-9_0_5_load_45 | 62 | 0.01808 | 0.0045312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5118-9_0_5_load_47 | 63 | 0.0050179 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5118-9_0_5_load_48 | 64 | 0.0076649 | 0.001921 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5118-9_0_5_load_56 | 65 | 0.0034228 | 0.00085783 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5118-9_0_5_load_49 | 66 | 0.003249 | 0.00081429 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5118-9_0_5_load_50 | 67 | 0.0034741 | 0.0008707 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5118-9_0_5_load_51 | 68 | 0.0048036 | 0.0012039 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5118-9_0_5_load_52 | 69 | 0.0017075 | 0.00042794 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5118-9_0_5_load_53 | 70 | 0.0034385 | 0.00086177 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5118-9_0_5_load_54 | 71 | 0.002032 | 0.00050927 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5118-9_0_5_load_55 | 72 | 0.0029022 | 0.00072736 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5118-9_0_5_load_65 | 73 | 0.006178 | 0.0015484 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5118-9_0_5_load_68 | 74 | 0.0011876 | 0.00029764 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5118-9_0_5_load_69 | 75 | 0.0089269 | 0.0022373 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5118-9_0_5_load_61 | 76 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5118-9_0_5_load_64 | 77 | 0.0020363 | 0.00051033 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5118-9_0_5_load_86 | 78 | 0.0052999 | 0.0013283 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5118-9_0_5_load_87 | 79 | 0.0031135 | 0.00078032 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5118-9_0_5_load_70 | 80 | 0.005998 | 0.0015032 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5118-9_0_5_load_88 | 81 | 0.020742 | 0.0051984 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5118-9_0_5_load_71 | 83 | 0.0024675 | 0.00061841 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5118-9_0_5_load_72 | 84 | 0.0013073 | 0.00032764 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5118-9_0_5_load_73 | 85 | 0.012903 | 0.0032338 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5118-9_0_5_load_75 | 86 | 0.010111 | 0.002534 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5118-9_0_5_load_82 | 87 | 0.012474 | 0.0031263 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5118-9_0_5_load_84 | 89 | 0.0010446 | 0.0002618 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5118-9_0_5_load_85 | 90 | 0.0037377 | 0.00093676 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5118-9_0_5_load_91 | 91 | 0.011099 | 0.0027816 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5118-9_0_5_load_92 | 92 | 0.011216 | 0.0028111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5118-9_0_5_line_0 |  | 0 | 1 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5118-9_0_5_line_1 |  | 0 | 2 | 0.017192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5118-9_0_5_line_2 |  | 1 | 3 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5118-9_0_5_line_3 |  | 2 | 4 | 0.001527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5118-9_0_5_line_4 |  | 2 | 5 | 0.017615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5118-9_0_5_line_5 |  | 3 | 6 | 0.030085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5118-9_0_5_line_6 |  | 4 | 7 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5118-9_0_5_line_7 |  | 5 | 8 | 0.04046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5118-9_0_5_line_8 |  | 7 | 9 | 0.0026235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5118-9_0_5_line_9 |  | 8 | 10 | 0.028113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5118-9_0_5_line_10 |  | 8 | 11 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5118-9_0_5_line_11 |  | 8 | 12 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5118-9_0_5_line_12 |  | 9 | 13 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5118-9_0_5_line_13 |  | 10 | 14 | 0.0089865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5118-9_0_5_line_14 |  | 11 | 15 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5118-9_0_5_line_15 |  | 12 | 16 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5118-9_0_5_line_16 |  | 13 | 24 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5118-9_0_5_line_17 |  | 15 | 30 | 0.023417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5118-9_0_5_line_18 |  | 16 | 65 | 0.0024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5118-9_0_5_line_19 |  | 17 | 18 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5118-9_0_5_line_20 |  | 17 | 19 | 0.0057833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5118-9_0_5_line_21 |  | 18 | 20 | 0.030074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5118-9_0_5_line_22 |  | 19 | 21 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5118-9_0_5_line_23 |  | 21 | 22 | 0.0081327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5118-9_0_5_line_24 |  | 22 | 23 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5118-9_0_5_line_25 |  | 22 | 24 | 0.0046999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5118-9_0_5_line_26 |  | 23 | 25 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5118-9_0_5_line_27 |  | 25 | 26 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5118-9_0_5_line_28 |  | 26 | 27 | 0.0031132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5118-9_0_5_line_29 |  | 27 | 28 | 0.0091048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5118-9_0_5_line_30 |  | 28 | 29 | 0.049247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5118-9_0_5_line_31 |  | 30 | 31 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5118-9_0_5_line_32 |  | 31 | 32 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5118-9_0_5_line_33 |  | 32 | 33 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5118-9_0_5_line_34 |  | 32 | 34 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5118-9_0_5_line_35 |  | 33 | 37 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5118-9_0_5_line_36 |  | 34 | 38 | 0.0071989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5118-9_0_5_line_37 |  | 35 | 36 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5118-9_0_5_line_38 |  | 36 | 39 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5118-9_0_5_line_39 |  | 37 | 40 | 0.0016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5118-9_0_5_line_40 |  | 38 | 41 | 0.0039812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5118-9_0_5_line_41 |  | 39 | 42 | 0.0069395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5118-9_0_5_line_42 |  | 40 | 89 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5118-9_0_5_line_43 |  | 41 | 84 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5118-9_0_5_line_44 |  | 42 | 63 | 0.0096813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5118-9_0_5_line_45 |  | 42 | 60 | 0.024514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5118-9_0_5_line_46 |  | 43 | 44 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5118-9_0_5_line_47 |  | 43 | 45 | 0.021605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5118-9_0_5_line_48 |  | 44 | 46 | 0.006219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5118-9_0_5_line_49 |  | 45 | 47 | 0.0056533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5118-9_0_5_line_50 |  | 45 | 48 | 0.0071114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5118-9_0_5_line_51 |  | 46 | 49 | 0.0098221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5118-9_0_5_line_52 |  | 46 | 50 | 0.028832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5118-9_0_5_line_53 |  | 47 | 51 | 0.02866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5118-9_0_5_line_54 |  | 48 | 52 | 0.02668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5118-9_0_5_line_55 |  | 49 | 53 | 0.00981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5118-9_0_5_line_56 |  | 50 | 54 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5118-9_0_5_line_57 |  | 51 | 55 | 0.004607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5118-9_0_5_line_58 |  | 52 | 56 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5118-9_0_5_line_59 |  | 53 | 57 | 0.0054402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5118-9_0_5_line_60 |  | 55 | 58 | 0.0079173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5118-9_0_5_line_61 |  | 56 | 59 | 0.042162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5118-9_0_5_line_62 |  | 57 | 91 | 0.01906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5118-9_0_5_line_63 |  | 58 | 88 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5118-9_0_5_line_64 |  | 59 | 76 | 0.029286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5118-9_0_5_line_65 |  | 60 | 61 | 0.00043141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5118-9_0_5_line_66 |  | 61 | 62 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5118-9_0_5_line_67 |  | 63 | 64 | 0.006614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5118-9_0_5_line_68 |  | 64 | 65 | 0.01314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5118-9_0_5_line_69 |  | 66 | 67 | 0.018381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5118-9_0_5_line_70 |  | 66 | 68 | 0.001114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5118-9_0_5_line_71 |  | 67 | 69 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5118-9_0_5_line_72 |  | 68 | 70 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5118-9_0_5_line_73 |  | 69 | 71 | 0.0084307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5118-9_0_5_line_74 |  | 70 | 72 | 0.0019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5118-9_0_5_line_75 |  | 71 | 73 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5118-9_0_5_line_76 |  | 72 | 74 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5118-9_0_5_line_77 |  | 74 | 75 | 0.0031619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5118-9_0_5_line_78 |  | 75 | 80 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5118-9_0_5_line_79 |  | 77 | 78 | 0.0024972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5118-9_0_5_line_80 |  | 78 | 79 | 0.0020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5118-9_0_5_line_81 |  | 79 | 90 | 0.0030683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5118-9_0_5_line_82 |  | 80 | 81 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5118-9_0_5_line_83 |  | 81 | 82 | 0.0053663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5118-9_0_5_line_84 |  | 82 | 87 | 0.0090888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_5118-9_0_5_line_85 |  | 82 | 86 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5118-9_0_5_line_86 |  | 83 | 84 | 0.0064431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_5118-9_0_5_line_87 |  | 83 | 85 | 0.010139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_5118-9_0_5_line_88 |  | 85 | 86 | 0.012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_5118-9_0_5_line_89 |  | 87 | 88 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_5118-9_0_5_line_90 |  | 89 | 90 | 0.0047958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5118-9_0_5_line_91 |  | 91 | 92 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5118-9_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 93 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2705957.2562 | 1114597.8702 | 2705942.4547 | 1114593.9975
1 | 2705973.888 | 1114602.2218 | 2705957.2562 | 1114597.8702
2 | 2705928.358 | 1114590.6074 | 2705930.8544 | 1114590.9624 | 2705942.4547 | 1114593.9975
3 | 2705973.888 | 1114602.2218 | 2705974.4037 | 1114600.7845
4 | 2705973.888 | 1114602.2218 | 2705967.9752 | 1114618.8145
5 | 2705917.6744 | 1114618.0828 | 2705925.341 | 1114593.0896 | 2705926.8125 | 1114591.5365 | 2705928.358 | 1114590.6074
6 | 2705980.2813 | 1114584.4039 | 2705974.4037 | 1114600.7845
7 | 2705954.3938 | 1114656.9273 | 2705967.9752 | 1114618.8145
8 | 2705980.2813 | 1114584.4039 | 2705981.1674 | 1114581.9346
9 | 2705954.3938 | 1114656.9273 | 2705961.4485 | 1114658.9741 | 2705978.2549 | 1114663.86 | 2705981.3903 | 1114664.7709
10 | 2705954.3938 | 1114656.9273 | 2705947.4666 | 1114674.7727
11 | 2705954.3938 | 1114656.9273 | 2705943.4823 | 1114653.875
12 | 2705981.1674 | 1114581.9346 | 2705985.0852 | 1114571.0157
13 | 2705981.3903 | 1114664.7709 | 2705983.4115 | 1114665.3511 | 2705989.9379 | 1114667.5402
14 | 2705938.8249 | 1114692.1333 | 2705944.6071 | 1114682.1391 | 2705947.4666 | 1114674.7727
15 | 2705943.4823 | 1114653.875 | 2705929.537 | 1114649.9742
16 | 2705985.0852 | 1114571.0157 | 2705990.0181 | 1114557.268
17 | 2705938.8249 | 1114692.1333 | 2705925.9123 | 1114711.6682
18 | 2705927.2005 | 1114649.3206 | 2705929.537 | 1114649.9742
19 | 2705956.226 | 1114543.5629 | 2705942.7901 | 1114540.0382 | 2705941.9224 | 1114538.422
20 | 2705956.226 | 1114543.5629 | 2705961.82 | 1114545.0305
21 | 2705927.3366 | 1114521.3673 | 2705942.875 | 1114525.0301 | 2705944.2799 | 1114526.8447 | 2705941.9224 | 1114538.422
22 | 2705983.7389 | 1114550.7806 | 2705961.82 | 1114545.0305
23 | 2705991.6054 | 1114552.8443 | 2705983.7389 | 1114550.7806
24 | 2705996.5168 | 1114539.2214 | 2705991.6054 | 1114552.8443
25 | 2705991.6054 | 1114552.8443 | 2705990.0181 | 1114557.268
26 | 2705996.5168 | 1114539.2214 | 2706011.8575 | 1114544.3185
27 | 2706011.8575 | 1114544.3185 | 2706027.4166 | 1114549.4881
28 | 2706030.371 | 1114550.4697 | 2706027.4166 | 1114549.4881
29 | 2706030.371 | 1114550.4697 | 2706039.0114 | 1114553.3405
30 | 2706039.0114 | 1114553.3405 | 2706067.9427 | 1114513.4876
31 | 2705925.9123 | 1114711.6682 | 2705925.6312 | 1114712.0934 | 2705923.6186 | 1114714.5598 | 2705921.6298 | 1114715.6591 | 2705919.0639 | 1114716.1924 | 2705916.4477 | 1114716.0688 | 2705906.1486 | 1114713.5156
32 | 2705895.1684 | 1114710.7936 | 2705906.1486 | 1114713.5156
33 | 2705895.1684 | 1114710.7936 | 2705885.0552 | 1114708.7489 | 2705882.6732 | 1114708.0402 | 2705880.5169 | 1114706.7906 | 2705877.5552 | 1114704.4338
34 | 2705895.1684 | 1114710.7936 | 2705890.2088 | 1114731.077
35 | 2705856.1141 | 1114687.3722 | 2705877.5552 | 1114704.4338
36 | 2705888.7059 | 1114738.1014 | 2705888.7799 | 1114736.921 | 2705890.2088 | 1114731.077
37 | 2705894.0707 | 1114667.5466 | 2705911.5363 | 1114677.1417
38 | 2705894.0707 | 1114667.5466 | 2705897.6051 | 1114648.2175
39 | 2705856.1141 | 1114687.3722 | 2705854.8537 | 1114686.3692
40 | 2705888.4571 | 1114742.0748 | 2705888.7059 | 1114738.1014
41 | 2705898.8533 | 1114641.3912 | 2705897.6051 | 1114648.2175
42 | 2705845.5068 | 1114677.7335 | 2705852.7881 | 1114684.7255 | 2705854.8537 | 1114686.3692
43 | 2705888.4571 | 1114742.0748 | 2705888.062 | 1114748.3825 | 2705888.1344 | 1114749.9848 | 2705888.7196 | 1114750.9734 | 2705891.7513 | 1114752.9097
44 | 2705898.8533 | 1114641.3912 | 2705908.1767 | 1114643.9992
45 | 2705898.8533 | 1114641.3912 | 2705900.4945 | 1114632.781 | 2705900.045 | 1114626.6803 | 2705902.8906 | 1114617.4783
46 | 2705859.0785 | 1114836.2707 | 2705859.0453 | 1114836.2655 | 2705843.1311 | 1114835.6675
47 | 2705880.4192 | 1114839.6409 | 2705859.0785 | 1114836.2707
48 | 2705836.9164 | 1114835.434 | 2705843.1311 | 1114835.6675
49 | 2705880.4192 | 1114839.6409 | 2705882.4492 | 1114837.9531 | 2705885.33 | 1114837.0695
50 | 2705880.4192 | 1114839.6409 | 2705880.2912 | 1114842.107 | 2705880.9773 | 1114844.3871 | 2705882.5791 | 1114845.9827
51 | 2705836.9164 | 1114835.434 | 2705827.1032 | 1114835.0166
52 | 2705836.9164 | 1114835.434 | 2705837.3281 | 1114839.7218 | 2705838.7927 | 1114854.9127 | 2705837.4971 | 1114864.0848
53 | 2705885.33 | 1114837.0695 | 2705888.8579 | 1114837.1757 | 2705891.9585 | 1114837.4189 | 2705896.0298 | 1114837.8014 | 2705899.3287 | 1114837.7479 | 2705902.5735 | 1114836.8151 | 2705904.2411 | 1114835.0875 | 2705905.5665 | 1114833.0538 | 2705907.0339 | 1114826.7961
54 | 2705906.2736 | 1114857.5486 | 2705903.1663 | 1114854.5924 | 2705897.0245 | 1114851.5943 | 2705886.1198 | 1114848.0015 | 2705882.5791 | 1114845.9827
55 | 2705827.1032 | 1114835.0166 | 2705817.3021 | 1114834.5996
56 | 2705837.4971 | 1114864.0848 | 2705829.9429 | 1114869.8677 | 2705810.2686 | 1114874.0127
57 | 2705908.9575 | 1114822.6765 | 2705907.4359 | 1114825.0814 | 2705907.0339 | 1114826.7961
58 | 2705906.2736 | 1114857.5486 | 2705908.3122 | 1114863.7549 | 2705908.8114 | 1114868.6343
59 | 2705811.8668 | 1114834.3684 | 2705817.3021 | 1114834.5996
60 | 2705908.9575 | 1114822.6765 | 2705913.1907 | 1114815.9859
61 | 2705915.2101 | 1114910.094 | 2705912.1996 | 1114901.6026 | 2705910.9595 | 1114893.0199 | 2705909.4995 | 1114875.3608 | 2705908.8114 | 1114868.6343
62 | 2705811.8668 | 1114834.3684 | 2705792.8244 | 1114833.5583
63 | 2705934.3443 | 1114794.6431 | 2705924.1401 | 1114803.993 | 2705914.8945 | 1114813.293 | 2705913.1907 | 1114815.9859
64 | 2705915.2101 | 1114910.094 | 2705909.7215 | 1114913.0222 | 2705886.7348 | 1114914.926
65 | 2705903.018 | 1114617.0662 | 2705902.8906 | 1114617.4783
66 | 2705909.0831 | 1114597.4528 | 2705903.018 | 1114617.0662
67 | 2705908.1767 | 1114643.9992 | 2705914.5462 | 1114645.7809
68 | 2705927.2005 | 1114649.3206 | 2705914.5462 | 1114645.7809
69 | 2705823.2068 | 1114764.2963 | 2705805.1079 | 1114761.0862
70 | 2705823.2068 | 1114764.2963 | 2705824.3037 | 1114764.4909
71 | 2705805.1079 | 1114761.0862 | 2705793.5653 | 1114759.0389
72 | 2705824.3037 | 1114764.4909 | 2705832.9235 | 1114766.0197 | 2705836.5878 | 1114766.7175 | 2705848.1521 | 1114768.9319
73 | 2705785.2642 | 1114757.5666 | 2705793.5653 | 1114759.0389
74 | 2705850.0807 | 1114769.3012 | 2705848.1521 | 1114768.9319
75 | 2705785.2642 | 1114757.5666 | 2705759.755 | 1114753.0421
76 | 2705850.0807 | 1114769.3012 | 2705864.0615 | 1114771.9784 | 2705867.1852 | 1114772.6671
77 | 2705867.1852 | 1114772.6671 | 2705870.273 | 1114773.3478
78 | 2705870.273 | 1114773.3478 | 2705888.7092 | 1114777.4123
79 | 2705843.2652 | 1114666.7768 | 2705842.379 | 1114669.1115
80 | 2705842.0197 | 1114671.1065 | 2705842.0197 | 1114671.1065 | 2705842.379 | 1114669.1115 | 2705842.379 | 1114669.1115
81 | 2705842.0197 | 1114671.1065 | 2705842.1118 | 1114672.9093 | 2705842.3605 | 1114674.1477 | 2705842.3605 | 1114674.1477
82 | 2705913.0483 | 1114782.7781 | 2705888.7092 | 1114777.4123
83 | 2705918.2888 | 1114783.9334 | 2705913.0483 | 1114782.7781
84 | 2705918.2888 | 1114783.9334 | 2705925.8498 | 1114788.977
85 | 2705918.2888 | 1114783.9334 | 2705917.8753 | 1114769.5948 | 2705916.603 | 1114768.7822
86 | 2705897.1814 | 1114756.3779 | 2705891.7513 | 1114752.9097
87 | 2705897.1814 | 1114756.3779 | 2705905.7261 | 1114761.8353
88 | 2705905.7261 | 1114761.8353 | 2705916.603 | 1114768.7822
89 | 2705934.3443 | 1114794.6431 | 2705925.8498 | 1114788.977
90 | 2705845.5068 | 1114677.7335 | 2705843.4599 | 1114675.768 | 2705842.3605 | 1114674.1477
91 | 2705792.8244 | 1114833.5583 | 2705792.1298 | 1114833.5287 | 2705766.4684 | 1114831.2426

## bus_geodata
| x | y | coords
0 | 2705957.2562 | 1114597.8702
1 | 2705942.4547 | 1114593.9975
2 | 2705973.888 | 1114602.2218
3 | 2705928.3581 | 1114590.6074
4 | 2705974.4037 | 1114600.7845
5 | 2705967.9752 | 1114618.8145
6 | 2705917.6744 | 1114618.0828
7 | 2705980.2813 | 1114584.4039
8 | 2705954.3938 | 1114656.9273
9 | 2705981.1674 | 1114581.9346
10 | 2705981.3903 | 1114664.7709
11 | 2705947.4666 | 1114674.7727
12 | 2705943.4823 | 1114653.875
13 | 2705985.0852 | 1114571.0157
14 | 2705989.9379 | 1114667.5402
15 | 2705938.8249 | 1114692.1333
16 | 2705929.537 | 1114649.9742
17 | 2705956.226 | 1114543.5629
18 | 2705941.9224 | 1114538.422
19 | 2705961.82 | 1114545.0305
20 | 2705927.3366 | 1114521.3673
21 | 2705983.7389 | 1114550.7806
22 | 2705991.6054 | 1114552.8443
23 | 2705996.5168 | 1114539.2214
24 | 2705990.0181 | 1114557.268
25 | 2706011.8575 | 1114544.3185
26 | 2706027.4166 | 1114549.4881
27 | 2706030.371 | 1114550.4697
28 | 2706039.0114 | 1114553.3405
29 | 2706067.9427 | 1114513.4876
30 | 2705925.9122 | 1114711.6682
31 | 2705906.1486 | 1114713.5156
32 | 2705895.1684 | 1114710.7936
33 | 2705877.5552 | 1114704.4338
34 | 2705890.2088 | 1114731.077
35 | 2705911.5363 | 1114677.1417
36 | 2705894.0707 | 1114667.5466
37 | 2705856.1141 | 1114687.3722
38 | 2705888.7059 | 1114738.1014
39 | 2705897.6051 | 1114648.2175
40 | 2705854.8537 | 1114686.3692
41 | 2705888.4571 | 1114742.0748
42 | 2705898.8533 | 1114641.3912
43 | 2705859.0785 | 1114836.2707
44 | 2705843.1311 | 1114835.6675
45 | 2705880.4192 | 1114839.6409
46 | 2705836.9164 | 1114835.434
47 | 2705885.33 | 1114837.0695
48 | 2705882.5791 | 1114845.9827
49 | 2705827.1032 | 1114835.0166
50 | 2705837.4971 | 1114864.0848
51 | 2705907.0339 | 1114826.7961
52 | 2705906.2736 | 1114857.5486
53 | 2705817.3021 | 1114834.5996
54 | 2705810.2686 | 1114874.0127
55 | 2705908.9575 | 1114822.6765
56 | 2705908.8114 | 1114868.6343
57 | 2705811.8668 | 1114834.3684
58 | 2705913.1907 | 1114815.9859
59 | 2705915.2101 | 1114910.094
60 | 2705902.8906 | 1114617.4783
61 | 2705903.018 | 1114617.0662
62 | 2705909.0831 | 1114597.4528
63 | 2705908.1767 | 1114643.9992
64 | 2705914.5462 | 1114645.7809
65 | 2705927.2005 | 1114649.3206
66 | 2705823.2068 | 1114764.2963
67 | 2705805.1079 | 1114761.0862
68 | 2705824.3037 | 1114764.4909
69 | 2705793.5653 | 1114759.0389
70 | 2705848.1521 | 1114768.9319
71 | 2705785.2642 | 1114757.5666
72 | 2705850.0807 | 1114769.3012
73 | 2705759.755 | 1114753.0421
74 | 2705867.1852 | 1114772.6671
75 | 2705870.273 | 1114773.3478
76 | 2705886.7348 | 1114914.926
77 | 2705843.2652 | 1114666.7768
78 | 2705842.379 | 1114669.1115
79 | 2705842.0197 | 1114671.1065
80 | 2705888.7092 | 1114777.4123
81 | 2705913.0483 | 1114782.7781
82 | 2705918.2888 | 1114783.9334
83 | 2705897.1814 | 1114756.3779
84 | 2705891.7513 | 1114752.9097
85 | 2705905.7261 | 1114761.8353
86 | 2705916.603 | 1114768.7822
87 | 2705925.8498 | 1114788.977
88 | 2705934.3443 | 1114794.6431
89 | 2705845.5068 | 1114677.7335
90 | 2705842.3605 | 1114674.1477
91 | 2705792.8244 | 1114833.5583
92 | 2705766.4684 | 1114831.2426
93 | 2705894.0707 | 1114667.5466

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1