## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5141-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5141-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5141-9_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_5141-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5141-9_0_6_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5141-9_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5141-9_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_5141-9_0_6_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_5141-9_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5141-9_0_6_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_5141-9_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_5141-9_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5141-9_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5141-9_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5141-9_0_6_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_5141-9_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_5141-9_0_6_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5141-9_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5141-9_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5141-9_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5141-9_0_6_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_5141-9_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5141-9_0_6_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_5141-9_0_6_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_5141-9_0_6_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_5141-9_0_6_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_5141-9_0_6_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_5141-9_0_6_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_5141-9_0_6_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_5141-9_0_6_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_5141-9_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5141-9_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_5141-9_0_6_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_5141-9_0_6_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5141-9_0_6_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_5141-9_0_6_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5141-9_0_6_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5141-9_0_6_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_5141-9_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_5141-9_0_6_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_5141-9_0_6_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_5141-9_0_6_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_5141-9_0_6_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_5141-9_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5141-9_0_6_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_5141-9_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5141-9_0_6_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_5141-9_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_5141-9_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_5141-9_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_5141-9_0_6_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_5141-9_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5141-9_0_6_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_5141-9_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5141-9_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_5141-9_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5141-9_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5141-9_0_6_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5141-9_0_6_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_5141-9_0_6_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_5141-9_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_5141-9_0_6_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_5141-9_0_6_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_5141-9_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5141-9_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5141-9_0_6_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5141-9_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5141-9_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5141-9_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5141-9_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_5141-9_0_6_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_5141-9_0_6_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_5141-9_0_6_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5141-9_0_6_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5141-9_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_5141-9_0_6_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5141-9_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5141-9_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_MV_69_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5141-9_0_6_load_0 | 0 | 0.035733 | 0.0089556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5141-9_0_6_load_9 | 2 | 0.012084 | 0.0030286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5141-9_0_6_load_3 | 3 | 0.0028684 | 0.0007189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5141-9_0_6_load_10 | 4 | 0.0066617 | 0.0016696 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5141-9_0_6_load_28 | 6 | 0.016616 | 0.0041644 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5141-9_0_6_load_2 | 7 | 0.0037721 | 0.00094538 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5141-9_0_6_load_4 | 8 | 0.0043523 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5141-9_0_6_load_17 | 9 | 0.00882 | 0.0022105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5141-9_0_6_load_15 | 10 | 0.010949 | 0.0027442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5141-9_0_6_load_5 | 11 | 0.022342 | 0.0055994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5141-9_0_6_load_8 | 12 | 0.0049697 | 0.0012455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5141-9_0_6_load_29 | 14 | 0.0038681 | 0.00096943 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5141-9_0_6_load_27 | 15 | 0.0060597 | 0.0015187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5141-9_0_6_load_30 | 16 | 0.015357 | 0.0038488 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5141-9_0_6_load_12 | 17 | 0.0052433 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5141-9_0_6_load_13 | 18 | 0.0043148 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5141-9_0_6_load_14 | 19 | 0.0059674 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5141-9_0_6_load_70 | 20 | 0.0033674 | 0.00084394 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5141-9_0_6_load_16 | 21 | 0.0042353 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5141-9_0_6_load_71 | 22 | 0.0029145 | 0.00073044 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5141-9_0_6_load_68 | 23 | 0.0048377 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5141-9_0_6_load_57 | 24 | 0.0028891 | 0.00072408 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5141-9_0_6_load_69 | 25 | 0.0030063 | 0.00075346 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5141-9_0_6_load_72 | 27 | 0.0018526 | 0.00046431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5141-9_0_6_load_74 | 28 | 0.0030645 | 0.00076804 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5141-9_0_6_load_73 | 29 | 0.0026506 | 0.00066429 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5141-9_0_6_load_18 | 30 | 0.0028225 | 0.00070738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5141-9_0_6_load_54 | 31 | 0.0023435 | 0.00058735 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5141-9_0_6_load_52 | 32 | 0.012085 | 0.0030287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5141-9_0_6_load_55 | 33 | 0.0052369 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5141-9_0_6_load_58 | 34 | 0.0062162 | 0.0015579 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5141-9_0_6_load_53 | 35 | 0.0084072 | 0.002107 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5141-9_0_6_load_67 | 36 | 0.0025739 | 0.00064507 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5141-9_0_6_load_75 | 37 | 0.0041182 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5141-9_0_6_load_65 | 39 | 0.0055706 | 0.0013961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5141-9_0_6_load_64 | 40 | 0.010654 | 0.0026703 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5141-9_0_6_load_76 | 41 | 0.0047646 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5141-9_0_6_load_19 | 42 | 0.0059455 | 0.0014901 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5141-9_0_6_load_20 | 43 | 0.0044974 | 0.0011271 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5141-9_0_6_load_21 | 44 | 0.007892 | 0.0019779 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5141-9_0_6_load_23 | 46 | 0.0056363 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5141-9_0_6_load_24 | 47 | 0.0041803 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5141-9_0_6_load_25 | 48 | 0.014838 | 0.0037188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5141-9_0_6_load_26 | 49 | 0.0076786 | 0.0019244 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5141-9_0_6_load_62 | 52 | 0.0065476 | 0.001641 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5141-9_0_6_load_36 | 56 | 0.01397 | 0.0035012 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5141-9_0_6_load_31 | 58 | 0.010762 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5141-9_0_6_load_32 | 59 | 0.029826 | 0.007475 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5141-9_0_6_load_37 | 60 | 0.068988 | 0.01729 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5141-9_0_6_load_38 | 61 | 0.027504 | 0.0068932 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5141-9_0_6_load_39 | 62 | 0.0056538 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5141-9_0_6_load_43 | 63 | 0.014087 | 0.0035306 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5141-9_0_6_load_45 | 65 | 0.016997 | 0.0042598 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5141-9_0_6_load_46 | 66 | 0.010552 | 0.0026445 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5141-9_0_6_load_48 | 68 | 0.0089012 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5141-9_0_6_load_78 | 69 | 0.0058367 | 0.0014628 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5141-9_0_6_load_77 | 70 | 0.011273 | 0.0028253 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5141-9_0_6_load_79 | 71 | 0.02406 | 0.00603 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5141-9_0_6_load_49 | 72 | 0.0052303 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5141-9_0_6_load_50 | 73 | 0.0029983 | 0.00075143 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5141-9_0_6_load_60 | 74 | 0.005836 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5141-9_0_6_load_63 | 75 | 0.0059068 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5141-9_0_6_load_59 | 76 | 0.0024364 | 0.00061062 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5141-9_0_6_load_66 | 77 | 0.0033964 | 0.00085122 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5141-9_0_6_line_0 |  | 0 | 1 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5141-9_0_6_line_1 |  | 0 | 2 | 0.049889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5141-9_0_6_line_2 |  | 1 | 3 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5141-9_0_6_line_3 |  | 2 | 4 | 0.040579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5141-9_0_6_line_4 |  | 2 | 5 | 0.072682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5141-9_0_6_line_5 |  | 3 | 8 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5141-9_0_6_line_6 |  | 4 | 6 | 0.064539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5141-9_0_6_line_7 |  | 4 | 7 | 0.04333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5141-9_0_6_line_8 |  | 5 | 12 | 0.0053147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5141-9_0_6_line_9 |  | 5 | 11 | 0.035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5141-9_0_6_line_10 |  | 6 | 15 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5141-9_0_6_line_11 |  | 9 | 10 | 0.0083372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5141-9_0_6_line_12 |  | 10 | 18 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5141-9_0_6_line_13 |  | 12 | 13 | 0.0023641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5141-9_0_6_line_14 |  | 13 | 14 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5141-9_0_6_line_15 |  | 14 | 16 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5141-9_0_6_line_16 |  | 15 | 49 | 0.0067803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5141-9_0_6_line_17 |  | 16 | 54 | 0.028617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5141-9_0_6_line_18 |  | 17 | 18 | 0.033996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5141-9_0_6_line_19 |  | 17 | 19 | 0.00074003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5141-9_0_6_line_20 |  | 17 | 20 | 0.052846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5141-9_0_6_line_21 |  | 19 | 21 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5141-9_0_6_line_22 |  | 20 | 22 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5141-9_0_6_line_23 |  | 20 | 23 | 0.02654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5141-9_0_6_line_24 |  | 21 | 30 | 0.0048168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5141-9_0_6_line_25 |  | 22 | 27 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5141-9_0_6_line_26 |  | 23 | 36 | 0.0030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5141-9_0_6_line_27 |  | 24 | 25 | 0.035899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5141-9_0_6_line_28 |  | 24 | 26 | 0.053363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5141-9_0_6_line_29 |  | 25 | 29 | 0.017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5141-9_0_6_line_30 |  | 26 | 31 | 0.0054145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5141-9_0_6_line_31 |  | 27 | 28 | 0.005273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5141-9_0_6_line_32 |  | 28 | 29 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5141-9_0_6_line_33 |  | 30 | 37 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5141-9_0_6_line_34 |  | 31 | 32 | 0.030431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5141-9_0_6_line_35 |  | 32 | 38 | 0.027136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5141-9_0_6_line_36 |  | 33 | 34 | 0.0090058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5141-9_0_6_line_37 |  | 33 | 35 | 0.021344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5141-9_0_6_line_38 |  | 35 | 38 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5141-9_0_6_line_39 |  | 36 | 39 | 0.017683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5141-9_0_6_line_40 |  | 37 | 41 | 0.021275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5141-9_0_6_line_41 |  | 38 | 74 | 0.021676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5141-9_0_6_line_42 |  | 38 | 72 | 0.034983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5141-9_0_6_line_43 |  | 39 | 40 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5141-9_0_6_line_44 |  | 40 | 77 | 0.0043753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5141-9_0_6_line_45 |  | 41 | 75 | 0.024581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5141-9_0_6_line_46 |  | 42 | 43 | 0.023864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5141-9_0_6_line_47 |  | 42 | 44 | 0.017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5141-9_0_6_line_48 |  | 43 | 45 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5141-9_0_6_line_49 |  | 44 | 46 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5141-9_0_6_line_50 |  | 45 | 47 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5141-9_0_6_line_51 |  | 45 | 48 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5141-9_0_6_line_52 |  | 46 | 49 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5141-9_0_6_line_53 |  | 47 | 50 | 0.037656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5141-9_0_6_line_54 |  | 48 | 51 | 0.030624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5141-9_0_6_line_55 |  | 50 | 52 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5141-9_0_6_line_56 |  | 51 | 53 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5141-9_0_6_line_57 |  | 52 | 75 | 0.024391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5141-9_0_6_line_58 |  | 53 | 63 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5141-9_0_6_line_59 |  | 53 | 62 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5141-9_0_6_line_60 |  | 54 | 55 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5141-9_0_6_line_61 |  | 54 | 56 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5141-9_0_6_line_62 |  | 54 | 57 | 0.047048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5141-9_0_6_line_63 |  | 55 | 60 | 0.052299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5141-9_0_6_line_64 |  | 57 | 58 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5141-9_0_6_line_65 |  | 58 | 59 | 0.008345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5141-9_0_6_line_66 |  | 61 | 62 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5141-9_0_6_line_67 |  | 63 | 64 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5141-9_0_6_line_68 |  | 64 | 65 | 0.0081815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5141-9_0_6_line_69 |  | 65 | 66 | 0.055705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5141-9_0_6_line_70 |  | 66 | 67 | 0.060967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5141-9_0_6_line_71 |  | 67 | 68 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5141-9_0_6_line_72 |  | 68 | 69 | 0.036499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5141-9_0_6_line_73 |  | 69 | 70 | 0.0042167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5141-9_0_6_line_74 |  | 70 | 71 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5141-9_0_6_line_75 |  | 72 | 73 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5141-9_0_6_line_76 |  | 74 | 76 | 0.0062128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5141-9_0_6_trafo_21 | 0.63 MVA 20/0.4 kV | 78 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2713069.2619 | 1095336.9651 | 2713056.9722 | 1095317.7943
1 | 2713056.9722 | 1095317.7943 | 2713051.6445 | 1095268.1905
2 | 2713069.2619 | 1095336.9651 | 2713056.8975 | 1095345.1519 | 2713056.3392 | 1095345.5199
3 | 2713016.5452 | 1095288.5555 | 2713051.6445 | 1095268.1905
4 | 2713121.1425 | 1095246.9135 | 2713051.6445 | 1095268.1905
5 | 2713034.6161 | 1095366.1852 | 2713044.8399 | 1095353.0998 | 2713056.3392 | 1095345.5199
6 | 2712983.1161 | 1095233.3493 | 2713016.5452 | 1095288.5555
7 | 2713016.5452 | 1095288.5555 | 2712992.3052 | 1095324.4705
8 | 2713121.1425 | 1095246.9135 | 2713119.6446 | 1095241.8143
9 | 2713121.1425 | 1095246.9135 | 2713131.33 | 1095280.699
10 | 2712983.1161 | 1095233.3493 | 2712981.6877 | 1095216.6326
11 | 2712931.9387 | 1095276.9447 | 2712932.1568 | 1095285.279
12 | 2712931.9387 | 1095276.9447 | 2712931.8704 | 1095274.3362 | 2712927.6637 | 1095260.4584
13 | 2713118.9782 | 1095239.5461 | 2713119.6446 | 1095241.8143
14 | 2713118.9782 | 1095239.5461 | 2713114.1433 | 1095220.3704
15 | 2713114.1433 | 1095220.3704 | 2713110.2903 | 1095205.089
16 | 2712981.1104 | 1095209.8769 | 2712981.6877 | 1095216.6326
17 | 2713106.2434 | 1095176.8667 | 2713107.2883 | 1095192.7525 | 2713110.0663 | 1095204.2008 | 2713110.2903 | 1095205.089
18 | 2712921.3539 | 1095227.3102 | 2712921.3914 | 1095229.022 | 2712922.0648 | 1095241.9877 | 2712927.6637 | 1095260.4584
19 | 2712921.3539 | 1095227.3102 | 2712921.3376 | 1095226.5703
20 | 2712921.3539 | 1095227.3102 | 2712869.5305 | 1095237.6539
21 | 2712921.3376 | 1095226.5703 | 2712920.9719 | 1095209.9013 | 2712922.2043 | 1095201.5954
22 | 2712869.5305 | 1095237.6539 | 2712868.7043 | 1095246.2555 | 2712867.2735 | 1095251.5325 | 2712868.4581 | 1095259.5154 | 2712870.3056 | 1095263.3711
23 | 2712862.967 | 1095212.7138 | 2712862.5182 | 1095220.9457 | 2712863.7397 | 1095226.9391 | 2712869.5305 | 1095237.6539 | 2712869.5305 | 1095237.6539
24 | 2712922.2043 | 1095201.5954 | 2712922.9113 | 1095196.8308
25 | 2712870.3056 | 1095263.3711 | 2712872.9413 | 1095268.8716 | 2712873.5815 | 1095274.3594
26 | 2712862.967 | 1095212.7138 | 2712863.1342 | 1095209.6473
27 | 2712840.7781 | 1095268.9414 | 2712841.6809 | 1095268.9582 | 2712852.8965 | 1095273.8029 | 2712863.3841 | 1095281.9586 | 2712865.2025 | 1095291.2765
28 | 2712811.1632 | 1095228.6202 | 2712827.1714 | 1095262.062 | 2712834.3608 | 1095268.8222 | 2712840.7781 | 1095268.9414
29 | 2712865.2025 | 1095291.2765 | 2712865.2025 | 1095291.2765 | 2712869.0442 | 1095299.2977 | 2712873.0088 | 1095300.6944 | 2712875.0689 | 1095297.4193 | 2712875.0917 | 1095297.297
30 | 2712811.1632 | 1095228.6202 | 2712808.6536 | 1095223.8224
31 | 2712873.5815 | 1095274.3594 | 2712874.1925 | 1095279.5969
32 | 2712874.1925 | 1095279.5969 | 2712875.809 | 1095293.4526 | 2712875.0917 | 1095297.297
33 | 2712922.9113 | 1095196.8308 | 2712924.1786 | 1095188.2906 | 2712923.5623 | 1095177.7901
34 | 2712794.5488 | 1095196.8575 | 2712808.6536 | 1095223.8224
35 | 2712776.8606 | 1095177.5938 | 2712788.0472 | 1095184.4281 | 2712794.5488 | 1095196.8575
36 | 2712797.1878 | 1095225.9257 | 2712793.9689 | 1095217.5149
37 | 2712785.1636 | 1095198.154 | 2712789.0066 | 1095204.5484 | 2712793.9689 | 1095217.5149
38 | 2712776.8606 | 1095177.5938 | 2712781.58 | 1095192.1912 | 2712785.1636 | 1095198.154
39 | 2712863.1342 | 1095209.6473 | 2712863.5289 | 1095202.4075 | 2712860.4712 | 1095192.4333
40 | 2712923.5623 | 1095177.7901 | 2712922.3159 | 1095156.5512
41 | 2712776.8606 | 1095177.5938 | 2712759.6081 | 1095190.7161
42 | 2712776.8606 | 1095177.5938 | 2712774.2775 | 1095173.5654 | 2712775.2388 | 1095157.6725 | 2712773.4123 | 1095148.3656 | 2712771.5066 | 1095143.9701
43 | 2712855.4081 | 1095175.9176 | 2712860.4712 | 1095192.4333
44 | 2712854.1257 | 1095171.7344 | 2712855.4081 | 1095175.9176
45 | 2712922.3159 | 1095156.5512 | 2712921.1182 | 1095136.1429 | 2712918.7518 | 1095132.7484
46 | 2712977.3956 | 1095137.1008 | 2712978.277 | 1095160.9485
47 | 2712978.9309 | 1095178.643 | 2712978.277 | 1095160.9485
48 | 2712976.8397 | 1095122.0573 | 2712977.3956 | 1095137.1008
49 | 2712978.9309 | 1095178.643 | 2712979.304 | 1095188.7371
50 | 2712976.8397 | 1095122.0573 | 2712943.9199 | 1095116.111
51 | 2712976.8397 | 1095122.0573 | 2712985.7162 | 1095117.1333
52 | 2712981.1104 | 1095209.8769 | 2712979.304 | 1095188.7371 | 2712979.304 | 1095188.7371
53 | 2712907.7252 | 1095105.8404 | 2712938.2087 | 1095115.0794 | 2712943.9199 | 1095116.111
54 | 2713014.4428 | 1095119.2986 | 2712999.5286 | 1095113.3174 | 2712990.2599 | 1095114.6127 | 2712985.7162 | 1095117.1333
55 | 2712907.7252 | 1095105.8404 | 2712900.5928 | 1095111.0226 | 2712899.6119 | 1095120.4441
56 | 2713002.5144 | 1095101.5205 | 2713014.4428 | 1095119.2986
57 | 2712918.7518 | 1095132.7484 | 2712912.1665 | 1095123.3013 | 2712899.6119 | 1095120.4441 | 2712899.6119 | 1095120.4441
58 | 2713002.5144 | 1095101.5205 | 2712990.9153 | 1095083.5372 | 2712989.5501 | 1095081.7206
59 | 2713002.5144 | 1095101.5205 | 2713017.1553 | 1095093.8651 | 2713024.9572 | 1095093.9762
60 | 2713106.2434 | 1095176.8667 | 2713096.2051 | 1095177.8807 | 2713088.1131 | 1095179.2422
61 | 2713106.2434 | 1095176.8667 | 2713126.4078 | 1095177.1585
62 | 2713104.8713 | 1095129.8538 | 2713105.3462 | 1095138.891 | 2713106.2434 | 1095176.8667
63 | 2713088.1131 | 1095179.2422 | 2713073.7413 | 1095161.6186 | 2713080.0646 | 1095132.7445
64 | 2713104.8713 | 1095129.8538 | 2713120.2046 | 1095128.8442
65 | 2713120.2046 | 1095128.8442 | 2713128.5315 | 1095128.296
66 | 2713037.0591 | 1095094.1484 | 2713024.9572 | 1095093.9762
67 | 2712982.2719 | 1095072.0355 | 2712989.5501 | 1095081.7206
68 | 2712982.2719 | 1095072.0355 | 2712984.5721 | 1095064.184
69 | 2712984.5721 | 1095064.184 | 2712984.5721 | 1095064.184 | 2712966.7218 | 1095040.6475 | 2712965.1872 | 1095033.9923 | 2712963.0496 | 1095014.7755
70 | 2712963.0496 | 1095014.7755 | 2712909.2769 | 1094986.0437
71 | 2712909.2769 | 1094986.0437 | 2712894.2096 | 1094993.6668
72 | 2712899.5534 | 1095029.7721 | 2712894.2096 | 1094993.6668
73 | 2712901.7961 | 1095033.343 | 2712899.5534 | 1095029.7721
74 | 2712907.7342 | 1095042.7979 | 2712901.7961 | 1095033.343
75 | 2712771.5066 | 1095143.9701 | 2712770.2244 | 1095141.0126 | 2712759.724 | 1095133.524 | 2712752.7305 | 1095130.4674
76 | 2712758.7211 | 1095196.8652 | 2712759.6081 | 1095190.7161 | 2712759.6081 | 1095190.7161

## bus_geodata
| x | y | coords
0 | 2713056.9722 | 1095317.7943
1 | 2713069.2619 | 1095336.9651
2 | 2713051.6445 | 1095268.1905
3 | 2713056.3392 | 1095345.5199
4 | 2713016.5452 | 1095288.5555
5 | 2713121.1425 | 1095246.9135
6 | 2712983.1161 | 1095233.3493
7 | 2712992.3052 | 1095324.4705
8 | 2713034.6161 | 1095366.1852
9 | 2712932.1568 | 1095285.279
10 | 2712931.9387 | 1095276.9447
11 | 2713131.33 | 1095280.699
12 | 2713119.6446 | 1095241.8143
13 | 2713118.9782 | 1095239.5461
14 | 2713114.1433 | 1095220.3704
15 | 2712981.6877 | 1095216.6326
16 | 2713110.2903 | 1095205.089
17 | 2712921.3539 | 1095227.3102
18 | 2712927.6637 | 1095260.4584
19 | 2712921.3376 | 1095226.5703
20 | 2712869.5305 | 1095237.6539
21 | 2712922.2043 | 1095201.5954
22 | 2712870.3056 | 1095263.3711
23 | 2712862.967 | 1095212.7138
24 | 2712840.7781 | 1095268.9414
25 | 2712865.2025 | 1095291.2765
26 | 2712811.1632 | 1095228.6202
27 | 2712873.5815 | 1095274.3594
28 | 2712874.1925 | 1095279.5969
29 | 2712875.0917 | 1095297.297
30 | 2712922.9113 | 1095196.8308
31 | 2712808.6536 | 1095223.8224
32 | 2712794.5488 | 1095196.8575
33 | 2712793.9689 | 1095217.5149
34 | 2712797.1878 | 1095225.9257
35 | 2712785.1636 | 1095198.154
36 | 2712863.1342 | 1095209.6473
37 | 2712923.5623 | 1095177.7901
38 | 2712776.8606 | 1095177.5938
39 | 2712860.4712 | 1095192.4333
40 | 2712855.4081 | 1095175.9176
41 | 2712922.3159 | 1095156.5512
42 | 2712978.277 | 1095160.9485
43 | 2712977.3957 | 1095137.1008
44 | 2712978.9309 | 1095178.643
45 | 2712976.8397 | 1095122.0573
46 | 2712979.304 | 1095188.7371
47 | 2712943.9199 | 1095116.111
48 | 2712985.7162 | 1095117.1333
49 | 2712981.1104 | 1095209.8769
50 | 2712907.7252 | 1095105.8404
51 | 2713014.4428 | 1095119.2986
52 | 2712899.6119 | 1095120.4441
53 | 2713002.5144 | 1095101.5205
54 | 2713106.2434 | 1095176.8667
55 | 2713088.1131 | 1095179.2422
56 | 2713126.4078 | 1095177.1585
57 | 2713104.8713 | 1095129.8538
58 | 2713120.2046 | 1095128.8442
59 | 2713128.5315 | 1095128.296
60 | 2713080.0646 | 1095132.7445
61 | 2713037.0591 | 1095094.1484
62 | 2713024.9572 | 1095093.9762
63 | 2712989.5501 | 1095081.7206
64 | 2712982.2719 | 1095072.0355
65 | 2712984.5721 | 1095064.184
66 | 2712963.0496 | 1095014.7755
67 | 2712909.2769 | 1094986.0437
68 | 2712894.2096 | 1094993.6668
69 | 2712899.5534 | 1095029.7721
70 | 2712901.7961 | 1095033.343
71 | 2712907.7342 | 1095042.7979
72 | 2712771.5066 | 1095143.9701
73 | 2712752.7305 | 1095130.4674
74 | 2712759.6081 | 1095190.7161
75 | 2712918.7518 | 1095132.7484
76 | 2712758.7211 | 1095196.8652
77 | 2712854.1257 | 1095171.7344
78 | 2712983.1161 | 1095233.3493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1