## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5151-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5151-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5151-14_0_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_5151-14_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_5151-14_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5151-14_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5151-14_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_5151-14_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5151-14_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5151-14_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5151-14_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5151-14_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5151-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5151-14_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5151-14_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5151-14_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_5151-14_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5151-14_0_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_5151-14_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5151-14_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5151-14_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5151-14_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5151-14_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_5151-14_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_5151-14_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5151-14_0_3_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_5151-14_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_5151-14_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_5151-14_0_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_5151-14_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_5151-14_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5151-14_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5151-14_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5151-14_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5151-14_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5151-14_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_5151-14_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_5151-14_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5151-14_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5151-14_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5151-14_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5151-14_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5151-14_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5151-14_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5151-14_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5151-14_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5151-14_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5151-14_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5151-14_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5151-14_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5151-14_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5151-14_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5151-14_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5151-14_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5151-14_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5151-14_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5151-14_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_5151-14_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5151-14_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5151-14_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5151-14_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_69_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5151-14_0_3_load_0 | 0 | 0.0062193 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5151-14_0_3_load_12 | 3 | 0.0018097 | 0.00045355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5151-14_0_3_load_10 | 5 | 0.0054413 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5151-14_0_3_load_2 | 6 | 0.0048592 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5151-14_0_3_load_3 | 7 | 0.0013874 | 0.00034772 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5151-14_0_3_load_6 | 10 | 0.0045066 | 0.0011295 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5151-14_0_3_load_20 | 11 | 0.0099467 | 0.0024929 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5151-14_0_3_load_21 | 13 | 0.0062868 | 0.0015756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5151-14_0_3_load_19 | 15 | 0.0036114 | 0.00090509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5151-14_0_3_load_60 | 17 | 0.004974 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5151-14_0_3_load_13 | 18 | 0.0050671 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5151-14_0_3_load_15 | 19 | 0.0094398 | 0.0023658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5151-14_0_3_load_47 | 23 | 0.0092787 | 0.0023255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5151-14_0_3_load_57 | 26 | 0.0023791 | 0.00059627 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5151-14_0_3_load_52 | 28 | 0.0039403 | 0.00098753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5151-14_0_3_load_56 | 29 | 0.0037944 | 0.00095096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5151-14_0_3_load_32 | 33 | 0.005029 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5151-14_0_3_load_24 | 34 | 0.0054434 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5151-14_0_3_load_36 | 37 | 0.0078218 | 0.0019603 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5151-14_0_3_load_31 | 38 | 0.0019943 | 0.00049981 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5151-14_0_3_load_25 | 40 | 0.0020318 | 0.00050923 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5151-14_0_3_load_27 | 42 | 0.003417 | 0.00085639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5151-14_0_3_load_28 | 43 | 0.0024171 | 0.00060579 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5151-14_0_3_load_29 | 44 | 0.007202 | 0.001805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5151-14_0_3_load_30 | 45 | 0.0020524 | 0.00051437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5151-14_0_3_load_33 | 46 | 0.0028477 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5151-14_0_3_load_34 | 47 | 0.0048179 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5151-14_0_3_load_35 | 48 | 0.011163 | 0.0027977 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5151-14_0_3_load_42 | 49 | 0.0024388 | 0.00061123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5151-14_0_3_load_39 | 50 | 0.0025658 | 0.00064305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5151-14_0_3_load_43 | 52 | 0.0048699 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5151-14_0_3_load_44 | 53 | 0.015324 | 0.0038405 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5151-14_0_3_load_49 | 54 | 0.013595 | 0.0034073 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5151-14_0_3_load_50 | 55 | 0.014418 | 0.0036136 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5151-14_0_3_load_53 | 56 | 0.0051416 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5151-14_0_3_load_54 | 57 | 0.0045157 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5151-14_0_3_load_55 | 58 | 0.0028377 | 0.00071119 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5151-14_0_3_load_59 | 59 | 0.0051691 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5151-14_0_3_load_58 | 60 | 0.0046026 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5151-14_0_3_line_0 |  | 0 | 1 | 0.059715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5151-14_0_3_line_1 |  | 1 | 2 | 0.12382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5151-14_0_3_line_2 |  | 2 | 4 | 0.052589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5151-14_0_3_line_3 |  | 2 | 5 | 0.059193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5151-14_0_3_line_4 |  | 2 | 3 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5151-14_0_3_line_5 |  | 4 | 8 | 0.013241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5151-14_0_3_line_6 |  | 6 | 7 | 0.060388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5151-14_0_3_line_7 |  | 6 | 8 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5151-14_0_3_line_8 |  | 7 | 9 | 0.030086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5151-14_0_3_line_9 |  | 8 | 10 | 0.0097879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5151-14_0_3_line_10 |  | 9 | 11 | 0.007677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5151-14_0_3_line_11 |  | 10 | 12 | 0.084887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5151-14_0_3_line_12 |  | 11 | 13 | 0.0080571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5151-14_0_3_line_13 |  | 12 | 14 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5151-14_0_3_line_14 |  | 13 | 30 | 0.0081505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5151-14_0_3_line_15 |  | 14 | 17 | 0.049609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5151-14_0_3_line_16 |  | 15 | 16 | 0.0070836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5151-14_0_3_line_17 |  | 16 | 19 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5151-14_0_3_line_18 |  | 16 | 18 | 0.0048851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5151-14_0_3_line_19 |  | 19 | 20 | 0.038973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5151-14_0_3_line_20 |  | 20 | 21 | 0.009701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5151-14_0_3_line_21 |  | 21 | 22 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5151-14_0_3_line_22 |  | 21 | 23 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5151-14_0_3_line_23 |  | 22 | 25 | 0.028827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5151-14_0_3_line_24 |  | 23 | 27 | 0.0043624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5151-14_0_3_line_25 |  | 24 | 25 | 0.035733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5151-14_0_3_line_26 |  | 24 | 26 | 0.0027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5151-14_0_3_line_27 |  | 25 | 28 | 0.0094724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5151-14_0_3_line_28 |  | 26 | 29 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5151-14_0_3_line_29 |  | 27 | 52 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5151-14_0_3_line_30 |  | 28 | 56 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5151-14_0_3_line_31 |  | 29 | 60 | 0.094128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5151-14_0_3_line_32 |  | 30 | 31 | 0.003141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5151-14_0_3_line_33 |  | 31 | 32 | 0.010646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5151-14_0_3_line_34 |  | 31 | 33 | 0.0086042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5151-14_0_3_line_35 |  | 32 | 36 | 0.004573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5151-14_0_3_line_36 |  | 32 | 37 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5151-14_0_3_line_37 |  | 33 | 38 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5151-14_0_3_line_38 |  | 34 | 35 | 0.0063332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5151-14_0_3_line_39 |  | 35 | 39 | 0.015772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5151-14_0_3_line_40 |  | 36 | 39 | 0.008461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5151-14_0_3_line_41 |  | 37 | 47 | 0.0028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5151-14_0_3_line_42 |  | 38 | 44 | 0.0084147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5151-14_0_3_line_43 |  | 39 | 49 | 0.0045708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5151-14_0_3_line_44 |  | 40 | 41 | 0.0070126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5151-14_0_3_line_45 |  | 40 | 42 | 0.0020516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5151-14_0_3_line_46 |  | 41 | 43 | 0.013046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5151-14_0_3_line_47 |  | 41 | 44 | 0.0046298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5151-14_0_3_line_48 |  | 43 | 45 | 0.0022076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5151-14_0_3_line_49 |  | 46 | 47 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5151-14_0_3_line_50 |  | 46 | 48 | 0.0065781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5151-14_0_3_line_51 |  | 49 | 51 | 0.0041442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5151-14_0_3_line_52 |  | 50 | 51 | 0.0090306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5151-14_0_3_line_53 |  | 51 | 52 | 0.0080635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5151-14_0_3_line_54 |  | 51 | 53 | 0.012568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5151-14_0_3_line_55 |  | 53 | 54 | 0.003815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5151-14_0_3_line_56 |  | 54 | 55 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5151-14_0_3_line_57 |  | 56 | 57 | 0.069352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5151-14_0_3_line_58 |  | 57 | 58 | 0.053516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5151-14_0_3_line_59 |  | 58 | 59 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5151-14_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 61 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2711991.4852 | 1095736.2327 | 2711990.7868 | 1095741.7569 | 2712000.5317 | 1095780.974 | 2711999.8032 | 1095794.6919
1 | 2711871.1924 | 1095706.8874 | 2711991.4852 | 1095736.2327
2 | 2711832.6969 | 1095700.2748 | 2711840.0645 | 1095705.3804 | 2711847.3905 | 1095714.0098 | 2711851.8345 | 1095720.9296 | 2711858.9595 | 1095717.7474 | 2711871.1924 | 1095706.8874
3 | 2711871.1924 | 1095706.8874 | 2711881.5715 | 1095685.1971 | 2711888.5345 | 1095668.0915 | 2711892.8873 | 1095651.9912
4 | 2711871.1924 | 1095706.8874 | 2711864.4642 | 1095723.2367
5 | 2711832.6969 | 1095700.2748 | 2711828.7065 | 1095687.6484
6 | 2711826.2057 | 1095700.1775 | 2711829.172 | 1095717.0879 | 2711825.4643 | 1095726.5705 | 2711819.6049 | 1095759.0847 | 2711819.6049 | 1095759.0847
7 | 2711828.7065 | 1095687.6484 | 2711826.2057 | 1095700.1775
8 | 2711809.5836 | 1095787.4528 | 2711819.6049 | 1095759.0847
9 | 2711828.7065 | 1095687.6484 | 2711828.7525 | 1095686.8376 | 2711828.9176 | 1095677.8633
10 | 2711809.5836 | 1095787.4528 | 2711805.5945 | 1095794.012
11 | 2711810.99 | 1095597.3396 | 2711818.8662 | 1095609.7595 | 2711828.4446 | 1095631.15 | 2711829.4232 | 1095650.3921 | 2711828.9963 | 1095673.5887 | 2711828.9176 | 1095677.8633
12 | 2711805.5945 | 1095794.012 | 2711801.4078 | 1095800.8959
13 | 2711810.99 | 1095597.3396 | 2711791.4978 | 1095611.5129
14 | 2711796.563 | 1095807.4491 | 2711801.2981 | 1095801.0763 | 2711801.4078 | 1095800.8959
15 | 2711791.4978 | 1095611.5129 | 2711812.6224 | 1095656.4205
16 | 2711834.0035 | 1095803.1458 | 2711834.9297 | 1095796.1231
17 | 2711834.0035 | 1095803.1458 | 2711832.1196 | 1095820.5777
18 | 2711834.0035 | 1095803.1458 | 2711837.5119 | 1095802.3876 | 2711838.5637 | 1095801.6308
19 | 2711823.623 | 1095857.7694 | 2711829.7899 | 1095847.2758 | 2711831.4168 | 1095827.081 | 2711832.1196 | 1095820.5777
20 | 2711815.2638 | 1095853.0903 | 2711817.1561 | 1095853.4142 | 2711818.6972 | 1095854.2987 | 2711823.623 | 1095857.7694
21 | 2711802.8628 | 1095859.2108 | 2711815.2638 | 1095853.0903
22 | 2711815.2638 | 1095853.0903 | 2711809.5684 | 1095841.6866
23 | 2711802.8628 | 1095859.2108 | 2711796.7832 | 1095866.226 | 2711783.3115 | 1095880.4323
24 | 2711807.6192 | 1095837.7839 | 2711809.5684 | 1095841.6866
25 | 2711783.3115 | 1095880.4323 | 2711764.0093 | 1095899.4903 | 2711760.7627 | 1095907.5027
26 | 2711760.7627 | 1095907.5027 | 2711758.5509 | 1095909.2194
27 | 2711783.3115 | 1095880.4323 | 2711778.6339 | 1095880.3129 | 2711774.4516 | 1095882.6547
28 | 2711749.5945 | 1095917.3652 | 2711751.4012 | 1095914.7688 | 2711758.5509 | 1095909.2194
29 | 2711807.6192 | 1095837.7839 | 2711803.2323 | 1095837.0249 | 2711802.8975 | 1095831.6374 | 2711799.6369 | 1095830.9733
30 | 2711774.4516 | 1095882.6547 | 2711771.4628 | 1095884.3282 | 2711764.6992 | 1095888.9893
31 | 2711749.5945 | 1095917.3652 | 2711735.0072 | 1095938.3278 | 2711730.7259 | 1095954.1598 | 2711730.3848 | 1095972.7104 | 2711723.2275 | 1096000.4198 | 2711721.2112 | 1096005.0127
32 | 2711796.563 | 1095807.4491 | 2711793.6646 | 1095806.2172
33 | 2711786.1798 | 1095813.8069 | 2711793.6646 | 1095806.2172
34 | 2711793.6646 | 1095806.2172 | 2711791.4275 | 1095801.4728 | 2711789.3667 | 1095798.8204
35 | 2711786.2584 | 1095818.3781 | 2711786.1798 | 1095813.8069
36 | 2711786.1798 | 1095813.8069 | 2711780.0479 | 1095816.5071 | 2711776.7792 | 1095814.3826
37 | 2711782.344 | 1095789.7818 | 2711789.3667 | 1095798.8204
38 | 2711806.0131 | 1095820.6428 | 2711811.7645 | 1095817.9912
39 | 2711794.314 | 1095821.0391 | 2711802.6859 | 1095815.7672 | 2711806.0131 | 1095820.6428
40 | 2711794.314 | 1095821.0391 | 2711786.2584 | 1095818.3781
41 | 2711774.3952 | 1095812.8332 | 2711776.7792 | 1095814.3826
42 | 2711777.4827 | 1095782.9233 | 2711779.7714 | 1095786.4707 | 2711782.344 | 1095789.7818
43 | 2711794.314 | 1095821.0391 | 2711792.9617 | 1095825.4052
44 | 2711774.9727 | 1095779.033 | 2711779.8607 | 1095774.0047
45 | 2711781.2908 | 1095772.5337 | 2711779.8607 | 1095774.0047
46 | 2711774.9727 | 1095779.033 | 2711766.6016 | 1095769.0273
47 | 2711774.9727 | 1095779.033 | 2711777.4827 | 1095782.9233
48 | 2711765.185 | 1095767.3341 | 2711766.6016 | 1095769.0273
49 | 2711759.397 | 1095800.6128 | 2711763.9385 | 1095806.0372 | 2711774.3952 | 1095812.8332
50 | 2711759.397 | 1095800.6128 | 2711755.1742 | 1095795.5691
51 | 2711791.7356 | 1095829.3639 | 2711792.9617 | 1095825.4052
52 | 2711791.7356 | 1095829.3639 | 2711783.0075 | 1095827.0463
53 | 2711791.7356 | 1095829.3639 | 2711799.6369 | 1095830.9733
54 | 2711791.7356 | 1095829.3639 | 2711787.4571 | 1095841.1813
55 | 2711787.4571 | 1095841.1813 | 2711786.1584 | 1095844.7684
56 | 2711787.5549 | 1095853.2743 | 2711783.6299 | 1095851.7522 | 2711786.1584 | 1095844.7684
57 | 2711764.6992 | 1095888.9893 | 2711758.7185 | 1095893.111 | 2711746.0661 | 1095896.0582 | 2711738.1538 | 1095899.0926 | 2711703.668 | 1095920.5622 | 2711703.668 | 1095920.5622
58 | 2711703.668 | 1095920.5622 | 2711692.0875 | 1095935.5929 | 2711672.8455 | 1095964.2784
59 | 2711672.8455 | 1095964.2784 | 2711663.977 | 1095977.4994

## bus_geodata
| x | y | coords
0 | 2711999.8032 | 1095794.6919
1 | 2711991.4852 | 1095736.2327
2 | 2711871.1924 | 1095706.8874
3 | 2711864.4642 | 1095723.2367
4 | 2711832.6969 | 1095700.2748
5 | 2711892.8873 | 1095651.9912
6 | 2711826.2057 | 1095700.1775
7 | 2711819.6049 | 1095759.0847
8 | 2711828.7065 | 1095687.6484
9 | 2711809.5836 | 1095787.4528
10 | 2711828.9176 | 1095677.8633
11 | 2711805.5945 | 1095794.012
12 | 2711810.99 | 1095597.3396
13 | 2711801.4078 | 1095800.8959
14 | 2711791.4978 | 1095611.5129
15 | 2711834.9297 | 1095796.1231
16 | 2711834.0035 | 1095803.1458
17 | 2711812.6224 | 1095656.4205
18 | 2711838.5637 | 1095801.6308
19 | 2711832.1196 | 1095820.5777
20 | 2711823.623 | 1095857.7694
21 | 2711815.2638 | 1095853.0903
22 | 2711802.8628 | 1095859.2108
23 | 2711809.5684 | 1095841.6866
24 | 2711760.7627 | 1095907.5027
25 | 2711783.3115 | 1095880.4323
26 | 2711758.5509 | 1095909.2194
27 | 2711807.6192 | 1095837.7839
28 | 2711774.4516 | 1095882.6547
29 | 2711749.5945 | 1095917.3652
30 | 2711796.563 | 1095807.4491
31 | 2711793.6646 | 1095806.2172
32 | 2711786.1798 | 1095813.8069
33 | 2711789.3667 | 1095798.8204
34 | 2711811.7645 | 1095817.9912
35 | 2711806.0131 | 1095820.6428
36 | 2711786.2584 | 1095818.3781
37 | 2711776.7792 | 1095814.3826
38 | 2711782.344 | 1095789.7818
39 | 2711794.314 | 1095821.0391
40 | 2711779.8607 | 1095774.0047
41 | 2711774.9727 | 1095779.033
42 | 2711781.2908 | 1095772.5337
43 | 2711766.6016 | 1095769.0273
44 | 2711777.4827 | 1095782.9233
45 | 2711765.185 | 1095767.3341
46 | 2711759.397 | 1095800.6128
47 | 2711774.3952 | 1095812.8332
48 | 2711755.1742 | 1095795.5691
49 | 2711792.9617 | 1095825.4052
50 | 2711783.0075 | 1095827.0463
51 | 2711791.7356 | 1095829.3639
52 | 2711799.6369 | 1095830.9733
53 | 2711787.4571 | 1095841.1813
54 | 2711786.1584 | 1095844.7684
55 | 2711787.5549 | 1095853.2743
56 | 2711764.6992 | 1095888.9894
57 | 2711703.668 | 1095920.5622
58 | 2711672.8455 | 1095964.2784
59 | 2711663.977 | 1095977.4994
60 | 2711721.2112 | 1096005.0127
61 | 2711786.2584 | 1095818.3781

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1