## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5176-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5176-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5176-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5176-1_0_5_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_5176-1_0_5_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_5176-1_0_5_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5176-1_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5176-1_0_5_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_5176-1_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5176-1_0_5_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_5176-1_0_5_node_108 | 0.4 | n |  | TRUE
11 | bus_LV_5176-1_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5176-1_0_5_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_5176-1_0_5_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_5176-1_0_5_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_5176-1_0_5_node_94 | 0.4 | n |  | TRUE
16 | bus_LV_5176-1_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5176-1_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5176-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5176-1_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5176-1_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5176-1_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5176-1_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5176-1_0_5_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_5176-1_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5176-1_0_5_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_5176-1_0_5_node_102 | 0.4 | n |  | TRUE
27 | bus_LV_5176-1_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5176-1_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5176-1_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5176-1_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5176-1_0_5_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_5176-1_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_5176-1_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_5176-1_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_5176-1_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5176-1_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5176-1_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5176-1_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5176-1_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5176-1_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5176-1_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5176-1_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5176-1_0_5_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_5176-1_0_5_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_5176-1_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5176-1_0_5_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_5176-1_0_5_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_5176-1_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5176-1_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5176-1_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5176-1_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5176-1_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5176-1_0_5_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_5176-1_0_5_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_5176-1_0_5_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_5176-1_0_5_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_5176-1_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_5176-1_0_5_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_5176-1_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5176-1_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_5176-1_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5176-1_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5176-1_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5176-1_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_5176-1_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5176-1_0_5_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_5176-1_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_5176-1_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_5176-1_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_5176-1_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_5176-1_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_5176-1_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_5176-1_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5176-1_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5176-1_0_5_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_5176-1_0_5_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5176-1_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5176-1_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5176-1_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5176-1_0_5_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_5176-1_0_5_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_5176-1_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_5176-1_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5176-1_0_5_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_5176-1_0_5_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_5176-1_0_5_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_5176-1_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_5176-1_0_5_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_5176-1_0_5_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_5176-1_0_5_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_5176-1_0_5_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_5176-1_0_5_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_5176-1_0_5_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_5176-1_0_5_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_5176-1_0_5_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_5176-1_0_5_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_5176-1_0_5_node_111 | 0.4 | n |  | TRUE
98 | bus_LV_5176-1_0_5_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_5176-1_0_5_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_5176-1_0_5_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_5176-1_0_5_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_5176-1_0_5_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_5176-1_0_5_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_5176-1_0_5_node_113 | 0.4 | n |  | TRUE
105 | bus_LV_5176-1_0_5_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_5176-1_0_5_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_5176-1_0_5_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_5176-1_0_5_node_90 | 0.4 | n |  | TRUE
109 | bus_LV_5176-1_0_5_node_91 | 0.4 | n |  | TRUE
110 | bus_LV_5176-1_0_5_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_5176-1_0_5_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_5176-1_0_5_node_96 | 0.4 | n |  | TRUE
113 | bus_MV_248_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5176-1_0_5_load_0 | 0 | 0.0031292 | 0.00078425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5176-1_0_5_load_1 | 1 | 0.013025 | 0.0032645 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5176-1_0_5_load_2 | 2 | 0.0032062 | 0.00080354 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5176-1_0_5_load_33 | 5 | 0.022182 | 0.0055593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5176-1_0_5_load_3 | 6 | 0.0010886 | 0.00027283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5176-1_0_5_load_38 | 7 | 0.0061765 | 0.001548 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5176-1_0_5_load_4 | 8 | 0.03249 | 0.0081427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5176-1_0_5_load_109 | 9 | 0.0045824 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5176-1_0_5_load_108 | 10 | 0.0040736 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5176-1_0_5_load_85 | 12 | 0.0032663 | 0.00081861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5176-1_0_5_load_94 | 15 | 0.0033573 | 0.00084142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5176-1_0_5_load_7 | 16 | 0.0031896 | 0.00079939 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5176-1_0_5_load_8 | 17 | 0.0038087 | 0.00095454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5176-1_0_5_load_10 | 19 | 0.0021277 | 0.00053326 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5176-1_0_5_load_11 | 20 | 0.0034855 | 0.00087355 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5176-1_0_5_load_12 | 21 | 0.013368 | 0.0033504 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5176-1_0_5_load_13 | 22 | 0.0029089 | 0.00072904 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5176-1_0_5_load_14 | 24 | 0.0054733 | 0.0013717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5176-1_0_5_load_102 | 26 | 0.0030705 | 0.00076954 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5176-1_0_5_load_15 | 27 | 0.0041846 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5176-1_0_5_load_17 | 29 | 0.010027 | 0.0025131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5176-1_0_5_load_18 | 30 | 0.0046397 | 0.0011628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5176-1_0_5_load_53 | 31 | 0.0056944 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5176-1_0_5_load_41 | 34 | 0.0030596 | 0.00076681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5176-1_0_5_load_19 | 35 | 0.011562 | 0.0028977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5176-1_0_5_load_20 | 37 | 0.0065597 | 0.001644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5176-1_0_5_load_22 | 38 | 0.004592 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5176-1_0_5_load_23 | 39 | 0.010426 | 0.0026131 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5176-1_0_5_load_25 | 40 | 0.0044424 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5176-1_0_5_load_26 | 41 | 0.0057923 | 0.0014517 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5176-1_0_5_load_105 | 43 | 0.012108 | 0.0030345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5176-1_0_5_load_107 | 44 | 0.0067009 | 0.0016794 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5176-1_0_5_load_27 | 45 | 0.0040456 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5176-1_0_5_load_114 | 46 | 0.0059194 | 0.0014835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5176-1_0_5_load_103 | 47 | 0.01203 | 0.003015 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5176-1_0_5_load_29 | 49 | 0.0045483 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5176-1_0_5_load_30 | 50 | 0.0054368 | 0.0013626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5176-1_0_5_load_31 | 51 | 0.0035567 | 0.00089139 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5176-1_0_5_load_99 | 54 | 0.0045078 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5176-1_0_5_load_97 | 55 | 0.0058955 | 0.0014775 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5176-1_0_5_load_62 | 56 | 0.0038596 | 0.00096732 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5176-1_0_5_load_58 | 57 | 0.0069089 | 0.0017315 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5176-1_0_5_load_98 | 58 | 0.0030961 | 0.00077596 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5176-1_0_5_load_40 | 61 | 0.0070214 | 0.0017597 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5176-1_0_5_load_55 | 62 | 0.0090766 | 0.0022748 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5176-1_0_5_load_56 | 63 | 0.0035703 | 0.00089479 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5176-1_0_5_load_43 | 64 | 0.0089575 | 0.002245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5176-1_0_5_load_51 | 65 | 0.01617 | 0.0040527 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5176-1_0_5_load_101 | 66 | 0.0032745 | 0.00082067 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5176-1_0_5_load_44 | 67 | 0.0028817 | 0.00072223 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5176-1_0_5_load_45 | 68 | 0.0063645 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5176-1_0_5_load_46 | 69 | 0.016266 | 0.0040766 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5176-1_0_5_load_48 | 71 | 0.007043 | 0.0017651 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5176-1_0_5_load_50 | 72 | 0.0090691 | 0.0022729 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5176-1_0_5_load_52 | 73 | 0.010484 | 0.0026274 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5176-1_0_5_load_100 | 75 | 0.0098815 | 0.0024765 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5176-1_0_5_load_64 | 77 | 0.0087432 | 0.0021913 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5176-1_0_5_load_73 | 78 | 0.012372 | 0.0031007 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5176-1_0_5_load_57 | 79 | 0.0030536 | 0.00076531 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5176-1_0_5_load_59 | 80 | 0.01179 | 0.0029549 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5176-1_0_5_load_61 | 81 | 0.0057619 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5176-1_0_5_load_63 | 82 | 0.0036725 | 0.00092042 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5176-1_0_5_load_76 | 83 | 0.0038316 | 0.00096028 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5176-1_0_5_load_65 | 84 | 0.0024084 | 0.00060361 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5176-1_0_5_load_66 | 85 | 0.00234 | 0.00058646 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5176-1_0_5_load_67 | 86 | 0.0044338 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5176-1_0_5_load_68 | 87 | 0.0050075 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5176-1_0_5_load_69 | 88 | 0.0046998 | 0.0011779 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5176-1_0_5_load_70 | 89 | 0.0045387 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5176-1_0_5_load_71 | 90 | 0.0044625 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5176-1_0_5_load_75 | 91 | 0.0034842 | 0.00087323 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5176-1_0_5_load_72 | 92 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5176-1_0_5_load_78 | 94 | 0.0037227 | 0.00093301 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5176-1_0_5_load_79 | 95 | 0.0032228 | 0.00080771 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5176-1_0_5_load_111 | 97 | 0.0042128 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5176-1_0_5_load_80 | 98 | 0.0080556 | 0.0020189 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5176-1_0_5_load_110 | 99 | 0.0039917 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5176-1_0_5_load_81 | 100 | 0.0041244 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5176-1_0_5_load_83 | 101 | 0.0042851 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5176-1_0_5_load_86 | 102 | 0.0041767 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5176-1_0_5_load_112 | 103 | 0.0056435 | 0.0014144 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5176-1_0_5_load_113 | 104 | 0.0033772 | 0.00084641 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5176-1_0_5_load_87 | 105 | 0.0056012 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5176-1_0_5_load_88 | 106 | 0.0044466 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5176-1_0_5_load_90 | 108 | 0.028192 | 0.0070655 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5176-1_0_5_load_91 | 109 | 0.0079813 | 0.0020003 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5176-1_0_5_load_93 | 110 | 0.0036133 | 0.00090557 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5176-1_0_5_line_0 |  | 0 | 1 | 0.016785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5176-1_0_5_line_1 |  | 1 | 2 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5176-1_0_5_line_2 |  | 2 | 6 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5176-1_0_5_line_3 |  | 3 | 4 | 0.058418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5176-1_0_5_line_4 |  | 3 | 5 | 0.035822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5176-1_0_5_line_5 |  | 4 | 7 | 0.074427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5176-1_0_5_line_6 |  | 4 | 6 | 0.037723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5176-1_0_5_line_7 |  | 6 | 8 | 0.068467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5176-1_0_5_line_8 |  | 7 | 62 | 0.027774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5176-1_0_5_line_9 |  | 9 | 10 | 0.00056028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5176-1_0_5_line_10 |  | 10 | 99 | 0.015851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5176-1_0_5_line_11 |  | 11 | 12 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5176-1_0_5_line_12 |  | 11 | 13 | 0.057966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5176-1_0_5_line_13 |  | 12 | 14 | 0.032001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5176-1_0_5_line_14 |  | 13 | 15 | 0.045161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5176-1_0_5_line_15 |  | 14 | 102 | 0.013079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5176-1_0_5_line_16 |  | 14 | 96 | 0.002671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5176-1_0_5_line_17 |  | 16 | 17 | 0.039153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5176-1_0_5_line_18 |  | 16 | 18 | 0.024602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5176-1_0_5_line_19 |  | 17 | 19 | 0.0055724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5176-1_0_5_line_20 |  | 18 | 20 | 0.053249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5176-1_0_5_line_21 |  | 19 | 21 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5176-1_0_5_line_22 |  | 20 | 22 | 0.025819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5176-1_0_5_line_23 |  | 21 | 23 | 0.0059927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5176-1_0_5_line_24 |  | 22 | 24 | 2.4684e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5176-1_0_5_line_25 |  | 23 | 25 | 0.037195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5176-1_0_5_line_26 |  | 23 | 26 | 0.0083904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5176-1_0_5_line_27 |  | 24 | 27 | 0.018197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5176-1_0_5_line_28 |  | 25 | 46 | 0.021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5176-1_0_5_line_29 |  | 26 | 47 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5176-1_0_5_line_30 |  | 27 | 28 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5176-1_0_5_line_31 |  | 28 | 29 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5176-1_0_5_line_32 |  | 28 | 30 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5176-1_0_5_line_33 |  | 29 | 31 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5176-1_0_5_line_34 |  | 30 | 32 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5176-1_0_5_line_35 |  | 31 | 33 | 0.0083961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5176-1_0_5_line_36 |  | 32 | 34 | 0.050969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5176-1_0_5_line_37 |  | 33 | 73 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5176-1_0_5_line_38 |  | 33 | 70 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5176-1_0_5_line_39 |  | 35 | 36 | 0.021503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5176-1_0_5_line_40 |  | 36 | 39 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5176-1_0_5_line_41 |  | 37 | 38 | 0.030894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5176-1_0_5_line_42 |  | 38 | 40 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5176-1_0_5_line_43 |  | 39 | 41 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5176-1_0_5_line_44 |  | 40 | 45 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5176-1_0_5_line_45 |  | 41 | 44 | 0.0077474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5176-1_0_5_line_46 |  | 42 | 43 | 0.015397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5176-1_0_5_line_47 |  | 42 | 44 | 0.0089985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5176-1_0_5_line_48 |  | 43 | 47 | 0.013785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5176-1_0_5_line_49 |  | 45 | 48 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5176-1_0_5_line_50 |  | 48 | 49 | 0.003381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5176-1_0_5_line_51 |  | 48 | 50 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5176-1_0_5_line_52 |  | 49 | 51 | 0.023413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5176-1_0_5_line_53 |  | 50 | 52 | 0.0023906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5176-1_0_5_line_54 |  | 51 | 53 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5176-1_0_5_line_55 |  | 52 | 54 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5176-1_0_5_line_56 |  | 52 | 55 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5176-1_0_5_line_57 |  | 53 | 56 | 0.00498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5176-1_0_5_line_58 |  | 53 | 57 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5176-1_0_5_line_59 |  | 55 | 58 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5176-1_0_5_line_60 |  | 57 | 79 | 0.0026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5176-1_0_5_line_61 |  | 58 | 112 | 0.04922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5176-1_0_5_line_62 |  | 59 | 60 | 0.063659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5176-1_0_5_line_63 |  | 59 | 61 | 0.008284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5176-1_0_5_line_64 |  | 60 | 63 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5176-1_0_5_line_65 |  | 61 | 64 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5176-1_0_5_line_66 |  | 62 | 65 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5176-1_0_5_line_67 |  | 63 | 66 | 0.0056598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5176-1_0_5_line_68 |  | 64 | 67 | 0.0053041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5176-1_0_5_line_69 |  | 65 | 71 | 0.0084009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5176-1_0_5_line_70 |  | 66 | 73 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5176-1_0_5_line_71 |  | 68 | 69 | 0.002578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5176-1_0_5_line_72 |  | 68 | 70 | 0.036303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5176-1_0_5_line_73 |  | 69 | 71 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5176-1_0_5_line_74 |  | 70 | 72 | 0.02132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5176-1_0_5_line_75 |  | 72 | 74 | 0.0027481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5176-1_0_5_line_76 |  | 74 | 75 | 0.004461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5176-1_0_5_line_77 |  | 74 | 76 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5176-1_0_5_line_78 |  | 76 | 77 | 0.0031194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5176-1_0_5_line_79 |  | 76 | 78 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5176-1_0_5_line_80 |  | 77 | 81 | 0.050171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5176-1_0_5_line_81 |  | 78 | 92 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5176-1_0_5_line_82 |  | 79 | 80 | 0.0034157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5176-1_0_5_line_83 |  | 80 | 81 | 0.0030021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5176-1_0_5_line_84 |  | 81 | 82 | 0.0048148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5176-1_0_5_line_85 |  | 82 | 83 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5176-1_0_5_line_86 |  | 84 | 85 | 0.003388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5176-1_0_5_line_87 |  | 84 | 86 | 0.0089337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5176-1_0_5_line_88 |  | 85 | 87 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5176-1_0_5_line_89 |  | 86 | 88 | 0.0062636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5176-1_0_5_line_90 |  | 87 | 89 | 0.00019146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5176-1_0_5_line_91 |  | 88 | 90 | 0.0022696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5176-1_0_5_line_92 |  | 89 | 91 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5176-1_0_5_line_93 |  | 90 | 92 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5176-1_0_5_line_94 |  | 91 | 93 | 0.031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5176-1_0_5_line_95 |  | 93 | 94 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5176-1_0_5_line_96 |  | 93 | 95 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5176-1_0_5_line_97 |  | 94 | 96 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5176-1_0_5_line_98 |  | 95 | 97 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5176-1_0_5_line_99 |  | 96 | 98 | 0.022683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5176-1_0_5_line_100 |  | 97 | 99 | 0.00011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5176-1_0_5_line_101 |  | 98 | 100 | 0.0072972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5176-1_0_5_line_102 |  | 100 | 101 | 0.0034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5176-1_0_5_line_103 |  | 102 | 103 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5176-1_0_5_line_104 |  | 103 | 104 | 0.018151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5176-1_0_5_line_105 |  | 105 | 106 | 0.0025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5176-1_0_5_line_106 |  | 105 | 107 | 0.037862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5176-1_0_5_line_107 |  | 106 | 108 | 0.0037168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5176-1_0_5_line_108 |  | 107 | 109 | 0.062001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5176-1_0_5_line_109 |  | 109 | 110 | 0.019904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5176-1_0_5_line_110 |  | 110 | 111 | 0.045321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5176-1_0_5_line_111 |  | 111 | 112 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5176-1_0_5_trafo_72 | 0.63 MVA 20/0.4 kV | 113 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2716995.7996 | 1099239.4515 | 2717012.2383 | 1099236.0588
1 | 2717012.2383 | 1099236.0588 | 2717022.4131 | 1099233.9589
2 | 2717052.2497 | 1099227.8011 | 2717022.4131 | 1099233.9589
3 | 2717019.2715 | 1099302.1037 | 2717058.0238 | 1099268.2602 | 2717063.4995 | 1099263.807
4 | 2717019.2715 | 1099302.1037 | 2717021.3439 | 1099304.6676 | 2717026.8409 | 1099310.3551 | 2717048.5678 | 1099321.9258
5 | 2717063.4995 | 1099263.807 | 2717089.2171 | 1099242.121 | 2717106.2978 | 1099228.9967 | 2717116.9755 | 1099224.6439 | 2717124.5213 | 1099223.0367
6 | 2717063.4995 | 1099263.807 | 2717052.2497 | 1099227.8011
7 | 2717052.2497 | 1099227.8011 | 2717035.0758 | 1099161.5227
8 | 2717124.5213 | 1099223.0367 | 2717128.0329 | 1099222.2888 | 2717136.3376 | 1099222.1265 | 2717145.1942 | 1099223.8651 | 2717151.5003 | 1099226.5441 | 2717151.5003 | 1099226.5441
9 | 2717110.6383 | 1099152.0094 | 2717111.1882 | 1099151.9022
10 | 2717111.1882 | 1099151.9022 | 2717126.7459 | 1099148.8691
11 | 2717137.4407 | 1099064.1727 | 2717140.7677 | 1099085.3461
12 | 2717195.3117 | 1099059.0294 | 2717188.498 | 1099058.9646 | 2717137.4407 | 1099064.1727
13 | 2717144.6517 | 1099117.1036 | 2717142.0758 | 1099093.6712 | 2717140.7677 | 1099085.3461
14 | 2717176.7441 | 1099087.3686 | 2717190.888 | 1099086.4073 | 2717193.6017 | 1099085.837 | 2717196.1187 | 1099084.2289 | 2717196.3676 | 1099082.1656 | 2717196.2345 | 1099078.227 | 2717195.7151 | 1099073.0357 | 2717195.369 | 1099069.3042 | 2717195.0584 | 1099064.128 | 2717195.3117 | 1099059.0294
15 | 2717144.6517 | 1099117.1036 | 2717131.7596 | 1099119.3041
16 | 2717145.5713 | 1099119.6119 | 2717144.6517 | 1099117.1036
17 | 2717276.3434 | 1099399.1909 | 2717275.3955 | 1099394.6048 | 2717280.6757 | 1099377.0169 | 2717287.5011 | 1099362.4275
18 | 2717281.3232 | 1099423.2834 | 2717276.3434 | 1099399.1909
19 | 2717287.5011 | 1099362.4275 | 2717287.5011 | 1099362.4275 | 2717292.021 | 1099359.1684
20 | 2717281.3232 | 1099423.2834 | 2717273.585 | 1099421.3883 | 2717254.5354 | 1099409.7571 | 2717243.2589 | 1099398.6097 | 2717238.9767 | 1099392.9392
21 | 2717306.1751 | 1099348.9624 | 2717292.021 | 1099359.1684
22 | 2717229.8334 | 1099369.2393 | 2717234.3717 | 1099386.8412 | 2717238.9767 | 1099392.9392
23 | 2717311.0371 | 1099345.4591 | 2717309.2466 | 1099346.7476 | 2717306.1751 | 1099348.9624
24 | 2717229.8334 | 1099369.2393 | 2717229.8272 | 1099369.2153
25 | 2717311.0371 | 1099345.4591 | 2717319.9617 | 1099348.8782 | 2717323.1951 | 1099352.6654 | 2717334.2398 | 1099356.17 | 2717335.3279 | 1099367.1874
26 | 2717311.0371 | 1099345.4591 | 2717310.626 | 1099337.0787
27 | 2717225.2841 | 1099351.5949 | 2717229.8272 | 1099369.2153
28 | 2717335.3279 | 1099367.1874 | 2717314.1823 | 1099368.6468
29 | 2717310.626 | 1099337.0787 | 2717315.9185 | 1099324.4722 | 2717315.9185 | 1099324.4722
30 | 2717221.9802 | 1099338.7803 | 2717225.2841 | 1099351.5949
31 | 2717221.9802 | 1099338.7803 | 2717220.52 | 1099328.145
32 | 2717221.9802 | 1099338.7803 | 2717206.7144 | 1099342.4913
33 | 2717217.4056 | 1099305.4595 | 2717220.52 | 1099328.145
34 | 2717190.1448 | 1099348.8287 | 2717203.4629 | 1099343.2818 | 2717206.7144 | 1099342.4913
35 | 2717216.2636 | 1099297.1414 | 2717217.4056 | 1099305.4595
36 | 2717190.1448 | 1099348.8287 | 2717186.6632 | 1099350.2737 | 2717143.5088 | 1099368.2317 | 2717143.0865 | 1099368.4073
37 | 2717216.2636 | 1099297.1414 | 2717212.0742 | 1099297.5387 | 2717198.8366 | 1099301.2109
38 | 2717216.2636 | 1099297.1414 | 2717213.8614 | 1099284.3863 | 2717211.1428 | 1099271.1693
39 | 2717368.5878 | 1099314.2934 | 2717367.4953 | 1099292.8184
40 | 2717368.5878 | 1099314.2934 | 2717357.686 | 1099314.8349
41 | 2717372.5468 | 1099229.1313 | 2717384.0195 | 1099237.0718 | 2717382.951 | 1099249.4819 | 2717383.6918 | 1099253.221 | 2717383.8225 | 1099253.8818
42 | 2717372.5468 | 1099229.1313 | 2717371.7239 | 1099228.5618 | 2717356.952 | 1099219.1589 | 2717356.4369 | 1099217.5901
43 | 2717345.0956 | 1099317.7532 | 2717345.0956 | 1099317.7532 | 2717346.3492 | 1099315.398 | 2717357.686 | 1099314.8349
44 | 2717352.6454 | 1099204.0771 | 2717353.8071 | 1099209.5805 | 2717356.4369 | 1099217.5901
45 | 2717345.0956 | 1099317.7532 | 2717343.8087 | 1099325.3929
46 | 2717342.314 | 1099334.2664 | 2717330.3346 | 1099333.8459 | 2717327.4756 | 1099331.9869
47 | 2717342.314 | 1099334.2664 | 2717343.8087 | 1099325.3929
48 | 2717315.9185 | 1099324.4722 | 2717327.4756 | 1099331.9869
49 | 2717349.0041 | 1099186.8276 | 2717352.6454 | 1099204.0771
50 | 2717349.0041 | 1099186.8276 | 2717346.559 | 1099189.1626
51 | 2717349.0041 | 1099186.8276 | 2717361.3866 | 1099167.2417
52 | 2717346.559 | 1099189.1626 | 2717334.0769 | 1099201.0825 | 2717329.2531 | 1099204.9034
53 | 2717362.664 | 1099165.221 | 2717361.3866 | 1099167.2417
54 | 2717307.3577 | 1099215.2319 | 2717313.2867 | 1099213.3785 | 2717323.7038 | 1099209.299 | 2717329.2531 | 1099204.9034
55 | 2717362.664 | 1099165.221 | 2717371.8134 | 1099171.0462
56 | 2717362.664 | 1099165.221 | 2717375.1813 | 1099141.7906
57 | 2717307.3577 | 1099215.2319 | 2717308.9704 | 1099219.9441
58 | 2717307.3577 | 1099215.2319 | 2717295.3874 | 1099218.9754
59 | 2717375.1813 | 1099141.7906 | 2717387.3255 | 1099119.0583
60 | 2717292.8585 | 1099219.7663 | 2717292.8585 | 1099219.7663 | 2717295.3874 | 1099218.9754
61 | 2717410.9488 | 1099075.8813 | 2717400.2912 | 1099094.7883 | 2717387.3255 | 1099119.0583
62 | 2717124.4 | 1099295.8136 | 2717122.3267 | 1099299.7208 | 2717130.3161 | 1099303.8554 | 2717140.7599 | 1099327.6842 | 2717162.5947 | 1099316.9978
63 | 2717124.4 | 1099295.8136 | 2717121.9116 | 1099287.9122
64 | 2717162.5947 | 1099316.9978 | 2717170.8036 | 1099310.1765
65 | 2717116.2402 | 1099280.93 | 2717121.7366 | 1099287.3565 | 2717121.9116 | 1099287.9122
66 | 2717162.4928 | 1099235.9847 | 2717157.7085 | 1099231.0891 | 2717151.5003 | 1099226.5441
67 | 2717175.7143 | 1099307.6252 | 2717172.9517 | 1099308.3916 | 2717170.8036 | 1099310.1765
68 | 2717112.7927 | 1099276.8992 | 2717116.2402 | 1099280.93
69 | 2717166.7935 | 1099243.2013 | 2717162.4928 | 1099235.9847 | 2717162.4928 | 1099235.9847
70 | 2717175.7143 | 1099307.6252 | 2717198.8366 | 1099301.2109
71 | 2717179.3275 | 1099263.4848 | 2717177.8213 | 1099261.3926
72 | 2717211.1428 | 1099271.1693 | 2717203.4657 | 1099273.723 | 2717197.5269 | 1099274.4867 | 2717191.628 | 1099273.5834 | 2717186.3162 | 1099271.146 | 2717181.632 | 1099266.6859 | 2717179.3275 | 1099263.4848
73 | 2717166.7935 | 1099243.2013 | 2717176.7374 | 1099259.8869 | 2717177.8213 | 1099261.3926
74 | 2717211.1428 | 1099271.1693 | 2717230.6927 | 1099262.6627
75 | 2717233.2126 | 1099261.5662 | 2717230.6927 | 1099262.6627
76 | 2717233.2126 | 1099261.5662 | 2717231.3627 | 1099257.5055
77 | 2717233.2126 | 1099261.5662 | 2717246.3827 | 1099256.0721
78 | 2717246.3827 | 1099256.0721 | 2717249.2285 | 1099254.7944
79 | 2717246.3827 | 1099256.0721 | 2717238.6142 | 1099236.2247
80 | 2717288.2422 | 1099224.2247 | 2717262.6467 | 1099248.7698 | 2717249.2285 | 1099254.7944
81 | 2717227.8605 | 1099214.3849 | 2717237.608 | 1099233.6541 | 2717238.6142 | 1099236.2247
82 | 2717292.8585 | 1099219.7663 | 2717290.4016 | 1099222.1392
83 | 2717288.2422 | 1099224.2247 | 2717290.4016 | 1099222.1392
84 | 2717288.2422 | 1099224.2247 | 2717291.7959 | 1099227.4733
85 | 2717303.9622 | 1099231.8556 | 2717295.5788 | 1099225.267 | 2717291.7959 | 1099227.4733
86 | 2717211.3864 | 1099182.7175 | 2717209.7872 | 1099179.7307
87 | 2717211.3864 | 1099182.7175 | 2717215.6032 | 1099190.5934
88 | 2717209.7872 | 1099179.7307 | 2717209.772 | 1099179.7023 | 2717203.3742 | 1099172.5406 | 2717197.2677 | 1099168.1736
89 | 2717218.5596 | 1099196.1153 | 2717215.6032 | 1099190.5934
90 | 2717197.2677 | 1099168.1736 | 2717197.112 | 1099168.0622
91 | 2717219.6309 | 1099198.1162 | 2717219.6309 | 1099198.1162 | 2717218.5596 | 1099196.1153
92 | 2717197.112 | 1099168.0622 | 2717194.1544 | 1099165.9472 | 2717184.0272 | 1099160.2398
93 | 2717219.6309 | 1099198.1162 | 2717227.8605 | 1099214.3849
94 | 2717157.521 | 1099142.8694 | 2717168.2916 | 1099151.3718 | 2717184.0272 | 1099160.2398
95 | 2717157.521 | 1099142.8694 | 2717153.6966 | 1099138.3926 | 2717149.7864 | 1099130.0236
96 | 2717157.521 | 1099142.8694 | 2717146.1991 | 1099145.0766
97 | 2717145.5713 | 1099119.6119 | 2717147.8883 | 1099125.9609 | 2717149.7864 | 1099130.0236
98 | 2717126.8551 | 1099148.8478 | 2717146.1991 | 1099145.0766
99 | 2717145.5713 | 1099119.6119 | 2717167.9698 | 1099116.0313
100 | 2717126.7459 | 1099148.8691 | 2717126.8551 | 1099148.8478
101 | 2717167.9698 | 1099116.0313 | 2717175.1755 | 1099114.8794
102 | 2717178.5126 | 1099114.1099 | 2717175.1755 | 1099114.8794
103 | 2717131.7596 | 1099119.3041 | 2717118.8407 | 1099121.5091 | 2717117.67 | 1099115.1363
104 | 2717114.3904 | 1099097.2845 | 2717117.67 | 1099115.1363
105 | 2717266.6724 | 1099100.027 | 2717266.5288 | 1099102.5763
106 | 2717268.8587 | 1099062.2282 | 2717268.5343 | 1099066.9919 | 2717266.6724 | 1099100.027
107 | 2717266.3196 | 1099106.2873 | 2717266.5288 | 1099102.5763
108 | 2717268.8587 | 1099062.2282 | 2717278.8344 | 1099062.9657 | 2717330.5921 | 1099067.9558
109 | 2717330.5921 | 1099067.9558 | 2717350.4038 | 1099069.8659
110 | 2717395.5158 | 1099074.2153 | 2717350.4038 | 1099069.8659
111 | 2717395.5158 | 1099074.2153 | 2717410.9488 | 1099075.8813

## bus_geodata
| x | y | coords
0 | 2716995.7996 | 1099239.4515
1 | 2717012.2383 | 1099236.0588
2 | 2717022.4131 | 1099233.9589
3 | 2717019.2715 | 1099302.1037
4 | 2717063.4995 | 1099263.807
5 | 2717048.5678 | 1099321.9258
6 | 2717052.2497 | 1099227.8011
7 | 2717124.5213 | 1099223.0367
8 | 2717035.0758 | 1099161.5227
9 | 2717110.6383 | 1099152.0094
10 | 2717111.1882 | 1099151.9022
11 | 2717137.4407 | 1099064.1727
12 | 2717140.7677 | 1099085.3461
13 | 2717195.3117 | 1099059.0294
14 | 2717144.6517 | 1099117.1036
15 | 2717176.7441 | 1099087.3686
16 | 2717276.3434 | 1099399.1909
17 | 2717287.5011 | 1099362.4275
18 | 2717281.3232 | 1099423.2834
19 | 2717292.021 | 1099359.1684
20 | 2717238.9767 | 1099392.9392
21 | 2717306.1751 | 1099348.9624
22 | 2717229.8334 | 1099369.2393
23 | 2717311.0371 | 1099345.4591
24 | 2717229.8272 | 1099369.2153
25 | 2717335.3279 | 1099367.1874
26 | 2717310.626 | 1099337.0787
27 | 2717225.2841 | 1099351.5949
28 | 2717221.9802 | 1099338.7803
29 | 2717220.52 | 1099328.145
30 | 2717206.7144 | 1099342.4913
31 | 2717217.4056 | 1099305.4595
32 | 2717190.1448 | 1099348.8287
33 | 2717216.2636 | 1099297.1414
34 | 2717143.0865 | 1099368.4073
35 | 2717367.4953 | 1099292.8184
36 | 2717368.5878 | 1099314.2934
37 | 2717383.8225 | 1099253.8818
38 | 2717372.5468 | 1099229.1313
39 | 2717357.686 | 1099314.8349
40 | 2717356.4369 | 1099217.5901
41 | 2717345.0956 | 1099317.7532
42 | 2717342.314 | 1099334.2664
43 | 2717327.4756 | 1099331.9869
44 | 2717343.8087 | 1099325.3929
45 | 2717352.6454 | 1099204.0771
46 | 2717314.1823 | 1099368.6468
47 | 2717315.9185 | 1099324.4722
48 | 2717349.0041 | 1099186.8276
49 | 2717346.559 | 1099189.1626
50 | 2717361.3866 | 1099167.2417
51 | 2717329.2531 | 1099204.9034
52 | 2717362.664 | 1099165.221
53 | 2717307.3577 | 1099215.2319
54 | 2717371.8134 | 1099171.0462
55 | 2717375.1813 | 1099141.7906
56 | 2717308.9704 | 1099219.9441
57 | 2717295.3874 | 1099218.9754
58 | 2717387.3255 | 1099119.0583
59 | 2717124.4 | 1099295.8136
60 | 2717162.5947 | 1099316.9978
61 | 2717121.9116 | 1099287.9122
62 | 2717151.5003 | 1099226.5441
63 | 2717170.8036 | 1099310.1765
64 | 2717116.2402 | 1099280.93
65 | 2717162.4928 | 1099235.9847
66 | 2717175.7143 | 1099307.6252
67 | 2717112.7927 | 1099276.8992
68 | 2717179.3275 | 1099263.4848
69 | 2717177.8213 | 1099261.3926
70 | 2717211.1428 | 1099271.1693
71 | 2717166.7935 | 1099243.2013
72 | 2717230.6927 | 1099262.6627
73 | 2717198.8366 | 1099301.2109
74 | 2717233.2126 | 1099261.5662
75 | 2717231.3627 | 1099257.5055
76 | 2717246.3827 | 1099256.0721
77 | 2717249.2285 | 1099254.7944
78 | 2717238.6142 | 1099236.2247
79 | 2717292.8585 | 1099219.7663
80 | 2717290.4016 | 1099222.1392
81 | 2717288.2422 | 1099224.2247
82 | 2717291.7959 | 1099227.4733
83 | 2717303.9622 | 1099231.8556
84 | 2717211.3864 | 1099182.7175
85 | 2717209.7872 | 1099179.7307
86 | 2717215.6032 | 1099190.5934
87 | 2717197.2677 | 1099168.1736
88 | 2717218.5596 | 1099196.1153
89 | 2717197.112 | 1099168.0622
90 | 2717219.6309 | 1099198.1162
91 | 2717184.0272 | 1099160.2398
92 | 2717227.8605 | 1099214.3849
93 | 2717157.521 | 1099142.8694
94 | 2717149.7864 | 1099130.0236
95 | 2717146.1991 | 1099145.0766
96 | 2717145.5713 | 1099119.6119
97 | 2717126.8551 | 1099148.8478
98 | 2717167.9698 | 1099116.0313
99 | 2717126.7459 | 1099148.8691
100 | 2717175.1755 | 1099114.8794
101 | 2717178.5126 | 1099114.1099
102 | 2717131.7596 | 1099119.3041
103 | 2717117.67 | 1099115.1363
104 | 2717114.3904 | 1099097.2845
105 | 2717266.6724 | 1099100.027
106 | 2717266.5288 | 1099102.5763
107 | 2717268.8587 | 1099062.2282
108 | 2717266.3196 | 1099106.2873
109 | 2717330.5921 | 1099067.9558
110 | 2717350.4038 | 1099069.8659
111 | 2717395.5158 | 1099074.2153
112 | 2717410.9488 | 1099075.8813
113 | 2717246.3827 | 1099256.0721

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1