## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5176-5_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5176-5_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5176-5_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5176-5_0_8_node_76 | 0.4 | n |  | TRUE
4 | bus_LV_5176-5_0_8_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5176-5_0_8_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5176-5_0_8_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_5176-5_0_8_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_5176-5_0_8_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_5176-5_0_8_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5176-5_0_8_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_5176-5_0_8_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_5176-5_0_8_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5176-5_0_8_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5176-5_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5176-5_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5176-5_0_8_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5176-5_0_8_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5176-5_0_8_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5176-5_0_8_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5176-5_0_8_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5176-5_0_8_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5176-5_0_8_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5176-5_0_8_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5176-5_0_8_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_5176-5_0_8_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_5176-5_0_8_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_5176-5_0_8_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_5176-5_0_8_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5176-5_0_8_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5176-5_0_8_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5176-5_0_8_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5176-5_0_8_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5176-5_0_8_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5176-5_0_8_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5176-5_0_8_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5176-5_0_8_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5176-5_0_8_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5176-5_0_8_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_5176-5_0_8_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_5176-5_0_8_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5176-5_0_8_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5176-5_0_8_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5176-5_0_8_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5176-5_0_8_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5176-5_0_8_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5176-5_0_8_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5176-5_0_8_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5176-5_0_8_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5176-5_0_8_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5176-5_0_8_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5176-5_0_8_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5176-5_0_8_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_5176-5_0_8_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_5176-5_0_8_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5176-5_0_8_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5176-5_0_8_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_5176-5_0_8_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_5176-5_0_8_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5176-5_0_8_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5176-5_0_8_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5176-5_0_8_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5176-5_0_8_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5176-5_0_8_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5176-5_0_8_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5176-5_0_8_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_5176-5_0_8_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5176-5_0_8_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5176-5_0_8_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5176-5_0_8_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5176-5_0_8_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5176-5_0_8_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5176-5_0_8_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5176-5_0_8_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5176-5_0_8_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5176-5_0_8_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5176-5_0_8_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5176-5_0_8_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5176-5_0_8_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5176-5_0_8_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_5176-5_0_8_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5176-5_0_8_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_5176-5_0_8_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5176-5_0_8_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_5176-5_0_8_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5176-5_0_8_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5176-5_0_8_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5176-5_0_8_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_5176-5_0_8_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5176-5_0_8_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5176-5_0_8_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_5176-5_0_8_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_5176-5_0_8_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_5176-5_0_8_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5176-5_0_8_node_95 | 0.4 | n |  | TRUE
95 | bus_MV_248_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5176-5_0_8_load_0 | 0 | 0.0031247 | 0.00078312 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5176-5_0_8_load_1 | 1 | 0.0079507 | 0.0019926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5176-5_0_8_load_2 | 2 | 0.0026762 | 0.00067071 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5176-5_0_8_load_76 | 3 | 0.0020659 | 0.00051776 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5176-5_0_8_load_3 | 4 | 0.0031839 | 0.00079797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5176-5_0_8_load_4 | 5 | 0.0038074 | 0.00095422 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5176-5_0_8_load_77 | 6 | 0.0040332 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5176-5_0_8_load_75 | 7 | 0.0032044 | 0.00080309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5176-5_0_8_load_74 | 8 | 0.0010334 | 0.00025899 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5176-5_0_8_load_5 | 9 | 0.0086838 | 0.0021764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5176-5_0_8_load_78 | 10 | 0.0024873 | 0.00062338 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5176-5_0_8_load_79 | 11 | 0.0044887 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5176-5_0_8_load_6 | 12 | 0.0087758 | 0.0021994 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5176-5_0_8_load_7 | 13 | 0.0039891 | 0.00099977 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5176-5_0_8_load_8 | 14 | 0.0049856 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5176-5_0_8_load_9 | 15 | 0.0056671 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5176-5_0_8_load_11 | 17 | 0.0051121 | 0.0012812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5176-5_0_8_load_13 | 18 | 0.0050684 | 0.0012703 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5176-5_0_8_load_14 | 19 | 0.0040557 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5176-5_0_8_load_15 | 21 | 0.0077966 | 0.001954 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5176-5_0_8_load_27 | 22 | 0.026241 | 0.0065767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5176-5_0_8_load_26 | 23 | 0.0049794 | 0.001248 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5176-5_0_8_load_84 | 24 | 0.00365 | 0.00091479 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5176-5_0_8_load_24 | 25 | 0.0036616 | 0.00091768 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5176-5_0_8_load_85 | 26 | 0.011987 | 0.0030041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5176-5_0_8_load_58 | 27 | 0.0045853 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5176-5_0_8_load_17 | 29 | 0.0033652 | 0.0008434 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5176-5_0_8_load_44 | 30 | 0.0054872 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5176-5_0_8_load_18 | 31 | 0.0076923 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5176-5_0_8_load_19 | 32 | 0.010271 | 0.0025742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5176-5_0_8_load_20 | 33 | 0.0087046 | 0.0021816 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5176-5_0_8_load_21 | 34 | 0.0024663 | 0.00061812 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5176-5_0_8_load_22 | 35 | 0.0040875 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5176-5_0_8_load_25 | 36 | 0.0081935 | 0.0020535 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5176-5_0_8_load_23 | 37 | 0.0041466 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5176-5_0_8_load_43 | 38 | 0.010457 | 0.0026209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5176-5_0_8_load_42 | 39 | 0.0075591 | 0.0018945 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5176-5_0_8_load_37 | 40 | 0.0046469 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5176-5_0_8_load_39 | 41 | 0.0052449 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5176-5_0_8_load_36 | 42 | 0.0088437 | 0.0022164 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5176-5_0_8_load_41 | 43 | 0.014705 | 0.0036855 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5176-5_0_8_load_28 | 44 | 0.0027698 | 0.00069417 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5176-5_0_8_load_29 | 45 | 0.0042036 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5176-5_0_8_load_30 | 46 | 0.0031667 | 0.00079365 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5176-5_0_8_load_31 | 47 | 0.00416 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5176-5_0_8_load_32 | 48 | 0.0034699 | 0.00086965 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5176-5_0_8_load_33 | 49 | 0.015574 | 0.0039033 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5176-5_0_8_load_34 | 50 | 0.01038 | 0.0026015 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5176-5_0_8_load_35 | 51 | 0.010881 | 0.0027271 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5176-5_0_8_load_87 | 52 | 0.013659 | 0.0034233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5176-5_0_8_load_88 | 53 | 0.0066083 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5176-5_0_8_load_89 | 56 | 0.0036877 | 0.00092423 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5176-5_0_8_load_91 | 57 | 0.0077222 | 0.0019354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5176-5_0_8_load_45 | 58 | 0.0096523 | 0.0024191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5176-5_0_8_load_46 | 59 | 0.0036378 | 0.00091172 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5176-5_0_8_load_48 | 60 | 0.0038248 | 0.00095859 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5176-5_0_8_load_49 | 61 | 0.0023535 | 0.00058983 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5176-5_0_8_load_50 | 62 | 0.0031527 | 0.00079015 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5176-5_0_8_load_52 | 64 | 0.0036507 | 0.00091496 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5176-5_0_8_load_80 | 65 | 0.0031142 | 0.00078048 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5176-5_0_8_load_53 | 66 | 0.0062637 | 0.0015698 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5176-5_0_8_load_54 | 67 | 0.0026019 | 0.0006521 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5176-5_0_8_load_55 | 68 | 0.0063008 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5176-5_0_8_load_56 | 69 | 0.0043991 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5176-5_0_8_load_57 | 70 | 0.0036358 | 0.00091122 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5176-5_0_8_load_59 | 71 | 0.0035601 | 0.00089224 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5176-5_0_8_load_60 | 72 | 0.0032021 | 0.00080253 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5176-5_0_8_load_61 | 73 | 0.007968 | 0.001997 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5176-5_0_8_load_62 | 74 | 0.0019885 | 0.00049836 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5176-5_0_8_load_72 | 75 | 0.0053747 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5176-5_0_8_load_63 | 76 | 0.0079176 | 0.0019843 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5176-5_0_8_load_70 | 77 | 0.002551 | 0.00063935 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5176-5_0_8_load_64 | 78 | 0.0042738 | 0.0010711 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5176-5_0_8_load_65 | 79 | 0.0041095 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5176-5_0_8_load_66 | 80 | 0.0056992 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5176-5_0_8_load_67 | 81 | 0.0046702 | 0.0011705 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5176-5_0_8_load_68 | 82 | 0.0017905 | 0.00044874 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5176-5_0_8_load_71 | 84 | 0.0029919 | 0.00074985 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5176-5_0_8_load_69 | 85 | 0.0075234 | 0.0018855 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5176-5_0_8_load_81 | 86 | 0.0042547 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5176-5_0_8_load_82 | 87 | 0.0017375 | 0.00043546 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5176-5_0_8_load_83 | 88 | 0.013401 | 0.0033586 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5176-5_0_8_load_86 | 89 | 0.003733 | 0.00093559 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5176-5_0_8_load_90 | 90 | 0.0099544 | 0.0024948 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5176-5_0_8_load_93 | 91 | 0.0082596 | 0.0020701 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5176-5_0_8_load_94 | 92 | 0.0045122 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5176-5_0_8_load_92 | 93 | 0.0031328 | 0.00078516 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5176-5_0_8_load_95 | 94 | 0.003824 | 0.00095839 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5176-5_0_8_line_0 |  | 0 | 1 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5176-5_0_8_line_1 |  | 0 | 2 | 0.03563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5176-5_0_8_line_2 |  | 0 | 3 | 0.058959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5176-5_0_8_line_3 |  | 1 | 4 | 0.035368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5176-5_0_8_line_4 |  | 2 | 5 | 0.032018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5176-5_0_8_line_5 |  | 3 | 6 | 0.024463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5176-5_0_8_line_6 |  | 3 | 7 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5176-5_0_8_line_7 |  | 5 | 9 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5176-5_0_8_line_8 |  | 6 | 10 | 0.032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5176-5_0_8_line_9 |  | 7 | 8 | 0.0069844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5176-5_0_8_line_10 |  | 8 | 83 | 0.015215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5176-5_0_8_line_11 |  | 10 | 11 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5176-5_0_8_line_12 |  | 11 | 65 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5176-5_0_8_line_13 |  | 11 | 64 | 0.0052991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5176-5_0_8_line_14 |  | 12 | 13 | 0.023931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5176-5_0_8_line_15 |  | 12 | 14 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5176-5_0_8_line_16 |  | 13 | 15 | 0.024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5176-5_0_8_line_17 |  | 14 | 16 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5176-5_0_8_line_18 |  | 15 | 17 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5176-5_0_8_line_19 |  | 16 | 18 | 0.0018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5176-5_0_8_line_20 |  | 16 | 19 | 0.050599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5176-5_0_8_line_21 |  | 17 | 20 | 0.013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5176-5_0_8_line_22 |  | 18 | 21 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5176-5_0_8_line_23 |  | 19 | 22 | 0.006196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5176-5_0_8_line_24 |  | 20 | 23 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5176-5_0_8_line_25 |  | 20 | 24 | 0.037353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5176-5_0_8_line_26 |  | 21 | 28 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5176-5_0_8_line_27 |  | 23 | 25 | 0.024715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5176-5_0_8_line_28 |  | 24 | 26 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5176-5_0_8_line_29 |  | 24 | 27 | 0.028062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5176-5_0_8_line_30 |  | 25 | 37 | 0.031334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5176-5_0_8_line_31 |  | 26 | 89 | 0.019978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5176-5_0_8_line_32 |  | 27 | 69 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5176-5_0_8_line_33 |  | 28 | 29 | 0.019438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5176-5_0_8_line_34 |  | 29 | 30 | 0.028037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5176-5_0_8_line_35 |  | 31 | 32 | 0.033425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5176-5_0_8_line_36 |  | 31 | 33 | 0.0012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5176-5_0_8_line_37 |  | 32 | 34 | 0.0065609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5176-5_0_8_line_38 |  | 33 | 35 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5176-5_0_8_line_39 |  | 34 | 36 | 0.06317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5176-5_0_8_line_40 |  | 35 | 38 | 0.025003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5176-5_0_8_line_41 |  | 36 | 37 | 0.029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5176-5_0_8_line_42 |  | 38 | 39 | 0.023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5176-5_0_8_line_43 |  | 39 | 43 | 0.0050024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5176-5_0_8_line_44 |  | 40 | 41 | 0.0010889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5176-5_0_8_line_45 |  | 40 | 42 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5176-5_0_8_line_46 |  | 41 | 43 | 0.020664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5176-5_0_8_line_47 |  | 42 | 54 | 0.059043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5176-5_0_8_line_48 |  | 44 | 45 | 0.00072674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5176-5_0_8_line_49 |  | 45 | 46 | 0.024025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5176-5_0_8_line_50 |  | 46 | 47 | 0.0025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5176-5_0_8_line_51 |  | 47 | 48 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5176-5_0_8_line_52 |  | 48 | 49 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5176-5_0_8_line_53 |  | 49 | 50 | 0.052851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5176-5_0_8_line_54 |  | 50 | 51 | 0.011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5176-5_0_8_line_55 |  | 51 | 52 | 0.014774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5176-5_0_8_line_56 |  | 52 | 53 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5176-5_0_8_line_57 |  | 53 | 90 | 0.037083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5176-5_0_8_line_58 |  | 54 | 55 | 0.059172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5176-5_0_8_line_59 |  | 55 | 56 | 0.19976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5176-5_0_8_line_60 |  | 56 | 57 | 0.028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5176-5_0_8_line_61 |  | 57 | 90 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5176-5_0_8_line_62 |  | 58 | 59 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5176-5_0_8_line_63 |  | 59 | 60 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5176-5_0_8_line_64 |  | 60 | 61 | 0.011688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5176-5_0_8_line_65 |  | 61 | 62 | 0.0033371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5176-5_0_8_line_66 |  | 62 | 63 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5176-5_0_8_line_67 |  | 63 | 64 | 0.026779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5176-5_0_8_line_68 |  | 65 | 86 | 0.025959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5176-5_0_8_line_69 |  | 66 | 67 | 0.0044474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5176-5_0_8_line_70 |  | 66 | 68 | 0.0062537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5176-5_0_8_line_71 |  | 67 | 69 | 0.036378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5176-5_0_8_line_72 |  | 68 | 70 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5176-5_0_8_line_73 |  | 70 | 71 | 0.026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5176-5_0_8_line_74 |  | 71 | 72 | 0.00034115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5176-5_0_8_line_75 |  | 72 | 73 | 0.038195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5176-5_0_8_line_76 |  | 73 | 74 | 0.0075653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5176-5_0_8_line_77 |  | 73 | 75 | 0.13183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5176-5_0_8_line_78 |  | 74 | 76 | 0.067519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5176-5_0_8_line_79 |  | 75 | 77 | 0.0099831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5176-5_0_8_line_80 |  | 76 | 78 | 0.0064508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5176-5_0_8_line_81 |  | 77 | 85 | 0.00010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5176-5_0_8_line_82 |  | 79 | 80 | 0.024851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5176-5_0_8_line_83 |  | 80 | 81 | 0.0097098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5176-5_0_8_line_84 |  | 81 | 82 | 0.051725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5176-5_0_8_line_85 |  | 82 | 83 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5176-5_0_8_line_86 |  | 83 | 84 | 0.046327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_5176-5_0_8_line_87 |  | 84 | 85 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_5176-5_0_8_line_88 |  | 86 | 87 | 0.0095193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5176-5_0_8_line_89 |  | 87 | 88 | 0.0025973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5176-5_0_8_line_90 |  | 90 | 93 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5176-5_0_8_line_91 |  | 91 | 92 | 0.048763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5176-5_0_8_line_92 |  | 91 | 93 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5176-5_0_8_line_93 |  | 92 | 94 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5176-5_0_8_trafo_26 | 0.63 MVA 20/0.4 kV | 95 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2717701.1146 | 1099805.4742 | 2717701.1146 | 1099805.4742 | 2717704.5468 | 1099815.6342
1 | 2717701.1146 | 1099805.4742 | 2717682.0265 | 1099790.7388 | 2717671.4666 | 1099786.1435
2 | 2717719.83 | 1099749.565 | 2717701.1146 | 1099805.4742
3 | 2717704.5468 | 1099815.6342 | 2717708.7745 | 1099828.1493 | 2717708.6779 | 1099850.3071
4 | 2717640.9447 | 1099776.9151 | 2717660.4191 | 1099781.3361 | 2717671.4666 | 1099786.1435
5 | 2717704.1353 | 1099735.4623 | 2717718.914 | 1099740.8968 | 2717719.83 | 1099749.565
6 | 2717737.7984 | 1099756.7171 | 2717719.83 | 1099749.565 | 2717719.83 | 1099749.565
7 | 2717618.2116 | 1099778.7734 | 2717639.6422 | 1099776.6194 | 2717640.9447 | 1099776.9151
8 | 2717704.1353 | 1099735.4623 | 2717675.5043 | 1099724.9339 | 2717673.854 | 1099724.471
9 | 2717737.7984 | 1099756.7171 | 2717741.7065 | 1099758.2726 | 2717744.4516 | 1099758.7001
10 | 2717759.4857 | 1099761.0413 | 2717744.4516 | 1099758.7001
11 | 2717673.854 | 1099724.471 | 2717664.6495 | 1099695.8818
12 | 2717664.6495 | 1099695.8818 | 2717676.2586 | 1099697.9966 | 2717677.8193 | 1099689.724
13 | 2717659.4362 | 1099694.9322 | 2717664.6495 | 1099695.8818
14 | 2717677.6311 | 1099534.4774 | 2717677.6311 | 1099534.4774 | 2717700.1734 | 1099542.5123
15 | 2717677.6311 | 1099534.4774 | 2717661.3905 | 1099524.1408
16 | 2717700.1734 | 1099542.5123 | 2717712.7305 | 1099546.9881 | 2717723.4919 | 1099546.4512
17 | 2717649.1987 | 1099516.3811 | 2717661.3905 | 1099524.1408
18 | 2717737.8975 | 1099545.5374 | 2717736.6427 | 1099545.795 | 2717723.4919 | 1099546.4512
19 | 2717649.1987 | 1099516.3811 | 2717647.6362 | 1099515.3863
20 | 2717649.1987 | 1099516.3811 | 2717658.6599 | 1099491.2803 | 2717663.4847 | 1099468.0005
21 | 2717750.6991 | 1099542.9098 | 2717737.8975 | 1099545.5374
22 | 2717647.6362 | 1099515.3863 | 2717630.6725 | 1099504.5855
23 | 2717664.7421 | 1099461.9335 | 2717663.4847 | 1099468.0005
24 | 2717750.6991 | 1099542.9098 | 2717745.0724 | 1099519.0752
25 | 2717750.6991 | 1099542.9098 | 2717764.7239 | 1099540.4577 | 2717780.3537 | 1099523.4272
26 | 2717621.8218 | 1099498.9502 | 2717630.6725 | 1099504.5855
27 | 2717745.0724 | 1099519.0752 | 2717743.35 | 1099511.7793 | 2717739.0859 | 1099498.8656 | 2717737.7685 | 1099495.4945
28 | 2717780.3537 | 1099523.4272 | 2717787.2618 | 1099515.8999 | 2717789.8117 | 1099504.6082 | 2717789.7572 | 1099498.3315
29 | 2717780.3537 | 1099523.4272 | 2717779.6804 | 1099551.4806
30 | 2717724.896 | 1099467.1374 | 2717728.5432 | 1099471.8872 | 2717737.7685 | 1099495.4945
31 | 2717785.6168 | 1099479.0874 | 2717789.6848 | 1099489.9957 | 2717789.7572 | 1099498.3315
32 | 2717779.6804 | 1099551.4806 | 2717793.1424 | 1099553.109
33 | 2717621.8218 | 1099498.9502 | 2717607.5087 | 1099485.7986
34 | 2717586.8634 | 1099466.8287 | 2717607.5087 | 1099485.7986
35 | 2717724.5518 | 1099370.2156 | 2717741.9429 | 1099384.6646 | 2717747.9619 | 1099393.6491
36 | 2717724.5518 | 1099370.2156 | 2717723.5894 | 1099369.416
37 | 2717751.6136 | 1099399.0999 | 2717747.9619 | 1099393.6491
38 | 2717712.0302 | 1099359.8124 | 2717723.5894 | 1099369.416
39 | 2717706.9718 | 1099443.7944 | 2717751.6136 | 1099399.0999
40 | 2717712.0302 | 1099359.8124 | 2717712.0302 | 1099359.8124 | 2717687.9075 | 1099353.2365
41 | 2717706.9718 | 1099443.7944 | 2717724.896 | 1099467.1374
42 | 2717665.1952 | 1099346.9082 | 2717666.6278 | 1099347.4357 | 2717687.9075 | 1099353.2365
43 | 2717660.5008 | 1099345.1799 | 2717665.1952 | 1099346.9082
44 | 2717640.0879 | 1099337.6645 | 2717641.1098 | 1099338.0407
45 | 2717617.2866 | 1099329.2698 | 2717640.0879 | 1099337.6645
46 | 2717660.5008 | 1099345.1799 | 2717641.1098 | 1099338.0407
47 | 2717561.8798 | 1099308.8706 | 2717617.2866 | 1099329.2698
48 | 2717864.759 | 1099467.9314 | 2717864.9798 | 1099468.6238
49 | 2717857.4617 | 1099445.0413 | 2717864.759 | 1099467.9314
50 | 2717857.4617 | 1099445.0413 | 2717856.6799 | 1099442.5892
51 | 2717856.6799 | 1099442.5892 | 2717851.5137 | 1099426.3841 | 2717849.4922 | 1099422.8745
52 | 2717849.4922 | 1099422.8745 | 2717838.4113 | 1099403.6365 | 2717835.967 | 1099399.0831
53 | 2717835.967 | 1099399.0831 | 2717819.8168 | 1099368.9966 | 2717813.0255 | 1099351.5694
54 | 2717813.0255 | 1099351.5694 | 2717808.9935 | 1099341.2229
55 | 2717808.9935 | 1099341.2229 | 2717803.6292 | 1099327.4576
56 | 2717803.6292 | 1099327.4576 | 2717797.2886 | 1099311.1867 | 2717794.8842 | 1099305.7038
57 | 2717794.8842 | 1099305.7038 | 2717825.3273 | 1099284.5297
58 | 2717561.8798 | 1099308.8706 | 2717563.7231 | 1099301.2566 | 2717573.5465 | 1099284.6463 | 2717575.462 | 1099282.9044 | 2717578.2135 | 1099253.582
59 | 2717777.3787 | 1099269.0206 | 2717578.2135 | 1099253.582
60 | 2717777.3787 | 1099269.0206 | 2717806.1311 | 1099269.0999
61 | 2717825.3273 | 1099284.5297 | 2717808.3797 | 1099271.9747 | 2717806.1311 | 1099269.0999
62 | 2717576.8644 | 1099643.914 | 2717581.3155 | 1099646.4677 | 2717593.0781 | 1099657.4396
63 | 2717593.0781 | 1099657.4396 | 2717600.5969 | 1099664.4532 | 2717601.3964 | 1099665.199
64 | 2717609.9427 | 1099673.1722 | 2717601.3964 | 1099665.199
65 | 2717612.3828 | 1099675.4486 | 2717609.9427 | 1099673.1722
66 | 2717632.9224 | 1099694.6107 | 2717612.3828 | 1099675.4486
67 | 2717632.9224 | 1099694.6107 | 2717648.5961 | 1099692.9575 | 2717659.4362 | 1099694.9322
68 | 2717677.8193 | 1099689.724 | 2717681.7991 | 1099668.6282 | 2717684.313 | 1099664.9063
69 | 2717826.8102 | 1099572.9893 | 2717823.9721 | 1099569.5652
70 | 2717826.8102 | 1099572.9893 | 2717830.0089 | 1099576.8484 | 2717830.817 | 1099577.7907
71 | 2717823.9721 | 1099569.5652 | 2717817.8042 | 1099562.1238 | 2717807.4965 | 1099555.7863 | 2717796.9463 | 1099553.5691 | 2717793.1424 | 1099553.109
72 | 2717830.817 | 1099577.7907 | 2717839.3757 | 1099587.7709 | 2717839.6657 | 1099587.9917
73 | 2717839.6657 | 1099587.9917 | 2717861.0245 | 1099604.2524
74 | 2717861.2959 | 1099604.4591 | 2717861.0245 | 1099604.2524
75 | 2717861.2959 | 1099604.4591 | 2717872.2416 | 1099612.7922 | 2717875.8692 | 1099614.5972 | 2717890.491 | 1099628.4571 | 2717890.6868 | 1099628.5949
76 | 2717890.6868 | 1099628.5949 | 2717896.8733 | 1099632.9493
77 | 2717777.2005 | 1099695.673 | 2717890.6868 | 1099628.5949
78 | 2717896.8733 | 1099632.9493 | 2717935.0789 | 1099688.6193
79 | 2717777.2005 | 1099695.673 | 2717774.5892 | 1099705.3086
80 | 2717935.0789 | 1099688.6193 | 2717939.3284 | 1099693.4725
81 | 2717774.5892 | 1099705.3086 | 2717774.563 | 1099705.4056
82 | 2717855.468 | 1099799.0955 | 2717832.9465 | 1099788.5909
83 | 2717832.9465 | 1099788.5909 | 2717824.1469 | 1099784.4865
84 | 2717776.4664 | 1099764.8498 | 2717789.2054 | 1099768.1889 | 2717824.1469 | 1099784.4865
85 | 2717759.4857 | 1099761.0413 | 2717765.4765 | 1099761.9691 | 2717776.4664 | 1099764.8498
86 | 2717759.4857 | 1099761.0413 | 2717771.6032 | 1099716.3273
87 | 2717774.563 | 1099705.4056 | 2717771.6032 | 1099716.3273
88 | 2717689.641 | 1099657.0178 | 2717684.313 | 1099664.9063
89 | 2717691.0947 | 1099654.8654 | 2717689.641 | 1099657.0178
90 | 2717825.3273 | 1099284.5297 | 2717827.1675 | 1099285.893 | 2717842.6426 | 1099297.3497
91 | 2717849.959 | 1099305.1535 | 2717893.7024 | 1099283.6056
92 | 2717849.959 | 1099305.1535 | 2717845.4745 | 1099299.4462 | 2717842.6426 | 1099297.3497
93 | 2717893.7024 | 1099283.6056 | 2717886.3684 | 1099268.6098

## bus_geodata
| x | y | coords
0 | 2717701.1146 | 1099805.4742
1 | 2717704.5468 | 1099815.6343
2 | 2717671.4666 | 1099786.1435
3 | 2717719.83 | 1099749.565
4 | 2717708.6779 | 1099850.3071
5 | 2717640.9447 | 1099776.9151
6 | 2717704.1353 | 1099735.4623
7 | 2717737.7984 | 1099756.7171
8 | 2717744.4516 | 1099758.7001
9 | 2717618.2116 | 1099778.7734
10 | 2717673.854 | 1099724.471
11 | 2717664.6495 | 1099695.8818
12 | 2717677.6311 | 1099534.4774
13 | 2717700.1734 | 1099542.5123
14 | 2717661.3905 | 1099524.1408
15 | 2717723.4919 | 1099546.4512
16 | 2717649.1987 | 1099516.3811
17 | 2717737.8976 | 1099545.5374
18 | 2717647.6362 | 1099515.3863
19 | 2717663.4847 | 1099468.0005
20 | 2717750.6991 | 1099542.9098
21 | 2717630.6725 | 1099504.5855
22 | 2717664.7421 | 1099461.9335
23 | 2717745.0724 | 1099519.0752
24 | 2717780.3537 | 1099523.4272
25 | 2717737.7685 | 1099495.4946
26 | 2717789.7572 | 1099498.3315
27 | 2717779.6804 | 1099551.4806
28 | 2717621.8218 | 1099498.9502
29 | 2717607.5087 | 1099485.7986
30 | 2717586.8634 | 1099466.8287
31 | 2717724.5518 | 1099370.2156
32 | 2717747.9619 | 1099393.6491
33 | 2717723.5894 | 1099369.416
34 | 2717751.6136 | 1099399.0999
35 | 2717712.0302 | 1099359.8124
36 | 2717706.9718 | 1099443.7944
37 | 2717724.896 | 1099467.1374
38 | 2717687.9075 | 1099353.2365
39 | 2717665.1952 | 1099346.9082
40 | 2717640.0879 | 1099337.6645
41 | 2717641.1098 | 1099338.0407
42 | 2717617.2866 | 1099329.2698
43 | 2717660.5008 | 1099345.1799
44 | 2717864.9798 | 1099468.6238
45 | 2717864.759 | 1099467.9314
46 | 2717857.4617 | 1099445.0413
47 | 2717856.6799 | 1099442.5892
48 | 2717849.4922 | 1099422.8745
49 | 2717835.967 | 1099399.0831
50 | 2717813.0255 | 1099351.5694
51 | 2717808.9935 | 1099341.2229
52 | 2717803.6292 | 1099327.4576
53 | 2717794.8842 | 1099305.7038
54 | 2717561.8798 | 1099308.8706
55 | 2717578.2135 | 1099253.582
56 | 2717777.3787 | 1099269.0206
57 | 2717806.1311 | 1099269.0999
58 | 2717576.8644 | 1099643.914
59 | 2717593.0781 | 1099657.4396
60 | 2717601.3964 | 1099665.199
61 | 2717609.9427 | 1099673.1722
62 | 2717612.3828 | 1099675.4486
63 | 2717632.9224 | 1099694.6107
64 | 2717659.4362 | 1099694.9322
65 | 2717677.8193 | 1099689.724
66 | 2717826.8102 | 1099572.9893
67 | 2717823.9721 | 1099569.5652
68 | 2717830.817 | 1099577.7907
69 | 2717793.1424 | 1099553.109
70 | 2717839.6657 | 1099587.9917
71 | 2717861.0245 | 1099604.2524
72 | 2717861.2959 | 1099604.4591
73 | 2717890.6868 | 1099628.5949
74 | 2717896.8733 | 1099632.9493
75 | 2717777.2005 | 1099695.673
76 | 2717935.0789 | 1099688.6193
77 | 2717774.5892 | 1099705.3086
78 | 2717939.3284 | 1099693.4725
79 | 2717855.468 | 1099799.0955
80 | 2717832.9465 | 1099788.5909
81 | 2717824.1469 | 1099784.4865
82 | 2717776.4664 | 1099764.8498
83 | 2717759.4857 | 1099761.0413
84 | 2717771.6032 | 1099716.3273
85 | 2717774.563 | 1099705.4056
86 | 2717684.313 | 1099664.9063
87 | 2717689.641 | 1099657.0178
88 | 2717691.0947 | 1099654.8654
89 | 2717785.6168 | 1099479.0874
90 | 2717825.3273 | 1099284.5297
91 | 2717849.959 | 1099305.1535
92 | 2717893.7024 | 1099283.6056
93 | 2717842.6426 | 1099297.3497
94 | 2717886.3684 | 1099268.6098
95 | 2717750.6991 | 1099542.9098

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1