## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5186-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5186-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5186-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5186-1_0_5_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_5186-1_0_5_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_5186-1_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5186-1_0_5_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_5186-1_0_5_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_5186-1_0_5_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_5186-1_0_5_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_5186-1_0_5_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5186-1_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5186-1_0_5_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_5186-1_0_5_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5186-1_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5186-1_0_5_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_5186-1_0_5_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_5186-1_0_5_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_5186-1_0_5_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_5186-1_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_5186-1_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5186-1_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5186-1_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5186-1_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5186-1_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5186-1_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5186-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5186-1_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5186-1_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_5186-1_0_5_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_5186-1_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5186-1_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_5186-1_0_5_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_5186-1_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5186-1_0_5_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5186-1_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5186-1_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5186-1_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5186-1_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5186-1_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5186-1_0_5_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_5186-1_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5186-1_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5186-1_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5186-1_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5186-1_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5186-1_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5186-1_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5186-1_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5186-1_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5186-1_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5186-1_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5186-1_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5186-1_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5186-1_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5186-1_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5186-1_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5186-1_0_5_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_5186-1_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_5186-1_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5186-1_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5186-1_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5186-1_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5186-1_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5186-1_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5186-1_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5186-1_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5186-1_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_MV_71_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5186-1_0_5_load_0 | 0 | 0.0043713 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5186-1_0_5_load_1 | 1 | 0.035688 | 0.0089443 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5186-1_0_5_load_60 | 4 | 0.013658 | 0.0034229 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5186-1_0_5_load_19 | 5 | 0.026116 | 0.0065453 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5186-1_0_5_load_65 | 8 | 0.015831 | 0.0039675 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5186-1_0_5_load_69 | 9 | 0.027411 | 0.0068699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5186-1_0_5_load_3 | 12 | 0.0020124 | 0.00050437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5186-1_0_5_load_6 | 14 | 0.00543 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5186-1_0_5_load_32 | 16 | 0.016511 | 0.004138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5186-1_0_5_load_43 | 17 | 0.0053261 | 0.0013348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5186-1_0_5_load_7 | 18 | 0.0038147 | 0.00095605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5186-1_0_5_load_8 | 19 | 0.0013337 | 0.00033425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5186-1_0_5_load_10 | 21 | 0.0015802 | 0.00039603 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5186-1_0_5_load_18 | 25 | 0.0027658 | 0.00069319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5186-1_0_5_load_15 | 26 | 0.087023 | 0.02181 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5186-1_0_5_load_13 | 27 | 0.0063303 | 0.0015865 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5186-1_0_5_load_17 | 30 | 0.0071034 | 0.0017803 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5186-1_0_5_load_61 | 31 | 0.021495 | 0.005387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5186-1_0_5_load_54 | 33 | 0.0038167 | 0.00095657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5186-1_0_5_load_46 | 34 | 0.0026181 | 0.00065615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5186-1_0_5_load_24 | 35 | 0.012465 | 0.0031239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5186-1_0_5_load_20 | 36 | 0.0020505 | 0.00051389 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5186-1_0_5_load_68 | 40 | 0.021603 | 0.0054142 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5186-1_0_5_load_25 | 41 | 0.016155 | 0.0040487 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5186-1_0_5_load_27 | 43 | 0.0017166 | 0.00043021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5186-1_0_5_load_28 | 44 | 0.0039184 | 0.00098205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5186-1_0_5_load_29 | 45 | 0.0043379 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5186-1_0_5_load_33 | 46 | 0.0030368 | 0.0007611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5186-1_0_5_load_48 | 50 | 0.0044155 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5186-1_0_5_load_41 | 51 | 0.0052598 | 0.0013182 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5186-1_0_5_load_49 | 52 | 0.0039372 | 0.00098674 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5186-1_0_5_load_37 | 54 | 0.0099775 | 0.0025006 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5186-1_0_5_load_38 | 55 | 0.0021278 | 0.00053328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5186-1_0_5_load_63 | 57 | 0.0020562 | 0.00051533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5186-1_0_5_load_62 | 58 | 0.0019281 | 0.00048323 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5186-1_0_5_load_42 | 59 | 0.014672 | 0.0036771 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5186-1_0_5_load_45 | 60 | 0.0098353 | 0.0024649 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5186-1_0_5_load_51 | 62 | 0.00097366 | 0.00024402 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5186-1_0_5_load_52 | 63 | 0.0025935 | 0.00064999 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5186-1_0_5_load_56 | 64 | 0.0051466 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5186-1_0_5_load_57 | 65 | 0.0071944 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5186-1_0_5_load_58 | 66 | 0.0066668 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5186-1_0_5_load_59 | 67 | 0.0012174 | 0.0003051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5186-1_0_5_line_0 |  | 0 | 1 | 0.0382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5186-1_0_5_line_1 |  | 1 | 2 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5186-1_0_5_line_2 |  | 2 | 7 | 0.048838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5186-1_0_5_line_3 |  | 2 | 8 | 0.045898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5186-1_0_5_line_4 |  | 3 | 4 | 0.035906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5186-1_0_5_line_5 |  | 3 | 5 | 0.053164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5186-1_0_5_line_6 |  | 3 | 6 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5186-1_0_5_line_7 |  | 4 | 23 | 0.055362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5186-1_0_5_line_8 |  | 4 | 24 | 0.062926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5186-1_0_5_line_9 |  | 5 | 10 | 0.052211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5186-1_0_5_line_10 |  | 6 | 16 | 0.01366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5186-1_0_5_line_11 |  | 6 | 45 | 0.035927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5186-1_0_5_line_12 |  | 7 | 9 | 0.01244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5186-1_0_5_line_13 |  | 7 | 10 | 0.051606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5186-1_0_5_line_14 |  | 8 | 11 | 0.033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5186-1_0_5_line_15 |  | 11 | 14 | 0.088937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5186-1_0_5_line_16 |  | 12 | 13 | 0.0097007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5186-1_0_5_line_17 |  | 13 | 14 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5186-1_0_5_line_18 |  | 15 | 16 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5186-1_0_5_line_19 |  | 15 | 17 | 0.043044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5186-1_0_5_line_20 |  | 17 | 59 | 0.0057977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5186-1_0_5_line_21 |  | 18 | 19 | 0.029819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5186-1_0_5_line_22 |  | 18 | 20 | 0.017234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5186-1_0_5_line_23 |  | 19 | 21 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5186-1_0_5_line_24 |  | 20 | 22 | 0.059332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5186-1_0_5_line_25 |  | 21 | 25 | 0.030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5186-1_0_5_line_26 |  | 22 | 26 | 0.050077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5186-1_0_5_line_27 |  | 22 | 27 | 0.036768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5186-1_0_5_line_28 |  | 23 | 28 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5186-1_0_5_line_29 |  | 23 | 29 | 0.0367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5186-1_0_5_line_30 |  | 24 | 25 | 0.036877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5186-1_0_5_line_31 |  | 28 | 64 | 0.014967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5186-1_0_5_line_32 |  | 28 | 63 | 0.0086461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5186-1_0_5_line_33 |  | 29 | 33 | 0.053366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5186-1_0_5_line_34 |  | 29 | 34 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5186-1_0_5_line_35 |  | 30 | 31 | 0.03147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5186-1_0_5_line_36 |  | 30 | 32 | 0.084164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5186-1_0_5_line_37 |  | 31 | 35 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5186-1_0_5_line_38 |  | 32 | 33 | 0.0073058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5186-1_0_5_line_39 |  | 34 | 60 | 0.0042879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5186-1_0_5_line_40 |  | 35 | 38 | 0.057894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5186-1_0_5_line_41 |  | 36 | 37 | 0.0071077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5186-1_0_5_line_42 |  | 36 | 38 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5186-1_0_5_line_43 |  | 37 | 39 | 0.10123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5186-1_0_5_line_44 |  | 39 | 40 | 0.1111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5186-1_0_5_line_45 |  | 41 | 42 | 0.066314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5186-1_0_5_line_46 |  | 42 | 43 | 0.017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5186-1_0_5_line_47 |  | 42 | 44 | 0.05074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5186-1_0_5_line_48 |  | 43 | 45 | 0.026184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5186-1_0_5_line_49 |  | 46 | 47 | 0.032609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5186-1_0_5_line_50 |  | 47 | 48 | 0.007916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5186-1_0_5_line_51 |  | 47 | 49 | 0.11928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5186-1_0_5_line_52 |  | 48 | 50 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5186-1_0_5_line_53 |  | 49 | 51 | 0.12895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5186-1_0_5_line_54 |  | 50 | 52 | 0.0034843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5186-1_0_5_line_55 |  | 51 | 53 | 0.0096431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5186-1_0_5_line_56 |  | 52 | 61 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5186-1_0_5_line_57 |  | 53 | 54 | 0.031856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5186-1_0_5_line_58 |  | 54 | 55 | 0.0061846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5186-1_0_5_line_59 |  | 55 | 56 | 0.033645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5186-1_0_5_line_60 |  | 56 | 57 | 0.0026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5186-1_0_5_line_61 |  | 57 | 58 | 0.016242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5186-1_0_5_line_62 |  | 61 | 62 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5186-1_0_5_line_63 |  | 61 | 63 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5186-1_0_5_line_64 |  | 64 | 65 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5186-1_0_5_line_65 |  | 65 | 66 | 0.0035568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5186-1_0_5_line_66 |  | 66 | 67 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5186-1_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 68 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2715229.3991 | 1092141.1545 | 2715264.1541 | 1092125.3014
1 | 2715284.6863 | 1092125.4188 | 2715282.9263 | 1092122.5613 | 2715281.9214 | 1092121.586 | 2715280.787 | 1092120.8974 | 2715279.1679 | 1092120.4219 | 2715276.51 | 1092120.3493 | 2715273.245 | 1092121.2213 | 2715269.7113 | 1092122.7666 | 2715264.1541 | 1092125.3014
2 | 2715284.6863 | 1092125.4188 | 2715298.9422 | 1092150.4506 | 2715300.1739 | 1092151.7304 | 2715301.9231 | 1092153.1089 | 2715306.6016 | 1092155.7883 | 2715312.9871 | 1092152.2625 | 2715314.5454 | 1092151.447 | 2715315.2786 | 1092152.8508
3 | 2715284.6863 | 1092125.4188 | 2715244.0011 | 1092146.6643
4 | 2715367.1315 | 1092049.8186 | 2715360.1929 | 1092035.088 | 2715353.1904 | 1092016.7566
5 | 2715367.1315 | 1092049.8186 | 2715332.6233 | 1092090.2605
6 | 2715367.1315 | 1092049.8186 | 2715376.7009 | 1092044.3963
7 | 2715334.0804 | 1091964.8002 | 2715346.1813 | 1091998.4082 | 2715353.1904 | 1092016.7566
8 | 2715353.1904 | 1092016.7566 | 2715290.4721 | 1092011.6503
9 | 2715357.4841 | 1092136.1728 | 2715332.6233 | 1092090.2605
10 | 2715376.7009 | 1092044.3963 | 2715384.1696 | 1092055.8341
11 | 2715376.7009 | 1092044.3963 | 2715395.1406 | 1092033.2162 | 2715406.2508 | 1092024.1144
12 | 2715315.2786 | 1092152.8508 | 2715326.2826 | 1092146.9887
13 | 2715315.2786 | 1092152.8508 | 2715315.4625 | 1092154.5999 | 2715315.7799 | 1092157.4857 | 2715317.9586 | 1092157.0711 | 2715320.2395 | 1092156.1693 | 2715332.3253 | 1092149.6829 | 2715357.4841 | 1092136.1728
14 | 2715212.7072 | 1092152.863 | 2715221.8521 | 1092155.0933 | 2715223.7802 | 1092155.2188 | 2715225.7972 | 1092155.1569 | 2715227.7347 | 1092154.7823 | 2715229.8887 | 1092154.0337 | 2715244.0011 | 1092146.6643
15 | 2715212.7072 | 1092152.863 | 2715212.9475 | 1092164.3199 | 2715212.8771 | 1092170.078 | 2715214.852 | 1092175.9194 | 2715240.999 | 1092236.0315
16 | 2715252.5769 | 1092262.6491 | 2715261.3795 | 1092258.5726
17 | 2715252.5769 | 1092262.6491 | 2715240.999 | 1092236.0315
18 | 2715401.5784 | 1092082.4944 | 2715384.1696 | 1092055.8341
19 | 2715401.5784 | 1092082.4944 | 2715444.4226 | 1092078.3524
20 | 2715450.1934 | 1092077.7945 | 2715444.4226 | 1092078.3524
21 | 2715190.8723 | 1092072.3744 | 2715209.4739 | 1092064.5077 | 2715218.2506 | 1092060.5636
22 | 2715174.9991 | 1092079.0872 | 2715190.8723 | 1092072.3744
23 | 2715218.2506 | 1092060.5636 | 2715222.65 | 1092058.5865 | 2715235.7285 | 1092050.9286
24 | 2715151.6273 | 1092028.1431 | 2715171.7054 | 1092080.2479 | 2715174.9991 | 1092079.0872
25 | 2715235.7285 | 1092050.9286 | 2715244.2258 | 1092045.9532 | 2715260.6418 | 1092033.1313
26 | 2715151.6273 | 1092028.1431 | 2715133.0245 | 1091981.6369
27 | 2715151.6273 | 1092028.1431 | 2715185.2317 | 1092013.2228
28 | 2715334.0804 | 1091964.8002 | 2715352.7219 | 1091949.532
29 | 2715334.0804 | 1091964.8002 | 2715324.6197 | 1091929.3409
30 | 2715290.4721 | 1092011.6503 | 2715284.0854 | 1092014.8203 | 2715260.6418 | 1092033.1313
31 | 2715352.7219 | 1091949.532 | 2715362.0931 | 1091961.2023
32 | 2715352.7219 | 1091949.532 | 2715359.119 | 1091943.7155
33 | 2715324.6197 | 1091929.3409 | 2715318.5298 | 1091900.917 | 2715316.7325 | 1091880.4022 | 2715316.6071 | 1091876.7003
34 | 2715324.6197 | 1091929.3409 | 2715347.3536 | 1091912.0982
35 | 2715227.8163 | 1091822.68 | 2715229.217 | 1091832.7668 | 2715233.6961 | 1091853.5768
36 | 2715316.3597 | 1091869.3987 | 2715233.6961 | 1091853.5768
37 | 2715227.8163 | 1091822.68 | 2715226.0071 | 1091809.6519
38 | 2715316.3597 | 1091869.3987 | 2715316.6071 | 1091876.7003
39 | 2715350.77 | 1091909.507 | 2715347.3536 | 1091912.0982
40 | 2715220.0773 | 1091752.0939 | 2715220.8714 | 1091766.2408 | 2715222.6608 | 1091785.5547 | 2715226.0071 | 1091809.6519
41 | 2715206.6684 | 1091740.3986 | 2715206.7174 | 1091743.9464 | 2715207.9568 | 1091747.2833
42 | 2715220.0773 | 1091752.0939 | 2715216.8127 | 1091752.5212 | 2715213.3135 | 1091751.8323 | 2715210.2465 | 1091750.0174 | 2715207.9568 | 1091747.2833
43 | 2715206.6684 | 1091740.3986 | 2715207.6654 | 1091737.2931 | 2715209.5685 | 1091734.6495 | 2715212.1872 | 1091732.7089 | 2715218.5502 | 1091731.6175 | 2715221.7963 | 1091675.7072 | 2715224.8857 | 1091646.8793
44 | 2715178.6388 | 1091716.2958 | 2715199.6525 | 1091717.4277 | 2715201.9522 | 1091684.4486 | 2715205.5674 | 1091680.2475 | 2715207.7057 | 1091645.9644 | 2715224.8857 | 1091646.8793
45 | 2715443.7733 | 1092002.3064 | 2715459.6852 | 1092036.8766 | 2715434.296 | 1092049.2815
46 | 2715443.7733 | 1092002.3064 | 2715428.2858 | 1092010.2397
47 | 2715443.7733 | 1092002.3064 | 2715466.6187 | 1091991.855 | 2715471.5917 | 1091986.3789 | 2715473.2556 | 1091968.2351
48 | 2715406.2508 | 1092024.1144 | 2715414.6798 | 1092017.2091 | 2715428.2858 | 1092010.2397
49 | 2715403.0147 | 1091900.2185 | 2715416.6566 | 1091904.9138 | 2715427.9605 | 1091913.9123 | 2715430.9645 | 1091914.5475 | 2715431.6145 | 1091914.4184
50 | 2715397.5787 | 1091905.986 | 2715403.0147 | 1091900.2185
51 | 2715403.0147 | 1091900.2185 | 2715409.2022 | 1091893.2533 | 2715442.9953 | 1091857.9034 | 2715448.6988 | 1091858.879 | 2715476.2543 | 1091882.5405 | 2715482.6337 | 1091890.378 | 2715487.3608 | 1091897.8507
52 | 2715397.5787 | 1091905.986 | 2715388.3885 | 1091915.8861
53 | 2715487.3608 | 1091897.8507 | 2715492.1266 | 1091909.8161 | 2715495.0255 | 1091919.2442 | 2715496.4155 | 1091928.1101 | 2715497.1946 | 1091936.0748 | 2715497.1395 | 1091943.0563 | 2715490.1768 | 1092020.2106 | 2715490.4949 | 1092024.9836
54 | 2715388.3885 | 1091915.8861 | 2715386.371 | 1091918.0595 | 2715386.0057 | 1091918.4279
55 | 2715491.1361 | 1092034.6053 | 2715490.4949 | 1092024.9836
56 | 2715377.518 | 1091926.9867 | 2715386.0057 | 1091918.4279
57 | 2715491.1361 | 1092034.6053 | 2715492.4929 | 1092055.0118 | 2715493.5042 | 1092066.3716
58 | 2715493.5042 | 1092066.3716 | 2715494.0525 | 1092072.5318
59 | 2715497.0358 | 1092106.0442 | 2715494.0525 | 1092072.5318
60 | 2715497.0358 | 1092106.0442 | 2715497.2271 | 1092108.7336
61 | 2715498.3794 | 1092124.9342 | 2715497.2271 | 1092108.7336
62 | 2715377.518 | 1091926.9867 | 2715399.1854 | 1091951.2365
63 | 2715377.518 | 1091926.9867 | 2715359.119 | 1091943.7155
64 | 2715362.0931 | 1091961.2023 | 2715369.3622 | 1091970.2547
65 | 2715369.3622 | 1091970.2547 | 2715371.5892 | 1091973.0281 | 2715371.5892 | 1091973.0281
66 | 2715384.3747 | 1091962.6977 | 2715371.5892 | 1091973.0281

## bus_geodata
| x | y | coords
0 | 2715229.3991 | 1092141.1545
1 | 2715264.1541 | 1092125.3014
2 | 2715284.6863 | 1092125.4188
3 | 2715367.1315 | 1092049.8186
4 | 2715353.1904 | 1092016.7566
5 | 2715332.6233 | 1092090.2605
6 | 2715376.7009 | 1092044.3963
7 | 2715315.2786 | 1092152.8508
8 | 2715244.0011 | 1092146.6643
9 | 2715326.2826 | 1092146.9887
10 | 2715357.4841 | 1092136.1728
11 | 2715212.7072 | 1092152.863
12 | 2715261.3795 | 1092258.5726
13 | 2715252.5769 | 1092262.6491
14 | 2715240.999 | 1092236.0315
15 | 2715401.5784 | 1092082.4944
16 | 2715384.1696 | 1092055.8341
17 | 2715444.4226 | 1092078.3524
18 | 2715190.8723 | 1092072.3744
19 | 2715218.2506 | 1092060.5636
20 | 2715174.9991 | 1092079.0872
21 | 2715235.7285 | 1092050.9286
22 | 2715151.6273 | 1092028.1431
23 | 2715334.0804 | 1091964.8002
24 | 2715290.4721 | 1092011.6503
25 | 2715260.6418 | 1092033.1313
26 | 2715133.0245 | 1091981.6369
27 | 2715185.2317 | 1092013.2228
28 | 2715352.7219 | 1091949.532
29 | 2715324.6197 | 1091929.3409
30 | 2715233.6961 | 1091853.5768
31 | 2715227.8163 | 1091822.68
32 | 2715316.3597 | 1091869.3987
33 | 2715316.6071 | 1091876.7003
34 | 2715347.3536 | 1091912.0982
35 | 2715226.0071 | 1091809.6519
36 | 2715207.9568 | 1091747.2833
37 | 2715206.6684 | 1091740.3986
38 | 2715220.0773 | 1091752.0939
39 | 2715224.8857 | 1091646.8793
40 | 2715178.6388 | 1091716.2958
41 | 2715434.296 | 1092049.2815
42 | 2715443.7733 | 1092002.3064
43 | 2715428.2858 | 1092010.2397
44 | 2715473.2556 | 1091968.2351
45 | 2715406.2508 | 1092024.1144
46 | 2715431.6145 | 1091914.4184
47 | 2715403.0147 | 1091900.2185
48 | 2715397.5787 | 1091905.986
49 | 2715487.3608 | 1091897.8507
50 | 2715388.3885 | 1091915.8861
51 | 2715490.4949 | 1092024.9836
52 | 2715386.0057 | 1091918.4279
53 | 2715491.1361 | 1092034.6053
54 | 2715493.5042 | 1092066.3716
55 | 2715494.0525 | 1092072.5318
56 | 2715497.0358 | 1092106.0442
57 | 2715497.2271 | 1092108.7336
58 | 2715498.3794 | 1092124.9342
59 | 2715450.1934 | 1092077.7945
60 | 2715350.77 | 1091909.507
61 | 2715377.518 | 1091926.9867
62 | 2715399.1854 | 1091951.2365
63 | 2715359.119 | 1091943.7155
64 | 2715362.0931 | 1091961.2023
65 | 2715369.3622 | 1091970.2547
66 | 2715371.5892 | 1091973.0281
67 | 2715384.3747 | 1091962.6977
68 | 2715268.6507 | 1091965.6607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1