## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5187-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5187-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5187-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5187-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5187-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5187-5_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5187-5_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5187-5_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5187-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5187-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5187-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5187-5_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5187-5_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5187-5_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5187-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5187-5_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5187-5_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_5187-5_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5187-5_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5187-5_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5187-5_0_3_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_5187-5_0_3_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_5187-5_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5187-5_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5187-5_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5187-5_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_5187-5_0_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5187-5_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5187-5_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_5187-5_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5187-5_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5187-5_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5187-5_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5187-5_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5187-5_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5187-5_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5187-5_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5187-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5187-5_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5187-5_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5187-5_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5187-5_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5187-5_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5187-5_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5187-5_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5187-5_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5187-5_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5187-5_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5187-5_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5187-5_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5187-5_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5187-5_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5187-5_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5187-5_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_5187-5_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_5187-5_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5187-5_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5187-5_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5187-5_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5187-5_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5187-5_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5187-5_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5187-5_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5187-5_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5187-5_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_5187-5_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_5187-5_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5187-5_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5187-5_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5187-5_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5187-5_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5187-5_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_247_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5187-5_0_3_load_0 | 0 | 0.0029024 | 0.00072741 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5187-5_0_3_load_1 | 1 | 0.0026189 | 0.00065635 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5187-5_0_3_load_2 | 2 | 0.002531 | 0.00063433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5187-5_0_3_load_14 | 6 | 0.002635 | 0.00066039 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5187-5_0_3_load_10 | 7 | 0.004612 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5187-5_0_3_load_5 | 8 | 0.0053971 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5187-5_0_3_load_8 | 10 | 0.0055961 | 0.0014025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5187-5_0_3_load_9 | 11 | 0.0058134 | 0.001457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5187-5_0_3_load_12 | 12 | 0.0029189 | 0.00073156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5187-5_0_3_load_18 | 13 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5187-5_0_3_load_11 | 14 | 0.0031306 | 0.0007846 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5187-5_0_3_load_13 | 15 | 0.0080778 | 0.0020245 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5187-5_0_3_load_15 | 17 | 0.0020214 | 0.00050662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5187-5_0_3_load_16 | 18 | 0.0027404 | 0.00068681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5187-5_0_3_load_17 | 19 | 0.0031355 | 0.00078584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5187-5_0_3_load_58 | 20 | 0.0034234 | 0.00085799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5187-5_0_3_load_59 | 21 | 0.0025592 | 0.00064139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5187-5_0_3_load_20 | 23 | 0.0067038 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5187-5_0_3_load_21 | 24 | 0.006353 | 0.0015922 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5187-5_0_3_load_32 | 25 | 0.0076091 | 0.001907 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5187-5_0_3_load_53 | 26 | 0.0060518 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5187-5_0_3_load_54 | 28 | 0.0048593 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5187-5_0_3_load_22 | 29 | 0.011705 | 0.0029336 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5187-5_0_3_load_23 | 30 | 0.0065483 | 0.0016412 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5187-5_0_3_load_25 | 32 | 0.0028766 | 0.00072095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5187-5_0_3_load_26 | 33 | 0.012729 | 0.0031903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5187-5_0_3_load_27 | 35 | 0.0085539 | 0.0021438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5187-5_0_3_load_28 | 37 | 0.0079512 | 0.0019927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5187-5_0_3_load_34 | 38 | 0.0058781 | 0.0014732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5187-5_0_3_load_33 | 39 | 0.0036154 | 0.0009061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5187-5_0_3_load_43 | 40 | 0.0077342 | 0.0019384 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5187-5_0_3_load_41 | 41 | 0.010854 | 0.0027202 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5187-5_0_3_load_49 | 44 | 0.0044316 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5187-5_0_3_load_36 | 45 | 0.014644 | 0.0036701 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5187-5_0_3_load_37 | 46 | 0.0032371 | 0.0008113 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5187-5_0_3_load_38 | 47 | 0.0067017 | 0.0016796 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5187-5_0_3_load_39 | 48 | 0.0068916 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5187-5_0_3_load_44 | 50 | 0.0064424 | 0.0016146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5187-5_0_3_load_45 | 51 | 0.0047402 | 0.001188 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5187-5_0_3_load_47 | 52 | 0.0044425 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5187-5_0_3_load_48 | 53 | 0.0027971 | 0.00070103 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5187-5_0_3_load_69 | 54 | 0.010751 | 0.0026945 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5187-5_0_3_load_51 | 55 | 0.0043257 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5187-5_0_3_load_50 | 57 | 0.0038274 | 0.00095923 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5187-5_0_3_load_52 | 58 | 0.0016456 | 0.00041243 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5187-5_0_3_load_55 | 59 | 0.0053918 | 0.0013513 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5187-5_0_3_load_56 | 60 | 0.0048181 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5187-5_0_3_load_57 | 61 | 0.0037932 | 0.00095066 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5187-5_0_3_load_64 | 63 | 0.0055197 | 0.0013834 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5187-5_0_3_load_62 | 64 | 0.004885 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5187-5_0_3_load_61 | 65 | 0.0034997 | 0.0008771 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5187-5_0_3_load_66 | 67 | 0.0035358 | 0.00088614 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5187-5_0_3_load_67 | 68 | 0.0037967 | 0.00095154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5187-5_0_3_load_72 | 71 | 0.0034159 | 0.00085609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5187-5_0_3_line_0 |  | 0 | 1 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5187-5_0_3_line_1 |  | 0 | 2 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5187-5_0_3_line_2 |  | 1 | 3 | 0.016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5187-5_0_3_line_3 |  | 3 | 4 | 0.003668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5187-5_0_3_line_4 |  | 4 | 5 | 0.02483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5187-5_0_3_line_5 |  | 4 | 6 | 0.029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5187-5_0_3_line_6 |  | 5 | 7 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5187-5_0_3_line_7 |  | 5 | 8 | 0.0066251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5187-5_0_3_line_8 |  | 7 | 14 | 0.0060447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5187-5_0_3_line_9 |  | 8 | 9 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5187-5_0_3_line_10 |  | 9 | 10 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5187-5_0_3_line_11 |  | 9 | 11 | 0.0068687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5187-5_0_3_line_12 |  | 10 | 12 | 0.0094115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5187-5_0_3_line_13 |  | 11 | 13 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5187-5_0_3_line_14 |  | 12 | 15 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5187-5_0_3_line_15 |  | 13 | 16 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5187-5_0_3_line_16 |  | 15 | 17 | 0.0070135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5187-5_0_3_line_17 |  | 16 | 23 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5187-5_0_3_line_18 |  | 16 | 24 | 0.019905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5187-5_0_3_line_19 |  | 17 | 18 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5187-5_0_3_line_20 |  | 18 | 19 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5187-5_0_3_line_21 |  | 19 | 20 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5187-5_0_3_line_22 |  | 20 | 21 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5187-5_0_3_line_23 |  | 20 | 22 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5187-5_0_3_line_24 |  | 22 | 62 | 0.026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5187-5_0_3_line_25 |  | 23 | 25 | 0.0022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5187-5_0_3_line_26 |  | 24 | 26 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5187-5_0_3_line_27 |  | 25 | 27 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5187-5_0_3_line_28 |  | 26 | 28 | 0.00037619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5187-5_0_3_line_29 |  | 27 | 34 | 0.003888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5187-5_0_3_line_30 |  | 28 | 59 | 0.0010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5187-5_0_3_line_31 |  | 29 | 30 | 0.027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5187-5_0_3_line_32 |  | 29 | 31 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5187-5_0_3_line_33 |  | 30 | 32 | 0.0042386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5187-5_0_3_line_34 |  | 31 | 33 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5187-5_0_3_line_35 |  | 32 | 34 | 0.032546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5187-5_0_3_line_36 |  | 33 | 35 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5187-5_0_3_line_37 |  | 34 | 36 | 0.006485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5187-5_0_3_line_38 |  | 35 | 37 | 0.031998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5187-5_0_3_line_39 |  | 36 | 40 | 0.037578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5187-5_0_3_line_40 |  | 37 | 38 | 0.052857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5187-5_0_3_line_41 |  | 38 | 39 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5187-5_0_3_line_42 |  | 41 | 42 | 0.036525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5187-5_0_3_line_43 |  | 42 | 43 | 0.035487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5187-5_0_3_line_44 |  | 42 | 47 | 0.040725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5187-5_0_3_line_45 |  | 43 | 44 | 0.022027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5187-5_0_3_line_46 |  | 44 | 49 | 0.0015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5187-5_0_3_line_47 |  | 45 | 46 | 0.0021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5187-5_0_3_line_48 |  | 45 | 47 | 0.049241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5187-5_0_3_line_49 |  | 46 | 48 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5187-5_0_3_line_50 |  | 49 | 53 | 0.0095928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5187-5_0_3_line_51 |  | 49 | 50 | 0.025626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5187-5_0_3_line_52 |  | 50 | 51 | 0.0090227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5187-5_0_3_line_53 |  | 51 | 52 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5187-5_0_3_line_54 |  | 52 | 54 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5187-5_0_3_line_55 |  | 53 | 55 | 0.0057761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5187-5_0_3_line_56 |  | 54 | 56 | 0.028733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5187-5_0_3_line_57 |  | 55 | 57 | 0.0045911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5187-5_0_3_line_58 |  | 56 | 70 | 0.04972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5187-5_0_3_line_59 |  | 56 | 69 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5187-5_0_3_line_60 |  | 57 | 58 | 0.0069557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5187-5_0_3_line_61 |  | 59 | 60 | 0.025095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5187-5_0_3_line_62 |  | 60 | 61 | 0.0017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5187-5_0_3_line_63 |  | 62 | 63 | 0.032684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5187-5_0_3_line_64 |  | 62 | 64 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5187-5_0_3_line_65 |  | 63 | 66 | 0.025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5187-5_0_3_line_66 |  | 64 | 65 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5187-5_0_3_line_67 |  | 66 | 67 | 0.0016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5187-5_0_3_line_68 |  | 67 | 68 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5187-5_0_3_line_69 |  | 68 | 69 | 0.0036321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5187-5_0_3_line_70 |  | 70 | 71 | 0.044835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5187-5_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 72 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2714668.1488 | 1099718.0528 | 2714670.1154 | 1099738.5099
1 | 2714666.3682 | 1099699.5294 | 2714668.1488 | 1099718.0528
2 | 2714671.6557 | 1099754.5332 | 2714670.1154 | 1099738.5099
3 | 2714675.1392 | 1099753.3537 | 2714671.6557 | 1099754.5332
4 | 2714675.1392 | 1099753.3537 | 2714676.4327 | 1099752.9222 | 2714683.1337 | 1099751.1142 | 2714689.2314 | 1099750.0952 | 2714695.4899 | 1099749.5797 | 2714699.625 | 1099749.5688
5 | 2714675.1392 | 1099753.3537 | 2714664.5431 | 1099781.2756
6 | 2714699.625 | 1099749.5688 | 2714694.2884 | 1099768.7858
7 | 2714699.625 | 1099749.5688 | 2714701.739 | 1099749.5643 | 2714706.2466 | 1099749.7413
8 | 2714692.6709 | 1099774.6101 | 2714694.2884 | 1099768.7858
9 | 2714722.4676 | 1099750.3784 | 2714706.2466 | 1099749.7413
10 | 2714722.4676 | 1099750.3784 | 2714718.0486 | 1099765.979
11 | 2714722.4676 | 1099750.3784 | 2714729.294 | 1099751.1399
12 | 2714715.4836 | 1099775.0342 | 2714718.0486 | 1099765.979
13 | 2714744.6072 | 1099752.8481 | 2714729.294 | 1099751.1399
14 | 2714711.2818 | 1099789.8677 | 2714715.4836 | 1099775.0342
15 | 2714763.3784 | 1099753.4753 | 2714746.4675 | 1099753.0556 | 2714744.6072 | 1099752.8481
16 | 2714711.2818 | 1099789.8677 | 2714709.3704 | 1099796.6157
17 | 2714763.3784 | 1099753.4753 | 2714770.0733 | 1099753.6352 | 2714774.0094 | 1099753.498
18 | 2714763.3784 | 1099753.4753 | 2714760.8941 | 1099773.2246
19 | 2714705.2469 | 1099811.1747 | 2714705.269 | 1099811.0949 | 2714709.3704 | 1099796.6157
20 | 2714699.7068 | 1099831.2384 | 2714705.2469 | 1099811.1747
21 | 2714694.231 | 1099851.0692 | 2714699.7068 | 1099831.2384
22 | 2714694.231 | 1099851.0692 | 2714682.5846 | 1099848.0278
23 | 2714691.1143 | 1099862.3513 | 2714694.231 | 1099851.0692
24 | 2714691.1143 | 1099862.3513 | 2714716.145 | 1099870.2737
25 | 2714774.0094 | 1099753.498 | 2714776.2721 | 1099753.4192
26 | 2714760.8941 | 1099773.2246 | 2714758.2219 | 1099794.4682
27 | 2714802.5542 | 1099752.5036 | 2714776.2721 | 1099753.4192
28 | 2714758.2219 | 1099794.4682 | 2714758.1749 | 1099794.8415
29 | 2714802.5542 | 1099752.5036 | 2714800.2047 | 1099749.4015
30 | 2714758.1749 | 1099794.8415 | 2714758.039 | 1099795.922
31 | 2714774.9785 | 1099690.5404 | 2714777.2908 | 1099697.4667 | 2714785.356 | 1099715.7466
32 | 2714772.1921 | 1099677.1789 | 2714772.9476 | 1099681.863 | 2714774.2203 | 1099688.2692 | 2714774.9785 | 1099690.5404
33 | 2714787.067 | 1099719.6245 | 2714785.356 | 1099715.7466
34 | 2714772.1921 | 1099677.1789 | 2714790.3837 | 1099675.8172
35 | 2714800.2047 | 1099749.4015 | 2714787.067 | 1099719.6245
36 | 2714790.3837 | 1099675.8172 | 2714806.466 | 1099674.6135 | 2714810.5148 | 1099673.4336 | 2714814.0846 | 1099671.3775 | 2714815.6142 | 1099670.3099
37 | 2714806.4418 | 1099747.5626 | 2714800.2047 | 1099749.4015
38 | 2714815.6142 | 1099670.3099 | 2714841.8532 | 1099651.9965
39 | 2714806.4418 | 1099747.5626 | 2714828.2276 | 1099739.1574 | 2714829.744 | 1099737.585 | 2714830.5795 | 1099735.9886 | 2714830.7325 | 1099734.446 | 2714828.2275 | 1099726.0596
40 | 2714841.8532 | 1099651.9965 | 2714893.7682 | 1099642.0638
41 | 2714893.7682 | 1099642.0638 | 2714895.301 | 1099658.6676
42 | 2714865.7361 | 1099795.2155 | 2714840.0248 | 1099777.0061 | 2714836.1477 | 1099773.8189
43 | 2714837.8012 | 1099781.9896 | 2714862.7155 | 1099799.3501 | 2714865.7361 | 1099795.2155
44 | 2714865.7361 | 1099795.2155 | 2714868.2436 | 1099790.7821 | 2714869.2759 | 1099785.3313 | 2714872.7647 | 1099767.9076 | 2714876.2652 | 1099756.101
45 | 2714837.8012 | 1099781.9896 | 2714836.21 | 1099785.8733 | 2714831.8439 | 1099803.1602
46 | 2714831.456 | 1099804.6962 | 2714831.8439 | 1099803.1602
47 | 2714868.5431 | 1099720.2679 | 2714866.7478 | 1099719.1226
48 | 2714868.5431 | 1099720.2679 | 2714887.8432 | 1099732.5799 | 2714879.8121 | 1099746.1594 | 2714877.7769 | 1099751.002 | 2714876.2652 | 1099756.101
49 | 2714852.4577 | 1099710.0067 | 2714866.7478 | 1099719.1226
50 | 2714831.456 | 1099804.6962 | 2714822.0842 | 1099802.6486
51 | 2714831.456 | 1099804.6962 | 2714825.1776 | 1099829.5409
52 | 2714825.1776 | 1099829.5409 | 2714822.9671 | 1099838.2886
53 | 2714817.7738 | 1099858.8397 | 2714822.9671 | 1099838.2886
54 | 2714817.7738 | 1099858.8397 | 2714814.7183 | 1099870.931
55 | 2714816.4412 | 1099801.4157 | 2714822.0842 | 1099802.6486
56 | 2714807.6786 | 1099898.7885 | 2714814.7183 | 1099870.931
57 | 2714811.9559 | 1099800.4357 | 2714816.4412 | 1099801.4157
58 | 2714807.6786 | 1099898.7885 | 2714855.3223 | 1099913.4767
59 | 2714807.6786 | 1099898.7885 | 2714797.7648 | 1099895.6547
60 | 2714805.1605 | 1099798.951 | 2714811.9559 | 1099800.4357
61 | 2714754.2481 | 1099820.7112 | 2714755.9428 | 1099812.5861 | 2714758.039 | 1099795.922
62 | 2714753.8823 | 1099822.465 | 2714754.2481 | 1099820.7112
63 | 2714716.145 | 1099870.2737 | 2714747.3076 | 1099880.1297
64 | 2714716.145 | 1099870.2737 | 2714719.4992 | 1099859.0354
65 | 2714772.041 | 1099887.9524 | 2714747.3076 | 1099880.1297
66 | 2714725.7915 | 1099837.9529 | 2714719.4992 | 1099859.0354
67 | 2714772.041 | 1099887.9524 | 2714773.6458 | 1099888.4329
68 | 2714773.6458 | 1099888.4329 | 2714794.2853 | 1099894.6128
69 | 2714797.7648 | 1099895.6547 | 2714794.2853 | 1099894.6128
70 | 2714855.3223 | 1099913.4767 | 2714868.2678 | 1099878.7312 | 2714873.0857 | 1099872.6532

## bus_geodata
| x | y | coords
0 | 2714668.1488 | 1099718.0528
1 | 2714670.1154 | 1099738.5099
2 | 2714666.3682 | 1099699.5294
3 | 2714671.6557 | 1099754.5332
4 | 2714675.1392 | 1099753.3537
5 | 2714699.625 | 1099749.5688
6 | 2714664.5431 | 1099781.2756
7 | 2714694.2884 | 1099768.7858
8 | 2714706.2466 | 1099749.7413
9 | 2714722.4676 | 1099750.3784
10 | 2714718.0486 | 1099765.979
11 | 2714729.294 | 1099751.1399
12 | 2714715.4836 | 1099775.0342
13 | 2714744.6072 | 1099752.8481
14 | 2714692.6709 | 1099774.6101
15 | 2714711.2818 | 1099789.8677
16 | 2714763.3784 | 1099753.4753
17 | 2714709.3704 | 1099796.6157
18 | 2714705.2469 | 1099811.1747
19 | 2714699.7068 | 1099831.2384
20 | 2714694.231 | 1099851.0692
21 | 2714682.5846 | 1099848.0278
22 | 2714691.1143 | 1099862.3513
23 | 2714774.0094 | 1099753.498
24 | 2714760.8941 | 1099773.2246
25 | 2714776.2721 | 1099753.4192
26 | 2714758.2219 | 1099794.4682
27 | 2714802.5542 | 1099752.5036
28 | 2714758.1749 | 1099794.8415
29 | 2714774.9785 | 1099690.5404
30 | 2714785.356 | 1099715.7466
31 | 2714772.1921 | 1099677.1789
32 | 2714787.067 | 1099719.6245
33 | 2714790.3837 | 1099675.8172
34 | 2714800.2047 | 1099749.4015
35 | 2714815.6142 | 1099670.3099
36 | 2714806.4418 | 1099747.5626
37 | 2714841.8532 | 1099651.9965
38 | 2714893.7682 | 1099642.0638
39 | 2714895.301 | 1099658.6676
40 | 2714828.2275 | 1099726.0596
41 | 2714836.1477 | 1099773.8189
42 | 2714865.7361 | 1099795.2155
43 | 2714837.8012 | 1099781.9896
44 | 2714831.8439 | 1099803.1602
45 | 2714868.5431 | 1099720.2679
46 | 2714866.7478 | 1099719.1226
47 | 2714876.2652 | 1099756.101
48 | 2714852.4577 | 1099710.0067
49 | 2714831.456 | 1099804.6962
50 | 2714825.1776 | 1099829.5409
51 | 2714822.9671 | 1099838.2886
52 | 2714817.7738 | 1099858.8397
53 | 2714822.0842 | 1099802.6486
54 | 2714814.7183 | 1099870.931
55 | 2714816.4412 | 1099801.4157
56 | 2714807.6786 | 1099898.7885
57 | 2714811.9559 | 1099800.4357
58 | 2714805.1605 | 1099798.951
59 | 2714758.039 | 1099795.922
60 | 2714754.2481 | 1099820.7112
61 | 2714753.8823 | 1099822.465
62 | 2714716.145 | 1099870.2737
63 | 2714747.3076 | 1099880.1297
64 | 2714719.4992 | 1099859.0354
65 | 2714725.7915 | 1099837.9529
66 | 2714772.041 | 1099887.9524
67 | 2714773.6458 | 1099888.4329
68 | 2714794.2853 | 1099894.6128
69 | 2714797.7648 | 1099895.6547
70 | 2714855.3223 | 1099913.4767
71 | 2714873.0857 | 1099872.6532
72 | 2714763.3784 | 1099753.4753

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1