## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-101_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_5192-101_1_4_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_5192-101_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5192-101_1_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5192-101_1_4_node_92 | 0.4 | n |  | TRUE
5 | bus_LV_5192-101_1_4_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_5192-101_1_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5192-101_1_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5192-101_1_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5192-101_1_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5192-101_1_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5192-101_1_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_5192-101_1_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5192-101_1_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5192-101_1_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5192-101_1_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5192-101_1_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5192-101_1_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5192-101_1_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_5192-101_1_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_5192-101_1_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_5192-101_1_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5192-101_1_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5192-101_1_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_5192-101_1_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5192-101_1_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5192-101_1_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5192-101_1_4_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_5192-101_1_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5192-101_1_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5192-101_1_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5192-101_1_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_5192-101_1_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5192-101_1_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_5192-101_1_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5192-101_1_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5192-101_1_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5192-101_1_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5192-101_1_4_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_5192-101_1_4_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_5192-101_1_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_5192-101_1_4_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_5192-101_1_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_5192-101_1_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5192-101_1_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_5192-101_1_4_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_5192-101_1_4_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5192-101_1_4_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_5192-101_1_4_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_5192-101_1_4_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_5192-101_1_4_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_5192-101_1_4_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_5192-101_1_4_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_5192-101_1_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_5192-101_1_4_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_5192-101_1_4_node_101 | 0.4 | n |  | TRUE
56 | bus_MV_249_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-101_1_4_load_5 | 0 | 0.0063832 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-101_1_4_load_6 | 1 | 0.0059845 | 0.0014998 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-101_1_4_load_7 | 2 | 0.0053216 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-101_1_4_load_9 | 3 | 0.0048697 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-101_1_4_load_92 | 4 | 0.0082634 | 0.002071 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-101_1_4_load_91 | 5 | 0.00056597 | 0.00014185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-101_1_4_load_16 | 8 | 0.0098323 | 0.0024642 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-101_1_4_load_10 | 9 | 0.01259 | 0.0031552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-101_1_4_load_11 | 10 | 0.0088574 | 0.0022199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-101_1_4_load_12 | 11 | 0.007848 | 0.0019669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-101_1_4_load_13 | 12 | 0.0088339 | 0.002214 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-101_1_4_load_14 | 13 | 0.026274 | 0.0065849 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-101_1_4_load_68 | 14 | 0.0092143 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-101_1_4_load_69 | 16 | 0.0087419 | 0.0021909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-101_1_4_load_51 | 18 | 0.0038247 | 0.00095857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-101_1_4_load_37 | 19 | 0.0068141 | 0.0017078 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-101_1_4_load_20 | 21 | 0.012655 | 0.0031716 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-101_1_4_load_30 | 22 | 0.0056311 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-101_1_4_load_28 | 23 | 0.0092785 | 0.0023254 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-101_1_4_load_38 | 25 | 0.0091974 | 0.0023051 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-101_1_4_load_21 | 26 | 0.015538 | 0.0038941 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-101_1_4_load_105 | 27 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-101_1_4_load_22 | 28 | 0.0059375 | 0.0014881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-101_1_4_load_24 | 29 | 0.0052882 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-101_1_4_load_25 | 30 | 0.0091841 | 0.0023017 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-101_1_4_load_66 | 31 | 0.020824 | 0.005219 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-101_1_4_load_26 | 32 | 0.005737 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-101_1_4_load_47 | 34 | 0.021516 | 0.0053924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-101_1_4_load_36 | 35 | 0.013222 | 0.0033139 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-101_1_4_load_34 | 37 | 0.0062115 | 0.0015568 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-101_1_4_load_106 | 38 | 0.0056244 | 0.0014096 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-101_1_4_load_67 | 40 | 0.0030832 | 0.00077271 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-101_1_4_load_61 | 41 | 0.0089202 | 0.0022356 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-101_1_4_load_71 | 42 | 0.0049733 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-101_1_4_load_62 | 43 | 0.0072291 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-101_1_4_load_65 | 44 | 0.012177 | 0.0030518 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-101_1_4_load_70 | 45 | 0.012268 | 0.0030747 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-101_1_4_load_100 | 47 | 0.0014344 | 0.0003595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-101_1_4_load_107 | 48 | 0.0015418 | 0.0003864 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-101_1_4_load_98 | 49 | 0.0014312 | 0.0003587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-101_1_4_load_111 | 50 | 0.0029364 | 0.00073594 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-101_1_4_load_96 | 51 | 0.0044712 | 0.0011206 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-101_1_4_load_97 | 52 | 0.0014849 | 0.00037215 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-101_1_4_load_99 | 53 | 0.0014864 | 0.00037252 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-101_1_4_load_102 | 54 | 0.0015005 | 0.00037605 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-101_1_4_load_101 | 55 | 0.0090992 | 0.0022805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-101_1_4_line_0 |  | 0 | 1 | 0.037076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-101_1_4_line_1 |  | 0 | 2 | 0.0049179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-101_1_4_line_2 |  | 2 | 3 | 0.031587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-101_1_4_line_3 |  | 2 | 4 | 0.079643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-101_1_4_line_4 |  | 3 | 6 | 0.009995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-101_1_4_line_5 |  | 4 | 5 | 0.0494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-101_1_4_line_6 |  | 5 | 39 | 0.085387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-101_1_4_line_7 |  | 6 | 7 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-101_1_4_line_8 |  | 6 | 8 | 0.044842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-101_1_4_line_9 |  | 7 | 22 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-101_1_4_line_10 |  | 7 | 23 | 0.092415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-101_1_4_line_11 |  | 8 | 15 | 0.028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-101_1_4_line_12 |  | 9 | 10 | 0.0072793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-101_1_4_line_13 |  | 9 | 11 | 0.03569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-101_1_4_line_14 |  | 10 | 12 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-101_1_4_line_15 |  | 11 | 13 | 0.027394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-101_1_4_line_16 |  | 12 | 14 | 0.0034249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-101_1_4_line_17 |  | 13 | 15 | 0.025643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-101_1_4_line_18 |  | 14 | 16 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-101_1_4_line_19 |  | 15 | 17 | 0.001034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5192-101_1_4_line_20 |  | 16 | 45 | 0.044856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-101_1_4_line_21 |  | 17 | 21 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5192-101_1_4_line_22 |  | 18 | 19 | 0.056087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-101_1_4_line_23 |  | 18 | 20 | 0.024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5192-101_1_4_line_24 |  | 19 | 24 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-101_1_4_line_25 |  | 20 | 33 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5192-101_1_4_line_26 |  | 20 | 34 | 0.025215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-101_1_4_line_27 |  | 20 | 35 | 0.045227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-101_1_4_line_28 |  | 21 | 26 | 0.027514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5192-101_1_4_line_29 |  | 22 | 27 | 0.0029131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-101_1_4_line_30 |  | 24 | 25 | 0.051604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5192-101_1_4_line_31 |  | 25 | 31 | 0.046325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-101_1_4_line_32 |  | 26 | 28 | 0.0033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5192-101_1_4_line_33 |  | 27 | 38 | 0.0084995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-101_1_4_line_34 |  | 28 | 29 | 0.041015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5192-101_1_4_line_35 |  | 29 | 30 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-101_1_4_line_36 |  | 30 | 32 | 0.033663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-101_1_4_line_37 |  | 31 | 40 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-101_1_4_line_38 |  | 32 | 36 | 0.0159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-101_1_4_line_39 |  | 33 | 43 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-101_1_4_line_40 |  | 33 | 41 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-101_1_4_line_41 |  | 35 | 36 | 0.038764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-101_1_4_line_42 |  | 36 | 37 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-101_1_4_line_43 |  | 38 | 48 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-101_1_4_line_44 |  | 39 | 46 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-101_1_4_line_45 |  | 40 | 44 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-101_1_4_line_46 |  | 41 | 42 | 0.094062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-101_1_4_line_47 |  | 46 | 50 | 0.032487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-101_1_4_line_48 |  | 47 | 48 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-101_1_4_line_49 |  | 47 | 49 | 0.02045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-101_1_4_line_50 |  | 49 | 51 | 0.0063732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-101_1_4_line_51 |  | 51 | 52 | 0.0043813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-101_1_4_line_52 |  | 52 | 53 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-101_1_4_line_53 |  | 53 | 54 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-101_1_4_line_54 |  | 54 | 55 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-101_1_4_trafo_20 | 0.63 MVA 20/0.4 kV | 56 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2719693.8569 | 1095655.8738 | 2719686.6236 | 1095652.2373 | 2719675.8583 | 1095649.2122 | 2719664.7106 | 1095647.5027 | 2719658.1963 | 1095647.7676
1 | 2719693.8569 | 1095655.8738 | 2719698.2507 | 1095658.0828
2 | 2719698.2507 | 1095658.0828 | 2719706.8565 | 1095662.4094 | 2719720.8412 | 1095673.5036 | 2719723.7111 | 1095676.4375
3 | 2719743.9157 | 1095592.8315 | 2719698.2507 | 1095658.0828
4 | 2719730.7003 | 1095683.5825 | 2719723.7111 | 1095676.4375
5 | 2719792.9469 | 1095598.0607 | 2719790.8024 | 1095597.7175 | 2719770.9638 | 1095594.2687 | 2719756.0606 | 1095593.2078 | 2719743.9157 | 1095592.8315
6 | 2719828.5727 | 1095597.9619 | 2719823.7315 | 1095598.2668 | 2719808.6904 | 1095588.8749 | 2719807.9546 | 1095591.2176 | 2719816.6094 | 1095597.1367 | 2719818.8536 | 1095600.0385 | 2719795.2214 | 1095591.7115 | 2719794.219 | 1095593.8154 | 2719802.0355 | 1095599.4178 | 2719798.7276 | 1095598.9857 | 2719792.9469 | 1095598.0607
7 | 2719730.7003 | 1095683.5825 | 2719750.6556 | 1095705.4686
8 | 2719730.7003 | 1095683.5825 | 2719727.4053 | 1095686.8199 | 2719721.2701 | 1095680.4391 | 2719713.7923 | 1095691.077 | 2719718.429 | 1095698.3957 | 2719717.1047 | 1095708.0085
9 | 2719750.6556 | 1095705.4686 | 2719758.7392 | 1095695.9433 | 2719761.202 | 1095694.4352 | 2719763.9758 | 1095693.656 | 2719763.9758 | 1095693.656
10 | 2719750.6556 | 1095705.4686 | 2719760.3648 | 1095715.2889 | 2719767.5923 | 1095721.2799 | 2719773.9533 | 1095725.2413 | 2719781.6637 | 1095729.5406 | 2719791.7676 | 1095733.876 | 2719830.8063 | 1095747.5548 | 2719831.3051 | 1095747.75
11 | 2719713.8235 | 1095735.5086 | 2719716.8793 | 1095729.4646 | 2719715.6532 | 1095718.544 | 2719717.1047 | 1095708.0085
12 | 2719635.7613 | 1095703.9942 | 2719628.6237 | 1095705.4234
13 | 2719635.7613 | 1095703.9942 | 2719652.3427 | 1095700.6741 | 2719665.8107 | 1095702.5961 | 2719670.0607 | 1095705.5485
14 | 2719589.075 | 1095706.909 | 2719596.8161 | 1095707.7644 | 2719621.2489 | 1095706.9 | 2719628.6237 | 1095705.4234
15 | 2719670.0607 | 1095705.5485 | 2719692.5588 | 1095721.1774
16 | 2719589.075 | 1095706.909 | 2719585.6708 | 1095706.5328
17 | 2719713.8235 | 1095735.5086 | 2719694.0782 | 1095722.2329 | 2719692.5588 | 1095721.1774
18 | 2719585.6708 | 1095706.5328 | 2719571.7187 | 1095704.9911 | 2719562.201 | 1095704.3091
19 | 2719713.8235 | 1095735.5086 | 2719714.4504 | 1095736.3327
20 | 2719562.201 | 1095704.3091 | 2719543.9094 | 1095702.9984 | 2719527.946 | 1095701.8838 | 2719517.5272 | 1095703.303
21 | 2719714.4504 | 1095736.3327 | 2719722.0655 | 1095743.3543
22 | 2719759.1216 | 1095842.2165 | 2719736.869 | 1095790.7323
23 | 2719783.2914 | 1095843.8858 | 2719759.1216 | 1095842.2165
24 | 2719723.9334 | 1095788.3001 | 2719736.869 | 1095790.7323
25 | 2719783.2914 | 1095843.8858 | 2719782.087 | 1095858.2054 | 2719781.1645 | 1095862.1566
26 | 2719783.2914 | 1095843.8858 | 2719807.7485 | 1095850.0225
27 | 2719783.2914 | 1095843.8858 | 2719800.0859 | 1095801.893
28 | 2719722.0655 | 1095743.3543 | 2719728.6207 | 1095749.3986 | 2719743.5542 | 1095760.4823
29 | 2719763.9758 | 1095693.656 | 2719766.8889 | 1095693.6801 | 2719766.8889 | 1095693.6801
30 | 2719723.9334 | 1095788.3001 | 2719673.3056 | 1095778.3083
31 | 2719629.1818 | 1095764.341 | 2719667.4186 | 1095777.1464 | 2719673.3056 | 1095778.3083
32 | 2719746.2551 | 1095762.487 | 2719743.5542 | 1095760.4823
33 | 2719766.8889 | 1095693.6801 | 2719769.6777 | 1095694.5022 | 2719774.9307 | 1095696.4196
34 | 2719783.7334 | 1095778.918 | 2719769.244 | 1095772.7149 | 2719748.9347 | 1095764.4758 | 2719746.2551 | 1095762.487
35 | 2719783.7334 | 1095778.918 | 2719788.0843 | 1095780.7806 | 2719793.9825 | 1095782.3549
36 | 2719826.5068 | 1095791.036 | 2719793.9825 | 1095782.3549
37 | 2719629.1818 | 1095764.341 | 2719607.4772 | 1095757.0722
38 | 2719838.8196 | 1095800.5275 | 2719829.9616 | 1095791.9581 | 2719826.5068 | 1095791.036
39 | 2719781.1645 | 1095862.1566 | 2719765.3108 | 1095861.5359
40 | 2719781.1645 | 1095862.1566 | 2719802.8539 | 1095864.116
41 | 2719838.8196 | 1095800.5275 | 2719803.5975 | 1095801.9677 | 2719800.0859 | 1095801.893
42 | 2719838.8196 | 1095800.5275 | 2719853.822 | 1095801.7408
43 | 2719774.9307 | 1095696.4196 | 2719786.5469 | 1095700.6594
44 | 2719842.4665 | 1095594.4111 | 2719841.2144 | 1095598.9674 | 2719840.4046 | 1095600.3412 | 2719838.803 | 1095601.3993 | 2719836.882 | 1095602.1509 | 2719834.8371 | 1095602.1105 | 2719831.9017 | 1095600.8629 | 2719828.5727 | 1095597.9619
45 | 2719589.5186 | 1095754.5729 | 2719603.0421 | 1095755.5869 | 2719607.4772 | 1095757.0722
46 | 2719802.8539 | 1095864.116 | 2719794.3052 | 1095957.7892
47 | 2719842.4665 | 1095594.4111 | 2719849.2843 | 1095596.4358 | 2719864.6455 | 1095600.9862 | 2719873.3832 | 1095604.3243
48 | 2719786.5469 | 1095700.6594 | 2719796.7884 | 1095704.3974
49 | 2719796.7884 | 1095704.3974 | 2719815.9991 | 1095711.4092
50 | 2719821.9861 | 1095713.5944 | 2719815.9991 | 1095711.4092
51 | 2719821.9861 | 1095713.5944 | 2719826.1018 | 1095715.0966
52 | 2719826.1018 | 1095715.0966 | 2719834.4702 | 1095718.151 | 2719841.9584 | 1095719.2204
53 | 2719841.9584 | 1095719.2204 | 2719852.7803 | 1095720.7658
54 | 2719866.8229 | 1095722.7713 | 2719852.7803 | 1095720.7658

## bus_geodata
| x | y | coords
0 | 2719693.8569 | 1095655.8738
1 | 2719658.1963 | 1095647.7676
2 | 2719698.2507 | 1095658.0828
3 | 2719723.7111 | 1095676.4375
4 | 2719743.9157 | 1095592.8315
5 | 2719792.9469 | 1095598.0607
6 | 2719730.7003 | 1095683.5825
7 | 2719750.6556 | 1095705.4686
8 | 2719717.1047 | 1095708.0085
9 | 2719635.7613 | 1095703.9942
10 | 2719628.6237 | 1095705.4234
11 | 2719670.0607 | 1095705.5485
12 | 2719589.075 | 1095706.909
13 | 2719692.5588 | 1095721.1774
14 | 2719585.6708 | 1095706.5328
15 | 2719713.8235 | 1095735.5086
16 | 2719562.201 | 1095704.3091
17 | 2719714.4504 | 1095736.3327
18 | 2719759.1216 | 1095842.2165
19 | 2719736.869 | 1095790.7323
20 | 2719783.2914 | 1095843.8858
21 | 2719722.0655 | 1095743.3543
22 | 2719763.9758 | 1095693.656
23 | 2719831.3051 | 1095747.75
24 | 2719723.9334 | 1095788.3001
25 | 2719673.3056 | 1095778.3083
26 | 2719743.5542 | 1095760.4823
27 | 2719766.8889 | 1095693.6801
28 | 2719746.2551 | 1095762.487
29 | 2719783.7334 | 1095778.918
30 | 2719793.9825 | 1095782.3549
31 | 2719629.1818 | 1095764.341
32 | 2719826.5068 | 1095791.036
33 | 2719781.1645 | 1095862.1566
34 | 2719807.7485 | 1095850.0225
35 | 2719800.0859 | 1095801.893
36 | 2719838.8196 | 1095800.5275
37 | 2719853.822 | 1095801.7408
38 | 2719774.9307 | 1095696.4196
39 | 2719828.5727 | 1095597.9619
40 | 2719607.4772 | 1095757.0722
41 | 2719802.8539 | 1095864.116
42 | 2719794.3052 | 1095957.7892
43 | 2719765.3108 | 1095861.5359
44 | 2719589.5186 | 1095754.5729
45 | 2719517.5272 | 1095703.303
46 | 2719842.4665 | 1095594.4111
47 | 2719796.7884 | 1095704.3974
48 | 2719786.5469 | 1095700.6594
49 | 2719815.9991 | 1095711.4092
50 | 2719873.3832 | 1095604.3243
51 | 2719821.9861 | 1095713.5944
52 | 2719826.1018 | 1095715.0966
53 | 2719841.9584 | 1095719.2204
54 | 2719852.7803 | 1095720.7658
55 | 2719866.8229 | 1095722.7713
56 | 2719714.4504 | 1095736.3327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1