## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-105_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-105_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-105_0_5_node_90 | 0.4 | n |  | TRUE
3 | bus_LV_5192-105_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5192-105_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-105_0_5_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_5192-105_0_5_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_5192-105_0_5_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_5192-105_0_5_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5192-105_0_5_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_5192-105_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_5192-105_0_5_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_5192-105_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5192-105_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5192-105_0_5_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5192-105_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5192-105_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5192-105_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5192-105_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5192-105_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_5192-105_0_5_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_5192-105_0_5_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_5192-105_0_5_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_5192-105_0_5_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_5192-105_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_5192-105_0_5_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5192-105_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5192-105_0_5_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_5192-105_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5192-105_0_5_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_5192-105_0_5_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5192-105_0_5_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_5192-105_0_5_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_5192-105_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_5192-105_0_5_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_5192-105_0_5_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_5192-105_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_5192-105_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_5192-105_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_5192-105_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5192-105_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5192-105_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5192-105_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5192-105_0_5_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_5192-105_0_5_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_5192-105_0_5_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_5192-105_0_5_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5192-105_0_5_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_5192-105_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5192-105_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5192-105_0_5_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_5192-105_0_5_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5192-105_0_5_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_5192-105_0_5_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_5192-105_0_5_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_5192-105_0_5_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_5192-105_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5192-105_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5192-105_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5192-105_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5192-105_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5192-105_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5192-105_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5192-105_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5192-105_0_5_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_5192-105_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_5192-105_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_5192-105_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_5192-105_0_5_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_5192-105_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5192-105_0_5_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5192-105_0_5_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_5192-105_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5192-105_0_5_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_5192-105_0_5_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_5192-105_0_5_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_5192-105_0_5_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_5192-105_0_5_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_5192-105_0_5_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5192-105_0_5_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_5192-105_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5192-105_0_5_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_5192-105_0_5_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_5192-105_0_5_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_5192-105_0_5_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_5192-105_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5192-105_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_5192-105_0_5_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_5192-105_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_5192-105_0_5_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5192-105_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_5192-105_0_5_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_5192-105_0_5_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_5192-105_0_5_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_5192-105_0_5_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_5192-105_0_5_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_5192-105_0_5_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_5192-105_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_5192-105_0_5_node_97 | 0.4 | n |  | TRUE
99 | bus_MV_71_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-105_0_5_load_0 | 0 | 0.0032777 | 0.00082148 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-105_0_5_load_1 | 1 | 0.0083813 | 0.0021005 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-105_0_5_load_90 | 2 | 0.0058584 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-105_0_5_load_2 | 3 | 0.0047452 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-105_0_5_load_4 | 4 | 0.0046728 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-105_0_5_load_91 | 5 | 0.0041218 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-105_0_5_load_92 | 6 | 0.0045572 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-105_0_5_load_34 | 7 | 0.0061616 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-105_0_5_load_64 | 8 | 0.0037706 | 0.000945 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-105_0_5_load_44 | 10 | 0.0034428 | 0.00086284 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-105_0_5_load_42 | 11 | 0.0038105 | 0.00095501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-105_0_5_load_14 | 12 | 0.0058834 | 0.0014745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-105_0_5_load_15 | 13 | 0.0027752 | 0.00069554 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-105_0_5_load_19 | 14 | 0.0025161 | 0.0006306 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-105_0_5_load_18 | 15 | 0.0032916 | 0.00082496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-105_0_5_load_22 | 16 | 0.0032306 | 0.00080965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-105_0_5_load_23 | 17 | 0.0023946 | 0.00060013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-105_0_5_load_16 | 18 | 0.0029616 | 0.00074224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-105_0_5_load_20 | 19 | 0.0020308 | 0.00050897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-105_0_5_load_5 | 20 | 0.0090858 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-105_0_5_load_6 | 21 | 0.0071933 | 0.0018028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-105_0_5_load_8 | 23 | 0.011772 | 0.0029505 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-105_0_5_load_9 | 24 | 0.0019402 | 0.00048627 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-105_0_5_load_10 | 25 | 0.0019418 | 0.00048666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-105_0_5_load_25 | 28 | 0.0025713 | 0.00064443 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-105_0_5_load_11 | 29 | 0.0047005 | 0.0011781 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-105_0_5_load_100 | 31 | 0.0024789 | 0.00062128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-105_0_5_load_98 | 32 | 0.0019417 | 0.00048664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-105_0_5_load_13 | 33 | 0.0043254 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-105_0_5_load_93 | 34 | 0.0037788 | 0.00094707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-105_0_5_load_94 | 35 | 0.0037835 | 0.00094825 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-105_0_5_load_17 | 36 | 0.010086 | 0.0025279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-105_0_5_load_61 | 37 | 0.0054636 | 0.0013693 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-105_0_5_load_54 | 38 | 0.0030761 | 0.00077095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-105_0_5_load_24 | 39 | 0.0087878 | 0.0022024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-105_0_5_load_33 | 40 | 0.0040863 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-105_0_5_load_26 | 41 | 0.0024709 | 0.00061927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-105_0_5_load_28 | 42 | 0.0025465 | 0.00063821 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-105_0_5_load_86 | 43 | 0.0045825 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-105_0_5_load_87 | 44 | 0.0047811 | 0.0011983 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-105_0_5_load_83 | 45 | 0.0067232 | 0.001685 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-105_0_5_load_84 | 46 | 0.0063824 | 0.0015996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-105_0_5_load_29 | 47 | 0.0052643 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-105_0_5_load_30 | 48 | 0.0051615 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-105_0_5_load_88 | 50 | 0.003522 | 0.00088268 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-105_0_5_load_71 | 51 | 0.0025038 | 0.00062752 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-105_0_5_load_76 | 52 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-105_0_5_load_78 | 53 | 0.0038612 | 0.00096772 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-105_0_5_load_75 | 54 | 0.0025306 | 0.00063422 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-105_0_5_load_85 | 55 | 0.0058444 | 0.0014647 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-105_0_5_load_47 | 56 | 0.0053692 | 0.0013456 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-105_0_5_load_48 | 57 | 0.0047134 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-105_0_5_load_39 | 58 | 0.0037964 | 0.00095146 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-105_0_5_load_49 | 59 | 0.0067852 | 0.0017005 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-105_0_5_load_53 | 61 | 0.0037728 | 0.00094554 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-105_0_5_load_62 | 62 | 0.0037709 | 0.00094506 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-105_0_5_load_63 | 63 | 0.00377 | 0.00094485 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-105_0_5_load_35 | 64 | 0.019142 | 0.0047975 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-105_0_5_load_66 | 65 | 0.0032766 | 0.0008212 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-105_0_5_load_36 | 66 | 0.0069152 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-105_0_5_load_37 | 68 | 0.030226 | 0.0075754 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-105_0_5_load_68 | 69 | 0.0039863 | 0.00099905 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-105_0_5_load_65 | 70 | 0.0061527 | 0.001542 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-105_0_5_load_40 | 71 | 0.0083497 | 0.0020926 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-105_0_5_load_67 | 72 | 0.0052141 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5192-105_0_5_load_41 | 73 | 0.006003 | 0.0015045 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5192-105_0_5_load_45 | 75 | 0.0042361 | 0.0010617 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5192-105_0_5_load_46 | 76 | 0.0095394 | 0.0023908 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5192-105_0_5_load_50 | 77 | 0.0052958 | 0.0013273 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5192-105_0_5_load_55 | 78 | 0.0024628 | 0.00061724 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5192-105_0_5_load_56 | 79 | 0.0019734 | 0.00049459 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5192-105_0_5_load_57 | 80 | 0.0019746 | 0.00049487 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5192-105_0_5_load_51 | 81 | 0.0043885 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5192-105_0_5_load_58 | 83 | 0.0069539 | 0.0017428 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5192-105_0_5_load_59 | 84 | 0.0036805 | 0.00092243 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5192-105_0_5_load_69 | 85 | 0.0025962 | 0.00065067 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5192-105_0_5_load_70 | 86 | 0.0023578 | 0.00059092 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5192-105_0_5_load_89 | 87 | 0.002437 | 0.00061077 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5192-105_0_5_load_72 | 88 | 0.0054592 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5192-105_0_5_load_73 | 89 | 0.0019599 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5192-105_0_5_load_74 | 90 | 0.0018979 | 0.00047565 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5192-105_0_5_load_82 | 91 | 0.0034554 | 0.00086601 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5192-105_0_5_load_79 | 92 | 0.0037483 | 0.0009394 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5192-105_0_5_load_81 | 93 | 0.0030872 | 0.00077372 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5192-105_0_5_load_80 | 95 | 0.0072539 | 0.001818 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5192-105_0_5_load_95 | 96 | 0.0028545 | 0.00071539 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5192-105_0_5_load_96 | 97 | 0.0037816 | 0.00094777 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5192-105_0_5_load_97 | 98 | 0.0024809 | 0.00062177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-105_0_5_line_0 |  | 0 | 1 | 0.075509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-105_0_5_line_1 |  | 0 | 2 | 0.094898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-105_0_5_line_2 |  | 1 | 3 | 0.020053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-105_0_5_line_3 |  | 2 | 5 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-105_0_5_line_4 |  | 3 | 10 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5192-105_0_5_line_5 |  | 4 | 5 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-105_0_5_line_6 |  | 5 | 6 | 0.043888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-105_0_5_line_7 |  | 7 | 8 | 0.075229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-105_0_5_line_8 |  | 7 | 9 | 0.049091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5192-105_0_5_line_9 |  | 8 | 63 | 0.0033029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-105_0_5_line_10 |  | 9 | 40 | 0.0044284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-105_0_5_line_11 |  | 9 | 47 | 0.013856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5192-105_0_5_line_12 |  | 10 | 11 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5192-105_0_5_line_13 |  | 11 | 73 | 0.0090398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5192-105_0_5_line_14 |  | 12 | 13 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-105_0_5_line_15 |  | 13 | 14 | 0.037816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-105_0_5_line_16 |  | 14 | 15 | 0.025149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-105_0_5_line_17 |  | 15 | 19 | 0.0058602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-105_0_5_line_18 |  | 16 | 17 | 0.03529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-105_0_5_line_19 |  | 16 | 18 | 0.05965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-105_0_5_line_20 |  | 16 | 19 | 0.02728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-105_0_5_line_21 |  | 17 | 39 | 0.0045561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-105_0_5_line_22 |  | 18 | 36 | 0.0093767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-105_0_5_line_23 |  | 20 | 21 | 0.0089039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5192-105_0_5_line_24 |  | 20 | 22 | 0.050826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-105_0_5_line_25 |  | 21 | 23 | 0.042236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5192-105_0_5_line_26 |  | 22 | 24 | 0.021464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-105_0_5_line_27 |  | 22 | 25 | 0.029926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-105_0_5_line_28 |  | 23 | 26 | 0.0080036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5192-105_0_5_line_29 |  | 25 | 27 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-105_0_5_line_30 |  | 26 | 28 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5192-105_0_5_line_31 |  | 27 | 31 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-105_0_5_line_32 |  | 27 | 32 | 0.01255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-105_0_5_line_33 |  | 28 | 41 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5192-105_0_5_line_34 |  | 29 | 30 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-105_0_5_line_35 |  | 30 | 33 | 0.026155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-105_0_5_line_36 |  | 32 | 98 | 0.0099647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-105_0_5_line_37 |  | 33 | 34 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-105_0_5_line_38 |  | 34 | 35 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-105_0_5_line_39 |  | 35 | 96 | 0.009856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-105_0_5_line_40 |  | 36 | 37 | 0.0054802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-105_0_5_line_41 |  | 37 | 38 | 0.028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-105_0_5_line_42 |  | 39 | 40 | 0.033245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-105_0_5_line_43 |  | 41 | 42 | 0.019106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5192-105_0_5_line_44 |  | 42 | 43 | 0.054312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5192-105_0_5_line_45 |  | 43 | 44 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5192-105_0_5_line_46 |  | 44 | 49 | 0.0048885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5192-105_0_5_line_47 |  | 45 | 46 | 0.022378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-105_0_5_line_48 |  | 46 | 55 | 0.020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5192-105_0_5_line_49 |  | 47 | 48 | 0.039726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5192-105_0_5_line_50 |  | 48 | 49 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5192-105_0_5_line_51 |  | 49 | 50 | 0.027387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5192-105_0_5_line_52 |  | 50 | 51 | 0.0010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5192-105_0_5_line_53 |  | 51 | 86 | 0.043789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5192-105_0_5_line_54 |  | 52 | 53 | 0.0033361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5192-105_0_5_line_55 |  | 52 | 54 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5192-105_0_5_line_56 |  | 53 | 55 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5192-105_0_5_line_57 |  | 54 | 94 | 0.0032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5192-105_0_5_line_58 |  | 56 | 57 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-105_0_5_line_59 |  | 56 | 58 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-105_0_5_line_60 |  | 57 | 59 | 0.025622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-105_0_5_line_61 |  | 58 | 67 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-105_0_5_line_62 |  | 59 | 60 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5192-105_0_5_line_63 |  | 60 | 61 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5192-105_0_5_line_64 |  | 61 | 62 | 0.00019314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-105_0_5_line_65 |  | 62 | 63 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-105_0_5_line_66 |  | 64 | 65 | 0.072586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5192-105_0_5_line_67 |  | 65 | 69 | 0.040848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5192-105_0_5_line_68 |  | 65 | 70 | 0.060305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5192-105_0_5_line_69 |  | 65 | 68 | 0.055405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5192-105_0_5_line_70 |  | 66 | 67 | 0.024933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-105_0_5_line_71 |  | 67 | 71 | 0.0061211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5192-105_0_5_line_72 |  | 69 | 85 | 0.029681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5192-105_0_5_line_73 |  | 70 | 72 | 0.005235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5192-105_0_5_line_74 |  | 72 | 77 | 0.11425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5192-105_0_5_line_75 |  | 73 | 74 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5192-105_0_5_line_76 |  | 74 | 75 | 0.07572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5192-105_0_5_line_77 |  | 74 | 76 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5192-105_0_5_line_78 |  | 76 | 78 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5192-105_0_5_line_79 |  | 77 | 81 | 0.03152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5192-105_0_5_line_80 |  | 78 | 79 | 0.040973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5192-105_0_5_line_81 |  | 78 | 80 | 0.048821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5192-105_0_5_line_82 |  | 79 | 84 | 0.0023938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5192-105_0_5_line_83 |  | 81 | 82 | 0.081803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_5192-105_0_5_line_84 |  | 82 | 83 | 0.052598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5192-105_0_5_line_85 |  | 83 | 84 | 0.03748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_5192-105_0_5_line_86 |  | 85 | 86 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5192-105_0_5_line_87 |  | 85 | 87 | 0.057164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_5192-105_0_5_line_88 |  | 87 | 95 | 0.027124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_5192-105_0_5_line_89 |  | 88 | 89 | 0.041624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5192-105_0_5_line_90 |  | 89 | 90 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_5192-105_0_5_line_91 |  | 90 | 91 | 0.0037706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_5192-105_0_5_line_92 |  | 91 | 93 | 0.018843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_5192-105_0_5_line_93 |  | 92 | 93 | 0.00058888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_5192-105_0_5_line_94 |  | 92 | 94 | 0.039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_5192-105_0_5_line_95 |  | 94 | 95 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_5192-105_0_5_line_96 |  | 96 | 97 | 0.00039559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5192-105_0_5_line_97 |  | 97 | 98 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-105_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 99 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2716265.9403 | 1091045.0563 | 2716272.0633 | 1091069.8247 | 2716294.0205 | 1091093.9054 | 2716307.316 | 1091105.1403
1 | 2716265.9403 | 1091045.0563 | 2716172.8229 | 1091026.7606
2 | 2716322.6325 | 1091118.083 | 2716307.316 | 1091105.1403
3 | 2716172.8229 | 1091026.7606 | 2716166.3374 | 1091008.6964 | 2716166.1969 | 1091007.9911
4 | 2716334.4757 | 1091128.1463 | 2716333.2513 | 1091127.056 | 2716322.6325 | 1091118.083
5 | 2716166.1969 | 1091007.9911 | 2716162.2315 | 1090988.0826
6 | 2716166.1969 | 1091007.9911 | 2716123.3189 | 1091017.3517
7 | 2716377.4559 | 1090927.9542 | 2716327.501 | 1090984.2028
8 | 2716363.2078 | 1090884.65 | 2716363.2357 | 1090890.8882 | 2716371.7669 | 1090898.1231 | 2716377.3118 | 1090907.8247 | 2716378.9343 | 1090914.2157 | 2716378.8663 | 1090921.8197 | 2716377.4559 | 1090927.9542
9 | 2716327.501 | 1090984.2028 | 2716329.4016 | 1090986.9041
10 | 2716363.2078 | 1090884.65 | 2716359.1731 | 1090882.8245
11 | 2716363.2078 | 1090884.65 | 2716375.7277 | 1090890.5866
12 | 2716334.4757 | 1091128.1463 | 2716344.671 | 1091137.2246
13 | 2716351.4223 | 1091143.2361 | 2716344.671 | 1091137.2246
14 | 2716227.2082 | 1090851.8592 | 2716220.7913 | 1090843.8962
15 | 2716247.9397 | 1090817.5713 | 2716220.7913 | 1090843.8962
16 | 2716267.1015 | 1090833.8592 | 2716247.9397 | 1090817.5713
17 | 2716267.1015 | 1090833.8592 | 2716271.5666 | 1090837.6547
18 | 2716323.0839 | 1090871.9456 | 2716316.8837 | 1090870.3656 | 2716302.3878 | 1090862.7944 | 2716297.1257 | 1090859.3803 | 2716292.3519 | 1090855.3225
19 | 2716292.3519 | 1090855.3225 | 2716268.0527 | 1090909.7992
20 | 2716271.5666 | 1090837.6547 | 2716292.3519 | 1090855.3225
21 | 2716327.4989 | 1090873.0706 | 2716323.0839 | 1090871.9456
22 | 2716273.1073 | 1090917.6969 | 2716268.0527 | 1090909.7992
23 | 2716331.0006 | 1090723.4449 | 2716331.697 | 1090732.3215
24 | 2716325.3098 | 1090676.7594 | 2716321.1944 | 1090679.4715 | 2716319.5232 | 1090684.9433 | 2716331.0006 | 1090723.4449
25 | 2716335.0006 | 1090774.4285 | 2716331.697 | 1090732.3215
26 | 2716325.3098 | 1090676.7594 | 2716332.3482 | 1090677.728 | 2716337.0557 | 1090681.7652 | 2716341.0278 | 1090688.8904
27 | 2716325.3098 | 1090676.7594 | 2716350.3105 | 1090660.3113
28 | 2716335.6266 | 1090782.4075 | 2716335.0006 | 1090774.4285
29 | 2716372.8273 | 1090653.8855 | 2716353.2612 | 1090658.37 | 2716350.3105 | 1090660.3113
30 | 2716335.6266 | 1090782.4075 | 2716339.1411 | 1090792.8597 | 2716343.0652 | 1090799.5324
31 | 2716372.8273 | 1090653.8855 | 2716385.2236 | 1090645.6364
32 | 2716372.8273 | 1090653.8855 | 2716379.8674 | 1090664.2744
33 | 2716355.3383 | 1090816.8037 | 2716346.6139 | 1090805.5669 | 2716343.0652 | 1090799.5324
34 | 2716375.2725 | 1090728.3171 | 2716367.2339 | 1090721.3593
35 | 2716375.2725 | 1090728.3171 | 2716393.3106 | 1090717.3545 | 2716397.382 | 1090714.3717
36 | 2716385.4575 | 1090672.5234 | 2716379.8674 | 1090664.2744
37 | 2716403.1521 | 1090698.6347 | 2716404.7594 | 1090701.0066 | 2716405.3669 | 1090703.709 | 2716404.4865 | 1090707.1612 | 2716402.7173 | 1090710.463 | 2716397.382 | 1090714.3717
38 | 2716403.1521 | 1090698.6347 | 2716397.2843 | 1090689.9758
39 | 2716397.2843 | 1090689.9758 | 2716391.7552 | 1090681.8167
40 | 2716273.1073 | 1090917.6969 | 2716276.0614 | 1090922.3127
41 | 2716276.0614 | 1090922.3127 | 2716281.499 | 1090930.8089 | 2716292.0122 | 1090945.8427
42 | 2716359.1731 | 1090882.8245 | 2716350.6609 | 1090878.9729 | 2716327.4989 | 1090873.0706
43 | 2716367.0551 | 1090831.8947 | 2716355.3383 | 1090816.8037
44 | 2716400.3633 | 1090874.7947 | 2716367.0551 | 1090831.8947
45 | 2716400.3633 | 1090874.7947 | 2716406.5002 | 1090882.699 | 2716413.5266 | 1090891.2001
46 | 2716416.641 | 1090894.9681 | 2716413.5266 | 1090891.2001
47 | 2716433.199 | 1090805.9699 | 2716449.0413 | 1090821.7751
48 | 2716449.0413 | 1090821.7751 | 2716453.0707 | 1090825.7951 | 2716463.2246 | 1090836.4047
49 | 2716375.7277 | 1090890.5866 | 2716407.9489 | 1090905.8649 | 2716412.0074 | 1090906.1205 | 2716412.0074 | 1090906.1205
50 | 2716416.641 | 1090894.9681 | 2716417.1728 | 1090898.7809 | 2716416.509 | 1090901.8593 | 2716414.885 | 1090904.4633 | 2716412.0074 | 1090906.1205
51 | 2716416.641 | 1090894.9681 | 2716425.3667 | 1090905.8092 | 2716434.4443 | 1090915.7617
52 | 2716434.4443 | 1090915.7617 | 2716435.1819 | 1090916.5704
53 | 2716471.2194 | 1090940.8327 | 2716453.7332 | 1090932.1147 | 2716438.1037 | 1090919.7737 | 2716435.1819 | 1090916.5704
54 | 2716477.7525 | 1090851.1639 | 2716480.4176 | 1090853.1706
55 | 2716498.3486 | 1090866.672 | 2716480.4176 | 1090853.1706
56 | 2716463.2246 | 1090836.4047 | 2716476.3116 | 1090850.079 | 2716477.7525 | 1090851.1639
57 | 2716500.9188 | 1090868.6073 | 2716498.3486 | 1090866.672
58 | 2716376.2867 | 1091050.6741 | 2716372.9121 | 1091047.3593 | 2716366.4635 | 1091039.7332
59 | 2716376.2867 | 1091050.6741 | 2716384.976 | 1091059.2093 | 2716388.0164 | 1091061.1014
60 | 2716349.9196 | 1091020.1686 | 2716366.4635 | 1091039.7332
61 | 2716405.1988 | 1091071.7938 | 2716388.0164 | 1091061.1014
62 | 2716341.4131 | 1091010.109 | 2716349.9196 | 1091020.1686
63 | 2716341.4131 | 1091010.109 | 2716346.2178 | 1091005.809 | 2716339.6464 | 1090999.3676
64 | 2716339.5084 | 1090999.2324 | 2716339.6464 | 1090999.3676
65 | 2716339.5084 | 1090999.2324 | 2716334.8916 | 1090994.707 | 2716329.4016 | 1090986.9041
66 | 2716510.1552 | 1091013.3798 | 2716437.57 | 1091013.6507
67 | 2716510.1552 | 1091013.3798 | 2716509.6238 | 1090999.509 | 2716505.8142 | 1090982.6244 | 2716502.5123 | 1090973.5482
68 | 2716516.47 | 1091073.3186 | 2716511.6633 | 1091037.1408 | 2716510.2389 | 1091015.5652 | 2716510.1552 | 1091013.3798
69 | 2716510.1552 | 1091013.3798 | 2716455.1774 | 1091006.516
70 | 2716405.1988 | 1091071.7938 | 2716407.5187 | 1091062.4094 | 2716422.2271 | 1091066.4993
71 | 2716405.1988 | 1091071.7938 | 2716411.0781 | 1091073.4974
72 | 2716502.5123 | 1090973.5482 | 2716499.5453 | 1090965.3924 | 2716485.6446 | 1090949.6487
73 | 2716517.1594 | 1091078.508 | 2716516.47 | 1091073.3186
74 | 2716517.1594 | 1091078.508 | 2716444.927 | 1091167.0262
75 | 2716366.9662 | 1091157.077 | 2716351.4223 | 1091143.2361
76 | 2716366.9662 | 1091157.077 | 2716366.0013 | 1091164.1412 | 2716385.3749 | 1091184.6148 | 2716388.1547 | 1091191.3059 | 2716387.4037 | 1091198.1296 | 2716384.8442 | 1091201.4052 | 2716379.011 | 1091201.9162 | 2716374.2682 | 1091199.7462 | 2716366.5202 | 1091191.7258
77 | 2716366.9662 | 1091157.077 | 2716378.8858 | 1091167.6873
78 | 2716393.7352 | 1091180.9055 | 2716378.8858 | 1091167.6873
79 | 2716444.927 | 1091167.0262 | 2716445.6412 | 1091176.8959 | 2716447.0258 | 1091192.4553 | 2716446.561 | 1091198.4408
80 | 2716393.7352 | 1091180.9055 | 2716398.2562 | 1091184.9392 | 2716406.6375 | 1091195.9294 | 2716410.8299 | 1091206.5947 | 2716413.1789 | 1091215.9373
81 | 2716393.7352 | 1091180.9055 | 2716398.0873 | 1091203.0819 | 2716395.368 | 1091224.4224 | 2716394.1226 | 1091228.9635
82 | 2716413.7626 | 1091218.2589 | 2716413.1789 | 1091215.9373
83 | 2716449.7607 | 1091278.4116 | 2716444.4075 | 1091259.1291 | 2716440.3001 | 1091239.9817 | 2716440.6012 | 1091229.925 | 2716445.6878 | 1091209.6861 | 2716446.561 | 1091198.4408
84 | 2716449.7607 | 1091278.4116 | 2716425.7795 | 1091279.1087 | 2716421.2427 | 1091277.5208 | 2716417.9024 | 1091274.5993 | 2716416.0957 | 1091270.5508 | 2716414.7097 | 1091255.6862
85 | 2716414.7097 | 1091255.6862 | 2716413.5803 | 1091243.5729 | 2716413.7626 | 1091218.2589 | 2716413.7626 | 1091218.2589
86 | 2716485.6446 | 1090949.6487 | 2716484.9956 | 1090948.9136 | 2716472.867 | 1090941.6542 | 2716471.2194 | 1090940.8327
87 | 2716485.6446 | 1090949.6487 | 2716517.4448 | 1090902.1469
88 | 2716517.4448 | 1090902.1469 | 2716514.6002 | 1090893.1751 | 2716510.7288 | 1090883.561 | 2716506.247 | 1090877.7387
89 | 2716570.7771 | 1090939.4859 | 2716572.3989 | 1090934.6442 | 2716572.9012 | 1090921.7894 | 2716569.6901 | 1090904.8383 | 2716565.5539 | 1090899.9541
90 | 2716565.5539 | 1090899.9541 | 2716561.6598 | 1090895.3557 | 2716557.803 | 1090893.117
91 | 2716554.542 | 1090891.2241 | 2716557.803 | 1090893.117
92 | 2716554.542 | 1090891.2241 | 2716553.538 | 1090890.6413 | 2716538.927 | 1090887.8818 | 2716536.3158 | 1090886.8362
93 | 2716536.3158 | 1090886.8362 | 2716535.7691 | 1090886.6173
94 | 2716500.9188 | 1090868.6073 | 2716503.9918 | 1090870.9233 | 2716522.3046 | 1090881.2255 | 2716535.7691 | 1090886.6173
95 | 2716500.9188 | 1090868.6073 | 2716504.3353 | 1090875.2551 | 2716506.247 | 1090877.7387
96 | 2716391.7552 | 1090681.8167 | 2716391.5333 | 1090681.4892
97 | 2716391.5333 | 1090681.4892 | 2716385.4575 | 1090672.5234

## bus_geodata
| x | y | coords
0 | 2716265.9403 | 1091045.0563
1 | 2716307.316 | 1091105.1403
2 | 2716172.8229 | 1091026.7606
3 | 2716322.6325 | 1091118.083
4 | 2716162.2315 | 1090988.0826
5 | 2716166.1969 | 1091007.9911
6 | 2716123.3189 | 1091017.3517
7 | 2716377.4559 | 1090927.9542
8 | 2716327.501 | 1090984.2028
9 | 2716363.2078 | 1090884.65
10 | 2716334.4757 | 1091128.1463
11 | 2716344.671 | 1091137.2246
12 | 2716227.2082 | 1090851.8592
13 | 2716220.7913 | 1090843.8962
14 | 2716247.9397 | 1090817.5713
15 | 2716267.1015 | 1090833.8592
16 | 2716292.3519 | 1090855.3225
17 | 2716323.0839 | 1090871.9456
18 | 2716268.0527 | 1090909.7992
19 | 2716271.5666 | 1090837.6547
20 | 2716331.0006 | 1090723.4449
21 | 2716331.697 | 1090732.3215
22 | 2716325.3098 | 1090676.7594
23 | 2716335.0006 | 1090774.4285
24 | 2716341.0278 | 1090688.8904
25 | 2716350.3105 | 1090660.3113
26 | 2716335.6266 | 1090782.4075
27 | 2716372.8273 | 1090653.8855
28 | 2716343.0652 | 1090799.5324
29 | 2716367.2339 | 1090721.3593
30 | 2716375.2725 | 1090728.3171
31 | 2716385.2236 | 1090645.6364
32 | 2716379.8674 | 1090664.2744
33 | 2716397.382 | 1090714.3717
34 | 2716403.1521 | 1090698.6347
35 | 2716397.2843 | 1090689.9758
36 | 2716273.1073 | 1090917.6969
37 | 2716276.0614 | 1090922.3127
38 | 2716292.0122 | 1090945.8427
39 | 2716327.4989 | 1090873.0706
40 | 2716359.1731 | 1090882.8245
41 | 2716355.3383 | 1090816.8037
42 | 2716367.0551 | 1090831.8947
43 | 2716400.3633 | 1090874.7947
44 | 2716413.5266 | 1090891.2001
45 | 2716433.199 | 1090805.9699
46 | 2716449.0413 | 1090821.7751
47 | 2716375.7277 | 1090890.5866
48 | 2716412.0074 | 1090906.1205
49 | 2716416.641 | 1090894.9681
50 | 2716434.4443 | 1090915.7617
51 | 2716435.1819 | 1090916.5704
52 | 2716480.4176 | 1090853.1706
53 | 2716477.7525 | 1090851.1639
54 | 2716498.3486 | 1090866.672
55 | 2716463.2246 | 1090836.4047
56 | 2716376.2867 | 1091050.6741
57 | 2716366.4635 | 1091039.7332
58 | 2716388.0164 | 1091061.1014
59 | 2716349.9196 | 1091020.1686
60 | 2716341.4131 | 1091010.109
61 | 2716339.6464 | 1090999.3676
62 | 2716339.5084 | 1090999.2324
63 | 2716329.4016 | 1090986.9041
64 | 2716437.57 | 1091013.6507
65 | 2716510.1552 | 1091013.3798
66 | 2716422.2271 | 1091066.4993
67 | 2716405.1988 | 1091071.7938
68 | 2716455.1774 | 1091006.516
69 | 2716502.5123 | 1090973.5482
70 | 2716516.47 | 1091073.3186
71 | 2716411.0781 | 1091073.4974
72 | 2716517.1594 | 1091078.508
73 | 2716351.4223 | 1091143.2361
74 | 2716366.9662 | 1091157.077
75 | 2716366.5202 | 1091191.7258
76 | 2716378.8858 | 1091167.6873
77 | 2716444.927 | 1091167.0262
78 | 2716393.7352 | 1091180.9055
79 | 2716413.1789 | 1091215.9373
80 | 2716394.1226 | 1091228.9635
81 | 2716446.561 | 1091198.4408
82 | 2716449.7608 | 1091278.4116
83 | 2716414.7097 | 1091255.6862
84 | 2716413.7626 | 1091218.2589
85 | 2716485.6446 | 1090949.6487
86 | 2716471.2194 | 1090940.8327
87 | 2716517.4448 | 1090902.1469
88 | 2716570.7771 | 1090939.4859
89 | 2716565.5539 | 1090899.9541
90 | 2716557.803 | 1090893.117
91 | 2716554.542 | 1090891.2241
92 | 2716535.7691 | 1090886.6173
93 | 2716536.3158 | 1090886.8362
94 | 2716500.9188 | 1090868.6073
95 | 2716506.247 | 1090877.7387
96 | 2716391.7552 | 1090681.8167
97 | 2716391.5333 | 1090681.4892
98 | 2716385.4575 | 1090672.5234
99 | 2716377.1407 | 1090929.3252

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1