## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-112_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-112_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-112_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-112_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-112_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-112_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5192-112_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5192-112_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5192-112_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5192-112_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5192-112_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5192-112_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5192-112_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_5192-112_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_5192-112_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_5192-112_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5192-112_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5192-112_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5192-112_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5192-112_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5192-112_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5192-112_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5192-112_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5192-112_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_5192-112_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5192-112_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5192-112_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5192-112_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5192-112_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5192-112_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5192-112_0_4_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_5192-112_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_5192-112_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5192-112_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5192-112_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_5192-112_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5192-112_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5192-112_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5192-112_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5192-112_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5192-112_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5192-112_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5192-112_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5192-112_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5192-112_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5192-112_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5192-112_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5192-112_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5192-112_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5192-112_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5192-112_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5192-112_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5192-112_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5192-112_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5192-112_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_MV_74_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-112_0_4_load_0 | 0 | 0.0053228 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-112_0_4_load_3 | 3 | 0.0062116 | 0.0015568 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-112_0_4_load_4 | 4 | 0.0062765 | 0.001573 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-112_0_4_load_5 | 5 | 0.0021252 | 0.00053264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-112_0_4_load_13 | 9 | 0.013551 | 0.0033961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-112_0_4_load_24 | 10 | 0.0096525 | 0.0024191 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-112_0_4_load_11 | 11 | 0.010179 | 0.002551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-112_0_4_load_51 | 12 | 0.022914 | 0.0057427 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-112_0_4_load_23 | 14 | 0.0029236 | 0.00073273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-112_0_4_load_12 | 15 | 0.011213 | 0.0028102 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-112_0_4_load_14 | 16 | 0.0068043 | 0.0017053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-112_0_4_load_16 | 17 | 0.0032568 | 0.00081624 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-112_0_4_load_15 | 18 | 0.010127 | 0.0025381 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-112_0_4_load_17 | 19 | 0.010567 | 0.0026482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-112_0_4_load_19 | 22 | 0.0289 | 0.0072431 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-112_0_4_load_58 | 23 | 0.004353 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-112_0_4_load_20 | 25 | 0.014735 | 0.003693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-112_0_4_load_25 | 27 | 0.005158 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-112_0_4_load_49 | 28 | 0.0030751 | 0.00077069 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-112_0_4_load_26 | 29 | 0.0074493 | 0.001867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-112_0_4_load_56 | 30 | 0.013137 | 0.0032924 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-112_0_4_load_41 | 31 | 0.0023478 | 0.00058842 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-112_0_4_load_52 | 33 | 0.006966 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-112_0_4_load_48 | 34 | 0.0056477 | 0.0014154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-112_0_4_load_27 | 36 | 0.010849 | 0.0027191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-112_0_4_load_28 | 37 | 0.0017309 | 0.00043381 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-112_0_4_load_29 | 38 | 0.0039704 | 0.00099506 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-112_0_4_load_30 | 39 | 0.0031273 | 0.00078378 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-112_0_4_load_36 | 40 | 0.001664 | 0.00041703 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-112_0_4_load_34 | 41 | 0.0041956 | 0.0010515 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-112_0_4_load_32 | 42 | 0.0016994 | 0.00042592 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-112_0_4_load_33 | 43 | 0.0022237 | 0.0005573 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-112_0_4_load_35 | 44 | 0.00462 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-112_0_4_load_38 | 46 | 0.0086647 | 0.0021716 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-112_0_4_load_43 | 48 | 0.0020737 | 0.00051971 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-112_0_4_load_57 | 50 | 0.011588 | 0.0029043 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-112_0_4_load_45 | 52 | 0.037642 | 0.009434 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-112_0_4_load_54 | 53 | 0.041332 | 0.010359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-112_0_4_load_46 | 54 | 0.031638 | 0.0079292 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-112_0_4_line_0 |  | 0 | 1 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-112_0_4_line_1 |  | 0 | 2 | 0.023653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-112_0_4_line_2 |  | 1 | 3 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-112_0_4_line_3 |  | 2 | 4 | 0.0039703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-112_0_4_line_4 |  | 2 | 5 | 0.024093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-112_0_4_line_5 |  | 5 | 6 | 0.025893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-112_0_4_line_6 |  | 6 | 7 | 0.017089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-112_0_4_line_7 |  | 7 | 8 | 0.033993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-112_0_4_line_8 |  | 7 | 9 | 0.04026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-112_0_4_line_9 |  | 8 | 10 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-112_0_4_line_10 |  | 9 | 11 | 0.0016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-112_0_4_line_11 |  | 10 | 14 | 0.0083908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-112_0_4_line_12 |  | 11 | 15 | 0.020892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-112_0_4_line_13 |  | 12 | 13 | 0.030972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-112_0_4_line_14 |  | 13 | 34 | 0.037545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-112_0_4_line_15 |  | 15 | 16 | 0.024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-112_0_4_line_16 |  | 16 | 17 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-112_0_4_line_17 |  | 17 | 18 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-112_0_4_line_18 |  | 18 | 19 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-112_0_4_line_19 |  | 19 | 20 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-112_0_4_line_20 |  | 20 | 21 | 0.030805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5192-112_0_4_line_21 |  | 20 | 22 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-112_0_4_line_22 |  | 21 | 23 | 0.08983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-112_0_4_line_23 |  | 21 | 24 | 0.033785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5192-112_0_4_line_24 |  | 22 | 25 | 0.0063872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-112_0_4_line_25 |  | 24 | 31 | 0.05668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5192-112_0_4_line_26 |  | 24 | 32 | 0.026392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5192-112_0_4_line_27 |  | 25 | 26 | 0.028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-112_0_4_line_28 |  | 26 | 27 | 0.030834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-112_0_4_line_29 |  | 27 | 28 | 0.041991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-112_0_4_line_30 |  | 28 | 33 | 0.036346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5192-112_0_4_line_31 |  | 28 | 34 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-112_0_4_line_32 |  | 29 | 30 | 0.040853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-112_0_4_line_33 |  | 30 | 35 | 0.058267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-112_0_4_line_34 |  | 31 | 45 | 0.0095793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5192-112_0_4_line_35 |  | 32 | 38 | 0.039163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-112_0_4_line_36 |  | 35 | 50 | 0.06242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-112_0_4_line_37 |  | 35 | 51 | 0.14315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-112_0_4_line_38 |  | 35 | 45 | 0.030177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-112_0_4_line_39 |  | 36 | 37 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-112_0_4_line_40 |  | 36 | 38 | 0.0022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-112_0_4_line_41 |  | 37 | 39 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-112_0_4_line_42 |  | 39 | 40 | 0.0018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-112_0_4_line_43 |  | 40 | 41 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-112_0_4_line_44 |  | 41 | 42 | 0.0074233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-112_0_4_line_45 |  | 42 | 43 | 0.014365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-112_0_4_line_46 |  | 43 | 44 | 0.0050302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-112_0_4_line_47 |  | 45 | 46 | 0.042942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-112_0_4_line_48 |  | 46 | 47 | 0.018773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-112_0_4_line_49 |  | 47 | 48 | 0.021627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-112_0_4_line_50 |  | 47 | 49 | 0.14074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-112_0_4_line_51 |  | 49 | 52 | 0.077684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-112_0_4_line_52 |  | 51 | 53 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-112_0_4_line_53 |  | 52 | 54 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-112_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 55 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2719555.5649 | 1101457.4913 | 2719561.4899 | 1101445.6638
1 | 2719572.0841 | 1101424.5158 | 2719561.4899 | 1101445.6638
2 | 2719555.5649 | 1101457.4913 | 2719569.189 | 1101471.0263
3 | 2719572.0841 | 1101424.5158 | 2719573.8621 | 1101420.9658
4 | 2719572.0841 | 1101424.5158 | 2719595.0793 | 1101418.4421 | 2719595.3619 | 1101418.316
5 | 2719616.1536 | 1101403.391 | 2719613.0684 | 1101406.7437 | 2719603.2642 | 1101414.7896 | 2719595.3619 | 1101418.316
6 | 2719616.1536 | 1101403.391 | 2719619.0091 | 1101400.3007 | 2719631.1568 | 1101395.9035
7 | 2719631.1568 | 1101395.9035 | 2719641.0231 | 1101388.6373 | 2719646.8123 | 1101381.6353 | 2719652.0013 | 1101387.019 | 2719655.969 | 1101390.3439
8 | 2719631.1568 | 1101395.9035 | 2719634.7978 | 1101411.486 | 2719637.1728 | 1101426.0985 | 2719637.9461 | 1101435.5203
9 | 2719664.4745 | 1101397.5276 | 2719655.969 | 1101390.3439
10 | 2719638.0771 | 1101437.117 | 2719637.9461 | 1101435.5203
11 | 2719664.4745 | 1101397.5276 | 2719672.4181 | 1101400.2304
12 | 2719638.0771 | 1101437.117 | 2719638.5648 | 1101443.0599 | 2719640.636 | 1101452.6629 | 2719643.8242 | 1101456.6506 | 2719643.8242 | 1101456.6506
13 | 2719718.6023 | 1101320.9744 | 2719703.4474 | 1101307.0883 | 2719695.8462 | 1101303.1136 | 2719694.0172 | 1101303.3147
14 | 2719718.6023 | 1101320.9744 | 2719732.8981 | 1101337.5899 | 2719738.6942 | 1101337.7042 | 2719746.5453 | 1101331.7914
15 | 2719666.1439 | 1101449.4676 | 2719664.3603 | 1101450.84 | 2719653.9059 | 1101456.9161 | 2719648.5022 | 1101458.1105 | 2719643.8242 | 1101456.6506
16 | 2719677.6983 | 1101440.5771 | 2719666.1439 | 1101449.4676
17 | 2719677.6983 | 1101440.5771 | 2719679.9713 | 1101438.8281 | 2719693.4095 | 1101430.0792
18 | 2719704.6661 | 1101422.7506 | 2719693.4095 | 1101430.0792
19 | 2719725.4335 | 1101408.3362 | 2719719.3067 | 1101413.2189 | 2719704.6661 | 1101422.7506
20 | 2719725.4335 | 1101408.3362 | 2719752.0092 | 1101424.0487
21 | 2719725.4335 | 1101408.3362 | 2719738.0488 | 1101398.289 | 2719740.6033 | 1101395.8403
22 | 2719698.2693 | 1101495.4835 | 2719712.9188 | 1101468.6314 | 2719741.8241 | 1101434.5219 | 2719752.0092 | 1101424.0487
23 | 2719752.0092 | 1101424.0487 | 2719767.9178 | 1101433.4578 | 2719771.5525 | 1101435.6087 | 2719779.9406 | 1101442.8458
24 | 2719745.2143 | 1101391.4204 | 2719740.6033 | 1101395.8403
25 | 2719779.9406 | 1101442.8458 | 2719791.4298 | 1101453.3797 | 2719802.9438 | 1101463.0468 | 2719806.6875 | 1101468.302 | 2719809.2765 | 1101473.6234 | 2719813.4861 | 1101486.6488
26 | 2719779.9406 | 1101442.8458 | 2719765.2863 | 1101464.8165
27 | 2719764.7886 | 1101370.7638 | 2719757.6884 | 1101379.4631 | 2719745.2143 | 1101391.4204
28 | 2719764.7886 | 1101370.7638 | 2719756.3551 | 1101362.6808 | 2719755.9611 | 1101357.147 | 2719761.5581 | 1101344.7469
29 | 2719760.1823 | 1101321.5212 | 2719766.3315 | 1101316.8902 | 2719769.865 | 1101316.7153 | 2719772.0383 | 1101321.5281 | 2719761.5581 | 1101344.7469
30 | 2719760.1823 | 1101321.5212 | 2719754.8728 | 1101285.5648
31 | 2719746.5453 | 1101331.7914 | 2719760.1823 | 1101321.5212
32 | 2719777.8799 | 1101417.8954 | 2719775.2497 | 1101414.5782 | 2719773.0182 | 1101398.2006 | 2719774.3762 | 1101391.3671 | 2719778.6049 | 1101384.9905 | 2719782.2534 | 1101380.9124
33 | 2719812.5665 | 1101464.6043 | 2719803.4739 | 1101449.9148 | 2719787.2595 | 1101429.7255 | 2719777.8799 | 1101417.8954
34 | 2719820.0365 | 1101493.6384 | 2719813.4861 | 1101486.6488
35 | 2719765.2863 | 1101464.8165 | 2719764.4039 | 1101486.0027 | 2719754.5867 | 1101501.0408
36 | 2719820.9002 | 1101409.0969 | 2719811.4679 | 1101416.327 | 2719807.8073 | 1101422.548 | 2719807.9233 | 1101435.8928 | 2719811.7899 | 1101447.0768 | 2719814.5495 | 1101457.8721 | 2719812.5665 | 1101464.6043
37 | 2719812.5665 | 1101464.6043 | 2719815.1735 | 1101469.7927 | 2719824.3871 | 1101461.4797 | 2719830.5835 | 1101460.1344 | 2719842.5719 | 1101460.6713 | 2719851.0935 | 1101462.3183 | 2719887.8499 | 1101479.5222 | 2719912.6918 | 1101490.876 | 2719933.3005 | 1101506.8606 | 2719935.9288 | 1101509.7923
38 | 2719812.5665 | 1101464.6043 | 2719815.1735 | 1101469.7927 | 2719818.2102 | 1101481.4495 | 2719820.0365 | 1101493.6384
39 | 2719753.3478 | 1101502.9386 | 2719745.6211 | 1101514.7746 | 2719744.336 | 1101517.838
40 | 2719753.3478 | 1101502.9386 | 2719754.5867 | 1101501.0408
41 | 2719744.336 | 1101517.838 | 2719739.8231 | 1101528.5957
42 | 2719739.0939 | 1101530.3341 | 2719739.8231 | 1101528.5957
43 | 2719739.0939 | 1101530.3341 | 2719734.7036 | 1101540.7996 | 2719733.4733 | 1101549.0144 | 2719733.4733 | 1101549.0144
44 | 2719738.4301 | 1101554.5403 | 2719733.4733 | 1101549.0144
45 | 2719738.4301 | 1101554.5403 | 2719741.5554 | 1101558.0244 | 2719748.6666 | 1101564.5992
46 | 2719748.6666 | 1101564.5992 | 2719752.3601 | 1101568.014
47 | 2719820.0365 | 1101493.6384 | 2719820.1116 | 1101505.9151 | 2719818.0774 | 1101519.1619 | 2719813.3995 | 1101535.7786
48 | 2719808.3123 | 1101553.8489 | 2719813.3995 | 1101535.7786
49 | 2719792.3294 | 1101568.2325 | 2719796.011 | 1101565.6478 | 2719797.861 | 1101563.694 | 2719800.0915 | 1101560.5025 | 2719808.3123 | 1101553.8489
50 | 2719808.3123 | 1101553.8489 | 2719807.6985 | 1101555.9271 | 2719801.2283 | 1101589.9787 | 2719805.7156 | 1101617.9532 | 2719816.3425 | 1101638.8217 | 2719828.7024 | 1101653.0643 | 2719839.1698 | 1101661.2209 | 2719851.6597 | 1101668.0943 | 2719857.2346 | 1101669.5942
51 | 2719857.2346 | 1101669.5942 | 2719854.7624 | 1101661.8957 | 2719845.8572 | 1101653.4252 | 2719868.0763 | 1101600.6004
52 | 2719935.9288 | 1101509.7923 | 2719943.4476 | 1101526.7198
53 | 2719873.6357 | 1101587.3831 | 2719868.0763 | 1101600.6004

## bus_geodata
| x | y | coords
0 | 2719561.4899 | 1101445.6638
1 | 2719555.5649 | 1101457.4913
2 | 2719572.0841 | 1101424.5158
3 | 2719569.189 | 1101471.0263
4 | 2719573.8621 | 1101420.9658
5 | 2719595.3619 | 1101418.316
6 | 2719616.1536 | 1101403.391
7 | 2719631.1568 | 1101395.9035
8 | 2719655.969 | 1101390.3439
9 | 2719637.9461 | 1101435.5203
10 | 2719664.4745 | 1101397.5276
11 | 2719638.0771 | 1101437.117
12 | 2719694.0172 | 1101303.3147
13 | 2719718.6023 | 1101320.9744
14 | 2719672.4181 | 1101400.2304
15 | 2719643.8242 | 1101456.6506
16 | 2719666.1439 | 1101449.4676
17 | 2719677.6983 | 1101440.5771
18 | 2719693.4095 | 1101430.0792
19 | 2719704.6661 | 1101422.7506
20 | 2719725.4335 | 1101408.3362
21 | 2719752.0092 | 1101424.0487
22 | 2719740.6033 | 1101395.8403
23 | 2719698.2693 | 1101495.4835
24 | 2719779.9406 | 1101442.8458
25 | 2719745.2143 | 1101391.4204
26 | 2719764.7886 | 1101370.7638
27 | 2719761.5581 | 1101344.7469
28 | 2719760.1823 | 1101321.5212
29 | 2719782.2534 | 1101380.9124
30 | 2719777.8799 | 1101417.8954
31 | 2719813.4861 | 1101486.6488
32 | 2719765.2863 | 1101464.8165
33 | 2719754.8728 | 1101285.5648
34 | 2719746.5453 | 1101331.7914
35 | 2719812.5665 | 1101464.6043
36 | 2719753.3478 | 1101502.9386
37 | 2719744.336 | 1101517.838
38 | 2719754.5867 | 1101501.0408
39 | 2719739.8231 | 1101528.5957
40 | 2719739.0939 | 1101530.3341
41 | 2719733.4733 | 1101549.0144
42 | 2719738.4301 | 1101554.5403
43 | 2719748.6666 | 1101564.5992
44 | 2719752.3601 | 1101568.014
45 | 2719820.0365 | 1101493.6384
46 | 2719813.3995 | 1101535.7786
47 | 2719808.3123 | 1101553.8489
48 | 2719792.3294 | 1101568.2325
49 | 2719857.2346 | 1101669.5942
50 | 2719820.9002 | 1101409.0969
51 | 2719935.9288 | 1101509.7923
52 | 2719868.0763 | 1101600.6004
53 | 2719943.4476 | 1101526.7198
54 | 2719873.6357 | 1101587.3831
55 | 2719752.6804 | 1101483.0251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1