## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-115_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-115_0_5_node_77 | 0.4 | n |  | TRUE
2 | bus_LV_5192-115_0_5_node_78 | 0.4 | n |  | TRUE
3 | bus_LV_5192-115_0_5_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_5192-115_0_5_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_5192-115_0_5_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_5192-115_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_5192-115_0_5_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_5192-115_0_5_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5192-115_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5192-115_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5192-115_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5192-115_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5192-115_0_5_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_5192-115_0_5_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_5192-115_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_5192-115_0_5_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_5192-115_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_5192-115_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5192-115_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5192-115_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5192-115_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5192-115_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5192-115_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5192-115_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5192-115_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5192-115_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5192-115_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5192-115_0_5_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_5192-115_0_5_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_5192-115_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5192-115_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5192-115_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5192-115_0_5_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_5192-115_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5192-115_0_5_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_5192-115_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_5192-115_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5192-115_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5192-115_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5192-115_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5192-115_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5192-115_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5192-115_0_5_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_5192-115_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5192-115_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5192-115_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5192-115_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5192-115_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5192-115_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5192-115_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5192-115_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5192-115_0_5_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5192-115_0_5_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_5192-115_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5192-115_0_5_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5192-115_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5192-115_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5192-115_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5192-115_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5192-115_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5192-115_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5192-115_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_5192-115_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5192-115_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5192-115_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_5192-115_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5192-115_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5192-115_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5192-115_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5192-115_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5192-115_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5192-115_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5192-115_0_5_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5192-115_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5192-115_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_MV_71_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-115_0_5_load_0 | 0 | 0.0052236 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-115_0_5_load_77 | 1 | 0.0036469 | 0.00091401 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-115_0_5_load_78 | 2 | 0.0036409 | 0.00091251 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-115_0_5_load_71 | 3 | 0.0036433 | 0.0009131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-115_0_5_load_20 | 4 | 0.021405 | 0.0053646 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-115_0_5_load_72 | 5 | 0.0080675 | 0.0020219 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-115_0_5_load_2 | 7 | 0.0097083 | 0.0024331 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-115_0_5_load_3 | 8 | 0.0021829 | 0.00054709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-115_0_5_load_6 | 11 | 0.0008184 | 0.00020511 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-115_0_5_load_7 | 12 | 0.0027667 | 0.0006934 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-115_0_5_load_58 | 13 | 0.0037013 | 0.00092763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-115_0_5_load_44 | 14 | 0.003522 | 0.00088268 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-115_0_5_load_74 | 15 | 0.0027688 | 0.00069392 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-115_0_5_load_59 | 16 | 0.0014729 | 0.00036914 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-115_0_5_load_75 | 17 | 0.0029513 | 0.00073968 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-115_0_5_load_8 | 18 | 0.024937 | 0.0062499 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-115_0_5_load_9 | 19 | 0.014861 | 0.0037245 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-115_0_5_load_11 | 21 | 0.024049 | 0.0060273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-115_0_5_load_12 | 22 | 0.0017702 | 0.00044364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-115_0_5_load_13 | 23 | 0.015031 | 0.0037672 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-115_0_5_load_21 | 24 | 0.0075965 | 0.0019039 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-115_0_5_load_14 | 25 | 0.0075328 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-115_0_5_load_22 | 26 | 0.003729 | 0.00093457 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-115_0_5_load_15 | 27 | 0.011279 | 0.0028268 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-115_0_5_load_64 | 28 | 0.0057584 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-115_0_5_load_63 | 29 | 0.012817 | 0.0032122 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-115_0_5_load_16 | 30 | 0.015399 | 0.0038594 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-115_0_5_load_19 | 32 | 0.0043341 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-115_0_5_load_66 | 33 | 0.01007 | 0.0025239 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-115_0_5_load_62 | 35 | 0.0061016 | 0.0015292 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-115_0_5_load_43 | 36 | 0.0046518 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-115_0_5_load_24 | 37 | 0.0023398 | 0.00058641 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-115_0_5_load_25 | 38 | 0.0021994 | 0.00055122 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-115_0_5_load_26 | 39 | 0.0077941 | 0.0019534 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-115_0_5_load_42 | 41 | 0.0078073 | 0.0019567 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-115_0_5_load_73 | 43 | 0.010791 | 0.0027044 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-115_0_5_load_29 | 45 | 0.0072322 | 0.0018126 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-115_0_5_load_30 | 46 | 0.0040968 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-115_0_5_load_31 | 47 | 0.0017462 | 0.00043764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-115_0_5_load_41 | 48 | 0.0086299 | 0.0021629 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-115_0_5_load_39 | 49 | 0.0040854 | 0.0010239 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-115_0_5_load_33 | 50 | 0.0018497 | 0.00046357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-115_0_5_load_34 | 51 | 0.0089371 | 0.0022399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-115_0_5_load_35 | 52 | 0.001673 | 0.0004193 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-115_0_5_load_36 | 53 | 0.0015939 | 0.00039946 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-115_0_5_load_37 | 54 | 0.0011541 | 0.00028924 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-115_0_5_load_61 | 55 | 0.0091638 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-115_0_5_load_56 | 56 | 0.0013344 | 0.00033443 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-115_0_5_load_57 | 57 | 0.0021246 | 0.00053247 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-115_0_5_load_38 | 58 | 0.0012585 | 0.00031541 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-115_0_5_load_40 | 59 | 0.0014592 | 0.00036571 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-115_0_5_load_45 | 60 | 0.0048182 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-115_0_5_load_46 | 61 | 0.005708 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-115_0_5_load_47 | 62 | 0.0036469 | 0.00091401 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-115_0_5_load_48 | 63 | 0.0027681 | 0.00069376 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-115_0_5_load_49 | 64 | 0.003647 | 0.00091401 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-115_0_5_load_76 | 65 | 0.0029098 | 0.00072927 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-115_0_5_load_50 | 66 | 0.01071 | 0.0026842 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-115_0_5_load_54 | 68 | 0.017598 | 0.0044106 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-115_0_5_load_55 | 69 | 0.0021815 | 0.00054673 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-115_0_5_load_60 | 70 | 0.0024749 | 0.00062027 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-115_0_5_load_67 | 72 | 0.0036436 | 0.00091317 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-115_0_5_load_69 | 73 | 0.0036438 | 0.00091322 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-115_0_5_load_68 | 74 | 0.036579 | 0.0091674 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-115_0_5_load_70 | 75 | 0.0036469 | 0.00091401 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-115_0_5_line_0 |  | 0 | 1 | 0.63566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-115_0_5_line_1 |  | 1 | 2 | 0.0016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5192-115_0_5_line_2 |  | 1 | 3 | 0.0095715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5192-115_0_5_line_3 |  | 2 | 64 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5192-115_0_5_line_4 |  | 3 | 75 | 0.00024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5192-115_0_5_line_5 |  | 4 | 5 | 0.039905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-115_0_5_line_6 |  | 4 | 6 | 0.068503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-115_0_5_line_7 |  | 5 | 33 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-115_0_5_line_8 |  | 6 | 30 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-115_0_5_line_9 |  | 6 | 31 | 0.035799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-115_0_5_line_10 |  | 7 | 8 | 0.027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-115_0_5_line_11 |  | 7 | 9 | 0.05722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5192-115_0_5_line_12 |  | 8 | 10 | 0.024799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-115_0_5_line_13 |  | 9 | 11 | 0.0048565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-115_0_5_line_14 |  | 9 | 12 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5192-115_0_5_line_15 |  | 10 | 13 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-115_0_5_line_16 |  | 11 | 14 | 0.048519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-115_0_5_line_17 |  | 12 | 15 | 0.00014666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5192-115_0_5_line_18 |  | 13 | 16 | 0.033662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-115_0_5_line_19 |  | 15 | 17 | 0.0080519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5192-115_0_5_line_20 |  | 16 | 70 | 0.047799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-115_0_5_line_21 |  | 17 | 65 | 0.0076756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5192-115_0_5_line_22 |  | 18 | 19 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5192-115_0_5_line_23 |  | 18 | 20 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5192-115_0_5_line_24 |  | 19 | 21 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5192-115_0_5_line_25 |  | 20 | 22 | 0.0839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5192-115_0_5_line_26 |  | 21 | 23 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5192-115_0_5_line_27 |  | 22 | 24 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5192-115_0_5_line_28 |  | 23 | 25 | 0.0099296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5192-115_0_5_line_29 |  | 24 | 26 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5192-115_0_5_line_30 |  | 25 | 27 | 0.011475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5192-115_0_5_line_31 |  | 26 | 34 | 0.054005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-115_0_5_line_32 |  | 27 | 28 | 0.022858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5192-115_0_5_line_33 |  | 28 | 29 | 0.0060812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5192-115_0_5_line_34 |  | 29 | 71 | 0.035692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5192-115_0_5_line_35 |  | 31 | 32 | 0.061347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-115_0_5_line_36 |  | 33 | 71 | 0.045025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-115_0_5_line_37 |  | 34 | 35 | 0.041238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-115_0_5_line_38 |  | 34 | 36 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-115_0_5_line_39 |  | 36 | 40 | 0.06314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-115_0_5_line_40 |  | 36 | 41 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-115_0_5_line_41 |  | 37 | 38 | 0.024255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-115_0_5_line_42 |  | 38 | 39 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-115_0_5_line_43 |  | 39 | 40 | 0.022708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-115_0_5_line_44 |  | 40 | 44 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-115_0_5_line_45 |  | 41 | 48 | 0.0075733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-115_0_5_line_46 |  | 42 | 43 | 0.042726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-115_0_5_line_47 |  | 42 | 44 | 0.02177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-115_0_5_line_48 |  | 44 | 45 | 0.033325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-115_0_5_line_49 |  | 45 | 46 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-115_0_5_line_50 |  | 46 | 47 | 0.042961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-115_0_5_line_51 |  | 47 | 50 | 0.0001577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-115_0_5_line_52 |  | 48 | 49 | 0.041414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-115_0_5_line_53 |  | 49 | 54 | 0.0029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-115_0_5_line_54 |  | 50 | 51 | 0.06552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5192-115_0_5_line_55 |  | 51 | 55 | 0.042119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-115_0_5_line_56 |  | 52 | 53 | 0.0011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-115_0_5_line_57 |  | 52 | 54 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5192-115_0_5_line_58 |  | 53 | 58 | 0.0032227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-115_0_5_line_59 |  | 56 | 57 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-115_0_5_line_60 |  | 57 | 59 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-115_0_5_line_61 |  | 58 | 59 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-115_0_5_line_62 |  | 60 | 61 | 0.035562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5192-115_0_5_line_63 |  | 60 | 62 | 0.040594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5192-115_0_5_line_64 |  | 61 | 63 | 0.042893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5192-115_0_5_line_65 |  | 62 | 64 | 0.0020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5192-115_0_5_line_66 |  | 63 | 65 | 0.00037606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5192-115_0_5_line_67 |  | 66 | 67 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-115_0_5_line_68 |  | 67 | 68 | 0.046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-115_0_5_line_69 |  | 67 | 69 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5192-115_0_5_line_70 |  | 69 | 70 | 0.0089291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-115_0_5_line_71 |  | 71 | 72 | 0.006257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5192-115_0_5_line_72 |  | 72 | 73 | 0.0011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5192-115_0_5_line_73 |  | 73 | 74 | 0.0040189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5192-115_0_5_line_74 |  | 74 | 75 | 0.0079126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-115_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 76 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2714811.1574 | 1090433.5565 | 2715240.3469 | 1089964.669
1 | 2714809.8556 | 1090432.47 | 2714811.1574 | 1090433.5565
2 | 2714811.1574 | 1090433.5565 | 2714815.4116 | 1090437.1074 | 2714818.198 | 1090440.0191
3 | 2714809.8556 | 1090432.47 | 2714800.6115 | 1090424.7543
4 | 2714818.198 | 1090440.0191 | 2714818.3681 | 1090440.1968
5 | 2714876.3211 | 1090491.7849 | 2714890.1364 | 1090499.2605 | 2714911.463 | 1090510.6912
6 | 2714961.6448 | 1090555.4941 | 2714959.4603 | 1090551.6724 | 2714952.5952 | 1090540.7018 | 2714939.2415 | 1090528.3744 | 2714929.2928 | 1090520.937 | 2714911.5099 | 1090510.7163 | 2714911.463 | 1090510.6912
7 | 2714864.5042 | 1090484.6502 | 2714869.8243 | 1090488.2694 | 2714876.3211 | 1090491.7849
8 | 2714961.6448 | 1090555.4941 | 2714950.7676 | 1090559.8471 | 2714954.9152 | 1090568.7557
9 | 2714976.8127 | 1090587.9363 | 2714961.6448 | 1090555.4941
10 | 2714627.2437 | 1090304.9318 | 2714603.4178 | 1090290.6575
11 | 2714675.0761 | 1090336.3254 | 2714632.2902 | 1090307.9553 | 2714627.2437 | 1090304.9318
12 | 2714582.1448 | 1090277.9125 | 2714603.4178 | 1090290.6575
13 | 2714675.0761 | 1090336.3254 | 2714672.417 | 1090340.3891
14 | 2714675.0761 | 1090336.3254 | 2714688.6579 | 1090345.3307
15 | 2714582.1448 | 1090277.9125 | 2714569.5498 | 1090270.3683
16 | 2714711.3839 | 1090369.2972 | 2714672.417 | 1090340.3891 | 2714672.417 | 1090340.3891
17 | 2714688.6579 | 1090345.3307 | 2714688.7801 | 1090345.4118
18 | 2714569.5498 | 1090270.3683 | 2714549.0464 | 1090258.0869 | 2714540.4868 | 1090253.3936
19 | 2714688.7801 | 1090345.4118 | 2714695.4909 | 1090349.8613
20 | 2714498.6098 | 1090230.3523 | 2714500.1806 | 1090231.2934 | 2714540.4868 | 1090253.3936
21 | 2714701.888 | 1090354.1029 | 2714695.4909 | 1090349.8613
22 | 2714799.7608 | 1090562.3581 | 2714812.2534 | 1090555.0956 | 2714814.6673 | 1090553.6924
23 | 2714781.1326 | 1090573.1876 | 2714799.7608 | 1090562.3581
24 | 2714814.6673 | 1090553.6924 | 2714818.1263 | 1090551.6818 | 2714826.3456 | 1090546.8002
25 | 2714781.1326 | 1090573.1876 | 2714772.3342 | 1090551.2288 | 2714760.2013 | 1090523.5031 | 2714747.9046 | 1090504.8696 | 2714745.4541 | 1090501.1652 | 2714743.1078 | 1090498.9693
26 | 2714826.3456 | 1090546.8002 | 2714826.3456 | 1090546.8002 | 2714832.5056 | 1090537.6324 | 2714832.5056 | 1090537.6324
27 | 2714743.1078 | 1090498.9693 | 2714730.6362 | 1090487.2971
28 | 2714831.962 | 1090527.7177 | 2714832.5056 | 1090537.6324
29 | 2714711.633 | 1090473.599 | 2714727.2793 | 1090484.1553 | 2714730.6362 | 1090487.2971
30 | 2714831.2841 | 1090516.2679 | 2714831.3462 | 1090516.4849 | 2714831.962 | 1090527.7177
31 | 2714666.8686 | 1090443.3887 | 2714684.6572 | 1090455.3988 | 2714711.633 | 1090473.599
32 | 2714831.2841 | 1090516.2679 | 2714825.0005 | 1090494.2903
33 | 2714823.9914 | 1090488.3045 | 2714824.6245 | 1090492.9752 | 2714825.0005 | 1090494.2903
34 | 2714831.7092 | 1090454.1377 | 2714830.1384 | 1090472.8432 | 2714828.2583 | 1090477.5443 | 2714824.8259 | 1090482.7164 | 2714823.9914 | 1090488.3045
35 | 2714976.8127 | 1090587.9363 | 2714978.4633 | 1090591.2809 | 2715000.3093 | 1090644.5962
36 | 2714831.7092 | 1090454.1377 | 2714846.9324 | 1090471.3813 | 2714862.2595 | 1090483.1231 | 2714864.5042 | 1090484.6502
37 | 2714666.8686 | 1090443.3887 | 2714690.0488 | 1090409.2465
38 | 2714666.8686 | 1090443.3887 | 2714655.4672 | 1090434.3677
39 | 2714655.4672 | 1090434.3677 | 2714620.8009 | 1090487.1398
40 | 2714640.781 | 1090422.7467 | 2714649.8672 | 1090429.9369 | 2714655.4672 | 1090434.3677
41 | 2714672.3368 | 1090537.7361 | 2714666.8908 | 1090530.6379 | 2714656.2527 | 1090519.6301
42 | 2714637.8329 | 1090502.1593 | 2714639.2764 | 1090503.4323 | 2714654.2715 | 1090517.5801 | 2714656.2527 | 1090519.6301
43 | 2714620.8009 | 1090487.1398 | 2714637.8329 | 1090502.1593
44 | 2714613.6125 | 1090495.3433 | 2714620.8009 | 1090487.1398
45 | 2714634.8423 | 1090418.0472 | 2714640.781 | 1090422.7467
46 | 2714628.9546 | 1090510.8318 | 2714599.5298 | 1090541.8109
47 | 2714628.9546 | 1090510.8318 | 2714613.6125 | 1090495.3433
48 | 2714613.6125 | 1090495.3433 | 2714589.2191 | 1090472.6377
49 | 2714589.2191 | 1090472.6377 | 2714571.1012 | 1090455.7734
50 | 2714571.1012 | 1090455.7734 | 2714539.6549 | 1090426.5028
51 | 2714539.5394 | 1090426.3954 | 2714539.6549 | 1090426.5028
52 | 2714634.8423 | 1090418.0472 | 2714627.3412 | 1090412.1114 | 2714604.8532 | 1090389.5592
53 | 2714602.7779 | 1090387.478 | 2714604.8532 | 1090389.5592
54 | 2714539.5394 | 1090426.3954 | 2714522.5138 | 1090410.5478 | 2714490.4925 | 1090382.9695
55 | 2714490.4925 | 1090382.9695 | 2714469.7996 | 1090346.2847
56 | 2714590.059 | 1090374.2208 | 2714589.2552 | 1090373.3562
57 | 2714590.059 | 1090374.2208 | 2714596.957 | 1090381.6405 | 2714602.7779 | 1090387.478
58 | 2714589.2552 | 1090373.3562 | 2714587.0609 | 1090370.9959
59 | 2714550.9162 | 1090328.1495 | 2714562.8713 | 1090343.7378
60 | 2714562.8713 | 1090343.7378 | 2714568.3235 | 1090350.8468 | 2714576.0405 | 1090359.1439
61 | 2714576.0405 | 1090359.1439 | 2714580.1966 | 1090363.6125 | 2714587.0609 | 1090370.9959
62 | 2714766.6417 | 1090399.047 | 2714737.6249 | 1090378.4875
63 | 2714766.6417 | 1090399.047 | 2714787.6209 | 1090413.9116 | 2714799.0463 | 1090423.4479
64 | 2714702.2015 | 1090354.3108 | 2714722.4725 | 1090367.7514 | 2714737.6249 | 1090378.4875
65 | 2714799.0463 | 1090423.4479 | 2714800.6115 | 1090424.7543
66 | 2714701.888 | 1090354.1029 | 2714702.2015 | 1090354.3108
67 | 2714480.3106 | 1090219.3891 | 2714468.9334 | 1090212.1578
68 | 2714480.3106 | 1090219.3891 | 2714479.7152 | 1090227.9505 | 2714481.8325 | 1090237.0077 | 2714499.1751 | 1090260.0803
69 | 2714480.3106 | 1090219.3891 | 2714490.9502 | 1090225.7634
70 | 2714498.6098 | 1090230.3523 | 2714490.9502 | 1090225.7634
71 | 2714831.7092 | 1090454.1377 | 2714827.3832 | 1090449.6172
72 | 2714826.6175 | 1090448.8171 | 2714827.3832 | 1090449.6172
73 | 2714823.8389 | 1090445.9136 | 2714826.6175 | 1090448.8171
74 | 2714823.8389 | 1090445.9136 | 2714818.3681 | 1090440.1968

## bus_geodata
| x | y | coords
0 | 2715240.3469 | 1089964.669
1 | 2714811.1574 | 1090433.5565
2 | 2714809.8556 | 1090432.47
3 | 2714818.198 | 1090440.0191
4 | 2714911.463 | 1090510.6912
5 | 2714876.3211 | 1090491.7849
6 | 2714961.6448 | 1090555.4941
7 | 2714627.2437 | 1090304.9318
8 | 2714603.4178 | 1090290.6575
9 | 2714675.0761 | 1090336.3254
10 | 2714582.1448 | 1090277.9125
11 | 2714672.417 | 1090340.3891
12 | 2714688.6579 | 1090345.3307
13 | 2714569.5498 | 1090270.3683
14 | 2714711.3839 | 1090369.2972
15 | 2714688.7801 | 1090345.4118
16 | 2714540.4868 | 1090253.3936
17 | 2714695.4909 | 1090349.8613
18 | 2714799.7608 | 1090562.3581
19 | 2714814.6673 | 1090553.6924
20 | 2714781.1326 | 1090573.1876
21 | 2714826.3456 | 1090546.8002
22 | 2714743.1078 | 1090498.9693
23 | 2714832.5056 | 1090537.6324
24 | 2714730.6362 | 1090487.2971
25 | 2714831.962 | 1090527.7177
26 | 2714711.633 | 1090473.599
27 | 2714831.2841 | 1090516.2679
28 | 2714825.0005 | 1090494.2903
29 | 2714823.9914 | 1090488.3045
30 | 2714954.9152 | 1090568.7557
31 | 2714976.8127 | 1090587.9363
32 | 2715000.3093 | 1090644.5962
33 | 2714864.5042 | 1090484.6502
34 | 2714666.8686 | 1090443.3887
35 | 2714690.0488 | 1090409.2465
36 | 2714655.4672 | 1090434.3677
37 | 2714672.3368 | 1090537.7361
38 | 2714656.2527 | 1090519.6301
39 | 2714637.8329 | 1090502.1593
40 | 2714620.8009 | 1090487.1398
41 | 2714640.781 | 1090422.7467
42 | 2714628.9546 | 1090510.8318
43 | 2714599.5298 | 1090541.8109
44 | 2714613.6125 | 1090495.3433
45 | 2714589.2191 | 1090472.6377
46 | 2714571.1012 | 1090455.7734
47 | 2714539.6549 | 1090426.5028
48 | 2714634.8423 | 1090418.0472
49 | 2714604.8532 | 1090389.5592
50 | 2714539.5394 | 1090426.3954
51 | 2714490.4925 | 1090382.9695
52 | 2714590.059 | 1090374.2208
53 | 2714589.2552 | 1090373.3562
54 | 2714602.7779 | 1090387.478
55 | 2714469.7996 | 1090346.2847
56 | 2714550.9162 | 1090328.1495
57 | 2714562.8713 | 1090343.7378
58 | 2714587.0609 | 1090370.9959
59 | 2714576.0405 | 1090359.1439
60 | 2714766.6417 | 1090399.047
61 | 2714737.6249 | 1090378.4875
62 | 2714799.0463 | 1090423.4479
63 | 2714702.2015 | 1090354.3108
64 | 2714800.6115 | 1090424.7543
65 | 2714701.888 | 1090354.1029
66 | 2714468.9334 | 1090212.1578
67 | 2714480.3106 | 1090219.3891
68 | 2714499.1751 | 1090260.0803
69 | 2714490.9502 | 1090225.7634
70 | 2714498.6098 | 1090230.3523
71 | 2714831.7092 | 1090454.1377
72 | 2714827.3832 | 1090449.6172
73 | 2714826.6175 | 1090448.8171
74 | 2714823.8389 | 1090445.9136
75 | 2714818.3681 | 1090440.1968
76 | 2714666.8686 | 1090443.3887

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1