## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-145_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-145_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-145_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-145_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-145_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-145_0_7_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_5192-145_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5192-145_0_7_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5192-145_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5192-145_0_7_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5192-145_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5192-145_0_7_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5192-145_0_7_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5192-145_0_7_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5192-145_0_7_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5192-145_0_7_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5192-145_0_7_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5192-145_0_7_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5192-145_0_7_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_5192-145_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5192-145_0_7_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_5192-145_0_7_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5192-145_0_7_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5192-145_0_7_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5192-145_0_7_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5192-145_0_7_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5192-145_0_7_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5192-145_0_7_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5192-145_0_7_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5192-145_0_7_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5192-145_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5192-145_0_7_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5192-145_0_7_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5192-145_0_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5192-145_0_7_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5192-145_0_7_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5192-145_0_7_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5192-145_0_7_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_5192-145_0_7_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_5192-145_0_7_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5192-145_0_7_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5192-145_0_7_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5192-145_0_7_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5192-145_0_7_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5192-145_0_7_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5192-145_0_7_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_5192-145_0_7_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5192-145_0_7_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5192-145_0_7_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5192-145_0_7_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5192-145_0_7_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5192-145_0_7_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5192-145_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5192-145_0_7_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5192-145_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5192-145_0_7_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5192-145_0_7_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5192-145_0_7_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5192-145_0_7_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5192-145_0_7_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5192-145_0_7_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5192-145_0_7_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5192-145_0_7_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5192-145_0_7_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5192-145_0_7_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5192-145_0_7_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_5192-145_0_7_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_5192-145_0_7_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5192-145_0_7_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5192-145_0_7_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_5192-145_0_7_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5192-145_0_7_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_5192-145_0_7_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5192-145_0_7_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5192-145_0_7_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_5192-145_0_7_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5192-145_0_7_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5192-145_0_7_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5192-145_0_7_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5192-145_0_7_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5192-145_0_7_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5192-145_0_7_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_5192-145_0_7_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5192-145_0_7_node_79 | 0.4 | n |  | TRUE
84 | bus_MV_74_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-145_0_7_load_0 | 0 | 0.0043481 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-145_0_7_load_1 | 1 | 0.0072974 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-145_0_7_load_3 | 3 | 0.0070048 | 0.0017556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-145_0_7_load_4 | 4 | 0.0035926 | 0.0009004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-145_0_7_load_18 | 5 | 0.0039458 | 0.00098892 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-145_0_7_load_5 | 6 | 0.0018144 | 0.00045474 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-145_0_7_load_17 | 7 | 0.0022088 | 0.00055357 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-145_0_7_load_6 | 8 | 0.007835 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-145_0_7_load_16 | 9 | 0.0020695 | 0.00051866 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-145_0_7_load_7 | 10 | 0.002055 | 0.00051503 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-145_0_7_load_14 | 12 | 0.0020241 | 0.00050728 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-145_0_7_load_13 | 13 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-145_0_7_load_19 | 14 | 0.0022921 | 0.00057446 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-145_0_7_load_12 | 15 | 0.0044343 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-145_0_7_load_9 | 16 | 0.0040147 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-145_0_7_load_10 | 17 | 0.0051142 | 0.0012817 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-145_0_7_load_83 | 18 | 0.010534 | 0.0026401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-145_0_7_load_11 | 19 | 0.0036499 | 0.00091475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-145_0_7_load_82 | 20 | 0.0071095 | 0.0017818 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-145_0_7_load_15 | 22 | 0.0020962 | 0.00052535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-145_0_7_load_36 | 25 | 0.0096598 | 0.002421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-145_0_7_load_33 | 27 | 0.0063 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-145_0_7_load_25 | 29 | 0.0040424 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-145_0_7_load_23 | 30 | 0.0052913 | 0.0013261 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-145_0_7_load_24 | 31 | 0.0057512 | 0.0014414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-145_0_7_load_26 | 32 | 0.0075062 | 0.0018812 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-145_0_7_load_28 | 33 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-145_0_7_load_29 | 34 | 0.0037041 | 0.00092834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-145_0_7_load_32 | 35 | 0.0097912 | 0.0024539 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-145_0_7_load_30 | 36 | 0.015088 | 0.0037813 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-145_0_7_load_62 | 39 | 0.0045783 | 0.0011474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-145_0_7_load_34 | 40 | 0.0030273 | 0.0007587 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-145_0_7_load_35 | 41 | 0.0022641 | 0.00056743 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-145_0_7_load_37 | 42 | 0.0014637 | 0.00036685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-145_0_7_load_38 | 43 | 0.0013079 | 0.0003278 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-145_0_7_load_39 | 44 | 0.0015521 | 0.00038898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-145_0_7_load_43 | 45 | 0.006638 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-145_0_7_load_48 | 46 | 0.0074485 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-145_0_7_load_40 | 47 | 0.0013014 | 0.00032615 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-145_0_7_load_41 | 48 | 0.0016437 | 0.00041194 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-145_0_7_load_42 | 49 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-145_0_7_load_44 | 51 | 0.0041236 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-145_0_7_load_45 | 52 | 0.0036336 | 0.00091068 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-145_0_7_load_46 | 53 | 0.0043281 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-145_0_7_load_49 | 54 | 0.0056699 | 0.001421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-145_0_7_load_50 | 55 | 0.013088 | 0.0032802 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-145_0_7_load_51 | 56 | 0.0076716 | 0.0019227 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-145_0_7_load_52 | 57 | 0.004767 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-145_0_7_load_54 | 58 | 0.0064168 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-145_0_7_load_56 | 60 | 0.0022978 | 0.00057588 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-145_0_7_load_57 | 61 | 0.0053489 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-145_0_7_load_58 | 62 | 0.004418 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-145_0_7_load_65 | 63 | 0.0047052 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-145_0_7_load_66 | 64 | 0.0061687 | 0.001546 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-145_0_7_load_71 | 66 | 0.02174 | 0.0054484 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-145_0_7_load_72 | 67 | 0.01529 | 0.003832 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-145_0_7_load_68 | 68 | 0.0040234 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-145_0_7_load_73 | 69 | 0.039431 | 0.0098823 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-145_0_7_load_64 | 70 | 0.0053575 | 0.0013427 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-145_0_7_load_75 | 71 | 0.0025525 | 0.0006397 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-145_0_7_load_60 | 72 | 0.0086424 | 0.002166 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-145_0_7_load_61 | 73 | 0.039454 | 0.0098882 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-145_0_7_load_67 | 75 | 0.010592 | 0.0026547 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-145_0_7_load_70 | 76 | 0.0075582 | 0.0018943 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-145_0_7_load_80 | 77 | 0.010939 | 0.0027415 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5192-145_0_7_load_78 | 78 | 0.011524 | 0.0028883 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5192-145_0_7_load_74 | 79 | 0.0083355 | 0.0020891 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5192-145_0_7_load_85 | 81 | 0.0048576 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5192-145_0_7_load_81 | 82 | 0.013801 | 0.0034589 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5192-145_0_7_load_79 | 83 | 0.022414 | 0.0056175 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-145_0_7_line_0 |  | 0 | 1 | 0.038994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-145_0_7_line_1 |  | 0 | 2 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-145_0_7_line_2 |  | 1 | 3 | 0.034059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-145_0_7_line_3 |  | 2 | 4 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-145_0_7_line_4 |  | 2 | 5 | 0.11124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-145_0_7_line_5 |  | 3 | 6 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-145_0_7_line_6 |  | 3 | 7 | 0.044825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-145_0_7_line_7 |  | 6 | 8 | 0.00049969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-145_0_7_line_8 |  | 7 | 9 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-145_0_7_line_9 |  | 8 | 10 | 0.021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-145_0_7_line_10 |  | 9 | 22 | 0.0086137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-145_0_7_line_11 |  | 10 | 11 | 0.0021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-145_0_7_line_12 |  | 11 | 12 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-145_0_7_line_13 |  | 11 | 13 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-145_0_7_line_14 |  | 12 | 14 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-145_0_7_line_15 |  | 13 | 15 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-145_0_7_line_16 |  | 14 | 21 | 0.026719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-145_0_7_line_17 |  | 15 | 19 | 0.033596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-145_0_7_line_18 |  | 16 | 17 | 0.0048874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-145_0_7_line_19 |  | 16 | 18 | 0.054789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-145_0_7_line_20 |  | 17 | 19 | 0.02697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-145_0_7_line_21 |  | 18 | 20 | 0.071674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-145_0_7_line_22 |  | 21 | 23 | 0.040035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-145_0_7_line_23 |  | 21 | 24 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5192-145_0_7_line_24 |  | 23 | 25 | 0.050127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-145_0_7_line_25 |  | 24 | 26 | 0.034584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5192-145_0_7_line_26 |  | 25 | 27 | 0.03828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-145_0_7_line_27 |  | 26 | 28 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5192-145_0_7_line_28 |  | 26 | 29 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-145_0_7_line_29 |  | 27 | 40 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-145_0_7_line_30 |  | 28 | 35 | 0.013112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5192-145_0_7_line_31 |  | 28 | 36 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-145_0_7_line_32 |  | 29 | 30 | 0.031662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-145_0_7_line_33 |  | 30 | 31 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-145_0_7_line_34 |  | 31 | 32 | 0.019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-145_0_7_line_35 |  | 32 | 33 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-145_0_7_line_36 |  | 33 | 34 | 0.0076782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-145_0_7_line_37 |  | 35 | 37 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5192-145_0_7_line_38 |  | 37 | 38 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5192-145_0_7_line_39 |  | 37 | 39 | 0.030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-145_0_7_line_40 |  | 38 | 70 | 0.062043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-145_0_7_line_41 |  | 38 | 62 | 0.01239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5192-145_0_7_line_42 |  | 39 | 73 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-145_0_7_line_43 |  | 40 | 41 | 0.0012973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-145_0_7_line_44 |  | 41 | 42 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-145_0_7_line_45 |  | 42 | 43 | 0.026216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-145_0_7_line_46 |  | 43 | 44 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-145_0_7_line_47 |  | 44 | 47 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-145_0_7_line_48 |  | 44 | 45 | 0.036226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-145_0_7_line_49 |  | 45 | 46 | 0.032083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-145_0_7_line_50 |  | 46 | 50 | 0.024649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-145_0_7_line_51 |  | 47 | 48 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-145_0_7_line_52 |  | 48 | 49 | 0.0077303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-145_0_7_line_53 |  | 50 | 54 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-145_0_7_line_54 |  | 50 | 52 | 0.0065647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5192-145_0_7_line_55 |  | 51 | 52 | 0.0057534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-145_0_7_line_56 |  | 51 | 53 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-145_0_7_line_57 |  | 54 | 55 | 0.0055652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5192-145_0_7_line_58 |  | 55 | 56 | 0.024473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-145_0_7_line_59 |  | 56 | 57 | 0.0037446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-145_0_7_line_60 |  | 58 | 59 | 0.028159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-145_0_7_line_61 |  | 59 | 60 | 0.002813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5192-145_0_7_line_62 |  | 59 | 61 | 0.048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5192-145_0_7_line_63 |  | 60 | 62 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5192-145_0_7_line_64 |  | 61 | 63 | 0.028972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5192-145_0_7_line_65 |  | 63 | 64 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-145_0_7_line_66 |  | 64 | 75 | 0.025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5192-145_0_7_line_67 |  | 65 | 66 | 0.0090096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-145_0_7_line_68 |  | 65 | 67 | 0.00074435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-145_0_7_line_69 |  | 65 | 68 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5192-145_0_7_line_70 |  | 66 | 69 | 0.018706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-145_0_7_line_71 |  | 68 | 76 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5192-145_0_7_line_72 |  | 68 | 75 | 0.041928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5192-145_0_7_line_73 |  | 70 | 71 | 0.064381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5192-145_0_7_line_74 |  | 71 | 74 | 0.026274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5192-145_0_7_line_75 |  | 72 | 73 | 0.020171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5192-145_0_7_line_76 |  | 74 | 80 | 0.023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5192-145_0_7_line_77 |  | 76 | 77 | 0.044736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5192-145_0_7_line_78 |  | 77 | 78 | 0.0094853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5192-145_0_7_line_79 |  | 78 | 79 | 0.047052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5192-145_0_7_line_80 |  | 80 | 81 | 0.034901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5192-145_0_7_line_81 |  | 81 | 82 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5192-145_0_7_line_82 |  | 82 | 83 | 0.065098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-145_0_7_trafo_59 | 0.63 MVA 20/0.4 kV | 84 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2719502.2913 | 1100746.8148 | 2719502.8641 | 1100747.5517 | 2719530.7773 | 1100773.4252
1 | 2719485.5494 | 1100733.1567 | 2719487.2203 | 1100732.4446 | 2719491.6736 | 1100733.1549 | 2719502.2913 | 1100746.8148
2 | 2719530.7773 | 1100773.4252 | 2719538.1971 | 1100780.3028 | 2719550.3214 | 1100789.3365 | 2719558.381 | 1100792.925
3 | 2719485.5494 | 1100733.1567 | 2719475.7493 | 1100723.246 | 2719474.7703 | 1100721.7394
4 | 2719485.5494 | 1100733.1567 | 2719420.5726 | 1100823.4441
5 | 2719558.381 | 1100792.925 | 2719562.2097 | 1100794.6297 | 2719575.9827 | 1100799.3596 | 2719579.1797 | 1100802.0678
6 | 2719558.381 | 1100792.925 | 2719545.9431 | 1100835.9895
7 | 2719579.1797 | 1100802.0678 | 2719579.561 | 1100802.3908
8 | 2719550.5815 | 1100852.2891 | 2719545.9431 | 1100835.9895
9 | 2719589.7238 | 1100821.3808 | 2719582.6078 | 1100804.9717 | 2719579.561 | 1100802.3908
10 | 2719550.9018 | 1100860.5723 | 2719551.9231 | 1100857.0038 | 2719550.5815 | 1100852.2891
11 | 2719590.5837 | 1100823.3637 | 2719589.7238 | 1100821.3808
12 | 2719590.5837 | 1100823.3637 | 2719596.6297 | 1100845.5563
13 | 2719590.5837 | 1100823.3637 | 2719606.2778 | 1100825.9804
14 | 2719601.4093 | 1100863.1001 | 2719596.6297 | 1100845.5563
15 | 2719616.9749 | 1100827.7641 | 2719616.9749 | 1100827.7641 | 2719606.2778 | 1100825.9804
16 | 2719615.1089 | 1100885.534 | 2719604.9654 | 1100873.4259 | 2719601.7241 | 1100864.2557 | 2719601.4093 | 1100863.1001
17 | 2719616.9749 | 1100827.7641 | 2719622.4776 | 1100826.6828 | 2719625.8881 | 1100823.3365 | 2719627.5157 | 1100818.5319 | 2719627.8791 | 1100800.3983
18 | 2719623.7548 | 1100768.8786 | 2719624.5278 | 1100773.7045
19 | 2719623.7548 | 1100768.8786 | 2719668.5302 | 1100737.304
20 | 2719624.5278 | 1100773.7045 | 2719627.9819 | 1100795.2694 | 2719627.8791 | 1100800.3983
21 | 2719662.2182 | 1100666.0364 | 2719663.1358 | 1100673.266 | 2719664.6967 | 1100684.0265 | 2719667.8665 | 1100705.8596 | 2719668.5302 | 1100737.304
22 | 2719618.3645 | 1100924.6252 | 2719620.231 | 1100920.6592 | 2719620.53 | 1100913.7381 | 2719615.1089 | 1100885.534
23 | 2719627.2487 | 1100880.8031 | 2719615.1089 | 1100885.534
24 | 2719618.3645 | 1100924.6252 | 2719620.0064 | 1100933.6304 | 2719617.1835 | 1100945.2718 | 2719615.6379 | 1100960.4519 | 2719616.2928 | 1100969.2598 | 2719618.5384 | 1100973.619
25 | 2719627.2487 | 1100880.8031 | 2719643.6599 | 1100880.5039 | 2719661.0051 | 1100886.2383
26 | 2719618.5384 | 1100973.619 | 2719618.2479 | 1101011.8984
27 | 2719661.0051 | 1100886.2383 | 2719679.4117 | 1100892.3274
28 | 2719661.0051 | 1100886.2383 | 2719662.4481 | 1100875.3415
29 | 2719618.2479 | 1101011.8984 | 2719621.36 | 1101026.8105 | 2719621.36 | 1101026.8105
30 | 2719679.4117 | 1100892.3274 | 2719691.861 | 1100896.4437
31 | 2719679.4117 | 1100892.3274 | 2719674.3978 | 1100901.2125 | 2719667.4926 | 1100914.5302 | 2719667.4714 | 1100914.6058
32 | 2719666.6047 | 1100843.9531 | 2719662.4481 | 1100875.3415
33 | 2719666.6047 | 1100843.9531 | 2719668.1398 | 1100832.3605
34 | 2719671.7598 | 1100812.7875 | 2719669.8282 | 1100819.6104 | 2719668.1398 | 1100832.3605
35 | 2719671.7598 | 1100812.7875 | 2719672.5077 | 1100810.1455 | 2719681.0118 | 1100800.1617
36 | 2719679.2935 | 1100792.6782 | 2719681.0118 | 1100800.1617
37 | 2719701.7257 | 1100899.7055 | 2719691.861 | 1100896.4437
38 | 2719701.7257 | 1100899.7055 | 2719711.4329 | 1100902.9101 | 2719727.2446 | 1100909.8487
39 | 2719701.7257 | 1100899.7055 | 2719688.8512 | 1100919.3209 | 2719686.6834 | 1100925.9934
40 | 2719727.2446 | 1100909.8487 | 2719722.1335 | 1100881.2615 | 2719726.882 | 1100857.572 | 2719731.1862 | 1100849.8489
41 | 2719727.2446 | 1100909.8487 | 2719734.2336 | 1100920.0799
42 | 2719686.6834 | 1100925.9934 | 2719682.4902 | 1100938.9005
43 | 2719621.36 | 1101026.8105 | 2719622.4261 | 1101027.5497
44 | 2719622.4261 | 1101027.5497 | 2719624.7434 | 1101029.1566 | 2719636.8197 | 1101027.0721
45 | 2719636.8197 | 1101027.0721 | 2719647.349 | 1101025.2546 | 2719655.4353 | 1101038.5146
46 | 2719655.4353 | 1101038.5146 | 2719661.0079 | 1101047.6526
47 | 2719661.0079 | 1101047.6526 | 2719666.9684 | 1101057.4266
48 | 2719692.461 | 1101029.6797 | 2719661.0079 | 1101047.6526
49 | 2719708.8422 | 1101002.0944 | 2719692.461 | 1101029.6797
50 | 2719733.401 | 1100999.2653 | 2719708.8422 | 1101002.0944
51 | 2719666.9684 | 1101057.4266 | 2719673.179 | 1101067.6109
52 | 2719673.179 | 1101067.6109 | 2719677.2038 | 1101074.2108
53 | 2719733.401 | 1100999.2653 | 2719734.5223 | 1101021.6794
54 | 2719733.401 | 1100999.2653 | 2719732.7549 | 1100992.7326
55 | 2719732.1886 | 1100987.0071 | 2719732.7549 | 1100992.7326
56 | 2719730.6319 | 1100971.2691 | 2719732.1886 | 1100987.0071
57 | 2719734.5223 | 1101021.6794 | 2719734.8004 | 1101027.2377
58 | 2719734.8004 | 1101027.2377 | 2719735.039 | 1101032.0092 | 2719735.2278 | 1101051.7038
59 | 2719735.2637 | 1101055.4482 | 2719735.2278 | 1101051.7038
60 | 2719748.1632 | 1100940.4711 | 2719748.6675 | 1100941.2038 | 2719753.4408 | 1100968.0519
61 | 2719748.1632 | 1100940.4711 | 2719746.5765 | 1100938.1483
62 | 2719748.1632 | 1100940.4711 | 2719776.8429 | 1100943.0383 | 2719780.5869 | 1100942.8008 | 2719781.6709 | 1100940.4428 | 2719781.8446 | 1100937.1328 | 2719780.316 | 1100935.3459 | 2719773.5249 | 1100931.2538
63 | 2719746.5765 | 1100938.1483 | 2719734.2336 | 1100920.0799
64 | 2719751.7595 | 1100913.1996 | 2719753.3799 | 1100916.6018 | 2719757.2329 | 1100921.4367 | 2719773.5249 | 1100931.2538
65 | 2719751.7595 | 1100913.1996 | 2719749.0978 | 1100907.6112 | 2719747.7622 | 1100897.4292
66 | 2719754.1446 | 1100872.731 | 2719749.4466 | 1100884.4353 | 2719747.2875 | 1100893.8104 | 2719747.7622 | 1100897.4292
67 | 2719812.2875 | 1100891.546 | 2719809.9635 | 1100900.2506
68 | 2719812.4794 | 1100890.8268 | 2719812.2875 | 1100891.546
69 | 2719812.2875 | 1100891.546 | 2719794.8977 | 1100882.5857
70 | 2719809.9635 | 1100900.2506 | 2719816.9293 | 1100917.6112
71 | 2719800.762 | 1100869.4589 | 2719794.8977 | 1100882.5857
72 | 2719754.1446 | 1100872.731 | 2719794.8977 | 1100882.5857
73 | 2719731.1862 | 1100849.8489 | 2719739.4348 | 1100835.0482 | 2719744.3701 | 1100832.5104 | 2719762.2347 | 1100823.3006 | 2719768.4919 | 1100820.0773 | 2719779.4271 | 1100810.1791
74 | 2719794.0514 | 1100788.5483 | 2719791.7377 | 1100793.1947 | 2719782.4131 | 1100807.4763 | 2719779.4271 | 1100810.1791
75 | 2719681.2438 | 1100958.8675 | 2719681.2025 | 1100942.8643 | 2719682.4902 | 1100938.9005
76 | 2719804.6934 | 1100767.1433 | 2719794.0514 | 1100788.5483
77 | 2719826.911 | 1100833.1606 | 2719800.762 | 1100869.4589
78 | 2719826.911 | 1100833.1606 | 2719836.3935 | 1100832.9317
79 | 2719836.3935 | 1100832.9317 | 2719862.5131 | 1100872.0681
80 | 2719804.6934 | 1100767.1433 | 2719814.4322 | 1100773.4619 | 2719834.1965 | 1100785.7862
81 | 2719853.5685 | 1100797.8658 | 2719834.1965 | 1100785.7862
82 | 2719853.5685 | 1100797.8658 | 2719880.7784 | 1100814.8328 | 2719897.6327 | 1100815.6326 | 2719902.4368 | 1100819.3523 | 2719904.3121 | 1100824.3594 | 2719903.1068 | 1100828.9388 | 2719903.1068 | 1100828.9388

## bus_geodata
| x | y | coords
0 | 2719502.2913 | 1100746.8148
1 | 2719530.7773 | 1100773.4252
2 | 2719485.5494 | 1100733.1567
3 | 2719558.381 | 1100792.925
4 | 2719474.7703 | 1100721.7394
5 | 2719420.5726 | 1100823.4441
6 | 2719579.1797 | 1100802.0678
7 | 2719545.9431 | 1100835.9895
8 | 2719579.561 | 1100802.3908
9 | 2719550.5815 | 1100852.2891
10 | 2719589.7238 | 1100821.3808
11 | 2719590.5837 | 1100823.3637
12 | 2719596.6297 | 1100845.5563
13 | 2719606.2778 | 1100825.9804
14 | 2719601.4093 | 1100863.1001
15 | 2719616.9749 | 1100827.7641
16 | 2719623.7548 | 1100768.8786
17 | 2719624.5278 | 1100773.7045
18 | 2719668.5302 | 1100737.304
19 | 2719627.8791 | 1100800.3983
20 | 2719662.2182 | 1100666.0364
21 | 2719615.1089 | 1100885.534
22 | 2719550.9018 | 1100860.5723
23 | 2719618.3645 | 1100924.6252
24 | 2719627.2487 | 1100880.8031
25 | 2719618.5384 | 1100973.619
26 | 2719661.0051 | 1100886.2383
27 | 2719618.2479 | 1101011.8984
28 | 2719679.4117 | 1100892.3274
29 | 2719662.4481 | 1100875.3415
30 | 2719666.6047 | 1100843.9531
31 | 2719668.1398 | 1100832.3605
32 | 2719671.7598 | 1100812.7875
33 | 2719681.0118 | 1100800.1617
34 | 2719679.2935 | 1100792.6782
35 | 2719691.861 | 1100896.4437
36 | 2719667.4714 | 1100914.6058
37 | 2719701.7257 | 1100899.7055
38 | 2719727.2446 | 1100909.8487
39 | 2719686.6834 | 1100925.9934
40 | 2719621.36 | 1101026.8105
41 | 2719622.4261 | 1101027.5497
42 | 2719636.8197 | 1101027.0721
43 | 2719655.4353 | 1101038.5146
44 | 2719661.0079 | 1101047.6526
45 | 2719692.461 | 1101029.6797
46 | 2719708.8422 | 1101002.0944
47 | 2719666.9684 | 1101057.4266
48 | 2719673.179 | 1101067.6109
49 | 2719677.2038 | 1101074.2108
50 | 2719733.401 | 1100999.2653
51 | 2719732.1886 | 1100987.0071
52 | 2719732.7549 | 1100992.7326
53 | 2719730.6319 | 1100971.2691
54 | 2719734.5223 | 1101021.6794
55 | 2719734.8003 | 1101027.2377
56 | 2719735.2278 | 1101051.7038
57 | 2719735.2637 | 1101055.4482
58 | 2719753.4408 | 1100968.0519
59 | 2719748.1632 | 1100940.4711
60 | 2719746.5765 | 1100938.1483
61 | 2719773.5249 | 1100931.2538
62 | 2719734.2336 | 1100920.0799
63 | 2719751.7595 | 1100913.1996
64 | 2719747.7622 | 1100897.4292
65 | 2719812.2875 | 1100891.546
66 | 2719809.9635 | 1100900.2506
67 | 2719812.4794 | 1100890.8268
68 | 2719794.8977 | 1100882.5857
69 | 2719816.9293 | 1100917.6112
70 | 2719731.1862 | 1100849.8489
71 | 2719779.4271 | 1100810.1791
72 | 2719681.2438 | 1100958.8675
73 | 2719682.4902 | 1100938.9005
74 | 2719794.0514 | 1100788.5483
75 | 2719754.1446 | 1100872.731
76 | 2719800.762 | 1100869.4589
77 | 2719826.911 | 1100833.1606
78 | 2719836.3935 | 1100832.9317
79 | 2719862.5131 | 1100872.0681
80 | 2719804.6934 | 1100767.1433
81 | 2719834.1965 | 1100785.7862
82 | 2719853.5685 | 1100797.8658
83 | 2719903.1068 | 1100828.9388
84 | 2719701.7257 | 1100899.7055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1