## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-150_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-150_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-150_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-150_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-150_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-150_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5192-150_0_6_node_121 | 0.4 | n |  | TRUE
7 | bus_LV_5192-150_0_6_node_116 | 0.4 | n |  | TRUE
8 | bus_LV_5192-150_0_6_node_126 | 0.4 | n |  | TRUE
9 | bus_LV_5192-150_0_6_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_5192-150_0_6_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_5192-150_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5192-150_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5192-150_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5192-150_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5192-150_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5192-150_0_6_node_149 | 0.4 | n |  | TRUE
17 | bus_LV_5192-150_0_6_node_148 | 0.4 | n |  | TRUE
18 | bus_LV_5192-150_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5192-150_0_6_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5192-150_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5192-150_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5192-150_0_6_node_145 | 0.4 | n |  | TRUE
23 | bus_LV_5192-150_0_6_node_125 | 0.4 | n |  | TRUE
24 | bus_LV_5192-150_0_6_node_150 | 0.4 | n |  | TRUE
25 | bus_LV_5192-150_0_6_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_5192-150_0_6_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_5192-150_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5192-150_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5192-150_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5192-150_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5192-150_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_5192-150_0_6_node_136 | 0.4 | n |  | TRUE
33 | bus_LV_5192-150_0_6_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5192-150_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5192-150_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5192-150_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5192-150_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5192-150_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5192-150_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5192-150_0_6_node_138 | 0.4 | n |  | TRUE
41 | bus_LV_5192-150_0_6_node_137 | 0.4 | n |  | TRUE
42 | bus_LV_5192-150_0_6_node_127 | 0.4 | n |  | TRUE
43 | bus_LV_5192-150_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5192-150_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5192-150_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5192-150_0_6_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5192-150_0_6_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_5192-150_0_6_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_5192-150_0_6_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_5192-150_0_6_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_5192-150_0_6_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_5192-150_0_6_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_5192-150_0_6_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_5192-150_0_6_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_5192-150_0_6_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_5192-150_0_6_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_5192-150_0_6_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_5192-150_0_6_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_5192-150_0_6_node_123 | 0.4 | n |  | TRUE
60 | bus_LV_5192-150_0_6_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5192-150_0_6_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_5192-150_0_6_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_5192-150_0_6_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_5192-150_0_6_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_5192-150_0_6_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_5192-150_0_6_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_5192-150_0_6_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_5192-150_0_6_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_5192-150_0_6_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_5192-150_0_6_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_5192-150_0_6_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_5192-150_0_6_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_5192-150_0_6_node_110 | 0.4 | n |  | TRUE
74 | bus_LV_5192-150_0_6_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_5192-150_0_6_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_5192-150_0_6_node_124 | 0.4 | n |  | TRUE
77 | bus_LV_5192-150_0_6_node_144 | 0.4 | n |  | TRUE
78 | bus_LV_5192-150_0_6_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_5192-150_0_6_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_5192-150_0_6_node_141 | 0.4 | n |  | TRUE
81 | bus_LV_5192-150_0_6_node_143 | 0.4 | n |  | TRUE
82 | bus_MV_248_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-150_0_6_load_0 | 0 | 0.0098128 | 0.0024593 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-150_0_6_load_1 | 1 | 0.0028024 | 0.00070235 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-150_0_6_load_3 | 3 | 0.0041047 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-150_0_6_load_4 | 4 | 0.003675 | 0.00092105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-150_0_6_load_116 | 7 | 0.0025428 | 0.00063729 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-150_0_6_load_6 | 11 | 0.0037386 | 0.00093699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-150_0_6_load_7 | 12 | 0.0019115 | 0.00047907 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-150_0_6_load_8 | 13 | 0.0010022 | 0.00025118 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-150_0_6_load_9 | 14 | 0.0037518 | 0.0009403 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-150_0_6_load_149 | 16 | 0.0024221 | 0.00060705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-150_0_6_load_148 | 17 | 0.0020855 | 0.00052269 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-150_0_6_load_12 | 20 | 0.017816 | 0.0044652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-150_0_6_load_145 | 22 | 0.0022729 | 0.00056963 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-150_0_6_load_125 | 23 | 0.0046797 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-150_0_6_load_150 | 24 | 0.0067058 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-150_0_6_load_146 | 26 | 0.0016925 | 0.00042418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-150_0_6_load_17 | 27 | 0.0010917 | 0.0002736 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-150_0_6_load_14 | 28 | 0.012442 | 0.0031182 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-150_0_6_load_15 | 30 | 0.0062474 | 0.0015657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-150_0_6_load_37 | 31 | 0.0014247 | 0.00035707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-150_0_6_load_136 | 32 | 0.00087381 | 0.000219 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-150_0_6_load_35 | 33 | 0.001628 | 0.00040801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-150_0_6_load_19 | 34 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-150_0_6_load_20 | 35 | 0.0071423 | 0.00179 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-150_0_6_load_21 | 36 | 0.0061726 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-150_0_6_load_34 | 37 | 0.00054058 | 0.00013548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-150_0_6_load_36 | 38 | 0.0019073 | 0.00047801 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-150_0_6_load_38 | 39 | 0.00058582 | 0.00014682 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-150_0_6_load_138 | 40 | 0.0030956 | 0.00077582 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-150_0_6_load_137 | 41 | 0.00068461 | 0.00017158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-150_0_6_load_127 | 42 | 0.0028254 | 0.0007081 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-150_0_6_load_45 | 44 | 0.0068518 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-150_0_6_load_46 | 45 | 0.0025364 | 0.00063569 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-150_0_6_load_98 | 47 | 0.0054166 | 0.0013575 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-150_0_6_load_96 | 48 | 0.0093021 | 0.0023313 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-150_0_6_load_97 | 50 | 0.0068876 | 0.0017262 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-150_0_6_load_84 | 51 | 0.0020622 | 0.00051682 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-150_0_6_load_85 | 52 | 0.001824 | 0.00045714 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-150_0_6_load_86 | 53 | 0.0021306 | 0.00053399 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-150_0_6_load_87 | 54 | 0.0018567 | 0.00046532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-150_0_6_load_89 | 55 | 0.0020864 | 0.0005229 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-150_0_6_load_108 | 56 | 0.0033222 | 0.00083261 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-150_0_6_load_90 | 57 | 0.0025948 | 0.00065031 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-150_0_6_load_123 | 59 | 0.0040414 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-150_0_6_load_106 | 60 | 0.0038572 | 0.0009667 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-150_0_6_load_91 | 61 | 0.0053105 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-150_0_6_load_114 | 62 | 0.0031027 | 0.00077761 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-150_0_6_load_112 | 63 | 0.0032063 | 0.00080356 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-150_0_6_load_103 | 64 | 0.00073473 | 0.00018414 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-150_0_6_load_104 | 65 | 0.00074188 | 0.00018593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-150_0_6_load_99 | 66 | 0.0036323 | 0.00091033 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-150_0_6_load_100 | 67 | 0.0084298 | 0.0021127 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-150_0_6_load_101 | 68 | 0.0043911 | 0.0011005 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-150_0_6_load_102 | 69 | 0.0038343 | 0.00096097 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-150_0_6_load_105 | 70 | 0.0065969 | 0.0016533 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-150_0_6_load_107 | 71 | 0.00072511 | 0.00018173 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-150_0_6_load_109 | 72 | 0.0059999 | 0.0015037 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-150_0_6_load_110 | 73 | 0.0033528 | 0.00084029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-150_0_6_load_111 | 74 | 0.0015314 | 0.0003838 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-150_0_6_load_113 | 75 | 0.0033658 | 0.00084355 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-150_0_6_load_124 | 76 | 0.0020519 | 0.00051426 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-150_0_6_load_144 | 77 | 0.00032929 | 8.2527e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-150_0_6_load_142 | 78 | 0.00095878 | 0.00024029 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-150_0_6_load_140 | 79 | 0.0012919 | 0.00032378 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-150_0_6_load_141 | 80 | 0.00077187 | 0.00019345 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5192-150_0_6_load_143 | 81 | 0.014851 | 0.003722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-150_0_6_line_0 |  | 0 | 1 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5192-150_0_6_line_1 |  | 0 | 2 | 0.045916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5192-150_0_6_line_2 |  | 1 | 3 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5192-150_0_6_line_3 |  | 2 | 4 | 0.059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-150_0_6_line_4 |  | 2 | 5 | 0.071153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5192-150_0_6_line_5 |  | 3 | 6 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5192-150_0_6_line_6 |  | 5 | 7 | 0.047586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5192-150_0_6_line_7 |  | 6 | 8 | 0.03051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5192-150_0_6_line_8 |  | 6 | 9 | 0.074165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-150_0_6_line_9 |  | 7 | 10 | 0.058868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5192-150_0_6_line_10 |  | 8 | 26 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5192-150_0_6_line_11 |  | 8 | 58 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-150_0_6_line_12 |  | 9 | 56 | 0.0032236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-150_0_6_line_13 |  | 9 | 53 | 0.021033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-150_0_6_line_14 |  | 10 | 49 | 0.044466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5192-150_0_6_line_15 |  | 11 | 12 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5192-150_0_6_line_16 |  | 11 | 13 | 0.13778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5192-150_0_6_line_17 |  | 12 | 14 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5192-150_0_6_line_18 |  | 13 | 15 | 0.041945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5192-150_0_6_line_19 |  | 14 | 18 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5192-150_0_6_line_20 |  | 15 | 19 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5192-150_0_6_line_21 |  | 16 | 17 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-150_0_6_line_22 |  | 17 | 25 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-150_0_6_line_23 |  | 18 | 20 | 0.044801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5192-150_0_6_line_24 |  | 18 | 21 | 0.068681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5192-150_0_6_line_25 |  | 19 | 24 | 0.026591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5192-150_0_6_line_26 |  | 21 | 27 | 0.11221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5192-150_0_6_line_27 |  | 21 | 28 | 0.032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-150_0_6_line_28 |  | 22 | 23 | 0.016263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-150_0_6_line_29 |  | 23 | 76 | 0.0030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-150_0_6_line_30 |  | 24 | 25 | 0.1106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5192-150_0_6_line_31 |  | 25 | 26 | 0.040423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5192-150_0_6_line_32 |  | 27 | 29 | 0.050886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5192-150_0_6_line_33 |  | 28 | 30 | 0.056937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-150_0_6_line_34 |  | 29 | 34 | 0.068776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5192-150_0_6_line_35 |  | 31 | 32 | 0.034121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-150_0_6_line_36 |  | 31 | 33 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-150_0_6_line_37 |  | 32 | 41 | 0.00016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-150_0_6_line_38 |  | 33 | 37 | 0.0057809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-150_0_6_line_39 |  | 34 | 35 | 0.03332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5192-150_0_6_line_40 |  | 35 | 36 | 0.01458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-150_0_6_line_41 |  | 37 | 38 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-150_0_6_line_42 |  | 38 | 39 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-150_0_6_line_43 |  | 39 | 40 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-150_0_6_line_44 |  | 40 | 42 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-150_0_6_line_45 |  | 41 | 77 | 0.00034595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-150_0_6_line_46 |  | 42 | 65 | 0.012624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5192-150_0_6_line_47 |  | 43 | 44 | 0.023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-150_0_6_line_48 |  | 43 | 45 | 0.034101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-150_0_6_line_49 |  | 44 | 46 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-150_0_6_line_50 |  | 45 | 47 | 0.0010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-150_0_6_line_51 |  | 46 | 48 | 0.085069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5192-150_0_6_line_52 |  | 46 | 49 | 0.058391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5192-150_0_6_line_53 |  | 47 | 50 | 0.0043936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-150_0_6_line_54 |  | 48 | 64 | 0.056936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5192-150_0_6_line_55 |  | 49 | 62 | 0.026117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-150_0_6_line_56 |  | 50 | 66 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-150_0_6_line_57 |  | 51 | 52 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5192-150_0_6_line_58 |  | 51 | 53 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-150_0_6_line_59 |  | 52 | 54 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-150_0_6_line_60 |  | 54 | 55 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-150_0_6_line_61 |  | 55 | 57 | 0.004172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-150_0_6_line_62 |  | 56 | 60 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5192-150_0_6_line_63 |  | 57 | 61 | 0.0081343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5192-150_0_6_line_64 |  | 58 | 59 | 0.019461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-150_0_6_line_65 |  | 59 | 76 | 0.02541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-150_0_6_line_66 |  | 60 | 70 | 0.056594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5192-150_0_6_line_67 |  | 62 | 63 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-150_0_6_line_68 |  | 63 | 74 | 0.027758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-150_0_6_line_69 |  | 64 | 65 | 0.027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5192-150_0_6_line_70 |  | 66 | 67 | 0.0088413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-150_0_6_line_71 |  | 67 | 68 | 0.020255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5192-150_0_6_line_72 |  | 68 | 69 | 0.010325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5192-150_0_6_line_73 |  | 70 | 71 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5192-150_0_6_line_74 |  | 71 | 72 | 0.038639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5192-150_0_6_line_75 |  | 72 | 73 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5192-150_0_6_line_76 |  | 74 | 75 | 0.01181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5192-150_0_6_line_77 |  | 77 | 78 | 0.0034506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5192-150_0_6_line_78 |  | 78 | 79 | 0.0013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5192-150_0_6_line_79 |  | 79 | 80 | 0.0024113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5192-150_0_6_line_80 |  | 80 | 81 | 0.0033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-150_0_6_trafo_127 | 0.63 MVA 20/0.4 kV | 82 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2719171.5689 | 1098983.5523 | 2719164.801 | 1098981.6443 | 2719160.7535 | 1098979.4116
1 | 2719214.639 | 1098972.8268 | 2719203.729 | 1098980.229 | 2719176.2459 | 1098984.8709 | 2719171.5689 | 1098983.5523
2 | 2719160.7535 | 1098979.4116 | 2719155.0403 | 1098976.2602 | 2719138.1346 | 1098970.6903
3 | 2719214.639 | 1098972.8268 | 2719184.9685 | 1098969.7537 | 2719182.1236 | 1098939.8995
4 | 2719214.639 | 1098972.8268 | 2719233.5898 | 1098974.7888 | 2719254.1089 | 1098969.8436 | 2719253.7951 | 1098957.4288 | 2719268.2586 | 1098955.2222 | 2719267.84 | 1098951.3002
5 | 2719117.3979 | 1098963.8581 | 2719138.1346 | 1098970.6903
6 | 2719267.84 | 1098951.3002 | 2719263.6818 | 1098926.0344 | 2719262.657 | 1098910.7815 | 2719262.7884 | 1098904.09
7 | 2719105.126 | 1098990.158 | 2719112.5013 | 1098984.4987 | 2719117.3979 | 1098963.8581
8 | 2719125.8512 | 1098891.0067 | 2719126.8477 | 1098896.6635 | 2719126.4474 | 1098917.0698 | 2719126.1332 | 1098933.0858 | 2719118.2924 | 1098960.1064 | 2719117.3979 | 1098963.8581
9 | 2719277.1904 | 1098847.4561 | 2719275.6064 | 1098860.6787 | 2719270.6284 | 1098877.1479 | 2719265.0498 | 1098890.292 | 2719262.8912 | 1098898.8556 | 2719262.7884 | 1098904.09
10 | 2719105.126 | 1098990.158 | 2719104.3068 | 1098995.6013 | 2719103.8731 | 1099003.1476
11 | 2719110.1864 | 1098967.486 | 2719106.595 | 1098980.4134 | 2719105.126 | 1098990.158
12 | 2719125.8512 | 1098891.0067 | 2719125.2927 | 1098887.8319
13 | 2719125.8512 | 1098891.0067 | 2719146.7905 | 1098889.0212
14 | 2719277.1904 | 1098847.4561 | 2719277.4635 | 1098833.5519 | 2719273.0579 | 1098820.8788 | 2719264.6211 | 1098810.7729 | 2719260.9341 | 1098809.2217
15 | 2718928.9093 | 1099076.5401 | 2718918.711 | 1099069.6561
16 | 2719043.1106 | 1099153.628 | 2718928.9093 | 1099076.5401
17 | 2718918.711 | 1099069.6561 | 2718917.6178 | 1099068.9181 | 2718906.573 | 1099059.8958
18 | 2719077.2335 | 1099178.0082 | 2719065.4735 | 1099169.9388 | 2719047.1232 | 1099156.3366 | 2719043.1106 | 1099153.628
19 | 2718900.5293 | 1099051.7496 | 2718906.573 | 1099059.8958
20 | 2719077.2335 | 1099178.0082 | 2719083.9041 | 1099165.6192
21 | 2719069.5117 | 1099031.5221 | 2719089.6964 | 1099029.7942 | 2719090.2642 | 1099029.9144
22 | 2719109.2367 | 1099042.7528 | 2719102.4859 | 1099034.348 | 2719095.4266 | 1099031.0073 | 2719090.2642 | 1099029.9144
23 | 2718900.5293 | 1099051.7496 | 2718905.9226 | 1099040.1138 | 2718901.6978 | 1099033.2041 | 2718897.3795 | 1099009.7145
24 | 2718863.0281 | 1098994.9434 | 2718879.7466 | 1099013.6167 | 2718890.9923 | 1099038.8875 | 2718900.5293 | 1099051.7496
25 | 2719083.9041 | 1099165.6192 | 2719067.0699 | 1099144.9973
26 | 2718863.0281 | 1098994.9434 | 2718844.3572 | 1098991.3424 | 2718824.884 | 1098988.3706 | 2718812.3102 | 1098983.4658 | 2718808.565 | 1098983.7039 | 2718806.253 | 1098985.1041 | 2718804.2116 | 1098988.9001 | 2718806.0276 | 1099012.8522 | 2718814.5196 | 1099036.5952
27 | 2718863.0281 | 1098994.9434 | 2718837.7307 | 1098974.4954
28 | 2719048.464 | 1098983.2541 | 2719063.6029 | 1098977.3136
29 | 2719066.4064 | 1098976.2136 | 2719063.6029 | 1098977.3136
30 | 2719109.2367 | 1099042.7528 | 2719067.0699 | 1099144.9973
31 | 2719109.2367 | 1099042.7528 | 2719102.9901 | 1099018.5136 | 2719103.8731 | 1099003.1476
32 | 2718840.0173 | 1099078.9514 | 2718824.6339 | 1099064.8742 | 2718814.5196 | 1099036.5952
33 | 2718837.7307 | 1098974.4954 | 2718793.4502 | 1098938.7032
34 | 2718840.0173 | 1099078.9514 | 2718856.8766 | 1099094.3807 | 2718891.9846 | 1099115.5711 | 2718893.7613 | 1099120.1534
35 | 2718939.5808 | 1098800.4357 | 2718947.3276 | 1098821.6617 | 2718957.9984 | 1098826.0184
36 | 2718971.8813 | 1098831.6866 | 2718957.9984 | 1098826.0184
37 | 2718939.5236 | 1098800.279 | 2718939.5808 | 1098800.4357
38 | 2718971.8813 | 1098831.6866 | 2718977.2334 | 1098833.8718
39 | 2718863.331 | 1099125.4618 | 2718867.2436 | 1099121.8136 | 2718873.8356 | 1099119.352 | 2718889.0587 | 1099121.8293 | 2718892.0681 | 1099121.9883 | 2718893.7613 | 1099120.1534
40 | 2718865.4455 | 1099139.6908 | 2718862.8457 | 1099129.2883 | 2718863.331 | 1099125.4618 | 2718863.331 | 1099125.4618
41 | 2718995.6452 | 1098840.0075 | 2718980.9106 | 1098835.3731 | 2718977.2334 | 1098833.8718
42 | 2719017.8358 | 1098839.6055 | 2719003.7942 | 1098842.5706 | 2718995.6452 | 1098840.0075
43 | 2719029.3763 | 1098837.1686 | 2719017.8358 | 1098839.6055
44 | 2719039.6046 | 1098835.0087 | 2719029.3763 | 1098837.1686
45 | 2718939.405 | 1098799.954 | 2718939.5236 | 1098800.279
46 | 2719039.6046 | 1098835.0087 | 2719051.9563 | 1098832.4005
47 | 2719208.0846 | 1098744.5288 | 2719206.5877 | 1098753.3166 | 2719206.3798 | 1098763.9088 | 2719207.3931 | 1098767.2958
48 | 2719208.0846 | 1098744.5288 | 2719191.6779 | 1098750.2221 | 2719181.9513 | 1098755.7129 | 2719176.9519 | 1098758.1569
49 | 2719211.3655 | 1098780.5737 | 2719207.3931 | 1098767.2958
50 | 2719176.9519 | 1098758.1569 | 2719175.981 | 1098758.6315
51 | 2719211.3655 | 1098780.5737 | 2719164.3167 | 1098805.0457 | 2719132.7489 | 1098810.5041
52 | 2719211.3655 | 1098780.5737 | 2719219.8102 | 1098790.6797 | 2719230.3094 | 1098797.5126 | 2719241.5472 | 1098801.0467 | 2719260.9341 | 1098809.2217
53 | 2719172.0338 | 1098760.5611 | 2719175.981 | 1098758.6315
54 | 2719132.7489 | 1098810.5041 | 2719097.8437 | 1098816.5395 | 2719077.6798 | 1098824.038
55 | 2719260.9341 | 1098809.2217 | 2719253.3475 | 1098815.7662 | 2719244.9108 | 1098821.0377 | 2719239.4967 | 1098823.9537
56 | 2719159.5025 | 1098765.8047 | 2719168.7438 | 1098762.1695 | 2719172.0338 | 1098760.5611
57 | 2719167.0776 | 1098887.0976 | 2719167.7263 | 1098887.0361 | 2719180.0986 | 1098884.4037
58 | 2719146.7905 | 1098889.0212 | 2719167.0776 | 1098887.0976
59 | 2719180.0986 | 1098884.4037 | 2719182.1759 | 1098883.9617 | 2719192.0546 | 1098880.1862 | 2719192.0546 | 1098880.1862
60 | 2719192.0546 | 1098880.1862 | 2719203.9181 | 1098873.3998
61 | 2719203.9181 | 1098873.3998 | 2719207.5394 | 1098871.3282
62 | 2719125.2927 | 1098887.8319 | 2719120.1502 | 1098858.6007
63 | 2719212.262 | 1098864.7052 | 2719207.5394 | 1098871.3282
64 | 2719110.1864 | 1098967.486 | 2719090.9135 | 1098970.1854
65 | 2719066.4064 | 1098976.2136 | 2719076.6927 | 1098972.1772 | 2719090.9135 | 1098970.1854
66 | 2719110.7109 | 1098802.8136 | 2719116.3801 | 1098839.6521 | 2719117.1865 | 1098843.9487 | 2719119.4131 | 1098854.4107 | 2719120.1502 | 1098858.6007
67 | 2719222.1187 | 1098833.4717 | 2719224.3046 | 1098832.3634 | 2719229.4018 | 1098828.7498 | 2719236.2068 | 1098825.7257 | 2719239.4967 | 1098823.9537
68 | 2719196.757 | 1098844.6864 | 2719197.0207 | 1098844.5811 | 2719205.3226 | 1098841.4418 | 2719213.4314 | 1098837.8762 | 2719222.1187 | 1098833.4717
69 | 2719077.6798 | 1098824.038 | 2719059.4448 | 1098830.8192 | 2719051.9563 | 1098832.4005
70 | 2719159.5025 | 1098765.8047 | 2719154.3671 | 1098767.8248 | 2719151.1246 | 1098768.5514
71 | 2719151.1246 | 1098768.5514 | 2719145.5614 | 1098769.798 | 2719131.3743 | 1098773.0427
72 | 2719121.3051 | 1098775.3263 | 2719126.8904 | 1098774.0682 | 2719131.3743 | 1098773.0427
73 | 2719108.3715 | 1098787.6118 | 2719110.7109 | 1098802.8136
74 | 2719108.3715 | 1098787.6118 | 2719104.5858 | 1098763.0123 | 2719101.2868 | 1098749.6639
75 | 2719101.2868 | 1098749.6639 | 2719099.7783 | 1098743.5601 | 2719097.4157 | 1098737.7641
76 | 2719185.7883 | 1098849.0639 | 2719196.757 | 1098844.6864
77 | 2718938.222 | 1098796.7126 | 2718939.405 | 1098799.954
78 | 2718937.7463 | 1098795.4092 | 2718938.222 | 1098796.7126
79 | 2718937.7463 | 1098795.4092 | 2718936.9196 | 1098793.1441
80 | 2718935.7731 | 1098790.0026 | 2718936.9196 | 1098793.1441

## bus_geodata
| x | y | coords
0 | 2719171.5689 | 1098983.5523
1 | 2719160.7535 | 1098979.4116
2 | 2719214.639 | 1098972.8267
3 | 2719138.1346 | 1098970.6903
4 | 2719182.1236 | 1098939.8995
5 | 2719267.84 | 1098951.3002
6 | 2719117.3979 | 1098963.8581
7 | 2719262.7884 | 1098904.09
8 | 2719105.126 | 1098990.158
9 | 2719125.8512 | 1098891.0067
10 | 2719277.1904 | 1098847.4561
11 | 2718928.9093 | 1099076.5401
12 | 2718918.711 | 1099069.6561
13 | 2719043.1106 | 1099153.628
14 | 2718906.573 | 1099059.8958
15 | 2719077.2335 | 1099178.0082
16 | 2719069.5117 | 1099031.5221
17 | 2719090.2642 | 1099029.9144
18 | 2718900.5293 | 1099051.7496
19 | 2719083.9041 | 1099165.6192
20 | 2718897.3795 | 1099009.7145
21 | 2718863.0281 | 1098994.9434
22 | 2719048.464 | 1098983.2541
23 | 2719063.6029 | 1098977.3136
24 | 2719067.0699 | 1099144.9973
25 | 2719109.2367 | 1099042.7528
26 | 2719103.8731 | 1099003.1476
27 | 2718814.5196 | 1099036.5952
28 | 2718837.7307 | 1098974.4954
29 | 2718840.0173 | 1099078.9514
30 | 2718793.4502 | 1098938.7032
31 | 2718957.9984 | 1098826.0184
32 | 2718939.5808 | 1098800.4357
33 | 2718971.8813 | 1098831.6866
34 | 2718893.7613 | 1099120.1534
35 | 2718863.331 | 1099125.4618
36 | 2718865.4455 | 1099139.6908
37 | 2718977.2334 | 1098833.8718
38 | 2718995.6452 | 1098840.0075
39 | 2719017.8359 | 1098839.6055
40 | 2719029.3763 | 1098837.1686
41 | 2718939.5236 | 1098800.279
42 | 2719039.6046 | 1098835.0087
43 | 2719208.0846 | 1098744.5288
44 | 2719207.3931 | 1098767.2958
45 | 2719176.9519 | 1098758.1569
46 | 2719211.3655 | 1098780.5737
47 | 2719175.981 | 1098758.6315
48 | 2719132.7489 | 1098810.5041
49 | 2719260.9341 | 1098809.2217
50 | 2719172.0338 | 1098760.5611
51 | 2719167.0776 | 1098887.0976
52 | 2719180.0986 | 1098884.4037
53 | 2719146.7905 | 1098889.0212
54 | 2719192.0546 | 1098880.1862
55 | 2719203.9181 | 1098873.3998
56 | 2719125.2927 | 1098887.8319
57 | 2719207.5394 | 1098871.3282
58 | 2719110.1864 | 1098967.486
59 | 2719090.9135 | 1098970.1854
60 | 2719120.1502 | 1098858.6007
61 | 2719212.262 | 1098864.7052
62 | 2719239.4967 | 1098823.9537
63 | 2719222.1187 | 1098833.4717
64 | 2719077.6798 | 1098824.038
65 | 2719051.9563 | 1098832.4005
66 | 2719159.5025 | 1098765.8047
67 | 2719151.1246 | 1098768.5514
68 | 2719131.3743 | 1098773.0427
69 | 2719121.3051 | 1098775.3263
70 | 2719110.7109 | 1098802.8136
71 | 2719108.3715 | 1098787.6118
72 | 2719101.2868 | 1098749.6639
73 | 2719097.4157 | 1098737.7641
74 | 2719196.757 | 1098844.6864
75 | 2719185.7883 | 1098849.0639
76 | 2719066.4064 | 1098976.2136
77 | 2718939.405 | 1098799.954
78 | 2718938.222 | 1098796.7126
79 | 2718937.7463 | 1098795.4092
80 | 2718936.9196 | 1098793.1441
81 | 2718935.7731 | 1098790.0026
82 | 2718935.7731 | 1098790.0026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1