## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-172_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-172_0_4_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_5192-172_0_4_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_5192-172_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5192-172_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5192-172_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5192-172_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5192-172_0_4_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_5192-172_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5192-172_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5192-172_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5192-172_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5192-172_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_5192-172_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_5192-172_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_5192-172_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5192-172_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5192-172_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5192-172_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5192-172_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_5192-172_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_5192-172_0_4_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_5192-172_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_5192-172_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5192-172_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5192-172_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5192-172_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5192-172_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5192-172_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5192-172_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5192-172_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5192-172_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5192-172_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5192-172_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5192-172_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5192-172_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5192-172_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5192-172_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5192-172_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_5192-172_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_5192-172_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5192-172_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5192-172_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_5192-172_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_5192-172_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_5192-172_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5192-172_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5192-172_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5192-172_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5192-172_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5192-172_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5192-172_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5192-172_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5192-172_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5192-172_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5192-172_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5192-172_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5192-172_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5192-172_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_MV_249_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-172_0_4_load_0 | 0 | 0.0048306 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-172_0_4_load_3 | 1 | 0.003312 | 0.00083007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-172_0_4_load_4 | 3 | 0.0033661 | 0.00084362 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-172_0_4_load_5 | 4 | 0.0023037 | 0.00057736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-172_0_4_load_35 | 5 | 0.0021034 | 0.00052717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-172_0_4_load_33 | 6 | 0.00083327 | 0.00020884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-172_0_4_load_2 | 7 | 0.0083867 | 0.0021019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-172_0_4_load_7 | 9 | 0.0029041 | 0.00072784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-172_0_4_load_8 | 10 | 0.0035533 | 0.00089053 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-172_0_4_load_9 | 11 | 0.0055946 | 0.0014021 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-172_0_4_load_27 | 13 | 0.0043324 | 0.0010858 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-172_0_4_load_25 | 14 | 0.002199 | 0.00055113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-172_0_4_load_11 | 16 | 0.0015884 | 0.00039809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-172_0_4_load_12 | 17 | 0.0024214 | 0.00060687 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-172_0_4_load_13 | 18 | 0.0036828 | 0.000923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-172_0_4_load_41 | 19 | 0.0031322 | 0.000785 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-172_0_4_load_55 | 20 | 0.00094956 | 0.00023798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-172_0_4_load_42 | 21 | 0.0022065 | 0.00055299 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-172_0_4_load_56 | 22 | 0.0010634 | 0.0002665 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-172_0_4_load_14 | 23 | 0.003175 | 0.00079572 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-172_0_4_load_15 | 24 | 0.0025963 | 0.00065069 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-172_0_4_load_17 | 26 | 0.0048411 | 0.0012133 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-172_0_4_load_18 | 27 | 0.0019031 | 0.00047696 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-172_0_4_load_19 | 28 | 0.011288 | 0.002829 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-172_0_4_load_23 | 29 | 0.0018175 | 0.00045551 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-172_0_4_load_20 | 31 | 0.0035631 | 0.00089299 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-172_0_4_load_24 | 33 | 0.0069117 | 0.0017322 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-172_0_4_load_29 | 34 | 0.0076292 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-172_0_4_load_28 | 35 | 0.0028487 | 0.00071394 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-172_0_4_load_32 | 36 | 0.0041033 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-172_0_4_load_31 | 37 | 0.0025489 | 0.0006388 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-172_0_4_load_45 | 38 | 0.0039431 | 0.00098823 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-172_0_4_load_46 | 39 | 0.0017103 | 0.00042865 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-172_0_4_load_57 | 42 | 0.0010986 | 0.00027533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-172_0_4_load_54 | 43 | 0.0020381 | 0.0005108 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-172_0_4_load_58 | 44 | 0.0029564 | 0.00074094 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-172_0_4_load_39 | 46 | 0.0011382 | 0.00028526 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-172_0_4_load_40 | 47 | 0.0014822 | 0.00037148 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-172_0_4_load_52 | 49 | 0.0011765 | 0.00029485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-172_0_4_load_44 | 50 | 0.0037789 | 0.00094709 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-172_0_4_load_50 | 51 | 0.0029234 | 0.00073267 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-172_0_4_load_48 | 52 | 0.0027271 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-172_0_4_load_49 | 53 | 0.0020665 | 0.0005179 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-172_0_4_load_51 | 54 | 0.0043149 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-172_0_4_load_53 | 55 | 0.0018413 | 0.00046147 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-172_0_4_load_47 | 57 | 0.0018622 | 0.00046672 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-172_0_4_load_59 | 58 | 0.0018399 | 0.00046113 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-172_0_4_line_0 |  | 0 | 1 | 0.033117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5192-172_0_4_line_1 |  | 0 | 2 | 0.072545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5192-172_0_4_line_2 |  | 1 | 3 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5192-172_0_4_line_3 |  | 1 | 4 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-172_0_4_line_4 |  | 2 | 5 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5192-172_0_4_line_5 |  | 3 | 8 | 0.0090491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5192-172_0_4_line_6 |  | 4 | 7 | 0.020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-172_0_4_line_7 |  | 5 | 6 | 0.12353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5192-172_0_4_line_8 |  | 6 | 40 | 0.039351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5192-172_0_4_line_9 |  | 8 | 9 | 0.0062546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-172_0_4_line_10 |  | 8 | 10 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5192-172_0_4_line_11 |  | 9 | 11 | 0.036434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-172_0_4_line_12 |  | 10 | 12 | 0.038212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5192-172_0_4_line_13 |  | 12 | 13 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-172_0_4_line_14 |  | 12 | 14 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5192-172_0_4_line_15 |  | 13 | 36 | 0.0074161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-172_0_4_line_16 |  | 14 | 27 | 0.025743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5192-172_0_4_line_17 |  | 15 | 16 | 0.030522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-172_0_4_line_18 |  | 15 | 17 | 0.035279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5192-172_0_4_line_19 |  | 15 | 18 | 0.075202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5192-172_0_4_line_20 |  | 17 | 19 | 0.034211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5192-172_0_4_line_21 |  | 18 | 20 | 0.038978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5192-172_0_4_line_22 |  | 19 | 21 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-172_0_4_line_23 |  | 20 | 22 | 0.039875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5192-172_0_4_line_24 |  | 21 | 57 | 0.0059572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-172_0_4_line_25 |  | 22 | 42 | 0.0088111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5192-172_0_4_line_26 |  | 23 | 24 | 0.024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5192-172_0_4_line_27 |  | 23 | 25 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5192-172_0_4_line_28 |  | 24 | 26 | 0.03296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-172_0_4_line_29 |  | 25 | 27 | 0.03196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5192-172_0_4_line_30 |  | 26 | 28 | 0.017068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5192-172_0_4_line_31 |  | 28 | 29 | 0.0059141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-172_0_4_line_32 |  | 29 | 30 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-172_0_4_line_33 |  | 30 | 33 | 0.031608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-172_0_4_line_34 |  | 30 | 32 | 0.064073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-172_0_4_line_35 |  | 31 | 32 | 0.052886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-172_0_4_line_36 |  | 33 | 34 | 0.016638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-172_0_4_line_37 |  | 34 | 35 | 0.027041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-172_0_4_line_38 |  | 37 | 38 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-172_0_4_line_39 |  | 38 | 39 | 0.026669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-172_0_4_line_40 |  | 39 | 57 | 0.00092773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-172_0_4_line_41 |  | 40 | 41 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-172_0_4_line_42 |  | 40 | 42 | 0.14824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5192-172_0_4_line_43 |  | 41 | 43 | 0.16819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-172_0_4_line_44 |  | 42 | 44 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-172_0_4_line_45 |  | 44 | 55 | 0.0082248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-172_0_4_line_46 |  | 45 | 46 | 0.043745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-172_0_4_line_47 |  | 45 | 47 | 0.034609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-172_0_4_line_48 |  | 46 | 48 | 0.059107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-172_0_4_line_49 |  | 47 | 49 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-172_0_4_line_50 |  | 48 | 50 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-172_0_4_line_51 |  | 49 | 55 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-172_0_4_line_52 |  | 49 | 56 | 0.14238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-172_0_4_line_53 |  | 50 | 51 | 0.031153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-172_0_4_line_54 |  | 51 | 52 | 0.0184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5192-172_0_4_line_55 |  | 52 | 53 | 0.0099081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-172_0_4_line_56 |  | 53 | 54 | 0.0075089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-172_0_4_line_57 |  | 56 | 58 | 0.067117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-172_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 59 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2720830.3957 | 1096859.6756 | 2720822.9492 | 1096891.9441
1 | 2720822.9492 | 1096891.9441 | 2720806.0499 | 1096962.4938
2 | 2720830.3957 | 1096859.6756 | 2720840.7355 | 1096862.6911 | 2720853.1148 | 1096869.0119
3 | 2720830.3957 | 1096859.6756 | 2720807.8558 | 1096853.102
4 | 2720806.0499 | 1096962.4938 | 2720818.1514 | 1096969.8616 | 2720818.1514 | 1096969.8616
5 | 2720861.1742 | 1096873.1269 | 2720853.1148 | 1096869.0119
6 | 2720807.8558 | 1096853.102 | 2720801.1292 | 1096851.1402 | 2720788.3627 | 1096845.6984
7 | 2720818.1514 | 1096969.8616 | 2720858.4553 | 1097086.6268
8 | 2720854.2823 | 1097125.2998 | 2720857.4328 | 1097117.6348 | 2720858.5611 | 1097106.0936 | 2720858.4553 | 1097086.6268
9 | 2720861.1742 | 1096873.1269 | 2720864.9055 | 1096878.1466
10 | 2720861.1742 | 1096873.1269 | 2720854.397 | 1096862.1948
11 | 2720864.9055 | 1096878.1466 | 2720873.7747 | 1096890.0782 | 2720874.4737 | 1096896.2186 | 2720884.2354 | 1096908.1121
12 | 2720837.8345 | 1096827.8201 | 2720850.245 | 1096855.4973 | 2720854.397 | 1096862.1948
13 | 2720837.8345 | 1096827.8201 | 2720843.4429 | 1096823.1728 | 2720857.3399 | 1096817.2598
14 | 2720837.8345 | 1096827.8201 | 2720834.3192 | 1096806.6636
15 | 2720864.164 | 1096814.3563 | 2720857.3399 | 1096817.2598
16 | 2720834.3192 | 1096806.6636 | 2720830.0998 | 1096781.2689
17 | 2720967.4586 | 1096973.0665 | 2720995.9519 | 1096984.0089
18 | 2720967.4586 | 1096973.0665 | 2720961.6889 | 1096966.3581 | 2720955.8584 | 1096959.5929 | 2720949.7774 | 1096944.3946 | 2720950.045 | 1096943.2969
19 | 2720967.4586 | 1096973.0665 | 2720979.9745 | 1096991.1283 | 2721000.5628 | 1097028.2418 | 2721002.5802 | 1097032.3626 | 2721004.1667 | 1097037.4978 | 2721004.3447 | 1097038.3011
20 | 2720950.045 | 1096943.2969 | 2720951.8865 | 1096935.7416 | 2720953.9236 | 1096927.9767 | 2720957.3611 | 1096921.0848 | 2720962.8623 | 1096914.8232 | 2720964.7794 | 1096913.4291
21 | 2721004.3447 | 1097038.3011 | 2721005.567 | 1097043.819 | 2721006.4773 | 1097051.7872 | 2721006.4199 | 1097058.1683 | 2721004.6589 | 1097077.0107
22 | 2720974.4835 | 1096906.3722 | 2720964.7794 | 1096913.4291
23 | 2721004.6589 | 1097077.0107 | 2721002.275 | 1097102.5168 | 2721002.4289 | 1097116.7738
24 | 2720974.4835 | 1096906.3722 | 2720979.3015 | 1096902.8685
25 | 2721002.524 | 1097125.5843 | 2721002.4289 | 1097116.7738
26 | 2720835.3995 | 1096746.5661 | 2720849.6152 | 1096742.2833 | 2720858.8283 | 1096739.7006
27 | 2720824.8613 | 1096749.7409 | 2720835.3995 | 1096746.5661
28 | 2720858.8283 | 1096739.7006 | 2720873.9849 | 1096735.4519 | 2720891.1591 | 1096736.6962
29 | 2720824.8613 | 1096749.7409 | 2720830.0998 | 1096781.2689
30 | 2720908.1766 | 1096738.0086 | 2720899.5839 | 1096737.3067 | 2720891.1591 | 1096736.6962
31 | 2720914.072 | 1096738.3414 | 2720913.0811 | 1096738.4092 | 2720908.1766 | 1096738.0086
32 | 2720929.4098 | 1096733.097 | 2720922.3984 | 1096737.7719 | 2720914.072 | 1096738.3414
33 | 2720929.4098 | 1096733.097 | 2720937.403 | 1096741.3729 | 2720952.8673 | 1096754.216
34 | 2720870.638 | 1096717.5395 | 2720891.876 | 1096719.363 | 2720910.5465 | 1096720.9577 | 2720923.5635 | 1096723.9965 | 2720929.4098 | 1096733.097
35 | 2720870.638 | 1096717.5395 | 2720871.1257 | 1096714.447 | 2720872.218 | 1096713.279 | 2720873.8313 | 1096713.1888 | 2720876.4119 | 1096712.762 | 2720879.0377 | 1096712.4029 | 2720883.8097 | 1096709.6959 | 2720886.7129 | 1096707.8523 | 2720888.4182 | 1096705.8626 | 2720888.1735 | 1096703.3671 | 2720888.0451 | 1096700.8628 | 2720886.2727 | 1096699.9936 | 2720883.52 | 1096700.1167 | 2720880.3497 | 1096700.5873 | 2720877.785 | 1096700.603 | 2720876.6078 | 1096699.8013 | 2720876.7465 | 1096698.6699 | 2720877.7292 | 1096697.5665 | 2720882.1901 | 1096694.92 | 2720885.4591 | 1096692.6056 | 2720886.3469 | 1096692.1898
36 | 2720952.8673 | 1096754.216 | 2720965.6666 | 1096764.8458
37 | 2720986.4689 | 1096782.1222 | 2720986.4689 | 1096782.1222 | 2720965.6666 | 1096764.8458
38 | 2721003.3996 | 1096889.8219 | 2721008.4404 | 1096888.2895 | 2721028.4172 | 1096884.2763
39 | 2721003.3996 | 1096889.8219 | 2720999.5159 | 1096891.0026 | 2720992.3805 | 1096894.1294 | 2720986.689 | 1096897.4963 | 2720980.0518 | 1096902.3229
40 | 2720980.0518 | 1096902.3229 | 2720979.3015 | 1096902.8685
41 | 2720854.2823 | 1097125.2998 | 2720843.8344 | 1097129.4505 | 2720835.7431 | 1097132.3584
42 | 2721002.524 | 1097125.5843 | 2720854.2823 | 1097125.2998
43 | 2720835.7431 | 1097132.3584 | 2720678.0463 | 1097073.8848
44 | 2721002.524 | 1097125.5843 | 2721002.5827 | 1097131.0207 | 2721005.7595 | 1097138.378
45 | 2721005.7595 | 1097138.378 | 2721008.4023 | 1097139.0978 | 2721013.7489 | 1097137.87
46 | 2721049.7673 | 1097070.0619 | 2721056.0116 | 1097052.5517 | 2721064.4632 | 1097028.859
47 | 2721049.7673 | 1097070.0619 | 2721036.2119 | 1097101.9063
48 | 2721064.4632 | 1097028.859 | 2721083.5282 | 1096972.9106
49 | 2721036.2119 | 1097101.9063 | 2721033.3175 | 1097108.7058 | 2721024.4197 | 1097126.8823
50 | 2721083.5282 | 1096972.9106 | 2721109.1921 | 1096968.2332
51 | 2721024.4197 | 1097126.8823 | 2721022.472 | 1097130.861 | 2721013.7489 | 1097137.87 | 2721013.7489 | 1097137.87
52 | 2721024.4197 | 1097126.8823 | 2721134.8707 | 1097216.7377
53 | 2721109.1921 | 1096968.2332 | 2721122.9024 | 1096965.7344 | 2721140.0901 | 1096966.7378
54 | 2721158.4589 | 1096967.8101 | 2721140.0901 | 1096966.7378
55 | 2721158.4589 | 1096967.8101 | 2721168.3501 | 1096968.3875
56 | 2721175.8462 | 1096968.8251 | 2721168.3501 | 1096968.3875
57 | 2721134.8707 | 1097216.7377 | 2721127.3809 | 1097241.5392 | 2721123.2211 | 1097250.0734 | 2721116.4636 | 1097255.2424 | 2721094.297 | 1097262.1154

## bus_geodata
| x | y | coords
0 | 2720822.9492 | 1096891.9441
1 | 2720830.3957 | 1096859.6755
2 | 2720806.0499 | 1096962.4938
3 | 2720853.1148 | 1096869.0119
4 | 2720807.8558 | 1096853.102
5 | 2720818.1514 | 1096969.8616
6 | 2720858.4553 | 1097086.6268
7 | 2720788.3627 | 1096845.6984
8 | 2720861.1742 | 1096873.1269
9 | 2720864.9055 | 1096878.1466
10 | 2720854.397 | 1096862.1948
11 | 2720884.2354 | 1096908.1121
12 | 2720837.8345 | 1096827.8201
13 | 2720857.3399 | 1096817.2598
14 | 2720834.3192 | 1096806.6636
15 | 2720967.4586 | 1096973.0665
16 | 2720995.9519 | 1096984.0089
17 | 2720950.045 | 1096943.2969
18 | 2721004.3447 | 1097038.3011
19 | 2720964.7794 | 1096913.4291
20 | 2721004.6589 | 1097077.0107
21 | 2720974.4835 | 1096906.3722
22 | 2721002.4289 | 1097116.7738
23 | 2720835.3995 | 1096746.5661
24 | 2720858.8283 | 1096739.7006
25 | 2720824.8613 | 1096749.7409
26 | 2720891.1591 | 1096736.6962
27 | 2720830.0998 | 1096781.2689
28 | 2720908.1766 | 1096738.0086
29 | 2720914.072 | 1096738.3414
30 | 2720929.4098 | 1096733.097
31 | 2720886.3469 | 1096692.1898
32 | 2720870.638 | 1096717.5395
33 | 2720952.8673 | 1096754.216
34 | 2720965.6666 | 1096764.8458
35 | 2720986.4689 | 1096782.1222
36 | 2720864.164 | 1096814.3563
37 | 2721028.4172 | 1096884.2763
38 | 2721003.3996 | 1096889.8219
39 | 2720980.0518 | 1096902.3229
40 | 2720854.2823 | 1097125.2998
41 | 2720835.7431 | 1097132.3584
42 | 2721002.524 | 1097125.5843
43 | 2720678.0463 | 1097073.8848
44 | 2721005.7595 | 1097138.378
45 | 2721049.7673 | 1097070.0619
46 | 2721064.4632 | 1097028.859
47 | 2721036.2119 | 1097101.9063
48 | 2721083.5282 | 1096972.9106
49 | 2721024.4197 | 1097126.8823
50 | 2721109.1921 | 1096968.2332
51 | 2721140.0901 | 1096966.7378
52 | 2721158.4589 | 1096967.8101
53 | 2721168.3501 | 1096968.3875
54 | 2721175.8462 | 1096968.8251
55 | 2721013.7489 | 1097137.87
56 | 2721134.8707 | 1097216.7377
57 | 2720979.3015 | 1096902.8685
58 | 2721094.297 | 1097262.1154
59 | 2720967.4586 | 1096973.0665

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1