## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-238_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-238_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-238_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-238_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-238_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-238_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5192-238_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5192-238_0_2_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_5192-238_0_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_5192-238_0_2_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_5192-238_0_2_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_5192-238_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5192-238_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5192-238_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5192-238_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5192-238_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5192-238_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5192-238_0_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_5192-238_0_2_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_5192-238_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5192-238_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5192-238_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5192-238_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5192-238_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5192-238_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5192-238_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5192-238_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5192-238_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5192-238_0_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_5192-238_0_2_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_5192-238_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5192-238_0_2_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_5192-238_0_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5192-238_0_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_5192-238_0_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_5192-238_0_2_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_5192-238_0_2_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_5192-238_0_2_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_5192-238_0_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_5192-238_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5192-238_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5192-238_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5192-238_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5192-238_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5192-238_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5192-238_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5192-238_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5192-238_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5192-238_0_2_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5192-238_0_2_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_5192-238_0_2_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5192-238_0_2_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5192-238_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5192-238_0_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_5192-238_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5192-238_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5192-238_0_2_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5192-238_0_2_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5192-238_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5192-238_0_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5192-238_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5192-238_0_2_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5192-238_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5192-238_0_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5192-238_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5192-238_0_2_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5192-238_0_2_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5192-238_0_2_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_5192-238_0_2_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_5192-238_0_2_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_5192-238_0_2_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5192-238_0_2_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5192-238_0_2_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5192-238_0_2_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5192-238_0_2_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5192-238_0_2_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5192-238_0_2_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5192-238_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5192-238_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5192-238_0_2_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_5192-238_0_2_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5192-238_0_2_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5192-238_0_2_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5192-238_0_2_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_5192-238_0_2_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_5192-238_0_2_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5192-238_0_2_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_5192-238_0_2_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_5192-238_0_2_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5192-238_0_2_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5192-238_0_2_node_74 | 0.4 | n |  | TRUE
91 | bus_MV_74_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-238_0_2_load_0 | 0 | 0.0044463 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-238_0_2_load_1 | 1 | 0.0019853 | 0.00049755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-238_0_2_load_2 | 2 | 0.0023927 | 0.00059966 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-238_0_2_load_3 | 3 | 0.0016637 | 0.00041695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-238_0_2_load_5 | 5 | 0.0012924 | 0.00032391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-238_0_2_load_6 | 6 | 0.00099873 | 0.0002503 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-238_0_2_load_64 | 7 | 0.0015 | 0.00037594 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-238_0_2_load_71 | 9 | 0.0023282 | 0.0005835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-238_0_2_load_48 | 10 | 0.0012698 | 0.00031825 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-238_0_2_load_11 | 11 | 0.0019737 | 0.00049465 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-238_0_2_load_9 | 12 | 0.0027588 | 0.00069141 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-238_0_2_load_8 | 13 | 0.0066884 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-238_0_2_load_10 | 14 | 0.0023256 | 0.00058284 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-238_0_2_load_12 | 15 | 0.001588 | 0.00039798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-238_0_2_load_13 | 16 | 0.0027208 | 0.00068191 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-238_0_2_load_50 | 17 | 0.0014097 | 0.00035329 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-238_0_2_load_51 | 18 | 0.0029838 | 0.00074782 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-238_0_2_load_14 | 19 | 0.0029063 | 0.00072839 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-238_0_2_load_15 | 20 | 0.0023605 | 0.00059161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-238_0_2_load_17 | 22 | 0.0014554 | 0.00036477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-238_0_2_load_19 | 24 | 0.00235 | 0.00058897 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-238_0_2_load_21 | 25 | 0.0025398 | 0.00063653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-238_0_2_load_22 | 26 | 0.0010286 | 0.00025778 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-238_0_2_load_23 | 27 | 0.0015398 | 0.0003859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-238_0_2_load_78 | 28 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-238_0_2_load_68 | 29 | 0.0031985 | 0.00080163 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-238_0_2_load_39 | 30 | 0.0021462 | 0.00053789 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-238_0_2_load_75 | 32 | 0.0028824 | 0.0007224 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-238_0_2_load_72 | 33 | 0.0012195 | 0.00030563 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-238_0_2_load_88 | 34 | 0.0022815 | 0.0005718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-238_0_2_load_89 | 35 | 0.0019246 | 0.00048234 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-238_0_2_load_77 | 37 | 0.0010663 | 0.00026724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-238_0_2_load_67 | 38 | 0.0015777 | 0.00039542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-238_0_2_load_24 | 39 | 0.0035108 | 0.0008799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-238_0_2_load_27 | 42 | 0.0015072 | 0.00037775 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-238_0_2_load_30 | 44 | 0.0017213 | 0.00043141 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-238_0_2_load_32 | 46 | 0.003123 | 0.0007827 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-238_0_2_load_33 | 47 | 0.0025715 | 0.00064448 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-238_0_2_load_29 | 48 | 0.0031627 | 0.00079265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-238_0_2_load_34 | 49 | 0.0020031 | 0.00050202 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-238_0_2_load_35 | 50 | 0.0014791 | 0.0003707 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-238_0_2_load_36 | 51 | 0.0052313 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-238_0_2_load_37 | 52 | 0.0015013 | 0.00037626 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-238_0_2_load_65 | 53 | 0.002519 | 0.00063133 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-238_0_2_load_38 | 55 | 0.0019311 | 0.00048397 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-238_0_2_load_57 | 57 | 0.0020861 | 0.00052284 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-238_0_2_load_53 | 58 | 0.0026485 | 0.00066377 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-238_0_2_load_40 | 59 | 0.0027023 | 0.00067725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-238_0_2_load_45 | 61 | 0.00075571 | 0.0001894 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-238_0_2_load_43 | 62 | 0.00055104 | 0.0001381 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-238_0_2_load_63 | 63 | 0.00075202 | 0.00018847 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-238_0_2_load_66 | 64 | 0.0025145 | 0.00063019 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-238_0_2_load_62 | 65 | 0.00052094 | 0.00013056 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-238_0_2_load_46 | 66 | 0.0017082 | 0.0004281 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-238_0_2_load_93 | 68 | 0.002838 | 0.00071127 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-238_0_2_load_49 | 70 | 0.00089412 | 0.00022409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-238_0_2_load_61 | 71 | 0.0013962 | 0.00034993 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-238_0_2_load_69 | 73 | 0.0027416 | 0.00068711 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-238_0_2_load_54 | 74 | 0.0022659 | 0.00056788 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-238_0_2_load_56 | 75 | 0.0017149 | 0.0004298 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-238_0_2_load_60 | 77 | 0.0020634 | 0.00051713 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-238_0_2_load_59 | 78 | 0.0017363 | 0.00043515 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-238_0_2_load_94 | 79 | 0.0074985 | 0.0018793 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-238_0_2_load_81 | 80 | 0.0026823 | 0.00067224 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-238_0_2_load_80 | 82 | 0.0023317 | 0.00058438 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5192-238_0_2_load_84 | 83 | 0.00048062 | 0.00012046 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5192-238_0_2_load_87 | 85 | 0.0035204 | 0.00088228 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5192-238_0_2_load_92 | 87 | 0.0019183 | 0.00048077 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5192-238_0_2_load_76 | 88 | 0.0022922 | 0.00057447 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5192-238_0_2_load_73 | 89 | 0.0029925 | 0.00075 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5192-238_0_2_load_74 | 90 | 0.0014748 | 0.00036961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-238_0_2_line_0 |  | 0 | 1 | 0.0007505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-238_0_2_line_1 |  | 0 | 2 | 0.0072197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-238_0_2_line_2 |  | 1 | 3 | 0.0027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-238_0_2_line_3 |  | 2 | 4 | 0.028965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-238_0_2_line_4 |  | 3 | 5 | 0.0029708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-238_0_2_line_5 |  | 4 | 6 | 0.028426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-238_0_2_line_6 |  | 5 | 7 | 0.0046276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-238_0_2_line_7 |  | 6 | 8 | 0.036801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-238_0_2_line_8 |  | 7 | 9 | 7.8861e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-238_0_2_line_9 |  | 8 | 10 | 0.024665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-238_0_2_line_10 |  | 9 | 50 | 0.0095165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-238_0_2_line_11 |  | 10 | 70 | 0.056577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-238_0_2_line_12 |  | 11 | 12 | 0.0078316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-238_0_2_line_13 |  | 12 | 13 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-238_0_2_line_14 |  | 13 | 14 | 0.0028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-238_0_2_line_15 |  | 14 | 15 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-238_0_2_line_16 |  | 15 | 16 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-238_0_2_line_17 |  | 16 | 17 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-238_0_2_line_18 |  | 17 | 18 | 0.0074796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-238_0_2_line_19 |  | 18 | 72 | 0.0066822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-238_0_2_line_20 |  | 19 | 20 | 0.047608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-238_0_2_line_21 |  | 19 | 21 | 0.0045833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-238_0_2_line_22 |  | 20 | 22 | 0.045368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-238_0_2_line_23 |  | 21 | 23 | 0.023781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5192-238_0_2_line_24 |  | 21 | 24 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-238_0_2_line_25 |  | 23 | 25 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5192-238_0_2_line_26 |  | 23 | 26 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-238_0_2_line_27 |  | 24 | 27 | 0.0083899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-238_0_2_line_28 |  | 25 | 28 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-238_0_2_line_29 |  | 26 | 29 | 0.0028313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-238_0_2_line_30 |  | 27 | 30 | 0.046329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5192-238_0_2_line_31 |  | 28 | 37 | 0.0027967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-238_0_2_line_32 |  | 29 | 38 | 0.0073605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-238_0_2_line_33 |  | 31 | 32 | 0.011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-238_0_2_line_34 |  | 31 | 33 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-238_0_2_line_35 |  | 32 | 88 | 0.0030136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-238_0_2_line_36 |  | 33 | 89 | 0.022919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-238_0_2_line_37 |  | 34 | 35 | 0.0099634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-238_0_2_line_38 |  | 35 | 36 | 0.17112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-238_0_2_line_39 |  | 36 | 86 | 0.14098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-238_0_2_line_40 |  | 37 | 55 | 0.0063583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-238_0_2_line_41 |  | 38 | 72 | 0.003364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-238_0_2_line_42 |  | 39 | 40 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-238_0_2_line_43 |  | 39 | 41 | 0.0098044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-238_0_2_line_44 |  | 40 | 42 | 0.0053867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-238_0_2_line_45 |  | 40 | 43 | 0.001476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-238_0_2_line_46 |  | 41 | 44 | 0.0053185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-238_0_2_line_47 |  | 42 | 45 | 0.0070758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-238_0_2_line_48 |  | 43 | 46 | 0.0077294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-238_0_2_line_49 |  | 43 | 47 | 0.0077659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-238_0_2_line_50 |  | 44 | 50 | 0.0018018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-238_0_2_line_51 |  | 45 | 51 | 0.0031901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-238_0_2_line_52 |  | 45 | 52 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-238_0_2_line_53 |  | 46 | 53 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-238_0_2_line_54 |  | 47 | 54 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5192-238_0_2_line_55 |  | 48 | 49 | 0.005133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-238_0_2_line_56 |  | 49 | 51 | 0.0091594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-238_0_2_line_57 |  | 52 | 55 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5192-238_0_2_line_58 |  | 53 | 56 | 0.041227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-238_0_2_line_59 |  | 54 | 57 | 0.0094702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-238_0_2_line_60 |  | 54 | 58 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-238_0_2_line_61 |  | 56 | 88 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-238_0_2_line_62 |  | 57 | 76 | 0.0097267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5192-238_0_2_line_63 |  | 58 | 74 | 0.0092456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5192-238_0_2_line_64 |  | 59 | 60 | 0.072475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-238_0_2_line_65 |  | 60 | 61 | 0.081909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-238_0_2_line_66 |  | 60 | 62 | 0.035563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5192-238_0_2_line_67 |  | 61 | 63 | 0.10046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-238_0_2_line_68 |  | 63 | 64 | 0.11065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-238_0_2_line_69 |  | 63 | 65 | 0.086065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5192-238_0_2_line_70 |  | 64 | 66 | 0.03297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-238_0_2_line_71 |  | 65 | 71 | 0.0028003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5192-238_0_2_line_72 |  | 67 | 68 | 0.081001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5192-238_0_2_line_73 |  | 67 | 69 | 0.11705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5192-238_0_2_line_74 |  | 69 | 83 | 0.16301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5192-238_0_2_line_75 |  | 69 | 84 | 0.10008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5192-238_0_2_line_76 |  | 69 | 81 | 0.14271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5192-238_0_2_line_77 |  | 70 | 71 | 0.0091512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5192-238_0_2_line_78 |  | 72 | 73 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5192-238_0_2_line_79 |  | 74 | 75 | 0.01228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5192-238_0_2_line_80 |  | 76 | 77 | 0.0026498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5192-238_0_2_line_81 |  | 77 | 78 | 0.011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5192-238_0_2_line_82 |  | 78 | 79 | 0.22314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5192-238_0_2_line_83 |  | 79 | 84 | 0.043965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5192-238_0_2_line_84 |  | 80 | 81 | 0.013572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5192-238_0_2_line_85 |  | 80 | 82 | 0.031643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5192-238_0_2_line_86 |  | 82 | 87 | 0.21681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5192-238_0_2_line_87 |  | 83 | 85 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5192-238_0_2_line_88 |  | 86 | 87 | 0.20635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5192-238_0_2_line_89 |  | 89 | 90 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-238_0_2_trafo_58 | 0.63 MVA 20/0.4 kV | 91 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2725343.939 | 1105002.2838 | 2725344.4672 | 1105001.7507
1 | 2725343.939 | 1105002.2838 | 2725338.8576 | 1105007.4125
2 | 2725344.4672 | 1105001.7507 | 2725346.3851 | 1104999.815
3 | 2725319.5895 | 1105028.9624 | 2725326.627 | 1105019.7567 | 2725338.8576 | 1105007.4125
4 | 2725346.3851 | 1104999.815 | 2725348.476 | 1104997.7047
5 | 2725319.5895 | 1105028.9624 | 2725309.1168 | 1105042.6671 | 2725299.8701 | 1105048.947
6 | 2725348.476 | 1104997.7047 | 2725351.7331 | 1104994.4173
7 | 2725269.4265 | 1105069.6226 | 2725299.8701 | 1105048.947
8 | 2725351.7331 | 1104994.4173 | 2725351.7886 | 1104994.3613
9 | 2725269.4265 | 1105069.6226 | 2725248.4854 | 1105082.6538
10 | 2725358.4866 | 1104987.6011 | 2725351.7886 | 1104994.3613
11 | 2725248.4854 | 1105082.6538 | 2725220.12 | 1105100.3049 | 2725203.0553 | 1105115.9746
12 | 2725372.7318 | 1105062.9288 | 2725366.5422 | 1105067.7271
13 | 2725385.8284 | 1105051.5262 | 2725376.4486 | 1105060.0473 | 2725372.7318 | 1105062.9288
14 | 2725385.8284 | 1105051.5262 | 2725387.9371 | 1105049.6105 | 2725387.9557 | 1105049.5837
15 | 2725393.7711 | 1105041.1835 | 2725387.9557 | 1105049.5837
16 | 2725393.7711 | 1105041.1835 | 2725399.8519 | 1105032.4
17 | 2725404.5413 | 1105019.3277 | 2725404.6471 | 1105022.0028 | 2725399.8519 | 1105032.4 | 2725399.8519 | 1105032.4
18 | 2725404.5413 | 1105019.3277 | 2725404.2457 | 1105011.854 | 2725404.2457 | 1105011.854
19 | 2725406.2882 | 1105005.4917 | 2725404.2457 | 1105011.854
20 | 2725437.866 | 1104959.6762 | 2725445.4519 | 1104934.4615 | 2725452.8922 | 1104914.5275
21 | 2725436.5456 | 1104964.0652 | 2725437.866 | 1104959.6762
22 | 2725452.8922 | 1104914.5275 | 2725454.3063 | 1104910.7388 | 2725463.8082 | 1104889.7536 | 2725469.0796 | 1104875.7971 | 2725471.0099 | 1104873.0357
23 | 2725436.5456 | 1104964.0652 | 2725432.6304 | 1104972.6793 | 2725424.7672 | 1104974.6627 | 2725420.7915 | 1104979.4728
24 | 2725436.5456 | 1104964.0652 | 2725451.3587 | 1104974.2291
25 | 2725420.7915 | 1104979.4728 | 2725417.6346 | 1104977.9843 | 2725410.5592 | 1104984.1536 | 2725409.4274 | 1104983.5076 | 2725409.4274 | 1104983.5076
26 | 2725420.7915 | 1104979.4728 | 2725415.7603 | 1104985.5621 | 2725412.3427 | 1104993.3763
27 | 2725451.3587 | 1104974.2291 | 2725452.8866 | 1104975.2774 | 2725458.5582 | 1104978.5278
28 | 2725413.9671 | 1104973.0041 | 2725414.7181 | 1104973.4764 | 2725416.0329 | 1104975.3716 | 2725409.4274 | 1104983.5076
29 | 2725411.2082 | 1104995.9703 | 2725412.3427 | 1104993.3763
30 | 2725487.6944 | 1105012.1744 | 2725485.8024 | 1105003.222 | 2725475.451 | 1104991.5887 | 2725468.9288 | 1104984.471 | 2725458.5582 | 1104978.5278
31 | 2725413.9671 | 1104973.0041 | 2725411.5996 | 1104971.5153
32 | 2725407.8941 | 1105002.5357 | 2725410.165 | 1104998.3556 | 2725411.2082 | 1104995.9703
33 | 2725439.3761 | 1104890.7828 | 2725431.6049 | 1104899.3086
34 | 2725439.3761 | 1104890.7828 | 2725442.0046 | 1104881.5305 | 2725442.6831 | 1104880.3738
35 | 2725431.6049 | 1104899.3086 | 2725429.5748 | 1104901.5358
36 | 2725442.6831 | 1104880.3738 | 2725454.2791 | 1104860.6049
37 | 2725237.1276 | 1104295.8207 | 2725234.2935 | 1104286.9321 | 2725234.3431 | 1104286.3002
38 | 2725063.7054 | 1104299.1913 | 2725234.3431 | 1104286.3002
39 | 2725063.7054 | 1104299.1913 | 2725057.8606 | 1104320.7195 | 2725053.7927 | 1104347.2656 | 2725048.7275 | 1104356.5012 | 2725026.8284 | 1104371.1939 | 2724984.2254 | 1104406.0526
40 | 2725406.2172 | 1104968.1304 | 2725406.2172 | 1104968.1304 | 2725411.5996 | 1104971.5153
41 | 2725406.2882 | 1105005.4917 | 2725407.8941 | 1105002.5357
42 | 2725374.6321 | 1104965.6207 | 2725368.744 | 1104974.2097
43 | 2725363.2003 | 1104982.2964 | 2725368.744 | 1104974.2097
44 | 2725374.6321 | 1104965.6207 | 2725379.3749 | 1104968.1746
45 | 2725375.4697 | 1104964.4038 | 2725374.6321 | 1104965.6207
46 | 2725363.2003 | 1104982.2964 | 2725361.9718 | 1104984.0834 | 2725359.7547 | 1104986.3211
47 | 2725385.605 | 1104971.5293 | 2725379.3749 | 1104968.1746
48 | 2725375.4697 | 1104964.4038 | 2725379.8394 | 1104958.0281
49 | 2725375.4697 | 1104964.4038 | 2725369.0095 | 1104960.0939
50 | 2725359.7547 | 1104986.3211 | 2725358.4866 | 1104987.6011
51 | 2725385.605 | 1104971.5293 | 2725383.4367 | 1104973.8692
52 | 2725385.605 | 1104971.5293 | 2725388.5991 | 1104967.0435 | 2725393.6581 | 1104969.9309
53 | 2725379.8394 | 1104958.0281 | 2725386.1361 | 1104948.8406
54 | 2725357.6339 | 1104952.5048 | 2725369.0095 | 1104960.0939
55 | 2725377.9187 | 1104981.1207 | 2725375.2273 | 1104985.4915
56 | 2725377.9187 | 1104981.1207 | 2725378.0533 | 1104980.9022 | 2725380.1763 | 1104977.388 | 2725383.4367 | 1104973.8692
57 | 2725406.2172 | 1104968.1304 | 2725401.01 | 1104974.1271 | 2725393.6581 | 1104969.9309
58 | 2725414.1129 | 1104920.0372 | 2725406.5699 | 1104934.2247 | 2725386.4629 | 1104948.3639 | 2725386.1361 | 1104948.8406
59 | 2725357.6339 | 1104952.5048 | 2725352.2917 | 1104948.9364 | 2725349.5882 | 1104947.5336
60 | 2725357.6339 | 1104952.5048 | 2725363.0594 | 1104943.1811
61 | 2725414.1129 | 1104920.0372 | 2725416.0692 | 1104916.3527 | 2725429.5748 | 1104901.5358
62 | 2725340.9546 | 1104943.0537 | 2725349.5882 | 1104947.5336
63 | 2725363.0594 | 1104943.1811 | 2725367.7095 | 1104935.19
64 | 2725008.9188 | 1105154.7018 | 2725006.9732 | 1105156.0071 | 2724999.5192 | 1105159.1781 | 2724985.1064 | 1105170.4004 | 2724974.1964 | 1105179.0931 | 2724964.0962 | 1105183.3993 | 2724952.3502 | 1105198.1235
65 | 2725008.9188 | 1105154.7018 | 2725014.2551 | 1105155.5568 | 2725025.2148 | 1105150.0897 | 2725032.0736 | 1105146.8954 | 2725039.4128 | 1105137.6622 | 2725044.6547 | 1105131.8327 | 2725050.342 | 1105127.6692 | 2725055.9108 | 1105123.6255 | 2725061.5686 | 1105120.8956 | 2725066.0576 | 1105117.0632 | 2725073.6378 | 1105113.7837 | 2725076.0867 | 1105112.6884
66 | 2725008.9188 | 1105154.7018 | 2725013.3552 | 1105141.406 | 2725018.9824 | 1105124.7657 | 2725019.1948 | 1105120.7906
67 | 2725140.4116 | 1105189.8491 | 2725076.0867 | 1105112.6884
68 | 2725140.4116 | 1105189.8491 | 2725038.3596 | 1105147.0916
69 | 2725140.4116 | 1105189.8491 | 2725147.2264 | 1105173.2646 | 2725177.8177 | 1105139.1489 | 2725194.2521 | 1105124.0581
70 | 2725038.3596 | 1105147.0916 | 2725036.7394 | 1105155.1306 | 2725028.3054 | 1105178.4194
71 | 2725196.3147 | 1105122.1641 | 2725194.2521 | 1105124.0581
72 | 2725034.3345 | 1104829.5952 | 2725047.6955 | 1104832.6614 | 2725059.4948 | 1104838.6643 | 2725064.0296 | 1104846.5077 | 2725061.8269 | 1104856.903 | 2725056.3573 | 1104868.1316 | 2725052.5341 | 1104878.3156 | 2725050.2795 | 1104882.5944 | 2725045.848 | 1104887.0063
73 | 2725103.5281 | 1104742.2032 | 2725104.5087 | 1104747.9275 | 2725101.1477 | 1104753.3287 | 2725088.0537 | 1104758.696 | 2725085.1986 | 1104760.9499 | 2725078.8589 | 1104765.9673 | 2725071.9115 | 1104780.5678 | 2725067.0545 | 1104785.727 | 2725061.128 | 1104794.3443 | 2725057.9493 | 1104800.2831 | 2725055.2238 | 1104807.8879 | 2725051.1181 | 1104814.886 | 2725038.8683 | 1104824.7296 | 2725034.3345 | 1104829.5952
74 | 2725103.5281 | 1104742.2032 | 2725098.6812 | 1104739.7349 | 2725090.2107 | 1104740.3942 | 2725082.0907 | 1104740.9384 | 2725075.782 | 1104740.6971 | 2725071.7293 | 1104740.6136 | 2725071.4398 | 1104737.3942 | 2725074.3523 | 1104734.6078 | 2725081.2091 | 1104731.5358 | 2725086.2717 | 1104728.7937 | 2725090.3749 | 1104720.7948 | 2725091.9405 | 1104714.2891 | 2725093.5226 | 1104706.6052 | 2725093.8873 | 1104700.5528 | 2725094.0942 | 1104696.5209 | 2725091.2621 | 1104695.0282 | 2725089.3149 | 1104696.7782 | 2725086.0989 | 1104702.6494 | 2725083.4656 | 1104708.7773 | 2725081.0274 | 1104711.4512 | 2725078.2822 | 1104711.7504 | 2725075.4279 | 1104711.3357 | 2725072.3904 | 1104708.5489 | 2725068.2879 | 1104705.251 | 2725062.5465 | 1104700.3848 | 2725057.9081 | 1104699.8111 | 2725050.0659 | 1104704.5196 | 2725045.7661 | 1104704.7867 | 2725039.3998 | 1104701.331 | 2725036.4042 | 1104696.5103
75 | 2725103.5281 | 1104742.2032 | 2725104.5087 | 1104747.9275 | 2725101.1477 | 1104753.3287 | 2725088.0537 | 1104758.696 | 2725085.1986 | 1104760.9499 | 2725092.3663 | 1104762.3097 | 2725100.0477 | 1104761.6452 | 2725109.3797 | 1104760.4812 | 2725115.2429 | 1104761.6917 | 2725125.2956 | 1104765.724 | 2725136.8151 | 1104771.421 | 2725141.4394 | 1104779.422 | 2725144.7446 | 1104785.361
76 | 2725103.5281 | 1104742.2032 | 2725121.0935 | 1104735.7495 | 2725135.7105 | 1104730.069 | 2725146.718 | 1104724.2028 | 2725157.3324 | 1104716.7608 | 2725163.9806 | 1104709.9263 | 2725170.0989 | 1104702.147 | 2725179.7239 | 1104686.7901 | 2725185.1259 | 1104677.3503 | 2725194.9205 | 1104666.9005 | 2725205.759 | 1104659.4854 | 2725210.9536 | 1104654.4778
77 | 2725196.3147 | 1105122.1641 | 2725203.0553 | 1105115.9746
78 | 2725406.2882 | 1105005.4917 | 2725407.5136 | 1105016.5804 | 2725408.191 | 1105020.8641
79 | 2725373.5072 | 1104924.3904 | 2725372.4024 | 1104927.1251 | 2725367.7095 | 1104935.19
80 | 2725340.9546 | 1104943.0537 | 2725342.2252 | 1104940.7285
81 | 2725347.7177 | 1104930.6774 | 2725342.2252 | 1104940.7285
82 | 2725347.7177 | 1104930.6774 | 2725172.9505 | 1104791.9471
83 | 2725144.7446 | 1104785.361 | 2725145.2674 | 1104793.0216 | 2725146.2251 | 1104799.8573 | 2725151.6641 | 1104801.7486 | 2725161.4427 | 1104798.8147 | 2725170.02 | 1104794.4774 | 2725172.9505 | 1104791.9471
84 | 2725210.9536 | 1104654.4778 | 2725214.5768 | 1104651.0057 | 2725220.2442 | 1104644.5994
85 | 2725241.5107 | 1104621.1709 | 2725240.7636 | 1104621.9919 | 2725228.1398 | 1104635.6745 | 2725220.2442 | 1104644.5994
86 | 2725241.5107 | 1104621.1709 | 2725117.679 | 1104443.2053
87 | 2725034.2768 | 1104684.4348 | 2725034.5833 | 1104686.499 | 2725035.887 | 1104692.6969 | 2725036.4042 | 1104696.5103
88 | 2724984.2254 | 1104406.0526 | 2724996.7094 | 1104405.9094 | 2725006.7979 | 1104404.8609 | 2725016.4004 | 1104404.1136 | 2725026.4084 | 1104399.4608 | 2725028.3857 | 1104402.6371 | 2725024.2466 | 1104412.7479 | 2725020.1464 | 1104420.9693 | 2725015.1509 | 1104426.8262 | 2725007.4697 | 1104433.0947 | 2725005.1891 | 1104437.1284 | 2725009.5222 | 1104440.5088 | 2725018.0101 | 1104440.5281 | 2725041.6087 | 1104440.2249 | 2725048.8191 | 1104441.7857 | 2725060.3053 | 1104441.2441 | 2725081.1742 | 1104443.8647 | 2725087.8436 | 1104448.3942 | 2725104.7856 | 1104442.9394 | 2725111.2867 | 1104440.2492 | 2725117.679 | 1104443.2053
89 | 2725460.0736 | 1104850.7265 | 2725454.2791 | 1104860.6049

## bus_geodata
| x | y | coords
0 | 2725343.939 | 1105002.2838
1 | 2725344.4672 | 1105001.7507
2 | 2725338.8576 | 1105007.4125
3 | 2725346.3851 | 1104999.815
4 | 2725319.5895 | 1105028.9624
5 | 2725348.476 | 1104997.7047
6 | 2725299.8701 | 1105048.947
7 | 2725351.7331 | 1104994.4173
8 | 2725269.4265 | 1105069.6226
9 | 2725351.7886 | 1104994.3613
10 | 2725248.4854 | 1105082.6538
11 | 2725366.5422 | 1105067.7271
12 | 2725372.7318 | 1105062.9288
13 | 2725385.8284 | 1105051.5262
14 | 2725387.9557 | 1105049.5837
15 | 2725393.7711 | 1105041.1835
16 | 2725399.8519 | 1105032.4
17 | 2725404.5413 | 1105019.3277
18 | 2725404.2457 | 1105011.854
19 | 2725437.866 | 1104959.6762
20 | 2725452.8922 | 1104914.5275
21 | 2725436.5456 | 1104964.0652
22 | 2725471.0099 | 1104873.0357
23 | 2725420.7915 | 1104979.4728
24 | 2725451.3587 | 1104974.2291
25 | 2725409.4274 | 1104983.5076
26 | 2725412.3427 | 1104993.3763
27 | 2725458.5582 | 1104978.5278
28 | 2725413.9671 | 1104973.0041
29 | 2725411.2082 | 1104995.9703
30 | 2725487.6944 | 1105012.1744
31 | 2725439.3761 | 1104890.7828
32 | 2725431.6049 | 1104899.3086
33 | 2725442.6831 | 1104880.3738
34 | 2725237.1276 | 1104295.8207
35 | 2725234.3431 | 1104286.3002
36 | 2725063.7054 | 1104299.1913
37 | 2725411.5996 | 1104971.5153
38 | 2725407.8941 | 1105002.5357
39 | 2725368.744 | 1104974.2097
40 | 2725374.6321 | 1104965.6207
41 | 2725363.2003 | 1104982.2964
42 | 2725379.3749 | 1104968.1746
43 | 2725375.4697 | 1104964.4038
44 | 2725359.7547 | 1104986.3211
45 | 2725385.605 | 1104971.5293
46 | 2725379.8394 | 1104958.0281
47 | 2725369.0095 | 1104960.0939
48 | 2725375.2273 | 1104985.4915
49 | 2725377.9187 | 1104981.1207
50 | 2725358.4866 | 1104987.6011
51 | 2725383.4367 | 1104973.8692
52 | 2725393.6581 | 1104969.9309
53 | 2725386.1361 | 1104948.8406
54 | 2725357.6339 | 1104952.5048
55 | 2725406.2172 | 1104968.1304
56 | 2725414.1129 | 1104920.0372
57 | 2725349.5882 | 1104947.5336
58 | 2725363.0594 | 1104943.1811
59 | 2724952.3502 | 1105198.1235
60 | 2725008.9188 | 1105154.7018
61 | 2725076.0867 | 1105112.6884
62 | 2725019.1948 | 1105120.7906
63 | 2725140.4116 | 1105189.849
64 | 2725038.3596 | 1105147.0916
65 | 2725194.2521 | 1105124.0581
66 | 2725028.3054 | 1105178.4194
67 | 2725034.3345 | 1104829.5952
68 | 2725045.848 | 1104887.0063
69 | 2725103.5281 | 1104742.2032
70 | 2725203.0553 | 1105115.9746
71 | 2725196.3147 | 1105122.1641
72 | 2725406.2882 | 1105005.4917
73 | 2725408.191 | 1105020.8641
74 | 2725367.7095 | 1104935.19
75 | 2725373.5072 | 1104924.3904
76 | 2725340.9546 | 1104943.0537
77 | 2725342.2252 | 1104940.7285
78 | 2725347.7177 | 1104930.6774
79 | 2725172.9505 | 1104791.9471
80 | 2725220.2442 | 1104644.5994
81 | 2725210.9536 | 1104654.4778
82 | 2725241.5107 | 1104621.1709
83 | 2725036.4042 | 1104696.5103
84 | 2725144.7446 | 1104785.361
85 | 2725034.2768 | 1104684.4348
86 | 2724984.2254 | 1104406.0526
87 | 2725117.679 | 1104443.2053
88 | 2725429.5748 | 1104901.5358
89 | 2725454.2791 | 1104860.6049
90 | 2725460.0736 | 1104850.7265
91 | 2725348.4168 | 1104929.3981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1