## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-252_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-252_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-252_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-252_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-252_0_6_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_5192-252_0_6_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_5192-252_0_6_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_5192-252_0_6_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_5192-252_0_6_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5192-252_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5192-252_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5192-252_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5192-252_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5192-252_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5192-252_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5192-252_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5192-252_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5192-252_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5192-252_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5192-252_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5192-252_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5192-252_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5192-252_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5192-252_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5192-252_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5192-252_0_6_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_5192-252_0_6_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_5192-252_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5192-252_0_6_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_5192-252_0_6_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_5192-252_0_6_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_5192-252_0_6_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_5192-252_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5192-252_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5192-252_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5192-252_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5192-252_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5192-252_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5192-252_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5192-252_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5192-252_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5192-252_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5192-252_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5192-252_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5192-252_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5192-252_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5192-252_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5192-252_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5192-252_0_6_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_5192-252_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5192-252_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5192-252_0_6_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_5192-252_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_5192-252_0_6_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_5192-252_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5192-252_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5192-252_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5192-252_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5192-252_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5192-252_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5192-252_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5192-252_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5192-252_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5192-252_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5192-252_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5192-252_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5192-252_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5192-252_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5192-252_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_5192-252_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5192-252_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5192-252_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5192-252_0_6_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_5192-252_0_6_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5192-252_0_6_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5192-252_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5192-252_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5192-252_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5192-252_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5192-252_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5192-252_0_6_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_5192-252_0_6_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5192-252_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5192-252_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5192-252_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_MV_256_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-252_0_6_load_0 | 0 | 0.0095011 | 0.0023812 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-252_0_6_load_2 | 2 | 0.0064163 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-252_0_6_load_61 | 5 | 0.010503 | 0.0026324 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-252_0_6_load_60 | 6 | 0.007852 | 0.0019679 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-252_0_6_load_56 | 7 | 0.0096956 | 0.0024299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-252_0_6_load_62 | 8 | 0.012269 | 0.003075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-252_0_6_load_4 | 9 | 0.0032601 | 0.00081707 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-252_0_6_load_5 | 10 | 0.0039214 | 0.00098279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-252_0_6_load_6 | 11 | 0.0023177 | 0.00058088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-252_0_6_load_7 | 12 | 0.0032666 | 0.00081868 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-252_0_6_load_8 | 13 | 0.005355 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-252_0_6_load_10 | 14 | 0.002057 | 0.00051554 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-252_0_6_load_12 | 15 | 0.0033424 | 0.00083768 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-252_0_6_load_9 | 16 | 0.002386 | 0.000598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-252_0_6_load_13 | 17 | 0.0039495 | 0.00098983 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-252_0_6_load_14 | 18 | 0.0042669 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-252_0_6_load_17 | 19 | 0.0078326 | 0.001963 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-252_0_6_load_18 | 20 | 0.0070778 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-252_0_6_load_15 | 22 | 0.0026433 | 0.00066247 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-252_0_6_load_19 | 23 | 0.0082634 | 0.002071 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-252_0_6_load_40 | 27 | 0.0059879 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-252_0_6_load_86 | 28 | 0.0052203 | 0.0013083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-252_0_6_load_79 | 30 | 0.0083204 | 0.0020853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-252_0_6_load_81 | 31 | 0.0091354 | 0.0022895 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-252_0_6_load_21 | 32 | 0.0049748 | 0.0012468 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-252_0_6_load_22 | 33 | 0.0053122 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-252_0_6_load_23 | 34 | 0.013383 | 0.003354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-252_0_6_load_24 | 35 | 0.0056252 | 0.0014098 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-252_0_6_load_25 | 36 | 0.0053062 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-252_0_6_load_26 | 37 | 0.0045074 | 0.0011297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-252_0_6_load_27 | 38 | 0.0055586 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-252_0_6_load_29 | 40 | 0.013473 | 0.0033765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-252_0_6_load_30 | 41 | 0.0047179 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-252_0_6_load_31 | 43 | 0.0088608 | 0.0022207 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-252_0_6_load_32 | 44 | 0.0072481 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-252_0_6_load_36 | 45 | 0.0061136 | 0.0015322 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-252_0_6_load_34 | 46 | 0.0035066 | 0.00087884 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-252_0_6_load_33 | 47 | 0.0067321 | 0.0016872 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-252_0_6_load_50 | 48 | 0.0066555 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-252_0_6_load_49 | 49 | 0.0052843 | 0.0013244 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-252_0_6_load_41 | 50 | 0.0054788 | 0.0013731 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-252_0_6_load_85 | 51 | 0.0050948 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-252_0_6_load_80 | 53 | 0.0061892 | 0.0015511 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-252_0_6_load_42 | 54 | 0.006318 | 0.0015834 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-252_0_6_load_43 | 55 | 0.0043275 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-252_0_6_load_45 | 57 | 0.0057603 | 0.0014437 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-252_0_6_load_46 | 58 | 0.0056949 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-252_0_6_load_47 | 59 | 0.0073313 | 0.0018374 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-252_0_6_load_51 | 60 | 0.0094135 | 0.0023592 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-252_0_6_load_48 | 61 | 0.006967 | 0.0017461 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-252_0_6_load_52 | 62 | 0.0021823 | 0.00054693 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-252_0_6_load_53 | 63 | 0.0092854 | 0.0023271 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-252_0_6_load_55 | 64 | 0.0025513 | 0.00063942 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-252_0_6_load_54 | 65 | 0.0065331 | 0.0016374 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-252_0_6_load_57 | 66 | 0.011402 | 0.0028576 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-252_0_6_load_59 | 67 | 0.009695 | 0.0024298 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-252_0_6_load_69 | 68 | 0.0072266 | 0.0018112 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-252_0_6_load_63 | 70 | 0.01351 | 0.0033859 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-252_0_6_load_64 | 71 | 0.012319 | 0.0030873 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-252_0_6_load_84 | 73 | 0.0019032 | 0.00047699 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-252_0_6_load_82 | 74 | 0.0015971 | 0.00040026 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-252_0_6_load_66 | 75 | 0.0098542 | 0.0024697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-252_0_6_load_70 | 77 | 0.0066936 | 0.0016776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5192-252_0_6_load_71 | 78 | 0.0068153 | 0.0017081 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5192-252_0_6_load_72 | 79 | 0.026384 | 0.0066125 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5192-252_0_6_load_73 | 80 | 0.00413 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5192-252_0_6_load_78 | 81 | 0.017387 | 0.0043575 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5192-252_0_6_load_75 | 84 | 0.0024966 | 0.00062572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-252_0_6_line_0 |  | 0 | 1 | 0.038308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-252_0_6_line_1 |  | 1 | 2 | 0.062791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-252_0_6_line_2 |  | 1 | 3 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-252_0_6_line_3 |  | 3 | 4 | 0.031173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-252_0_6_line_4 |  | 3 | 5 | 0.060893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-252_0_6_line_5 |  | 4 | 6 | 0.0065854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-252_0_6_line_6 |  | 4 | 7 | 0.007858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-252_0_6_line_7 |  | 5 | 8 | 0.027167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-252_0_6_line_8 |  | 6 | 68 | 0.027021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-252_0_6_line_9 |  | 7 | 66 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-252_0_6_line_10 |  | 8 | 70 | 0.0032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-252_0_6_line_11 |  | 9 | 10 | 0.0096398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-252_0_6_line_12 |  | 9 | 11 | 0.026611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-252_0_6_line_13 |  | 10 | 12 | 0.029245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-252_0_6_line_14 |  | 11 | 13 | 0.0031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-252_0_6_line_15 |  | 11 | 14 | 0.082893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-252_0_6_line_16 |  | 12 | 15 | 0.0033739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-252_0_6_line_17 |  | 13 | 16 | 0.0032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-252_0_6_line_18 |  | 15 | 17 | 0.0056239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-252_0_6_line_19 |  | 17 | 18 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-252_0_6_line_20 |  | 18 | 19 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-252_0_6_line_21 |  | 19 | 20 | 0.032566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-252_0_6_line_22 |  | 19 | 21 | 0.037748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-252_0_6_line_23 |  | 20 | 23 | 0.024444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5192-252_0_6_line_24 |  | 21 | 22 | 0.021991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-252_0_6_line_25 |  | 23 | 24 | 0.0099184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5192-252_0_6_line_26 |  | 24 | 25 | 0.008813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-252_0_6_line_27 |  | 25 | 26 | 0.007052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5192-252_0_6_line_28 |  | 25 | 27 | 0.022099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5192-252_0_6_line_29 |  | 26 | 28 | 0.040967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5192-252_0_6_line_30 |  | 27 | 50 | 0.04178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5192-252_0_6_line_31 |  | 28 | 51 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5192-252_0_6_line_32 |  | 29 | 30 | 0.044693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-252_0_6_line_33 |  | 29 | 31 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-252_0_6_line_34 |  | 30 | 52 | 0.026625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-252_0_6_line_35 |  | 31 | 53 | 0.0062658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-252_0_6_line_36 |  | 32 | 33 | 0.0042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-252_0_6_line_37 |  | 32 | 34 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-252_0_6_line_38 |  | 33 | 35 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-252_0_6_line_39 |  | 35 | 36 | 0.0061107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-252_0_6_line_40 |  | 36 | 37 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-252_0_6_line_41 |  | 37 | 38 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-252_0_6_line_42 |  | 38 | 39 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-252_0_6_line_43 |  | 39 | 40 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-252_0_6_line_44 |  | 39 | 41 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-252_0_6_line_45 |  | 41 | 42 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-252_0_6_line_46 |  | 42 | 45 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-252_0_6_line_47 |  | 42 | 46 | 0.0093771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5192-252_0_6_line_48 |  | 43 | 44 | 0.00044616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-252_0_6_line_49 |  | 44 | 47 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-252_0_6_line_50 |  | 45 | 48 | 0.0092539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-252_0_6_line_51 |  | 46 | 47 | 0.00076833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-252_0_6_line_52 |  | 48 | 49 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-252_0_6_line_53 |  | 49 | 61 | 3.6709e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-252_0_6_line_54 |  | 50 | 54 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5192-252_0_6_line_55 |  | 51 | 78 | 0.0032633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5192-252_0_6_line_56 |  | 52 | 83 | 0.004488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-252_0_6_line_57 |  | 54 | 55 | 0.0042888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5192-252_0_6_line_58 |  | 55 | 56 | 0.0035429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5192-252_0_6_line_59 |  | 56 | 57 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-252_0_6_line_60 |  | 56 | 58 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-252_0_6_line_61 |  | 57 | 59 | 0.0052945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-252_0_6_line_62 |  | 58 | 60 | 0.024254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5192-252_0_6_line_63 |  | 59 | 61 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5192-252_0_6_line_64 |  | 60 | 62 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-252_0_6_line_65 |  | 62 | 63 | 0.00061983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-252_0_6_line_66 |  | 63 | 64 | 0.020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5192-252_0_6_line_67 |  | 64 | 65 | 0.0066713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-252_0_6_line_68 |  | 66 | 67 | 0.00379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-252_0_6_line_69 |  | 68 | 69 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5192-252_0_6_line_70 |  | 69 | 77 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-252_0_6_line_71 |  | 69 | 78 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_5192-252_0_6_line_72 |  | 69 | 75 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5192-252_0_6_line_73 |  | 70 | 71 | 0.032564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5192-252_0_6_line_74 |  | 72 | 73 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5192-252_0_6_line_75 |  | 72 | 74 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5192-252_0_6_line_76 |  | 74 | 84 | 0.17896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5192-252_0_6_line_77 |  | 75 | 76 | 0.0040064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5192-252_0_6_line_78 |  | 76 | 79 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5192-252_0_6_line_79 |  | 76 | 80 | 0.025083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5192-252_0_6_line_80 |  | 77 | 81 | 0.0079703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5192-252_0_6_line_81 |  | 79 | 82 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5192-252_0_6_line_82 |  | 80 | 83 | 0.012014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5192-252_0_6_line_83 |  | 82 | 84 | 0.026528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-252_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 85 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2715890.6676 | 1094162.3224 | 2715869.7151 | 1094180.7803 | 2715859.3658 | 1094181.643
1 | 2715890.6676 | 1094162.3224 | 2715915.3896 | 1094182.7298 | 2715925.9249 | 1094196.8181 | 2715937.1317 | 1094203.6833
2 | 2715875.5663 | 1094149.0922 | 2715890.6676 | 1094162.3224
3 | 2715875.5663 | 1094149.0922 | 2715870.9946 | 1094142.534 | 2715854.8508 | 1094125.8483
4 | 2715875.5663 | 1094149.0922 | 2715846.3966 | 1094152.6056 | 2715814.9184 | 1094151.1323
5 | 2715854.8508 | 1094125.8483 | 2715850.6287 | 1094120.7945
6 | 2715854.8508 | 1094125.8483 | 2715847.1131 | 1094127.218
7 | 2715814.9184 | 1094151.1323 | 2715787.7806 | 1094149.8622
8 | 2715841.6512 | 1094095.8735 | 2715841.63 | 1094097.3102 | 2715842.5414 | 1094104.388 | 2715844.7895 | 1094110.8686 | 2715848.2811 | 1094117.9844 | 2715850.6287 | 1094120.7945
9 | 2715847.1131 | 1094127.218 | 2715836.4115 | 1094129.1125
10 | 2715787.7806 | 1094149.8622 | 2715784.487 | 1094149.7081
11 | 2716029.1176 | 1093967.9046 | 2716019.4907 | 1093967.4069
12 | 2716029.1176 | 1093967.9046 | 2716031.2181 | 1093968.0132 | 2716040.572 | 1093970.1042 | 2716045.2746 | 1093973.0515 | 2716051.1339 | 1093980.3669
13 | 2716019.4907 | 1093967.4069 | 2716002.5767 | 1093966.5324 | 2715990.3062 | 1093967.4939
14 | 2716051.1339 | 1093980.3669 | 2716053.0802 | 1093982.7969
15 | 2716051.1339 | 1093980.3669 | 2716111.4554 | 1093923.5117
16 | 2715986.9427 | 1093967.7577 | 2715986.9436 | 1093967.7574 | 2715990.3062 | 1093967.4939
17 | 2716055.1234 | 1093985.3479 | 2716053.0802 | 1093982.7969
18 | 2715986.9427 | 1093967.7577 | 2715981.7347 | 1093969.8801
19 | 2715959.6046 | 1093979.4561 | 2715970.6022 | 1093974.417 | 2715981.7347 | 1093969.8801
20 | 2715939.9635 | 1093989.1388 | 2715948.0053 | 1093984.771 | 2715959.6046 | 1093979.4561
21 | 2715923.9992 | 1094014.9635 | 2715924.2161 | 1094014.16 | 2715925.8087 | 1094003.8054 | 2715927.7952 | 1093997.9949 | 2715935.4666 | 1093991.5811 | 2715939.9635 | 1093989.1388
22 | 2715939.9635 | 1093989.1388 | 2715928.2611 | 1093953.2508
23 | 2715923.9992 | 1094014.9635 | 2715917.6278 | 1094038.5623 | 2715917.6278 | 1094038.5623
24 | 2715928.2611 | 1093953.2508 | 2715928.0148 | 1093946.6638 | 2715925.437 | 1093937.9642 | 2715923.2622 | 1093932.0236
25 | 2715912.1838 | 1094046.8531 | 2715917.6278 | 1094038.5623
26 | 2715912.3819 | 1094054.7512 | 2715913.4167 | 1094053.3255 | 2715913.9447 | 1094051.6455 | 2715913.901 | 1094049.8768 | 2715913.2893 | 1094048.2196 | 2715912.1838 | 1094046.8531
27 | 2715905.8244 | 1094055.5935 | 2715907.4789 | 1094056.2143 | 2715909.2448 | 1094056.2814 | 2715910.9364 | 1094055.7688 | 2715912.3819 | 1094054.7512
28 | 2715912.3819 | 1094054.7512 | 2715916.3042 | 1094059.1957 | 2715923.5127 | 1094073.6718
29 | 2715905.8244 | 1094055.5935 | 2715902.2739 | 1094058.072 | 2715878.4084 | 1094070.7592 | 2715868.808 | 1094070.3666
30 | 2715923.5127 | 1094073.6718 | 2715927.1427 | 1094080.9617 | 2715930.4419 | 1094085.1608 | 2715934.991 | 1094088.0272 | 2715942.7272 | 1094089.5869 | 2715957.6925 | 1094088.2214
31 | 2715851.4409 | 1094071.2578 | 2715864.1508 | 1094070.1761 | 2715868.808 | 1094070.3666
32 | 2715862.3417 | 1094034.5727 | 2715834.7849 | 1094029.8779 | 2715832.519 | 1094017.4151 | 2715831.0846 | 1094016.6317 | 2715829.0588 | 1094017.9879
33 | 2715862.3417 | 1094034.5727 | 2715862.0951 | 1094019.5481
34 | 2715810.8475 | 1094036.5822 | 2715813.9154 | 1094030.5476 | 2715818.6019 | 1094024.9886 | 2715829.0588 | 1094017.9879
35 | 2715861.9922 | 1094013.2831 | 2715862.0951 | 1094019.5481
36 | 2716003.4153 | 1094032.9957 | 2716007.6456 | 1094033.0442
37 | 2715990.5222 | 1094032.8481 | 2716003.4153 | 1094032.9957
38 | 2716022.6977 | 1094033.2165 | 2716007.6456 | 1094033.0442
39 | 2716022.6977 | 1094033.2165 | 2716028.808 | 1094033.2864
40 | 2716040.4723 | 1094033.42 | 2716028.808 | 1094033.2864
41 | 2716040.4723 | 1094033.42 | 2716059.392 | 1094033.6366
42 | 2716069.9388 | 1094037.0884 | 2716061.8118 | 1094033.6643 | 2716059.392 | 1094033.6366
43 | 2716069.9388 | 1094037.0884 | 2716079.2143 | 1094033.941 | 2716090.353 | 1094048.656
44 | 2716069.9388 | 1094037.0884 | 2716070.674 | 1094043.2289 | 2716066.1463 | 1094052.1423
45 | 2716057.5978 | 1094063.9825 | 2716065.3991 | 1094053.6131 | 2716066.1463 | 1094052.1423
46 | 2716057.5978 | 1094063.9825 | 2716038.0106 | 1094075.4054
47 | 2716057.5978 | 1094063.9825 | 2716064.7045 | 1094070.1001
48 | 2716082.9959 | 1094070.7607 | 2716082.5511 | 1094070.7966
49 | 2716082.5511 | 1094070.7966 | 2716072.4183 | 1094071.615 | 2716065.4584 | 1094070.2482
50 | 2716038.0106 | 1094075.4054 | 2716030.0167 | 1094080.0673 | 2716030.0167 | 1094080.0673
51 | 2716065.4584 | 1094070.2482 | 2716064.7045 | 1094070.1001 | 2716064.7045 | 1094070.1001
52 | 2716014.7182 | 1094081.9277 | 2716030.0167 | 1094080.0673
53 | 2716014.7182 | 1094081.9277 | 2716014.6818 | 1094081.9321
54 | 2715957.6925 | 1094088.2214 | 2715971.0072 | 1094087.0064
55 | 2715848.1894 | 1094071.5346 | 2715851.4409 | 1094071.2578
56 | 2715810.8475 | 1094036.5822 | 2715807.7853 | 1094039.8706
57 | 2715975.2782 | 1094086.6167 | 2715971.0072 | 1094087.0064
58 | 2715978.8065 | 1094086.2948 | 2715975.2782 | 1094086.6167
59 | 2715978.8065 | 1094086.2948 | 2715992.59 | 1094084.6186
60 | 2715978.8065 | 1094086.2948 | 2715988.9783 | 1094110.5825
61 | 2715992.59 | 1094084.6186 | 2715997.8458 | 1094083.9795
62 | 2715988.9783 | 1094110.5825 | 2715990.0442 | 1094113.1275 | 2715990.2936 | 1094115.4895 | 2715989.5543 | 1094119.7116 | 2715989.8128 | 1094122.4073 | 2715994.0916 | 1094133.7522
63 | 2715997.8458 | 1094083.9795 | 2716014.6818 | 1094081.9321
64 | 2715994.0916 | 1094133.7522 | 2715994.0916 | 1094133.7522 | 2715994.3299 | 1094135.0688 | 2715993.794 | 1094136.3483 | 2715992.7217 | 1094137.3063 | 2715986.1911 | 1094140.0755
65 | 2715985.6204 | 1094140.3174 | 2715986.1911 | 1094140.0755
66 | 2715985.6204 | 1094140.3174 | 2715967.181 | 1094148.1363
67 | 2715961.5269 | 1094151.5717 | 2715964.4675 | 1094149.2869 | 2715967.181 | 1094148.1363
68 | 2715832.6795 | 1094129.7731 | 2715836.4115 | 1094129.1125
69 | 2715835.4683 | 1094074.1325 | 2715841.7641 | 1094088.2398 | 2715841.6512 | 1094095.8735
70 | 2715835.4683 | 1094074.1325 | 2715838.2881 | 1094056.7186 | 2715836.3446 | 1094056.6687
71 | 2715835.4683 | 1094074.1325 | 2715839.4952 | 1094072.2745 | 2715848.1894 | 1094071.5346
72 | 2715835.4683 | 1094074.1325 | 2715820.6836 | 1094075.5056
73 | 2715752.4217 | 1094145.8656 | 2715759.8475 | 1094148.5548 | 2715784.487 | 1094149.7081
74 | 2715573.0132 | 1094020.7471 | 2715591.6422 | 1094026.6274
75 | 2715591.6422 | 1094026.6274 | 2715594.4451 | 1094023.1116 | 2715599.0941 | 1094016.2508 | 2715603.1493 | 1094008.4226 | 2715604.0908 | 1094006.2864
76 | 2715777.2896 | 1094051.3352 | 2715604.0908 | 1094006.2864
77 | 2715816.6944 | 1094075.8761 | 2715820.6836 | 1094075.5056
78 | 2715816.6944 | 1094075.8761 | 2715795.4356 | 1094077.5883
79 | 2715816.6944 | 1094075.8761 | 2715810.8857 | 1094051.4745
80 | 2715829.197 | 1094055.1432 | 2715829.9139 | 1094056.5034 | 2715836.3446 | 1094056.6687
81 | 2715775.5287 | 1094075.6144 | 2715791.5752 | 1094077.8992 | 2715795.4356 | 1094077.5883
82 | 2715807.7853 | 1094039.8706 | 2715809.8054 | 1094046.9362 | 2715810.8857 | 1094051.4745
83 | 2715775.5287 | 1094075.6144 | 2715779.0067 | 1094062.2936 | 2715775.5618 | 1094051.9098 | 2715777.2896 | 1094051.3352

## bus_geodata
| x | y | coords
0 | 2715859.3658 | 1094181.643
1 | 2715890.6676 | 1094162.3224
2 | 2715937.1317 | 1094203.6833
3 | 2715875.5663 | 1094149.0922
4 | 2715854.8508 | 1094125.8483
5 | 2715814.9184 | 1094151.1323
6 | 2715850.6287 | 1094120.7945
7 | 2715847.1131 | 1094127.218
8 | 2715787.7806 | 1094149.8622
9 | 2716029.1176 | 1093967.9046
10 | 2716019.4906 | 1093967.4069
11 | 2716051.1339 | 1093980.3669
12 | 2715990.3062 | 1093967.4939
13 | 2716053.0802 | 1093982.7969
14 | 2716111.4554 | 1093923.5117
15 | 2715986.9427 | 1093967.7577
16 | 2716055.1234 | 1093985.3479
17 | 2715981.7347 | 1093969.8801
18 | 2715959.6046 | 1093979.4561
19 | 2715939.9635 | 1093989.1388
20 | 2715923.9992 | 1094014.9635
21 | 2715928.2611 | 1093953.2508
22 | 2715923.2622 | 1093932.0236
23 | 2715917.6278 | 1094038.5623
24 | 2715912.1838 | 1094046.8531
25 | 2715912.3819 | 1094054.7512
26 | 2715905.8244 | 1094055.5935
27 | 2715923.5127 | 1094073.6718
28 | 2715868.808 | 1094070.3666
29 | 2715862.3417 | 1094034.5727
30 | 2715829.0588 | 1094017.9879
31 | 2715862.095 | 1094019.5481
32 | 2716003.4153 | 1094032.9957
33 | 2716007.6456 | 1094033.0442
34 | 2715990.5222 | 1094032.8481
35 | 2716022.6977 | 1094033.2165
36 | 2716028.808 | 1094033.2864
37 | 2716040.4723 | 1094033.42
38 | 2716059.392 | 1094033.6366
39 | 2716069.9388 | 1094037.0884
40 | 2716090.353 | 1094048.656
41 | 2716066.1463 | 1094052.1423
42 | 2716057.5978 | 1094063.9825
43 | 2716082.9959 | 1094070.7607
44 | 2716082.5511 | 1094070.7966
45 | 2716038.0106 | 1094075.4054
46 | 2716064.7045 | 1094070.1001
47 | 2716065.4584 | 1094070.2482
48 | 2716030.0167 | 1094080.0673
49 | 2716014.7182 | 1094081.9277
50 | 2715957.6925 | 1094088.2214
51 | 2715851.4409 | 1094071.2578
52 | 2715810.8475 | 1094036.5822
53 | 2715861.9922 | 1094013.2831
54 | 2715971.0072 | 1094087.0064
55 | 2715975.2782 | 1094086.6167
56 | 2715978.8065 | 1094086.2948
57 | 2715992.59 | 1094084.6186
58 | 2715988.9783 | 1094110.5825
59 | 2715997.8458 | 1094083.9795
60 | 2715994.0916 | 1094133.7522
61 | 2716014.6818 | 1094081.9321
62 | 2715986.1911 | 1094140.0755
63 | 2715985.6204 | 1094140.3174
64 | 2715967.181 | 1094148.1363
65 | 2715961.5269 | 1094151.5717
66 | 2715836.4115 | 1094129.1125
67 | 2715832.6795 | 1094129.7731
68 | 2715841.6512 | 1094095.8735
69 | 2715835.4683 | 1094074.1325
70 | 2715784.487 | 1094149.7081
71 | 2715752.4217 | 1094145.8656
72 | 2715591.6422 | 1094026.6274
73 | 2715573.0132 | 1094020.7471
74 | 2715604.0908 | 1094006.2864
75 | 2715820.6836 | 1094075.5056
76 | 2715816.6944 | 1094075.8761
77 | 2715836.3446 | 1094056.6687
78 | 2715848.1894 | 1094071.5346
79 | 2715795.4356 | 1094077.5883
80 | 2715810.8857 | 1094051.4745
81 | 2715829.197 | 1094055.1432
82 | 2715775.5287 | 1094075.6144
83 | 2715807.7853 | 1094039.8706
84 | 2715777.2896 | 1094051.3352
85 | 2715912.3819 | 1094054.7512

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1