## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-259_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-259_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-259_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5192-259_0_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_5192-259_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5192-259_0_2_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_5192-259_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5192-259_0_2_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_5192-259_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5192-259_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5192-259_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5192-259_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5192-259_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5192-259_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5192-259_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5192-259_0_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5192-259_0_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5192-259_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_5192-259_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_5192-259_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5192-259_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5192-259_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5192-259_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5192-259_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5192-259_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5192-259_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5192-259_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_5192-259_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5192-259_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5192-259_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5192-259_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5192-259_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_5192-259_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5192-259_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5192-259_0_2_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5192-259_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5192-259_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5192-259_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5192-259_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5192-259_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5192-259_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_5192-259_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5192-259_0_2_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5192-259_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5192-259_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5192-259_0_2_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_5192-259_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5192-259_0_2_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5192-259_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5192-259_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5192-259_0_2_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5192-259_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5192-259_0_2_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_5192-259_0_2_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5192-259_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5192-259_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5192-259_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5192-259_0_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_5192-259_0_2_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_5192-259_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5192-259_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5192-259_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5192-259_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5192-259_0_2_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_5192-259_0_2_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_5192-259_0_2_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5192-259_0_2_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_5192-259_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5192-259_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5192-259_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5192-259_0_2_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5192-259_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5192-259_0_2_node_69 | 0.4 | n |  | TRUE
73 | bus_MV_74_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-259_0_2_load_0 | 0 | 0.0014531 | 0.00036418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-259_0_2_load_1 | 1 | 0.0025528 | 0.00063979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-259_0_2_load_3 | 2 | 0.0043581 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-259_0_2_load_10 | 3 | 0.0027174 | 0.00068103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-259_0_2_load_4 | 4 | 0.0013922 | 0.00034891 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-259_0_2_load_27 | 5 | 0.002306 | 0.00057795 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-259_0_2_load_5 | 8 | 0.0010243 | 0.00025672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-259_0_2_load_6 | 9 | 0.0014452 | 0.00036221 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-259_0_2_load_7 | 10 | 0.0033405 | 0.0008372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-259_0_2_load_8 | 11 | 0.0028064 | 0.00070336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-259_0_2_load_9 | 12 | 0.00422 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-259_0_2_load_12 | 13 | 0.0014914 | 0.00037378 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-259_0_2_load_13 | 14 | 0.0023802 | 0.00059655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-259_0_2_load_20 | 15 | 0.0020122 | 0.0005043 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-259_0_2_load_30 | 16 | 0.001587 | 0.00039773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-259_0_2_load_21 | 17 | 0.00253 | 0.00063407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-259_0_2_load_29 | 18 | 0.0014257 | 0.00035733 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-259_0_2_load_14 | 19 | 0.0022167 | 0.00055556 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-259_0_2_load_15 | 20 | 0.0023771 | 0.00059575 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-259_0_2_load_16 | 21 | 0.0020547 | 0.00051497 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-259_0_2_load_17 | 22 | 0.00096024 | 0.00024066 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-259_0_2_load_18 | 23 | 0.001177 | 0.00029499 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-259_0_2_load_19 | 24 | 0.0024124 | 0.00060461 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-259_0_2_load_25 | 25 | 0.0022672 | 0.00056822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-259_0_2_load_26 | 26 | 0.0016106 | 0.00040364 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-259_0_2_load_22 | 27 | 0.0023357 | 0.00058537 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-259_0_2_load_23 | 28 | 0.0027518 | 0.00068966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-259_0_2_load_51 | 31 | 0.003489 | 0.00087443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-259_0_2_load_35 | 32 | 0.0019919 | 0.00049923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-259_0_2_load_32 | 33 | 0.0014284 | 0.00035799 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-259_0_2_load_52 | 34 | 0.0060102 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-259_0_2_load_33 | 36 | 0.0050601 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-259_0_2_load_36 | 37 | 0.001879 | 0.00047092 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-259_0_2_load_37 | 38 | 0.0023097 | 0.00057887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-259_0_2_load_48 | 40 | 0.0031241 | 0.00078298 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-259_0_2_load_38 | 42 | 0.0016758 | 0.00042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-259_0_2_load_39 | 43 | 0.0016646 | 0.00041718 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-259_0_2_load_61 | 45 | 0.036688 | 0.0091948 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-259_0_2_load_46 | 46 | 0.00144 | 0.00036089 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-259_0_2_load_62 | 47 | 0.037062 | 0.0092885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-259_0_2_load_41 | 48 | 0.0010905 | 0.0002733 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-259_0_2_load_42 | 49 | 0.0010203 | 0.00025571 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-259_0_2_load_44 | 50 | 0.0010044 | 0.00025172 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-259_0_2_load_47 | 51 | 0.0017336 | 0.00043447 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-259_0_2_load_60 | 52 | 0.00087451 | 0.00021917 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-259_0_2_load_49 | 53 | 0.003092 | 0.00077493 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-259_0_2_load_50 | 54 | 0.0022931 | 0.0005747 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-259_0_2_load_53 | 55 | 0.0021648 | 0.00054254 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-259_0_2_load_54 | 56 | 0.0017618 | 0.00044155 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-259_0_2_load_63 | 57 | 0.0013377 | 0.00033526 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-259_0_2_load_74 | 58 | 0.001892 | 0.00047418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-259_0_2_load_55 | 59 | 0.0019852 | 0.00049753 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-259_0_2_load_56 | 60 | 0.0010668 | 0.00026736 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-259_0_2_load_57 | 61 | 0.0022256 | 0.00055778 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-259_0_2_load_59 | 62 | 0.0011977 | 0.00030018 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-259_0_2_load_73 | 64 | 0.0024953 | 0.00062539 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-259_0_2_load_72 | 66 | 0.0016314 | 0.00040888 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5192-259_0_2_load_64 | 67 | 0.0045737 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5192-259_0_2_load_65 | 68 | 0.0022186 | 0.00055604 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5192-259_0_2_load_66 | 69 | 0.00097489 | 0.00024433 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5192-259_0_2_load_67 | 70 | 0.0018479 | 0.00046312 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5192-259_0_2_load_68 | 71 | 0.0044497 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5192-259_0_2_load_69 | 72 | 0.0012165 | 0.00030487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-259_0_2_line_0 |  | 0 | 1 | 0.029174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5192-259_0_2_line_1 |  | 1 | 2 | 0.040484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5192-259_0_2_line_2 |  | 2 | 3 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5192-259_0_2_line_3 |  | 3 | 6 | 0.0081582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-259_0_2_line_4 |  | 4 | 5 | 0.028269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5192-259_0_2_line_5 |  | 5 | 7 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5192-259_0_2_line_6 |  | 6 | 13 | 0.02146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-259_0_2_line_7 |  | 6 | 14 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5192-259_0_2_line_8 |  | 6 | 12 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-259_0_2_line_9 |  | 7 | 30 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5192-259_0_2_line_10 |  | 7 | 31 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5192-259_0_2_line_11 |  | 8 | 9 | 0.0059455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5192-259_0_2_line_12 |  | 9 | 10 | 0.026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-259_0_2_line_13 |  | 10 | 11 | 0.002678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-259_0_2_line_14 |  | 11 | 12 | 0.038828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-259_0_2_line_15 |  | 13 | 15 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-259_0_2_line_16 |  | 14 | 16 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5192-259_0_2_line_17 |  | 15 | 17 | 0.0047705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5192-259_0_2_line_18 |  | 16 | 18 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5192-259_0_2_line_19 |  | 17 | 27 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5192-259_0_2_line_20 |  | 18 | 35 | 0.011472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5192-259_0_2_line_21 |  | 19 | 20 | 0.0015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5192-259_0_2_line_22 |  | 19 | 21 | 0.0037123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-259_0_2_line_23 |  | 21 | 22 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5192-259_0_2_line_24 |  | 22 | 23 | 0.034125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-259_0_2_line_25 |  | 23 | 24 | 0.0043001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5192-259_0_2_line_26 |  | 24 | 25 | 0.027864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5192-259_0_2_line_27 |  | 25 | 26 | 0.0051829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5192-259_0_2_line_28 |  | 26 | 29 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5192-259_0_2_line_29 |  | 27 | 28 | 0.0079842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5192-259_0_2_line_30 |  | 28 | 29 | 0.077395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5192-259_0_2_line_31 |  | 30 | 32 | 0.028256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-259_0_2_line_32 |  | 30 | 33 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-259_0_2_line_33 |  | 31 | 34 | 0.0048451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-259_0_2_line_34 |  | 32 | 39 | 0.0095776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-259_0_2_line_35 |  | 33 | 35 | 0.0099939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-259_0_2_line_36 |  | 35 | 36 | 0.0046265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5192-259_0_2_line_37 |  | 36 | 37 | 0.023427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5192-259_0_2_line_38 |  | 37 | 38 | 0.0019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5192-259_0_2_line_39 |  | 38 | 42 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5192-259_0_2_line_40 |  | 39 | 40 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5192-259_0_2_line_41 |  | 39 | 41 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5192-259_0_2_line_42 |  | 40 | 53 | 0.026381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-259_0_2_line_43 |  | 41 | 48 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-259_0_2_line_44 |  | 42 | 43 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5192-259_0_2_line_45 |  | 43 | 44 | 0.0043777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-259_0_2_line_46 |  | 44 | 45 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5192-259_0_2_line_47 |  | 44 | 46 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5192-259_0_2_line_48 |  | 45 | 47 | 0.0075972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5192-259_0_2_line_49 |  | 48 | 49 | 0.0091133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5192-259_0_2_line_50 |  | 49 | 50 | 0.03127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-259_0_2_line_51 |  | 50 | 51 | 0.009876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-259_0_2_line_52 |  | 51 | 52 | 0.0082497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5192-259_0_2_line_53 |  | 53 | 54 | 0.015002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5192-259_0_2_line_54 |  | 54 | 55 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5192-259_0_2_line_55 |  | 55 | 56 | 0.014331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5192-259_0_2_line_56 |  | 56 | 57 | 0.011213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5192-259_0_2_line_57 |  | 57 | 58 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5192-259_0_2_line_58 |  | 58 | 66 | 0.0042815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5192-259_0_2_line_59 |  | 59 | 60 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5192-259_0_2_line_60 |  | 59 | 61 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5192-259_0_2_line_61 |  | 61 | 62 | 0.0073233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-259_0_2_line_62 |  | 62 | 63 | 0.02611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5192-259_0_2_line_63 |  | 63 | 64 | 0.014523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5192-259_0_2_line_64 |  | 63 | 65 | 0.061569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-259_0_2_line_65 |  | 65 | 66 | 0.035248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5192-259_0_2_line_66 |  | 65 | 72 | 0.008596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5192-259_0_2_line_67 |  | 67 | 68 | 0.05554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5192-259_0_2_line_68 |  | 68 | 69 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5192-259_0_2_line_69 |  | 69 | 70 | 0.045933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5192-259_0_2_line_70 |  | 70 | 71 | 0.025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5192-259_0_2_line_71 |  | 71 | 72 | 0.051597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-259_0_2_trafo_46 | 0.63 MVA 20/0.4 kV | 73 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725753.2833 | 1105491.2475 | 2725752.2322 | 1105496.0514 | 2725749.1543 | 1105499.7236 | 2725744.7666 | 1105502.3901 | 2725733.7844 | 1105508.567 | 2725732.349 | 1105509.5326
1 | 2725704.9633 | 1105538.3753 | 2725706.8905 | 1105535.1734 | 2725714.792 | 1105522.7282 | 2725721.7097 | 1105516.6894 | 2725732.349 | 1105509.5326
2 | 2725704.9633 | 1105538.3753 | 2725698.4296 | 1105549.2304 | 2725691.9925 | 1105555.5713
3 | 2725686.1805 | 1105561.2964 | 2725691.9925 | 1105555.5713
4 | 2725672.0108 | 1105515.7892 | 2725661.4352 | 1105519.3099 | 2725645.4898 | 1105525.551
5 | 2725632.054 | 1105530.8099 | 2725645.4898 | 1105525.551
6 | 2725686.1805 | 1105561.2964 | 2725674.892 | 1105579.5477
7 | 2725686.1805 | 1105561.2964 | 2725669.8522 | 1105563.7601
8 | 2725686.1805 | 1105561.2964 | 2725702.8085 | 1105557.0709
9 | 2725618.1784 | 1105536.2488 | 2725632.054 | 1105530.8099
10 | 2725632.054 | 1105530.8099 | 2725627.0817 | 1105510.7345
11 | 2725776.034 | 1105547.959 | 2725770.8788 | 1105548.575 | 2725770.1341 | 1105548.6902
12 | 2725744.0561 | 1105552.7239 | 2725770.1341 | 1105548.6902
13 | 2725744.0561 | 1105552.7239 | 2725741.4096 | 1105553.1333
14 | 2725741.4096 | 1105553.1333 | 2725738.6774 | 1105553.5559 | 2725704.6283 | 1105556.6084 | 2725702.8085 | 1105557.0709
15 | 2725667.323 | 1105591.7853 | 2725674.892 | 1105579.5477
16 | 2725669.8522 | 1105563.7601 | 2725668.3605 | 1105559.9599 | 2725658.2088 | 1105564.1416
17 | 2725667.323 | 1105591.7853 | 2725664.8136 | 1105595.8424
18 | 2725647.0644 | 1105554.2736 | 2725658.2088 | 1105564.1416 | 2725658.2088 | 1105564.1416
19 | 2725658.0911 | 1105606.7114 | 2725664.8136 | 1105595.8424
20 | 2725636.8208 | 1105554.6588 | 2725644.6178 | 1105552.1073 | 2725647.0644 | 1105554.2736
21 | 2725714.8614 | 1105636.9662 | 2725714.9966 | 1105638.5273
22 | 2725714.8614 | 1105636.9662 | 2725714.8614 | 1105636.9662 | 2725711.4985 | 1105638.5386
23 | 2725695.3992 | 1105646.0658 | 2725711.4985 | 1105638.5386
24 | 2725695.3992 | 1105646.0658 | 2725670.0913 | 1105657.8985 | 2725663.9108 | 1105658.1895
25 | 2725663.9108 | 1105658.1895 | 2725659.6154 | 1105658.3917
26 | 2725659.6154 | 1105658.3917 | 2725649.0979 | 1105658.8869 | 2725633.9449 | 1105667.3069
27 | 2725633.9449 | 1105667.3069 | 2725629.4145 | 1105669.8243
28 | 2725613.1809 | 1105679.3247 | 2725623.5373 | 1105673.0901 | 2725629.4145 | 1105669.8243
29 | 2725658.0911 | 1105606.7114 | 2725653.8912 | 1105613.5017
30 | 2725613.1809 | 1105679.3247 | 2725618.7517 | 1105670.3225 | 2725631.8388 | 1105649.1561 | 2725653.8912 | 1105613.5017
31 | 2725618.1784 | 1105536.2488 | 2725610.5577 | 1105538.8819 | 2725603.3093 | 1105540.7221 | 2725602.6328 | 1105540.886 | 2725595.7742 | 1105541.8337 | 2725590.6836 | 1105542.0532
32 | 2725618.1784 | 1105536.2488 | 2725629.7099 | 1105547.6366
33 | 2725627.0817 | 1105510.7345 | 2725625.9168 | 1105506.0315
34 | 2725581.1127 | 1105541.8859 | 2725588.4568 | 1105542.1492 | 2725590.6836 | 1105542.0532
35 | 2725636.8208 | 1105554.6588 | 2725629.7099 | 1105547.6366
36 | 2725636.8208 | 1105554.6588 | 2725636.725 | 1105559.2843
37 | 2725623.6877 | 1105577.451 | 2725636.6238 | 1105564.1726 | 2725636.725 | 1105559.2843
38 | 2725623.6877 | 1105577.451 | 2725622.3401 | 1105578.8343
39 | 2725613.1874 | 1105588.2292 | 2725622.3401 | 1105578.8343
40 | 2725581.1127 | 1105541.8859 | 2725572.4235 | 1105540.8277 | 2725565.1136 | 1105539.9348
41 | 2725581.1127 | 1105541.8859 | 2725588.7581 | 1105557.8665
42 | 2725565.1136 | 1105539.9348 | 2725538.9275 | 1105536.7364
43 | 2725588.7581 | 1105557.8665 | 2725577.1127 | 1105562.9857
44 | 2725613.1874 | 1105588.2292 | 2725599.0782 | 1105602.7119 | 2725598.811 | 1105602.7851
45 | 2725594.5889 | 1105603.9421 | 2725598.811 | 1105602.7851
46 | 2725594.5889 | 1105603.9421 | 2725593.3595 | 1105605.0285 | 2725581.9809 | 1105608.1496
47 | 2725594.5889 | 1105603.9421 | 2725595.8419 | 1105602.8339 | 2725596.0704 | 1105600.3924 | 2725593.4346 | 1105592.8103 | 2725592.3037 | 1105588.3949
48 | 2725574.8674 | 1105610.5946 | 2725575.9079 | 1105609.8153 | 2725581.9809 | 1105608.1496
49 | 2725577.1127 | 1105562.9857 | 2725574.8922 | 1105563.9618 | 2725569.6818 | 1105568.1543
50 | 2725569.6818 | 1105568.1543 | 2725564.8691 | 1105572.0268 | 2725559.995 | 1105576.8961 | 2725551.3562 | 1105578.2629 | 2725546.4223 | 1105581.1629 | 2725543.6701 | 1105583.6855
51 | 2725543.6701 | 1105583.6855 | 2725543.6701 | 1105583.6855 | 2725543.623 | 1105585.964 | 2725547.5223 | 1105592.484
52 | 2725550.8757 | 1105600.0127 | 2725548.0197 | 1105593.3157 | 2725547.5223 | 1105592.484
53 | 2725524.0361 | 1105534.9175 | 2725538.9275 | 1105536.7364
54 | 2725524.0361 | 1105534.9175 | 2725517.9501 | 1105534.1741 | 2725505.2432 | 1105531.9393
55 | 2725505.2432 | 1105531.9393 | 2725491.1289 | 1105529.4569
56 | 2725480.0851 | 1105527.5145 | 2725491.1289 | 1105529.4569
57 | 2725469.002 | 1105525.5652 | 2725480.0851 | 1105527.5145
58 | 2725469.002 | 1105525.5652 | 2725464.7852 | 1105524.8236
59 | 2725522.2827 | 1105559.2148 | 2725522.2827 | 1105559.2148 | 2725524.5511 | 1105559.8844 | 2725526.1794 | 1105561.5748 | 2725526.3348 | 1105564.1576 | 2725526.0251 | 1105571.7693
60 | 2725522.2827 | 1105559.2148 | 2725492.5403 | 1105572.062
61 | 2725485.8174 | 1105574.966 | 2725492.5403 | 1105572.062
62 | 2725460.9555 | 1105575.3584 | 2725466.6751 | 1105577.8562 | 2725472.4993 | 1105578.666 | 2725478.631 | 1105578.0701 | 2725485.8174 | 1105574.966
63 | 2725460.9555 | 1105575.3584 | 2725464.5576 | 1105561.2896
64 | 2725431.4473 | 1105532.7963 | 2725431.0786 | 1105559.6076 | 2725431.5454 | 1105562.0968 | 2725433.0784 | 1105563.1626 | 2725437.1947 | 1105565.0045 | 2725460.9555 | 1105575.3584
65 | 2725431.4473 | 1105532.7963 | 2725441.5935 | 1105527.0018 | 2725459.1278 | 1105523.8286 | 2725464.7852 | 1105524.8236
66 | 2725431.4473 | 1105532.7963 | 2725423.9824 | 1105537.0584
67 | 2725328.2657 | 1105541.3702 | 2725335.9891 | 1105536.8719 | 2725341.3854 | 1105526.5649 | 2725349.495 | 1105507.0074 | 2725352.2049 | 1105499.4135 | 2725357.5253 | 1105497.2774
68 | 2725357.5253 | 1105497.2774 | 2725357.5253 | 1105497.2774 | 2725364.0056 | 1105501.1585 | 2725362.1975 | 1105507.4144 | 2725361.9809 | 1105507.8041
69 | 2725353.036 | 1105549.7997 | 2725353.036 | 1105549.7997 | 2725349.0437 | 1105540.4551 | 2725349.9733 | 1105529.9113 | 2725353.7293 | 1105521.8609 | 2725358.4451 | 1105514.164 | 2725361.9809 | 1105507.8041
70 | 2725353.036 | 1105549.7997 | 2725364.0199 | 1105552.8732 | 2725374.4946 | 1105556.2586 | 2725377.2906 | 1105556.3695
71 | 2725377.2906 | 1105556.3695 | 2725383.8634 | 1105556.6301 | 2725394.637 | 1105554.162 | 2725418.2166 | 1105540.3505 | 2725423.9824 | 1105537.0584

## bus_geodata
| x | y | coords
0 | 2725753.2833 | 1105491.2475
1 | 2725732.349 | 1105509.5326
2 | 2725704.9633 | 1105538.3753
3 | 2725691.9925 | 1105555.5713
4 | 2725672.0108 | 1105515.7892
5 | 2725645.4898 | 1105525.551
6 | 2725686.1805 | 1105561.2964
7 | 2725632.054 | 1105530.8099
8 | 2725776.034 | 1105547.959
9 | 2725770.1341 | 1105548.6902
10 | 2725744.0561 | 1105552.7239
11 | 2725741.4096 | 1105553.1333
12 | 2725702.8085 | 1105557.0709
13 | 2725674.892 | 1105579.5477
14 | 2725669.8522 | 1105563.7601
15 | 2725667.323 | 1105591.7853
16 | 2725658.2088 | 1105564.1416
17 | 2725664.8136 | 1105595.8424
18 | 2725647.0644 | 1105554.2736
19 | 2725714.8614 | 1105636.9662
20 | 2725714.9966 | 1105638.5273
21 | 2725711.4985 | 1105638.5386
22 | 2725695.3992 | 1105646.0658
23 | 2725663.9108 | 1105658.1895
24 | 2725659.6154 | 1105658.3917
25 | 2725633.9449 | 1105667.3069
26 | 2725629.4145 | 1105669.8243
27 | 2725658.0911 | 1105606.7114
28 | 2725653.8912 | 1105613.5017
29 | 2725613.1809 | 1105679.3247
30 | 2725618.1784 | 1105536.2488
31 | 2725627.0817 | 1105510.7345
32 | 2725590.6836 | 1105542.0532
33 | 2725629.7099 | 1105547.6366
34 | 2725625.9168 | 1105506.0315
35 | 2725636.8208 | 1105554.6588
36 | 2725636.725 | 1105559.2843
37 | 2725623.6877 | 1105577.451
38 | 2725622.3401 | 1105578.8343
39 | 2725581.1127 | 1105541.8859
40 | 2725565.1136 | 1105539.9348
41 | 2725588.7581 | 1105557.8665
42 | 2725613.1874 | 1105588.2292
43 | 2725598.811 | 1105602.7851
44 | 2725594.5889 | 1105603.9421
45 | 2725581.9809 | 1105608.1496
46 | 2725592.3037 | 1105588.3949
47 | 2725574.8674 | 1105610.5946
48 | 2725577.1127 | 1105562.9857
49 | 2725569.6818 | 1105568.1543
50 | 2725543.6701 | 1105583.6855
51 | 2725547.5223 | 1105592.484
52 | 2725550.8757 | 1105600.0127
53 | 2725538.9275 | 1105536.7364
54 | 2725524.0361 | 1105534.9175
55 | 2725505.2432 | 1105531.9393
56 | 2725491.1289 | 1105529.4569
57 | 2725480.0851 | 1105527.5145
58 | 2725469.002 | 1105525.5652
59 | 2725522.2827 | 1105559.2148
60 | 2725526.0251 | 1105571.7693
61 | 2725492.5403 | 1105572.062
62 | 2725485.8174 | 1105574.966
63 | 2725460.9555 | 1105575.3584
64 | 2725464.5576 | 1105561.2896
65 | 2725431.4473 | 1105532.7963
66 | 2725464.7852 | 1105524.8236
67 | 2725328.2657 | 1105541.3702
68 | 2725357.5253 | 1105497.2774
69 | 2725361.9809 | 1105507.8041
70 | 2725353.036 | 1105549.7997
71 | 2725377.2906 | 1105556.3695
72 | 2725423.9824 | 1105537.0584
73 | 2725594.5889 | 1105603.9421

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1