## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5192-273_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5192-273_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5192-273_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5192-273_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5192-273_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_5192-273_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5192-273_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5192-273_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5192-273_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5192-273_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5192-273_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5192-273_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5192-273_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5192-273_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5192-273_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5192-273_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5192-273_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5192-273_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5192-273_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5192-273_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5192-273_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5192-273_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_5192-273_0_5_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5192-273_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5192-273_0_5_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5192-273_0_5_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5192-273_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5192-273_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5192-273_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5192-273_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5192-273_0_5_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5192-273_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5192-273_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5192-273_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5192-273_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5192-273_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5192-273_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_5192-273_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_5192-273_0_5_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5192-273_0_5_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_5192-273_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_5192-273_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5192-273_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5192-273_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5192-273_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5192-273_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5192-273_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5192-273_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5192-273_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_5192-273_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_5192-273_0_5_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_5192-273_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5192-273_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5192-273_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5192-273_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5192-273_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5192-273_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5192-273_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5192-273_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5192-273_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_5192-273_0_5_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_5192-273_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_5192-273_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_5192-273_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5192-273_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5192-273_0_5_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5192-273_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5192-273_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5192-273_0_5_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_5192-273_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_5192-273_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5192-273_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_249_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5192-273_0_5_load_0 | 0 | 0.0033194 | 0.00083193 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5192-273_0_5_load_1 | 1 | 0.0030312 | 0.00075969 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5192-273_0_5_load_3 | 3 | 0.0070545 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5192-273_0_5_load_10 | 6 | 0.0042713 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5192-273_0_5_load_5 | 7 | 0.0077565 | 0.001944 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5192-273_0_5_load_9 | 8 | 0.0087893 | 0.0022028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5192-273_0_5_load_6 | 9 | 0.0038529 | 0.00096562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5192-273_0_5_load_14 | 10 | 0.020779 | 0.0052077 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5192-273_0_5_load_15 | 11 | 0.008734 | 0.0021889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5192-273_0_5_load_7 | 12 | 0.011979 | 0.0030022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5192-273_0_5_load_8 | 13 | 0.0092867 | 0.0023275 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5192-273_0_5_load_20 | 14 | 0.015764 | 0.0039508 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5192-273_0_5_load_22 | 15 | 0.011899 | 0.0029823 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5192-273_0_5_load_16 | 16 | 0.011491 | 0.0028799 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5192-273_0_5_load_17 | 17 | 0.010369 | 0.0025987 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5192-273_0_5_load_18 | 18 | 0.013044 | 0.003269 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5192-273_0_5_load_19 | 19 | 0.0079007 | 0.0019801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5192-273_0_5_load_24 | 21 | 0.013806 | 0.00346 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5192-273_0_5_load_23 | 22 | 0.0036018 | 0.00090271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5192-273_0_5_load_26 | 23 | 0.012138 | 0.0030421 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5192-273_0_5_load_37 | 24 | 0.010436 | 0.0026155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5192-273_0_5_load_25 | 26 | 0.010292 | 0.0025795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5192-273_0_5_load_27 | 27 | 0.0082881 | 0.0020772 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5192-273_0_5_load_28 | 28 | 0.0077618 | 0.0019453 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5192-273_0_5_load_35 | 30 | 0.027152 | 0.0068049 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5192-273_0_5_load_29 | 32 | 0.0037199 | 0.00093229 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5192-273_0_5_load_32 | 35 | 0.0096605 | 0.0024211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5192-273_0_5_load_38 | 36 | 0.0082722 | 0.0020732 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5192-273_0_5_load_40 | 38 | 0.018498 | 0.0046359 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5192-273_0_5_load_49 | 39 | 0.012012 | 0.0030104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5192-273_0_5_load_41 | 41 | 0.0055046 | 0.0013796 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5192-273_0_5_load_42 | 42 | 0.007656 | 0.0019188 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5192-273_0_5_load_43 | 43 | 0.0035556 | 0.00089111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5192-273_0_5_load_44 | 44 | 0.0055242 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5192-273_0_5_load_45 | 45 | 0.0068208 | 0.0017095 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5192-273_0_5_load_46 | 46 | 0.006997 | 0.0017536 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5192-273_0_5_load_47 | 47 | 0.01035 | 0.0025939 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5192-273_0_5_load_62 | 49 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5192-273_0_5_load_51 | 51 | 0.0064402 | 0.0016141 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5192-273_0_5_load_52 | 52 | 0.0061294 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5192-273_0_5_load_53 | 53 | 0.0031872 | 0.00079878 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5192-273_0_5_load_54 | 54 | 0.0013453 | 0.00033716 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5192-273_0_5_load_55 | 55 | 0.01098 | 0.0027518 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5192-273_0_5_load_56 | 56 | 0.0028078 | 0.0007037 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5192-273_0_5_load_57 | 57 | 0.030314 | 0.0075973 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5192-273_0_5_load_73 | 59 | 0.011903 | 0.0029832 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5192-273_0_5_load_74 | 60 | 0.010018 | 0.0025108 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5192-273_0_5_load_71 | 61 | 0.011036 | 0.0027659 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5192-273_0_5_load_65 | 62 | 0.003123 | 0.0007827 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5192-273_0_5_load_66 | 63 | 0.013554 | 0.0033969 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5192-273_0_5_load_60 | 65 | 0.029754 | 0.0074572 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5192-273_0_5_load_69 | 66 | 0.012073 | 0.0030257 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5192-273_0_5_load_61 | 67 | 0.0036612 | 0.00091759 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5192-273_0_5_load_70 | 68 | 0.013397 | 0.0033575 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5192-273_0_5_load_72 | 69 | 0.0043922 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5192-273_0_5_load_67 | 70 | 0.0026863 | 0.00067324 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5192-273_0_5_load_68 | 71 | 0.0018632 | 0.00046695 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5192-273_0_5_line_0 |  | 0 | 1 | 0.02973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5192-273_0_5_line_1 |  | 0 | 2 | 0.046979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5192-273_0_5_line_2 |  | 1 | 3 | 0.027992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5192-273_0_5_line_3 |  | 1 | 4 | 0.049916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5192-273_0_5_line_4 |  | 2 | 5 | 0.079097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5192-273_0_5_line_5 |  | 3 | 7 | 0.033935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5192-273_0_5_line_6 |  | 4 | 6 | 0.0073858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5192-273_0_5_line_7 |  | 5 | 8 | 0.045901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5192-273_0_5_line_8 |  | 5 | 9 | 0.0085661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5192-273_0_5_line_9 |  | 7 | 10 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5192-273_0_5_line_10 |  | 10 | 11 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5192-273_0_5_line_11 |  | 11 | 16 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5192-273_0_5_line_12 |  | 12 | 13 | 0.060617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5192-273_0_5_line_13 |  | 13 | 14 | 0.00077234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5192-273_0_5_line_14 |  | 14 | 15 | 0.027232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5192-273_0_5_line_15 |  | 15 | 22 | 0.0022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5192-273_0_5_line_16 |  | 16 | 17 | 0.032601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5192-273_0_5_line_17 |  | 17 | 18 | 0.0095684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5192-273_0_5_line_18 |  | 18 | 19 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5192-273_0_5_line_19 |  | 19 | 20 | 0.019417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5192-273_0_5_line_20 |  | 20 | 21 | 0.0018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5192-273_0_5_line_21 |  | 21 | 23 | 0.034535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5192-273_0_5_line_22 |  | 22 | 24 | 0.035049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5192-273_0_5_line_23 |  | 23 | 26 | 0.0067735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5192-273_0_5_line_24 |  | 24 | 25 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5192-273_0_5_line_25 |  | 25 | 36 | 0.022728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5192-273_0_5_line_26 |  | 25 | 30 | 0.034369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5192-273_0_5_line_27 |  | 26 | 27 | 0.025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5192-273_0_5_line_28 |  | 27 | 28 | 0.0011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5192-273_0_5_line_29 |  | 28 | 29 | 0.049456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5192-273_0_5_line_30 |  | 29 | 30 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5192-273_0_5_line_31 |  | 29 | 31 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5192-273_0_5_line_32 |  | 31 | 35 | 0.03612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5192-273_0_5_line_33 |  | 32 | 33 | 0.061838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5192-273_0_5_line_34 |  | 33 | 34 | 0.038405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5192-273_0_5_line_35 |  | 34 | 35 | 0.087444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5192-273_0_5_line_36 |  | 36 | 37 | 0.013074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5192-273_0_5_line_37 |  | 37 | 38 | 0.021371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5192-273_0_5_line_38 |  | 38 | 39 | 0.008615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5192-273_0_5_line_39 |  | 39 | 40 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5192-273_0_5_line_40 |  | 40 | 48 | 0.011983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5192-273_0_5_line_41 |  | 40 | 47 | 0.068313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5192-273_0_5_line_42 |  | 41 | 42 | 0.056809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5192-273_0_5_line_43 |  | 41 | 43 | 0.093662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5192-273_0_5_line_44 |  | 42 | 44 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5192-273_0_5_line_45 |  | 43 | 45 | 0.034304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5192-273_0_5_line_46 |  | 44 | 46 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5192-273_0_5_line_47 |  | 46 | 47 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5192-273_0_5_line_48 |  | 48 | 49 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5192-273_0_5_line_49 |  | 49 | 50 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5192-273_0_5_line_50 |  | 50 | 62 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5192-273_0_5_line_51 |  | 50 | 63 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5192-273_0_5_line_52 |  | 50 | 56 | 0.036168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5192-273_0_5_line_53 |  | 51 | 52 | 0.0042762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5192-273_0_5_line_54 |  | 51 | 53 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5192-273_0_5_line_55 |  | 52 | 54 | 0.019622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5192-273_0_5_line_56 |  | 53 | 55 | 0.037926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5192-273_0_5_line_57 |  | 54 | 56 | 0.0078165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5192-273_0_5_line_58 |  | 55 | 57 | 0.056527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5192-273_0_5_line_59 |  | 57 | 58 | 0.0008988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5192-273_0_5_line_60 |  | 58 | 64 | 0.026525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5192-273_0_5_line_61 |  | 59 | 60 | 0.028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5192-273_0_5_line_62 |  | 59 | 61 | 0.040989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5192-273_0_5_line_63 |  | 61 | 66 | 0.022242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5192-273_0_5_line_64 |  | 63 | 70 | 0.00078556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5192-273_0_5_line_65 |  | 64 | 65 | 0.021038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5192-273_0_5_line_66 |  | 65 | 67 | 0.046743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5192-273_0_5_line_67 |  | 66 | 68 | 0.03341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5192-273_0_5_line_68 |  | 67 | 69 | 0.13702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5192-273_0_5_line_69 |  | 68 | 69 | 0.10613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5192-273_0_5_line_70 |  | 70 | 71 | 0.0090478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5192-273_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 72 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2719736.4244 | 1095840.649 | 2719714.8032 | 1095839.1558 | 2719707.6333 | 1095835.48
1 | 2719783.2914 | 1095843.8858 | 2719736.4244 | 1095840.649
2 | 2719707.6333 | 1095835.48 | 2719682.7241 | 1095822.7099
3 | 2719707.6333 | 1095835.48 | 2719723.9334 | 1095788.3001
4 | 2719783.2914 | 1095843.8858 | 2719782.087 | 1095858.2054 | 2719781.1645 | 1095862.1566 | 2719720.5413 | 1095859.7832
5 | 2719682.7241 | 1095822.7099 | 2719671.3624 | 1095816.8851 | 2719652.1249 | 1095808.0543
6 | 2719723.9334 | 1095788.3001 | 2719731.192 | 1095789.6649
7 | 2719720.5413 | 1095859.7832 | 2719733.0074 | 1095875.5619 | 2719740.9693 | 1095893.4311 | 2719743.4639 | 1095898.5616 | 2719743.946 | 1095898.7671
8 | 2719720.5413 | 1095859.7832 | 2719712.2842 | 1095862.0631
9 | 2719638.2978 | 1095801.7695 | 2719639.0951 | 1095802.0731 | 2719652.1249 | 1095808.0543
10 | 2719638.2978 | 1095801.7695 | 2719620.8597 | 1095795.1312
11 | 2719609.7165 | 1095791.5465 | 2719613.6537 | 1095792.388 | 2719620.8597 | 1095795.1312
12 | 2719594.0215 | 1095847.974 | 2719573.4518 | 1095857.0979 | 2719535.6838 | 1095862.2242
13 | 2719534.9185 | 1095862.3281 | 2719535.6838 | 1095862.2242
14 | 2719534.9185 | 1095862.3281 | 2719525.5161 | 1095863.6043 | 2719507.8527 | 1095865.2847
15 | 2719507.8527 | 1095865.2847 | 2719505.5923 | 1095865.4998
16 | 2719609.7165 | 1095791.5465 | 2719577.836 | 1095784.7326
17 | 2719568.479 | 1095782.7327 | 2719577.836 | 1095784.7326
18 | 2719568.479 | 1095782.7327 | 2719556.3544 | 1095780.1413
19 | 2719549.4512 | 1095761.9929 | 2719556.3544 | 1095780.1413 | 2719556.3544 | 1095780.1413
20 | 2719549.4512 | 1095761.9929 | 2719547.787 | 1095762.7441
21 | 2719516.3095 | 1095776.952 | 2719547.787 | 1095762.7441
22 | 2719505.5923 | 1095865.4998 | 2719491.3282 | 1095866.8568 | 2719476.0099 | 1095866.0552 | 2719470.7093 | 1095865.1277
23 | 2719510.1358 | 1095779.7386 | 2719516.3095 | 1095776.952
24 | 2719451.6707 | 1095861.7962 | 2719470.7093 | 1095865.1277
25 | 2719451.6707 | 1095861.7962 | 2719430.3652 | 1095853.8812
26 | 2719451.6707 | 1095861.7962 | 2719444.0489 | 1095828.2834
27 | 2719510.1358 | 1095779.7386 | 2719486.4769 | 1095790.4174
28 | 2719486.4769 | 1095790.4174 | 2719485.3945 | 1095790.9059
29 | 2719440.0243 | 1095810.5873 | 2719482.389 | 1095792.2625 | 2719485.3945 | 1095790.9059
30 | 2719440.0243 | 1095810.5873 | 2719444.0489 | 1095828.2834
31 | 2719423.0258 | 1095810.1086 | 2719435.4536 | 1095812.51 | 2719440.0243 | 1095810.5873
32 | 2719423.0258 | 1095810.1086 | 2719416.7418 | 1095799.4667 | 2719406.8197 | 1095777.8761
33 | 2719400.8576 | 1095713.1057 | 2719428.1264 | 1095722.8814 | 2719445.4725 | 1095727.3697 | 2719454.7877 | 1095728.0865 | 2719460.3487 | 1095727.3517
34 | 2719363.9834 | 1095701.9961 | 2719400.8576 | 1095713.1057
35 | 2719363.9834 | 1095701.9961 | 2719387.6941 | 1095736.697 | 2719395.0812 | 1095751.5412 | 2719399.4579 | 1095761.8566 | 2719406.8197 | 1095777.8761
36 | 2719418.1095 | 1095849.3283 | 2719430.3652 | 1095853.8812
37 | 2719418.1095 | 1095849.3283 | 2719423.0842 | 1095870.1123
38 | 2719425.0895 | 1095878.4907 | 2719423.0842 | 1095870.1123
39 | 2719429.158 | 1095895.4885 | 2719425.0895 | 1095878.4907
40 | 2719429.158 | 1095895.4885 | 2719417.4654 | 1095898.2608
41 | 2719429.158 | 1095895.4885 | 2719450.7385 | 1095890.6869 | 2719456.2531 | 1095890.017 | 2719462.8521 | 1095890.1468 | 2719469.0391 | 1095890.3463 | 2719477.8179 | 1095893.1096 | 2719485.4704 | 1095895.2281 | 2719496.0984 | 1095896.5923
42 | 2719612.1508 | 1095903.4948 | 2719581.2685 | 1095894.9669 | 2719556.5757 | 1095896.9317
43 | 2719612.1508 | 1095903.4948 | 2719633.7726 | 1095909.4654 | 2719686.5768 | 1095929.5631 | 2719700.044 | 1095935.5328
44 | 2719556.5757 | 1095896.9317 | 2719536.629 | 1095898.5189
45 | 2719729.7778 | 1095952.1628 | 2719719.3373 | 1095944.0849 | 2719700.044 | 1095935.5328
46 | 2719536.629 | 1095898.5189 | 2719527.0458 | 1095899.2815 | 2719517.8883 | 1095898.9801
47 | 2719496.0984 | 1095896.5923 | 2719513.6034 | 1095898.8391 | 2719517.8883 | 1095898.9801
48 | 2719417.4654 | 1095898.2608 | 2719421.5127 | 1095912.3168 | 2719422.0877 | 1095914.274
49 | 2719426.9595 | 1095930.8589 | 2719422.0877 | 1095914.274
50 | 2719426.9595 | 1095930.8589 | 2719412.9955 | 1095930.6485
51 | 2719426.9595 | 1095930.8589 | 2719433.6463 | 1095953.6535
52 | 2719426.9595 | 1095930.8589 | 2719463.1178 | 1095931.6975
53 | 2719494.8238 | 1095932.4329 | 2719490.5487 | 1095932.3338
54 | 2719494.8238 | 1095932.4329 | 2719502.5331 | 1095932.6117 | 2719518.4238 | 1095932.9216
55 | 2719490.5487 | 1095932.3338 | 2719470.9322 | 1095931.8788
56 | 2719556.3422 | 1095933.6612 | 2719518.4238 | 1095932.9216
57 | 2719463.1178 | 1095931.6975 | 2719470.9322 | 1095931.8788
58 | 2719611.4341 | 1095943.7659 | 2719607.7373 | 1095942.9654 | 2719602.9809 | 1095941.7266 | 2719586.1556 | 1095936.0138 | 2719579.6434 | 1095934.229 | 2719567.6016 | 1095933.8808 | 2719556.3422 | 1095933.6612
59 | 2719611.4341 | 1095943.7659 | 2719612.3125 | 1095943.9561
60 | 2719638.4518 | 1095948.8516 | 2719628.6541 | 1095946.6907 | 2719612.3125 | 1095943.9561
61 | 2719512.7225 | 1096112.9622 | 2719526.7332 | 1096112.4905 | 2719541.5995 | 1096113.0052
62 | 2719541.5995 | 1096113.0052 | 2719553.5155 | 1096113.4178 | 2719577.5261 | 1096109.9097 | 2719582.0197 | 1096108.2205
63 | 2719603.194 | 1096101.573 | 2719594.2775 | 1096103.6126 | 2719582.0197 | 1096108.2205
64 | 2719433.8674 | 1095954.4073 | 2719433.6463 | 1095953.6535
65 | 2719638.4518 | 1095948.8516 | 2719658.819 | 1095954.1228
66 | 2719658.819 | 1095954.1228 | 2719658.819 | 1095954.1228 | 2719664.2939 | 1095957.4328 | 2719674.0752 | 1095960.4275 | 2719681.0427 | 1095961.9101 | 2719691.5368 | 1095966.8757 | 2719699.3879 | 1095969.521 | 2719702.4845 | 1095969.4164
67 | 2719603.194 | 1096101.573 | 2719620.997 | 1096097.5007 | 2719636.0768 | 1096096.0751
68 | 2719702.4845 | 1095969.4164 | 2719740.8775 | 1096100.9456
69 | 2719636.0768 | 1096096.0751 | 2719638.3231 | 1096095.8627 | 2719664.2459 | 1096096.3732 | 2719670.1808 | 1096099.1364 | 2719685.4957 | 1096098.1149 | 2719702.169 | 1096095.786 | 2719723.4239 | 1096096.8719 | 2719734.0187 | 1096099.071 | 2719740.8775 | 1096100.9456
70 | 2719436.4142 | 1095963.0893 | 2719433.8674 | 1095954.4073

## bus_geodata
| x | y | coords
0 | 2719736.4244 | 1095840.649
1 | 2719707.6333 | 1095835.48
2 | 2719783.2914 | 1095843.8858
3 | 2719682.7241 | 1095822.7099
4 | 2719723.9334 | 1095788.3001
5 | 2719720.5413 | 1095859.7832
6 | 2719731.192 | 1095789.6649
7 | 2719652.1249 | 1095808.0543
8 | 2719743.946 | 1095898.7671
9 | 2719712.2842 | 1095862.0631
10 | 2719638.2978 | 1095801.7695
11 | 2719620.8597 | 1095795.1312
12 | 2719594.0215 | 1095847.974
13 | 2719535.6838 | 1095862.2242
14 | 2719534.9185 | 1095862.3281
15 | 2719507.8527 | 1095865.2847
16 | 2719609.7165 | 1095791.5465
17 | 2719577.836 | 1095784.7326
18 | 2719568.479 | 1095782.7327
19 | 2719556.3544 | 1095780.1413
20 | 2719549.4512 | 1095761.9929
21 | 2719547.787 | 1095762.7441
22 | 2719505.5923 | 1095865.4998
23 | 2719516.3095 | 1095776.952
24 | 2719470.7093 | 1095865.1277
25 | 2719451.6707 | 1095861.7962
26 | 2719510.1358 | 1095779.7386
27 | 2719486.4769 | 1095790.4174
28 | 2719485.3945 | 1095790.9059
29 | 2719440.0243 | 1095810.5873
30 | 2719444.0489 | 1095828.2834
31 | 2719423.0258 | 1095810.1086
32 | 2719460.3487 | 1095727.3517
33 | 2719400.8576 | 1095713.1057
34 | 2719363.9834 | 1095701.9961
35 | 2719406.8197 | 1095777.8761
36 | 2719430.3652 | 1095853.8812
37 | 2719418.1095 | 1095849.3283
38 | 2719423.0842 | 1095870.1123
39 | 2719425.0895 | 1095878.4907
40 | 2719429.158 | 1095895.4885
41 | 2719612.1508 | 1095903.4948
42 | 2719556.5757 | 1095896.9317
43 | 2719700.044 | 1095935.5328
44 | 2719536.629 | 1095898.5189
45 | 2719729.7778 | 1095952.1628
46 | 2719517.8883 | 1095898.9801
47 | 2719496.0984 | 1095896.5923
48 | 2719417.4654 | 1095898.2608
49 | 2719422.0877 | 1095914.274
50 | 2719426.9595 | 1095930.8589
51 | 2719494.8238 | 1095932.4329
52 | 2719490.5487 | 1095932.3338
53 | 2719518.4238 | 1095932.9216
54 | 2719470.9322 | 1095931.8788
55 | 2719556.3422 | 1095933.6612
56 | 2719463.1178 | 1095931.6975
57 | 2719611.4341 | 1095943.7659
58 | 2719612.3125 | 1095943.9561
59 | 2719541.5995 | 1096113.0052
60 | 2719512.7225 | 1096112.9622
61 | 2719582.0197 | 1096108.2205
62 | 2719412.9955 | 1095930.6485
63 | 2719433.6463 | 1095953.6535
64 | 2719638.4518 | 1095948.8516
65 | 2719658.819 | 1095954.1228
66 | 2719603.194 | 1096101.573
67 | 2719702.4845 | 1095969.4164
68 | 2719636.0768 | 1096096.0751
69 | 2719740.8775 | 1096100.9456
70 | 2719433.8674 | 1095954.4073
71 | 2719436.4142 | 1095963.0893
72 | 2719429.158 | 1095895.4885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1