## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5194-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5194-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5194-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5194-2_0_5_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_5194-2_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5194-2_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5194-2_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5194-2_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5194-2_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5194-2_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5194-2_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5194-2_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_5194-2_0_5_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_5194-2_0_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_5194-2_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_5194-2_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5194-2_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_5194-2_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5194-2_0_5_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_5194-2_0_5_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5194-2_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5194-2_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5194-2_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_5194-2_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5194-2_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5194-2_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5194-2_0_5_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_5194-2_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5194-2_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5194-2_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5194-2_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5194-2_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5194-2_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_5194-2_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_5194-2_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5194-2_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5194-2_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5194-2_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5194-2_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_MV_247_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5194-2_0_5_load_0 | 0 | 0.024751 | 0.0062031 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5194-2_0_5_load_2 | 2 | 0.018977 | 0.0047562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5194-2_0_5_load_21 | 6 | 0.0066436 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5194-2_0_5_load_30 | 11 | 0.00036403 | 9.1234e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5194-2_0_5_load_38 | 12 | 0.0038083 | 0.00095445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5194-2_0_5_load_31 | 13 | 0.00076898 | 0.00019273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5194-2_0_5_load_37 | 14 | 0.032615 | 0.0081741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5194-2_0_5_load_17 | 16 | 0.00031931 | 8.0026e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5194-2_0_5_load_34 | 18 | 0.0004427 | 0.00011095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5194-2_0_5_load_33 | 19 | 0.00042739 | 0.00010711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5194-2_0_5_load_28 | 22 | 0.0024478 | 0.00061347 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5194-2_0_5_load_18 | 23 | 0.020024 | 0.0050184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5194-2_0_5_load_25 | 24 | 0.013862 | 0.0034741 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5194-2_0_5_load_20 | 25 | 0.0074896 | 0.0018771 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5194-2_0_5_load_29 | 26 | 0.00065868 | 0.00016508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5194-2_0_5_load_36 | 28 | 0.032613 | 0.0081735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5194-2_0_5_load_15 | 29 | 0.00056059 | 0.0001405 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5194-2_0_5_load_26 | 30 | 0.0043506 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5194-2_0_5_load_19 | 31 | 0.055853 | 0.013998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5194-2_0_5_load_13 | 32 | 0.00079148 | 0.00019836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5194-2_0_5_load_14 | 33 | 0.00029515 | 7.397e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5194-2_0_5_load_16 | 34 | 0.00096313 | 0.00024138 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5194-2_0_5_load_22 | 35 | 0.0066187 | 0.0016588 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5194-2_0_5_load_23 | 36 | 0.0080939 | 0.0020285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5194-2_0_5_load_27 | 37 | 0.002753 | 0.00068996 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5194-2_0_5_load_35 | 38 | 0.032615 | 0.0081741 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5194-2_0_5_line_0 |  | 0 | 1 | 0.024902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5194-2_0_5_line_1 |  | 1 | 2 | 0.016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5194-2_0_5_line_2 |  | 2 | 3 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5194-2_0_5_line_3 |  | 3 | 20 | 0.094182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5194-2_0_5_line_4 |  | 3 | 7 | 0.37504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5194-2_0_5_line_5 |  | 4 | 5 | 0.065862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5194-2_0_5_line_6 |  | 4 | 6 | 0.0097302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5194-2_0_5_line_7 |  | 5 | 24 | 0.055927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5194-2_0_5_line_8 |  | 5 | 15 | 0.31448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5194-2_0_5_line_9 |  | 6 | 25 | 0.035104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5194-2_0_5_line_10 |  | 7 | 8 | 0.08921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5194-2_0_5_line_11 |  | 7 | 9 | 0.17105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5194-2_0_5_line_12 |  | 7 | 10 | 0.21113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5194-2_0_5_line_13 |  | 7 | 11 | 0.075755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5194-2_0_5_line_14 |  | 8 | 13 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5194-2_0_5_line_15 |  | 9 | 12 | 0.033638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5194-2_0_5_line_16 |  | 10 | 14 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5194-2_0_5_line_17 |  | 11 | 26 | 0.0099453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5194-2_0_5_line_18 |  | 13 | 27 | 0.0067579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5194-2_0_5_line_19 |  | 14 | 28 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5194-2_0_5_line_20 |  | 15 | 16 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5194-2_0_5_line_21 |  | 16 | 29 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5194-2_0_5_line_22 |  | 17 | 18 | 0.032981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5194-2_0_5_line_23 |  | 17 | 19 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5194-2_0_5_line_24 |  | 19 | 27 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5194-2_0_5_line_25 |  | 20 | 23 | 0.063435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5194-2_0_5_line_26 |  | 20 | 21 | 0.11729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5194-2_0_5_line_27 |  | 21 | 22 | 0.058026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5194-2_0_5_line_28 |  | 22 | 30 | 0.0061516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5194-2_0_5_line_29 |  | 23 | 31 | 0.18066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5194-2_0_5_line_30 |  | 25 | 35 | 0.020982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5194-2_0_5_line_31 |  | 26 | 34 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5194-2_0_5_line_32 |  | 28 | 38 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5194-2_0_5_line_33 |  | 29 | 32 | 0.030228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5194-2_0_5_line_34 |  | 30 | 37 | 0.012515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5194-2_0_5_line_35 |  | 32 | 33 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5194-2_0_5_line_36 |  | 33 | 34 | 0.0064457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5194-2_0_5_line_37 |  | 35 | 36 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5194-2_0_5_trafo_7 | 0.63 MVA 20/0.4 kV | 39 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2714939.664 | 1099191.181 | 2714916.352 | 1099199.9366
1 | 2714939.664 | 1099191.181 | 2714948.61 | 1099187.8146 | 2714955.5004 | 1099186.0988
2 | 2714974.6284 | 1099181.3358 | 2714955.5004 | 1099186.0988
3 | 2714974.6284 | 1099181.3358 | 2714982.0904 | 1099233.8571 | 2714982.034 | 1099236.8358 | 2714981.5545 | 1099239.662 | 2714980.2623 | 1099244.1072 | 2714980.045 | 1099245.7709 | 2714980.1984 | 1099247.0747 | 2714980.724 | 1099248.3522 | 2714981.5457 | 1099249.1238 | 2714982.67 | 1099249.8678 | 2714983.8723 | 1099250.1686 | 2714985.2057 | 1099250.0937 | 2714989.1973 | 1099249.5022 | 2714989.3533 | 1099253.5301 | 2714989.2702 | 1099255.8746 | 2714988.7701 | 1099258.1556 | 2714988.1123 | 1099260.5892 | 2714987.1023 | 1099262.8049 | 2714985.892 | 1099264.561 | 2714984.8824 | 1099265.5314
4 | 2714848.877 | 1098907.6719 | 2714841.5707 | 1098934.8856 | 2714841.4043 | 1098935.494 | 2714841.3161 | 1098946.7111 | 2714841.4499 | 1098948.2369 | 2714841.905 | 1098949.5575 | 2714842.5891 | 1098950.6489 | 2714843.6519 | 1098951.7809 | 2714845.3232 | 1098952.2684 | 2714847.2776 | 1098952.5277 | 2714860.2455 | 1098951.0829 | 2714876.9579 | 1098944.5166 | 2714887.8712 | 1098940.3311 | 2714889.642 | 1098939.6531 | 2714897.8685 | 1098939.1305 | 2714903.1894 | 1098939.5091 | 2714907.453 | 1098940.924 | 2714912.5742 | 1098943.6671 | 2714930.8319 | 1098978.2137 | 2714939.8857 | 1098995.3521 | 2714950.6341 | 1099021.9735 | 2714954.6211 | 1099031.8557 | 2714961.9324 | 1099059.2237 | 2714966.5031 | 1099078.3565 | 2714966.898 | 1099079.9984 | 2714970.2155 | 1099097.0172 | 2714972.743 | 1099111.9974 | 2714976.0992 | 1099131.8744 | 2714978.6132 | 1099147.566 | 2714978.973 | 1099149.8299 | 2714980.6701 | 1099160.4025 | 2714983.3817 | 1099179.1555 | 2714974.6284 | 1099181.3358
5 | 2714531.4768 | 1098916.7545 | 2714546.4548 | 1098901.9379 | 2714559.5392 | 1098882.4157 | 2714561.9286 | 1098861.2575
6 | 2714561.9286 | 1098861.2575 | 2714569.5647 | 1098863.3028 | 2714569.8371 | 1098865.1074
7 | 2714531.4768 | 1098916.7545 | 2714525.4094 | 1098894.3583 | 2714523.6885 | 1098861.6801
8 | 2714531.4768 | 1098916.7545 | 2714535.1666 | 1098943.2531 | 2714541.8384 | 1098968.496 | 2714548.1179 | 1098999.3464 | 2714551.0522 | 1099013.7559 | 2714556.281 | 1099011.6197 | 2714566.0702 | 1099010.359 | 2714572.55 | 1099008.4131 | 2714582.0952 | 1099008.5932 | 2714590.0911 | 1099014.1255 | 2714593.0742 | 1099021.4312 | 2714593.8237 | 1099025.2146 | 2714606.5585 | 1099023.7982 | 2714618.5949 | 1099022.4576 | 2714642.8192 | 1099018.7343 | 2714662.2644 | 1099016.6998 | 2714682.0743 | 1099014.6277 | 2714702.4042 | 1099012.4989 | 2714751.7551 | 1098993.7845
9 | 2714584.3082 | 1098888.6572 | 2714578.907 | 1098889.8414 | 2714570.619 | 1098884.5927 | 2714571.8639 | 1098878.5343 | 2714569.8371 | 1098865.1074
10 | 2714796.4669 | 1098955.0249 | 2714815.8347 | 1098953.4119 | 2714814.9105 | 1098942.0868 | 2714828.0611 | 1098940.8121 | 2714840.0169 | 1098939.6484 | 2714841.4043 | 1098935.494 | 2714841.5707 | 1098934.8856 | 2714848.877 | 1098907.6719
11 | 2714782.4719 | 1098798.9768 | 2714781.9123 | 1098789.2485 | 2714782.5484 | 1098787.1479 | 2714783.6553 | 1098785.5344 | 2714786.8066 | 1098782.7031 | 2714846.5815 | 1098850.5119 | 2714850.2676 | 1098854.6177 | 2714852.0247 | 1098857.1192 | 2714852.8964 | 1098858.9369 | 2714853.9964 | 1098863.0161 | 2714854.3166 | 1098865.3348 | 2714856.0811 | 1098869.0818 | 2714859.007 | 1098872.028 | 2714855.3342 | 1098882.777 | 2714848.877 | 1098907.6719
12 | 2714802.1439 | 1099104.1112 | 2714807.1091 | 1099098.3122 | 2714822.4905 | 1099081.4246 | 2714824.886 | 1099078.4234 | 2714826.8781 | 1099075.0476 | 2714828.3431 | 1099072.1067 | 2714829.8473 | 1099068.7328 | 2714830.7697 | 1099065.4146 | 2714832.1918 | 1099059.8266 | 2714835.0673 | 1099041.2683 | 2714836.2124 | 1099029.4486 | 2714836.5464 | 1099016.7018 | 2714836.2588 | 1098983.9964 | 2714838.5197 | 1098971.3194 | 2714839.1951 | 1098968.7749 | 2714840.6244 | 1098965.2662 | 2714842.2213 | 1098962.7279 | 2714845.1676 | 1098958.036 | 2714845.6911 | 1098956.1557 | 2714845.5134 | 1098954.4957 | 2714844.8063 | 1098952.9813 | 2714843.6519 | 1098951.7809 | 2714842.5891 | 1098950.6489 | 2714841.905 | 1098949.5575 | 2714841.4499 | 1098948.2369 | 2714841.3161 | 1098946.7111 | 2714841.4043 | 1098935.494 | 2714841.5707 | 1098934.8856 | 2714848.877 | 1098907.6719
13 | 2714848.877 | 1098907.6719 | 2714773.4359 | 1098914.5564
14 | 2714796.4669 | 1098955.0249 | 2714782.5229 | 1098956.1859
15 | 2714784.8582 | 1098832.5224 | 2714782.4719 | 1098798.9768
16 | 2714802.1439 | 1099104.1112 | 2714813.1829 | 1099114.6239
17 | 2714773.4359 | 1098914.5564 | 2714763.5318 | 1098915.4602
18 | 2714775.7883 | 1098956.7466 | 2714782.5229 | 1098956.1859
19 | 2714827.0811 | 1099127.8595 | 2714813.1829 | 1099114.6239
20 | 2714751.7551 | 1098993.7845 | 2714745.718 | 1098985.4093 | 2714745.0203 | 1098978.3135
21 | 2714743.8837 | 1098966.7534 | 2714745.0203 | 1098978.3135
22 | 2714773.4763 | 1098929.1064 | 2714754.395 | 1098930.7138 | 2714755.5218 | 1098944.5001
23 | 2714773.4763 | 1098929.1064 | 2714774.6442 | 1098943.0691
24 | 2714775.7883 | 1098956.7466 | 2714774.6442 | 1098943.0691
25 | 2714984.8824 | 1099265.5314 | 2714974.428 | 1099247.955 | 2714970.0536 | 1099240.545 | 2714965.9205 | 1099232.6614 | 2714956.1515 | 1099209.13
26 | 2714879.0898 | 1099304.2235 | 2714889.4964 | 1099294.0466 | 2714894.6764 | 1099289.5749 | 2714900.4958 | 1099285.282 | 2714906.9439 | 1099281.3235 | 2714912.8602 | 1099278.867 | 2714919.0741 | 1099277.0499 | 2714928.1276 | 1099275.3645 | 2714940.9577 | 1099275.0291 | 2714974.1737 | 1099271.6107 | 2714977.093 | 1099271.2101 | 2714979.1955 | 1099270.5939 | 2714980.434 | 1099269.8057 | 2714982.9974 | 1099267.3415 | 2714984.8824 | 1099265.5314
27 | 2714879.0898 | 1099304.2235 | 2714849.6857 | 1099270.2891 | 2714839.9861 | 1099261.4481
28 | 2714839.9861 | 1099261.4481 | 2714835.4396 | 1099257.3041
29 | 2714956.1515 | 1099209.13 | 2714950.7675 | 1099196.1611 | 2714880.1625 | 1099221.7322 | 2714867.6936 | 1099215.2476 | 2714857.7106 | 1099204.6628 | 2714847.2989 | 1099181.5281 | 2714830.5877 | 1099170.0489 | 2714817.5681 | 1099158.6933
30 | 2714584.3082 | 1098888.6572 | 2714589.413 | 1098887.538 | 2714593.9411 | 1098881.0967 | 2714593.9737 | 1098873.2142
31 | 2714749.2012 | 1098916.7679 | 2714763.5318 | 1098915.4602
32 | 2714841.103 | 1099141.2129 | 2714827.0811 | 1099127.8595
33 | 2714740.9258 | 1098936.6703 | 2714743.8837 | 1098966.7534
34 | 2714826.1906 | 1099248.8739 | 2714835.4396 | 1099257.3041
35 | 2714740.9258 | 1098936.6703 | 2714739.5988 | 1098923.1737 | 2714739.9835 | 1098921.2574 | 2714741.0264 | 1098919.3425 | 2714742.927 | 1098917.9441
36 | 2714749.2012 | 1098916.7679 | 2714744.8158 | 1098917.1681 | 2714742.927 | 1098917.9441 | 2714742.927 | 1098917.9441
37 | 2714593.9737 | 1098873.2142 | 2714593.9737 | 1098873.2142 | 2714589.748 | 1098858.3923

## bus_geodata
| x | y | coords
0 | 2714916.352 | 1099199.9366
1 | 2714939.664 | 1099191.181
2 | 2714955.5004 | 1099186.0988
3 | 2714974.6284 | 1099181.3358
4 | 2714561.9286 | 1098861.2575
5 | 2714531.4768 | 1098916.7545
6 | 2714569.8371 | 1098865.1074
7 | 2714848.877 | 1098907.6719
8 | 2714796.4669 | 1098955.0249
9 | 2714782.4719 | 1098798.9768
10 | 2714802.1439 | 1099104.1112
11 | 2714773.4359 | 1098914.5564
12 | 2714784.8582 | 1098832.5224
13 | 2714782.5229 | 1098956.1859
14 | 2714813.1829 | 1099114.6239
15 | 2714751.7551 | 1098993.7845
16 | 2714745.0203 | 1098978.3135
17 | 2714773.4763 | 1098929.1064
18 | 2714755.5218 | 1098944.5001
19 | 2714774.6442 | 1098943.0691
20 | 2714984.8824 | 1099265.5314
21 | 2714879.0898 | 1099304.2235
22 | 2714839.9861 | 1099261.4481
23 | 2714956.1515 | 1099209.13
24 | 2714523.6885 | 1098861.6801
25 | 2714584.3082 | 1098888.6572
26 | 2714763.5318 | 1098915.4602
27 | 2714775.7883 | 1098956.7466
28 | 2714827.0811 | 1099127.8595
29 | 2714743.8837 | 1098966.7534
30 | 2714835.4396 | 1099257.3041
31 | 2714817.5681 | 1099158.6933
32 | 2714740.9258 | 1098936.6703
33 | 2714742.927 | 1098917.9441
34 | 2714749.2012 | 1098916.7679
35 | 2714593.9737 | 1098873.2142
36 | 2714589.748 | 1098858.3923
37 | 2714826.1906 | 1099248.8739
38 | 2714841.103 | 1099141.2129
39 | 2714858.0629 | 1099143.8615

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1