## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5206-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5206-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5206-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5206-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5206-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5206-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5206-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5206-2_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5206-2_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5206-2_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5206-2_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5206-2_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5206-2_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5206-2_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5206-2_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_5206-2_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5206-2_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5206-2_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_5206-2_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_5206-2_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_5206-2_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_5206-2_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_5206-2_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_5206-2_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_5206-2_0_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_5206-2_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_5206-2_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5206-2_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5206-2_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5206-2_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5206-2_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5206-2_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5206-2_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_5206-2_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5206-2_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5206-2_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5206-2_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5206-2_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5206-2_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5206-2_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5206-2_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5206-2_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5206-2_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5206-2_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5206-2_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5206-2_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5206-2_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5206-2_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5206-2_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5206-2_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5206-2_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5206-2_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5206-2_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5206-2_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5206-2_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5206-2_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5206-2_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5206-2_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5206-2_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_MV_246_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5206-2_0_4_load_0 | 0 | 0.0011726 | 0.00029388 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5206-2_0_4_load_1 | 1 | 0.0014303 | 0.00035847 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5206-2_0_4_load_2 | 2 | 0.0027771 | 0.00069601 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5206-2_0_4_load_3 | 3 | 0.0044621 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5206-2_0_4_load_4 | 4 | 0.0039659 | 0.00099395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5206-2_0_4_load_5 | 5 | 0.0024683 | 0.00061861 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5206-2_0_4_load_6 | 6 | 0.0029325 | 0.00073495 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5206-2_0_4_load_7 | 7 | 0.0027719 | 0.00069469 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5206-2_0_4_load_9 | 9 | 0.017513 | 0.0043892 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5206-2_0_4_load_10 | 10 | 0.0079051 | 0.0019812 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5206-2_0_4_load_11 | 11 | 0.0018259 | 0.00045762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5206-2_0_4_load_20 | 15 | 0.0051763 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5206-2_0_4_load_13 | 16 | 0.0072986 | 0.0018292 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5206-2_0_4_load_55 | 18 | 0.00322 | 0.00080702 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5206-2_0_4_load_39 | 19 | 0.00567 | 0.001421 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5206-2_0_4_load_56 | 20 | 0.0027931 | 0.00070002 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5206-2_0_4_load_61 | 23 | 0.014796 | 0.0037083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5206-2_0_4_load_59 | 24 | 0.0048455 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5206-2_0_4_load_60 | 25 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5206-2_0_4_load_14 | 26 | 0.0044213 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5206-2_0_4_load_15 | 27 | 0.0018994 | 0.00047605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5206-2_0_4_load_17 | 29 | 0.0018346 | 0.0004598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5206-2_0_4_load_18 | 30 | 0.0013949 | 0.00034959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5206-2_0_4_load_19 | 31 | 0.003873 | 0.00097066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5206-2_0_4_load_46 | 32 | 0.0034371 | 0.00086143 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5206-2_0_4_load_34 | 34 | 0.0028933 | 0.00072514 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5206-2_0_4_load_31 | 35 | 0.026615 | 0.0066702 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5206-2_0_4_load_22 | 36 | 0.014293 | 0.0035822 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5206-2_0_4_load_25 | 38 | 0.0040102 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5206-2_0_4_load_38 | 39 | 0.014088 | 0.0035309 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5206-2_0_4_load_36 | 40 | 0.0098084 | 0.0024582 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5206-2_0_4_load_35 | 41 | 0.024305 | 0.0060915 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5206-2_0_4_load_26 | 42 | 0.0025281 | 0.00063361 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5206-2_0_4_load_27 | 43 | 0.00074191 | 0.00018594 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5206-2_0_4_load_32 | 46 | 0.00054537 | 0.00013668 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5206-2_0_4_load_30 | 47 | 0.023421 | 0.00587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5206-2_0_4_load_41 | 48 | 0.0070477 | 0.0017663 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5206-2_0_4_load_43 | 49 | 0.0024466 | 0.00061318 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5206-2_0_4_load_47 | 51 | 0.0018798 | 0.00047113 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5206-2_0_4_load_48 | 52 | 0.00070488 | 0.00017666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5206-2_0_4_load_49 | 53 | 0.0023182 | 0.00058099 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5206-2_0_4_load_54 | 54 | 0.0027962 | 0.00070078 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5206-2_0_4_load_50 | 55 | 0.0012361 | 0.0003098 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5206-2_0_4_load_51 | 56 | 0.0031926 | 0.00080015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5206-2_0_4_load_52 | 57 | 0.0015405 | 0.00038609 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5206-2_0_4_load_53 | 58 | 0.0062474 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5206-2_0_4_line_0 |  | 0 | 1 | 0.0070871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5206-2_0_4_line_1 |  | 0 | 2 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5206-2_0_4_line_2 |  | 1 | 3 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5206-2_0_4_line_3 |  | 2 | 4 | 0.00061058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5206-2_0_4_line_4 |  | 3 | 5 | 0.021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5206-2_0_4_line_5 |  | 5 | 6 | 0.0028253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5206-2_0_4_line_6 |  | 6 | 7 | 0.026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5206-2_0_4_line_7 |  | 7 | 8 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5206-2_0_4_line_8 |  | 8 | 9 | 0.040166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5206-2_0_4_line_9 |  | 8 | 10 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5206-2_0_4_line_10 |  | 9 | 11 | 0.046723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5206-2_0_4_line_11 |  | 10 | 12 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5206-2_0_4_line_12 |  | 11 | 13 | 0.052607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5206-2_0_4_line_13 |  | 12 | 14 | 0.01954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5206-2_0_4_line_14 |  | 12 | 15 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5206-2_0_4_line_15 |  | 13 | 16 | 0.080745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5206-2_0_4_line_16 |  | 14 | 34 | 0.030386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5206-2_0_4_line_17 |  | 14 | 35 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5206-2_0_4_line_18 |  | 15 | 31 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5206-2_0_4_line_19 |  | 16 | 17 | 0.080406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5206-2_0_4_line_20 |  | 16 | 18 | 0.10281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5206-2_0_4_line_21 |  | 17 | 19 | 0.050365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5206-2_0_4_line_22 |  | 18 | 20 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5206-2_0_4_line_23 |  | 19 | 39 | 0.019653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5206-2_0_4_line_24 |  | 20 | 21 | 0.0023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5206-2_0_4_line_25 |  | 21 | 22 | 0.035618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5206-2_0_4_line_26 |  | 22 | 23 | 0.051992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5206-2_0_4_line_27 |  | 22 | 24 | 0.029314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5206-2_0_4_line_28 |  | 24 | 25 | 0.0030227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5206-2_0_4_line_29 |  | 26 | 27 | 0.064539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5206-2_0_4_line_30 |  | 26 | 28 | 0.041717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5206-2_0_4_line_31 |  | 27 | 29 | 0.0096798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5206-2_0_4_line_32 |  | 28 | 30 | 0.0017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5206-2_0_4_line_33 |  | 29 | 31 | 0.00014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5206-2_0_4_line_34 |  | 30 | 32 | 0.02262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5206-2_0_4_line_35 |  | 32 | 33 | 0.027052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5206-2_0_4_line_36 |  | 33 | 49 | 0.0042217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5206-2_0_4_line_37 |  | 34 | 48 | 0.073521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5206-2_0_4_line_38 |  | 35 | 47 | 0.077786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5206-2_0_4_line_39 |  | 36 | 37 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5206-2_0_4_line_40 |  | 37 | 38 | 0.032313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5206-2_0_4_line_41 |  | 37 | 39 | 0.049384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5206-2_0_4_line_42 |  | 39 | 40 | 0.04623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5206-2_0_4_line_43 |  | 40 | 41 | 0.019375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5206-2_0_4_line_44 |  | 42 | 43 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5206-2_0_4_line_45 |  | 42 | 44 | 0.084868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5206-2_0_4_line_46 |  | 44 | 45 | 0.005496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5206-2_0_4_line_47 |  | 45 | 46 | 0.059693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5206-2_0_4_line_48 |  | 46 | 47 | 0.043244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5206-2_0_4_line_49 |  | 49 | 50 | 0.011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5206-2_0_4_line_50 |  | 50 | 51 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5206-2_0_4_line_51 |  | 50 | 52 | 0.03482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5206-2_0_4_line_52 |  | 51 | 53 | 0.034469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5206-2_0_4_line_53 |  | 52 | 54 | 0.0074154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5206-2_0_4_line_54 |  | 53 | 55 | 0.025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5206-2_0_4_line_55 |  | 55 | 56 | 0.0089388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5206-2_0_4_line_56 |  | 56 | 57 | 0.0070503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5206-2_0_4_line_57 |  | 57 | 58 | 0.026152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5206-2_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 59 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2712066.6871 | 1093956.4988 | 2712061.6716 | 1093951.4916
1 | 2712066.6871 | 1093956.4988 | 2712079.1959 | 1093968.9865
2 | 2712061.6716 | 1093951.4916 | 2712056.6531 | 1093946.4815 | 2712049.1086 | 1093940.0636
3 | 2712079.1959 | 1093968.9865 | 2712079.628 | 1093969.4179
4 | 2712049.1086 | 1093940.0636 | 2712032.977 | 1093926.3408
5 | 2712030.825 | 1093924.5102 | 2712032.977 | 1093926.3408
6 | 2712030.825 | 1093924.5102 | 2712030.7616 | 1093924.4563 | 2712011.6688 | 1093906.928
7 | 2711996.7598 | 1093892.5085 | 2711998.9121 | 1093899.7864 | 2712009.8252 | 1093905.2355 | 2712011.6688 | 1093906.928
8 | 2711996.7598 | 1093892.5085 | 2712035.0356 | 1093904.6851
9 | 2711996.7598 | 1093892.5085 | 2711963.8512 | 1093882.6842
10 | 2712035.0356 | 1093904.6851 | 2712039.016 | 1093905.9514 | 2712054.6138 | 1093914.5779 | 2712074.3269 | 1093929.4959
11 | 2711945.2469 | 1093882.142 | 2711953.2131 | 1093880.532 | 2711963.0598 | 1093882.4479 | 2711963.8512 | 1093882.6842
12 | 2712113.1572 | 1093964.3794 | 2712105.553 | 1093958.9689 | 2712098.2301 | 1093948.8159 | 2712088.4073 | 1093940.1513 | 2712074.3269 | 1093929.4959
13 | 2711945.2469 | 1093882.142 | 2711929.3116 | 1093893.512
14 | 2711945.2469 | 1093882.142 | 2711951.6214 | 1093892.4663 | 2711953.0235 | 1093894.9834
15 | 2712113.1572 | 1093964.3794 | 2712116.7432 | 1093959.053 | 2712114.2573 | 1093950.9572 | 2712102.9867 | 1093944.3117 | 2712092.6949 | 1093934.1818 | 2712079.1769 | 1093919.1114 | 2712073.5344 | 1093912.8143 | 2712067.2542 | 1093905.5129
16 | 2711929.3116 | 1093893.512 | 2711917.4869 | 1093904.7353 | 2711910.635 | 1093914.0155 | 2711909.6897 | 1093916.3813
17 | 2711929.3116 | 1093893.512 | 2711924.773 | 1093892.917 | 2711916.4093 | 1093895.1841
18 | 2711964.4858 | 1093912.1376 | 2711955.8828 | 1093900.1166 | 2711953.0235 | 1093894.9834
19 | 2712010.6966 | 1093850.8037 | 2712025.1355 | 1093855.873 | 2712039.26 | 1093872.9559 | 2712058.647 | 1093895.506 | 2712067.2542 | 1093905.5129
20 | 2712067.2542 | 1093905.5129 | 2712156.2634 | 1093854.0529
21 | 2712010.6966 | 1093850.8037 | 2711978.2023 | 1093841.3323 | 2711963.1096 | 1093834.6196
22 | 2712156.2634 | 1093854.0529 | 2712160.3249 | 1093858.2106 | 2712172.1241 | 1093863.749
23 | 2711945.8932 | 1093825.1677 | 2711960.3901 | 1093833.4101 | 2711963.1096 | 1093834.6196
24 | 2712174.256 | 1093864.7497 | 2712172.1241 | 1093863.749
25 | 2712155.4852 | 1093834.4497 | 2712174.256 | 1093864.7497
26 | 2712109.7861 | 1093810.9913 | 2712147.3443 | 1093826.194 | 2712155.4852 | 1093834.4497
27 | 2712155.4852 | 1093834.4497 | 2712167.4029 | 1093820.738 | 2712171.4782 | 1093810.3631
28 | 2712171.4782 | 1093810.3631 | 2712172.5833 | 1093807.5497
29 | 2712008.7865 | 1093971.8277 | 2711999.8576 | 1093961.2008 | 2711971.2518 | 1093921.5918 | 2711970.204 | 1093920.1278
30 | 2712034.1692 | 1094004.9068 | 2712018.0291 | 1093982.8279 | 2712008.7865 | 1093971.8277
31 | 2711970.204 | 1093920.1278 | 2711964.5706 | 1093912.2561
32 | 2712034.1692 | 1094004.9068 | 2712035.1711 | 1094006.3616
33 | 2711964.5706 | 1093912.2561 | 2711964.4858 | 1093912.1376
34 | 2712035.1711 | 1094006.3616 | 2712048.0005 | 1094024.9921
35 | 2712063.3434 | 1094047.2729 | 2712048.0005 | 1094024.9921
36 | 2712063.3434 | 1094047.2729 | 2712065.7608 | 1094050.7339
37 | 2711940.0652 | 1093977.4331 | 2711920.157 | 1093957.1309 | 2711914.318 | 1093950.5524 | 2711908.696 | 1093940.6089 | 2711906.9867 | 1093930.7374 | 2711907.1332 | 1093922.7792 | 2711909.6897 | 1093916.3813
38 | 2711862.3258 | 1093898.8721 | 2711862.3258 | 1093898.8721 | 2711860.9912 | 1093903.1616 | 2711861.8269 | 1093915.0294 | 2711863.0363 | 1093916.6972 | 2711866.3358 | 1093918.0811 | 2711871.0166 | 1093916.8441 | 2711895.2665 | 1093900.9239 | 2711906.4523 | 1093897.8832 | 2711916.4093 | 1093895.1841
39 | 2711943.2284 | 1093775.8553 | 2711917.2817 | 1093769.4246
40 | 2711943.2284 | 1093775.8553 | 2711950.6145 | 1093773.3452 | 2711970.563 | 1093773.4458 | 2711974.6688 | 1093771.4533
41 | 2711945.8932 | 1093825.1677 | 2711943.2284 | 1093775.8553
42 | 2711945.8932 | 1093825.1677 | 2711943.0092 | 1093823.5279 | 2711928.8549 | 1093818.9866 | 2711908.9715 | 1093817.8866 | 2711901.1939 | 1093820.2658
43 | 2711882.9109 | 1093826.5067 | 2711885.4866 | 1093825.0705 | 2711901.1939 | 1093820.2658
44 | 2711799.1377 | 1093792.5275 | 2711797.9709 | 1093787.7472 | 2711793.9189 | 1093775.4422
45 | 2711819.2617 | 1093874.9752 | 2711799.1377 | 1093792.5275
46 | 2711824.7101 | 1093874.1415 | 2711819.2617 | 1093874.9752
47 | 2711824.7101 | 1093874.1415 | 2711827.5881 | 1093878.2194 | 2711836.6627 | 1093893.4521 | 2711841.286 | 1093902.9212 | 2711844.5537 | 1093915.7233 | 2711844.6169 | 1093928.9437
48 | 2711862.3258 | 1093898.8721 | 2711860.7175 | 1093897.8196 | 2711858.1832 | 1093900.7639 | 2711856.4338 | 1093907.3806 | 2711847.6271 | 1093931.5016 | 2711844.6256 | 1093930.7681 | 2711844.6169 | 1093928.9437
49 | 2712072.3593 | 1094060.181 | 2712065.7608 | 1094050.7339
50 | 2712072.3593 | 1094060.181 | 2712079.7582 | 1094064.1089 | 2712081.826 | 1094067.7354
51 | 2712072.3593 | 1094060.181 | 2712080.8879 | 1094075.1372 | 2712083.3962 | 1094086.2131 | 2712083.6455 | 1094092.4549
52 | 2712081.826 | 1094067.7354 | 2712085.9219 | 1094074.9187 | 2712091.858 | 1094077.4743 | 2712109.463 | 1094068.5515
53 | 2712083.9415 | 1094099.8644 | 2712083.6455 | 1094092.4549
54 | 2712122.2925 | 1094053.0491 | 2712125.6462 | 1094059.1625 | 2712117.5972 | 1094064.4288 | 2712109.463 | 1094068.5515
55 | 2712117.9933 | 1094045.2121 | 2712122.2925 | 1094053.0491
56 | 2712117.9933 | 1094045.2121 | 2712114.6024 | 1094039.0309
57 | 2712100.8192 | 1094016.8652 | 2712107.5305 | 1094026.1396 | 2712114.6024 | 1094039.0309

## bus_geodata
| x | y | coords
0 | 2712066.6871 | 1093956.4988
1 | 2712061.6716 | 1093951.4916
2 | 2712079.1959 | 1093968.9865
3 | 2712049.1086 | 1093940.0636
4 | 2712079.628 | 1093969.4179
5 | 2712032.977 | 1093926.3408
6 | 2712030.825 | 1093924.5102
7 | 2712011.6688 | 1093906.928
8 | 2711996.7598 | 1093892.5085
9 | 2712035.0356 | 1093904.6851
10 | 2711963.8512 | 1093882.6842
11 | 2712074.3269 | 1093929.4959
12 | 2711945.2469 | 1093882.142
13 | 2712113.1572 | 1093964.3794
14 | 2711929.3116 | 1093893.512
15 | 2711953.0235 | 1093894.9834
16 | 2712067.2542 | 1093905.5129
17 | 2712010.6966 | 1093850.8037
18 | 2712156.2634 | 1093854.0529
19 | 2711963.1096 | 1093834.6196
20 | 2712172.1241 | 1093863.749
21 | 2712174.256 | 1093864.7497
22 | 2712155.4852 | 1093834.4497
23 | 2712109.7861 | 1093810.9913
24 | 2712171.4782 | 1093810.3631
25 | 2712172.5833 | 1093807.5497
26 | 2712008.7865 | 1093971.8277
27 | 2711970.204 | 1093920.1278
28 | 2712034.1692 | 1094004.9068
29 | 2711964.5706 | 1093912.2561
30 | 2712035.1711 | 1094006.3616
31 | 2711964.4858 | 1093912.1376
32 | 2712048.0005 | 1094024.9921
33 | 2712063.3434 | 1094047.2729
34 | 2711909.6897 | 1093916.3813
35 | 2711916.4093 | 1093895.1841
36 | 2711917.2817 | 1093769.4246
37 | 2711943.2284 | 1093775.8553
38 | 2711974.6688 | 1093771.4533
39 | 2711945.8932 | 1093825.1677
40 | 2711901.1939 | 1093820.2658
41 | 2711882.9109 | 1093826.5067
42 | 2711799.1377 | 1093792.5275
43 | 2711793.9189 | 1093775.4422
44 | 2711819.2617 | 1093874.9752
45 | 2711824.7101 | 1093874.1415
46 | 2711844.6169 | 1093928.9437
47 | 2711862.3258 | 1093898.8721
48 | 2711940.0652 | 1093977.4331
49 | 2712065.7608 | 1094050.7339
50 | 2712072.3593 | 1094060.181
51 | 2712081.826 | 1094067.7354
52 | 2712083.6455 | 1094092.4549
53 | 2712109.463 | 1094068.5515
54 | 2712083.9415 | 1094099.8644
55 | 2712122.2925 | 1094053.0491
56 | 2712117.9933 | 1094045.2121
57 | 2712114.6024 | 1094039.0309
58 | 2712100.8192 | 1094016.8652
59 | 2711945.2469 | 1093882.142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1