## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5210-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5210-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5210-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5210-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5210-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5210-2_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5210-2_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5210-2_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5210-2_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5210-2_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5210-2_0_5_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_5210-2_0_5_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_5210-2_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5210-2_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5210-2_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5210-2_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5210-2_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5210-2_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5210-2_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5210-2_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5210-2_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5210-2_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5210-2_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5210-2_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5210-2_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5210-2_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5210-2_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5210-2_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_5210-2_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5210-2_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5210-2_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5210-2_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5210-2_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5210-2_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5210-2_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_5210-2_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5210-2_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5210-2_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_5210-2_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5210-2_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5210-2_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5210-2_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5210-2_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5210-2_0_5_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_5210-2_0_5_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_5210-2_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5210-2_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_5210-2_0_5_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_5210-2_0_5_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_5210-2_0_5_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_5210-2_0_5_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_5210-2_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5210-2_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5210-2_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5210-2_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5210-2_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5210-2_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5210-2_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5210-2_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5210-2_0_5_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5210-2_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5210-2_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5210-2_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5210-2_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_5210-2_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5210-2_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5210-2_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5210-2_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5210-2_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5210-2_0_5_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5210-2_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5210-2_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5210-2_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5210-2_0_5_node_72 | 0.4 | n |  | TRUE
74 | bus_MV_255_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5210-2_0_5_load_0 | 0 | 0.0032017 | 0.00080243 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5210-2_0_5_load_8 | 5 | 0.012762 | 0.0031984 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5210-2_0_5_load_6 | 6 | 0.024203 | 0.0060658 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5210-2_0_5_load_7 | 7 | 0.0048021 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5210-2_0_5_load_10 | 9 | 0.00057684 | 0.00014457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5210-2_0_5_load_60 | 10 | 0.027987 | 0.0070142 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5210-2_0_5_load_59 | 11 | 0.0010235 | 0.00025652 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5210-2_0_5_load_11 | 12 | 0.022469 | 0.0056313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5210-2_0_5_load_12 | 13 | 0.012333 | 0.003091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5210-2_0_5_load_13 | 14 | 0.0063116 | 0.0015818 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5210-2_0_5_load_14 | 15 | 0.0054769 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5210-2_0_5_load_15 | 16 | 0.013762 | 0.0034491 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5210-2_0_5_load_16 | 17 | 0.012121 | 0.0030378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5210-2_0_5_load_27 | 18 | 0.00795 | 0.0019925 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5210-2_0_5_load_26 | 19 | 0.014295 | 0.0035827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5210-2_0_5_load_17 | 20 | 0.0035623 | 0.0008928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5210-2_0_5_load_18 | 21 | 0.0060289 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5210-2_0_5_load_19 | 22 | 0.0039637 | 0.0009934 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5210-2_0_5_load_30 | 27 | 0.0025948 | 0.00065032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5210-2_0_5_load_22 | 29 | 0.0057163 | 0.0014326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5210-2_0_5_load_23 | 30 | 0.0099026 | 0.0024818 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5210-2_0_5_load_29 | 32 | 0.012933 | 0.0032414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5210-2_0_5_load_38 | 35 | 0.014309 | 0.0035862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5210-2_0_5_load_34 | 36 | 0.024648 | 0.0061775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5210-2_0_5_load_41 | 37 | 0.0066249 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5210-2_0_5_load_39 | 42 | 0.034235 | 0.0085801 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5210-2_0_5_load_78 | 44 | 0.0078262 | 0.0019614 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5210-2_0_5_load_44 | 45 | 0.015781 | 0.0039552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5210-2_0_5_load_65 | 47 | 0.017688 | 0.0044331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5210-2_0_5_load_77 | 49 | 0.016635 | 0.0041692 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5210-2_0_5_load_45 | 51 | 0.017148 | 0.0042976 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5210-2_0_5_load_46 | 52 | 0.002045 | 0.00051252 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5210-2_0_5_load_47 | 53 | 0.0024883 | 0.00062363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5210-2_0_5_load_48 | 54 | 0.00076878 | 0.00019267 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5210-2_0_5_load_49 | 55 | 0.0046432 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5210-2_0_5_load_58 | 59 | 0.0020716 | 0.0005192 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5210-2_0_5_load_52 | 61 | 0.0012626 | 0.00031644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5210-2_0_5_load_61 | 63 | 0.034614 | 0.0086751 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5210-2_0_5_load_51 | 64 | 0.0052801 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5210-2_0_5_load_63 | 67 | 0.043293 | 0.01085 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5210-2_0_5_load_64 | 68 | 0.02087 | 0.0052306 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5210-2_0_5_load_70 | 69 | 0.0075147 | 0.0018834 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5210-2_0_5_load_71 | 70 | 0.034045 | 0.0085324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5210-2_0_5_load_67 | 71 | 0.017621 | 0.0044162 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5210-2_0_5_load_68 | 72 | 0.014233 | 0.0035671 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5210-2_0_5_load_72 | 73 | 0.032035 | 0.0080287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5210-2_0_5_line_0 |  | 0 | 1 | 0.07194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5210-2_0_5_line_1 |  | 0 | 2 | 0.033247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5210-2_0_5_line_2 |  | 1 | 3 | 0.046888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5210-2_0_5_line_3 |  | 2 | 4 | 0.020646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5210-2_0_5_line_4 |  | 3 | 5 | 0.042954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5210-2_0_5_line_5 |  | 4 | 6 | 0.0036517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5210-2_0_5_line_6 |  | 5 | 7 | 0.10819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5210-2_0_5_line_7 |  | 7 | 8 | 0.039346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5210-2_0_5_line_8 |  | 8 | 9 | 0.074531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5210-2_0_5_line_9 |  | 9 | 10 | 0.039683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5210-2_0_5_line_10 |  | 10 | 11 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5210-2_0_5_line_11 |  | 11 | 59 | 0.02113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5210-2_0_5_line_12 |  | 12 | 13 | 0.0071594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5210-2_0_5_line_13 |  | 12 | 14 | 0.028049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5210-2_0_5_line_14 |  | 14 | 15 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5210-2_0_5_line_15 |  | 15 | 16 | 0.0095065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5210-2_0_5_line_16 |  | 16 | 17 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5210-2_0_5_line_17 |  | 17 | 18 | 0.024028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5210-2_0_5_line_18 |  | 18 | 19 | 0.021664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5210-2_0_5_line_19 |  | 19 | 31 | 0.006676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5210-2_0_5_line_20 |  | 20 | 21 | 0.041257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5210-2_0_5_line_21 |  | 20 | 22 | 0.0098533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5210-2_0_5_line_22 |  | 21 | 23 | 0.03335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5210-2_0_5_line_23 |  | 22 | 24 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5210-2_0_5_line_24 |  | 23 | 25 | 0.032564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5210-2_0_5_line_25 |  | 24 | 26 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5210-2_0_5_line_26 |  | 25 | 27 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5210-2_0_5_line_27 |  | 26 | 28 | 0.014236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5210-2_0_5_line_28 |  | 27 | 31 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5210-2_0_5_line_29 |  | 28 | 29 | 0.0062388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5210-2_0_5_line_30 |  | 29 | 30 | 0.025427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5210-2_0_5_line_31 |  | 31 | 32 | 0.012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5210-2_0_5_line_32 |  | 32 | 33 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5210-2_0_5_line_33 |  | 33 | 34 | 0.042094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5210-2_0_5_line_34 |  | 34 | 35 | 0.031725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5210-2_0_5_line_35 |  | 34 | 36 | 0.033684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5210-2_0_5_line_36 |  | 35 | 37 | 0.035437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5210-2_0_5_line_37 |  | 36 | 38 | 0.075893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5210-2_0_5_line_38 |  | 38 | 39 | 0.042845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5210-2_0_5_line_39 |  | 38 | 40 | 0.075075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_5210-2_0_5_line_40 |  | 39 | 41 | 0.067854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5210-2_0_5_line_41 |  | 39 | 42 | 0.040556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5210-2_0_5_line_42 |  | 40 | 43 | 0.11516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5210-2_0_5_line_43 |  | 40 | 44 | 0.059665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5210-2_0_5_line_44 |  | 41 | 45 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5210-2_0_5_line_45 |  | 43 | 49 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5210-2_0_5_line_46 |  | 43 | 50 | 0.076106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5210-2_0_5_line_47 |  | 45 | 51 | 0.018592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5210-2_0_5_line_48 |  | 46 | 47 | 0.025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5210-2_0_5_line_49 |  | 46 | 48 | 0.091765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5210-2_0_5_line_50 |  | 47 | 66 | 0.026304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5210-2_0_5_line_51 |  | 48 | 72 | 0.061732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5210-2_0_5_line_52 |  | 49 | 68 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5210-2_0_5_line_53 |  | 50 | 73 | 0.056695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5210-2_0_5_line_54 |  | 52 | 53 | 0.0081022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5210-2_0_5_line_55 |  | 52 | 54 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5210-2_0_5_line_56 |  | 53 | 55 | 0.0025948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5210-2_0_5_line_57 |  | 54 | 56 | 0.0031727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5210-2_0_5_line_58 |  | 55 | 57 | 0.0077097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5210-2_0_5_line_59 |  | 56 | 58 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5210-2_0_5_line_60 |  | 57 | 59 | 0.0040498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5210-2_0_5_line_61 |  | 57 | 60 | 0.011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5210-2_0_5_line_62 |  | 58 | 61 | 0.0052186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5210-2_0_5_line_63 |  | 60 | 62 | 0.10276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5210-2_0_5_line_64 |  | 60 | 65 | 0.02364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5210-2_0_5_line_65 |  | 62 | 63 | 0.018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5210-2_0_5_line_66 |  | 63 | 66 | 0.027885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5210-2_0_5_line_67 |  | 64 | 65 | 0.026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5210-2_0_5_line_68 |  | 66 | 67 | 0.0070281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5210-2_0_5_line_69 |  | 66 | 68 | 0.040535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5210-2_0_5_line_70 |  | 67 | 69 | 0.064345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5210-2_0_5_line_71 |  | 69 | 70 | 0.0029476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5210-2_0_5_line_72 |  | 71 | 72 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5210-2_0_5_trafo_78 | 0.63 MVA 20/0.4 kV | 74 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2716783.8039 | 1093862.5115 | 2716783.107 | 1093862.4759 | 2716774.2876 | 1093861.617 | 2716717.1838 | 1093856.1505 | 2716712.208 | 1093855.5156
1 | 2716679.228 | 1093851.3078 | 2716712.208 | 1093855.5156
2 | 2716828.9039 | 1093875.52 | 2716802.1898 | 1093868.5131 | 2716787.0966 | 1093862.9862 | 2716783.8039 | 1093862.5115
3 | 2716679.228 | 1093851.3078 | 2716665.9235 | 1093851.1191 | 2716658.5218 | 1093851.0993
4 | 2716828.9039 | 1093875.52 | 2716858.0257 | 1093899.1958 | 2716863.354 | 1093900.2006
5 | 2716658.5218 | 1093851.0993 | 2716654.8701 | 1093851.093
6 | 2716949.1105 | 1093907.8712 | 2716937.2971 | 1093892.1256 | 2716926.0545 | 1093888.7071 | 2716926.8696 | 1093893.8819 | 2716922.9611 | 1093896.8088 | 2716919.3688 | 1093890.9579 | 2716902.7075 | 1093902.0898 | 2716881.5956 | 1093903.6406 | 2716863.354 | 1093900.2006
7 | 2716971.7181 | 1093940.0651 | 2716955.0636 | 1093915.8058 | 2716949.1105 | 1093907.8712
8 | 2716971.7181 | 1093940.0651 | 2716972.6385 | 1093955.8715 | 2716972.1214 | 1093991.5973 | 2716975.1788 | 1094014.3607
9 | 2716969.818 | 1094052.8842 | 2716967.7488 | 1094045.6283 | 2716975.1788 | 1094014.3607
10 | 2716969.818 | 1094052.8842 | 2716974.2703 | 1094050.6906 | 2716980.6167 | 1094053.5813 | 2716993.7163 | 1094050.2367
11 | 2717014.0759 | 1094044.591 | 2717000.3381 | 1094048.5461 | 2716993.7163 | 1094050.2367
12 | 2716602.1538 | 1094000.6791 | 2716594.9951 | 1094000.5789
13 | 2716602.1538 | 1094000.6791 | 2716621.8527 | 1094000.955 | 2716630.1097 | 1094002.1851
14 | 2716630.1097 | 1094002.1851 | 2716651.1699 | 1094005.3229
15 | 2716660.5726 | 1094006.7237 | 2716660.5726 | 1094006.7237 | 2716651.1699 | 1094005.3229
16 | 2716676.2732 | 1094004.9366 | 2716660.5726 | 1094006.7237
17 | 2716700.1475 | 1094002.2191 | 2716676.2732 | 1094004.9366
18 | 2716721.6726 | 1093999.769 | 2716700.1475 | 1094002.2191
19 | 2716728.1945 | 1094001.1952 | 2716721.6726 | 1093999.769 | 2716721.6726 | 1093999.769
20 | 2716731.8427 | 1093967.107 | 2716710.2422 | 1093971.0187 | 2716701.0968 | 1093970.9988 | 2716691.078 | 1093969.3156
21 | 2716681.3608 | 1093967.6832 | 2716691.078 | 1093969.3156
22 | 2716761.7397 | 1093975.7549 | 2716756.3539 | 1093969.6584 | 2716747.2246 | 1093966.7812 | 2716740.6065 | 1093965.5199 | 2716731.8427 | 1093967.107
23 | 2716658.4943 | 1093964.388 | 2716672.8515 | 1093966.2536 | 2716681.3608 | 1093967.6832
24 | 2716760.3793 | 1094008.2401 | 2716762.1931 | 1093982.4126 | 2716761.7397 | 1093975.7549
25 | 2716656.6082 | 1093951.1983 | 2716656.7265 | 1093954.325 | 2716657.6666 | 1093959.8579 | 2716658.4943 | 1093964.388
26 | 2716760.3793 | 1094008.2401 | 2716745.8826 | 1094005.0669
27 | 2716653.6589 | 1093937.2766 | 2716654.5094 | 1093941.0177 | 2716655.8885 | 1093947.1039 | 2716656.6082 | 1093951.1983
28 | 2716728.1945 | 1094001.1952 | 2716745.8826 | 1094005.0669
29 | 2716653.6589 | 1093937.2766 | 2716659.7532 | 1093935.9415
30 | 2716681.7218 | 1093939.5068 | 2716679.8426 | 1093935.1663 | 2716673.1081 | 1093933.1023 | 2716663.6451 | 1093935.0888 | 2716659.7532 | 1093935.9415
31 | 2716728.1945 | 1094001.1952 | 2716724.714 | 1094012.9016
32 | 2716720.6047 | 1094026.7227 | 2716724.714 | 1094012.9016
33 | 2716720.6047 | 1094026.7227 | 2716710.0615 | 1094025.2304 | 2716702.1084 | 1094025.6893 | 2716692.2566 | 1094030.17 | 2716689.636 | 1094032.2322 | 2716682.2308 | 1094038.0608
34 | 2716682.2308 | 1094038.0608 | 2716666.1688 | 1094051.5287 | 2716657.0411 | 1094057.2335
35 | 2716682.2308 | 1094038.0608 | 2716685.6938 | 1094063.9785 | 2716687.1089 | 1094071.3809
36 | 2716623.1556 | 1094064.6838 | 2716628.8359 | 1094064.7773 | 2716649.444 | 1094061.9817 | 2716657.0411 | 1094057.2335
37 | 2716740.4457 | 1094117.1325 | 2716703.9614 | 1094102.3443 | 2716690.0183 | 1094086.5993 | 2716687.1089 | 1094071.3809
38 | 2716698.2175 | 1094111.2625 | 2716717.7301 | 1094116.674 | 2716740.4457 | 1094117.1325
39 | 2716740.4457 | 1094117.1325 | 2716754.9666 | 1094118.1231 | 2716763.7659 | 1094121.6278 | 2716774.4916 | 1094132.1632 | 2716778.1499 | 1094135.7915 | 2716780.5164 | 1094138.0718 | 2716788.6795 | 1094144.433 | 2716798.7121 | 1094149.8961 | 2716803.837 | 1094152.6186
40 | 2716698.2175 | 1094111.2625 | 2716678.9731 | 1094114.8958 | 2716641.7392 | 1094118.9621 | 2716630.8146 | 1094117.5628
41 | 2716698.2175 | 1094111.2625 | 2716688.6639 | 1094106.2757 | 2716667.7585 | 1094093.477 | 2716662.6786 | 1094092.0849
42 | 2716803.837 | 1094152.6186 | 2716838.364 | 1094171.228 | 2716848.4664 | 1094173.0567 | 2716858.2619 | 1094172.7113 | 2716869.1545 | 1094169.7185 | 2716883.2117 | 1094158.9479 | 2716893.1784 | 1094153.7248 | 2716901.399 | 1094155.0726 | 2716906.1918 | 1094160.5574
43 | 2716803.837 | 1094152.6186 | 2716815.4102 | 1094146.4811 | 2716843.7301 | 1094144.4793 | 2716843.5488 | 1094126.3059
44 | 2716630.8146 | 1094117.5628 | 2716614.1854 | 1094118.6002 | 2716607.0276 | 1094117.6914
45 | 2716906.1918 | 1094160.5574 | 2716910.6024 | 1094160.1197 | 2716917.0672 | 1094160.3002
46 | 2716885.7567 | 1094231.736 | 2716887.2533 | 1094226.8614 | 2716890.7589 | 1094216.2548 | 2716892.6169 | 1094209.9194 | 2716894.5721 | 1094202.1516 | 2716899.299 | 1094187.6881 | 2716907.0042 | 1094177.5514 | 2716908.1479 | 1094171.2802 | 2716906.1918 | 1094160.5574
47 | 2716607.0276 | 1094117.6914 | 2716588.5838 | 1094115.3499
48 | 2716920.2348 | 1094132.7971 | 2716943.0496 | 1094144.7679
49 | 2716920.2348 | 1094132.7971 | 2716913.674 | 1094113.2575 | 2716907.2947 | 1094095.9674 | 2716908.2787 | 1094084.3004 | 2716916.7675 | 1094057.2005 | 2716924.6003 | 1094047.2887
50 | 2716966.3419 | 1094156.9893 | 2716943.0496 | 1094144.7679
51 | 2716924.6003 | 1094047.2887 | 2716923.8333 | 1094056.1356 | 2716917.0966 | 1094067.4917 | 2716917.0808 | 1094076.7756 | 2716921.8447 | 1094084.9728 | 2716929.0039 | 1094091.5372 | 2716940.1004 | 1094092.8131
52 | 2716917.0672 | 1094160.3002 | 2716920.843 | 1094160.4056 | 2716930.1424 | 1094164.6203
53 | 2716885.7567 | 1094231.736 | 2716891.636 | 1094233.9171 | 2716892.1923 | 1094231.9932 | 2716894.5171 | 1094232.8162 | 2716912.0795 | 1094238.0463 | 2716935.0923 | 1094243.9817 | 2716938.9176 | 1094244.5314
54 | 2717034.0445 | 1094034.5071 | 2717026.9678 | 1094038.4527
55 | 2717034.0445 | 1094034.5071 | 2717034.0445 | 1094034.5071 | 2717047.5072 | 1094035.2524
56 | 2717026.9678 | 1094038.4527 | 2717024.7015 | 1094039.7163
57 | 2717050.6751 | 1094035.4278 | 2717047.5072 | 1094035.2524
58 | 2717017.9676 | 1094043.4706 | 2717024.7015 | 1094039.7163
59 | 2717050.6751 | 1094035.4278 | 2717060.9619 | 1094040.1624
60 | 2717017.9676 | 1094043.4706 | 2717014.0759 | 1094044.591
61 | 2717011.9412 | 1094053.3504 | 2717017.9676 | 1094043.4706
62 | 2717060.9619 | 1094040.1624 | 2717064.1935 | 1094044.2601
63 | 2717011.9412 | 1094053.3504 | 2716991.6314 | 1094067.2137 | 2716986.7137 | 1094071.0328 | 2716983.6254 | 1094076.455 | 2716983.1319 | 1094079.9479 | 2716983.5043 | 1094084.3581 | 2716984.997 | 1094089.7572 | 2716996.5928 | 1094115.8761 | 2717005.4229 | 1094133.4692 | 2717006.1165 | 1094137.2963
64 | 2717011.9412 | 1094053.3504 | 2717014.6917 | 1094055.8161 | 2717016.3474 | 1094075.695
65 | 2717006.1165 | 1094137.2963 | 2717000.8982 | 1094140.2313 | 2716993.3543 | 1094141.1757 | 2716988.8638 | 1094142.2359
66 | 2716966.3419 | 1094156.9893 | 2716972.5874 | 1094149.0039 | 2716982.9913 | 1094143.6225 | 2716988.8638 | 1094142.2359
67 | 2717016.3474 | 1094075.695 | 2717043.1985 | 1094074.191
68 | 2716966.3419 | 1094156.9893 | 2716973.0358 | 1094159.1306
69 | 2716966.3419 | 1094156.9893 | 2716956.4682 | 1094165.4274 | 2716947.5769 | 1094168.7254 | 2716935.2418 | 1094166.9314 | 2716930.1424 | 1094164.6203
70 | 2716973.0358 | 1094159.1306 | 2717030.5736 | 1094158.804 | 2717037.3735 | 1094158.5043
71 | 2717040.3182 | 1094158.3745 | 2717037.3735 | 1094158.5043
72 | 2716965.8304 | 1094103.2346 | 2716950.1393 | 1094093.9675 | 2716940.1004 | 1094092.8131

## bus_geodata
| x | y | coords
0 | 2716712.208 | 1093855.5156
1 | 2716783.8039 | 1093862.5115
2 | 2716679.228 | 1093851.3078
3 | 2716828.9039 | 1093875.52
4 | 2716658.5218 | 1093851.0993
5 | 2716863.354 | 1093900.2006
6 | 2716654.8701 | 1093851.093
7 | 2716949.1105 | 1093907.8712
8 | 2716971.7181 | 1093940.0651
9 | 2716975.1788 | 1094014.3607
10 | 2716969.818 | 1094052.8842
11 | 2716993.7163 | 1094050.2367
12 | 2716602.1538 | 1094000.6791
13 | 2716594.9951 | 1094000.5789
14 | 2716630.1097 | 1094002.1851
15 | 2716651.1699 | 1094005.3229
16 | 2716660.5726 | 1094006.7237
17 | 2716676.2732 | 1094004.9366
18 | 2716700.1475 | 1094002.2191
19 | 2716721.6726 | 1093999.769
20 | 2716691.078 | 1093969.3156
21 | 2716731.8427 | 1093967.107
22 | 2716681.3608 | 1093967.6832
23 | 2716761.7397 | 1093975.7549
24 | 2716658.4943 | 1093964.388
25 | 2716760.3793 | 1094008.2401
26 | 2716656.6082 | 1093951.1983
27 | 2716745.8826 | 1094005.0669
28 | 2716653.6589 | 1093937.2766
29 | 2716659.7532 | 1093935.9415
30 | 2716681.7218 | 1093939.5068
31 | 2716728.1945 | 1094001.1952
32 | 2716724.714 | 1094012.9016
33 | 2716720.6047 | 1094026.7227
34 | 2716682.2308 | 1094038.0608
35 | 2716657.0411 | 1094057.2335
36 | 2716687.1089 | 1094071.3809
37 | 2716623.1556 | 1094064.6838
38 | 2716740.4457 | 1094117.1325
39 | 2716698.2175 | 1094111.2625
40 | 2716803.837 | 1094152.6186
41 | 2716630.8146 | 1094117.5628
42 | 2716662.6786 | 1094092.0849
43 | 2716906.1918 | 1094160.5574
44 | 2716843.5488 | 1094126.3059
45 | 2716607.0276 | 1094117.6914
46 | 2716920.2348 | 1094132.7971
47 | 2716943.0496 | 1094144.7679
48 | 2716924.6003 | 1094047.2887
49 | 2716917.0672 | 1094160.3002
50 | 2716885.7567 | 1094231.736
51 | 2716588.5838 | 1094115.3499
52 | 2717034.0445 | 1094034.5071
53 | 2717026.9678 | 1094038.4527
54 | 2717047.5072 | 1094035.2524
55 | 2717024.7015 | 1094039.7163
56 | 2717050.6751 | 1094035.4278
57 | 2717017.9676 | 1094043.4706
58 | 2717060.9619 | 1094040.1624
59 | 2717014.0759 | 1094044.591
60 | 2717011.9412 | 1094053.3504
61 | 2717064.1934 | 1094044.2601
62 | 2717006.1165 | 1094137.2963
63 | 2716988.8638 | 1094142.2359
64 | 2717043.1985 | 1094074.191
65 | 2717016.3474 | 1094075.695
66 | 2716966.3419 | 1094156.9892
67 | 2716973.0358 | 1094159.1306
68 | 2716930.1424 | 1094164.6203
69 | 2717037.3735 | 1094158.5043
70 | 2717040.3182 | 1094158.3745
71 | 2716965.8304 | 1094103.2346
72 | 2716940.1004 | 1094092.8131
73 | 2716938.9176 | 1094244.5314
74 | 2716821.2651 | 1094097.115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97207 | -0.53964 | 0.0032017 | 0.00080243
1 | 0.97391 | -0.50334 | 0 | 0
2 | 0.97132 | -0.55449 | 0 | 0
3 | 0.97511 | -0.47975 | 0 | 0
4 | 0.97085 | -0.56373 | 0 | 0
5 | 0.97621 | -0.45819 | 0.012762 | 0.0031984
6 | 0.97077 | -0.56537 | 0.024203 | 0.0060658
7 | 0.97824 | -0.41853 | 0.0048021 | 0.0012035
8 | 0.97857 | -0.41208 | 0 | 0
9 | 0.97919 | -0.39988 | 0.00057684 | 0.00014457
10 | 0.97953 | -0.39331 | 0.027987 | 0.0070142
11 | 0.97988 | -0.38651 | 0.0010235 | 0.00025652
12 | 0.97287 | -0.52347 | 0.022469 | 0.0056313
13 | 0.97279 | -0.5251 | 0.012333 | 0.003091
14 | 0.97378 | -0.50551 | 0.0063116 | 0.0015818
15 | 0.97459 | -0.48943 | 0.0054769 | 0.0013726
16 | 0.97501 | -0.48131 | 0.013762 | 0.0034491
17 | 0.9759 | -0.46384 | 0.012121 | 0.0030378
18 | 0.97752 | -0.43202 | 0.00795 | 0.0019925
19 | 0.97914 | -0.40029 | 0.014295 | 0.0035827
20 | 0.97612 | -0.45964 | 0.0035623 | 0.0008928
21 | 0.977 | -0.44218 | 0.0060289 | 0.001511
22 | 0.97594 | -0.46317 | 0.0039637 | 0.0009934
23 | 0.97791 | -0.42443 | 0 | 0
24 | 0.9756 | -0.46977 | 0 | 0
25 | 0.97879 | -0.40713 | 0 | 0
26 | 0.97541 | -0.47359 | 0 | 0
27 | 0.97919 | -0.39925 | 0.0025948 | 0.00065032
28 | 0.9752 | -0.47767 | 0 | 0
29 | 0.97511 | -0.47945 | 0.0057163 | 0.0014326
30 | 0.97488 | -0.48407 | 0.0099026 | 0.0024818
31 | 0.97973 | -0.3888 | 0 | 0
32 | 0.98116 | -0.36079 | 0.012933 | 0.0032414
33 | 0.98303 | -0.32446 | 0 | 0
34 | 0.98576 | -0.27167 | 0 | 0
35 | 0.98515 | -0.28359 | 0.014309 | 0.0035862
36 | 0.98743 | -0.23943 | 0.024648 | 0.0061775
37 | 0.98493 | -0.28781 | 0.0066249 | 0.0016604
38 | 0.99004 | -0.18936 | 0 | 0
39 | 0.98739 | -0.24067 | 0 | 0
40 | 0.99355 | -0.12225 | 0 | 0
41 | 0.98533 | -0.2807 | 0 | 0
42 | 0.98611 | -0.26552 | 0.034235 | 0.0085801
43 | 0.98647 | -0.25815 | 0 | 0
44 | 1 | 0 | -0.59625 | -0.15314
45 | 0.98461 | -0.29482 | 0.015781 | 0.0039552
46 | 0.9812 | -0.3607 | 0 | 0
47 | 0.98196 | -0.34585 | 0.017688 | 0.0044331
48 | 0.97848 | -0.41377 | 0 | 0
49 | 0.98587 | -0.26986 | 0.016635 | 0.0041692
50 | 0.98422 | -0.30192 | 0 | 0
51 | 0.98431 | -0.30056 | 0.017148 | 0.0042976
52 | 0.9801 | -0.38213 | 0.002045 | 0.00051252
53 | 0.98013 | -0.38154 | 0.0024883 | 0.00062363
54 | 0.98007 | -0.38263 | 0.00076878 | 0.00019267
55 | 0.98015 | -0.38123 | 0.0046432 | 0.0011637
56 | 0.98007 | -0.3827 | 0 | 0
57 | 0.98023 | -0.37966 | 0 | 0
58 | 0.98006 | -0.38296 | 0 | 0
59 | 0.98017 | -0.38078 | 0.0020716 | 0.0005192
60 | 0.98041 | -0.37597 | 0 | 0
61 | 0.98005 | -0.38308 | 0.0012626 | 0.00031644
62 | 0.98219 | -0.34131 | 0 | 0
63 | 0.98251 | -0.33518 | 0.034614 | 0.0086751
64 | 0.98017 | -0.38081 | 0.0052801 | 0.0013233
65 | 0.9803 | -0.37824 | 0 | 0
66 | 0.98317 | -0.32232 | 0 | 0
67 | 0.98262 | -0.33308 | 0.043293 | 0.01085
68 | 0.98514 | -0.28407 | 0.02087 | 0.0052306
69 | 0.98014 | -0.38148 | 0.0075147 | 0.0018834
70 | 0.98005 | -0.3833 | 0.034045 | 0.0085324
71 | 0.97619 | -0.45876 | 0.017621 | 0.0044162
72 | 0.97666 | -0.44964 | 0.014233 | 0.0035671
73 | 0.98255 | -0.33465 | 0.032035 | 0.0080287
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027434 | -0.0068865 | 0.027482 | 0.0069161 | 4.7587e-05 | 2.9562e-05 | 0.042 | 0.041999 | 0.042 | 0.97207 | -0.53964 | 0.97391 | -0.50334 | 11.5383
1 | 0.024233 | 0.0060841 | -0.024215 | -0.0060735 | 1.7159e-05 | 1.057e-05 | 0.037098 | 0.037099 | 0.037099 | 0.97207 | -0.53964 | 0.97132 | -0.55449 | 10.1919
2 | -0.027482 | -0.0069161 | 0.027513 | 0.0069354 | 3.1015e-05 | 1.9266e-05 | 0.041999 | 0.041999 | 0.041999 | 0.97391 | -0.50334 | 0.97511 | -0.47975 | 11.5383
3 | 0.024215 | 0.0060735 | -0.024205 | -0.006067 | 1.0656e-05 | 6.5642e-06 | 0.037099 | 0.037099 | 0.037099 | 0.97132 | -0.55449 | 0.97085 | -0.56373 | 10.1919
4 | -0.027513 | -0.0069354 | 0.027541 | 0.006953 | 2.8413e-05 | 1.7648e-05 | 0.041999 | 0.041999 | 0.041999 | 0.97511 | -0.47975 | 0.97621 | -0.45819 | 11.5382
5 | 0.024205 | 0.006067 | -0.024203 | -0.0060658 | 1.8847e-06 | 1.1611e-06 | 0.037099 | 0.037099 | 0.037099 | 0.97085 | -0.56373 | 0.97077 | -0.56537 | 10.192
6 | -0.040303 | -0.010151 | 0.040379 | 0.010198 | 7.6604e-05 | 4.6315e-05 | 0.061451 | 0.06145 | 0.061451 | 0.97621 | -0.45819 | 0.97824 | -0.41853 | 8.4411
7 | -0.045182 | -0.011401 | 0.045196 | 0.011408 | 1.3949e-05 | 6.457e-06 | 0.068755 | 0.068754 | 0.068755 | 0.97824 | -0.41853 | 0.97857 | -0.41208 | 3.7777
8 | -0.045196 | -0.011408 | 0.045222 | 0.01142 | 2.6423e-05 | 1.2226e-05 | 0.068754 | 0.068752 | 0.068754 | 0.97857 | -0.41208 | 0.97919 | -0.39988 | 3.7777
9 | -0.045799 | -0.011564 | 0.045813 | 0.011571 | 1.4429e-05 | 6.7379e-06 | 0.069629 | 0.069628 | 0.069629 | 0.97919 | -0.39988 | 0.97953 | -0.39331 | 3.8258
10 | -0.0738 | -0.018585 | 0.073824 | 0.018599 | 2.4011e-05 | 1.3764e-05 | 0.11214 | 0.11214 | 0.11214 | 0.97953 | -0.39331 | 0.97988 | -0.38651 | 6.1617
11 | -0.074848 | -0.018856 | 0.074868 | 0.018867 | 2.0486e-05 | 1.178e-05 | 0.1137 | 0.1137 | 0.1137 | 0.97988 | -0.38651 | 0.98017 | -0.38078 | 6.2471
12 | 0.012334 | 0.0030915 | -0.012333 | -0.003091 | 9.5552e-07 | 5.2264e-07 | 0.018865 | 0.018865 | 0.018865 | 0.97287 | -0.52347 | 0.97279 | -0.5251 | 5.1828
13 | -0.034803 | -0.0087229 | 0.034833 | 0.0087416 | 2.9806e-05 | 1.8727e-05 | 0.053232 | 0.053232 | 0.053232 | 0.97287 | -0.52347 | 0.97378 | -0.50551 | 14.6243
14 | -0.041145 | -0.010323 | 0.041176 | 0.010343 | 3.1568e-05 | 1.9938e-05 | 0.062877 | 0.062877 | 0.062877 | 0.97378 | -0.50551 | 0.97459 | -0.48943 | 17.2739
15 | -0.046653 | -0.011716 | 0.046671 | 0.011727 | 1.8092e-05 | 1.146e-05 | 0.071239 | 0.071239 | 0.071239 | 0.97459 | -0.48943 | 0.97501 | -0.48131 | 19.5712
16 | -0.060434 | -0.015177 | 0.060484 | 0.015209 | 5.042e-05 | 3.2071e-05 | 0.092242 | 0.092242 | 0.092242 | 0.97501 | -0.48131 | 0.9759 | -0.46384 | 25.3412
17 | -0.072605 | -0.018246 | 0.072715 | 0.018317 | 0.00011047 | 7.0399e-05 | 0.11072 | 0.11072 | 0.11072 | 0.9759 | -0.46384 | 0.97752 | -0.43202 | 30.4186
18 | -0.080665 | -0.020309 | 0.080788 | 0.020387 | 0.00012256 | 7.8166e-05 | 0.12283 | 0.12283 | 0.12283 | 0.97752 | -0.43202 | 0.97914 | -0.40029 | 33.7433
19 | -0.095083 | -0.02397 | 0.095135 | 0.024004 | 5.231e-05 | 3.3394e-05 | 0.14455 | 0.14455 | 0.14455 | 0.97914 | -0.40029 | 0.97973 | -0.3888 | 39.7115
20 | -0.023162 | -0.0058108 | 0.023182 | 0.0058226 | 1.9291e-05 | 1.183e-05 | 0.035312 | 0.035311 | 0.035312 | 0.97612 | -0.45964 | 0.977 | -0.44218 | 9.701
21 | 0.0196 | 0.004918 | -0.019597 | -0.004916 | 3.2992e-06 | 1.9883e-06 | 0.029881 | 0.029881 | 0.029881 | 0.97612 | -0.45964 | 0.97594 | -0.46317 | 8.2091
22 | -0.029211 | -0.0073336 | 0.029235 | 0.007349 | 2.4758e-05 | 1.5427e-05 | 0.044494 | 0.044493 | 0.044494 | 0.977 | -0.44218 | 0.97791 | -0.42443 | 12.2235
23 | 0.015633 | 0.0039226 | -0.015628 | -0.0039197 | 4.9237e-06 | 2.8625e-06 | 0.023838 | 0.023838 | 0.023838 | 0.97594 | -0.46317 | 0.9756 | -0.46977 | 6.5488
24 | -0.029235 | -0.007349 | 0.02926 | 0.0073641 | 2.4175e-05 | 1.5063e-05 | 0.044493 | 0.044493 | 0.044493 | 0.97791 | -0.42443 | 0.97879 | -0.40713 | 12.2235
25 | 0.015628 | 0.0039197 | -0.015625 | -0.0039181 | 2.8445e-06 | 1.6538e-06 | 0.023838 | 0.023838 | 0.023838 | 0.9756 | -0.46977 | 0.97541 | -0.47359 | 6.5488
26 | -0.02926 | -0.0073641 | 0.029271 | 0.0073709 | 1.1017e-05 | 6.8641e-06 | 0.044493 | 0.044493 | 0.044493 | 0.97879 | -0.40713 | 0.97919 | -0.39925 | 12.2234
27 | 0.015625 | 0.0039181 | -0.015622 | -0.0039163 | 3.0336e-06 | 1.7638e-06 | 0.023838 | 0.023838 | 0.023838 | 0.97541 | -0.47359 | 0.9752 | -0.47767 | 6.5489
28 | -0.031865 | -0.0080213 | 0.031881 | 0.0080312 | 1.593e-05 | 9.9673e-06 | 0.048436 | 0.048436 | 0.048436 | 0.97919 | -0.39925 | 0.97973 | -0.3888 | 13.3067
29 | 0.015622 | 0.0039163 | -0.015621 | -0.0039155 | 1.3294e-06 | 7.73e-07 | 0.023838 | 0.023838 | 0.023838 | 0.9752 | -0.47767 | 0.97511 | -0.47945 | 6.5489
30 | 0.0099048 | 0.0024829 | -0.0099026 | -0.0024818 | 2.1784e-06 | 1.0771e-06 | 0.015115 | 0.015115 | 0.015115 | 0.97511 | -0.47945 | 0.97488 | -0.48407 | 4.1525
31 | -0.12702 | -0.032035 | 0.12719 | 0.032144 | 0.00017057 | 0.00010901 | 0.19299 | 0.19299 | 0.19299 | 0.97973 | -0.3888 | 0.98116 | -0.36079 | 53.0182
32 | -0.14012 | -0.035385 | 0.14037 | 0.035541 | 0.0002444 | 0.00015623 | 0.2126 | 0.2126 | 0.2126 | 0.98116 | -0.36079 | 0.98303 | -0.32446 | 58.4067
33 | -0.14037 | -0.035541 | 0.14072 | 0.035769 | 0.00035674 | 0.00022724 | 0.2126 | 0.2126 | 0.2126 | 0.98303 | -0.32446 | 0.98576 | -0.27167 | 29.2034
34 | 0.020947 | 0.0052542 | -0.020935 | -0.005247 | 1.1896e-05 | 7.2094e-06 | 0.031622 | 0.031622 | 0.031622 | 0.98576 | -0.27167 | 0.98515 | -0.28359 | 8.6873
35 | -0.16167 | -0.041023 | 0.16192 | 0.041182 | 0.00025113 | 0.00015944 | 0.24422 | 0.24422 | 0.24422 | 0.98576 | -0.27167 | 0.98743 | -0.23943 | 22.3646
36 | 0.0066263 | 0.0016608 | -0.0066249 | -0.0016604 | 1.3312e-06 | 4.0087e-07 | 0.010009 | 0.010009 | 0.010009 | 0.98515 | -0.28359 | 0.98493 | -0.28781 | 2.7497
37 | -0.18657 | -0.04736 | 0.18702 | 0.047643 | 0.00045061 | 0.00028352 | 0.28137 | 0.28136 | 0.28137 | 0.98743 | -0.23943 | 0.99004 | -0.18936 | 15.4596
38 | 0.06746 | 0.01702 | -0.067295 | -0.016914 | 0.0001653 | 0.00010524 | 0.10143 | 0.10143 | 0.10143 | 0.99004 | -0.18936 | 0.98739 | -0.24067 | 27.8658
39 | -0.25448 | -0.064663 | 0.2553 | 0.065186 | 0.00082506 | 0.0005232 | 0.38279 | 0.38279 | 0.38279 | 0.99004 | -0.18936 | 0.99355 | -0.12225 | 21.0327
40 | 0.033019 | 0.0083089 | -0.032956 | -0.0082694 | 6.3035e-05 | 3.9476e-05 | 0.049772 | 0.049772 | 0.049772 | 0.98739 | -0.24067 | 0.98533 | -0.2807 | 13.6737
41 | 0.034276 | 0.0086056 | -0.034235 | -0.0085801 | 4.0587e-05 | 2.5458e-05 | 0.05166 | 0.05166 | 0.05166 | 0.98739 | -0.24067 | 0.98611 | -0.26552 | 14.1922
42 | 0.33578 | 0.085708 | -0.33359 | -0.084315 | 0.0021891 | 0.0013936 | 0.50344 | 0.50344 | 0.50344 | 0.99355 | -0.12225 | 0.98647 | -0.25815 | 27.6618
43 | -0.59108 | -0.15089 | 0.5946 | 0.15314 | 0.0035146 | 0.0022455 | 0.88623 | 0.88623 | 0.88623 | 0.99355 | -0.12225 | 1 | 0 | 48.6942
44 | 0.032956 | 0.0082694 | -0.032934 | -0.0082555 | 2.2181e-05 | 1.3892e-05 | 0.049772 | 0.049772 | 0.049772 | 0.98533 | -0.2807 | 0.98461 | -0.29482 | 13.6737
45 | 0.30144 | 0.076213 | -0.30127 | -0.076105 | 0.00016919 | 0.00010758 | 0.45493 | 0.45493 | 0.45493 | 0.98647 | -0.25815 | 0.98587 | -0.26986 | 24.9962
46 | 0.032152 | 0.0081021 | -0.032085 | -0.00806 | 6.7174e-05 | 4.2022e-05 | 0.048515 | 0.048515 | 0.048515 | 0.98647 | -0.25815 | 0.98422 | -0.30192 | 13.3283
47 | 0.017152 | 0.0043004 | -0.017148 | -0.0042976 | 4.685e-06 | 2.762e-06 | 0.025923 | 0.025923 | 0.025923 | 0.98461 | -0.29482 | 0.98431 | -0.30056 | 7.1216
48 | -0.031997 | -0.0080727 | 0.03202 | 0.008087 | 2.2768e-05 | 1.4246e-05 | 0.048544 | 0.048544 | 0.048544 | 0.9812 | -0.3607 | 0.98196 | -0.34585 | 13.3362
49 | 0.031997 | 0.0080727 | -0.031916 | -0.008022 | 8.1092e-05 | 5.0743e-05 | 0.048544 | 0.048544 | 0.048544 | 0.9812 | -0.3607 | 0.97848 | -0.41377 | 13.3363
50 | -0.049708 | -0.01252 | 0.049764 | 0.012556 | 5.6e-05 | 3.5507e-05 | 0.075348 | 0.075348 | 0.075348 | 0.98196 | -0.34585 | 0.98317 | -0.32232 | 20.6999
51 | 0.031916 | 0.008022 | -0.031861 | -0.0079878 | 5.4553e-05 | 3.414e-05 | 0.048544 | 0.048544 | 0.048544 | 0.97848 | -0.41377 | 0.97666 | -0.44964 | 13.3364
52 | 0.28463 | 0.071936 | -0.28444 | -0.071813 | 0.00019381 | 0.00012315 | 0.42982 | 0.42982 | 0.42982 | 0.98587 | -0.26986 | 0.98514 | -0.28407 | 23.6166
53 | 0.032085 | 0.00806 | -0.032035 | -0.0080287 | 5.0042e-05 | 3.1307e-05 | 0.048515 | 0.048515 | 0.048515 | 0.98422 | -0.30192 | 0.98255 | -0.33465 | 13.3284
54 | -0.0040765 | -0.0010213 | 0.0040766 | 0.0010212 | 1.1637e-07 | -2.7631e-08 | 0.0061889 | 0.0061888 | 0.0061889 | 0.9801 | -0.38213 | 0.98013 | -0.38154 | 1.7002
55 | 0.0020315 | 0.00050875 | -0.0020314 | -0.00050889 | 4.8094e-08 | -1.3914e-07 | 0.0030841 | 0.0030842 | 0.0030842 | 0.9801 | -0.38213 | 0.98007 | -0.38263 | 0.8473
56 | -0.0065649 | -0.0016449 | 0.006565 | 0.0016449 | 9.6656e-08 | 2.9156e-08 | 0.0099665 | 0.0099665 | 0.0099665 | 0.98013 | -0.38154 | 0.98015 | -0.38123 | 2.7381
57 | 0.0012626 | 0.00031621 | -0.0012626 | -0.00031625 | 4.3721e-09 | -3.7183e-08 | 0.0019169 | 0.001917 | 0.001917 | 0.98007 | -0.38263 | 0.98007 | -0.3827 | 0.52664
58 | -0.011208 | -0.0028086 | 0.011209 | 0.002809 | 8.3707e-07 | 4.3855e-07 | 0.017016 | 0.017016 | 0.017016 | 0.98015 | -0.38123 | 0.98023 | -0.37966 | 4.6746
59 | 0.0012626 | 0.00031625 | -0.0012626 | -0.00031638 | 1.5567e-08 | -1.3238e-07 | 0.001917 | 0.001917 | 0.001917 | 0.98007 | -0.3827 | 0.98006 | -0.38296 | 0.52665
60 | 0.076944 | 0.019389 | -0.07694 | -0.019387 | 4.1466e-06 | 2.3986e-06 | 0.11684 | 0.11684 | 0.11684 | 0.98023 | -0.37966 | 0.98017 | -0.38078 | 6.4199
61 | -0.088153 | -0.022198 | 0.088168 | 0.022207 | 1.5543e-05 | 9.2181e-06 | 0.13386 | 0.13386 | 0.13386 | 0.98023 | -0.37966 | 0.98041 | -0.37597 | 7.3548
62 | 0.0012626 | 0.00031638 | -0.0012626 | -0.00031644 | 7.1919e-09 | -6.1158e-08 | 0.001917 | 0.001917 | 0.001917 | 0.98006 | -0.38296 | 0.98005 | -0.38308 | 0.52666
63 | -0.09345 | -0.023531 | 0.093605 | 0.023624 | 0.00015513 | 9.279e-05 | 0.14187 | 0.14187 | 0.14187 | 0.98041 | -0.37597 | 0.98219 | -0.34131 | 7.7952
64 | 0.0052814 | 0.0013235 | -0.0052808 | -0.0013234 | 5.6959e-07 | 6.6464e-08 | 0.0080157 | 0.0080158 | 0.0080158 | 0.98041 | -0.37597 | 0.9803 | -0.37824 | 2.2021
65 | -0.093605 | -0.023624 | 0.093632 | 0.02364 | 2.7479e-05 | 1.6434e-05 | 0.14187 | 0.14187 | 0.14187 | 0.98219 | -0.34131 | 0.98251 | -0.33518 | 7.795
66 | -0.12825 | -0.032315 | 0.12833 | 0.032364 | 7.8948e-05 | 4.876e-05 | 0.19429 | 0.19429 | 0.19429 | 0.98251 | -0.33518 | 0.98317 | -0.32232 | 10.6754
67 | -0.0052801 | -0.0013233 | 0.0052808 | 0.0013234 | 6.48e-07 | 7.5707e-08 | 0.0080159 | 0.0080158 | 0.0080159 | 0.98017 | -0.38081 | 0.9803 | -0.37824 | 2.2022
68 | 0.084996 | 0.021356 | -0.084952 | -0.021329 | 4.3627e-05 | 2.7832e-05 | 0.12866 | 0.12866 | 0.12866 | 0.98317 | -0.32232 | 0.98262 | -0.33308 | 35.346
69 | -0.26309 | -0.066276 | 0.26357 | 0.066582 | 0.00048229 | 0.00030609 | 0.3983 | 0.3983 | 0.3983 | 0.98317 | -0.32232 | 0.98514 | -0.28407 | 21.8846
70 | 0.041658 | 0.010478 | -0.041562 | -0.010418 | 9.607e-05 | 6.0672e-05 | 0.063099 | 0.063099 | 0.063099 | 0.98262 | -0.33308 | 0.98014 | -0.38148 | 17.3348
71 | 0.034048 | 0.0085343 | -0.034045 | -0.0085324 | 2.9534e-06 | 1.853e-06 | 0.05169 | 0.05169 | 0.05169 | 0.98014 | -0.38148 | 0.98005 | -0.3833 | 14.2006
72 | -0.017621 | -0.0044162 | 0.017628 | 0.0044207 | 7.6637e-06 | 4.5504e-06 | 0.026859 | 0.026859 | 0.026859 | 0.97619 | -0.45876 | 0.97666 | -0.44964 | 7.3789

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60407 | 0.1551

## res_load
| p_mw | q_mvar
0 | 0.0032017 | 0.00080243
1 | 0.012762 | 0.0031984
2 | 0.024203 | 0.0060658
3 | 0.0048021 | 0.0012035
4 | 0.00057684 | 0.00014457
5 | 0.027987 | 0.0070142
6 | 0.0010235 | 0.00025652
7 | 0.022469 | 0.0056313
8 | 0.012333 | 0.003091
9 | 0.0063116 | 0.0015818
10 | 0.0054769 | 0.0013726
11 | 0.013762 | 0.0034491
12 | 0.012121 | 0.0030378
13 | 0.00795 | 0.0019925
14 | 0.014295 | 0.0035827
15 | 0.0035623 | 0.0008928
16 | 0.0060289 | 0.001511
17 | 0.0039637 | 0.0009934
18 | 0.0025948 | 0.00065032
19 | 0.0057163 | 0.0014326
20 | 0.0099026 | 0.0024818
21 | 0.012933 | 0.0032414
22 | 0.014309 | 0.0035862
23 | 0.024648 | 0.0061775
24 | 0.0066249 | 0.0016604
25 | 0.034235 | 0.0085801
26 | 0.0078262 | 0.0019614
27 | 0.015781 | 0.0039552
28 | 0.017688 | 0.0044331
29 | 0.016635 | 0.0041692
30 | 0.017148 | 0.0042976
31 | 0.002045 | 0.00051252
32 | 0.0024883 | 0.00062363
33 | 0.00076878 | 0.00019267
34 | 0.0046432 | 0.0011637
35 | 0.0020716 | 0.0005192
36 | 0.0012626 | 0.00031644
37 | 0.034614 | 0.0086751
38 | 0.0052801 | 0.0013233
39 | 0.043293 | 0.01085
40 | 0.02087 | 0.0052306
41 | 0.0075147 | 0.0018834
42 | 0.034045 | 0.0085324
43 | 0.017621 | 0.0044162
44 | 0.014233 | 0.0035671
45 | 0.032035 | 0.0080287

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1