## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5216-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5216-1_0_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_5216-1_0_4_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_5216-1_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_5216-1_0_4_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_5216-1_0_4_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_5216-1_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_5216-1_0_4_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_5216-1_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5216-1_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_5216-1_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_5216-1_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_5216-1_0_4_node_2 | 0.4 | n |  | TRUE
13 | bus_LV_5216-1_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5216-1_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5216-1_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_5216-1_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5216-1_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5216-1_0_4_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_5216-1_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_5216-1_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5216-1_0_4_node_3 | 0.4 | n |  | TRUE
22 | bus_LV_5216-1_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_5216-1_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_5216-1_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5216-1_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5216-1_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_5216-1_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5216-1_0_4_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_5216-1_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_5216-1_0_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_5216-1_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_5216-1_0_4_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_5216-1_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5216-1_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5216-1_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5216-1_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_5216-1_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_5216-1_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_5216-1_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_5216-1_0_4_node_9 | 0.4 | n |  | TRUE
41 | bus_LV_5216-1_0_4_node_6 | 0.4 | n |  | TRUE
42 | bus_LV_5216-1_0_4_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_5216-1_0_4_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5216-1_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5216-1_0_4_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_5216-1_0_4_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_5216-1_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_5216-1_0_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5216-1_0_4_node_8 | 0.4 | n |  | TRUE
50 | bus_LV_5216-1_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5216-1_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_5216-1_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5216-1_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5216-1_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_5216-1_0_4_node_10 | 0.4 | n |  | TRUE
56 | bus_LV_5216-1_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5216-1_0_4_node_13 | 0.4 | n |  | TRUE
58 | bus_LV_5216-1_0_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_5216-1_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5216-1_0_4_node_11 | 0.4 | n |  | TRUE
61 | bus_LV_5216-1_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5216-1_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_5216-1_0_4_node_14 | 0.4 | n |  | TRUE
64 | bus_LV_5216-1_0_4_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_5216-1_0_4_node_17 | 0.4 | n |  | TRUE
66 | bus_LV_5216-1_0_4_node_32 | 0.4 | n |  | TRUE
67 | bus_LV_5216-1_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_5216-1_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_5216-1_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5216-1_0_4_node_18 | 0.4 | n |  | TRUE
71 | bus_LV_5216-1_0_4_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_5216-1_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_5216-1_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5216-1_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5216-1_0_4_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_5216-1_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5216-1_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_5216-1_0_4_node_31 | 0.4 | n |  | TRUE
79 | bus_LV_5216-1_0_4_node_40 | 0.4 | n |  | TRUE
80 | bus_LV_5216-1_0_4_node_25 | 0.4 | n |  | TRUE
81 | bus_MV_246_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5216-1_0_4_load_0 | 0 | 0.00098925 | 0.00024793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5216-1_0_4_load_5 | 1 | 0.006818 | 0.0017087 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5216-1_0_4_load_62 | 2 | 0.0053913 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5216-1_0_4_load_22 | 3 | 0.0057602 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5216-1_0_4_load_1 | 4 | 0.0027461 | 0.00068823 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5216-1_0_4_load_30 | 6 | 0.0028254 | 0.00070811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5216-1_0_4_load_70 | 7 | 0.0043112 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5216-1_0_4_load_4 | 8 | 0.0028564 | 0.00071587 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5216-1_0_4_load_51 | 9 | 0.011599 | 0.0029071 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5216-1_0_4_load_61 | 10 | 0.0059271 | 0.0014855 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5216-1_0_4_load_29 | 11 | 0.0096815 | 0.0024264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5216-1_0_4_load_26 | 13 | 0.00049453 | 0.00012394 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5216-1_0_4_load_7 | 14 | 0.0018853 | 0.0004725 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5216-1_0_4_load_34 | 16 | 0.0047561 | 0.001192 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5216-1_0_4_load_23 | 17 | 0.0013709 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5216-1_0_4_load_76 | 18 | 0.0031585 | 0.0007916 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5216-1_0_4_load_74 | 19 | 0.0036896 | 0.00092469 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5216-1_0_4_load_3 | 21 | 0.0049443 | 0.0012392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5216-1_0_4_load_39 | 24 | 0.0057765 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5216-1_0_4_load_21 | 25 | 0.0032494 | 0.00081438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5216-1_0_4_load_52 | 26 | 0.0018008 | 0.00045132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5216-1_0_4_load_64 | 28 | 0.0017261 | 0.0004326 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5216-1_0_4_load_73 | 29 | 0.00092937 | 0.00023292 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5216-1_0_4_load_77 | 30 | 0.011973 | 0.0030008 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5216-1_0_4_load_63 | 31 | 0.0018709 | 0.00046888 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5216-1_0_4_load_81 | 32 | 0.010398 | 0.0026059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5216-1_0_4_load_28 | 33 | 0.002768 | 0.00069372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5216-1_0_4_load_24 | 34 | 0.012136 | 0.0030417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5216-1_0_4_load_38 | 35 | 0.001442 | 0.00036141 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5216-1_0_4_load_36 | 36 | 0.0016097 | 0.00040343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5216-1_0_4_load_55 | 37 | 0.0020139 | 0.00050474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5216-1_0_4_load_50 | 38 | 0.0036754 | 0.00092114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5216-1_0_4_load_49 | 39 | 0.0031452 | 0.00078827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5216-1_0_4_load_9 | 40 | 0.0023971 | 0.00060077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5216-1_0_4_load_6 | 41 | 0.0037502 | 0.00093989 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5216-1_0_4_load_15 | 42 | 0.0047557 | 0.0011919 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5216-1_0_4_load_20 | 43 | 0.0023637 | 0.00059241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5216-1_0_4_load_33 | 44 | 0.010335 | 0.0025901 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5216-1_0_4_load_65 | 45 | 0.0059964 | 0.0015028 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5216-1_0_4_load_19 | 46 | 0.0055788 | 0.0013982 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5216-1_0_4_load_67 | 47 | 0.0076686 | 0.0019219 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5216-1_0_4_load_78 | 48 | 0.0050435 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5216-1_0_4_load_8 | 49 | 0.0013112 | 0.00032862 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5216-1_0_4_load_43 | 50 | 0.0024927 | 0.00062472 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5216-1_0_4_load_59 | 51 | 0.0039094 | 0.00097979 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5216-1_0_4_load_54 | 53 | 0.0028902 | 0.00072435 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5216-1_0_4_load_27 | 54 | 0.0038946 | 0.00097608 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5216-1_0_4_load_10 | 55 | 0.0022511 | 0.00056417 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5216-1_0_4_load_41 | 56 | 0.0030815 | 0.0007723 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5216-1_0_4_load_13 | 57 | 0.0026691 | 0.00066893 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5216-1_0_4_load_80 | 58 | 0.0020845 | 0.00052243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5216-1_0_4_load_47 | 59 | 0.0042616 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5216-1_0_4_load_11 | 60 | 0.0079518 | 0.0019929 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5216-1_0_4_load_14 | 63 | 0.0081578 | 0.0020445 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5216-1_0_4_load_37 | 64 | 0.0017679 | 0.00044309 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5216-1_0_4_load_17 | 65 | 0.011506 | 0.0028837 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5216-1_0_4_load_32 | 66 | 0.014334 | 0.0035923 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5216-1_0_4_load_69 | 69 | 0.0075938 | 0.0019032 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5216-1_0_4_load_18 | 70 | 0.080298 | 0.020125 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5216-1_0_4_load_35 | 71 | 0.0020727 | 0.00051946 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5216-1_0_4_load_53 | 72 | 0.0043966 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5216-1_0_4_load_56 | 73 | 0.0027418 | 0.00068715 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5216-1_0_4_load_68 | 74 | 0.00053753 | 0.00013472 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5216-1_0_4_load_46 | 75 | 0.0010379 | 0.00026013 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5216-1_0_4_load_58 | 76 | 0.003298 | 0.00082657 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5216-1_0_4_load_72 | 77 | 0.001342 | 0.00033633 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5216-1_0_4_load_31 | 78 | 0.00051838 | 0.00012992 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5216-1_0_4_load_40 | 79 | 0.00051706 | 0.00012959 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5216-1_0_4_load_25 | 80 | 0.0044101 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5216-1_0_4_line_0 |  | 0 | 1 | 0.027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5216-1_0_4_line_1 |  | 0 | 2 | 0.021573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5216-1_0_4_line_2 |  | 1 | 3 | 0.020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5216-1_0_4_line_3 |  | 3 | 40 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5216-1_0_4_line_4 |  | 4 | 5 | 0.006116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5216-1_0_4_line_5 |  | 4 | 6 | 0.0519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5216-1_0_4_line_6 |  | 4 | 7 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5216-1_0_4_line_7 |  | 5 | 8 | 0.029039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5216-1_0_4_line_8 |  | 5 | 9 | 0.03186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5216-1_0_4_line_9 |  | 6 | 10 | 0.0044797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5216-1_0_4_line_10 |  | 7 | 11 | 0.019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5216-1_0_4_line_11 |  | 8 | 38 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5216-1_0_4_line_12 |  | 10 | 70 | 0.004472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5216-1_0_4_line_13 |  | 12 | 13 | 0.073929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5216-1_0_4_line_14 |  | 12 | 14 | 0.052675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5216-1_0_4_line_15 |  | 12 | 15 | 0.094947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5216-1_0_4_line_16 |  | 13 | 16 | 0.097381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5216-1_0_4_line_17 |  | 13 | 17 | 0.0028787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5216-1_0_4_line_18 |  | 14 | 18 | 0.15503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5216-1_0_4_line_19 |  | 15 | 19 | 0.018172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5216-1_0_4_line_20 |  | 15 | 20 | 0.068681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5216-1_0_4_line_21 |  | 16 | 48 | 0.056466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5216-1_0_4_line_22 |  | 17 | 77 | 0.042271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5216-1_0_4_line_23 |  | 18 | 47 | 0.0030163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5216-1_0_4_line_24 |  | 18 | 45 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5216-1_0_4_line_25 |  | 19 | 50 | 0.11324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5216-1_0_4_line_26 |  | 20 | 61 | 0.051012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5216-1_0_4_line_27 |  | 20 | 63 | 0.003341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5216-1_0_4_line_28 |  | 21 | 22 | 0.064164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5216-1_0_4_line_29 |  | 22 | 23 | 0.0434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5216-1_0_4_line_30 |  | 22 | 24 | 0.091232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5216-1_0_4_line_31 |  | 23 | 52 | 0.028067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5216-1_0_4_line_32 |  | 23 | 80 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5216-1_0_4_line_33 |  | 25 | 26 | 0.00012534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5216-1_0_4_line_34 |  | 25 | 27 | 0.035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5216-1_0_4_line_35 |  | 26 | 28 | 0.0078603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5216-1_0_4_line_36 |  | 27 | 29 | 0.042512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5216-1_0_4_line_37 |  | 28 | 30 | 0.028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5216-1_0_4_line_38 |  | 29 | 31 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5216-1_0_4_line_39 |  | 30 | 32 | 0.041488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5216-1_0_4_line_40 |  | 31 | 33 | 0.0076412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5216-1_0_4_line_41 |  | 32 | 34 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5216-1_0_4_line_42 |  | 33 | 35 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5216-1_0_4_line_43 |  | 34 | 79 | 0.0066947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5216-1_0_4_line_44 |  | 35 | 36 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5216-1_0_4_line_45 |  | 36 | 37 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5216-1_0_4_line_46 |  | 38 | 39 | 0.029498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5216-1_0_4_line_47 |  | 39 | 41 | 0.0020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5216-1_0_4_line_48 |  | 40 | 53 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5216-1_0_4_line_49 |  | 41 | 42 | 0.0054341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5216-1_0_4_line_50 |  | 42 | 43 | 0.0316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5216-1_0_4_line_51 |  | 43 | 64 | 0.071527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5216-1_0_4_line_52 |  | 44 | 45 | 0.03125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5216-1_0_4_line_53 |  | 44 | 46 | 0.0049507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5216-1_0_4_line_54 |  | 46 | 72 | 0.037641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5216-1_0_4_line_55 |  | 49 | 50 | 0.070917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5216-1_0_4_line_56 |  | 49 | 51 | 0.0051759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5216-1_0_4_line_57 |  | 51 | 52 | 0.0046266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5216-1_0_4_line_58 |  | 52 | 64 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5216-1_0_4_line_59 |  | 53 | 54 | 0.02457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5216-1_0_4_line_60 |  | 54 | 80 | 0.0090181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5216-1_0_4_line_61 |  | 55 | 56 | 0.004041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5216-1_0_4_line_62 |  | 55 | 57 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5216-1_0_4_line_63 |  | 57 | 58 | 0.18406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5216-1_0_4_line_64 |  | 58 | 59 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5216-1_0_4_line_65 |  | 59 | 68 | 0.095357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5216-1_0_4_line_66 |  | 60 | 61 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5216-1_0_4_line_67 |  | 61 | 62 | 0.019822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5216-1_0_4_line_68 |  | 62 | 69 | 0.0064875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5216-1_0_4_line_69 |  | 65 | 66 | 0.04819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5216-1_0_4_line_70 |  | 65 | 67 | 0.053318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5216-1_0_4_line_71 |  | 67 | 68 | 0.10684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5216-1_0_4_line_72 |  | 67 | 69 | 0.040113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5216-1_0_4_line_73 |  | 68 | 76 | 0.079841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5216-1_0_4_line_74 |  | 70 | 71 | 0.29617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5216-1_0_4_line_75 |  | 73 | 74 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5216-1_0_4_line_76 |  | 73 | 75 | 0.033014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5216-1_0_4_line_77 |  | 74 | 79 | 0.050653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5216-1_0_4_line_78 |  | 75 | 78 | 0.0065407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5216-1_0_4_line_79 |  | 77 | 78 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5216-1_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 81 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2710796.0627 | 1092690.336 | 2710797.2754 | 1092691.9429 | 2710799.7112 | 1092695.6787 | 2710811.1531 | 1092713.2321
1 | 2710796.0627 | 1092690.336 | 2710783.0679 | 1092673.1159
2 | 2710811.1531 | 1092713.2321 | 2710817.6591 | 1092723.213 | 2710821.4918 | 1092731.3487
3 | 2710826.0211 | 1092740.9631 | 2710821.4918 | 1092731.3487
4 | 2710804.8144 | 1092804.4226 | 2710803.8159 | 1092798.3892
5 | 2710803.8159 | 1092798.3892 | 2710778.8696 | 1092778.01 | 2710760.0993 | 1092783.9509
6 | 2710803.8159 | 1092798.3892 | 2710794.8682 | 1092784.7414
7 | 2710804.8144 | 1092804.4226 | 2710809.5511 | 1092833.073
8 | 2710804.8144 | 1092804.4226 | 2710795.722 | 1092803.9678 | 2710787.5727 | 1092806.2097 | 2710781.2496 | 1092810.7532 | 2710778.4357 | 1092816.706
9 | 2710755.8285 | 1092785.3026 | 2710760.0993 | 1092783.9509
10 | 2710784.206 | 1092768.4786 | 2710794.8682 | 1092784.7414
11 | 2710812.621 | 1092845.9675 | 2710810.1208 | 1092836.5186 | 2710809.5511 | 1092833.073
12 | 2710751.5649 | 1092786.652 | 2710755.8285 | 1092785.3026
13 | 2711102.0975 | 1092922.858 | 2711103.4002 | 1092917.3225 | 2711102.6617 | 1092902.588 | 2711096.8724 | 1092860.9542 | 2711096.316 | 1092851.9491 | 2711096.5624 | 1092849.5289
14 | 2711102.0975 | 1092922.858 | 2711109.4011 | 1092917.6879 | 2711117.305 | 1092905.1238 | 2711123.1025 | 1092889.0523 | 2711128.9417 | 1092878.7631
15 | 2711016.7282 | 1092964.4163 | 2711102.0975 | 1092922.858
16 | 2711000.7898 | 1092867.1559 | 2711096.5624 | 1092849.5289
17 | 2711096.5624 | 1092849.5289 | 2711096.8539 | 1092846.665
18 | 2711128.9417 | 1092878.7631 | 2711283.9737 | 1092879.2277
19 | 2711016.7282 | 1092964.4163 | 2711010.8283 | 1092954.7021 | 2711008.7136 | 1092948.2325
20 | 2711016.7282 | 1092964.4163 | 2711016.5682 | 1092970.2061 | 2711018.5675 | 1092977.0361 | 2711030.7284 | 1092999.6066 | 2711034.05 | 1093008.7289 | 2711045.2256 | 1093024.9772 | 2711044.6977 | 1093025.4457
21 | 2711000.7898 | 1092867.1559 | 2710996.6943 | 1092854.232 | 2710992.1334 | 1092839.9503 | 2710983.9963 | 1092827.9382 | 2710973.8184 | 1092819.2097
22 | 2711105.6758 | 1092805.3859 | 2711104.7345 | 1092808.2623 | 2711102.0054 | 1092820.5874 | 2711097.5349 | 1092839.9744 | 2711096.8539 | 1092846.665
23 | 2711283.9737 | 1092879.2277 | 2711283.9683 | 1092882.244
24 | 2711283.9737 | 1092879.2277 | 2711284.0107 | 1092858.5325
25 | 2711008.7136 | 1092948.2325 | 2711003.4574 | 1092932.1524 | 2710996.0059 | 1092919.1076 | 2710977.3273 | 1092898.553 | 2710972.8817 | 1092893.2461 | 2710968.0585 | 1092887.3875 | 2710949.7845 | 1092868.8639 | 2710940.7547 | 1092859.5234
26 | 2711023.0696 | 1093018.2905 | 2711028.6973 | 1093021.2619 | 2711034.8945 | 1093026.5786 | 2711032.8874 | 1093022.3057 | 2711029.0392 | 1093017.3989 | 2711027.8586 | 1093013.7082 | 2711029.1822 | 1093013.3877 | 2711031.9909 | 1093014.5175 | 2711042.5903 | 1093024.5399 | 2711044.2646 | 1093025.8158 | 2711044.6977 | 1093025.4457
27 | 2711044.6977 | 1093025.4457 | 2711047.3185 | 1093027.5282
28 | 2710928.6484 | 1092736.5782 | 2710906.9831 | 1092750.9484 | 2710878.4784 | 1092776.4905
29 | 2710851.3199 | 1092809.8402 | 2710874.0806 | 1092785.5497 | 2710877.5089 | 1092779.9195 | 2710878.4784 | 1092776.4905
30 | 2710878.4784 | 1092776.4905 | 2710875.9216 | 1092770.0395 | 2710844.4097 | 1092691.8348
31 | 2710869.361 | 1092831.3834 | 2710862.9827 | 1092823.6509 | 2710851.3199 | 1092809.8402
32 | 2710851.3199 | 1092809.8402 | 2710844.8646 | 1092799.1042
33 | 2711116.4709 | 1092600.124 | 2711116.3822 | 1092600.2126
34 | 2711142.3553 | 1092576.2821 | 2711126.2922 | 1092590.3092 | 2711116.4709 | 1092600.124
35 | 2711117.2734 | 1092608.0222 | 2711116.3822 | 1092600.2126 | 2711116.3822 | 1092600.2126
36 | 2711142.3553 | 1092576.2821 | 2711111.5846 | 1092546.9486
37 | 2711117.2734 | 1092608.0222 | 2711117.6651 | 1092611.4547 | 2711121.3492 | 1092636.0195
38 | 2711111.5846 | 1092546.9486 | 2711103.9899 | 1092539.7086
39 | 2711138.5313 | 1092673.3993 | 2711134.7292 | 1092663.9463 | 2711122.2533 | 1092642.0481 | 2711121.3492 | 1092636.0195
40 | 2711103.9899 | 1092539.7086 | 2711098.4591 | 1092534.4362
41 | 2711138.5313 | 1092673.3993 | 2711142.9377 | 1092684.3545 | 2711142.9377 | 1092684.3545
42 | 2711086.9293 | 1092523.445 | 2711098.4591 | 1092534.4362
43 | 2711142.9377 | 1092684.3545 | 2711140.6988 | 1092690.6637
44 | 2711086.9293 | 1092523.445 | 2711076.1396 | 1092513.1593
45 | 2711076.1396 | 1092513.1593 | 2711068.7104 | 1092506.077
46 | 2710820.1666 | 1092874.4842 | 2710812.621 | 1092845.9675
47 | 2710820.1666 | 1092874.4842 | 2710820.6853 | 1092876.4442
48 | 2710826.0211 | 1092740.9631 | 2710828.3314 | 1092745.8671 | 2710834.903 | 1092767.0276
49 | 2710822.0753 | 1092881.6975 | 2710820.6853 | 1092876.4442
50 | 2710830.1585 | 1092912.2457 | 2710822.0753 | 1092881.6975
51 | 2710830.1585 | 1092912.2457 | 2710849.6126 | 1092865.6355 | 2710859.8925 | 1092847.3005
52 | 2711288.5461 | 1092827.8007 | 2711286.5144 | 1092834.2026 | 2711284.1949 | 1092847.4247 | 2711284.0128 | 1092857.3725 | 2711284.0107 | 1092858.5325
53 | 2711288.5461 | 1092827.8007 | 2711290.0436 | 1092823.0819
54 | 2711324.0086 | 1092822.4363 | 2711316.9565 | 1092821.4733 | 2711307.1907 | 1092818.0033 | 2711299.3243 | 1092815.7912 | 2711295.1328 | 1092817.7826 | 2711290.0436 | 1092823.0819
55 | 2710878.532 | 1092834.8235 | 2710889.8248 | 1092839.94 | 2710902.7196 | 1092845.7012 | 2710909.9437 | 1092846.1554 | 2710919.9984 | 1092844.4265 | 2710925.9557 | 1092844.6352 | 2710933.503 | 1092852.0223 | 2710940.7547 | 1092859.5234
56 | 2710878.532 | 1092834.8235 | 2710876.2473 | 1092833.7884 | 2710873.7289 | 1092832.9088
57 | 2710869.361 | 1092831.3834 | 2710873.7289 | 1092832.9088
58 | 2710869.361 | 1092831.3834 | 2710867.1374 | 1092835.1455 | 2710862.0158 | 1092843.5133 | 2710859.8925 | 1092847.3005
59 | 2710842.1899 | 1092790.4918 | 2710834.903 | 1092767.0276
60 | 2710842.1899 | 1092790.4918 | 2710844.8646 | 1092799.1042
61 | 2710689.2332 | 1093165.4669 | 2710689.8725 | 1093169.4569
62 | 2710692.2393 | 1093184.2283 | 2710689.8725 | 1093169.4569
63 | 2710875.7625 | 1093170.1837 | 2710692.2393 | 1093184.2283
64 | 2710887.0257 | 1093153.7807 | 2710875.7625 | 1093170.1837
65 | 2710943.5199 | 1093077.0453 | 2710937.4228 | 1093086.6295 | 2710903.3144 | 1093130.0589 | 2710887.0257 | 1093153.7807
66 | 2711023.0696 | 1093018.2905 | 2711017.4666 | 1093016.9429 | 2711013.7997 | 1093017.3874 | 2711008.2173 | 1093008.9462
67 | 2711023.0696 | 1093018.2905 | 2711007.0196 | 1093029.9832
68 | 2711007.0196 | 1093029.9832 | 2711009.6706 | 1093033.3783 | 2711010.8753 | 1093035.1953
69 | 2711051.9585 | 1093058.6784 | 2711053.4541 | 1093062.5194 | 2711051.9337 | 1093070.6415 | 2711049.5514 | 1093079.2705 | 2711040.2366 | 1093090.5859 | 2711028.3955 | 1093093.511
70 | 2711023.8976 | 1093070.9967 | 2711025.7776 | 1093069.4966 | 2711031.6791 | 1093071.906 | 2711036.9828 | 1093063.7529 | 2711036.8037 | 1093071.01 | 2711040.369 | 1093065.5159 | 2711044.0518 | 1093068.4406 | 2711047.428 | 1093069.4807 | 2711047.3427 | 1093063.1193 | 2711051.9585 | 1093058.6784
71 | 2710943.5199 | 1093077.0453 | 2710959.563 | 1093086.9557 | 2710971.809 | 1093096.3744 | 2710979.3964 | 1093101.116 | 2710986.4461 | 1093105.1696 | 2710986.1979 | 1093100.0838 | 2710990.8339 | 1093095.3764 | 2710995.425 | 1093088.8891 | 2711003.915 | 1093081.1388 | 2711011.486 | 1093075.3175 | 2711018.2012 | 1093071.7932 | 2711020.4759 | 1093073.7249 | 2711022.1987 | 1093072.3443 | 2711023.8976 | 1093070.9967
72 | 2711023.8976 | 1093070.9967 | 2711025.6253 | 1093059.1647 | 2711017.2521 | 1093044.8133 | 2711010.8753 | 1093035.1953
73 | 2710943.5199 | 1093077.0453 | 2710944.804 | 1093067.8514 | 2710942.5518 | 1093060.8612 | 2710930.8216 | 1093047.3827 | 2710923.3379 | 1093033.1255 | 2710914.0041 | 1093015.3322 | 2710908.6239 | 1093007.9296
74 | 2710751.5649 | 1092786.652 | 2710455.4294 | 1092790.8773
75 | 2711135.1923 | 1092756.0724 | 2711135.1923 | 1092756.0724 | 2711134.021 | 1092740.1317
76 | 2711135.1923 | 1092756.0724 | 2711127.3416 | 1092766.9919 | 2711116.7113 | 1092783.4178
77 | 2711140.6988 | 1092690.6637 | 2711133.89 | 1092709.8508 | 2711133.7025 | 1092735.7982 | 2711134.021 | 1092740.1317
78 | 2711113.1577 | 1092788.9089 | 2711116.7113 | 1092783.4178
79 | 2711105.6758 | 1092805.3859 | 2711108.9301 | 1092795.4414 | 2711113.1577 | 1092788.9089

## bus_geodata
| x | y | coords
0 | 2710796.0627 | 1092690.336
1 | 2710811.1531 | 1092713.2321
2 | 2710783.0679 | 1092673.1159
3 | 2710821.4918 | 1092731.3487
4 | 2710803.8159 | 1092798.3892
5 | 2710804.8144 | 1092804.4226
6 | 2710760.0993 | 1092783.9509
7 | 2710794.8682 | 1092784.7414
8 | 2710809.5511 | 1092833.073
9 | 2710778.4357 | 1092816.706
10 | 2710755.8285 | 1092785.3026
11 | 2710784.206 | 1092768.4786
12 | 2711102.0975 | 1092922.858
13 | 2711096.5624 | 1092849.5289
14 | 2711128.9417 | 1092878.7631
15 | 2711016.7282 | 1092964.4163
16 | 2711000.7898 | 1092867.1559
17 | 2711096.8539 | 1092846.665
18 | 2711283.9737 | 1092879.2277
19 | 2711008.7136 | 1092948.2325
20 | 2711044.6977 | 1093025.4457
21 | 2710928.6484 | 1092736.5782
22 | 2710878.4784 | 1092776.4905
23 | 2710851.3199 | 1092809.8402
24 | 2710844.4097 | 1092691.8348
25 | 2711116.4709 | 1092600.124
26 | 2711116.3822 | 1092600.2126
27 | 2711142.3553 | 1092576.2821
28 | 2711117.2734 | 1092608.0222
29 | 2711111.5846 | 1092546.9486
30 | 2711121.3492 | 1092636.0195
31 | 2711103.9899 | 1092539.7086
32 | 2711138.5313 | 1092673.3993
33 | 2711098.4591 | 1092534.4362
34 | 2711142.9377 | 1092684.3545
35 | 2711086.9293 | 1092523.445
36 | 2711076.1397 | 1092513.1593
37 | 2711068.7104 | 1092506.077
38 | 2710812.621 | 1092845.9675
39 | 2710820.1666 | 1092874.4842
40 | 2710826.0211 | 1092740.9631
41 | 2710820.6853 | 1092876.4442
42 | 2710822.0753 | 1092881.6975
43 | 2710830.1585 | 1092912.2457
44 | 2711288.5461 | 1092827.8007
45 | 2711284.0107 | 1092858.5325
46 | 2711290.0436 | 1092823.0819
47 | 2711283.9683 | 1092882.244
48 | 2710973.8184 | 1092819.2097
49 | 2710878.532 | 1092834.8235
50 | 2710940.7547 | 1092859.5234
51 | 2710873.7289 | 1092832.9088
52 | 2710869.361 | 1092831.3834
53 | 2710834.903 | 1092767.0276
54 | 2710842.1899 | 1092790.4918
55 | 2710689.8725 | 1093169.4569
56 | 2710689.2331 | 1093165.4669
57 | 2710692.2393 | 1093184.2283
58 | 2710875.7625 | 1093170.1837
59 | 2710887.0257 | 1093153.7807
60 | 2711008.2173 | 1093008.9462
61 | 2711023.0696 | 1093018.2905
62 | 2711007.0196 | 1093029.9832
63 | 2711047.3185 | 1093027.5282
64 | 2710859.8925 | 1092847.3005
65 | 2711051.9585 | 1093058.6784
66 | 2711028.3955 | 1093093.511
67 | 2711023.8976 | 1093070.9967
68 | 2710943.5199 | 1093077.0453
69 | 2711010.8753 | 1093035.1953
70 | 2710751.5649 | 1092786.652
71 | 2710455.4294 | 1092790.8773
72 | 2711324.0086 | 1092822.4363
73 | 2711135.1923 | 1092756.0724
74 | 2711134.021 | 1092740.1317
75 | 2711116.7113 | 1092783.4178
76 | 2710908.6239 | 1093007.9296
77 | 2711105.6758 | 1092805.3859
78 | 2711113.1577 | 1092788.9089
79 | 2711140.6988 | 1092690.6637
80 | 2710844.8646 | 1092799.1042
81 | 2710869.361 | 1092831.3834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1