## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5221-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5221-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5221-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5221-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5221-8_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_5221-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5221-8_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5221-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5221-8_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5221-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5221-8_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5221-8_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5221-8_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_5221-8_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5221-8_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5221-8_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5221-8_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_5221-8_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5221-8_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5221-8_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_5221-8_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5221-8_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5221-8_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5221-8_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5221-8_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5221-8_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5221-8_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5221-8_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5221-8_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_5221-8_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5221-8_0_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_5221-8_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5221-8_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5221-8_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_5221-8_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_5221-8_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5221-8_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5221-8_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5221-8_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5221-8_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5221-8_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5221-8_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5221-8_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5221-8_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5221-8_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5221-8_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5221-8_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5221-8_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5221-8_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5221-8_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5221-8_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_251_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5221-8_0_4_load_0 | 0 | 0.012567 | 0.0031495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5221-8_0_4_load_2 | 2 | 0.014319 | 0.0035887 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5221-8_0_4_load_3 | 3 | 0.02063 | 0.0051704 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5221-8_0_4_load_9 | 4 | 0.06392 | 0.01602 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5221-8_0_4_load_7 | 7 | 0.0034859 | 0.00087365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5221-8_0_4_load_4 | 8 | 0.027986 | 0.0070139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5221-8_0_4_load_8 | 10 | 0.01693 | 0.004243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5221-8_0_4_load_16 | 11 | 0.0029354 | 0.00073568 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5221-8_0_4_load_43 | 12 | 0.012466 | 0.0031243 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5221-8_0_4_load_14 | 13 | 0.0022757 | 0.00057036 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5221-8_0_4_load_11 | 14 | 0.0047423 | 0.0011885 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5221-8_0_4_load_12 | 15 | 0.011548 | 0.0028943 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5221-8_0_4_load_44 | 16 | 0.0065612 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5221-8_0_4_load_18 | 17 | 0.010288 | 0.0025784 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5221-8_0_4_load_17 | 18 | 0.0033982 | 0.00085166 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5221-8_0_4_load_13 | 20 | 0.029926 | 0.0075001 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5221-8_0_4_load_15 | 21 | 0.0037507 | 0.00094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5221-8_0_4_load_19 | 22 | 0.017451 | 0.0043736 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5221-8_0_4_load_20 | 23 | 0.0032083 | 0.00080408 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5221-8_0_4_load_22 | 25 | 0.004211 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5221-8_0_4_load_23 | 26 | 0.0055686 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5221-8_0_4_load_47 | 30 | 0.0073455 | 0.0018409 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5221-8_0_4_load_28 | 32 | 0.0072762 | 0.0018236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5221-8_0_4_load_39 | 34 | 0.0033449 | 0.00083832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5221-8_0_4_load_26 | 35 | 0.0036972 | 0.0009266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5221-8_0_4_load_27 | 36 | 0.0034532 | 0.00086545 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5221-8_0_4_load_29 | 37 | 0.0034036 | 0.00085303 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5221-8_0_4_load_30 | 38 | 0.0054127 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5221-8_0_4_load_31 | 39 | 0.0031764 | 0.00079608 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5221-8_0_4_load_32 | 40 | 0.019338 | 0.0048466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5221-8_0_4_load_42 | 41 | 0.010489 | 0.0026287 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5221-8_0_4_load_41 | 42 | 0.0053905 | 0.001351 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5221-8_0_4_load_38 | 43 | 0.0052134 | 0.0013066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5221-8_0_4_load_34 | 44 | 0.0074355 | 0.0018635 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5221-8_0_4_load_35 | 45 | 0.0055597 | 0.0013934 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5221-8_0_4_load_36 | 46 | 0.0082818 | 0.0020756 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5221-8_0_4_load_37 | 47 | 0.0044194 | 0.0011076 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5221-8_0_4_load_49 | 48 | 0.01516 | 0.0037995 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5221-8_0_4_load_48 | 49 | 0.0057255 | 0.0014349 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5221-8_0_4_line_0 |  | 0 | 1 | 0.032785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5221-8_0_4_line_1 |  | 1 | 2 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5221-8_0_4_line_2 |  | 1 | 3 | 0.031572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5221-8_0_4_line_3 |  | 2 | 4 | 0.039339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5221-8_0_4_line_4 |  | 3 | 5 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5221-8_0_4_line_5 |  | 4 | 6 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5221-8_0_4_line_6 |  | 5 | 7 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5221-8_0_4_line_7 |  | 5 | 8 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5221-8_0_4_line_8 |  | 6 | 14 | 0.0026518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5221-8_0_4_line_9 |  | 6 | 15 | 0.015589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5221-8_0_4_line_10 |  | 7 | 11 | 0.0011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5221-8_0_4_line_11 |  | 8 | 9 | 0.0065158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5221-8_0_4_line_12 |  | 9 | 10 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5221-8_0_4_line_13 |  | 10 | 12 | 0.021168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5221-8_0_4_line_14 |  | 11 | 13 | 0.021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5221-8_0_4_line_15 |  | 13 | 20 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5221-8_0_4_line_16 |  | 15 | 16 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5221-8_0_4_line_17 |  | 16 | 19 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5221-8_0_4_line_18 |  | 17 | 18 | 0.0062224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5221-8_0_4_line_19 |  | 18 | 21 | 0.0087607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5221-8_0_4_line_20 |  | 19 | 48 | 0.044746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5221-8_0_4_line_21 |  | 20 | 21 | 0.0040851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5221-8_0_4_line_22 |  | 22 | 23 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5221-8_0_4_line_23 |  | 22 | 24 | 0.035403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5221-8_0_4_line_24 |  | 23 | 25 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5221-8_0_4_line_25 |  | 24 | 26 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5221-8_0_4_line_26 |  | 25 | 27 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5221-8_0_4_line_27 |  | 26 | 28 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5221-8_0_4_line_28 |  | 27 | 29 | 0.014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5221-8_0_4_line_29 |  | 28 | 30 | 0.0077434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5221-8_0_4_line_30 |  | 29 | 31 | 0.037636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5221-8_0_4_line_31 |  | 29 | 32 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5221-8_0_4_line_32 |  | 30 | 50 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5221-8_0_4_line_33 |  | 31 | 33 | 0.031112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5221-8_0_4_line_34 |  | 31 | 34 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5221-8_0_4_line_35 |  | 32 | 35 | 0.026203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5221-8_0_4_line_36 |  | 33 | 42 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5221-8_0_4_line_37 |  | 34 | 43 | 0.02378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5221-8_0_4_line_38 |  | 35 | 36 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5221-8_0_4_line_39 |  | 36 | 37 | 0.0068663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5221-8_0_4_line_40 |  | 37 | 38 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5221-8_0_4_line_41 |  | 38 | 39 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5221-8_0_4_line_42 |  | 39 | 40 | 0.027387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5221-8_0_4_line_43 |  | 40 | 41 | 0.050086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5221-8_0_4_line_44 |  | 43 | 47 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5221-8_0_4_line_45 |  | 44 | 45 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5221-8_0_4_line_46 |  | 44 | 46 | 0.024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5221-8_0_4_line_47 |  | 45 | 47 | 0.0072921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5221-8_0_4_line_48 |  | 48 | 49 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5221-8_0_4_line_49 |  | 49 | 50 | 0.046778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5221-8_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 51 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2716445.2004 | 1097262.5787 | 2716436.7147 | 1097294.2466
1 | 2716445.2004 | 1097262.5787 | 2716448.197 | 1097251.5681
2 | 2716445.2004 | 1097262.5787 | 2716475.6446 | 1097270.9424
3 | 2716448.197 | 1097251.5681 | 2716458.5277 | 1097213.6097
4 | 2716489.2317 | 1097274.6751 | 2716475.6446 | 1097270.9424
5 | 2716465.1259 | 1097189.3658 | 2716458.5277 | 1097213.6097
6 | 2716489.2317 | 1097274.6751 | 2716493.7647 | 1097259.2364
7 | 2716489.2317 | 1097274.6751 | 2716483.1167 | 1097291.9564
8 | 2716465.1259 | 1097189.3658 | 2716467.484 | 1097190.5788
9 | 2716465.1259 | 1097189.3658 | 2716451.9323 | 1097181.0617
10 | 2716493.7647 | 1097259.2364 | 2716494.0912 | 1097258.1242
11 | 2716480.9432 | 1097298.099 | 2716483.1167 | 1097291.9564
12 | 2716480.9432 | 1097298.099 | 2716473.9448 | 1097317.8688
13 | 2716466.8809 | 1097337.8235 | 2716473.9448 | 1097317.8688
14 | 2716494.0912 | 1097258.1242 | 2716500.2623 | 1097237.1062
15 | 2716503.2324 | 1097226.9902 | 2716500.2623 | 1097237.1062
16 | 2716442.7646 | 1097175.2915 | 2716451.9323 | 1097181.0617
17 | 2716427.8652 | 1097165.9137 | 2716442.7646 | 1097175.2915
18 | 2716506.8513 | 1097214.6647 | 2716507.8297 | 1097211.3325 | 2716505.3847 | 1097210.0748
19 | 2716506.8513 | 1097214.6647 | 2716504.3833 | 1097223.0706
20 | 2716427.8652 | 1097165.9137 | 2716446.0861 | 1097125.0458
21 | 2716504.3833 | 1097223.0706 | 2716503.2324 | 1097226.9902
22 | 2716543.728 | 1097146.8905 | 2716568.6725 | 1097163.7651
23 | 2716515.7796 | 1097125.2036 | 2716535.9085 | 1097141.6007 | 2716543.728 | 1097146.8905
24 | 2716568.6725 | 1097163.7651 | 2716576.8447 | 1097169.2935 | 2716583.0909 | 1097173.0083
25 | 2716515.7796 | 1097125.2036 | 2716497.5247 | 1097110.2287
26 | 2716599.3702 | 1097182.6903 | 2716583.0909 | 1097173.0083
27 | 2716486.1348 | 1097100.8854 | 2716497.5247 | 1097110.2287
28 | 2716599.3702 | 1097182.6903 | 2716612.5386 | 1097187.9799
29 | 2716486.1348 | 1097100.8854 | 2716480.278 | 1097095.8199
30 | 2716612.5386 | 1097187.9799 | 2716649.0255 | 1097197.631
31 | 2716612.5386 | 1097187.9799 | 2716601.5156 | 1097211.4649
32 | 2716465.9409 | 1097083.4198 | 2716480.278 | 1097095.8199
33 | 2716678.9432 | 1097206.4779 | 2716649.0255 | 1097197.631
34 | 2716649.0255 | 1097197.631 | 2716645.3805 | 1097203.8987 | 2716643.6676 | 1097206.7678 | 2716642.9887 | 1097209.4455 | 2716643.4998 | 1097211.8445
35 | 2716590.3821 | 1097235.1854 | 2716601.5156 | 1097211.4649
36 | 2716678.9432 | 1097206.4779 | 2716691.9061 | 1097210.1695
37 | 2716643.4998 | 1097211.8445 | 2716643.5643 | 1097212.1473 | 2716646.6137 | 1097215.5192 | 2716661.3441 | 1097227.3989
38 | 2716590.3821 | 1097235.1854 | 2716582.5844 | 1097251.7989
39 | 2716579.7055 | 1097258.0322 | 2716580.8128 | 1097255.5733 | 2716582.5844 | 1097251.7989
40 | 2716579.7055 | 1097258.0322 | 2716571.4755 | 1097276.3084 | 2716570.6188 | 1097278.4604
41 | 2716570.6188 | 1097278.4604 | 2716563.0488 | 1097297.4759
42 | 2716563.0488 | 1097297.4759 | 2716562.9623 | 1097297.6932 | 2716561.9988 | 1097304.7129 | 2716564.0944 | 1097324.6704
43 | 2716564.0944 | 1097324.6704 | 2716518.1482 | 1097344.6091
44 | 2716661.2967 | 1097241.3049 | 2716662.8301 | 1097236.745 | 2716663.5249 | 1097232.8334 | 2716662.547 | 1097229.7014 | 2716661.3441 | 1097227.3989 | 2716661.3441 | 1097227.3989
45 | 2716652.6432 | 1097267.0386 | 2716658.9725 | 1097248.2166
46 | 2716652.6432 | 1097267.0386 | 2716644.7006 | 1097290.6581
47 | 2716661.2967 | 1097241.3049 | 2716658.9725 | 1097248.2166
48 | 2716446.0861 | 1097125.0458 | 2716435.7765 | 1097119.1724
49 | 2716465.9409 | 1097083.4198 | 2716435.7765 | 1097119.1724

## bus_geodata
| x | y | coords
0 | 2716436.7147 | 1097294.2466
1 | 2716445.2004 | 1097262.5787
2 | 2716448.197 | 1097251.5681
3 | 2716475.6446 | 1097270.9424
4 | 2716458.5277 | 1097213.6097
5 | 2716489.2317 | 1097274.6751
6 | 2716465.1259 | 1097189.3658
7 | 2716493.7647 | 1097259.2364
8 | 2716483.1167 | 1097291.9564
9 | 2716480.9432 | 1097298.099
10 | 2716473.9448 | 1097317.8688
11 | 2716494.0912 | 1097258.1242
12 | 2716466.8809 | 1097337.8235
13 | 2716500.2623 | 1097237.1062
14 | 2716467.484 | 1097190.5788
15 | 2716451.9323 | 1097181.0617
16 | 2716442.7646 | 1097175.2915
17 | 2716505.3847 | 1097210.0748
18 | 2716506.8513 | 1097214.6647
19 | 2716427.8652 | 1097165.9137
20 | 2716503.2324 | 1097226.9902
21 | 2716504.3833 | 1097223.0706
22 | 2716543.728 | 1097146.8905
23 | 2716568.6725 | 1097163.7651
24 | 2716515.7796 | 1097125.2036
25 | 2716583.0909 | 1097173.0083
26 | 2716497.5247 | 1097110.2287
27 | 2716599.3702 | 1097182.6903
28 | 2716486.1348 | 1097100.8854
29 | 2716612.5386 | 1097187.9799
30 | 2716480.278 | 1097095.8199
31 | 2716649.0255 | 1097197.631
32 | 2716601.5156 | 1097211.4649
33 | 2716678.9432 | 1097206.4779
34 | 2716643.4998 | 1097211.8445
35 | 2716590.3821 | 1097235.1854
36 | 2716582.5844 | 1097251.7989
37 | 2716579.7055 | 1097258.0323
38 | 2716570.6188 | 1097278.4604
39 | 2716563.0488 | 1097297.4759
40 | 2716564.0944 | 1097324.6704
41 | 2716518.1482 | 1097344.6091
42 | 2716691.9061 | 1097210.1695
43 | 2716661.3441 | 1097227.3989
44 | 2716652.6432 | 1097267.0386
45 | 2716658.9725 | 1097248.2166
46 | 2716644.7006 | 1097290.6581
47 | 2716661.2967 | 1097241.3049
48 | 2716446.0861 | 1097125.0458
49 | 2716435.7765 | 1097119.1724
50 | 2716465.9409 | 1097083.4198
51 | 2716489.2317 | 1097274.6751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99154 | -0.16103 | 0.012567 | 0.0031495
1 | 0.99192 | -0.15373 | 0 | 0
2 | 0.99101 | -0.17097 | 0.014319 | 0.0035887
3 | 0.99453 | -0.10384 | 0.02063 | 0.0051704
4 | 0.98808 | -0.22732 | 0.06392 | 0.01602
5 | 0.99578 | -0.079957 | 0 | 0
6 | 0.9867 | -0.25389 | 0 | 0
7 | 0.9975 | -0.047365 | 0.0034859 | 0.00087365
8 | 0.99483 | -0.098464 | 0.027986 | 0.0070139
9 | 0.99465 | -0.10184 | 0 | 0
10 | 0.99409 | -0.11271 | 0.01693 | 0.004243
11 | 0.99762 | -0.044997 | 0.0029354 | 0.00073568
12 | 0.99385 | -0.11736 | 0.012466 | 0.0031243
13 | 1 | 0 | -0.40702 | -0.10365
14 | 0.98669 | -0.25411 | 0.0047423 | 0.0011885
15 | 0.98586 | -0.26997 | 0.011548 | 0.0028943
16 | 0.98532 | -0.28041 | 0.0065612 | 0.0016444
17 | 0.99932 | -0.013159 | 0.010288 | 0.0025784
18 | 0.99937 | -0.012042 | 0.0033982 | 0.00085166
19 | 0.98448 | -0.29672 | 0 | 0
20 | 0.99955 | -0.0087073 | 0.029926 | 0.0075001
21 | 0.99948 | -0.00995 | 0.0037507 | 0.00094
22 | 0.97599 | -0.46198 | 0.017451 | 0.0043736
23 | 0.97502 | -0.48099 | 0.0032083 | 0.00080408
24 | 0.97732 | -0.43594 | 0 | 0
25 | 0.97449 | -0.49148 | 0.004211 | 0.0010554
26 | 0.97821 | -0.4186 | 0.0055686 | 0.0013956
27 | 0.97393 | -0.5026 | 0 | 0
28 | 0.97878 | -0.40731 | 0 | 0
29 | 0.9735 | -0.51092 | 0 | 0
30 | 0.97909 | -0.40137 | 0.0073455 | 0.0018409
31 | 0.97304 | -0.52007 | 0 | 0
32 | 0.97305 | -0.51987 | 0.0072762 | 0.0018236
33 | 0.97288 | -0.52316 | 0 | 0
34 | 0.97287 | -0.5234 | 0.0033449 | 0.00083832
35 | 0.97265 | -0.52775 | 0.0036972 | 0.0009266
36 | 0.97239 | -0.53286 | 0.0034532 | 0.00086545
37 | 0.9723 | -0.53462 | 0.0034036 | 0.00085303
38 | 0.97204 | -0.5399 | 0.0054127 | 0.0013565
39 | 0.97183 | -0.54406 | 0.0031764 | 0.00079608
40 | 0.97157 | -0.54908 | 0.019338 | 0.0048466
41 | 0.97141 | -0.55232 | 0.010489 | 0.0026287
42 | 0.97282 | -0.5245 | 0.0053905 | 0.001351
43 | 0.97253 | -0.53017 | 0.0052134 | 0.0013066
44 | 0.97174 | -0.54573 | 0.0074355 | 0.0018635
45 | 0.97203 | -0.53997 | 0.0055597 | 0.0013934
46 | 0.97155 | -0.54954 | 0.0082818 | 0.0020756
47 | 0.97218 | -0.53711 | 0.0044194 | 0.0011076
48 | 0.98233 | -0.33828 | 0.01516 | 0.0037995
49 | 0.98182 | -0.34825 | 0.0057255 | 0.0014349
50 | 0.97988 | -0.38602 | 0 | 0
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012567 | -0.0031495 | 0.012571 | 0.0031518 | 4.3725e-06 | 2.3754e-06 | 0.018859 | 0.018859 | 0.018859 | 0.99154 | -0.16103 | 0.99192 | -0.15373 | 5.181
1 | 0.25854 | 0.065896 | -0.25833 | -0.065759 | 0.00021501 | 0.00013716 | 0.38824 | 0.38824 | 0.38824 | 0.99192 | -0.15373 | 0.99101 | -0.17097 | 35.5536
2 | -0.27111 | -0.069048 | 0.27177 | 0.069465 | 0.00065407 | 0.00041738 | 0.4071 | 0.4071 | 0.4071 | 0.99192 | -0.15373 | 0.99453 | -0.10384 | 37.2805
3 | 0.24401 | 0.06217 | -0.24335 | -0.061748 | 0.0006614 | 0.00042178 | 0.36674 | 0.36675 | 0.36675 | 0.99101 | -0.17097 | 0.98808 | -0.22732 | 33.5847
4 | -0.2924 | -0.074636 | 0.29274 | 0.074851 | 0.00033785 | 0.00021568 | 0.43797 | 0.43797 | 0.43797 | 0.99453 | -0.10384 | 0.99578 | -0.079957 | 40.1071
5 | 0.17943 | 0.045729 | -0.1792 | -0.045582 | 0.00022978 | 0.0001461 | 0.27048 | 0.27048 | 0.27048 | 0.98808 | -0.22732 | 0.9867 | -0.25389 | 24.7696
6 | -0.35019 | -0.089279 | 0.35074 | 0.089631 | 0.0005519 | 0.00035259 | 0.52383 | 0.52383 | 0.52383 | 0.99578 | -0.079957 | 0.9975 | -0.047365 | 47.9702
7 | 0.057455 | 0.014427 | -0.057404 | -0.014395 | 5.0684e-05 | 3.2199e-05 | 0.085866 | 0.085866 | 0.085866 | 0.99578 | -0.079957 | 0.99483 | -0.098464 | 23.5896
8 | 0.0047424 | 0.0011885 | -0.0047423 | -0.0011885 | 5.0863e-08 | -1.3173e-09 | 0.0071518 | 0.0071518 | 0.0071518 | 0.9867 | -0.25389 | 0.98669 | -0.25411 | 1.9648
9 | 0.17446 | 0.044394 | -0.17432 | -0.044308 | 0.00013513 | 8.5886e-05 | 0.26333 | 0.26333 | 0.26333 | 0.9867 | -0.25389 | 0.98586 | -0.26997 | 24.1147
10 | -0.35423 | -0.090505 | 0.35427 | 0.090531 | 4.0555e-05 | 2.591e-05 | 0.52903 | 0.52903 | 0.52903 | 0.9975 | -0.047365 | 0.99762 | -0.044997 | 48.4464
11 | 0.029419 | 0.0073812 | -0.029414 | -0.0073783 | 4.7317e-06 | 2.9437e-06 | 0.044006 | 0.044006 | 0.044006 | 0.99483 | -0.098464 | 0.99465 | -0.10184 | 12.0896
12 | 0.029414 | 0.0073783 | -0.029399 | -0.0073688 | 1.523e-05 | 9.475e-06 | 0.044006 | 0.044006 | 0.044006 | 0.99465 | -0.10184 | 0.99409 | -0.11271 | 12.0896
13 | 0.012469 | 0.0031258 | -0.012466 | -0.0031243 | 2.7653e-06 | 1.4954e-06 | 0.018665 | 0.018665 | 0.018665 | 0.99409 | -0.11271 | 0.99385 | -0.11736 | 5.1276
14 | -0.35721 | -0.091267 | 0.35798 | 0.091764 | 0.00077908 | 0.00049775 | 0.53341 | 0.53341 | 0.53341 | 0.99762 | -0.044997 | 1 | 0 | 48.8473
15 | 0.047385 | 0.011884 | -0.047365 | -0.011872 | 1.9657e-05 | 1.2443e-05 | 0.070513 | 0.070513 | 0.070513 | 1 | 0 | 0.99955 | -0.0087073 | 19.3716
16 | 0.16277 | 0.041414 | -0.16269 | -0.041362 | 8.1877e-05 | 5.1987e-05 | 0.2459 | 0.2459 | 0.2459 | 0.98586 | -0.26997 | 0.98532 | -0.28041 | 22.5185
17 | 0.15613 | 0.039717 | -0.15601 | -0.03964 | 0.00012256 | 7.7766e-05 | 0.23599 | 0.23599 | 0.23599 | 0.98532 | -0.28041 | 0.98448 | -0.29672 | 21.6112
18 | -0.010288 | -0.0025784 | 0.010288 | 0.0025786 | 5.4758e-07 | 2.6892e-07 | 0.015319 | 0.015319 | 0.015319 | 0.99932 | -0.013159 | 0.99937 | -0.012042 | 4.2085
19 | -0.013687 | -0.0034303 | 0.013688 | 0.0034311 | 1.3643e-06 | 7.5836e-07 | 0.020379 | 0.020379 | 0.020379 | 0.99937 | -0.012042 | 0.99948 | -0.00995 | 5.5985
20 | 0.15601 | 0.03964 | -0.15569 | -0.039442 | 0.00031151 | 0.00019766 | 0.23599 | 0.23599 | 0.23599 | 0.98448 | -0.29672 | 0.98233 | -0.33828 | 21.6112
21 | 0.01744 | 0.0043717 | -0.017439 | -0.0043711 | 1.0326e-06 | 6.0731e-07 | 0.025962 | 0.025962 | 0.025962 | 0.99955 | -0.0087073 | 0.99948 | -0.00995 | 7.1325
22 | 0.10368 | 0.026112 | -0.10358 | -0.026053 | 9.4114e-05 | 5.9105e-05 | 0.15811 | 0.15812 | 0.15812 | 0.97599 | -0.46198 | 0.97502 | -0.48099 | 14.4794
23 | -0.12113 | -0.030486 | 0.12128 | 0.030581 | 0.000151 | 9.5311e-05 | 0.18472 | 0.18472 | 0.18472 | 0.97599 | -0.46198 | 0.97732 | -0.43594 | 16.9158
24 | 0.10037 | 0.025249 | -0.10032 | -0.025218 | 5.0279e-05 | 3.1538e-05 | 0.15322 | 0.15322 | 0.15322 | 0.97502 | -0.48099 | 0.97449 | -0.49148 | 14.031
25 | -0.12128 | -0.030581 | 0.12138 | 0.030645 | 0.00010071 | 6.3564e-05 | 0.18472 | 0.18472 | 0.18472 | 0.97732 | -0.43594 | 0.97821 | -0.4186 | 16.9158
26 | 0.096113 | 0.024162 | -0.096062 | -0.02413 | 5.1015e-05 | 3.1942e-05 | 0.14679 | 0.14679 | 0.14679 | 0.97449 | -0.49148 | 0.97393 | -0.5026 | 13.4422
27 | -0.12695 | -0.03204 | 0.12702 | 0.032084 | 6.8729e-05 | 4.3431e-05 | 0.19319 | 0.19319 | 0.19319 | 0.97821 | -0.4186 | 0.97878 | -0.40731 | 17.6915
28 | 0.096062 | 0.02413 | -0.096024 | -0.024106 | 3.8122e-05 | 2.387e-05 | 0.14679 | 0.14679 | 0.14679 | 0.97393 | -0.5026 | 0.9735 | -0.51092 | 13.4423
29 | -0.12702 | -0.032084 | 0.12705 | 0.032107 | 3.6125e-05 | 2.2828e-05 | 0.19319 | 0.19319 | 0.19319 | 0.97878 | -0.40731 | 0.97909 | -0.40137 | 17.6914
30 | 0.039696 | 0.0099648 | -0.039679 | -0.0099551 | 1.7324e-05 | 9.684e-06 | 0.060682 | 0.060683 | 0.060683 | 0.9735 | -0.51092 | 0.97304 | -0.52007 | 5.557
31 | 0.056328 | 0.014142 | -0.056304 | -0.014127 | 2.4044e-05 | 1.4421e-05 | 0.086107 | 0.086107 | 0.086107 | 0.9735 | -0.51092 | 0.97305 | -0.51987 | 7.8853
32 | -0.1344 | -0.033948 | 0.1345 | 0.03401 | 9.8949e-05 | 6.2612e-05 | 0.20435 | 0.20435 | 0.20435 | 0.97909 | -0.40137 | 0.97988 | -0.38602 | 18.7137
33 | 0.0053916 | 0.0013512 | -0.0053908 | -0.001351 | 7.9315e-07 | 1.2122e-07 | 0.0082451 | 0.0082452 | 0.0082452 | 0.97304 | -0.52007 | 0.97288 | -0.52316 | 2.2652
34 | 0.034287 | 0.0086039 | -0.034282 | -0.008601 | 5.4332e-06 | 2.8883e-06 | 0.052438 | 0.052438 | 0.052438 | 0.97304 | -0.52007 | 0.97287 | -0.5234 | 4.802
35 | 0.049028 | 0.012304 | -0.049009 | -0.012293 | 1.8415e-05 | 1.0809e-05 | 0.074981 | 0.074981 | 0.074981 | 0.97305 | -0.51987 | 0.97265 | -0.52775 | 6.8664
36 | 0.0053908 | 0.001351 | -0.0053905 | -0.001351 | 3.4362e-07 | 5.2561e-08 | 0.0082452 | 0.0082453 | 0.0082453 | 0.97288 | -0.52316 | 0.97282 | -0.5245 | 2.2652
37 | 0.030937 | 0.0077627 | -0.030927 | -0.0077569 | 9.9846e-06 | 5.7998e-06 | 0.047322 | 0.047322 | 0.047322 | 0.97287 | -0.5234 | 0.97253 | -0.53017 | 6.5003
38 | 0.045312 | 0.011366 | -0.045301 | -0.01136 | 1.1025e-05 | 6.3729e-06 | 0.069325 | 0.069325 | 0.069325 | 0.97265 | -0.52775 | 0.97239 | -0.53286 | 6.3484
39 | 0.041848 | 0.010494 | -0.041844 | -0.010492 | 3.52e-06 | 1.9973e-06 | 0.064041 | 0.064041 | 0.064041 | 0.97239 | -0.53286 | 0.9723 | -0.53462 | 5.8645
40 | 0.038441 | 0.0096394 | -0.038431 | -0.0096341 | 9.674e-06 | 5.3597e-06 | 0.058832 | 0.058832 | 0.058832 | 0.9723 | -0.53462 | 0.97204 | -0.5399 | 5.3876
41 | 0.033018 | 0.0082775 | -0.033012 | -0.0082741 | 6.5365e-06 | 3.4224e-06 | 0.050546 | 0.050547 | 0.050547 | 0.97204 | -0.5399 | 0.97183 | -0.54406 | 4.6288
42 | 0.029836 | 0.007478 | -0.029828 | -0.0074745 | 7.1443e-06 | 3.5546e-06 | 0.045683 | 0.045683 | 0.045683 | 0.97183 | -0.54406 | 0.97157 | -0.54908 | 4.1835
43 | 0.01049 | 0.0026279 | -0.010489 | -0.0026287 | 1.616e-06 | -8.2621e-07 | 0.016066 | 0.016067 | 0.016067 | 0.97157 | -0.54908 | 0.97141 | -0.55232 | 1.4713
44 | 0.025714 | 0.0064503 | -0.025705 | -0.0064451 | 8.5118e-06 | 5.2657e-06 | 0.039345 | 0.039345 | 0.039345 | 0.97253 | -0.53017 | 0.97218 | -0.53711 | 10.8091
45 | -0.015719 | -0.0039398 | 0.015723 | 0.0039423 | 4.3143e-06 | 2.5151e-06 | 0.02407 | 0.02407 | 0.02407 | 0.97174 | -0.54573 | 0.97203 | -0.53997 | 6.6127
46 | 0.0082833 | 0.0020763 | -0.0082818 | -0.0020756 | 1.5035e-06 | 6.5358e-07 | 0.012684 | 0.012684 | 0.012684 | 0.97174 | -0.54573 | 0.97155 | -0.54954 | 3.4847
47 | -0.021283 | -0.0053357 | 0.021286 | 0.0053374 | 2.9028e-06 | 1.7674e-06 | 0.032581 | 0.032581 | 0.032581 | 0.97203 | -0.53997 | 0.97218 | -0.53711 | 8.9508
48 | 0.14053 | 0.035642 | -0.14047 | -0.0356 | 6.7309e-05 | 4.2627e-05 | 0.21303 | 0.21303 | 0.21303 | 0.98233 | -0.33828 | 0.98182 | -0.34825 | 19.5083
49 | 0.13474 | 0.034165 | -0.1345 | -0.03401 | 0.00024418 | 0.0001545 | 0.20435 | 0.20435 | 0.20435 | 0.98182 | -0.34825 | 0.97988 | -0.38602 | 18.7137

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4093 | 0.10422

## res_load
| p_mw | q_mvar
0 | 0.012567 | 0.0031495
1 | 0.014319 | 0.0035887
2 | 0.02063 | 0.0051704
3 | 0.06392 | 0.01602
4 | 0.0034859 | 0.00087365
5 | 0.027986 | 0.0070139
6 | 0.01693 | 0.004243
7 | 0.0029354 | 0.00073568
8 | 0.012466 | 0.0031243
9 | 0.0022757 | 0.00057036
10 | 0.0047423 | 0.0011885
11 | 0.011548 | 0.0028943
12 | 0.0065612 | 0.0016444
13 | 0.010288 | 0.0025784
14 | 0.0033982 | 0.00085166
15 | 0.029926 | 0.0075001
16 | 0.0037507 | 0.00094
17 | 0.017451 | 0.0043736
18 | 0.0032083 | 0.00080408
19 | 0.004211 | 0.0010554
20 | 0.0055686 | 0.0013956
21 | 0.0073455 | 0.0018409
22 | 0.0072762 | 0.0018236
23 | 0.0033449 | 0.00083832
24 | 0.0036972 | 0.0009266
25 | 0.0034532 | 0.00086545
26 | 0.0034036 | 0.00085303
27 | 0.0054127 | 0.0013565
28 | 0.0031764 | 0.00079608
29 | 0.019338 | 0.0048466
30 | 0.010489 | 0.0026287
31 | 0.0053905 | 0.001351
32 | 0.0052134 | 0.0013066
33 | 0.0074355 | 0.0018635
34 | 0.0055597 | 0.0013934
35 | 0.0082818 | 0.0020756
36 | 0.0044194 | 0.0011076
37 | 0.01516 | 0.0037995
38 | 0.0057255 | 0.0014349

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1