## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5225-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5225-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5225-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5225-1_0_5_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_5225-1_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5225-1_0_5_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_5225-1_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_5225-1_0_5_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_5225-1_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5225-1_0_5_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_5225-1_0_5_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_5225-1_0_5_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_5225-1_0_5_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5225-1_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5225-1_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5225-1_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5225-1_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_5225-1_0_5_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5225-1_0_5_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_5225-1_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5225-1_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5225-1_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5225-1_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5225-1_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5225-1_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5225-1_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5225-1_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5225-1_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5225-1_0_5_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_5225-1_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5225-1_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5225-1_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5225-1_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5225-1_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5225-1_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5225-1_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5225-1_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_5225-1_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_5225-1_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5225-1_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5225-1_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5225-1_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5225-1_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5225-1_0_5_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_5225-1_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5225-1_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5225-1_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5225-1_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5225-1_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5225-1_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5225-1_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5225-1_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_254_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5225-1_0_5_load_0 | 0 | 0.014043 | 0.0035195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5225-1_0_5_load_1 | 1 | 0.0036984 | 0.0009269 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5225-1_0_5_load_25 | 6 | 0.0032092 | 0.00080431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5225-1_0_5_load_50 | 7 | 0.0063326 | 0.0015871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5225-1_0_5_load_47 | 10 | 0.0079409 | 0.0019902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5225-1_0_5_load_3 | 11 | 0.017138 | 0.0042952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5225-1_0_5_load_4 | 12 | 0.015649 | 0.003922 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5225-1_0_5_load_6 | 13 | 0.015638 | 0.0039192 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5225-1_0_5_load_17 | 15 | 0.0175 | 0.004386 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5225-1_0_5_load_23 | 16 | 0.0046326 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5225-1_0_5_load_19 | 17 | 0.0039121 | 0.00098046 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5225-1_0_5_load_22 | 18 | 0.016272 | 0.0040781 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5225-1_0_5_load_51 | 19 | 0.006314 | 0.0015824 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5225-1_0_5_load_18 | 20 | 0.0057991 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5225-1_0_5_load_9 | 21 | 0.006174 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5225-1_0_5_load_10 | 22 | 0.0062753 | 0.0015727 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5225-1_0_5_load_13 | 23 | 0.0045453 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5225-1_0_5_load_11 | 24 | 0.0021698 | 0.0005438 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5225-1_0_5_load_14 | 25 | 0.0061055 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5225-1_0_5_load_12 | 26 | 0.016872 | 0.0042284 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5225-1_0_5_load_16 | 27 | 0.0035031 | 0.00087796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5225-1_0_5_load_52 | 28 | 0.0052593 | 0.0013181 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5225-1_0_5_load_20 | 29 | 0.0058449 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5225-1_0_5_load_21 | 30 | 0.017153 | 0.0042991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5225-1_0_5_load_24 | 31 | 0.003169 | 0.00079422 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5225-1_0_5_load_28 | 33 | 0.053203 | 0.013334 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5225-1_0_5_load_29 | 34 | 0.012812 | 0.0032109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5225-1_0_5_load_43 | 35 | 0.010907 | 0.0027335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5225-1_0_5_load_35 | 36 | 0.0052015 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5225-1_0_5_load_38 | 37 | 0.015652 | 0.0039226 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5225-1_0_5_load_30 | 38 | 0.0095026 | 0.0023816 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5225-1_0_5_load_32 | 40 | 0.0084771 | 0.0021246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5225-1_0_5_load_45 | 42 | 0.0089205 | 0.0022357 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5225-1_0_5_load_53 | 43 | 0.0017747 | 0.00044478 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5225-1_0_5_load_36 | 44 | 0.0038401 | 0.00096243 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5225-1_0_5_load_34 | 45 | 0.02594 | 0.0065012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5225-1_0_5_load_39 | 46 | 0.032513 | 0.0081484 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5225-1_0_5_load_40 | 47 | 0.017925 | 0.0044925 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5225-1_0_5_load_41 | 48 | 0.029586 | 0.007415 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5225-1_0_5_load_42 | 49 | 0.0081889 | 0.0020523 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5225-1_0_5_load_46 | 50 | 0.0079506 | 0.0019926 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5225-1_0_5_load_48 | 51 | 0.0076547 | 0.0019185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5225-1_0_5_line_0 |  | 0 | 1 | 0.017711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5225-1_0_5_line_1 |  | 1 | 2 | 0.031416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5225-1_0_5_line_2 |  | 2 | 3 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5225-1_0_5_line_3 |  | 2 | 4 | 0.056879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5225-1_0_5_line_4 |  | 3 | 5 | 0.003106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5225-1_0_5_line_5 |  | 3 | 6 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5225-1_0_5_line_6 |  | 4 | 7 | 0.048996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5225-1_0_5_line_7 |  | 4 | 8 | 0.021159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5225-1_0_5_line_8 |  | 5 | 36 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5225-1_0_5_line_9 |  | 5 | 9 | 0.009283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5225-1_0_5_line_10 |  | 6 | 31 | 0.056549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5225-1_0_5_line_11 |  | 7 | 19 | 0.020376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5225-1_0_5_line_12 |  | 8 | 14 | 0.039343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5225-1_0_5_line_13 |  | 8 | 11 | 0.031836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5225-1_0_5_line_14 |  | 9 | 10 | 0.03512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5225-1_0_5_line_15 |  | 10 | 50 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5225-1_0_5_line_16 |  | 11 | 12 | 0.00066378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5225-1_0_5_line_17 |  | 12 | 13 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5225-1_0_5_line_18 |  | 13 | 15 | 5.5559e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5225-1_0_5_line_19 |  | 14 | 16 | 0.038047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5225-1_0_5_line_20 |  | 14 | 17 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5225-1_0_5_line_21 |  | 15 | 18 | 0.027804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5225-1_0_5_line_22 |  | 17 | 20 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5225-1_0_5_line_23 |  | 18 | 26 | 0.00035899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5225-1_0_5_line_24 |  | 19 | 28 | 0.049564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5225-1_0_5_line_25 |  | 20 | 29 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5225-1_0_5_line_26 |  | 21 | 22 | 0.00011957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5225-1_0_5_line_27 |  | 21 | 23 | 0.056903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5225-1_0_5_line_28 |  | 22 | 24 | 0.0065598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5225-1_0_5_line_29 |  | 23 | 25 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5225-1_0_5_line_30 |  | 24 | 26 | 0.020856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5225-1_0_5_line_31 |  | 27 | 28 | 0.037295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5225-1_0_5_line_32 |  | 29 | 30 | 0.0040722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5225-1_0_5_line_33 |  | 31 | 32 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5225-1_0_5_line_34 |  | 32 | 33 | 0.05116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5225-1_0_5_line_35 |  | 32 | 34 | 0.040934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5225-1_0_5_line_36 |  | 34 | 35 | 0.052007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5225-1_0_5_line_37 |  | 35 | 37 | 0.028069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5225-1_0_5_line_38 |  | 36 | 45 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5225-1_0_5_line_39 |  | 37 | 46 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5225-1_0_5_line_40 |  | 38 | 39 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5225-1_0_5_line_41 |  | 39 | 40 | 0.0011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5225-1_0_5_line_42 |  | 39 | 41 | 0.009203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5225-1_0_5_line_43 |  | 40 | 42 | 0.047335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5225-1_0_5_line_44 |  | 41 | 43 | 0.031048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5225-1_0_5_line_45 |  | 41 | 44 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5225-1_0_5_line_46 |  | 44 | 45 | 0.023803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5225-1_0_5_line_47 |  | 46 | 47 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5225-1_0_5_line_48 |  | 47 | 48 | 0.031516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5225-1_0_5_line_49 |  | 48 | 49 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5225-1_0_5_line_50 |  | 50 | 51 | 0.014198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5225-1_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 52 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2716012.4753 | 1095939.6725 | 2716000.1688 | 1095935.2938 | 2715996.5276 | 1095932.4039
1 | 2715974.0391 | 1095910.6896 | 2715983.9193 | 1095922.3972 | 2715996.5276 | 1095932.4039
2 | 2715974.0391 | 1095910.6896 | 2715968.0509 | 1095911.4426 | 2715962.3221 | 1095909.5653
3 | 2715974.0391 | 1095910.6896 | 2715977.5922 | 1095908.0222 | 2715979.7306 | 1095904.783 | 2715980.6363 | 1095899.9525 | 2715979.8178 | 1095896.1565 | 2716019.5437 | 1095897.7266
4 | 2715962.3221 | 1095909.5653 | 2715960.4794 | 1095907.0618
5 | 2715962.3221 | 1095909.5653 | 2715959.8378 | 1095914.2879 | 2715959.1449 | 1095921.7687 | 2715959.7447 | 1095925.4042
6 | 2716019.5437 | 1095897.7266 | 2715994.6069 | 1095855.5518
7 | 2716040.7041 | 1095899.3427 | 2716019.5437 | 1095897.7266
8 | 2715960.4794 | 1095907.0618 | 2715950.7335 | 1095909.8334 | 2715943.0481 | 1095912.2985
9 | 2715960.4794 | 1095907.0618 | 2715958.4692 | 1095903.5877 | 2715958.4303 | 1095898.3167
10 | 2715982.4315 | 1095976.773 | 2715981.6686 | 1095974.5456 | 2715967.5464 | 1095949.648 | 2715960.8672 | 1095932.2087 | 2715959.7447 | 1095925.4042
11 | 2715994.6069 | 1095855.5518 | 2715984.2362 | 1095838.0121
12 | 2716078.9499 | 1095909.035 | 2716040.7041 | 1095899.3427
13 | 2716040.7041 | 1095899.3427 | 2716041.7783 | 1095867.5252
14 | 2715958.4303 | 1095898.3167 | 2715954.7631 | 1095894.3774 | 2715937.513 | 1095870.1541 | 2715937.513 | 1095870.1541
15 | 2715931.4715 | 1095855.1173 | 2715931.5237 | 1095855.5298 | 2715937.513 | 1095870.1541
16 | 2716041.8007 | 1095866.8618 | 2716041.7783 | 1095867.5252
17 | 2716042.737 | 1095839.1246 | 2716041.8007 | 1095866.8618
18 | 2716042.7389 | 1095839.0691 | 2716042.737 | 1095839.1246
19 | 2716078.9499 | 1095909.035 | 2716089.3885 | 1095910.9689 | 2716098.743 | 1095909.6244 | 2716111.6546 | 1095902.5661 | 2716114.8154 | 1095901.7484
20 | 2716078.9499 | 1095909.035 | 2716079.8237 | 1095892.3394
21 | 2716043.9473 | 1095811.2932 | 2716043.202 | 1095825.3507 | 2716042.7389 | 1095839.0691
22 | 2716079.8237 | 1095892.3394 | 2716080.9925 | 1095870.0042
23 | 2716043.9663 | 1095810.9347 | 2716043.9473 | 1095811.2932
24 | 2715984.2362 | 1095838.0121 | 2715984.2362 | 1095838.0121 | 2715996.8934 | 1095823.9883 | 2716005.0718 | 1095813.2259 | 2716004.5436 | 1095796.0778
25 | 2716082.3859 | 1095843.379 | 2716080.9925 | 1095870.0042
26 | 2716045.4239 | 1095783.4375 | 2716045.4176 | 1095783.5569
27 | 2716045.4239 | 1095783.4375 | 2716057.0037 | 1095727.7252
28 | 2716045.0703 | 1095790.1075 | 2716045.4176 | 1095783.5569
29 | 2716064.4905 | 1095713.1912 | 2716057.0037 | 1095727.7252
30 | 2716045.0703 | 1095790.1075 | 2716043.9663 | 1095810.9347
31 | 2716004.5436 | 1095796.0778 | 2716003.3955 | 1095758.8001
32 | 2716082.5987 | 1095839.3123 | 2716082.3859 | 1095843.379
33 | 2715987.76 | 1095992.3295 | 2715982.4315 | 1095976.773
34 | 2715987.76 | 1095992.3295 | 2715990.3484 | 1095999.6061 | 2715992.5417 | 1096014.5916 | 2715992.8441 | 1096042.8815
35 | 2715987.76 | 1095992.3295 | 2715948.0477 | 1096002.2566
36 | 2715948.6746 | 1096054.2598 | 2715948.0477 | 1096002.2566
37 | 2715948.6746 | 1096054.2598 | 2715936.6465 | 1096079.6205
38 | 2715931.9793 | 1095915.3044 | 2715938.1042 | 1095913.8842 | 2715943.0481 | 1095912.2985
39 | 2715936.6465 | 1096079.6205 | 2715944.1433 | 1096104.5317
40 | 2715893.0999 | 1095930.6933 | 2715901.7654 | 1095961.6303
41 | 2715893.0999 | 1095930.6933 | 2715892.5303 | 1095931.6513
42 | 2715898.2729 | 1095923.12 | 2715895.2587 | 1095926.7873 | 2715893.0999 | 1095930.6933
43 | 2715858.646 | 1095962.6769 | 2715862.0472 | 1095961.4781 | 2715873.4739 | 1095955.0692 | 2715883.6141 | 1095946.6456 | 2715892.5303 | 1095931.6513
44 | 2715898.2729 | 1095923.12 | 2715884.7557 | 1095895.1686
45 | 2715898.2729 | 1095923.12 | 2715908.7919 | 1095920.681
46 | 2715931.9793 | 1095915.3044 | 2715908.7919 | 1095920.681
47 | 2715950.2405 | 1096124.7921 | 2715944.1433 | 1096104.5317
48 | 2715950.2405 | 1096124.7921 | 2715951.8227 | 1096130.0496 | 2715956.0122 | 1096155.7359
49 | 2715946.4061 | 1096169.4903 | 2715955.1713 | 1096166.5051 | 2715956.5639 | 1096161.7395 | 2715956.0122 | 1096155.7359 | 2715956.0122 | 1096155.7359
50 | 2715931.4715 | 1095855.1173 | 2715929.688 | 1095841.032

## bus_geodata
| x | y | coords
0 | 2716012.4753 | 1095939.6725
1 | 2715996.5276 | 1095932.4039
2 | 2715974.0391 | 1095910.6896
3 | 2715962.3221 | 1095909.5653
4 | 2716019.5437 | 1095897.7266
5 | 2715960.4794 | 1095907.0618
6 | 2715959.7447 | 1095925.4042
7 | 2715994.6069 | 1095855.5518
8 | 2716040.7041 | 1095899.3427
9 | 2715958.4303 | 1095898.3167
10 | 2715937.513 | 1095870.1541
11 | 2716041.7783 | 1095867.5252
12 | 2716041.8007 | 1095866.8618
13 | 2716042.737 | 1095839.1246
14 | 2716078.9499 | 1095909.035
15 | 2716042.7389 | 1095839.0691
16 | 2716114.8154 | 1095901.7484
17 | 2716079.8237 | 1095892.3394
18 | 2716043.9473 | 1095811.2932
19 | 2715984.2362 | 1095838.012
20 | 2716080.9925 | 1095870.0042
21 | 2716045.4239 | 1095783.4375
22 | 2716045.4176 | 1095783.5569
23 | 2716057.0037 | 1095727.7252
24 | 2716045.0703 | 1095790.1075
25 | 2716064.4905 | 1095713.1912
26 | 2716043.9663 | 1095810.9347
27 | 2716003.3955 | 1095758.8001
28 | 2716004.5436 | 1095796.0778
29 | 2716082.3859 | 1095843.379
30 | 2716082.5987 | 1095839.3123
31 | 2715982.4315 | 1095976.773
32 | 2715987.76 | 1095992.3295
33 | 2715992.8441 | 1096042.8815
34 | 2715948.0477 | 1096002.2566
35 | 2715948.6746 | 1096054.2598
36 | 2715943.0481 | 1095912.2985
37 | 2715936.6465 | 1096079.6205
38 | 2715901.7654 | 1095961.6303
39 | 2715893.0999 | 1095930.6933
40 | 2715892.5303 | 1095931.6513
41 | 2715898.2729 | 1095923.12
42 | 2715858.646 | 1095962.6769
43 | 2715884.7557 | 1095895.1686
44 | 2715908.7919 | 1095920.681
45 | 2715931.9793 | 1095915.3044
46 | 2715944.1433 | 1096104.5317
47 | 2715950.2405 | 1096124.7921
48 | 2715956.0122 | 1096155.7359
49 | 2715946.4061 | 1096169.4903
50 | 2715931.4715 | 1095855.1173
51 | 2715929.688 | 1095841.032
52 | 2715974.0391 | 1095910.6896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99977 | -0.0043359 | 0.014043 | 0.0035195
1 | 1 | 0 | -0.47902 | -0.12191
2 | 0.99669 | -0.062837 | 0 | 0
3 | 0.99593 | -0.077328 | 0 | 0
4 | 0.9943 | -0.10863 | 0 | 0
5 | 0.99569 | -0.082089 | 0 | 0
6 | 0.99522 | -0.090933 | 0.0032092 | 0.00080431
7 | 0.99334 | -0.12715 | 0.0063326 | 0.0015871
8 | 0.99273 | -0.13884 | 0 | 0
9 | 0.99549 | -0.085933 | 0 | 0
10 | 0.99473 | -0.10049 | 0.0079409 | 0.0019902
11 | 0.98909 | -0.2091 | 0.017138 | 0.0042952
12 | 0.98902 | -0.21037 | 0.015649 | 0.003922
13 | 0.98669 | -0.25576 | 0.015638 | 0.0039192
14 | 0.99138 | -0.16486 | 0 | 0
15 | 0.98668 | -0.25583 | 0.0175 | 0.004386
16 | 0.99122 | -0.16798 | 0.0046326 | 0.001161
17 | 0.99088 | -0.17456 | 0.0039121 | 0.00098046
18 | 0.98519 | -0.28495 | 0.016272 | 0.0040781
19 | 0.99306 | -0.13257 | 0.006314 | 0.0015824
20 | 0.99029 | -0.186 | 0.0057991 | 0.0014534
21 | 0.98455 | -0.29746 | 0.006174 | 0.0015474
22 | 0.98455 | -0.29742 | 0.0062753 | 0.0015727
23 | 0.98399 | -0.30836 | 0.0045453 | 0.0011392
24 | 0.98469 | -0.2947 | 0.0021698 | 0.0005438
25 | 0.9839 | -0.31016 | 0.0061055 | 0.0015302
26 | 0.98517 | -0.28522 | 0.016872 | 0.0042284
27 | 0.99255 | -0.14257 | 0.0035031 | 0.00087796
28 | 0.99267 | -0.14026 | 0.0052593 | 0.0013181
29 | 0.98973 | -0.19691 | 0.0058449 | 0.0014649
30 | 0.98967 | -0.19815 | 0.017153 | 0.0042991
31 | 0.99281 | -0.13681 | 0.003169 | 0.00079422
32 | 0.99143 | -0.16313 | 0 | 0
33 | 0.98894 | -0.21152 | 0.053203 | 0.013334
34 | 0.98658 | -0.2562 | 0.012812 | 0.0032109
35 | 0.98103 | -0.36369 | 0.010907 | 0.0027335
36 | 0.99463 | -0.10248 | 0.0052015 | 0.0013036
37 | 0.97832 | -0.41664 | 0.015652 | 0.0039226
38 | 0.99252 | -0.14323 | 0.0095026 | 0.0023816
39 | 0.9928 | -0.13783 | 0 | 0
40 | 0.99278 | -0.13817 | 0.0084771 | 0.0021246
41 | 0.99303 | -0.13345 | 0 | 0
42 | 0.9924 | -0.14564 | 0.0089205 | 0.0022357
43 | 0.99298 | -0.13443 | 0.0017747 | 0.00044478
44 | 0.99331 | -0.12798 | 0.0038401 | 0.00096243
45 | 0.99401 | -0.11431 | 0.02594 | 0.0065012
46 | 0.97619 | -0.45852 | 0.032513 | 0.0081484
47 | 0.97509 | -0.4801 | 0.017925 | 0.0044925
48 | 0.97398 | -0.50195 | 0.029586 | 0.007415
49 | 0.97383 | -0.505 | 0.0081889 | 0.0020523
50 | 0.9945 | -0.10495 | 0.0079506 | 0.0019926
51 | 0.9944 | -0.10686 | 0.0076547 | 0.0019185
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014043 | -0.0035195 | 0.014046 | 0.0035211 | 2.9013e-06 | 1.6245e-06 | 0.020901 | 0.020901 | 0.020901 | 0.99977 | -0.0043359 | 1 | 0 | 5.7419
1 | 0.46333 | 0.11838 | -0.46193 | -0.11749 | 0.0014032 | 0.00089642 | 0.69024 | 0.69024 | 0.69024 | 1 | 0 | 0.99669 | -0.062837 | 47.4067
2 | 0.27735 | 0.07066 | -0.27716 | -0.070536 | 0.00019375 | 0.00012337 | 0.41448 | 0.41448 | 0.41448 | 0.99669 | -0.062837 | 0.99593 | -0.077328 | 28.4669
3 | 0.18458 | 0.046828 | -0.18417 | -0.046571 | 0.00040551 | 0.00025657 | 0.27576 | 0.27577 | 0.27577 | 0.99669 | -0.062837 | 0.9943 | -0.10863 | 18.94
4 | 0.087383 | 0.021967 | -0.087363 | -0.021954 | 1.9861e-05 | 1.267e-05 | 0.13058 | 0.13058 | 0.13058 | 0.99593 | -0.077328 | 0.99569 | -0.082089 | 35.874
5 | 0.18977 | 0.04857 | -0.18965 | -0.048491 | 0.00012493 | 7.9094e-05 | 0.2839 | 0.2839 | 0.2839 | 0.99593 | -0.077328 | 0.99522 | -0.090933 | 19.4985
6 | 0.021435 | 0.0053805 | -0.021417 | -0.005369 | 1.8911e-05 | 1.1468e-05 | 0.032082 | 0.032082 | 0.032082 | 0.9943 | -0.10863 | 0.99334 | -0.12715 | 8.8138
7 | 0.16273 | 0.041191 | -0.1625 | -0.041041 | 0.00023559 | 0.00015023 | 0.24368 | 0.24368 | 0.24368 | 0.9943 | -0.10863 | 0.99273 | -0.13884 | 33.4731
8 | 0.063792 | 0.016038 | -0.06373 | -0.015999 | 6.2065e-05 | 3.9485e-05 | 0.095352 | 0.095353 | 0.095353 | 0.99569 | -0.082089 | 0.99463 | -0.10248 | 26.1958
9 | 0.023571 | 0.0059161 | -0.023567 | -0.0059134 | 4.3204e-06 | 2.6443e-06 | 0.035229 | 0.035229 | 0.035229 | 0.99569 | -0.082089 | 0.99549 | -0.085933 | 9.6783
10 | 0.18644 | 0.047686 | -0.18603 | -0.047425 | 0.00041297 | 0.00026137 | 0.2791 | 0.2791 | 0.2791 | 0.99522 | -0.090933 | 0.99281 | -0.13681 | 19.169
11 | 0.015084 | 0.0037819 | -0.01508 | -0.0037797 | 3.9014e-06 | 2.2332e-06 | 0.022596 | 0.022596 | 0.022596 | 0.99334 | -0.12715 | 0.99306 | -0.13257 | 6.2077
12 | 0.037433 | 0.0094152 | -0.037387 | -0.0093859 | 4.6467e-05 | 2.9231e-05 | 0.056121 | 0.056121 | 0.056121 | 0.99273 | -0.13884 | 0.99138 | -0.16486 | 15.4179
13 | 0.12507 | 0.031626 | -0.12465 | -0.031357 | 0.00041999 | 0.00026838 | 0.18756 | 0.18756 | 0.18756 | 0.99273 | -0.13884 | 0.98909 | -0.2091 | 51.5284
14 | 0.023567 | 0.0059134 | -0.02355 | -0.0059034 | 1.6345e-05 | 1.0005e-05 | 0.035229 | 0.035229 | 0.035229 | 0.99549 | -0.085933 | 0.99473 | -0.10049 | 9.6783
15 | 0.015609 | 0.0039132 | -0.015606 | -0.0039113 | 3.3162e-06 | 1.9119e-06 | 0.02335 | 0.02335 | 0.02335 | 0.99473 | -0.10049 | 0.9945 | -0.10495 | 6.415
16 | 0.10751 | 0.027062 | -0.1075 | -0.027058 | 6.5149e-06 | 4.161e-06 | 0.16178 | 0.16178 | 0.16178 | 0.98909 | -0.2091 | 0.98902 | -0.21037 | 44.4452
17 | 0.091853 | 0.023136 | -0.091654 | -0.023009 | 0.00019888 | 0.00012693 | 0.13824 | 0.13824 | 0.13824 | 0.98902 | -0.21037 | 0.98669 | -0.25576 | 37.9771
18 | 0.076016 | 0.01909 | -0.076016 | -0.01909 | 2.7388e-07 | 1.7457e-07 | 0.11465 | 0.11465 | 0.11465 | 0.98669 | -0.25576 | 0.98668 | -0.25583 | 31.4982
19 | 0.0046333 | 0.001161 | -0.0046326 | -0.001161 | 6.9002e-07 | -4.8887e-08 | 0.0069543 | 0.0069545 | 0.0069545 | 0.99138 | -0.16486 | 0.99122 | -0.16798 | 1.9106
20 | 0.032753 | 0.0082249 | -0.032738 | -0.0082155 | 1.5155e-05 | 9.484e-06 | 0.049167 | 0.049167 | 0.049167 | 0.99138 | -0.16486 | 0.99088 | -0.17456 | 13.5074
21 | 0.058516 | 0.014704 | -0.058434 | -0.014652 | 8.1221e-05 | 5.1627e-05 | 0.088261 | 0.088261 | 0.088261 | 0.98668 | -0.25583 | 0.98519 | -0.28495 | 24.2476
22 | 0.028826 | 0.007235 | -0.02881 | -0.0072252 | 1.5719e-05 | 9.7724e-06 | 0.043292 | 0.043292 | 0.043292 | 0.99088 | -0.17456 | 0.99029 | -0.186 | 11.8934
23 | 0.042163 | 0.010574 | -0.042162 | -0.010573 | 5.4599e-07 | 3.4486e-07 | 0.063684 | 0.063684 | 0.063684 | 0.98519 | -0.28495 | 0.98517 | -0.28522 | 17.4957
24 | 0.008766 | 0.0021972 | -0.0087628 | -0.0021958 | 3.2069e-06 | 1.4114e-06 | 0.013135 | 0.013135 | 0.013135 | 0.99306 | -0.13257 | 0.99267 | -0.14026 | 3.6086
25 | 0.023011 | 0.0057718 | -0.022999 | -0.0057645 | 1.1954e-05 | 7.308e-06 | 0.034578 | 0.034578 | 0.034578 | 0.99029 | -0.186 | 0.98973 | -0.19691 | 9.4996
26 | -0.016831 | -0.0042197 | 0.016831 | 0.0042197 | 2.9015e-08 | 1.705e-08 | 0.025438 | 0.025438 | 0.025438 | 0.98455 | -0.29746 | 0.98455 | -0.29742 | 6.9885
27 | 0.010657 | 0.0026723 | -0.010651 | -0.0026695 | 5.5361e-06 | 2.8199e-06 | 0.016107 | 0.016107 | 0.016107 | 0.98455 | -0.29746 | 0.98399 | -0.30836 | 4.4251
28 | -0.023106 | -0.0057924 | 0.023109 | 0.0057942 | 3.0001e-06 | 1.8366e-06 | 0.034923 | 0.034922 | 0.034923 | 0.98455 | -0.29742 | 0.98469 | -0.2947 | 9.5941
29 | 0.006106 | 0.0015303 | -0.0061055 | -0.0015302 | 5.2272e-07 | 1.2689e-07 | 0.0092337 | 0.0092337 | 0.0092337 | 0.98399 | -0.30836 | 0.9839 | -0.31016 | 2.5367
30 | -0.025279 | -0.006338 | 0.02529 | 0.0063451 | 1.1414e-05 | 7.0393e-06 | 0.038201 | 0.038201 | 0.038201 | 0.98469 | -0.2947 | 0.98517 | -0.28522 | 10.4949
31 | -0.0035031 | -0.00087796 | 0.0035035 | 0.00087773 | 3.8574e-07 | -2.3521e-07 | 0.0052518 | 0.0052516 | 0.0052518 | 0.99255 | -0.14257 | 0.99267 | -0.14026 | 1.4428
32 | 0.017154 | 0.0042997 | -0.017153 | -0.0042991 | 1.0158e-06 | 5.9777e-07 | 0.025791 | 0.025791 | 0.025791 | 0.98973 | -0.19691 | 0.98967 | -0.19815 | 7.0855
33 | 0.18286 | 0.046631 | -0.18262 | -0.046483 | 0.00023207 | 0.0001481 | 0.27435 | 0.27435 | 0.27435 | 0.99281 | -0.13681 | 0.99143 | -0.16313 | 37.6855
34 | 0.053326 | 0.013412 | -0.053203 | -0.013334 | 0.00012294 | 7.8027e-05 | 0.080052 | 0.080053 | 0.080053 | 0.99143 | -0.16313 | 0.98894 | -0.21152 | 21.9924
35 | 0.1293 | 0.033071 | -0.12872 | -0.0327 | 0.00057951 | 0.00037036 | 0.1943 | 0.1943 | 0.1943 | 0.99143 | -0.16313 | 0.98658 | -0.2562 | 53.3789
36 | 0.11591 | 0.029489 | -0.11531 | -0.029108 | 0.0005971 | 0.00038149 | 0.17498 | 0.17498 | 0.17498 | 0.98658 | -0.2562 | 0.98103 | -0.36369 | 48.0703
37 | 0.1044 | 0.026374 | -0.10414 | -0.026206 | 0.00026421 | 0.00016874 | 0.15843 | 0.15843 | 0.15843 | 0.98103 | -0.36369 | 0.97832 | -0.41664 | 43.5256
38 | 0.058528 | 0.014695 | -0.058495 | -0.014674 | 3.3012e-05 | 2.0979e-05 | 0.087571 | 0.087571 | 0.087571 | 0.99463 | -0.10248 | 0.99401 | -0.11431 | 24.0579
39 | 0.088488 | 0.022283 | -0.088311 | -0.02217 | 0.00017681 | 0.00011284 | 0.13463 | 0.13463 | 0.13463 | 0.97832 | -0.41664 | 0.97619 | -0.45852 | 36.9856
40 | -0.0095026 | -0.0023816 | 0.009505 | 0.0023827 | 2.4453e-06 | 1.1496e-06 | 0.014247 | 0.014246 | 0.014247 | 0.99252 | -0.14323 | 0.9928 | -0.13783 | 3.9139
41 | 0.017401 | 0.0043618 | -0.017401 | -0.0043617 | 2.8431e-07 | 1.6755e-07 | 0.026081 | 0.026081 | 0.026081 | 0.9928 | -0.13783 | 0.99278 | -0.13817 | 7.1651
42 | -0.026906 | -0.0067446 | 0.026912 | 0.006748 | 5.6126e-06 | 3.473e-06 | 0.040328 | 0.040327 | 0.040328 | 0.9928 | -0.13783 | 0.99303 | -0.13345 | 11.079
43 | 0.0089237 | 0.0022371 | -0.0089205 | -0.0022357 | 3.1757e-06 | 1.4206e-06 | 0.013375 | 0.013376 | 0.013376 | 0.99278 | -0.13817 | 0.9924 | -0.14564 | 3.6746
44 | 0.0017748 | 0.00044443 | -0.0017747 | -0.00044478 | 8.2344e-08 | -3.4895e-07 | 0.0026593 | 0.0026595 | 0.0026595 | 0.99303 | -0.13345 | 0.99298 | -0.13443 | 0.73062
45 | -0.028686 | -0.0071925 | 0.028694 | 0.0071971 | 7.4825e-06 | 4.649e-06 | 0.042987 | 0.042987 | 0.042987 | 0.99303 | -0.13345 | 0.99331 | -0.12798 | 11.8096
46 | -0.032534 | -0.0081595 | 0.032555 | 0.0081728 | 2.1204e-05 | 1.3262e-05 | 0.048739 | 0.048739 | 0.048739 | 0.99331 | -0.12798 | 0.99401 | -0.11431 | 13.39
47 | 0.055798 | 0.014022 | -0.055741 | -0.013985 | 5.7416e-05 | 3.6482e-05 | 0.085068 | 0.085068 | 0.085068 | 0.97619 | -0.45852 | 0.97509 | -0.4801 | 23.3703
48 | 0.037816 | 0.0094927 | -0.037776 | -0.0094679 | 3.9366e-05 | 2.4801e-05 | 0.057713 | 0.057714 | 0.057714 | 0.97509 | -0.4801 | 0.97398 | -0.50195 | 15.8554
49 | 0.0081901 | 0.0020529 | -0.0081889 | -0.0020523 | 1.1891e-06 | 5.0903e-07 | 0.012513 | 0.012513 | 0.012513 | 0.97398 | -0.50195 | 0.97383 | -0.505 | 3.4376
50 | 0.0076554 | 0.0019187 | -0.0076547 | -0.0019185 | 6.9856e-07 | 2.6287e-07 | 0.011454 | 0.011454 | 0.011454 | 0.9945 | -0.10495 | 0.9944 | -0.10686 | 3.1468

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48272 | 0.12283

## res_load
| p_mw | q_mvar
0 | 0.014043 | 0.0035195
1 | 0.0036984 | 0.0009269
2 | 0.0032092 | 0.00080431
3 | 0.0063326 | 0.0015871
4 | 0.0079409 | 0.0019902
5 | 0.017138 | 0.0042952
6 | 0.015649 | 0.003922
7 | 0.015638 | 0.0039192
8 | 0.0175 | 0.004386
9 | 0.0046326 | 0.001161
10 | 0.0039121 | 0.00098046
11 | 0.016272 | 0.0040781
12 | 0.006314 | 0.0015824
13 | 0.0057991 | 0.0014534
14 | 0.006174 | 0.0015474
15 | 0.0062753 | 0.0015727
16 | 0.0045453 | 0.0011392
17 | 0.0021698 | 0.0005438
18 | 0.0061055 | 0.0015302
19 | 0.016872 | 0.0042284
20 | 0.0035031 | 0.00087796
21 | 0.0052593 | 0.0013181
22 | 0.0058449 | 0.0014649
23 | 0.017153 | 0.0042991
24 | 0.003169 | 0.00079422
25 | 0.053203 | 0.013334
26 | 0.012812 | 0.0032109
27 | 0.010907 | 0.0027335
28 | 0.0052015 | 0.0013036
29 | 0.015652 | 0.0039226
30 | 0.0095026 | 0.0023816
31 | 0.0084771 | 0.0021246
32 | 0.0089205 | 0.0022357
33 | 0.0017747 | 0.00044478
34 | 0.0038401 | 0.00096243
35 | 0.02594 | 0.0065012
36 | 0.032513 | 0.0081484
37 | 0.017925 | 0.0044925
38 | 0.029586 | 0.007415
39 | 0.0081889 | 0.0020523
40 | 0.0079506 | 0.0019926
41 | 0.0076547 | 0.0019185

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1