## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5227-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5227-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5227-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5227-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5227-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5227-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5227-5_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5227-5_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5227-5_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_5227-5_0_4_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_5227-5_0_4_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_5227-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5227-5_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5227-5_0_4_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_5227-5_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5227-5_0_4_node_153 | 0.4 | n |  | TRUE
16 | bus_LV_5227-5_0_4_node_146 | 0.4 | n |  | TRUE
17 | bus_LV_5227-5_0_4_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_5227-5_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5227-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5227-5_0_4_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_5227-5_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5227-5_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5227-5_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5227-5_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5227-5_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5227-5_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5227-5_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5227-5_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5227-5_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5227-5_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5227-5_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5227-5_0_4_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_5227-5_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5227-5_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5227-5_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5227-5_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5227-5_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5227-5_0_4_node_111 | 0.4 | n |  | TRUE
39 | bus_LV_5227-5_0_4_node_113 | 0.4 | n |  | TRUE
40 | bus_LV_5227-5_0_4_node_108 | 0.4 | n |  | TRUE
41 | bus_LV_5227-5_0_4_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_5227-5_0_4_node_110 | 0.4 | n |  | TRUE
43 | bus_LV_5227-5_0_4_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_5227-5_0_4_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_5227-5_0_4_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_5227-5_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5227-5_0_4_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_5227-5_0_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_5227-5_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5227-5_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_5227-5_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5227-5_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5227-5_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5227-5_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5227-5_0_4_node_149 | 0.4 | n |  | TRUE
56 | bus_LV_5227-5_0_4_node_148 | 0.4 | n |  | TRUE
57 | bus_LV_5227-5_0_4_node_150 | 0.4 | n |  | TRUE
58 | bus_LV_5227-5_0_4_node_152 | 0.4 | n |  | TRUE
59 | bus_LV_5227-5_0_4_node_151 | 0.4 | n |  | TRUE
60 | bus_LV_5227-5_0_4_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_5227-5_0_4_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_5227-5_0_4_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_5227-5_0_4_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_5227-5_0_4_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_5227-5_0_4_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_5227-5_0_4_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_5227-5_0_4_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_5227-5_0_4_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_5227-5_0_4_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_5227-5_0_4_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_5227-5_0_4_node_142 | 0.4 | n |  | TRUE
72 | bus_LV_5227-5_0_4_node_143 | 0.4 | n |  | TRUE
73 | bus_LV_5227-5_0_4_node_155 | 0.4 | n |  | TRUE
74 | bus_LV_5227-5_0_4_node_144 | 0.4 | n |  | TRUE
75 | bus_MV_73_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5227-5_0_4_load_0 | 0 | 0.0011077 | 0.0002776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5227-5_0_4_load_1 | 1 | 0.0041714 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5227-5_0_4_load_4 | 4 | 0.0021567 | 0.00054052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5227-5_0_4_load_5 | 5 | 0.0027398 | 0.00068666 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5227-5_0_4_load_9 | 6 | 0.0063484 | 0.0015911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5227-5_0_4_load_6 | 7 | 0.0038907 | 0.00097509 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5227-5_0_4_load_35 | 8 | 0.0031267 | 0.00078361 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5227-5_0_4_load_7 | 11 | 0.0026799 | 0.00067165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5227-5_0_4_load_33 | 12 | 0.0023645 | 0.0005926 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5227-5_0_4_load_147 | 13 | 0.01143 | 0.0028646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5227-5_0_4_load_8 | 14 | 0.0031076 | 0.00077883 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5227-5_0_4_load_153 | 15 | 0.002968 | 0.00074385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5227-5_0_4_load_146 | 16 | 0.0018405 | 0.00046127 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5227-5_0_4_load_10 | 18 | 0.0025226 | 0.00063223 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5227-5_0_4_load_96 | 20 | 0.0029872 | 0.00074867 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5227-5_0_4_load_12 | 21 | 0.0023737 | 0.0005949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5227-5_0_4_load_13 | 22 | 0.0027075 | 0.00067855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5227-5_0_4_load_17 | 23 | 0.0029749 | 0.00074558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5227-5_0_4_load_15 | 25 | 0.0041675 | 0.0010445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5227-5_0_4_load_23 | 28 | 0.0030976 | 0.00077634 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5227-5_0_4_load_28 | 29 | 0.0062878 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5227-5_0_4_load_26 | 30 | 0.0044054 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5227-5_0_4_load_24 | 31 | 0.0063034 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5227-5_0_4_load_102 | 32 | 0.0077742 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5227-5_0_4_load_19 | 34 | 0.0037059 | 0.00092879 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5227-5_0_4_load_20 | 35 | 0.002065 | 0.00051755 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5227-5_0_4_load_21 | 36 | 0.002317 | 0.0005807 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5227-5_0_4_load_25 | 37 | 0.0036125 | 0.00090537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5227-5_0_4_load_111 | 38 | 0.016045 | 0.0040213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5227-5_0_4_load_113 | 39 | 0.005694 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5227-5_0_4_load_112 | 41 | 0.0052276 | 0.0013102 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5227-5_0_4_load_110 | 42 | 0.0074563 | 0.0018687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5227-5_0_4_load_109 | 44 | 0.008662 | 0.0021709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5227-5_0_4_load_30 | 46 | 0.0028675 | 0.00071866 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5227-5_0_4_load_95 | 47 | 0.0049878 | 0.0012501 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5227-5_0_4_load_31 | 49 | 0.0030977 | 0.00077637 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5227-5_0_4_load_32 | 50 | 0.0029963 | 0.00075094 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5227-5_0_4_load_34 | 51 | 0.0094436 | 0.0023668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5227-5_0_4_load_36 | 52 | 0.0032563 | 0.0008161 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5227-5_0_4_load_40 | 53 | 0.0035377 | 0.00088662 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5227-5_0_4_load_37 | 54 | 0.0015392 | 0.00038575 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5227-5_0_4_load_149 | 55 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5227-5_0_4_load_148 | 56 | 0.0079577 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5227-5_0_4_load_150 | 57 | 0.003103 | 0.00077767 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5227-5_0_4_load_151 | 59 | 0.004378 | 0.0010972 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5227-5_0_4_load_115 | 60 | 0.010776 | 0.0027007 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5227-5_0_4_load_97 | 61 | 0.003889 | 0.00097467 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5227-5_0_4_load_98 | 62 | 0.0025134 | 0.00062993 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5227-5_0_4_load_100 | 63 | 0.0040562 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5227-5_0_4_load_101 | 64 | 0.0017183 | 0.00043066 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5227-5_0_4_load_104 | 65 | 0.0028493 | 0.00071411 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5227-5_0_4_load_105 | 66 | 0.0043002 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5227-5_0_4_load_119 | 68 | 0.0066478 | 0.0016661 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5227-5_0_4_load_116 | 69 | 0.0036991 | 0.00092708 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5227-5_0_4_load_117 | 70 | 0.0048552 | 0.0012168 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5227-5_0_4_load_142 | 71 | 0.0060495 | 0.0015162 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5227-5_0_4_load_143 | 72 | 0.0042645 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5227-5_0_4_load_155 | 73 | 0.010211 | 0.0025592 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5227-5_0_4_load_144 | 74 | 0.013027 | 0.0032649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5227-5_0_4_line_0 |  | 0 | 1 | 0.0035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5227-5_0_4_line_1 |  | 0 | 2 | 0.033462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5227-5_0_4_line_2 |  | 1 | 3 | 0.053135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5227-5_0_4_line_3 |  | 2 | 4 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5227-5_0_4_line_4 |  | 2 | 5 | 0.0070074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5227-5_0_4_line_5 |  | 3 | 6 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5227-5_0_4_line_6 |  | 3 | 7 | 0.029411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5227-5_0_4_line_7 |  | 4 | 8 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5227-5_0_4_line_8 |  | 5 | 9 | 0.052546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5227-5_0_4_line_9 |  | 6 | 10 | 0.0018784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5227-5_0_4_line_10 |  | 7 | 11 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5227-5_0_4_line_11 |  | 8 | 12 | 0.0019815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5227-5_0_4_line_12 |  | 9 | 13 | 0.059175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5227-5_0_4_line_13 |  | 10 | 16 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5227-5_0_4_line_14 |  | 10 | 17 | 0.042028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5227-5_0_4_line_15 |  | 11 | 14 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5227-5_0_4_line_16 |  | 12 | 49 | 0.016673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5227-5_0_4_line_17 |  | 14 | 15 | 0.0091074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5227-5_0_4_line_18 |  | 17 | 73 | 0.029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5227-5_0_4_line_19 |  | 18 | 19 | 0.0080312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5227-5_0_4_line_20 |  | 18 | 20 | 0.028045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5227-5_0_4_line_21 |  | 19 | 21 | 0.0054324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5227-5_0_4_line_22 |  | 19 | 22 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5227-5_0_4_line_23 |  | 20 | 47 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5227-5_0_4_line_24 |  | 22 | 23 | 0.0014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5227-5_0_4_line_25 |  | 23 | 27 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5227-5_0_4_line_26 |  | 24 | 25 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5227-5_0_4_line_27 |  | 24 | 26 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5227-5_0_4_line_28 |  | 25 | 28 | 0.0014625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5227-5_0_4_line_29 |  | 26 | 29 | 0.005527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5227-5_0_4_line_30 |  | 26 | 30 | 0.0058841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5227-5_0_4_line_31 |  | 27 | 34 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5227-5_0_4_line_32 |  | 27 | 35 | 0.01253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5227-5_0_4_line_33 |  | 28 | 31 | 0.024785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5227-5_0_4_line_34 |  | 29 | 32 | 0.037355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5227-5_0_4_line_35 |  | 30 | 33 | 0.031201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5227-5_0_4_line_36 |  | 31 | 37 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5227-5_0_4_line_37 |  | 31 | 38 | 0.054993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5227-5_0_4_line_38 |  | 32 | 48 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5227-5_0_4_line_39 |  | 33 | 46 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5227-5_0_4_line_40 |  | 33 | 47 | 0.032759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5227-5_0_4_line_41 |  | 35 | 36 | 0.030976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5227-5_0_4_line_42 |  | 37 | 39 | 0.00187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5227-5_0_4_line_43 |  | 38 | 44 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5227-5_0_4_line_44 |  | 39 | 45 | 0.069877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5227-5_0_4_line_45 |  | 40 | 41 | 0.030245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5227-5_0_4_line_46 |  | 40 | 42 | 0.015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5227-5_0_4_line_47 |  | 40 | 43 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5227-5_0_4_line_48 |  | 42 | 44 | 0.0049761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5227-5_0_4_line_49 |  | 43 | 66 | 0.030722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5227-5_0_4_line_50 |  | 45 | 60 | 0.033429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5227-5_0_4_line_51 |  | 45 | 53 | 0.010889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5227-5_0_4_line_52 |  | 48 | 64 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5227-5_0_4_line_53 |  | 48 | 61 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5227-5_0_4_line_54 |  | 49 | 50 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5227-5_0_4_line_55 |  | 50 | 51 | 0.0048192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5227-5_0_4_line_56 |  | 50 | 52 | 0.040126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5227-5_0_4_line_57 |  | 51 | 53 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5227-5_0_4_line_58 |  | 52 | 54 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5227-5_0_4_line_59 |  | 52 | 55 | 0.085422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5227-5_0_4_line_60 |  | 55 | 57 | 0.0025142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5227-5_0_4_line_61 |  | 55 | 56 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5227-5_0_4_line_62 |  | 57 | 58 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5227-5_0_4_line_63 |  | 58 | 59 | 0.0075548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5227-5_0_4_line_64 |  | 60 | 67 | 0.0076237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5227-5_0_4_line_65 |  | 61 | 62 | 0.0066152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5227-5_0_4_line_66 |  | 62 | 63 | 0.010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5227-5_0_4_line_67 |  | 64 | 65 | 0.030671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5227-5_0_4_line_68 |  | 67 | 68 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5227-5_0_4_line_69 |  | 67 | 69 | 0.034118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5227-5_0_4_line_70 |  | 68 | 71 | 0.0068809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5227-5_0_4_line_71 |  | 69 | 70 | 0.009683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5227-5_0_4_line_72 |  | 71 | 72 | 0.017033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5227-5_0_4_line_73 |  | 72 | 74 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5227-5_0_4_trafo_118 | 0.63 MVA 20/0.4 kV | 75 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2714775.2378 | 1102436.3009 | 2714778.7427 | 1102435.8712
1 | 2714741.8871 | 1102435.6529 | 2714758.087 | 1102437.26 | 2714773.2395 | 1102436.5459 | 2714775.2378 | 1102436.3009
2 | 2714821.752 | 1102405.8865 | 2714795.7484 | 1102428.2768 | 2714788.5747 | 1102432.722 | 2714781.1757 | 1102435.573 | 2714778.7427 | 1102435.8712
3 | 2714741.8871 | 1102435.6529 | 2714741.8094 | 1102429.9364 | 2714740.5685 | 1102423.1084 | 2714738.8699 | 1102416.9182
4 | 2714741.8871 | 1102435.6529 | 2714741.1489 | 1102442.6213
5 | 2714821.752 | 1102405.8865 | 2714825.2371 | 1102403.3173 | 2714829.735 | 1102398.7505
6 | 2714821.752 | 1102405.8865 | 2714836.7703 | 1102431.1744
7 | 2714735.1279 | 1102403.2814 | 2714738.8699 | 1102416.9182
8 | 2714741.5061 | 1102494.6967 | 2714739.8064 | 1102488.3937 | 2714738.7749 | 1102481.5473 | 2714738.2222 | 1102470.2515 | 2714741.1489 | 1102442.6213
9 | 2714831.0531 | 1102397.4122 | 2714829.735 | 1102398.7505
10 | 2714836.7703 | 1102431.1744 | 2714839.6566 | 1102436.0343 | 2714843.3932 | 1102443.6893
11 | 2714734.6036 | 1102401.3706 | 2714735.1279 | 1102403.2814
12 | 2714741.5061 | 1102494.6967 | 2714743.9184 | 1102494.4199 | 2714745.045 | 1102495.4196 | 2714747.9779 | 1102501.9906 | 2714750.1601 | 1102504.4668 | 2714752.3058 | 1102506.4198 | 2714754.2581 | 1102507.5463 | 2714756.2222 | 1102508.0505 | 2714758.3509 | 1102508.0351 | 2714760.8994 | 1102507.5163 | 2714776.5967 | 1102498.0398 | 2714781.9982 | 1102511.5844
13 | 2714831.0531 | 1102397.4122 | 2714838.3386 | 1102404.6548 | 2714842.3156 | 1102411.2679
14 | 2714831.0531 | 1102397.4122 | 2714860.5678 | 1102367.4167
15 | 2714852.3959 | 1102462.1323 | 2714843.3932 | 1102443.6893
16 | 2714734.6036 | 1102401.3706 | 2714730.1916 | 1102385.2924
17 | 2714855.5935 | 1102470.6508 | 2714853.0832 | 1102463.5402 | 2714852.3959 | 1102462.1323
18 | 2714860.5678 | 1102367.4167 | 2714866.4885 | 1102376.835 | 2714874.646 | 1102393.6229
19 | 2714801.2076 | 1102245.6342 | 2714807.2797 | 1102240.3778
20 | 2714807.2797 | 1102240.3778 | 2714820.0152 | 1102215.3915
21 | 2714801.2076 | 1102245.6342 | 2714799.9367 | 1102244.0758 | 2714797.5809 | 1102241.5945
22 | 2714801.2076 | 1102245.6342 | 2714808.4203 | 1102254.4886
23 | 2714820.0152 | 1102215.3915 | 2714824.2805 | 1102197.02
24 | 2714809.3491 | 1102255.6288 | 2714808.4203 | 1102254.4886
25 | 2714816.533 | 1102264.4477 | 2714809.3491 | 1102255.6288
26 | 2714769.0385 | 1102225.2458 | 2714763.1543 | 1102234.3384
27 | 2714776.1011 | 1102209.0905 | 2714769.0385 | 1102225.2458
28 | 2714763.1543 | 1102234.3384 | 2714762.3597 | 1102235.5663
29 | 2714776.1011 | 1102209.0905 | 2714776.0648 | 1102203.5636
30 | 2714776.1011 | 1102209.0905 | 2714779.4483 | 1102204.2512
31 | 2714816.533 | 1102264.4477 | 2714832.0004 | 1102249.9748
32 | 2714816.533 | 1102264.4477 | 2714824.4451 | 1102274.1639
33 | 2714748.8889 | 1102256.3713 | 2714754.8147 | 1102247.2252 | 2714762.3597 | 1102235.5663
34 | 2714776.6886 | 1102166.2196 | 2714776.6166 | 1102169.5513 | 2714775.9795 | 1102190.5535 | 2714776.0648 | 1102203.5636
35 | 2714797.1969 | 1102178.5908 | 2714779.4483 | 1102204.2512
36 | 2714742.5574 | 1102271.3663 | 2714747.8546 | 1102257.9677 | 2714748.8889 | 1102256.3713
37 | 2714748.8889 | 1102256.3713 | 2714708.5363 | 1102219.0097
38 | 2714777.2935 | 1102138.254 | 2714776.6886 | 1102166.2196
39 | 2714797.1969 | 1102178.5908 | 2714808.2663 | 1102161.5151
40 | 2714797.1969 | 1102178.5908 | 2714824.2805 | 1102197.02
41 | 2714848.3617 | 1102267.684 | 2714829.6645 | 1102280.5736 | 2714824.4451 | 1102274.1639
42 | 2714741.8699 | 1102273.1053 | 2714742.5574 | 1102271.3663
43 | 2714708.5363 | 1102219.0097 | 2714694.6528 | 1102219.765
44 | 2714722.9428 | 1102340.0971 | 2714724.9133 | 1102330.4389 | 2714730.9959 | 1102300.6002 | 2714740.555 | 1102276.4311 | 2714741.8699 | 1102273.1053
45 | 2714673.9491 | 1102220.8912 | 2714667.9777 | 1102250.5412
46 | 2714673.9491 | 1102220.8912 | 2714689.684 | 1102220.0353
47 | 2714676.2081 | 1102198.0073 | 2714673.9491 | 1102220.8912
48 | 2714694.6528 | 1102219.765 | 2714689.684 | 1102220.0353
49 | 2714676.2081 | 1102198.0073 | 2714672.0852 | 1102167.5635
50 | 2714722.9428 | 1102340.0971 | 2714740.1381 | 1102333.2839 | 2714752.9597 | 1102325.6282
51 | 2714722.9428 | 1102340.0971 | 2714723.0948 | 1102350.985
52 | 2714777.2935 | 1102138.254 | 2714774.5111 | 1102138.8574 | 2714773.4625 | 1102139.4602 | 2714772.6055 | 1102140.5781 | 2714771.0856 | 1102148.9673
53 | 2714777.2935 | 1102138.254 | 2714777.5006 | 1102120.8617
54 | 2714730.1916 | 1102385.2924 | 2714725.6065 | 1102368.583
55 | 2714724.3312 | 1102363.9355 | 2714725.6065 | 1102368.583
56 | 2714725.6065 | 1102368.583 | 2714687.9943 | 1102382.5633
57 | 2714724.3312 | 1102363.9355 | 2714723.219 | 1102359.8823 | 2714723.0948 | 1102350.985
58 | 2714680.2516 | 1102363.1129 | 2714686.3837 | 1102378.7883 | 2714687.9943 | 1102382.5633
59 | 2714687.9943 | 1102382.5633 | 2714613.998 | 1102425.2422
60 | 2714613.998 | 1102425.2422 | 2714612.656 | 1102423.1162
61 | 2714620.7432 | 1102446.7618 | 2714613.998 | 1102425.2422 | 2714613.998 | 1102425.2422
62 | 2714601.6809 | 1102405.7299 | 2714612.656 | 1102423.1162
63 | 2714601.6809 | 1102405.7299 | 2714597.1248 | 1102399.7036
64 | 2714759.5053 | 1102321.7198 | 2714752.9597 | 1102325.6282
65 | 2714777.5006 | 1102120.8617 | 2714777.5793 | 1102114.2469
66 | 2714776.9212 | 1102103.5384 | 2714777.6618 | 1102107.3178 | 2714777.5793 | 1102114.2469
67 | 2714752.89 | 1102162.3425 | 2714761.2457 | 1102164.9911 | 2714764.4645 | 1102165.052 | 2714767.0781 | 1102163.9562 | 2714768.6647 | 1102162.3295 | 2714771.0856 | 1102148.9673
68 | 2714759.5053 | 1102321.7198 | 2714766.5416 | 1102330.6922 | 2714768.5522 | 1102333.719
69 | 2714759.5053 | 1102321.7198 | 2714788.8689 | 1102304.3476
70 | 2714772.3595 | 1102339.4506 | 2714768.5522 | 1102333.719
71 | 2714797.2027 | 1102299.4171 | 2714788.8689 | 1102304.3476
72 | 2714772.3595 | 1102339.4506 | 2714781.784 | 1102353.6384
73 | 2714789.8109 | 1102365.7223 | 2714781.784 | 1102353.6384

## bus_geodata
| x | y | coords
0 | 2714775.2378 | 1102436.3009
1 | 2714778.7427 | 1102435.8712
2 | 2714741.8871 | 1102435.6529
3 | 2714821.752 | 1102405.8865
4 | 2714738.8699 | 1102416.9182
5 | 2714741.1489 | 1102442.6213
6 | 2714829.735 | 1102398.7505
7 | 2714836.7703 | 1102431.1744
8 | 2714735.1279 | 1102403.2814
9 | 2714741.5061 | 1102494.6967
10 | 2714831.0531 | 1102397.4122
11 | 2714843.3932 | 1102443.6893
12 | 2714734.6036 | 1102401.3706
13 | 2714781.9982 | 1102511.5844
14 | 2714852.3959 | 1102462.1323
15 | 2714855.5935 | 1102470.6508
16 | 2714842.3156 | 1102411.2679
17 | 2714860.5678 | 1102367.4167
18 | 2714807.2797 | 1102240.3778
19 | 2714801.2076 | 1102245.6342
20 | 2714820.0152 | 1102215.3915
21 | 2714797.5809 | 1102241.5945
22 | 2714808.4203 | 1102254.4886
23 | 2714809.3491 | 1102255.6288
24 | 2714769.0385 | 1102225.2458
25 | 2714763.1543 | 1102234.3384
26 | 2714776.1011 | 1102209.0905
27 | 2714816.533 | 1102264.4477
28 | 2714762.3597 | 1102235.5663
29 | 2714776.0648 | 1102203.5636
30 | 2714779.4483 | 1102204.2512
31 | 2714748.8889 | 1102256.3713
32 | 2714776.6886 | 1102166.2196
33 | 2714797.1969 | 1102178.5908
34 | 2714832.0004 | 1102249.9748
35 | 2714824.4451 | 1102274.1639
36 | 2714848.3617 | 1102267.684
37 | 2714742.5574 | 1102271.3663
38 | 2714708.5363 | 1102219.0097
39 | 2714741.8699 | 1102273.1053
40 | 2714673.9491 | 1102220.8912
41 | 2714667.9777 | 1102250.5412
42 | 2714689.684 | 1102220.0353
43 | 2714676.2081 | 1102198.0073
44 | 2714694.6528 | 1102219.765
45 | 2714722.9428 | 1102340.0971
46 | 2714808.2663 | 1102161.5151
47 | 2714824.2805 | 1102197.02
48 | 2714777.2935 | 1102138.254
49 | 2714730.1916 | 1102385.2924
50 | 2714725.6065 | 1102368.583
51 | 2714724.3312 | 1102363.9355
52 | 2714687.9943 | 1102382.5633
53 | 2714723.0948 | 1102350.985
54 | 2714680.2516 | 1102363.1129
55 | 2714613.998 | 1102425.2422
56 | 2714620.7432 | 1102446.7618
57 | 2714612.656 | 1102423.1162
58 | 2714601.6809 | 1102405.7299
59 | 2714597.1248 | 1102399.7036
60 | 2714752.9597 | 1102325.6282
61 | 2714777.5006 | 1102120.8617
62 | 2714777.5793 | 1102114.2469
63 | 2714776.9212 | 1102103.5384
64 | 2714771.0856 | 1102148.9673
65 | 2714752.89 | 1102162.3425
66 | 2714672.0852 | 1102167.5635
67 | 2714759.5053 | 1102321.7198
68 | 2714768.5522 | 1102333.719
69 | 2714788.8689 | 1102304.3476
70 | 2714797.2027 | 1102299.4171
71 | 2714772.3595 | 1102339.4506
72 | 2714781.784 | 1102353.6384
73 | 2714874.646 | 1102393.6229
74 | 2714789.8109 | 1102365.7223
75 | 2714722.9428 | 1102340.0971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1