## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5227-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5227-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5227-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5227-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5227-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5227-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5227-6_0_4_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_5227-6_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5227-6_0_4_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_5227-6_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5227-6_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5227-6_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5227-6_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5227-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5227-6_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5227-6_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5227-6_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5227-6_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5227-6_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5227-6_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5227-6_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_5227-6_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5227-6_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5227-6_0_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_5227-6_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5227-6_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5227-6_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5227-6_0_4_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_5227-6_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5227-6_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5227-6_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5227-6_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5227-6_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5227-6_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5227-6_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5227-6_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5227-6_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5227-6_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5227-6_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5227-6_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5227-6_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5227-6_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5227-6_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5227-6_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5227-6_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5227-6_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5227-6_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5227-6_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5227-6_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5227-6_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5227-6_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5227-6_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5227-6_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5227-6_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5227-6_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5227-6_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5227-6_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5227-6_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5227-6_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5227-6_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5227-6_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5227-6_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5227-6_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5227-6_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5227-6_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_5227-6_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5227-6_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_5227-6_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_5227-6_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5227-6_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5227-6_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5227-6_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5227-6_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5227-6_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5227-6_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_5227-6_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5227-6_0_4_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_5227-6_0_4_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5227-6_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5227-6_0_4_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_5227-6_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_5227-6_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5227-6_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_5227-6_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5227-6_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5227-6_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5227-6_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5227-6_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5227-6_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_5227-6_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5227-6_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_5227-6_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_5227-6_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_73_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5227-6_0_4_load_0 | 0 | 0.0041576 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5227-6_0_4_load_1 | 1 | 0.0029819 | 0.00074733 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5227-6_0_4_load_3 | 3 | 0.0024333 | 0.00060985 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5227-6_0_4_load_4 | 4 | 0.010372 | 0.0025995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5227-6_0_4_load_5 | 5 | 0.0036558 | 0.00091624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5227-6_0_4_load_6 | 7 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5227-6_0_4_load_7 | 9 | 0.0025519 | 0.00063956 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5227-6_0_4_load_14 | 10 | 0.003591 | 0.00089999 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5227-6_0_4_load_8 | 12 | 0.004231 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5227-6_0_4_load_9 | 13 | 0.0037338 | 0.00093577 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5227-6_0_4_load_10 | 14 | 0.0031432 | 0.00078776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5227-6_0_4_load_11 | 15 | 0.0036627 | 0.00091796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5227-6_0_4_load_12 | 16 | 0.0036429 | 0.000913 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5227-6_0_4_load_13 | 17 | 0.0037071 | 0.00092909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5227-6_0_4_load_16 | 18 | 0.0075853 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5227-6_0_4_load_38 | 20 | 0.0049086 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5227-6_0_4_load_37 | 21 | 0.0083623 | 0.0020958 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5227-6_0_4_load_18 | 22 | 0.0064551 | 0.0016178 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5227-6_0_4_load_40 | 24 | 0.0053928 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5227-6_0_4_load_74 | 26 | 0.0037406 | 0.00093748 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5227-6_0_4_load_19 | 28 | 0.0045148 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5227-6_0_4_load_20 | 29 | 0.0061274 | 0.0015357 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5227-6_0_4_load_22 | 31 | 0.0042414 | 0.001063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5227-6_0_4_load_25 | 33 | 0.0049173 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5227-6_0_4_load_34 | 34 | 0.0068233 | 0.0017101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5227-6_0_4_load_32 | 36 | 0.0063249 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5227-6_0_4_load_26 | 37 | 0.00053424 | 0.00013389 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5227-6_0_4_load_35 | 38 | 0.0031283 | 0.00078403 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5227-6_0_4_load_31 | 39 | 0.0032358 | 0.00081097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5227-6_0_4_load_28 | 40 | 0.009502 | 0.0023814 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5227-6_0_4_load_33 | 41 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5227-6_0_4_load_27 | 42 | 0.010741 | 0.0026919 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5227-6_0_4_load_29 | 43 | 0.0075431 | 0.0018905 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5227-6_0_4_load_36 | 44 | 0.0032857 | 0.00082347 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5227-6_0_4_load_39 | 45 | 0.0041449 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5227-6_0_4_load_42 | 47 | 0.0065055 | 0.0016304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5227-6_0_4_load_43 | 48 | 0.0026839 | 0.00067265 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5227-6_0_4_load_44 | 49 | 0.0030508 | 0.00076461 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5227-6_0_4_load_45 | 50 | 0.0057074 | 0.0014304 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5227-6_0_4_load_46 | 51 | 0.0050265 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5227-6_0_4_load_52 | 52 | 0.0022961 | 0.00057546 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5227-6_0_4_load_57 | 53 | 0.0052944 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5227-6_0_4_load_53 | 55 | 0.0067554 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5227-6_0_4_load_58 | 56 | 0.0058408 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5227-6_0_4_load_51 | 57 | 0.0049496 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5227-6_0_4_load_48 | 58 | 0.0038337 | 0.00096081 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5227-6_0_4_load_49 | 59 | 0.0042579 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5227-6_0_4_load_50 | 60 | 0.0034146 | 0.00085577 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5227-6_0_4_load_54 | 61 | 0.0020719 | 0.00051926 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5227-6_0_4_load_56 | 63 | 0.0022474 | 0.00056325 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5227-6_0_4_load_63 | 65 | 0.0051501 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5227-6_0_4_load_61 | 66 | 0.0034828 | 0.00087286 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5227-6_0_4_load_67 | 67 | 0.003529 | 0.00088445 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5227-6_0_4_load_64 | 69 | 0.0053763 | 0.0013474 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5227-6_0_4_load_65 | 70 | 0.016168 | 0.0040521 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5227-6_0_4_load_68 | 71 | 0.00562 | 0.0014085 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5227-6_0_4_load_70 | 73 | 0.0092979 | 0.0023303 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5227-6_0_4_load_95 | 76 | 0.0067991 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5227-6_0_4_load_76 | 78 | 0.0037424 | 0.00093794 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5227-6_0_4_load_91 | 79 | 0.0094309 | 0.0023636 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5227-6_0_4_load_89 | 80 | 0.0034818 | 0.00087263 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5227-6_0_4_load_77 | 81 | 0.0032258 | 0.00080846 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5227-6_0_4_load_88 | 82 | 0.0035296 | 0.0008846 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5227-6_0_4_load_78 | 83 | 0.0067098 | 0.0016816 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5227-6_0_4_load_79 | 84 | 0.0035537 | 0.00089064 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5227-6_0_4_load_80 | 85 | 0.0030188 | 0.00075658 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5227-6_0_4_load_84 | 86 | 0.0077139 | 0.0019333 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5227-6_0_4_load_83 | 87 | 0.0067041 | 0.0016802 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5227-6_0_4_load_86 | 89 | 0.0062815 | 0.0015743 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5227-6_0_4_load_92 | 90 | 0.0062476 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5227-6_0_4_load_93 | 91 | 0.0049077 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5227-6_0_4_load_90 | 92 | 0.0064565 | 0.0016182 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5227-6_0_4_line_0 |  | 0 | 1 | 0.009241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5227-6_0_4_line_1 |  | 0 | 2 | 0.037719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5227-6_0_4_line_2 |  | 1 | 3 | 0.0021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5227-6_0_4_line_3 |  | 2 | 4 | 0.024211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5227-6_0_4_line_4 |  | 3 | 5 | 0.0077762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5227-6_0_4_line_5 |  | 4 | 6 | 0.037145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5227-6_0_4_line_6 |  | 5 | 7 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5227-6_0_4_line_7 |  | 6 | 8 | 0.005076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5227-6_0_4_line_8 |  | 7 | 9 | 0.0033243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5227-6_0_4_line_9 |  | 8 | 88 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5227-6_0_4_line_10 |  | 8 | 87 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5227-6_0_4_line_11 |  | 9 | 10 | 0.0020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5227-6_0_4_line_12 |  | 10 | 11 | 0.036275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5227-6_0_4_line_13 |  | 11 | 19 | 0.008858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5227-6_0_4_line_14 |  | 11 | 18 | 0.026598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5227-6_0_4_line_15 |  | 12 | 13 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5227-6_0_4_line_16 |  | 12 | 14 | 0.0080328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5227-6_0_4_line_17 |  | 13 | 15 | 0.0082127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5227-6_0_4_line_18 |  | 15 | 16 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5227-6_0_4_line_19 |  | 16 | 17 | 0.0020781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5227-6_0_4_line_20 |  | 17 | 18 | 0.040929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5227-6_0_4_line_21 |  | 19 | 20 | 0.012725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5227-6_0_4_line_22 |  | 19 | 21 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5227-6_0_4_line_23 |  | 20 | 24 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5227-6_0_4_line_24 |  | 21 | 25 | 0.058551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5227-6_0_4_line_25 |  | 22 | 23 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5227-6_0_4_line_26 |  | 23 | 26 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5227-6_0_4_line_27 |  | 23 | 27 | 0.062134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5227-6_0_4_line_28 |  | 24 | 45 | 0.007611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5227-6_0_4_line_29 |  | 25 | 34 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5227-6_0_4_line_30 |  | 25 | 30 | 0.017088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5227-6_0_4_line_31 |  | 26 | 78 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5227-6_0_4_line_32 |  | 27 | 79 | 0.016989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5227-6_0_4_line_33 |  | 27 | 80 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5227-6_0_4_line_34 |  | 28 | 29 | 0.0075313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5227-6_0_4_line_35 |  | 28 | 30 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5227-6_0_4_line_36 |  | 29 | 31 | 0.014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5227-6_0_4_line_37 |  | 30 | 32 | 0.038393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5227-6_0_4_line_38 |  | 31 | 33 | 0.026245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5227-6_0_4_line_39 |  | 32 | 35 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5227-6_0_4_line_40 |  | 32 | 36 | 0.015621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5227-6_0_4_line_41 |  | 33 | 37 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5227-6_0_4_line_42 |  | 34 | 38 | 0.033839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5227-6_0_4_line_43 |  | 35 | 39 | 0.064877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5227-6_0_4_line_44 |  | 35 | 40 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5227-6_0_4_line_45 |  | 36 | 41 | 0.040834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5227-6_0_4_line_46 |  | 38 | 44 | 0.0016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5227-6_0_4_line_47 |  | 40 | 42 | 0.025859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5227-6_0_4_line_48 |  | 42 | 43 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5227-6_0_4_line_49 |  | 45 | 46 | 0.03272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5227-6_0_4_line_50 |  | 46 | 47 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5227-6_0_4_line_51 |  | 46 | 48 | 0.047355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5227-6_0_4_line_52 |  | 46 | 49 | 0.027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5227-6_0_4_line_53 |  | 46 | 50 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5227-6_0_4_line_54 |  | 47 | 51 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5227-6_0_4_line_55 |  | 48 | 52 | 0.0012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5227-6_0_4_line_56 |  | 49 | 53 | 0.0026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5227-6_0_4_line_57 |  | 51 | 54 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5227-6_0_4_line_58 |  | 52 | 55 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5227-6_0_4_line_59 |  | 53 | 56 | 0.0016264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5227-6_0_4_line_60 |  | 54 | 57 | 0.023319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5227-6_0_4_line_61 |  | 54 | 58 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5227-6_0_4_line_62 |  | 55 | 61 | 0.0065461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5227-6_0_4_line_63 |  | 56 | 64 | 0.036727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5227-6_0_4_line_64 |  | 58 | 59 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5227-6_0_4_line_65 |  | 59 | 60 | 0.0051274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5227-6_0_4_line_66 |  | 61 | 62 | 0.062038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5227-6_0_4_line_67 |  | 62 | 63 | 0.046303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5227-6_0_4_line_68 |  | 64 | 65 | 0.0016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5227-6_0_4_line_69 |  | 64 | 66 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5227-6_0_4_line_70 |  | 65 | 67 | 0.0075318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5227-6_0_4_line_71 |  | 67 | 68 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5227-6_0_4_line_72 |  | 68 | 71 | 0.029214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5227-6_0_4_line_73 |  | 68 | 70 | 0.036278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5227-6_0_4_line_74 |  | 69 | 70 | 0.0051317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5227-6_0_4_line_75 |  | 71 | 72 | 0.00062833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5227-6_0_4_line_76 |  | 72 | 73 | 0.037246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5227-6_0_4_line_77 |  | 73 | 74 | 0.026814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5227-6_0_4_line_78 |  | 74 | 75 | 0.027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5227-6_0_4_line_79 |  | 75 | 76 | 0.01469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5227-6_0_4_line_80 |  | 76 | 77 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5227-6_0_4_line_81 |  | 77 | 91 | 0.037491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5227-6_0_4_line_82 |  | 78 | 81 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5227-6_0_4_line_83 |  | 80 | 82 | 0.017732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5227-6_0_4_line_84 |  | 81 | 83 | 0.0041387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5227-6_0_4_line_85 |  | 82 | 92 | 0.0015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5227-6_0_4_line_86 |  | 83 | 84 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5227-6_0_4_line_87 |  | 84 | 85 | 0.007669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5227-6_0_4_line_88 |  | 85 | 86 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5227-6_0_4_line_89 |  | 86 | 87 | 0.0082614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5227-6_0_4_line_90 |  | 88 | 89 | 0.034468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5227-6_0_4_line_91 |  | 90 | 91 | 0.026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5227-6_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 93 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2715029.9973 | 1101929.638 | 2715030.232 | 1101935.4016 | 2715030.5745 | 1101938.8573
1 | 2715028.4624 | 1101891.9498 | 2715029.9973 | 1101929.638
2 | 2715030.7823 | 1101940.9534 | 2715030.5745 | 1101938.8573
3 | 2715028.4624 | 1101891.9498 | 2715004.6196 | 1101896.1575
4 | 2715031.5494 | 1101948.6917 | 2715030.7823 | 1101940.9534
5 | 2714968.0394 | 1101902.6131 | 2715004.6196 | 1101896.1575
6 | 2715031.5494 | 1101948.6917 | 2715032.7167 | 1101960.4668
7 | 2714963.0296 | 1101903.5188 | 2714968.0394 | 1101902.6131
8 | 2715033.0446 | 1101963.7749 | 2715032.7167 | 1101960.4668
9 | 2714940.5826 | 1101905.9512 | 2714963.0296 | 1101903.5188
10 | 2714963.0296 | 1101903.5188 | 2714964.5921 | 1101929.3753
11 | 2715033.2427 | 1101965.7737 | 2715033.0446 | 1101963.7749
12 | 2715036.821 | 1102001.8715 | 2715033.2427 | 1101965.7737
13 | 2715036.821 | 1102001.8715 | 2715038.3508 | 1102010.5952
14 | 2715036.821 | 1102001.8715 | 2715062.1544 | 1101993.7689
15 | 2715088.8378 | 1101941.2562 | 2715087.3073 | 1101931.8693 | 2715085.1453 | 1101927.387
16 | 2715081.6554 | 1101920.1518 | 2715085.1453 | 1101927.387
17 | 2715088.8378 | 1101941.2562 | 2715090.0532 | 1101948.7105 | 2715090.1137 | 1101949.3677
18 | 2715090.1137 | 1101949.3677 | 2715092.2559 | 1101972.6183
19 | 2715092.4465 | 1101974.6876 | 2715092.2559 | 1101972.6183
20 | 2715062.1544 | 1101993.7689 | 2715091.8247 | 1101984.2793 | 2715092.9676 | 1101980.3427 | 2715092.4465 | 1101974.6876
21 | 2715038.3508 | 1102010.5952 | 2715041.6364 | 1102022.889
22 | 2715038.3508 | 1102010.5952 | 2715057.3222 | 1102004.204
23 | 2715048.607 | 1102048.9711 | 2715048.607 | 1102048.9711 | 2715041.6364 | 1102022.889
24 | 2715112.8088 | 1101985.5111 | 2715057.3222 | 1102004.204
25 | 2714970.2901 | 1102023.671 | 2714990.8282 | 1102016.9415
26 | 2714970.2901 | 1102023.671 | 2714969.4706 | 1102010.1097
27 | 2714970.2901 | 1102023.671 | 2714947.1604 | 1102030.7047 | 2714945.1923 | 1101992.7973
28 | 2715051.075 | 1102056.1708 | 2715048.607 | 1102048.9711
29 | 2715112.8088 | 1101985.5111 | 2715115.1634 | 1101998.1704
30 | 2715112.8088 | 1101985.5111 | 2715129.0435 | 1101980.0373
31 | 2714969.4706 | 1102010.1097 | 2714968.4924 | 1101993.9219
32 | 2714945.1923 | 1101992.7973 | 2714928.3399 | 1101990.6497
33 | 2714945.1923 | 1101992.7973 | 2714943.996 | 1101969.7257 | 2714939.0381 | 1101969.5817
34 | 2715125.1178 | 1101956.4415 | 2715126.3539 | 1101963.8706
35 | 2715129.0435 | 1101980.0373 | 2715126.3539 | 1101963.8706
36 | 2715125.1178 | 1101956.4415 | 2715122.8143 | 1101942.5958
37 | 2715165.5248 | 1101967.7539 | 2715129.0435 | 1101980.0373
38 | 2715118.5762 | 1101916.6956 | 2715120.1566 | 1101926.6216 | 2715122.8143 | 1101942.5958
39 | 2715186.5429 | 1101960.6699 | 2715165.5248 | 1101967.7539
40 | 2715165.5248 | 1101967.7539 | 2715168.8622 | 1101983.014
41 | 2715116.3318 | 1101902.5995 | 2715118.5762 | 1101916.6956
42 | 2715115.1634 | 1101998.1704 | 2715117.6133 | 1102011.3419 | 2715115.0843 | 1102015.7192 | 2715117.9062 | 1102030.8448
43 | 2715186.5429 | 1101960.6699 | 2715202.6182 | 1101957.4837 | 2715208.1056 | 1101966.8942 | 2715203.0179 | 1102004.1434
44 | 2715186.5429 | 1101960.6699 | 2715184.5117 | 1101945.9684
45 | 2715168.8622 | 1101983.014 | 2715174.2712 | 1102007.7469 | 2715170.1346 | 1102022.7014
46 | 2715118.2032 | 1102032.4368 | 2715117.9062 | 1102030.8448
47 | 2715180.9728 | 1101920.353 | 2715184.5117 | 1101945.9684
48 | 2715178.8729 | 1101905.1535 | 2715180.9728 | 1101920.353
49 | 2715061.6847 | 1102087.1224 | 2715051.075 | 1102056.1708
50 | 2715061.6847 | 1102087.1224 | 2715081.1885 | 1102085.0986
51 | 2715061.6847 | 1102087.1224 | 2715072.8921 | 1102096.5411 | 2715093.3779 | 1102122.0481
52 | 2715061.6847 | 1102087.1224 | 2715034.0527 | 1102087.3368
53 | 2715061.6847 | 1102087.1224 | 2715066.8626 | 1102105.6439
54 | 2715081.1885 | 1102085.0986 | 2715091.9618 | 1102083.9808
55 | 2715094.1809 | 1102123.0479 | 2715093.3779 | 1102122.0481
56 | 2715034.0527 | 1102087.3368 | 2715031.355 | 1102087.3578
57 | 2715115.5002 | 1102081.5383 | 2715091.9618 | 1102083.9808
58 | 2715094.1809 | 1102123.0479 | 2715107.4246 | 1102139.5377
59 | 2715031.355 | 1102087.3578 | 2715029.7286 | 1102087.3704
60 | 2715115.5002 | 1102081.5383 | 2715138.6951 | 1102079.137
61 | 2715115.5002 | 1102081.5383 | 2715119.6169 | 1102071.3547
62 | 2715111.5237 | 1102144.6415 | 2715107.4246 | 1102139.5377
63 | 2714993.0032 | 1102087.6554 | 2715029.7286 | 1102087.3704
64 | 2715119.6169 | 1102071.3547 | 2715127.1249 | 1102052.7816
65 | 2715129.0466 | 1102048.0279 | 2715127.1249 | 1102052.7816
66 | 2715146.4372 | 1102195.8244 | 2715123.1922 | 1102159.1701 | 2715111.5237 | 1102144.6415
67 | 2715146.4372 | 1102195.8244 | 2715156.0341 | 1102185.6662 | 2715157.7473 | 1102176.1477 | 2715152.4227 | 1102154.1257
68 | 2714993.0032 | 1102087.6554 | 2714991.415 | 1102087.4497
69 | 2714993.0032 | 1102087.6554 | 2714992.8318 | 1102103.7166
70 | 2714991.415 | 1102087.4497 | 2714983.9456 | 1102086.4824
71 | 2714972.4877 | 1102084.9986 | 2714983.9456 | 1102086.4824
72 | 2714972.4877 | 1102084.9986 | 2714956.2886 | 1102082.8905 | 2714943.657 | 1102080.3826
73 | 2714972.4877 | 1102084.9986 | 2714972.0247 | 1102048.7231
74 | 2714971.9592 | 1102043.5918 | 2714972.0247 | 1102048.7231
75 | 2714943.657 | 1102080.3826 | 2714943.0407 | 1102080.2603
76 | 2714943.0407 | 1102080.2603 | 2714906.5118 | 1102072.9861
77 | 2714879.8402 | 1102074.6052 | 2714903.9835 | 1102072.4827 | 2714906.5118 | 1102072.9861
78 | 2714890.1395 | 1102048.5935 | 2714879.8402 | 1102074.6052
79 | 2714890.1395 | 1102048.5935 | 2714876.1768 | 1102044.0289
80 | 2714861.7668 | 1102039.0171 | 2714875.9157 | 1102043.9435 | 2714876.1768 | 1102044.0289
81 | 2714861.7668 | 1102039.0171 | 2714868.7456 | 1102002.1814
82 | 2714968.4924 | 1101993.9219 | 2714967.4115 | 1101976.0339
83 | 2714921.3138 | 1101969.0668 | 2714939.0381 | 1101969.5817
84 | 2714967.1619 | 1101971.9028 | 2714967.4115 | 1101976.0339
85 | 2714919.8129 | 1101969.0232 | 2714921.3138 | 1101969.0668
86 | 2714967.1619 | 1101971.9028 | 2714966.404 | 1101959.3613
87 | 2714965.9414 | 1101951.7063 | 2714966.404 | 1101959.3613
88 | 2714965.9414 | 1101951.7063 | 2714965.0904 | 1101937.6217
89 | 2714964.5921 | 1101929.3753 | 2714965.0904 | 1101937.6217
90 | 2714940.5826 | 1101905.9512 | 2714941.9874 | 1101940.3908
91 | 2714873.7556 | 1101975.7376 | 2714868.7456 | 1102002.1814

## bus_geodata
| x | y | coords
0 | 2715029.9973 | 1101929.638
1 | 2715030.5745 | 1101938.8573
2 | 2715028.4624 | 1101891.9498
3 | 2715030.7823 | 1101940.9534
4 | 2715004.6196 | 1101896.1575
5 | 2715031.5494 | 1101948.6917
6 | 2714968.0394 | 1101902.6131
7 | 2715032.7167 | 1101960.4668
8 | 2714963.0296 | 1101903.5188
9 | 2715033.0446 | 1101963.7749
10 | 2715033.2427 | 1101965.7737
11 | 2715036.821 | 1102001.8715
12 | 2715085.1453 | 1101927.387
13 | 2715088.8378 | 1101941.2562
14 | 2715081.6554 | 1101920.1518
15 | 2715090.1137 | 1101949.3677
16 | 2715092.2559 | 1101972.6183
17 | 2715092.4465 | 1101974.6876
18 | 2715062.1544 | 1101993.7689
19 | 2715038.3508 | 1102010.5952
20 | 2715041.6364 | 1102022.889
21 | 2715057.3222 | 1102004.204
22 | 2714990.8282 | 1102016.9415
23 | 2714970.2901 | 1102023.671
24 | 2715048.607 | 1102048.9711
25 | 2715112.8088 | 1101985.5111
26 | 2714969.4706 | 1102010.1097
27 | 2714945.1923 | 1101992.7973
28 | 2715126.3539 | 1101963.8706
29 | 2715125.1178 | 1101956.4415
30 | 2715129.0435 | 1101980.0373
31 | 2715122.8143 | 1101942.5958
32 | 2715165.5248 | 1101967.7539
33 | 2715118.5762 | 1101916.6956
34 | 2715115.1634 | 1101998.1704
35 | 2715186.5429 | 1101960.6699
36 | 2715168.8622 | 1101983.014
37 | 2715116.3318 | 1101902.5995
38 | 2715117.9062 | 1102030.8448
39 | 2715203.0179 | 1102004.1434
40 | 2715184.5117 | 1101945.9684
41 | 2715170.1346 | 1102022.7014
42 | 2715180.9728 | 1101920.353
43 | 2715178.8729 | 1101905.1535
44 | 2715118.2032 | 1102032.4368
45 | 2715051.075 | 1102056.1708
46 | 2715061.6847 | 1102087.1224
47 | 2715081.1885 | 1102085.0986
48 | 2715093.3779 | 1102122.0481
49 | 2715034.0527 | 1102087.3368
50 | 2715066.8626 | 1102105.6439
51 | 2715091.9618 | 1102083.9808
52 | 2715094.1809 | 1102123.0479
53 | 2715031.355 | 1102087.3578
54 | 2715115.5002 | 1102081.5383
55 | 2715107.4246 | 1102139.5377
56 | 2715029.7286 | 1102087.3704
57 | 2715138.6951 | 1102079.137
58 | 2715119.6169 | 1102071.3547
59 | 2715127.1249 | 1102052.7816
60 | 2715129.0466 | 1102048.0279
61 | 2715111.5237 | 1102144.6415
62 | 2715146.4372 | 1102195.8244
63 | 2715152.4227 | 1102154.1257
64 | 2714993.0032 | 1102087.6554
65 | 2714991.415 | 1102087.4497
66 | 2714992.8318 | 1102103.7166
67 | 2714983.9456 | 1102086.4824
68 | 2714972.4877 | 1102084.9986
69 | 2714971.9592 | 1102043.5918
70 | 2714972.0247 | 1102048.7231
71 | 2714943.657 | 1102080.3826
72 | 2714943.0407 | 1102080.2603
73 | 2714906.5118 | 1102072.9861
74 | 2714879.8402 | 1102074.6052
75 | 2714890.1395 | 1102048.5935
76 | 2714876.1768 | 1102044.0289
77 | 2714861.7668 | 1102039.0171
78 | 2714968.4924 | 1101993.9219
79 | 2714928.3399 | 1101990.6497
80 | 2714939.0381 | 1101969.5817
81 | 2714967.4115 | 1101976.0339
82 | 2714921.3138 | 1101969.0668
83 | 2714967.1619 | 1101971.9028
84 | 2714966.404 | 1101959.3613
85 | 2714965.9414 | 1101951.7063
86 | 2714965.0904 | 1101937.6217
87 | 2714964.5921 | 1101929.3753
88 | 2714940.5826 | 1101905.9512
89 | 2714941.9874 | 1101940.3908
90 | 2714873.7556 | 1101975.7376
91 | 2714868.7456 | 1102002.1814
92 | 2714919.8129 | 1101969.0232
93 | 2715038.3508 | 1102010.5952

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1