## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5227-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5227-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5227-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5227-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5227-8_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5227-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5227-8_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5227-8_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5227-8_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5227-8_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5227-8_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5227-8_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5227-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5227-8_0_4_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_5227-8_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_5227-8_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_5227-8_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5227-8_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5227-8_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5227-8_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5227-8_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5227-8_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5227-8_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5227-8_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5227-8_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5227-8_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5227-8_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5227-8_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_5227-8_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5227-8_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5227-8_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5227-8_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5227-8_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5227-8_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5227-8_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5227-8_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5227-8_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5227-8_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5227-8_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5227-8_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5227-8_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5227-8_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5227-8_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5227-8_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5227-8_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5227-8_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5227-8_0_4_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_5227-8_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5227-8_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5227-8_0_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_5227-8_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5227-8_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5227-8_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5227-8_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_5227-8_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5227-8_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5227-8_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5227-8_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5227-8_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5227-8_0_4_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_5227-8_0_4_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_5227-8_0_4_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_5227-8_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5227-8_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5227-8_0_4_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_5227-8_0_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_5227-8_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5227-8_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5227-8_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5227-8_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5227-8_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5227-8_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5227-8_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5227-8_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5227-8_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5227-8_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5227-8_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5227-8_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5227-8_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5227-8_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5227-8_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5227-8_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5227-8_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5227-8_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_5227-8_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_5227-8_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5227-8_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5227-8_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5227-8_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5227-8_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_5227-8_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_5227-8_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_5227-8_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5227-8_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5227-8_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_5227-8_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5227-8_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_5227-8_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_5227-8_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_5227-8_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_5227-8_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_MV_73_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5227-8_0_4_load_0 | 0 | 0.0048062 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5227-8_0_4_load_1 | 1 | 0.0043509 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5227-8_0_4_load_2 | 2 | 0.0040113 | 0.0010053 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5227-8_0_4_load_4 | 3 | 0.0047088 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5227-8_0_4_load_10 | 6 | 0.0031628 | 0.00079268 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5227-8_0_4_load_13 | 9 | 0.0059981 | 0.0015033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5227-8_0_4_load_12 | 10 | 0.0029614 | 0.00074221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5227-8_0_4_load_9 | 12 | 0.004885 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5227-8_0_4_load_57 | 13 | 0.0045471 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5227-8_0_4_load_37 | 14 | 0.0065917 | 0.001652 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5227-8_0_4_load_56 | 15 | 0.0023071 | 0.00057821 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5227-8_0_4_load_15 | 18 | 0.0039629 | 0.00099319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5227-8_0_4_load_16 | 19 | 0.0060584 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5227-8_0_4_load_17 | 20 | 0.0031645 | 0.00079311 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5227-8_0_4_load_18 | 21 | 0.0057742 | 0.0014472 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5227-8_0_4_load_19 | 22 | 0.0041775 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5227-8_0_4_load_21 | 23 | 0.0044972 | 0.0011271 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5227-8_0_4_load_20 | 24 | 0.0028008 | 0.00070195 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5227-8_0_4_load_22 | 25 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5227-8_0_4_load_28 | 26 | 0.0047851 | 0.0011993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5227-8_0_4_load_29 | 27 | 0.0050607 | 0.0012683 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5227-8_0_4_load_23 | 28 | 0.0027049 | 0.00067792 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5227-8_0_4_load_24 | 29 | 0.0036917 | 0.00092524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5227-8_0_4_load_25 | 30 | 0.0030175 | 0.00075626 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5227-8_0_4_load_26 | 31 | 0.0028138 | 0.00070522 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5227-8_0_4_load_27 | 32 | 0.0045792 | 0.0011477 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5227-8_0_4_load_30 | 33 | 0.006229 | 0.0015611 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5227-8_0_4_load_32 | 35 | 0.0044998 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5227-8_0_4_load_36 | 37 | 0.0064383 | 0.0016136 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5227-8_0_4_load_38 | 38 | 0.0036821 | 0.00092283 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5227-8_0_4_load_35 | 39 | 0.0024645 | 0.00061767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5227-8_0_4_load_43 | 40 | 0.0030435 | 0.00076276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5227-8_0_4_load_45 | 43 | 0.0029267 | 0.00073349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5227-8_0_4_load_41 | 44 | 0.0017354 | 0.00043493 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5227-8_0_4_load_42 | 45 | 0.0023574 | 0.00059083 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5227-8_0_4_load_63 | 46 | 0.0067869 | 0.001701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5227-8_0_4_load_62 | 47 | 0.005074 | 0.0012717 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5227-8_0_4_load_61 | 48 | 0.0048299 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5227-8_0_4_load_64 | 49 | 0.0081876 | 0.002052 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5227-8_0_4_load_44 | 50 | 0.007741 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5227-8_0_4_load_46 | 51 | 0.0025189 | 0.00063131 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5227-8_0_4_load_47 | 52 | 0.0017483 | 0.00043817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5227-8_0_4_load_48 | 53 | 0.0018495 | 0.00046354 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5227-8_0_4_load_49 | 54 | 0.0017712 | 0.00044391 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5227-8_0_4_load_50 | 55 | 0.0058669 | 0.0014704 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5227-8_0_4_load_51 | 56 | 0.0017543 | 0.00043968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5227-8_0_4_load_52 | 57 | 0.0036206 | 0.0009074 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5227-8_0_4_load_53 | 58 | 0.0024926 | 0.00062471 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5227-8_0_4_load_96 | 59 | 0.0069941 | 0.0017529 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5227-8_0_4_load_97 | 60 | 0.0052868 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5227-8_0_4_load_98 | 61 | 0.0039948 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5227-8_0_4_load_54 | 62 | 0.0025956 | 0.00065051 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5227-8_0_4_load_101 | 64 | 0.0018537 | 0.00046459 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5227-8_0_4_load_100 | 65 | 0.0070953 | 0.0017783 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5227-8_0_4_load_58 | 66 | 0.005391 | 0.0013511 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5227-8_0_4_load_60 | 68 | 0.0035184 | 0.00088178 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5227-8_0_4_load_65 | 69 | 0.0034802 | 0.00087222 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5227-8_0_4_load_66 | 70 | 0.0052607 | 0.0013185 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5227-8_0_4_load_67 | 71 | 0.0062681 | 0.0015709 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5227-8_0_4_load_68 | 72 | 0.0069937 | 0.0017528 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5227-8_0_4_load_69 | 73 | 0.0043821 | 0.0010983 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5227-8_0_4_load_70 | 74 | 0.0025795 | 0.00064648 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5227-8_0_4_load_72 | 76 | 0.0058512 | 0.0014665 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5227-8_0_4_load_73 | 77 | 0.0058622 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5227-8_0_4_load_79 | 78 | 0.0038072 | 0.00095417 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5227-8_0_4_load_74 | 79 | 0.0088703 | 0.0022231 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5227-8_0_4_load_81 | 80 | 0.0065491 | 0.0016413 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5227-8_0_4_load_75 | 81 | 0.0037988 | 0.00095206 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5227-8_0_4_load_76 | 82 | 0.0038491 | 0.00096467 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5227-8_0_4_load_77 | 83 | 0.017152 | 0.0042986 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5227-8_0_4_load_78 | 84 | 0.0030182 | 0.00075642 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5227-8_0_4_load_80 | 85 | 0.0076486 | 0.0019169 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5227-8_0_4_load_82 | 86 | 0.0037532 | 0.00094065 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5227-8_0_4_load_83 | 87 | 0.0065909 | 0.0016518 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5227-8_0_4_load_84 | 88 | 0.0066121 | 0.0016571 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5227-8_0_4_load_85 | 89 | 0.0070057 | 0.0017558 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5227-8_0_4_load_86 | 90 | 0.0039857 | 0.00099892 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5227-8_0_4_load_87 | 91 | 0.0033831 | 0.00084788 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5227-8_0_4_load_92 | 93 | 0.0048928 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5227-8_0_4_load_90 | 94 | 0.0021582 | 0.00054089 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5227-8_0_4_load_94 | 96 | 0.007486 | 0.0018762 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5227-8_0_4_load_95 | 97 | 0.0044132 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5227-8_0_4_load_89 | 98 | 0.0039735 | 0.00099585 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5227-8_0_4_load_91 | 99 | 0.0034619 | 0.00086765 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5227-8_0_4_line_0 |  | 0 | 1 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5227-8_0_4_line_1 |  | 0 | 2 | 0.024213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5227-8_0_4_line_2 |  | 2 | 3 | 0.044905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5227-8_0_4_line_3 |  | 3 | 4 | 0.035716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5227-8_0_4_line_4 |  | 4 | 8 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5227-8_0_4_line_5 |  | 5 | 6 | 0.031643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5227-8_0_4_line_6 |  | 5 | 7 | 0.039028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5227-8_0_4_line_7 |  | 6 | 9 | 0.0040205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5227-8_0_4_line_8 |  | 7 | 10 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5227-8_0_4_line_9 |  | 8 | 11 | 0.00766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5227-8_0_4_line_10 |  | 8 | 12 | 0.037644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5227-8_0_4_line_11 |  | 9 | 17 | 0.0083534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5227-8_0_4_line_12 |  | 11 | 13 | 0.03406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5227-8_0_4_line_13 |  | 12 | 14 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5227-8_0_4_line_14 |  | 13 | 15 | 0.022679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5227-8_0_4_line_15 |  | 14 | 16 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5227-8_0_4_line_16 |  | 15 | 66 | 0.028609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5227-8_0_4_line_17 |  | 16 | 38 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5227-8_0_4_line_18 |  | 16 | 35 | 0.010777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5227-8_0_4_line_19 |  | 17 | 18 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5227-8_0_4_line_20 |  | 17 | 19 | 0.033505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5227-8_0_4_line_21 |  | 18 | 20 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5227-8_0_4_line_22 |  | 19 | 21 | 0.0072037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5227-8_0_4_line_23 |  | 20 | 22 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5227-8_0_4_line_24 |  | 21 | 23 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5227-8_0_4_line_25 |  | 22 | 24 | 0.0060543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5227-8_0_4_line_26 |  | 23 | 25 | 0.0045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5227-8_0_4_line_27 |  | 24 | 26 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5227-8_0_4_line_28 |  | 25 | 28 | 0.0068207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5227-8_0_4_line_29 |  | 26 | 27 | 0.0006889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5227-8_0_4_line_30 |  | 27 | 33 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5227-8_0_4_line_31 |  | 28 | 29 | 0.0097657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5227-8_0_4_line_32 |  | 29 | 30 | 0.0019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5227-8_0_4_line_33 |  | 30 | 31 | 0.0079993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5227-8_0_4_line_34 |  | 31 | 32 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5227-8_0_4_line_35 |  | 33 | 34 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5227-8_0_4_line_36 |  | 34 | 35 | 0.022372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5227-8_0_4_line_37 |  | 34 | 36 | 0.049875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5227-8_0_4_line_38 |  | 36 | 37 | 0.0080376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5227-8_0_4_line_39 |  | 37 | 41 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5227-8_0_4_line_40 |  | 38 | 42 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5227-8_0_4_line_41 |  | 39 | 40 | 0.00082226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5227-8_0_4_line_42 |  | 40 | 43 | 0.0083498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5227-8_0_4_line_43 |  | 41 | 44 | 0.026494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5227-8_0_4_line_44 |  | 41 | 45 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5227-8_0_4_line_45 |  | 42 | 46 | 0.024782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5227-8_0_4_line_46 |  | 43 | 45 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5227-8_0_4_line_47 |  | 44 | 50 | 0.0013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5227-8_0_4_line_48 |  | 46 | 49 | 0.013625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5227-8_0_4_line_49 |  | 47 | 48 | 0.018623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5227-8_0_4_line_50 |  | 48 | 68 | 0.0084456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5227-8_0_4_line_51 |  | 49 | 69 | 0.0014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5227-8_0_4_line_52 |  | 50 | 51 | 0.0027016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5227-8_0_4_line_53 |  | 51 | 52 | 0.0083414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5227-8_0_4_line_54 |  | 52 | 53 | 0.0036464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5227-8_0_4_line_55 |  | 53 | 54 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5227-8_0_4_line_56 |  | 54 | 55 | 0.0066818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5227-8_0_4_line_57 |  | 55 | 56 | 0.009952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5227-8_0_4_line_58 |  | 56 | 57 | 0.01269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5227-8_0_4_line_59 |  | 57 | 58 | 0.038204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5227-8_0_4_line_60 |  | 58 | 62 | 0.027902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5227-8_0_4_line_61 |  | 59 | 60 | 0.031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5227-8_0_4_line_62 |  | 59 | 61 | 0.0017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5227-8_0_4_line_63 |  | 60 | 92 | 0.05698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5227-8_0_4_line_64 |  | 60 | 97 | 0.01319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5227-8_0_4_line_65 |  | 62 | 63 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5227-8_0_4_line_66 |  | 63 | 64 | 0.04208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5227-8_0_4_line_67 |  | 64 | 65 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5227-8_0_4_line_68 |  | 65 | 100 | 0.059493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5227-8_0_4_line_69 |  | 66 | 67 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5227-8_0_4_line_70 |  | 67 | 68 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5227-8_0_4_line_71 |  | 70 | 71 | 0.030964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5227-8_0_4_line_72 |  | 70 | 72 | 0.0025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5227-8_0_4_line_73 |  | 71 | 73 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5227-8_0_4_line_74 |  | 72 | 74 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5227-8_0_4_line_75 |  | 73 | 75 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5227-8_0_4_line_76 |  | 74 | 76 | 0.0054669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5227-8_0_4_line_77 |  | 75 | 77 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5227-8_0_4_line_78 |  | 76 | 78 | 0.012822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5227-8_0_4_line_79 |  | 77 | 79 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5227-8_0_4_line_80 |  | 78 | 80 | 0.0097099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5227-8_0_4_line_81 |  | 79 | 81 | 0.017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5227-8_0_4_line_82 |  | 80 | 86 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5227-8_0_4_line_83 |  | 81 | 82 | 0.025802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5227-8_0_4_line_84 |  | 82 | 83 | 0.0077781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5227-8_0_4_line_85 |  | 83 | 84 | 0.0019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5227-8_0_4_line_86 |  | 84 | 85 | 0.0074347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5227-8_0_4_line_87 |  | 86 | 87 | 0.007734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_5227-8_0_4_line_88 |  | 87 | 88 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_5227-8_0_4_line_89 |  | 88 | 89 | 0.003439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5227-8_0_4_line_90 |  | 89 | 90 | 0.036003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_5227-8_0_4_line_91 |  | 90 | 91 | 0.026745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_5227-8_0_4_line_92 |  | 91 | 92 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_5227-8_0_4_line_93 |  | 92 | 93 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5227-8_0_4_line_94 |  | 93 | 94 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5227-8_0_4_line_95 |  | 94 | 98 | 0.00019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5227-8_0_4_line_96 |  | 95 | 96 | 0.046884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_5227-8_0_4_line_97 |  | 95 | 97 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_5227-8_0_4_line_98 |  | 96 | 100 | 0.041369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_5227-8_0_4_line_99 |  | 98 | 99 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5227-8_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 101 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2715052.2894 | 1102781.1839 | 2715079.6473 | 1102777.1858
1 | 2715052.2894 | 1102781.1839 | 2715028.3314 | 1102784.6851
2 | 2714992.0965 | 1102769.7822 | 2715000.1223 | 1102782.1827 | 2715007.79 | 1102787.5982 | 2715022.8754 | 1102785.4825 | 2715028.3314 | 1102784.6851
3 | 2714972.7283 | 1102740.3357 | 2714977.3454 | 1102743.781 | 2714983.2491 | 1102756.1122 | 2714992.0965 | 1102769.7822
4 | 2714961.261 | 1102747.9682 | 2714968.5674 | 1102741.0018 | 2714972.7283 | 1102740.3357
5 | 2715145.5233 | 1102753.5405 | 2715146.6083 | 1102756.7299 | 2715147.6553 | 1102761.5086 | 2715147.7687 | 1102766.5475 | 2715142.1319 | 1102784.002
6 | 2715145.5233 | 1102753.5405 | 2715157.9259 | 1102748.8392 | 2715170.5048 | 1102746.6762 | 2715183.4259 | 1102745.2425
7 | 2715140.8964 | 1102787.828 | 2715142.1319 | 1102784.002
8 | 2715183.4259 | 1102745.2425 | 2715184.0506 | 1102746.9889 | 2715184.9475 | 1102749.074 | 2715186.7865 | 1102750.4542 | 2715197.9241 | 1102754.5016 | 2715202.1773 | 1102754.6824 | 2715205.2678 | 1102754.3744
9 | 2714961.261 | 1102747.9682 | 2714954.632 | 1102744.0957
10 | 2714961.261 | 1102747.9682 | 2714968.2238 | 1102753.0146 | 2714974.1939 | 1102758.1644 | 2714981.6742 | 1102765.7111 | 2714987.7245 | 1102774.3356
11 | 2715138.3293 | 1102795.7772 | 2715140.8964 | 1102787.828
12 | 2714954.632 | 1102744.0957 | 2714945.1415 | 1102751.9658 | 2714935.0288 | 1102761.2252 | 2714935.3153 | 1102769.2392
13 | 2714987.7245 | 1102774.3356 | 2714989.9033 | 1102777.4415 | 2714997.7329 | 1102790.6543 | 2715001.8794 | 1102799.8401
14 | 2714935.1909 | 1102791.8483 | 2714935.9496 | 1102786.9822 | 2714935.3153 | 1102769.2392
15 | 2715007.5892 | 1102812.489 | 2715001.8794 | 1102799.8401
16 | 2714935.1909 | 1102791.8483 | 2714930.7832 | 1102820.1162
17 | 2715007.5892 | 1102812.489 | 2715005.4204 | 1102817.8961 | 2715004.6328 | 1102821.4725 | 2715005.4483 | 1102825.8131
18 | 2715007.5892 | 1102812.489 | 2715012.9703 | 1102821.8267
19 | 2715138.3293 | 1102795.7772 | 2715122.6739 | 1102798.9485
20 | 2715138.3293 | 1102795.7772 | 2715145.2108 | 1102828.5681
21 | 2715102.7445 | 1102802.9856 | 2715122.6739 | 1102798.9485
22 | 2715146.6904 | 1102835.6182 | 2715145.2108 | 1102828.5681
23 | 2715102.7445 | 1102802.9856 | 2715087.7479 | 1102806.0235
24 | 2715146.6904 | 1102835.6182 | 2715146.6904 | 1102835.6182 | 2715152.5973 | 1102843.2688 | 2715169.8082 | 1102845.4904
25 | 2715087.7479 | 1102806.0235 | 2715081.8141 | 1102807.2255
26 | 2715169.8082 | 1102845.4904 | 2715174.3322 | 1102846.0743
27 | 2715081.8141 | 1102807.2255 | 2715064.0278 | 1102810.8285
28 | 2715181.0968 | 1102846.9475 | 2715174.3322 | 1102846.0743
29 | 2715063.3526 | 1102810.9652 | 2715064.0278 | 1102810.8285
30 | 2715063.3526 | 1102810.9652 | 2715059.8839 | 1102811.6679 | 2715049.1881 | 1102817.5693
31 | 2715181.0968 | 1102846.9475 | 2715190.7821 | 1102848.1977
32 | 2715192.7554 | 1102848.4524 | 2715190.7821 | 1102848.1977
33 | 2715192.7554 | 1102848.4524 | 2715200.6889 | 1102849.4765
34 | 2715200.6889 | 1102849.4765 | 2715211.4017 | 1102850.8593
35 | 2715024.141 | 1102841.2108 | 2715037.2261 | 1102824.1694 | 2715049.1881 | 1102817.5693
36 | 2715024.141 | 1102841.2108 | 2715012.9703 | 1102821.8267
37 | 2715062.0254 | 1102873.4281 | 2715054.8231 | 1102869.6001 | 2715024.141 | 1102841.2108
38 | 2715062.0254 | 1102873.4281 | 2715069.1224 | 1102877.201
39 | 2715080.4602 | 1102883.2284 | 2715069.1224 | 1102877.201
40 | 2715015.198 | 1102844.6994 | 2715015.3991 | 1102834.0849 | 2715005.4483 | 1102825.8131
41 | 2715055.2298 | 1102897.3454 | 2715055.777 | 1102897.9591
42 | 2715061.3338 | 1102904.1913 | 2715061.3338 | 1102904.1913 | 2715055.777 | 1102897.9591
43 | 2715080.4602 | 1102883.2284 | 2715090.9876 | 1102888.8317 | 2715105.3279 | 1102891.3982
44 | 2715080.4602 | 1102883.2284 | 2715068.3954 | 1102896.4517
45 | 2715015.198 | 1102844.6994 | 2715016.579 | 1102847.7832 | 2715004.8813 | 1102865.5403 | 2715004.8786 | 1102865.679
46 | 2715061.3338 | 1102904.1913 | 2715068.3954 | 1102896.4517
47 | 2715105.3279 | 1102891.3982 | 2715106.6724 | 1102891.6388
48 | 2715013.1883 | 1102875.1745 | 2715006.763 | 1102870.7906 | 2715004.8234 | 1102868.5969 | 2715004.8786 | 1102865.679
49 | 2714976.2473 | 1102850.7161 | 2714957.6783 | 1102852.1265
50 | 2714949.2445 | 1102851.6805 | 2714957.6783 | 1102852.1265 | 2714957.6783 | 1102852.1265
51 | 2715013.1883 | 1102875.1745 | 2715014.3953 | 1102875.998
52 | 2715109.3317 | 1102892.1148 | 2715106.6724 | 1102891.6388
53 | 2715109.3317 | 1102892.1148 | 2715117.5426 | 1102893.5843
54 | 2715121.1321 | 1102894.2267 | 2715117.5426 | 1102893.5843
55 | 2715121.1321 | 1102894.2267 | 2715136.9625 | 1102897.0598
56 | 2715143.5398 | 1102898.237 | 2715136.9625 | 1102897.0598
57 | 2715143.5398 | 1102898.237 | 2715153.3361 | 1102899.9902
58 | 2715165.8281 | 1102902.2259 | 2715153.3361 | 1102899.9902
59 | 2715165.8281 | 1102902.2259 | 2715190.2929 | 1102906.6043 | 2715203.4966 | 1102908.5765
60 | 2715203.4966 | 1102908.5765 | 2715231.0923 | 1102912.6983
61 | 2715148.496 | 1102961.6246 | 2715151.5704 | 1102992.7743
62 | 2715148.3258 | 1102959.9001 | 2715148.496 | 1102961.6246
63 | 2715095.4119 | 1103002.4147 | 2715151.5704 | 1102992.7743
64 | 2715151.5704 | 1102992.7743 | 2715152.866 | 1103005.9008
65 | 2715250.2332 | 1102915.9701 | 2715234.3819 | 1102913.1896 | 2715231.0923 | 1102912.6983
66 | 2715250.2332 | 1102915.9701 | 2715248.1352 | 1102957.9976
67 | 2715247.433 | 1102972.0625 | 2715248.1352 | 1102957.9976
68 | 2715247.433 | 1102972.0625 | 2715240.5235 | 1103031.1527
69 | 2714927.6249 | 1102840.3719 | 2714930.7832 | 1102820.1162
70 | 2714927.6249 | 1102840.3719 | 2714932.435 | 1102847.9236 | 2714944.5734 | 1102851.4335 | 2714949.2445 | 1102851.6805
71 | 2714955.686 | 1102905.6744 | 2714955.03 | 1102904.912 | 2714937.8451 | 1102892.8564 | 2714929.2355 | 1102890.3516
72 | 2714955.686 | 1102905.6744 | 2714957.3508 | 1102907.6094
73 | 2714929.2355 | 1102890.3516 | 2714909.5186 | 1102884.6153
74 | 2714957.3508 | 1102907.6094 | 2714967.7883 | 1102919.7402
75 | 2714891.3859 | 1102881.8588 | 2714907.3503 | 1102883.9845 | 2714909.5186 | 1102884.6153
76 | 2714967.7883 | 1102919.7402 | 2714971.3539 | 1102923.8843
77 | 2714891.3859 | 1102881.8588 | 2714898.7158 | 1102907.4861
78 | 2714979.7164 | 1102933.6034 | 2714971.3539 | 1102923.8843
79 | 2714903.3261 | 1102920.3916 | 2714901.3811 | 1102916.8048 | 2714898.7158 | 1102907.4861
80 | 2714979.7164 | 1102933.6034 | 2714982.1242 | 1102936.4018 | 2714985.9405 | 1102941.0553
81 | 2714903.3261 | 1102920.3916 | 2714911.4995 | 1102935.4645
82 | 2714997.6895 | 1102955.3817 | 2714985.9405 | 1102941.0553
83 | 2714911.4995 | 1102935.4645 | 2714923.7989 | 1102958.1463
84 | 2714927.5066 | 1102964.9839 | 2714923.7989 | 1102958.1463
85 | 2714927.5066 | 1102964.9839 | 2714928.4297 | 1102966.6862
86 | 2714931.9737 | 1102973.2219 | 2714928.4297 | 1102966.6862
87 | 2714997.6895 | 1102955.3817 | 2714998.259 | 1102956.0762 | 2715004.0956 | 1102959.6348
88 | 2715004.0956 | 1102959.6348 | 2715012.669 | 1102964.8621
89 | 2715012.669 | 1102964.8621 | 2715015.6053 | 1102966.6523
90 | 2715015.6053 | 1102966.6523 | 2715026.0388 | 1102973.0138 | 2715047.633 | 1102982.9789
91 | 2715047.633 | 1102982.9789 | 2715063.6776 | 1102990.383 | 2715072.1627 | 1102993.6
92 | 2715095.4119 | 1103002.4147 | 2715072.1627 | 1102993.6
93 | 2715095.4119 | 1103002.4147 | 2715092.9501 | 1102991.0673
94 | 2715084.6739 | 1102952.9193 | 2715092.9501 | 1102991.0673
95 | 2715084.6739 | 1102952.9193 | 2715084.6336 | 1102952.7335
96 | 2715154.6807 | 1103024.2864 | 2715171.6888 | 1103030.5243 | 2715200.1023 | 1103035.025
97 | 2715154.6807 | 1103024.2864 | 2715152.866 | 1103005.9008
98 | 2715240.5235 | 1103031.1527 | 2715215.1522 | 1103037.4089 | 2715200.1023 | 1103035.025
99 | 2715082.3735 | 1102942.3158 | 2715084.6336 | 1102952.7335

## bus_geodata
| x | y | coords
0 | 2715052.2894 | 1102781.1839
1 | 2715079.6473 | 1102777.1858
2 | 2715028.3314 | 1102784.6851
3 | 2714992.0965 | 1102769.7822
4 | 2714972.7283 | 1102740.3357
5 | 2715145.5233 | 1102753.5405
6 | 2715142.1319 | 1102784.002
7 | 2715183.4259 | 1102745.2425
8 | 2714961.261 | 1102747.9682
9 | 2715140.8964 | 1102787.828
10 | 2715205.2678 | 1102754.3744
11 | 2714954.632 | 1102744.0957
12 | 2714987.7245 | 1102774.3356
13 | 2714935.3153 | 1102769.2392
14 | 2715001.8794 | 1102799.8401
15 | 2714935.1909 | 1102791.8483
16 | 2715007.5892 | 1102812.489
17 | 2715138.3293 | 1102795.7772
18 | 2715122.6739 | 1102798.9485
19 | 2715145.2108 | 1102828.5681
20 | 2715102.7445 | 1102802.9856
21 | 2715146.6904 | 1102835.6182
22 | 2715087.7479 | 1102806.0235
23 | 2715169.8082 | 1102845.4904
24 | 2715081.8141 | 1102807.2255
25 | 2715174.3322 | 1102846.0743
26 | 2715064.0278 | 1102810.8285
27 | 2715063.3526 | 1102810.9652
28 | 2715181.0968 | 1102846.9475
29 | 2715190.7821 | 1102848.1977
30 | 2715192.7554 | 1102848.4524
31 | 2715200.6889 | 1102849.4765
32 | 2715211.4017 | 1102850.8593
33 | 2715049.1881 | 1102817.5693
34 | 2715024.141 | 1102841.2108
35 | 2715012.9703 | 1102821.8267
36 | 2715062.0254 | 1102873.4281
37 | 2715069.1224 | 1102877.201
38 | 2715005.4483 | 1102825.8131
39 | 2715055.2298 | 1102897.3454
40 | 2715055.777 | 1102897.9591
41 | 2715080.4602 | 1102883.2284
42 | 2715015.198 | 1102844.6994
43 | 2715061.3338 | 1102904.1913
44 | 2715105.3279 | 1102891.3982
45 | 2715068.3954 | 1102896.4517
46 | 2715004.8786 | 1102865.679
47 | 2714976.2473 | 1102850.7161
48 | 2714957.6783 | 1102852.1265
49 | 2715013.1883 | 1102875.1745
50 | 2715106.6724 | 1102891.6388
51 | 2715109.3317 | 1102892.1148
52 | 2715117.5426 | 1102893.5843
53 | 2715121.1321 | 1102894.2267
54 | 2715136.9625 | 1102897.0598
55 | 2715143.5398 | 1102898.237
56 | 2715153.3361 | 1102899.9902
57 | 2715165.8281 | 1102902.2259
58 | 2715203.4966 | 1102908.5765
59 | 2715148.496 | 1102961.6246
60 | 2715151.5704 | 1102992.7743
61 | 2715148.3258 | 1102959.9001
62 | 2715231.0923 | 1102912.6983
63 | 2715250.2332 | 1102915.9701
64 | 2715248.1352 | 1102957.9976
65 | 2715247.433 | 1102972.0625
66 | 2714930.7832 | 1102820.1162
67 | 2714927.6249 | 1102840.3719
68 | 2714949.2445 | 1102851.6805
69 | 2715014.3953 | 1102875.998
70 | 2714955.686 | 1102905.6744
71 | 2714929.2355 | 1102890.3516
72 | 2714957.3508 | 1102907.6094
73 | 2714909.5186 | 1102884.6153
74 | 2714967.7883 | 1102919.7402
75 | 2714891.3859 | 1102881.8588
76 | 2714971.3539 | 1102923.8843
77 | 2714898.7158 | 1102907.4861
78 | 2714979.7164 | 1102933.6034
79 | 2714903.3261 | 1102920.3916
80 | 2714985.9405 | 1102941.0553
81 | 2714911.4995 | 1102935.4645
82 | 2714923.7989 | 1102958.1463
83 | 2714927.5066 | 1102964.9839
84 | 2714928.4297 | 1102966.6862
85 | 2714931.9737 | 1102973.2219
86 | 2714997.6895 | 1102955.3817
87 | 2715004.0956 | 1102959.6348
88 | 2715012.669 | 1102964.8621
89 | 2715015.6053 | 1102966.6523
90 | 2715047.633 | 1102982.9789
91 | 2715072.1627 | 1102993.6
92 | 2715095.4119 | 1103002.4147
93 | 2715092.9501 | 1102991.0673
94 | 2715084.6739 | 1102952.9193
95 | 2715154.6807 | 1103024.2864
96 | 2715200.1023 | 1103035.025
97 | 2715152.866 | 1103005.9008
98 | 2715084.6336 | 1102952.7335
99 | 2715082.3735 | 1102942.3158
100 | 2715240.5235 | 1103031.1527
101 | 2715062.0254 | 1102873.4281

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1