## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5236-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5236-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5236-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5236-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5236-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5236-15_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5236-15_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5236-15_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5236-15_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_5236-15_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5236-15_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5236-15_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5236-15_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5236-15_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5236-15_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5236-15_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_5236-15_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5236-15_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5236-15_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5236-15_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5236-15_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5236-15_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5236-15_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5236-15_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5236-15_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5236-15_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5236-15_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_5236-15_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5236-15_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5236-15_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5236-15_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5236-15_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5236-15_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5236-15_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5236-15_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5236-15_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_5236-15_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5236-15_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5236-15_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_5236-15_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_5236-15_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5236-15_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5236-15_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5236-15_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5236-15_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5236-15_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_5236-15_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5236-15_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5236-15_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5236-15_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5236-15_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5236-15_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5236-15_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5236-15_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5236-15_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5236-15_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5236-15_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5236-15_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5236-15_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5236-15_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5236-15_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5236-15_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_5236-15_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5236-15_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5236-15_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_5236-15_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5236-15_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_5236-15_0_4_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_5236-15_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5236-15_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5236-15_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5236-15_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5236-15_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5236-15_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5236-15_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5236-15_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5236-15_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5236-15_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5236-15_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5236-15_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5236-15_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5236-15_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5236-15_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5236-15_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5236-15_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5236-15_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5236-15_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_5236-15_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_MV_71_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5236-15_0_4_load_0 | 0 | 0.0082764 | 0.0020742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5236-15_0_4_load_1 | 1 | 0.0093609 | 0.0023461 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5236-15_0_4_load_2 | 2 | 0.010619 | 0.0026614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5236-15_0_4_load_3 | 3 | 0.0048122 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5236-15_0_4_load_4 | 4 | 0.0047894 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5236-15_0_4_load_5 | 5 | 0.0025816 | 0.00064701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5236-15_0_4_load_6 | 6 | 0.0040923 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5236-15_0_4_load_7 | 7 | 0.003974 | 0.00099597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5236-15_0_4_load_21 | 8 | 0.0049271 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5236-15_0_4_load_22 | 9 | 0.0070202 | 0.0017594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5236-15_0_4_load_8 | 10 | 0.0081234 | 0.0020359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5236-15_0_4_load_9 | 11 | 0.0083763 | 0.0020993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5236-15_0_4_load_10 | 12 | 0.007896 | 0.0019789 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5236-15_0_4_load_11 | 13 | 0.0030783 | 0.00077148 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5236-15_0_4_load_23 | 15 | 0.0089395 | 0.0022404 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5236-15_0_4_load_24 | 16 | 0.0032098 | 0.00080445 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5236-15_0_4_load_12 | 17 | 0.0074881 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5236-15_0_4_load_13 | 18 | 0.0043977 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5236-15_0_4_load_14 | 19 | 0.0058039 | 0.0014546 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5236-15_0_4_load_15 | 20 | 0.009711 | 0.0024338 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5236-15_0_4_load_16 | 21 | 0.003519 | 0.00088193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5236-15_0_4_load_17 | 22 | 0.0052864 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5236-15_0_4_load_18 | 23 | 0.012423 | 0.0031134 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5236-15_0_4_load_30 | 25 | 0.0092954 | 0.0023297 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5236-15_0_4_load_31 | 26 | 0.0099711 | 0.002499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5236-15_0_4_load_47 | 28 | 0.0028196 | 0.00070666 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5236-15_0_4_load_25 | 30 | 0.0035176 | 0.00088159 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5236-15_0_4_load_29 | 31 | 0.0073895 | 0.001852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5236-15_0_4_load_28 | 32 | 0.0039674 | 0.00099431 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5236-15_0_4_load_33 | 33 | 0.0087126 | 0.0021836 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5236-15_0_4_load_45 | 35 | 0.0045476 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5236-15_0_4_load_32 | 36 | 0.0093604 | 0.0023459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5236-15_0_4_load_44 | 37 | 0.0069303 | 0.0017369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5236-15_0_4_load_46 | 38 | 0.0067049 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5236-15_0_4_load_42 | 39 | 0.0076605 | 0.0019199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5236-15_0_4_load_36 | 40 | 0.0077645 | 0.001946 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5236-15_0_4_load_48 | 41 | 0.0066223 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5236-15_0_4_load_35 | 42 | 0.004713 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5236-15_0_4_load_37 | 43 | 0.0035494 | 0.00088957 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5236-15_0_4_load_38 | 44 | 0.0053418 | 0.0013388 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5236-15_0_4_load_53 | 46 | 0.007426 | 0.0018611 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5236-15_0_4_load_43 | 47 | 0.0050431 | 0.0012639 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5236-15_0_4_load_39 | 48 | 0.0040605 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5236-15_0_4_load_40 | 49 | 0.005957 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5236-15_0_4_load_41 | 50 | 0.0055465 | 0.0013901 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5236-15_0_4_load_50 | 52 | 0.0048336 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5236-15_0_4_load_51 | 53 | 0.0039574 | 0.00099181 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5236-15_0_4_load_54 | 54 | 0.0034052 | 0.00085343 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5236-15_0_4_load_55 | 55 | 0.003164 | 0.00079296 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5236-15_0_4_load_56 | 56 | 0.0038302 | 0.00095995 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5236-15_0_4_load_57 | 57 | 0.0031436 | 0.00078786 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5236-15_0_4_load_58 | 58 | 0.0013852 | 0.00034717 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5236-15_0_4_load_59 | 59 | 0.0016091 | 0.00040328 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5236-15_0_4_load_60 | 60 | 0.001778 | 0.0004456 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5236-15_0_4_load_61 | 61 | 0.0016631 | 0.0004168 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5236-15_0_4_load_62 | 62 | 0.0018631 | 0.00046693 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5236-15_0_4_load_63 | 63 | 0.0016783 | 0.00042063 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5236-15_0_4_load_64 | 64 | 0.0015936 | 0.0003994 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5236-15_0_4_load_65 | 65 | 0.00096969 | 0.00024303 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5236-15_0_4_load_84 | 66 | 0.00066592 | 0.00016689 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5236-15_0_4_load_85 | 67 | 0.00065093 | 0.00016314 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5236-15_0_4_load_66 | 68 | 0.0022384 | 0.00056099 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5236-15_0_4_load_67 | 69 | 0.0038713 | 0.00097025 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5236-15_0_4_load_70 | 70 | 0.0044437 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5236-15_0_4_load_71 | 71 | 0.0023375 | 0.00058582 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5236-15_0_4_load_68 | 72 | 0.004077 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5236-15_0_4_load_69 | 73 | 0.0035075 | 0.00087905 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5236-15_0_4_load_72 | 74 | 0.0025598 | 0.00064154 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5236-15_0_4_load_73 | 75 | 0.0011886 | 0.00029789 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5236-15_0_4_load_74 | 76 | 0.0034211 | 0.00085741 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5236-15_0_4_load_75 | 77 | 0.0025176 | 0.00063096 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5236-15_0_4_load_76 | 78 | 0.0020041 | 0.00050228 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5236-15_0_4_load_80 | 79 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5236-15_0_4_load_79 | 80 | 0.00047496 | 0.00011904 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5236-15_0_4_load_77 | 81 | 0.0068202 | 0.0017093 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5236-15_0_4_load_78 | 82 | 0.0023306 | 0.00058409 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5236-15_0_4_load_81 | 83 | 0.0040087 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5236-15_0_4_load_87 | 86 | 0.0024811 | 0.00062182 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5236-15_0_4_load_86 | 87 | 0.00073291 | 0.00018368 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5236-15_0_4_line_0 |  | 0 | 1 | 0.0015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5236-15_0_4_line_1 |  | 1 | 2 | 0.024325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5236-15_0_4_line_2 |  | 2 | 3 | 7.2509e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5236-15_0_4_line_3 |  | 3 | 4 | 0.039726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5236-15_0_4_line_4 |  | 4 | 5 | 3.0776e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5236-15_0_4_line_5 |  | 5 | 6 | 0.038267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5236-15_0_4_line_6 |  | 6 | 7 | 0.012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5236-15_0_4_line_7 |  | 7 | 8 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5236-15_0_4_line_8 |  | 8 | 9 | 0.030789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5236-15_0_4_line_9 |  | 9 | 30 | 0.0050692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5236-15_0_4_line_10 |  | 10 | 11 | 0.036943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5236-15_0_4_line_11 |  | 11 | 12 | 0.031859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5236-15_0_4_line_12 |  | 12 | 13 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5236-15_0_4_line_13 |  | 13 | 14 | 0.0039954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5236-15_0_4_line_14 |  | 14 | 15 | 0.025151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5236-15_0_4_line_15 |  | 14 | 16 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5236-15_0_4_line_16 |  | 15 | 29 | 0.016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5236-15_0_4_line_17 |  | 17 | 18 | 0.022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5236-15_0_4_line_18 |  | 17 | 19 | 0.0045215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5236-15_0_4_line_19 |  | 18 | 20 | 0.012891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5236-15_0_4_line_20 |  | 19 | 21 | 0.021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5236-15_0_4_line_21 |  | 21 | 22 | 0.0033719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5236-15_0_4_line_22 |  | 22 | 23 | 0.042927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5236-15_0_4_line_23 |  | 23 | 24 | 0.019962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5236-15_0_4_line_24 |  | 24 | 25 | 0.0060597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5236-15_0_4_line_25 |  | 24 | 26 | 0.0050001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5236-15_0_4_line_26 |  | 25 | 27 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5236-15_0_4_line_27 |  | 26 | 28 | 0.036257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5236-15_0_4_line_28 |  | 27 | 36 | 0.028185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5236-15_0_4_line_29 |  | 27 | 29 | 0.00664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5236-15_0_4_line_30 |  | 28 | 41 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5236-15_0_4_line_31 |  | 29 | 32 | 0.0080857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5236-15_0_4_line_32 |  | 30 | 31 | 0.0085679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5236-15_0_4_line_33 |  | 31 | 35 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5236-15_0_4_line_34 |  | 32 | 37 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5236-15_0_4_line_35 |  | 33 | 34 | 0.033394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5236-15_0_4_line_36 |  | 34 | 42 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5236-15_0_4_line_37 |  | 34 | 40 | 0.007971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5236-15_0_4_line_38 |  | 35 | 40 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5236-15_0_4_line_39 |  | 36 | 38 | 0.0012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5236-15_0_4_line_40 |  | 37 | 39 | 0.0017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5236-15_0_4_line_41 |  | 39 | 49 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5236-15_0_4_line_42 |  | 41 | 51 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5236-15_0_4_line_43 |  | 42 | 43 | 0.0066064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5236-15_0_4_line_44 |  | 43 | 44 | 0.032427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5236-15_0_4_line_45 |  | 44 | 45 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5236-15_0_4_line_46 |  | 45 | 46 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5236-15_0_4_line_47 |  | 45 | 47 | 0.031093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5236-15_0_4_line_48 |  | 46 | 54 | 0.0070408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5236-15_0_4_line_49 |  | 47 | 50 | 0.0083696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5236-15_0_4_line_50 |  | 48 | 49 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5236-15_0_4_line_51 |  | 48 | 50 | 0.0099013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5236-15_0_4_line_52 |  | 51 | 52 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5236-15_0_4_line_53 |  | 51 | 53 | 0.043363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5236-15_0_4_line_54 |  | 54 | 55 | 0.065091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5236-15_0_4_line_55 |  | 55 | 56 | 0.041085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5236-15_0_4_line_56 |  | 56 | 57 | 0.039684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5236-15_0_4_line_57 |  | 57 | 58 | 0.080519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5236-15_0_4_line_58 |  | 58 | 59 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5236-15_0_4_line_59 |  | 59 | 60 | 0.18908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5236-15_0_4_line_60 |  | 60 | 61 | 0.0019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5236-15_0_4_line_61 |  | 61 | 62 | 0.02344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5236-15_0_4_line_62 |  | 62 | 63 | 0.015388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5236-15_0_4_line_63 |  | 63 | 64 | 0.038818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5236-15_0_4_line_64 |  | 64 | 65 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5236-15_0_4_line_65 |  | 65 | 66 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5236-15_0_4_line_66 |  | 66 | 67 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5236-15_0_4_line_67 |  | 67 | 87 | 0.029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5236-15_0_4_line_68 |  | 68 | 69 | 0.027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5236-15_0_4_line_69 |  | 69 | 70 | 0.0013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5236-15_0_4_line_70 |  | 70 | 71 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_5236-15_0_4_line_71 |  | 71 | 74 | 0.02213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_5236-15_0_4_line_72 |  | 71 | 72 | 0.029714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_5236-15_0_4_line_73 |  | 72 | 73 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5236-15_0_4_line_74 |  | 74 | 75 | 0.020965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_5236-15_0_4_line_75 |  | 75 | 76 | 0.0075543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_5236-15_0_4_line_76 |  | 76 | 77 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_5236-15_0_4_line_77 |  | 77 | 78 | 0.0060166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_5236-15_0_4_line_78 |  | 78 | 79 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5236-15_0_4_line_79 |  | 79 | 80 | 0.0090493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5236-15_0_4_line_80 |  | 80 | 81 | 0.0022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5236-15_0_4_line_81 |  | 81 | 82 | 0.0090157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_5236-15_0_4_line_82 |  | 82 | 83 | 0.052843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_5236-15_0_4_line_83 |  | 83 | 84 | 0.027912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5236-15_0_4_line_84 |  | 84 | 85 | 0.047297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_5236-15_0_4_line_85 |  | 85 | 86 | 0.10967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_5236-15_0_4_line_86 |  | 86 | 87 | 0.033751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5236-15_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 88 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2713252.5398 | 1091671.9506 | 2713252.0075 | 1091673.3809
1 | 2713252.0075 | 1091673.3809 | 2713243.5221 | 1091696.1783
2 | 2713243.5221 | 1091696.1783 | 2713243.4968 | 1091696.2462
3 | 2713243.4968 | 1091696.2462 | 2713229.6394 | 1091733.4767
4 | 2713229.6394 | 1091733.4767 | 2713229.6393 | 1091733.477
5 | 2713216.2907 | 1091769.3406 | 2713229.6393 | 1091733.477
6 | 2713212.0911 | 1091780.6237 | 2713216.2907 | 1091769.3406
7 | 2713212.0911 | 1091780.6237 | 2713203.7934 | 1091802.9169
8 | 2713203.7934 | 1091802.9169 | 2713195.6411 | 1091824.8195 | 2713194.0193 | 1091832.0583
9 | 2713194.0193 | 1091832.0583 | 2713192.911 | 1091837.0049
10 | 2713292.9651 | 1091725.0085 | 2713283.7798 | 1091751.1765 | 2713279.0122 | 1091759.0561
11 | 2713260.2231 | 1091784.6382 | 2713271.0603 | 1091772.1985 | 2713279.0122 | 1091759.0561
12 | 2713260.2231 | 1091784.6382 | 2713250.596 | 1091795.689 | 2713248.7456 | 1091804.2204
13 | 2713247.8988 | 1091808.1251 | 2713248.7456 | 1091804.2204
14 | 2713247.8988 | 1091808.1251 | 2713258.4938 | 1091814.1486 | 2713263.8052 | 1091825.9736
15 | 2713247.8988 | 1091808.1251 | 2713237.9478 | 1091817.0571 | 2713237.9478 | 1091817.0571
16 | 2713271.2563 | 1091840.7488 | 2713265.4842 | 1091829.7116 | 2713263.8052 | 1091825.9736
17 | 2713336.9494 | 1091728.5182 | 2713336.843 | 1091728.7495 | 2713327.8516 | 1091748.57
18 | 2713325.9837 | 1091752.6876 | 2713327.8516 | 1091748.57
19 | 2713342.3365 | 1091716.8066 | 2713336.9494 | 1091728.5182
20 | 2713325.9837 | 1091752.6876 | 2713317.2442 | 1091771.9528
21 | 2713317.2442 | 1091771.9528 | 2713315.8513 | 1091775.0235
22 | 2713298.8367 | 1091814.4222 | 2713298.8367 | 1091814.4222 | 2713304.8728 | 1091799.2242 | 2713315.8513 | 1091775.0235
23 | 2713288.8847 | 1091831.7264 | 2713298.8367 | 1091814.4222
24 | 2713288.8847 | 1091831.7264 | 2713282.8368 | 1091831.3483
25 | 2713288.8847 | 1091831.7264 | 2713292.8204 | 1091834.3793 | 2713293.0608 | 1091834.4606
26 | 2713277.912 | 1091840.984 | 2713280.0176 | 1091831.1721 | 2713282.8368 | 1091831.3483
27 | 2713293.0608 | 1091834.4606 | 2713306.4192 | 1091838.9801 | 2713314.2927 | 1091842.507 | 2713324.1053 | 1091851.8183
28 | 2713277.912 | 1091840.984 | 2713277.7721 | 1091850.9882 | 2713284.0271 | 1091851.505 | 2713283.8968 | 1091863.408
29 | 2713271.2563 | 1091840.7488 | 2713277.912 | 1091840.984
30 | 2713324.1053 | 1091851.8183 | 2713324.1053 | 1091851.8183 | 2713334.902 | 1091852.8423 | 2713335.778 | 1091852.847
31 | 2713271.2563 | 1091840.7488 | 2713269.9727 | 1091848.7319
32 | 2713192.911 | 1091837.0049 | 2713191.1087 | 1091845.049 | 2713191.1582 | 1091845.3696
33 | 2713195.4355 | 1091869.1792 | 2713195.4355 | 1091869.1792 | 2713192.7761 | 1091855.854 | 2713191.1582 | 1091845.3696
34 | 2713266.3509 | 1091862.1861 | 2713269.6165 | 1091850.9474 | 2713269.9727 | 1091848.7319
35 | 2713206.8694 | 1091891.774 | 2713219.6942 | 1091860.9414
36 | 2713206.8694 | 1091891.774 | 2713215.9472 | 1091907.7578
37 | 2713206.8694 | 1091891.774 | 2713203.2703 | 1091884.6618
38 | 2713203.2703 | 1091884.6618 | 2713195.4355 | 1091869.1792
39 | 2713283.8836 | 1091864.6113 | 2713283.8968 | 1091863.408
40 | 2713266.3509 | 1091862.1861 | 2713266.0625 | 1091863.1785 | 2713266.0677 | 1091863.8515
41 | 2713266.3159 | 1091885.9509 | 2713266.1607 | 1091875.8 | 2713266.0677 | 1091863.8515
42 | 2713352.469 | 1091852.9363 | 2713335.778 | 1091852.847
43 | 2713215.9472 | 1091907.7578 | 2713219.2098 | 1091913.5024
44 | 2713219.2098 | 1091913.5024 | 2713230.4263 | 1091933.2518 | 2713233.8512 | 1091942.3426
45 | 2713241.6263 | 1091962.9805 | 2713233.8512 | 1091942.3426
46 | 2713241.6263 | 1091962.9805 | 2713244.5 | 1091970.617 | 2713245.8461 | 1091982.2554
47 | 2713241.6263 | 1091962.9805 | 2713249.8727 | 1091957.7193 | 2713259.331 | 1091938.6223
48 | 2713246.6551 | 1091989.2496 | 2713245.8461 | 1091982.2554
49 | 2713259.331 | 1091938.6223 | 2713263.0456 | 1091931.1222
50 | 2713266.0017 | 1091921.6954 | 2713266.7589 | 1091919.0184 | 2713267.2746 | 1091909.2324 | 2713266.4578 | 1091895.2299 | 2713266.3159 | 1091885.9509
51 | 2713266.0017 | 1091921.6954 | 2713263.7212 | 1091929.758 | 2713263.0456 | 1091931.1222
52 | 2713352.469 | 1091852.9363 | 2713360.1445 | 1091847.5423 | 2713372.7748 | 1091847.5221
53 | 2713352.469 | 1091852.9363 | 2713357.3838 | 1091867.1153 | 2713367.6271 | 1091879.5146 | 2713362.7675 | 1091890.7843
54 | 2713246.6551 | 1091989.2496 | 2713254.1324 | 1092053.9094
55 | 2713254.1324 | 1092053.9094 | 2713256.6796 | 1092075.9376 | 2713261.3044 | 1092094.2733
56 | 2713261.3044 | 1092094.2733 | 2713271.0101 | 1092132.7525
57 | 2713271.0101 | 1092132.7525 | 2713290.7028 | 1092210.8262
58 | 2713290.7028 | 1092210.8262 | 2713294.2428 | 1092224.8607 | 2713296.7091 | 1092231.4738
59 | 2713352.2468 | 1092412.2175 | 2713296.7091 | 1092231.4738
60 | 2713352.2468 | 1092412.2175 | 2713353.2518 | 1092413.8861
61 | 2713365.8993 | 1092433.6009 | 2713360.9746 | 1092426.7079 | 2713353.2518 | 1092413.8861
62 | 2713365.8993 | 1092433.6009 | 2713373.7354 | 1092444.569 | 2713374.6123 | 1092446.2643
63 | 2713374.6123 | 1092446.2643 | 2713379.3624 | 1092455.4479 | 2713381.6337 | 1092467.5096 | 2713381.5647 | 1092482.0182 | 2713381.2149 | 1092483.678
64 | 2713381.2149 | 1092483.678 | 2713378.9363 | 1092494.4892
65 | 2713378.9363 | 1092494.4892 | 2713378.6049 | 1092496.0615 | 2713373.2605 | 1092514.9303 | 2713373.2605 | 1092514.9303
66 | 2713373.2605 | 1092514.9303 | 2713365.4475 | 1092544.001
67 | 2713365.4475 | 1092544.001 | 2713365.4466 | 1092544.0044 | 2713364.6046 | 1092555.4854 | 2713367.6006 | 1092573.1644 | 2713367.6006 | 1092573.1644
68 | 2713407.61 | 1092424.8202 | 2713407.61 | 1092424.8202 | 2713403.8957 | 1092428.1866 | 2713401.8244 | 1092432.4176 | 2713402.4795 | 1092439.6903 | 2713407.4902 | 1092448.8042
69 | 2713408.1235 | 1092449.9562 | 2713407.4902 | 1092448.8042
70 | 2713408.1235 | 1092449.9562 | 2713408.4705 | 1092450.5872 | 2713416.0674 | 1092465.5723 | 2713417.3433 | 1092472.6545
71 | 2713413.8024 | 1092494.0783 | 2713418.3083 | 1092478.0115 | 2713417.3433 | 1092472.6545
72 | 2713417.3433 | 1092472.6545 | 2713445.5369 | 1092463.2703
73 | 2713445.5369 | 1092463.2703 | 2713454.3977 | 1092480.6492
74 | 2713413.8024 | 1092494.0783 | 2713411.515 | 1092502.2347 | 2713410.0498 | 1092514.6421
75 | 2713409.1639 | 1092522.1444 | 2713410.0498 | 1092514.6421
76 | 2713409.1639 | 1092522.1444 | 2713408.1729 | 1092530.5361 | 2713405.4155 | 1092537.3895
77 | 2713405.4155 | 1092537.3895 | 2713403.1698 | 1092542.9712
78 | 2713403.1698 | 1092542.9712 | 2713401.5882 | 1092546.9022 | 2713401.2563 | 1092559.7048
79 | 2713401.2563 | 1092559.7048 | 2713401.2563 | 1092559.7048 | 2713403.0929 | 1092568.5658
80 | 2713403.5446 | 1092570.7451 | 2713403.0929 | 1092568.5658
81 | 2713403.5446 | 1092570.7451 | 2713404.2221 | 1092574.0143 | 2713406.5553 | 1092579.1898
82 | 2713406.5553 | 1092579.1898 | 2713455.1595 | 1092599.9261
83 | 2713455.2616 | 1092626.8575 | 2713452.876 | 1092606.3879 | 2713453.0803 | 1092602.0888 | 2713455.1595 | 1092599.9261
84 | 2713455.2616 | 1092626.8575 | 2713461.4243 | 1092648.8874 | 2713466.2412 | 1092672.8269
85 | 2713380.8272 | 1092604.0412 | 2713466.2412 | 1092672.8269
86 | 2713367.6006 | 1092573.1644 | 2713372.6134 | 1092588.7018 | 2713378.7266 | 1092600.9351 | 2713380.8272 | 1092604.0412

## bus_geodata
| x | y | coords
0 | 2713252.5398 | 1091671.9506
1 | 2713252.0075 | 1091673.3809
2 | 2713243.5221 | 1091696.1783
3 | 2713243.4968 | 1091696.2462
4 | 2713229.6394 | 1091733.4767
5 | 2713229.6393 | 1091733.477
6 | 2713216.2907 | 1091769.3406
7 | 2713212.0911 | 1091780.6237
8 | 2713203.7934 | 1091802.9169
9 | 2713194.0193 | 1091832.0583
10 | 2713292.9651 | 1091725.0085
11 | 2713279.0122 | 1091759.0561
12 | 2713260.2231 | 1091784.6382
13 | 2713248.7456 | 1091804.2204
14 | 2713247.8988 | 1091808.1251
15 | 2713263.8052 | 1091825.9736
16 | 2713237.9478 | 1091817.0571
17 | 2713327.8516 | 1091748.57
18 | 2713336.9494 | 1091728.5182
19 | 2713325.9837 | 1091752.6876
20 | 2713342.3365 | 1091716.8066
21 | 2713317.2442 | 1091771.9528
22 | 2713315.8513 | 1091775.0235
23 | 2713298.8367 | 1091814.4222
24 | 2713288.8847 | 1091831.7264
25 | 2713282.8368 | 1091831.3483
26 | 2713293.0608 | 1091834.4606
27 | 2713277.912 | 1091840.984
28 | 2713324.1053 | 1091851.8183
29 | 2713271.2563 | 1091840.7488
30 | 2713192.911 | 1091837.0049
31 | 2713191.1582 | 1091845.3696
32 | 2713269.9727 | 1091848.7319
33 | 2713219.6942 | 1091860.9414
34 | 2713206.8694 | 1091891.774
35 | 2713195.4355 | 1091869.1792
36 | 2713283.8968 | 1091863.408
37 | 2713266.3509 | 1091862.1861
38 | 2713283.8836 | 1091864.6113
39 | 2713266.0677 | 1091863.8515
40 | 2713203.2703 | 1091884.6618
41 | 2713335.778 | 1091852.847
42 | 2713215.9472 | 1091907.7578
43 | 2713219.2098 | 1091913.5024
44 | 2713233.8512 | 1091942.3426
45 | 2713241.6263 | 1091962.9805
46 | 2713245.8461 | 1091982.2554
47 | 2713259.331 | 1091938.6223
48 | 2713266.0017 | 1091921.6954
49 | 2713266.3159 | 1091885.9509
50 | 2713263.0456 | 1091931.1222
51 | 2713352.469 | 1091852.9363
52 | 2713372.7748 | 1091847.5221
53 | 2713362.7675 | 1091890.7843
54 | 2713246.6551 | 1091989.2496
55 | 2713254.1324 | 1092053.9094
56 | 2713261.3044 | 1092094.2733
57 | 2713271.0101 | 1092132.7525
58 | 2713290.7028 | 1092210.8262
59 | 2713296.7091 | 1092231.4738
60 | 2713352.2468 | 1092412.2175
61 | 2713353.2518 | 1092413.8861
62 | 2713365.8993 | 1092433.6009
63 | 2713374.6123 | 1092446.2643
64 | 2713381.2149 | 1092483.678
65 | 2713378.9363 | 1092494.4892
66 | 2713373.2605 | 1092514.9303
67 | 2713365.4475 | 1092544.001
68 | 2713407.61 | 1092424.8202
69 | 2713407.4902 | 1092448.8042
70 | 2713408.1235 | 1092449.9562
71 | 2713417.3433 | 1092472.6545
72 | 2713445.5369 | 1092463.2703
73 | 2713454.3977 | 1092480.6492
74 | 2713413.8024 | 1092494.0783
75 | 2713410.0498 | 1092514.6421
76 | 2713409.1639 | 1092522.1444
77 | 2713405.4155 | 1092537.3895
78 | 2713403.1698 | 1092542.9712
79 | 2713401.2563 | 1092559.7048
80 | 2713403.0929 | 1092568.5658
81 | 2713403.5446 | 1092570.7451
82 | 2713406.5553 | 1092579.1898
83 | 2713455.1595 | 1092599.9261
84 | 2713455.2616 | 1092626.8575
85 | 2713466.2412 | 1092672.8269
86 | 2713380.8272 | 1092604.0412
87 | 2713367.6006 | 1092573.1644
88 | 2713241.6263 | 1091962.9805

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1