## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5236-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5236-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5236-16_0_3_node_86 | 0.4 | n |  | TRUE
3 | bus_LV_5236-16_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5236-16_0_3_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_5236-16_0_3_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_5236-16_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5236-16_0_3_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_5236-16_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5236-16_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5236-16_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5236-16_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5236-16_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5236-16_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5236-16_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5236-16_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5236-16_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5236-16_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5236-16_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5236-16_0_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_5236-16_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5236-16_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5236-16_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5236-16_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5236-16_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5236-16_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5236-16_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5236-16_0_3_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_5236-16_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_5236-16_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5236-16_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_5236-16_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5236-16_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5236-16_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5236-16_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5236-16_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5236-16_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5236-16_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5236-16_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5236-16_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5236-16_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5236-16_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_5236-16_0_3_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_5236-16_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5236-16_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5236-16_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5236-16_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5236-16_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5236-16_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5236-16_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5236-16_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5236-16_0_3_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_5236-16_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5236-16_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5236-16_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5236-16_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5236-16_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5236-16_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5236-16_0_3_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_5236-16_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5236-16_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5236-16_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5236-16_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5236-16_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5236-16_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5236-16_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5236-16_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5236-16_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5236-16_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5236-16_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5236-16_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5236-16_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5236-16_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5236-16_0_3_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_5236-16_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_5236-16_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5236-16_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5236-16_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5236-16_0_3_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_5236-16_0_3_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_5236-16_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5236-16_0_3_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_5236-16_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5236-16_0_3_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5236-16_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5236-16_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5236-16_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_5236-16_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_5236-16_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_MV_256_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5236-16_0_3_load_0 | 0 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5236-16_0_3_load_2 | 3 | 0.0037116 | 0.00093021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5236-16_0_3_load_87 | 4 | 0.0031711 | 0.00079474 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5236-16_0_3_load_3 | 6 | 0.00090617 | 0.00022711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5236-16_0_3_load_89 | 7 | 0.0048424 | 0.0012136 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5236-16_0_3_load_4 | 8 | 0.0027185 | 0.00068132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5236-16_0_3_load_5 | 9 | 0.0026333 | 0.00065996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5236-16_0_3_load_6 | 10 | 0.0011526 | 0.00028887 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5236-16_0_3_load_11 | 11 | 0.0067544 | 0.0016928 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5236-16_0_3_load_16 | 12 | 0.0042672 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5236-16_0_3_load_7 | 13 | 0.0054814 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5236-16_0_3_load_8 | 14 | 0.0026278 | 0.00065858 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5236-16_0_3_load_10 | 15 | 0.0030698 | 0.00076936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5236-16_0_3_load_12 | 16 | 0.00485 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5236-16_0_3_load_73 | 19 | 0.0027775 | 0.00069611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5236-16_0_3_load_14 | 20 | 0.006613 | 0.0016574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5236-16_0_3_load_15 | 21 | 0.0039774 | 0.00099683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5236-16_0_3_load_18 | 22 | 0.010778 | 0.0027011 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5236-16_0_3_load_19 | 23 | 0.0070934 | 0.0017778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5236-16_0_3_load_20 | 24 | 0.0099758 | 0.0025002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5236-16_0_3_load_21 | 25 | 0.0064883 | 0.0016261 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5236-16_0_3_load_22 | 26 | 0.0048695 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5236-16_0_3_load_74 | 27 | 0.0057983 | 0.0014532 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5236-16_0_3_load_33 | 28 | 0.0025562 | 0.00064065 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5236-16_0_3_load_23 | 29 | 0.0031366 | 0.0007861 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5236-16_0_3_load_30 | 31 | 0.0059499 | 0.0014912 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5236-16_0_3_load_29 | 32 | 0.0075211 | 0.001885 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5236-16_0_3_load_24 | 33 | 0.0027881 | 0.00069878 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5236-16_0_3_load_26 | 35 | 0.019913 | 0.0049907 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5236-16_0_3_load_27 | 36 | 0.010782 | 0.0027021 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5236-16_0_3_load_35 | 37 | 0.027641 | 0.0069274 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5236-16_0_3_load_44 | 38 | 0.0058761 | 0.0014727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5236-16_0_3_load_81 | 41 | 0.001082 | 0.00027117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5236-16_0_3_load_80 | 42 | 0.0076281 | 0.0019118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5236-16_0_3_load_31 | 43 | 0.0064915 | 0.0016269 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5236-16_0_3_load_32 | 44 | 0.0058193 | 0.0014585 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5236-16_0_3_load_34 | 45 | 0.0025556 | 0.00064049 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5236-16_0_3_load_41 | 46 | 0.003611 | 0.00090501 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5236-16_0_3_load_42 | 47 | 0.0019244 | 0.00048229 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5236-16_0_3_load_37 | 48 | 0.004932 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5236-16_0_3_load_39 | 50 | 0.0084807 | 0.0021255 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5236-16_0_3_load_79 | 51 | 0.0020143 | 0.00050484 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5236-16_0_3_load_43 | 52 | 0.0046647 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5236-16_0_3_load_46 | 54 | 0.0086652 | 0.0021717 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5236-16_0_3_load_48 | 55 | 0.0048419 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5236-16_0_3_load_49 | 56 | 0.0025001 | 0.00062657 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5236-16_0_3_load_82 | 58 | 0.0021231 | 0.0005321 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5236-16_0_3_load_50 | 59 | 0.0021024 | 0.00052691 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5236-16_0_3_load_51 | 60 | 0.0019897 | 0.00049865 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5236-16_0_3_load_57 | 61 | 0.0017867 | 0.00044779 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5236-16_0_3_load_52 | 63 | 0.0025264 | 0.00063316 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5236-16_0_3_load_54 | 65 | 0.0093849 | 0.0023521 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5236-16_0_3_load_55 | 66 | 0.0014445 | 0.00036202 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5236-16_0_3_load_56 | 67 | 0.0049065 | 0.0012297 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5236-16_0_3_load_61 | 68 | 0.0011852 | 0.00029703 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5236-16_0_3_load_59 | 70 | 0.0033781 | 0.00084664 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5236-16_0_3_load_83 | 73 | 0.0019533 | 0.00048953 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5236-16_0_3_load_63 | 76 | 0.0011589 | 0.00029046 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5236-16_0_3_load_84 | 78 | 0.0028594 | 0.00071663 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5236-16_0_3_load_85 | 79 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5236-16_0_3_load_66 | 80 | 0.0020526 | 0.00051442 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5236-16_0_3_load_67 | 81 | 0.0039728 | 0.00099569 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5236-16_0_3_load_71 | 84 | 0.0016441 | 0.00041206 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5236-16_0_3_load_75 | 85 | 0.00068222 | 0.00017098 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5236-16_0_3_load_72 | 86 | 0.0020444 | 0.00051239 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5236-16_0_3_load_76 | 87 | 0.00073127 | 0.00018327 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5236-16_0_3_load_77 | 88 | 0.0033786 | 0.00084676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5236-16_0_3_line_0 |  | 0 | 1 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5236-16_0_3_line_1 |  | 0 | 2 | 0.065229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5236-16_0_3_line_2 |  | 1 | 3 | 0.068657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5236-16_0_3_line_3 |  | 2 | 4 | 0.042203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5236-16_0_3_line_4 |  | 2 | 5 | 0.04372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5236-16_0_3_line_5 |  | 3 | 6 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5236-16_0_3_line_6 |  | 5 | 7 | 0.07488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5236-16_0_3_line_7 |  | 6 | 8 | 0.014415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5236-16_0_3_line_8 |  | 8 | 9 | 0.021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5236-16_0_3_line_9 |  | 9 | 10 | 0.012848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5236-16_0_3_line_10 |  | 10 | 11 | 0.023327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5236-16_0_3_line_11 |  | 11 | 12 | 0.02934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5236-16_0_3_line_12 |  | 12 | 18 | 0.03617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5236-16_0_3_line_13 |  | 12 | 19 | 0.11317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5236-16_0_3_line_14 |  | 13 | 14 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5236-16_0_3_line_15 |  | 14 | 15 | 0.025118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5236-16_0_3_line_16 |  | 15 | 16 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5236-16_0_3_line_17 |  | 16 | 17 | 0.022706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5236-16_0_3_line_18 |  | 17 | 20 | 0.03124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5236-16_0_3_line_19 |  | 17 | 21 | 0.053138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5236-16_0_3_line_20 |  | 18 | 25 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5236-16_0_3_line_21 |  | 18 | 26 | 0.071419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5236-16_0_3_line_22 |  | 19 | 27 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5236-16_0_3_line_23 |  | 20 | 22 | 0.029159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5236-16_0_3_line_24 |  | 21 | 23 | 0.043298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5236-16_0_3_line_25 |  | 23 | 24 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5236-16_0_3_line_26 |  | 24 | 30 | 0.042827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5236-16_0_3_line_27 |  | 25 | 29 | 0.044656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5236-16_0_3_line_28 |  | 27 | 28 | 0.074839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5236-16_0_3_line_29 |  | 29 | 33 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5236-16_0_3_line_30 |  | 30 | 31 | 0.0080049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5236-16_0_3_line_31 |  | 30 | 32 | 0.014728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5236-16_0_3_line_32 |  | 31 | 41 | 0.0069748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5236-16_0_3_line_33 |  | 32 | 33 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5236-16_0_3_line_34 |  | 34 | 35 | 0.019726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5236-16_0_3_line_35 |  | 34 | 36 | 0.028054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5236-16_0_3_line_36 |  | 35 | 37 | 0.019004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5236-16_0_3_line_37 |  | 36 | 38 | 0.026048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5236-16_0_3_line_38 |  | 37 | 39 | 0.037036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5236-16_0_3_line_39 |  | 38 | 40 | 0.051102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5236-16_0_3_line_40 |  | 39 | 48 | 0.026523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5236-16_0_3_line_41 |  | 39 | 49 | 0.004148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5236-16_0_3_line_42 |  | 40 | 57 | 0.023218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5236-16_0_3_line_43 |  | 41 | 42 | 0.001399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5236-16_0_3_line_44 |  | 42 | 51 | 0.0093862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5236-16_0_3_line_45 |  | 43 | 44 | 0.064416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5236-16_0_3_line_46 |  | 44 | 45 | 0.0086419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5236-16_0_3_line_47 |  | 45 | 46 | 0.044646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5236-16_0_3_line_48 |  | 46 | 47 | 0.00015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5236-16_0_3_line_49 |  | 47 | 52 | 0.029404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5236-16_0_3_line_50 |  | 48 | 50 | 0.04602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5236-16_0_3_line_51 |  | 49 | 51 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5236-16_0_3_line_52 |  | 49 | 52 | 0.010768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5236-16_0_3_line_53 |  | 50 | 53 | 0.0097287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5236-16_0_3_line_54 |  | 53 | 54 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5236-16_0_3_line_55 |  | 53 | 55 | 0.039034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5236-16_0_3_line_56 |  | 55 | 56 | 0.02038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5236-16_0_3_line_57 |  | 56 | 59 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5236-16_0_3_line_58 |  | 57 | 58 | 0.0023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5236-16_0_3_line_59 |  | 59 | 60 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5236-16_0_3_line_60 |  | 60 | 61 | 3.9611e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5236-16_0_3_line_61 |  | 61 | 62 | 0.038258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5236-16_0_3_line_62 |  | 62 | 70 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5236-16_0_3_line_63 |  | 62 | 71 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5236-16_0_3_line_64 |  | 63 | 64 | 0.046538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5236-16_0_3_line_65 |  | 63 | 65 | 0.0057425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5236-16_0_3_line_66 |  | 64 | 66 | 0.04054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5236-16_0_3_line_67 |  | 64 | 67 | 0.071997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5236-16_0_3_line_68 |  | 66 | 68 | 0.058472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5236-16_0_3_line_69 |  | 68 | 69 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5236-16_0_3_line_70 |  | 69 | 75 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5236-16_0_3_line_71 |  | 70 | 72 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5236-16_0_3_line_72 |  | 71 | 73 | 0.066352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5236-16_0_3_line_73 |  | 71 | 74 | 0.030436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5236-16_0_3_line_74 |  | 72 | 75 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5236-16_0_3_line_75 |  | 72 | 76 | 0.021334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5236-16_0_3_line_76 |  | 74 | 77 | 0.009374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5236-16_0_3_line_77 |  | 75 | 78 | 0.068047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5236-16_0_3_line_78 |  | 77 | 85 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5236-16_0_3_line_79 |  | 77 | 82 | 0.076727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5236-16_0_3_line_80 |  | 78 | 79 | 0.041422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5236-16_0_3_line_81 |  | 80 | 81 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5236-16_0_3_line_82 |  | 81 | 82 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5236-16_0_3_line_83 |  | 82 | 83 | 0.019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5236-16_0_3_line_84 |  | 83 | 84 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5236-16_0_3_line_85 |  | 84 | 86 | 0.02522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5236-16_0_3_line_86 |  | 85 | 87 | 0.00037023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5236-16_0_3_line_87 |  | 87 | 88 | 0.027757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5236-16_0_3_trafo_79 | 0.63 MVA 20/0.4 kV | 89 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2714353.2794 | 1092116.7788 | 2714353.7123 | 1092104.086
1 | 2714353.7123 | 1092104.086 | 2714288.8862 | 1092096.844
2 | 2714353.2794 | 1092116.7788 | 2714351.7896 | 1092160.5363 | 2714351.0987 | 1092180.7816 | 2714353.2236 | 1092184.8811
3 | 2714288.8862 | 1092096.844 | 2714276.7065 | 1092119.5197 | 2714274.5312 | 1092135.8455
4 | 2714249.9337 | 1092116.7371 | 2714275.9427 | 1092104.8842 | 2714288.8862 | 1092096.844
5 | 2714353.2236 | 1092184.8811 | 2714364.1999 | 1092206.057
6 | 2714249.9337 | 1092116.7371 | 2714201.8272 | 1092131.5774 | 2714215.1673 | 1092152.3531
7 | 2714370.8337 | 1092218.8551 | 2714364.1999 | 1092206.057
8 | 2714370.8337 | 1092218.8551 | 2714380.5692 | 1092237.6371
9 | 2714385.296 | 1092249.5596 | 2714382.0787 | 1092240.5494 | 2714380.5692 | 1092237.6371
10 | 2714391.1763 | 1092272.0864 | 2714387.9263 | 1092256.9261 | 2714385.296 | 1092249.5596
11 | 2714391.1763 | 1092272.0864 | 2714391.1763 | 1092272.0864 | 2714392.3442 | 1092287.4745 | 2714389.5722 | 1092301.1028
12 | 2714388.5063 | 1092336.9362 | 2714386.8425 | 1092314.5229 | 2714389.5722 | 1092301.1028
13 | 2714389.5722 | 1092301.1028 | 2714277.2372 | 1092287.3926
14 | 2714447.0602 | 1092201.3633 | 2714449.3947 | 1092225.8603
15 | 2714449.3947 | 1092225.8603 | 2714451.7776 | 1092250.8651
16 | 2714454.141 | 1092275.6699 | 2714452.281 | 1092256.147 | 2714451.7776 | 1092250.8651
17 | 2714456.2946 | 1092298.2736 | 2714454.141 | 1092275.6699
18 | 2714456.2946 | 1092298.2736 | 2714456.6656 | 1092301.6273 | 2714457.0286 | 1092304.992 | 2714459.5535 | 1092329.3434
19 | 2714456.2946 | 1092298.2736 | 2714444.1588 | 1092300.4801 | 2714439.9923 | 1092303.1258 | 2714439.0864 | 1092309.2463 | 2714442.9648 | 1092338.672
20 | 2714388.5063 | 1092336.9362 | 2714391.3086 | 1092353.0925
21 | 2714388.5063 | 1092336.9362 | 2714383.3562 | 1092344.8892 | 2714371.2481 | 1092402.9124 | 2714371.1405 | 1092405.5813
22 | 2714274.9949 | 1092298.8435 | 2714277.2372 | 1092287.3926
23 | 2714459.5535 | 1092329.3434 | 2714462.5607 | 1092358.3465
24 | 2714442.9648 | 1092338.672 | 2714445.2935 | 1092356.3397 | 2714442.5459 | 1092377.925 | 2714441.9739 | 1092381.5985
25 | 2714441.9739 | 1092381.5985 | 2714440.2795 | 1092392.4812 | 2714435.8689 | 1092402.6654
26 | 2714415.1785 | 1092438.9297 | 2714419.6184 | 1092436.9897 | 2714433.0337 | 1092409.2119 | 2714435.8689 | 1092402.6654
27 | 2714391.3086 | 1092353.0925 | 2714395.0596 | 1092374.7186 | 2714397.5309 | 1092387.585 | 2714399.281 | 1092397.0299
28 | 2714274.9949 | 1092298.8435 | 2714216.49 | 1092345.5137
29 | 2714402.4433 | 1092414.0955 | 2714402.4433 | 1092414.0955 | 2714399.281 | 1092397.0299
30 | 2714415.1785 | 1092438.9297 | 2714412.8552 | 1092446.2133 | 2714412.7372 | 1092446.5532
31 | 2714415.1785 | 1092438.9297 | 2714414.7375 | 1092433.9403 | 2714412.816 | 1092428.5226 | 2714410.4983 | 1092425.299
32 | 2714410.4493 | 1092453.1421 | 2714412.7372 | 1092446.5532
33 | 2714410.4983 | 1092425.299 | 2714402.4433 | 1092414.0955
34 | 2714473.8907 | 1092467.6206 | 2714468.0137 | 1092469.3 | 2714459.7218 | 1092472.4239 | 2714455.3996 | 1092474.4014
35 | 2714473.8907 | 1092467.6206 | 2714477.1844 | 1092495.4808
36 | 2714455.3996 | 1092474.4014 | 2714451.9723 | 1092475.9694 | 2714437.2249 | 1092479.7946
37 | 2714477.1844 | 1092495.4808 | 2714479.1603 | 1092512.1947 | 2714480.0146 | 1092521.3728
38 | 2714400.6529 | 1092485.3439 | 2714411.8159 | 1092483.308 | 2714431.8725 | 1092479.9607 | 2714437.2249 | 1092479.7946
39 | 2714485.2089 | 1092572.2051 | 2714483.3965 | 1092557.7055 | 2714480.0146 | 1092521.3728
40 | 2714400.6529 | 1092485.3439 | 2714405.1811 | 1092506.7214 | 2714406.2674 | 1092511.2649
41 | 2714400.7076 | 1092481.1976 | 2714400.6529 | 1092485.3439
42 | 2714485.2089 | 1092572.2051 | 2714488.5827 | 1092595.1732
43 | 2714410.4493 | 1092453.1421 | 2714409.9904 | 1092454.4637
44 | 2714406.9116 | 1092463.3306 | 2714409.9904 | 1092454.4637
45 | 2714348.7137 | 1092468.7338 | 2714348.7137 | 1092468.7338 | 2714342.0051 | 1092506.8004 | 2714348.3514 | 1092531.7691
46 | 2714353.6902 | 1092538.4194 | 2714348.6242 | 1092532.8426 | 2714348.3514 | 1092531.7691
47 | 2714377.208 | 1092504.3412 | 2714374.6277 | 1092515.4306 | 2714371.3347 | 1092520.6946 | 2714362.921 | 1092536.0691 | 2714353.6902 | 1092538.4194 | 2714353.6902 | 1092538.4194
48 | 2714377.208 | 1092504.3412 | 2714377.2433 | 1092504.1894
49 | 2714389.9703 | 1092480.384 | 2714389.9703 | 1092480.384 | 2714384.7893 | 1092481.7431 | 2714381.4175 | 1092486.2495 | 2714377.2433 | 1092504.1894
50 | 2714406.2674 | 1092511.2649 | 2714407.0209 | 1092514.4169 | 2714411.5514 | 1092536.9063 | 2714415.4663 | 1092556.3541
51 | 2714400.7076 | 1092481.1976 | 2714406.9116 | 1092463.3306
52 | 2714400.7076 | 1092481.1976 | 2714389.9703 | 1092480.384
53 | 2714417.3861 | 1092565.8914 | 2714415.4663 | 1092556.3541
54 | 2714417.3861 | 1092565.8914 | 2714436.136 | 1092562.7577
55 | 2714417.3861 | 1092565.8914 | 2714419.5915 | 1092576.8182 | 2714430.4377 | 1092602.5095
56 | 2714430.4377 | 1092602.5095 | 2714438.3641 | 1092621.2845
57 | 2714438.3641 | 1092621.2845 | 2714448.4725 | 1092645.2279
58 | 2714488.5827 | 1092595.1732 | 2714489.2342 | 1092597.4725
59 | 2714448.4725 | 1092645.2279 | 2714458.5649 | 1092669.1335
60 | 2714458.5649 | 1092669.1335 | 2714458.5803 | 1092669.17
61 | 2714476.5463 | 1092702.8759 | 2714462.8579 | 1092679.3022 | 2714458.5803 | 1092669.17
62 | 2714476.5463 | 1092702.8759 | 2714468.2407 | 1092714.9724 | 2714460.5641 | 1092721.0406
63 | 2714495.8459 | 1092720.7514 | 2714485.8243 | 1092713.6468 | 2714476.5463 | 1092702.8759
64 | 2714364.6814 | 1092671.1946 | 2714382.3188 | 1092643.1181 | 2714379.7235 | 1092629.9913
65 | 2714378.6096 | 1092624.3578 | 2714379.7235 | 1092629.9913
66 | 2714364.6814 | 1092671.1946 | 2714367.2897 | 1092692.8473 | 2714369.9934 | 1092706.5409 | 2714371.5426 | 1092711.0551
67 | 2714364.6814 | 1092671.1946 | 2714354.385 | 1092674.57 | 2714357.385 | 1092683.6437 | 2714364.4382 | 1092704.7241 | 2714364.0571 | 1092724.9863 | 2714368.9337 | 1092732.6805
68 | 2714371.5426 | 1092711.0551 | 2714373.8223 | 1092717.6983 | 2714381.4246 | 1092728.5486 | 2714394.6441 | 1092738.7375 | 2714403.2647 | 1092743.6697 | 2714410.4295 | 1092745.2166 | 2714414.66 | 1092744.8303
69 | 2714426.1877 | 1092742.0219 | 2714419.2123 | 1092744.4146 | 2714414.66 | 1092744.8303
70 | 2714439.7172 | 1092737.3844 | 2714426.1877 | 1092742.0219
71 | 2714452.51 | 1092727.4071 | 2714460.5641 | 1092721.0406
72 | 2714495.8459 | 1092720.7514 | 2714476.341 | 1092784.1721
73 | 2714495.8459 | 1092720.7514 | 2714510.3748 | 1092725.2057 | 2714525.3699 | 1092728.3679
74 | 2714452.51 | 1092727.4071 | 2714446.6051 | 1092732.644 | 2714439.7172 | 1092737.3844
75 | 2714452.51 | 1092727.4071 | 2714444.3163 | 1092707.7092
76 | 2714525.3699 | 1092728.3679 | 2714527.8041 | 1092737.4199
77 | 2714448.2864 | 1092803.1016 | 2714441.0293 | 1092792.8692 | 2714439.7172 | 1092737.3844
78 | 2714527.8041 | 1092737.4199 | 2714556.344 | 1092757.7601 | 2714559.8855 | 1092757.4155 | 2714561.1963 | 1092755.2692
79 | 2714527.8041 | 1092737.4199 | 2714531.8133 | 1092752.1611 | 2714535.6985 | 1092768.134 | 2714537.9196 | 1092782.7303 | 2714537.9477 | 1092796.051 | 2714536.0341 | 1092812.8598
80 | 2714448.2864 | 1092803.1016 | 2714442.4368 | 1092844.1085
81 | 2714491.7584 | 1092805.8108 | 2714518.0135 | 1092809.9908
82 | 2714536.0341 | 1092812.8598 | 2714518.0135 | 1092809.9908
83 | 2714534.1404 | 1092832.3153 | 2714536.0341 | 1092812.8598
84 | 2714534.1404 | 1092832.3153 | 2714514.9106 | 1092829.6124
85 | 2714514.9106 | 1092829.6124 | 2714489.9366 | 1092826.1021
86 | 2714561.3893 | 1092754.9532 | 2714561.3893 | 1092754.9532 | 2714561.1963 | 1092755.2692
87 | 2714561.3893 | 1092754.9532 | 2714561.8899 | 1092750.6041 | 2714559.165 | 1092729.4161 | 2714559.3831 | 1092727.4112

## bus_geodata
| x | y | coords
0 | 2714353.7123 | 1092104.086
1 | 2714353.2794 | 1092116.7788
2 | 2714288.8862 | 1092096.844
3 | 2714353.2236 | 1092184.8811
4 | 2714274.5312 | 1092135.8455
5 | 2714249.9337 | 1092116.7371
6 | 2714364.1999 | 1092206.057
7 | 2714215.1673 | 1092152.3531
8 | 2714370.8337 | 1092218.8551
9 | 2714380.5692 | 1092237.6371
10 | 2714385.296 | 1092249.5596
11 | 2714391.1762 | 1092272.0864
12 | 2714389.5722 | 1092301.1028
13 | 2714447.0602 | 1092201.3633
14 | 2714449.3947 | 1092225.8603
15 | 2714451.7776 | 1092250.8651
16 | 2714454.141 | 1092275.6699
17 | 2714456.2946 | 1092298.2736
18 | 2714388.5063 | 1092336.9362
19 | 2714277.2372 | 1092287.3926
20 | 2714459.5535 | 1092329.3434
21 | 2714442.9648 | 1092338.672
22 | 2714462.5607 | 1092358.3465
23 | 2714441.9739 | 1092381.5985
24 | 2714435.8689 | 1092402.6655
25 | 2714391.3086 | 1092353.0925
26 | 2714371.1405 | 1092405.5813
27 | 2714274.9949 | 1092298.8435
28 | 2714216.49 | 1092345.5137
29 | 2714399.281 | 1092397.0299
30 | 2714415.1785 | 1092438.9297
31 | 2714412.7372 | 1092446.5532
32 | 2714410.4983 | 1092425.299
33 | 2714402.4433 | 1092414.0955
34 | 2714473.8907 | 1092467.6206
35 | 2714455.3996 | 1092474.4014
36 | 2714477.1844 | 1092495.4808
37 | 2714437.2249 | 1092479.7946
38 | 2714480.0146 | 1092521.3728
39 | 2714400.6529 | 1092485.3439
40 | 2714485.2089 | 1092572.2051
41 | 2714410.4493 | 1092453.1421
42 | 2714409.9904 | 1092454.4637
43 | 2714348.7137 | 1092468.7338
44 | 2714348.3514 | 1092531.7691
45 | 2714353.6902 | 1092538.4194
46 | 2714377.208 | 1092504.3412
47 | 2714377.2433 | 1092504.1894
48 | 2714406.2674 | 1092511.2649
49 | 2714400.7076 | 1092481.1976
50 | 2714415.4663 | 1092556.3541
51 | 2714406.9116 | 1092463.3306
52 | 2714389.9703 | 1092480.384
53 | 2714417.3861 | 1092565.8914
54 | 2714436.136 | 1092562.7577
55 | 2714430.4377 | 1092602.5095
56 | 2714438.3641 | 1092621.2845
57 | 2714488.5827 | 1092595.1732
58 | 2714489.2342 | 1092597.4725
59 | 2714448.4725 | 1092645.2279
60 | 2714458.5649 | 1092669.1335
61 | 2714458.5803 | 1092669.17
62 | 2714476.5463 | 1092702.8759
63 | 2714379.7235 | 1092629.9913
64 | 2714364.6814 | 1092671.1946
65 | 2714378.6096 | 1092624.3578
66 | 2714371.5426 | 1092711.0551
67 | 2714368.9337 | 1092732.6805
68 | 2714414.66 | 1092744.8303
69 | 2714426.1877 | 1092742.0219
70 | 2714460.5641 | 1092721.0406
71 | 2714495.8459 | 1092720.7514
72 | 2714452.51 | 1092727.4071
73 | 2714476.341 | 1092784.1721
74 | 2714525.3699 | 1092728.3679
75 | 2714439.7172 | 1092737.3844
76 | 2714444.3163 | 1092707.7092
77 | 2714527.8041 | 1092737.4199
78 | 2714448.2864 | 1092803.1016
79 | 2714442.4368 | 1092844.1085
80 | 2714491.7584 | 1092805.8108
81 | 2714518.0135 | 1092809.9908
82 | 2714536.0341 | 1092812.8598
83 | 2714534.1404 | 1092832.3153
84 | 2714514.9106 | 1092829.6124
85 | 2714561.1963 | 1092755.2692
86 | 2714489.9366 | 1092826.1021
87 | 2714561.3893 | 1092754.9532
88 | 2714559.3831 | 1092727.4112
89 | 2714400.7076 | 1092481.1976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1