## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5236-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5236-17_0_4_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_5236-17_0_4_node_63 | 0.4 | n |  | TRUE
3 | bus_LV_5236-17_0_4_node_66 | 0.4 | n |  | TRUE
4 | bus_LV_5236-17_0_4_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_5236-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5236-17_0_4_node_1 | 0.4 | n |  | TRUE
7 | bus_LV_5236-17_0_4_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_5236-17_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5236-17_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5236-17_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5236-17_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_5236-17_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5236-17_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5236-17_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5236-17_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5236-17_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5236-17_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_5236-17_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5236-17_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_5236-17_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5236-17_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5236-17_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5236-17_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5236-17_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5236-17_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5236-17_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5236-17_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5236-17_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5236-17_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5236-17_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5236-17_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_5236-17_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5236-17_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5236-17_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_5236-17_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_5236-17_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_5236-17_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5236-17_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5236-17_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_5236-17_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_5236-17_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5236-17_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_5236-17_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5236-17_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5236-17_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_5236-17_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5236-17_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_5236-17_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5236-17_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5236-17_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_5236-17_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5236-17_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_5236-17_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5236-17_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5236-17_0_4_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_5236-17_0_4_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_5236-17_0_4_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_5236-17_0_4_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_5236-17_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_5236-17_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_5236-17_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_5236-17_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_5236-17_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_5236-17_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_5236-17_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_5236-17_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_5236-17_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5236-17_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5236-17_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_MV_256_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5236-17_0_4_load_0 | 0 | 0.0024292 | 0.00060882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5236-17_0_4_load_68 | 1 | 0.0029297 | 0.00073424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5236-17_0_4_load_63 | 2 | 0.003509 | 0.00087944 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5236-17_0_4_load_62 | 4 | 0.0042814 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5236-17_0_4_load_5 | 5 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5236-17_0_4_load_1 | 6 | 0.010232 | 0.0025643 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5236-17_0_4_load_2 | 7 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5236-17_0_4_load_4 | 9 | 0.0098522 | 0.0024692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5236-17_0_4_load_12 | 11 | 0.0056404 | 0.0014136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5236-17_0_4_load_25 | 12 | 0.0065949 | 0.0016528 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5236-17_0_4_load_6 | 13 | 0.0017681 | 0.00044312 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5236-17_0_4_load_7 | 14 | 0.011444 | 0.0028681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5236-17_0_4_load_11 | 16 | 0.0046324 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5236-17_0_4_load_34 | 17 | 0.005507 | 0.0013802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5236-17_0_4_load_9 | 18 | 0.0031383 | 0.00078654 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5236-17_0_4_load_32 | 19 | 0.0071178 | 0.0017839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5236-17_0_4_load_10 | 20 | 0.011175 | 0.0028007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5236-17_0_4_load_13 | 21 | 0.014577 | 0.0036533 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5236-17_0_4_load_14 | 22 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5236-17_0_4_load_16 | 24 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5236-17_0_4_load_18 | 26 | 0.0062329 | 0.0015621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5236-17_0_4_load_35 | 27 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5236-17_0_4_load_22 | 28 | 0.0024987 | 0.00062624 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5236-17_0_4_load_19 | 29 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5236-17_0_4_load_29 | 30 | 0.0043987 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5236-17_0_4_load_61 | 31 | 0.0030121 | 0.0007549 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5236-17_0_4_load_33 | 32 | 0.005581 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5236-17_0_4_load_20 | 33 | 0.00868 | 0.0021754 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5236-17_0_4_load_30 | 34 | 0.0061239 | 0.0015348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5236-17_0_4_load_45 | 35 | 0.002198 | 0.00055088 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5236-17_0_4_load_46 | 36 | 0.0018908 | 0.00047387 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5236-17_0_4_load_44 | 37 | 0.0013578 | 0.0003403 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5236-17_0_4_load_47 | 38 | 0.0016723 | 0.00041912 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5236-17_0_4_load_59 | 39 | 0.0041733 | 0.0010459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5236-17_0_4_load_60 | 40 | 0.0039487 | 0.00098964 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5236-17_0_4_load_21 | 41 | 0.011937 | 0.0029918 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5236-17_0_4_load_23 | 42 | 0.010741 | 0.0026919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5236-17_0_4_load_48 | 43 | 0.0031272 | 0.00078375 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5236-17_0_4_load_49 | 44 | 0.0016251 | 0.0004073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5236-17_0_4_load_50 | 45 | 0.002194 | 0.00054988 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5236-17_0_4_load_51 | 46 | 0.0037753 | 0.00094618 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5236-17_0_4_load_52 | 47 | 0.0045019 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5236-17_0_4_load_53 | 48 | 0.0016218 | 0.00040645 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5236-17_0_4_load_54 | 49 | 0.002087 | 0.00052305 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5236-17_0_4_load_55 | 50 | 0.0094272 | 0.0023627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5236-17_0_4_load_56 | 51 | 0.0030468 | 0.0007636 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5236-17_0_4_load_69 | 52 | 0.0037239 | 0.00093331 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5236-17_0_4_load_57 | 53 | 0.0035591 | 0.000892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5236-17_0_4_load_58 | 54 | 0.0036567 | 0.00091646 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5236-17_0_4_load_24 | 55 | 0.0044984 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5236-17_0_4_load_26 | 56 | 0.0086598 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5236-17_0_4_load_28 | 57 | 0.0021481 | 0.00053835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5236-17_0_4_load_36 | 59 | 0.0080923 | 0.0020281 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5236-17_0_4_load_37 | 60 | 0.026315 | 0.0065951 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5236-17_0_4_load_38 | 61 | 0.0089058 | 0.002232 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5236-17_0_4_load_39 | 62 | 0.0058016 | 0.001454 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5236-17_0_4_load_40 | 63 | 0.0090035 | 0.0022565 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5236-17_0_4_load_41 | 64 | 0.017235 | 0.0043194 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5236-17_0_4_load_42 | 65 | 0.011183 | 0.0028027 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5236-17_0_4_load_43 | 66 | 0.0096719 | 0.002424 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5236-17_0_4_load_65 | 67 | 0.0076089 | 0.001907 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5236-17_0_4_load_64 | 68 | 0.0027123 | 0.00067976 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5236-17_0_4_load_67 | 69 | 0.0037025 | 0.00092792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5236-17_0_4_line_0 |  | 0 | 1 | 0.27328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5236-17_0_4_line_1 |  | 1 | 2 | 0.076007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5236-17_0_4_line_2 |  | 1 | 3 | 0.023124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5236-17_0_4_line_3 |  | 2 | 4 | 0.022931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5236-17_0_4_line_4 |  | 2 | 68 | 0.027968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5236-17_0_4_line_5 |  | 3 | 67 | 0.073022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5236-17_0_4_line_6 |  | 4 | 5 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5236-17_0_4_line_7 |  | 5 | 8 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5236-17_0_4_line_8 |  | 6 | 7 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5236-17_0_4_line_9 |  | 6 | 8 | 0.025687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5236-17_0_4_line_10 |  | 7 | 9 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5236-17_0_4_line_11 |  | 9 | 10 | 0.074147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5236-17_0_4_line_12 |  | 10 | 11 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5236-17_0_4_line_13 |  | 10 | 12 | 0.034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5236-17_0_4_line_14 |  | 11 | 20 | 0.02959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5236-17_0_4_line_15 |  | 12 | 55 | 0.033981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5236-17_0_4_line_16 |  | 13 | 14 | 0.0080507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5236-17_0_4_line_17 |  | 14 | 15 | 0.026839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5236-17_0_4_line_18 |  | 15 | 16 | 0.0065549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5236-17_0_4_line_19 |  | 15 | 17 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5236-17_0_4_line_20 |  | 16 | 18 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5236-17_0_4_line_21 |  | 17 | 19 | 0.028075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5236-17_0_4_line_22 |  | 18 | 20 | 0.06818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5236-17_0_4_line_23 |  | 19 | 32 | 0.0018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5236-17_0_4_line_24 |  | 21 | 22 | 0.027053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5236-17_0_4_line_25 |  | 21 | 23 | 0.0072252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5236-17_0_4_line_26 |  | 22 | 24 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5236-17_0_4_line_27 |  | 23 | 25 | 0.017923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5236-17_0_4_line_28 |  | 23 | 26 | 0.055406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5236-17_0_4_line_29 |  | 24 | 27 | 0.0017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5236-17_0_4_line_30 |  | 25 | 28 | 0.019592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5236-17_0_4_line_31 |  | 25 | 29 | 0.0080284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5236-17_0_4_line_32 |  | 26 | 30 | 0.00095861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5236-17_0_4_line_33 |  | 26 | 31 | 0.19092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5236-17_0_4_line_34 |  | 27 | 32 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5236-17_0_4_line_35 |  | 29 | 33 | 0.021924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5236-17_0_4_line_36 |  | 30 | 34 | 0.051273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5236-17_0_4_line_37 |  | 31 | 40 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5236-17_0_4_line_38 |  | 33 | 41 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5236-17_0_4_line_39 |  | 34 | 58 | 0.063568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5236-17_0_4_line_40 |  | 35 | 36 | 0.039026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5236-17_0_4_line_41 |  | 35 | 37 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5236-17_0_4_line_42 |  | 36 | 38 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5236-17_0_4_line_43 |  | 36 | 39 | 0.056105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5236-17_0_4_line_44 |  | 38 | 43 | 0.0009061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5236-17_0_4_line_45 |  | 39 | 40 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5236-17_0_4_line_46 |  | 39 | 54 | 0.0036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5236-17_0_4_line_47 |  | 41 | 42 | 0.0034883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5236-17_0_4_line_48 |  | 43 | 44 | 0.026501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5236-17_0_4_line_49 |  | 44 | 45 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5236-17_0_4_line_50 |  | 45 | 46 | 0.037082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5236-17_0_4_line_51 |  | 47 | 48 | 0.0077467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5236-17_0_4_line_52 |  | 47 | 49 | 0.0022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5236-17_0_4_line_53 |  | 48 | 50 | 0.0049053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5236-17_0_4_line_54 |  | 49 | 51 | 0.0013981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5236-17_0_4_line_55 |  | 50 | 52 | 0.084394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5236-17_0_4_line_56 |  | 51 | 53 | 0.00011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5236-17_0_4_line_57 |  | 53 | 54 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5236-17_0_4_line_58 |  | 55 | 56 | 0.0073149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5236-17_0_4_line_59 |  | 56 | 57 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5236-17_0_4_line_60 |  | 58 | 59 | 0.048044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5236-17_0_4_line_61 |  | 60 | 61 | 0.0032442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5236-17_0_4_line_62 |  | 60 | 62 | 0.045639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5236-17_0_4_line_63 |  | 61 | 63 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5236-17_0_4_line_64 |  | 63 | 64 | 0.00096325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5236-17_0_4_line_65 |  | 64 | 65 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5236-17_0_4_line_66 |  | 65 | 66 | 0.031018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5236-17_0_4_line_67 |  | 66 | 68 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5236-17_0_4_line_68 |  | 66 | 69 | 0.043957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5236-17_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 70 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2714252.859 | 1093023.063 | 2714518.5385 | 1092959.0469
1 | 2714181.0011 | 1093047.8327 | 2714252.859 | 1093023.063
2 | 2714247.564 | 1093000.5968 | 2714249.5931 | 1093012.2428 | 2714252.859 | 1093023.063
3 | 2714188.3883 | 1093069.5413 | 2714181.0011 | 1093047.8327
4 | 2714181.0011 | 1093047.8327 | 2714171.9915 | 1093021.3561
5 | 2714247.564 | 1093000.5968 | 2714244.6795 | 1092980.8402 | 2714232.1412 | 1092933.5947 | 2714230.2827 | 1092929.856
6 | 2714196.4989 | 1093093.3756 | 2714188.3883 | 1093069.5413
7 | 2714202.726 | 1093111.6751 | 2714196.4989 | 1093093.3756
8 | 2714183.9749 | 1093094.3073 | 2714183.5881 | 1093093.8814 | 2714170.5308 | 1093073.7033
9 | 2714202.726 | 1093111.6751 | 2714193.8636 | 1093105.1932 | 2714183.9749 | 1093094.3073
10 | 2714170.5308 | 1093073.7033 | 2714160.0006 | 1093057.4305
11 | 2714117.6045 | 1093003.5259 | 2714119.9169 | 1093001.3345 | 2714122.4113 | 1093001.0144 | 2714125.521 | 1093002.1847 | 2714156.7704 | 1093052.4387 | 2714160.0006 | 1093057.4305
12 | 2714117.6045 | 1093003.5259 | 2714117.2564 | 1093006.3769 | 2714117.9297 | 1093019.6092
13 | 2714117.6045 | 1093003.5259 | 2714109.3711 | 1092989.9511 | 2714096.9585 | 1092975.5997
14 | 2714117.9297 | 1093019.6092 | 2714118.4399 | 1093029.6372 | 2714118.4408 | 1093049.1858
15 | 2714078.1444 | 1092947.3685 | 2714086.0663 | 1092960.783 | 2714094.8645 | 1092973.1787 | 2714096.9585 | 1092975.5997
16 | 2714083.8872 | 1093150.7339 | 2714083.4615 | 1093147.8952 | 2714083.0254 | 1093142.7333
17 | 2714080.7659 | 1093115.9895 | 2714083.0254 | 1093142.7333
18 | 2714080.7659 | 1093115.9895 | 2714087.3033 | 1093115.5112
19 | 2714080.7659 | 1093115.9895 | 2714071.5107 | 1093112.2578 | 2714063.6634 | 1093107.0293 | 2714062.8567 | 1093106.0775
20 | 2714087.3033 | 1093115.5112 | 2714090.5619 | 1093115.2727 | 2714100.885 | 1093111.6639
21 | 2714050.5691 | 1093081.3123 | 2714051.8645 | 1093085.5934 | 2714056.6636 | 1093098.7702 | 2714062.8567 | 1093106.0775
22 | 2714118.4408 | 1093049.1858 | 2714118.4422 | 1093077.8257 | 2714115.4425 | 1093093.091 | 2714109.5386 | 1093104.0877 | 2714100.885 | 1093111.6639 | 2714100.885 | 1093111.6639
23 | 2714050.5691 | 1093081.3123 | 2714050.0477 | 1093079.589
24 | 2714038.9197 | 1093042.8114 | 2714035.4852 | 1093031.4605 | 2714031.0681 | 1093016.9234 | 2714031.0681 | 1093016.9234
25 | 2714025.3074 | 1093013.6798 | 2714028.5677 | 1093013.8522 | 2714031.0681 | 1093016.9234
26 | 2714041.9731 | 1093052.9027 | 2714038.9197 | 1093042.8114
27 | 2714014.3886 | 1092999.4432 | 2714025.3074 | 1093013.6798
28 | 2714025.3074 | 1093013.6798 | 2714020.4468 | 1093015.7568 | 2714014.8546 | 1093023.3683 | 2714010.0893 | 1093032.3518 | 2714007.026 | 1093040.6889 | 2714005.8952 | 1093046.8386 | 2714006.4391 | 1093053.3866 | 2714008.2924 | 1093059.5477 | 2714009.0516 | 1093061.7899
29 | 2714042.4752 | 1093054.5621 | 2714041.9731 | 1093052.9027
30 | 2714014.3886 | 1092999.4432 | 2713999.5422 | 1092996.2294 | 2713995.6124 | 1092994.2469
31 | 2714014.3886 | 1092999.4432 | 2714014.6617 | 1092991.4194
32 | 2714009.359 | 1093062.6979 | 2714009.0516 | 1093061.7899
33 | 2714009.0516 | 1093061.7899 | 2713819.9471 | 1093088.0666
34 | 2714042.4752 | 1093054.5621 | 2714050.0477 | 1093079.589
35 | 2714014.6617 | 1092991.4194 | 2714015.4074 | 1092969.5086
36 | 2714009.359 | 1093062.6979 | 2714012.3615 | 1093071.5655 | 2714024.6492 | 1093103.3175 | 2714028.0133 | 1093110.4261
37 | 2713819.9471 | 1093088.0666 | 2713813.7255 | 1093088.9019 | 2713804.7956 | 1093077.0177
38 | 2714009.3876 | 1092949.5783 | 2714015.4074 | 1092969.5086 | 2714015.4074 | 1092969.5086
39 | 2714043.472 | 1093166.8471 | 2714046.6941 | 1093156.6561 | 2714048.9876 | 1093144.7243 | 2714048.1094 | 1093140.3048 | 2714033.3877 | 1093121.7828 | 2714028.0133 | 1093110.4261
40 | 2713767.6582 | 1093128.7326 | 2713753.4939 | 1093096.8362 | 2713751.1327 | 1093093.4529
41 | 2713776.9026 | 1093145.7741 | 2713776.9026 | 1093145.7741 | 2713769.4562 | 1093132.7815 | 2713767.6582 | 1093128.7326
42 | 2713751.1327 | 1093093.4529 | 2713746.1032 | 1093086.2464 | 2713738.718 | 1093078.5988
43 | 2713800.4991 | 1093066.7926 | 2713751.1327 | 1093093.4529
44 | 2713738.0886 | 1093077.947 | 2713738.718 | 1093078.5988
45 | 2713800.4991 | 1093066.7926 | 2713800.5655 | 1093071.3882 | 2713804.7956 | 1093077.0177
46 | 2713800.4991 | 1093066.7926 | 2713800.4466 | 1093063.1624
47 | 2714009.3876 | 1092949.5783 | 2714008.3789 | 1092946.239
48 | 2713716.3811 | 1093062.9313 | 2713727.9593 | 1093069.529 | 2713737.6396 | 1093077.4821 | 2713738.0886 | 1093077.947
49 | 2713716.3811 | 1093062.9313 | 2713698.8599 | 1093052.9471
50 | 2713698.8599 | 1093052.9471 | 2713666.6418 | 1093034.5879
51 | 2713794.7961 | 1093035.9498 | 2713790.8287 | 1093029.2962
52 | 2713794.7961 | 1093035.9498 | 2713795.9421 | 1093037.8717
53 | 2713788.3165 | 1093025.0831 | 2713790.8287 | 1093029.2962
54 | 2713796.6582 | 1093039.0725 | 2713795.9421 | 1093037.8717
55 | 2713788.3165 | 1093025.0831 | 2713738.2636 | 1092957.134
56 | 2713796.7193 | 1093039.1751 | 2713796.6582 | 1093039.0725
57 | 2713796.7193 | 1093039.1751 | 2713800.1839 | 1093044.9853 | 2713800.4466 | 1093063.1624
58 | 2714074.4248 | 1092941.0699 | 2714078.1444 | 1092947.3685
59 | 2714074.4248 | 1092941.0699 | 2714068.989 | 1092931.8652 | 2714065.1394 | 1092926.09
60 | 2714043.472 | 1093166.8471 | 2714022.455 | 1093163.6731 | 2714017.2168 | 1093166.0544 | 2714014.6538 | 1093182.4397 | 2714014.5175 | 1093186.8879
61 | 2714123.9395 | 1092932.4114 | 2714126.4691 | 1092934.4428
62 | 2714123.9395 | 1092932.4114 | 2714109.1624 | 1092920.5443 | 2714096.3229 | 1092909.5181 | 2714089.6314 | 1092902.4096
63 | 2714144.542 | 1092955.7456 | 2714139.2669 | 1092947.5831 | 2714129.7893 | 1092937.1092 | 2714126.4691 | 1092934.4428
64 | 2714145.0648 | 1092956.5546 | 2714144.542 | 1092955.7456
65 | 2714145.0648 | 1092956.5546 | 2714148.1483 | 1092961.3258 | 2714156.6402 | 1092980.6928
66 | 2714167.9697 | 1093009.5373 | 2714163.4017 | 1092996.1136 | 2714156.6402 | 1092980.6928
67 | 2714171.9915 | 1093021.3561 | 2714167.9697 | 1093009.5373
68 | 2714167.9697 | 1093009.5373 | 2714203.8332 | 1092984.1204

## bus_geodata
| x | y | coords
0 | 2714518.5385 | 1092959.0469
1 | 2714252.859 | 1093023.063
2 | 2714181.0011 | 1093047.8327
3 | 2714247.564 | 1093000.5968
4 | 2714188.3883 | 1093069.5413
5 | 2714196.4989 | 1093093.3756
6 | 2714183.9749 | 1093094.3073
7 | 2714170.5308 | 1093073.7033
8 | 2714202.726 | 1093111.6751
9 | 2714160.0006 | 1093057.4305
10 | 2714117.6045 | 1093003.5259
11 | 2714117.9297 | 1093019.6092
12 | 2714096.9585 | 1092975.5997
13 | 2714083.8872 | 1093150.7339
14 | 2714083.0254 | 1093142.7333
15 | 2714080.7659 | 1093115.9895
16 | 2714087.3033 | 1093115.5112
17 | 2714062.8567 | 1093106.0775
18 | 2714100.885 | 1093111.6639
19 | 2714050.5691 | 1093081.3123
20 | 2714118.4408 | 1093049.1858
21 | 2714031.0681 | 1093016.9234
22 | 2714038.9197 | 1093042.8114
23 | 2714025.3074 | 1093013.6798
24 | 2714041.9731 | 1093052.9027
25 | 2714014.3886 | 1092999.4432
26 | 2714009.0516 | 1093061.7899
27 | 2714042.4752 | 1093054.5621
28 | 2713995.6124 | 1092994.2469
29 | 2714014.6617 | 1092991.4194
30 | 2714009.359 | 1093062.6979
31 | 2713819.9471 | 1093088.0666
32 | 2714050.0477 | 1093079.589
33 | 2714015.4074 | 1092969.5086
34 | 2714028.0133 | 1093110.4261
35 | 2713767.6582 | 1093128.7326
36 | 2713751.1327 | 1093093.4529
37 | 2713776.9026 | 1093145.7741
38 | 2713738.718 | 1093078.5988
39 | 2713800.4991 | 1093066.7926
40 | 2713804.7956 | 1093077.0177
41 | 2714009.3876 | 1092949.5783
42 | 2714008.3789 | 1092946.239
43 | 2713738.0886 | 1093077.947
44 | 2713716.3811 | 1093062.9313
45 | 2713698.8599 | 1093052.9471
46 | 2713666.6418 | 1093034.5879
47 | 2713794.7961 | 1093035.9498
48 | 2713790.8287 | 1093029.2962
49 | 2713795.9421 | 1093037.8717
50 | 2713788.3165 | 1093025.0831
51 | 2713796.6582 | 1093039.0725
52 | 2713738.2636 | 1092957.134
53 | 2713796.7193 | 1093039.1751
54 | 2713800.4466 | 1093063.1624
55 | 2714078.1444 | 1092947.3685
56 | 2714074.4248 | 1092941.0699
57 | 2714065.1394 | 1092926.09
58 | 2714043.472 | 1093166.8471
59 | 2714014.5175 | 1093186.8879
60 | 2714123.9395 | 1092932.4114
61 | 2714126.4691 | 1092934.4428
62 | 2714089.6314 | 1092902.4096
63 | 2714144.542 | 1092955.7456
64 | 2714145.0648 | 1092956.5546
65 | 2714156.6402 | 1092980.6928
66 | 2714167.9697 | 1093009.5373
67 | 2714230.2827 | 1092929.856
68 | 2714171.9915 | 1093021.3561
69 | 2714203.8332 | 1092984.1204
70 | 2714025.3074 | 1093013.6798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1